Specification Guide

Insulated Steel Stud Framing/Masonry Veneer System

This guide is intended to be used by project specification writers as the basis for the

development of a system specification that

will be integrated into a complete project specification. Brackets [___] appear where information must be inserted or edited to accommodate a specific project. Please

modify as necessary for your specific project.

PART 1: General

1.01 Products Specified in This Section

A.	Extruded polystyrene rigid foam insulation; sheathing

B.	Masonry ties

C.	Construction tape

D.	Batt insulation

E.	Steel framing, cold-formed

F.	Gypsum board [fire rated]

- Face brick

1.02 Related Sections

A.	Steel stud framing, cold-formed, section [___]

B.	Veneer masonry, section [___], [concrete masonry or pre-faced unit masonry or cut stone or facebrick]

C.	Batt insulation, section [___]

D.	Vapor retarder, section [___]

E.	Gypsum board, section [___]

F.	Head and sill flashings, section [___]

1.03 References

A.	ASTM C 578, Standard Specification for Rigid, Cellular Polystyrene Thermal Insulation

B.	ICBO Evaluation Report No. 4882, Masonry Wall Tie System (or equal)

C.	Brick Institute of America, Technical Note on Brick Construction, 28B Revised II

D.	Underwriters Laboratories (UL), Fire Resistance Directory, Vol. 1, Assembly Design No. V414

E.	American Iron and Steel Institute, Design of Cold-Formed Steel Structural Members

1.04 System Description

A.Cold-formed steel stud framing system for exterior wall, [load bearing, non-load bearing], with [batt insulation and vapor retarder], covered on the interior with gypsum board finish; covered on the exterior with FOAMULAR extruded polystyrene rigid insulation, air space, and masonry veneer, attached through the FOAMULAR insulating sheathing to the steel stud framing with an approved, load-transferring masonry tie system. [3-hour maximum fire resistance rated, non-load bearing cold-formed steel stud

framing system. Fire resistance rating shall be determined by testing in accordance with ANSI/UL 263, ASTM E 119, see UL Fire Resistance Directory, Volume 1, Assembly Design No. V414 for Construction Specifi-cations. Steel framing members may be nominal [4" or 6"], [18 or 20 gauge].

B. Cold-formed steel framing shall be designed in accordance with the current

edition of the specification for the design of cold-formed steel structural members by the American Iron and Steel Institute (AISI). All design details enhancing the structural integrity of the wall assembly, including the axial design load of the studs, shall be as specified by the steel stud designer and/or producer, and shall meet the requirements of all applicable local code agencies.

C. Design and size system components to withstand all axial dead and live loads, and all loads imposed by positive and negative wind pressures acting perpendicular to the plane of the wall to a design pressure of [___] lb/sf, calculated in accordance with [___] code. Sheathing shall not be considered as bracing for the cold-formed steel stud framing system.

D. Maximum allowable system deflection: [1/360 or 1/600 or 1/720]

E. Design wall system to provide for movement of components without damage, failure of joint seals, undue stress on fasteners or ties, or other detrimental effects when subject to cyclic seasonal or diurnal

temperature variation.

F. Design system to accommodate construction tolerances, deflection of building structural members, and clearances of intended openings.

G. Structural design shall be consistent with the American Iron and Steel Institute, Design of Cold-Formed Steel Structural Members, and all other applicable codes and standards.

1.05 Submittals

A. Structural verification: provide calculations bearing the seal of a professional structural engineer for loading, deflection and stresses of exterior wall system.

B. Product data: provide data describing standard framing member materials, finish, load charts and structural properties.

1.06 Quality Assurance

1.07 Contractor Qualifications

1.08 System Mock-up

1.09 Coordination

# PART 2: Products

2.01 Manufacturers

A. FOAMULAR 150 extruded polystyrene rigid insulation or PROPINK® sheathing; Owens Corning.

B. Masonry tie system; DW-10-X® bracket with Textroseal® self sealing membrane gasket; BYNA-TIE® [and Seismiclip® interlock]; Hohmann & Barnard (or equal).

C. Construction tape; BILD-R-TAPE, Owens Corning.

D. [Gypsum board, fire rated; Boral Gypsum, Inc., Type BG-C; Canadian Gypsum Co. LTD., Type C; Celotex Corp.; Type FRP; Domtar Gypsum, Type 5; Eagle Gypsum Products, Type EG-C; Georgia-Pacific Corp., Gypsum Div., Type GPFS-C; Pabco Gypsum Co. Type C or PG-C; Republic Gypsum Co., Type RG-C; Standard Gypsum Corp., Type SG-C; Temple-Inland Forest Products Corp., Type TP-5; United States Gypsum Co., Type C.] [Gypsum Board, Regular, Generic]

E. Glass fiber batt insulation; [generic for fire-rated or non-fire-rated assembly]

F. Vapor retarder: [generic for fire-rated or non-fire-rated assembly]

G. Cold-formed steel framing; [generic for fire-rated or non-fire-rated assembly]

H. Masonry veneer, [generic for fire-rated or non-fire-rated assembly]

2.02 Extruded Polystyrene

Rigid Insulation

A. Extruded polystyrene sheathing; conforming with ASTM C578 Type IV

FOAMULAR 150 or PROPINK sheating [2'x 8' or 4' x 8'] insulation; thickness, [1/2"; 3/4"; 1" or [___"] [maximum 2" thickness for fire-resistance-rated wall assembly]; [straight or T&G] [verify through Owens Corning representative that edge configuration selected is available in the thickness specified] edge; flame spread no greater than 5, smoke developed no greater than 175, measured

in accordance with ASTM E 84. “K-Factor” shall not exceed .20 BTU x

in/sf x hr x °F measured by ASTM C518. Compressive strength shall be [15 or 25] PSI, minimum, measured by ASTM D1621. Water absorption shall not exceed .10 by volume measured by ASTM C272.

FOAMULAR insulation shall be delivered in its original, unopened units, stored off the ground, protected from direct sunlight with a light-colored opaque film and ventilated to prevent exposure to excessive temperature. Damaged or deteriorated materials shall be removed from the premises.[Apply exterior masonry veneer as soon as possible to prevent discoloration from exposure to sunlight]. [FOAMULAR insulation is not recommended for use where sustained temperatures exceed 165°F. Do not use in contact with chimneys, heater vents, steam pipes, or surfaces with temperatures of over 150°F]. [CAUTION: FOAMULAR insulation will ignite if exposed to fire of sufficient heat and intensity, although it does contain a flame-retardant additive to inhibit ignition from small fire sources. During shipping, storage, installation and use, this product should not be exposed to open flame or other ignition sources. This product should be installed only with a thermal barrier such as 1⁄2" thick gypsum board on the interior side of the wall. This requirement applies to return air plenums and may apply to interstitial dead air spaces above suspended ceilings. Check local building codes.]

2.03 Masonry Ties

(generic equal acceptable)

A. DW-10-X (or equal) bracket; [No. 14 or No. 12] gauge sheet steel conforming to

ASTM A 366 with a hot-dipped galvanized finish conforming to ASTM A153 class B2 or Type 304 stainless steel conforming to ASTM A240; 6" long x 11/4" wide; with a pronged leg [1/2" through 3"] in length at each end. Textroseal self-sealing membrane gasket: .040" thick x 2.5" wide. BYNA-TIE; round-looped wire of carbon steel conforming to ASTM A82 with zinc coating conforming to ASTM A153, Class B3; or stainless steel conforming to ASTM A580 [size length to fit cavity width]. [Seismiclip; rectangular PVC extrusion with retaining slots to receive BYNA-TIE and continuous joint reinforcement wire.] [Specify where required for earthquake resistant design; not required for fire-resistance-rated wall assembly, except where earthquake resistant design is also required.]

2.04 Construction Tape

A.[Optional if specifying FOAMULAR T&G sheathing] Owens Corning BILD-R-TAPE construction tape; .003" thick polypropylene backing, with permanent acrylic weather adhesive. [Optional in fire-resistance-rated assembly.]

2.05 Gypsum Board

A.[For up to 3-hour maximum fire resistance rating, 5/8" minimum “third generation,” Type X gypsum board conforming to ASTM C36, with specially formulated mineral core to provide additional fire resistance. See UL fire Resistance Directory, Vol. 1, Assembly Design No. V414.] [Gypsum board for non-fire-rated assemblies may be ASTM C 36, regular, non-fire-rated variety.]

2.06 Glass Fiber Batt Insulation

A. Kraft paper, foil, or unfaced Owens Corning thermal batt insulation or flame spread 25 insulation, minimum 31/2" thick, minimum density 0.8 PCF.

2.07 Vapor Retarder

A.[Optional] [Assemblies should be evaluated for effectiveness and location of vapor retarders to avoid condensation and subsequent damage to structures.] 4 or 6 mil polyethylene.

2.08 Cold-Formed Steel Framing

A. Corrosion-protected cold-formed steel framing, [for fire-resistance-rated assemblies minimum 20 gauge, and minimum 31/2" wide, minimum 15/8" legs and minimum 5/16" stiffened flanges, maximum spacing 16" o.c.], designed in accordance with the current edition of the specification for the design of cold-formed steel structural members by the American Iron and Steel Institute (AISI). All design details enhancing the structural integrity of the wall assembly including the axial design load of the studs, shall be as specified by the steel stud designer and/or producer, and shall meet the requirements of all applicable local code agencies.

2.09 Masonry Veneer

A.[For non-fire-rated assembly any approved unit masonry. For fire-rated assembly, any 4" wide face brick.]

PART 3: Execution

3.01 Examination

A.Verify job site conditions are suitable

as planned per contract documents.

B.Verify that job site progress is ready to receive system installation.

3.02 Erection

A.Erect metal stud framing system within section [__]. Install adequate steel stud bracing against lateral and rotational forces.

B.Install FOAMULAR insulation or PROPINK sheathing [2' x 8' or 4' x 8'] [horizontally or vertically] [install tongue up if using 2' x 8' T&G panels installed horizontally over steel stud framing system], (spaced no greater than [16" or 24" o.c.] [16" o.c. maximum for fire-resistance-rated assembly]). Secure

FOAMULAR insulation to steel studs with [1 1/2" or 2" or 2 1/2" or 3"] self-drilling, self-

tapping steel screws with 1" diameter steel or plastic washers spaced 12" on center.

C. [Optional construction tape installation over joints if using FOAMULAR T&G]; verify that

FOAMULAR insulation surface is clean and dry before installing Owens Corning BILD-R-TAPE construction tape; do not install tape if ambient temperature is below 14°F; center tape on FOAMULAR insulation joints and press firmly into place.

D. Underlay HB DW-10-X (or equal) bracket with Textroseal (or equal) self-sealing membrane. Bracket legs must firmly engage steel stud flange. Place bracket over a steel stud framing member and impale into FOAMULAR sheathing. Secure bracket to steel stud in accordance with manufacturer’s instructions.

E. Insert BYNA-TIE (or equal) into slotted portion of HB DW-10-X (or equal) bracket. Adjust vertically to fit masonry coursing.

F. [Where required for structural or seismic reinforcement] Snap-fit BYNA-TIE (or equal) masonry wire tie and continuous joint reinforcement wire into Seismiclip (or equal) and embed in mortar joint of masonry

veneer system.

G. Install head and sill flashings, shingle style under foam sheathing to shed water; sealing foam to flashing is optional in accordance with section [___].

H. Install masonry veneer in accordance with section [___]. Maintain 2" clear air space between masonry veneer and FOAMULAR sheathing. Minimum of 2/3 of veneer width must be bearing on support.

I. Install batt insulation in accordance with section [___].

J. Install vapor retarder in accordance with section [___].

K. Install interior gypsum board finish in accordance with section [___]. [For fire-rated assembly, install gypsum board finish with type S screws spaced 8" o.c. at the edges and 12" o.c. in the field.]