| # General spec. notes: | # References in blue are general indicators to the specifier. # References in red relate to fire-rated assemblies and Code Related, # if not used can be deleted, but may be needed in the future. |
| --- | --- |

| SECTION 092650 (092655) - USG Drywall | # Architectural Specifications |
| --- | --- |

# DRYWALL/PLASTER SUSPENSION SYSTEM

PART 1 - 	GENERAL

1.1	SUMMARY

1.	Description of Work:  Work of this Section includes, but is not limited to, the following:

  - Gypsum board and accessories.

  - Veneer plaster.

  - Metal suspension systems.

  - Trim and accessories.

1.2	RELATED WORK SPECIFIED ELSEWHERE

- See Section 092000(09250)- Gypsum Board and Plaster Systems

- See Section ____________ - HVAC

- See Section ____________ - Lighting

- See Section 095100(09150)- Acoustical Ceilings

1.3	SUBMITTALS

- Product Data:  Submit manufacturer's specifications and installation instructions with Project conditions and materials clearly identified or detailed for each required system.

1.4	SYSTEM REQUIREMENTS

1.	Performance Requirements:  Fabricate and install systems as indicated but not less than that required to comply with ASTM C754 under the following conditions:

- A pre-engineered drywall suspension system consisting of straight main tees (for Wall-to-Wall system) or straight main tees and straight furring cross tees, that join together to support screw attached  (interior gypsum panels) (gypsum fiber panels) (fiber reinforced aggregated portland cement board) (gypsum base panels and veneer plaster) (metal lath and conventional gypsum plaster) and independently supported light fixtures, and air diffusers, where applicable. (Where applicable, installed systems must conform to Underwriters Laboratories, Inc. (UL) Fire Resistance Design No.)

2.	Maximum deflection of l/360 of distance between supports.

**************** Seismic Compliance *************************

- Nonstructural components that are permanently attached to structures and their support attachments, shall be designed and constructed to resist the effects of earthquake motions in accordance to local jurisdiction.

**************** Exemptions ********************************

For ceilings constructed of lath and plaster or gypsum boar, screw or nail attached to suspension members and surrounded by walls connected to the structure above are exempt from all seismic construction requirements.- reference taken from CISCA Guidelines for Seismic Restraint for Direct-Hung Suspended Ceiling Assemblies, Seismic Design Categories D, E, and F.

************************************************************

1.5	QUALITY ASSURANCE

1.  Reference Standards

- ASTM C635, Standard Specifications for Metal Suspension Systems

- ASTM C636, Recommended Practice for Installation of Metal Suspension Systems.

- CISCA Ceiling Systems Installation Handbook

- ASTM C1186, Standard Specification for Flat Non-Asbestos Fiber-Cement Sheets. [Include if DUROCK  panels are used, otherwise delete]

- ASTM C1278, Standard Specification for Fiber-Reinforced Gypsum Panels [Include if FIBEROCK Sheathing is used, otherwise delete]

- ASTM C645, Standard Specification for Non-Bearing (Axial) Steel Studs, Runners, (Track), and Rigid Furring Channels for Screw Application of Gypsum Board

- ASTM C754, Specification for Installation of Steel framing Members to Receive Screw-Attach Gypsum Boards

- ASTM C840 Specification for Application & Finishing of Gypsum Board.

- ASTM C841 Specification for Installation of Interior Lathing & Furring

- ASTM C842 Specification for Application of Interior Gypsum Plaster

- ASTM C843 Specification for Application of Gypsum Veneer Plaster

- ASTM C844 Specification for Application of Gypsum Base to Receive Gypsum Veneer Plaster

- (ASTM E119, Standard Test Methods for Fire Tests of Building Construction and Materials)

- (Underwriters Laboratories Inc. (UL) Fire Resistance Directory)

2. Submittals

- Samples: Submit actual samples and technical data for suspension system main tees and cross tees for review. Submit technical data for (exterior grade gypsum panels) (gypsum fiber sheathing) (aggregated cement board)

  - Shop Drawings:

- Reflected ceiling plans: Submit ceiling suspension system layout indicating dimensions, lighting fixture locations, and related mechanical components.

- Assembly drawings: Indicate installation details, accessory attachments and installation of related lighting fixtures and related mechanical system 		                      components.

  - Manufacturer’s Data:

- System Details: Submit manufacturer’s catalogue cuts or standard drawing showing details of system with project conditions clearly identified and manufacturer’s recommended installation instructions

1.6	DELIVERY, STORAGE AND HANDLING

1.	Delivery:

1.	Deliver material to site promptly without undue exposure to weather.

2.	Deliver in manufacturer's unopened containers or bundles, fully identified with name, brand, type and grade.

2.  Inspection:

- Promptly inspect delivered materials, file freight claims for damage during shipment, and order replacement materials as require. Any damaged materials shall be promptly removed from the job site

3.	Storage:

1.	Store above ground in dry, ventilated space.

2.	Protect materials from soiling, rusting and damage.

3.	Store board to be directly applied to masonry walls at 70F for 24 hours prior to installation.

- Handling:

  - Handle in such a manner to insure against racking, distortion or physical damage of any kind

1.7	PROJECT CONDITIONS

1.	Environmental Requirements:

1.	Do not install gypsum board when ambient temperature is below 40F.

- For adhesive attachment of gypsum board, and for finishing of gypsum board, maintain ambient temperature above 55F from one week prior to attachment or joint treatment, and until joint treatment is complete and dry.

1.8	Alternate Construction Waste Disposal

1.	Reuse:

1.	Separate clean waste drywall pieces from contaimants for landfilling or recycling. Do not include vinyl faced, mold-resistant or asphalt impregnated gypsum boards. Pulervize and apply to site soil in accordance to landscape specifications. Protect scrapes and pulervized material from moisture and contamination. Alternate to on-site soil amendment, work to supply local farming granular material for their use.

1.	Recycle:

1.	Separate clean waste drywall pieces from contaimants for landfilling or reuse. Working with local waste hauler and local drywall manufacturer, provide proper storage of waste for pickup and return. Protect scrapes material from moisture and contamination.

1.9    COORDINATION WITH OTHER WORK:

1.    General:

- 1.  Coordinate with other work including mechanical and electrical work and partition systems. Installation of conduit and ductwork above suspension system shall be complete before installation of suspension system

2.    Protection:

- 1.  Follow good safety and industrial hygiene practices during handling and installing of all products and systems, with personnel to take necessary precautions and wear appropriate personal protective equipment as needed. Read Material Safety Data Sheets and related literature for important information on products before installation. Contractor to be solely responsible for all personal safety issues during and subsequent to installation; architect, specifier, owner and manufacturer will rely on contractor’s performance in such regard

PART 2 - 	PRODUCTS

  - MANUFACTURER:

1.  All manufactured by USG (United States Gysum Company, USG Interiors), Chicago, IL, USA, in compliance with applicable ASTM Standards.

- USG Drywall Suspension System [Delete if not used]

- USG Drywall Suspension System Wall-to-Wall [Delete if not used]

- SHEETROCK Brand Gypsum Board [Delete if not used]

- Imperial Brand Gypsum Base Panels [Delete if not used]

- FIBEROCK Brand AR Panels [Delete if not used]

- DUROCK Brand Cement Board [Delete if not used]

- USG Diamond and Imperial veneer plasters [Delete if not used]

- USG StructoBase basecoat plaster [Delete if not used]

- USG RedTop gauging and finish plasters [Delete if not used]

2.2   MATERIALS:

- USG Drywall Suspension Systems – Commercial quality, cold-rolled steel, hot dipped galvanized finish.

  - Main Tees: Fire-Rated Heavy Duty classification 1.617” high x 144” long, integral reversible splice with knurled face. (DGL-26 15/16” Face and 1-1/2” high)

  - Cross Members: Fire-Rated members with knurled face. Cross Tees: DGLW-424 cross tee1-1/2” high x 48” long with 1-1/2” wide face; quick release cross tee ends for positive locking and removability without tools

  - Accessory Cross Tees: Cross tees must have knurled faces and quick release cross tee ends for positive locking and removability without tools.

DGL-224 Fire-Rated	1-1/2” high x 24” long with 15/16” face

DGL-324 Fire-Rated	1-1/2” high x 36” long with 15/16” face

DGL-424 Fire-Rated	1-1/2” high x 48” long with 15/16” face

DGL-824 Non Fire-Rated	1-1/2” high x 96” long with 15/16” face

DGLW-224 Fire-Rated	1-1/2” high x 24” long with 1-1/2” face

DGLW-424 Fire-Rated	1-1/2” high x 48” long with 1-1/2” face

  - Wall Moldings: Single web with knurled face

(DGWM-16	1” x 1” x 144” long wall molding)

- (DGCM-27	144” x 1-5/8” x 1” x 1” channel molding)

  - Accessories

Splice Clip DGSC-180

Compression Posts

(VSA18/30	18” to 30”)

(VSA30/48	30” to 48”)

(VSA48/84	48” to 84”)

(VSA84/102	84” to 102”)

  - Wire: Hanger Wire (12 ga.), galvanized or as noted on drawings

******************************************************************************

USG Drywall Suspension Systems – Commercial quality, cold-rolled steel, hot dipped galvanized finish:

Main Tees: Fire-Rated Heavy Duty classification 1.617” high x 144” long, integral reversible splice with knurled face. (DGL-26 15/16” Face and 1-1/2” high)

Cross Members: Fire-Rated members with knurled face. Cross Tees: DGLW-424 cross tee1-1/2” high x 48” long with 1-1/2” wide face; quick release cross tee ends for positive locking and removability without tools.

Accessory Cross Tees: Cross tees must have knurled faces and quick release cross tee ends for positive locking and removability without tools.

DGL-224 Fire-Rated	1-1/2” high x 24” long with 15/16” face

DGL-324 Fire-Rated	1-1/2” high x 36” long with 15/16” face

DGL-424 Fire-Rated	1-1/2” high x 48” long with 15/16” face

DGL-824 Non Fire-Rated	1-1/2” high x 96” long with 15/16” face

DGLW-224 Fire-Rated	1-1/2” high x 24” long with 1-1/2” face

DGLW-424 Fire-Rated	1-1/2” high x 48” long with 1-1/2” face

Wall Moldings: Single web with knurled face

(DGWM-16	1” x 1” x 144” long wall molding)

(DGCM-27	144” x 1-5/8” x 1” x 1” channel molding)

Accessories  -  Splice Clip DGSC-180

Compression Posts

(VSA18/30	18” to 30”)

(VSA30/48	30” to 48”)

(VSA48/84	48” to 84”)

(VSA84/102	84” to 102”)

- ******************************************************************************

- USG Drywall Wall-to-Wall Suspension Systems – Commercial quality, cold-rolled steel, hot dipped galvanized finish for use in corridars and short span applications.

  - Main Tees: Fire-Rated Heavy Duty classification 1.617” high x [6’] [8’] [10’] [12’] [14’] [Custom] long, integral reversible splice with 1-1/2” knurled face.

  - Wall Moldings: Single web with knurled face, 1-1/2” x 1” x 12’ Long, DGWM24

  - Wall Moldings: Single web with knurled face, 1-5/8” x 1” x 12’ Long. DGCM27.

******************************************************************************

USG Drywall Suspension Systems – Commercial quality, cold-rolled steel, hot dipped galvanized finish:

Main Tees: Fire-Rated Heavy Duty classification 1.617” high x [6’] [8’] [10’],[12’], [14’] or [Custom] long, integral reversible splice with 1-1/2” knurled face.

Wall Moldings: Single web with knurled face

(DGWM-24	1 1/2” x 1” x 12’ long wall molding)

(DGCM-27	1-5/8” x 1” x 1” x 12’ channel molding)

******************************************************************************

3.	Grid Suspension Assemblies:  Listed products establish standard of quality and are manufactured by United States Gypsum Company (USG), Chicago, IL..

2.2	BOARD MATERIALS

1.	Gypsum Board:

1.	ASTM C36, regular type except where Type X fire-resistant type is indicated or required to meet UL assembly types.

2.	Edges:  Tapered.

******************************************************************************

SHEETROCK Brand Gypsum Panels have long edges tapered on the face side to form a shallow channel for joint reinforcement.

SHEETROCK brand Gypsum Panels, SW Edge, have an exclusive tapered rounded edge design to help minimize ridging or beading and other joint imperfections and help compensate for extremes of temperature and humidity during construction.  The SW system produces a stronger joint than with regular gypsum panels. Setting-type joint compound is recommended with this shape edge. Except for the rounded edge, SW Panels are tapered like, and otherwise identical to, regular tapered-edge gypsum panels.

FIBEROCK Brand AR and VHI Panels are a high-density paperless gypsum and cellulose wall panel with long edges tapered to form a shallow channel for joint reinforcement. Setting-type joint compound is required with these panels. 5/8” FIBEROCK Brand Panels can be used in lieu of Type-X panels in all USG fire rated listings.

******************************************************************************

3.	Thickness: 1/4 [3/8] [½] [5/8] [3/4] inch, unless otherwise indicated ([½] [5/8] only for FIBEROCK Panels).

******************************************************************************

Typical thickness for different applications include:

5/8 inch or 3/4 inch thick for commercial installations

½ inch thick for single-layer application in residential construction

3/8 inch thick applied principally in double wall system over wood framing and in remodeling work.

1//4 inch thick used as base layer for improving sound control in double layer partitions, for use over old wall and ceiling surfaces and for forming curved surfaces with short radii.

******************************************************************************

1.	Where curved gypsum board construction is indicated, use 1/4 inch thick flexible facing board.

4.	Acceptable products:

1.	Typical partitions and ceilings:  Equivalent to Sheetrock Brand SW, Firecode or Firecode "C" Gypsum Panels by USG.

2.	OR [depends on edge condition option]:  Equivalent to Sheetrock Brand Regular, Firecode or Firecode "C" Gypsum Panels by USG.

3.	Acceptable product for fire-rated walls:  Equivalent to Ultracode Core, 3/4 inch thick, by USG.

******************************************************************************

SHEETROCK brand Gypsum Panels, FIRECODE Core meet the definition of a Type X gypsum board for fire-rated assemblies in the Gypsum Association Fire Resistance Design Manual. Edges: SW tapered or tapered.

SHEETROCK brand Gypsum Panels, FIRECODE C Core  provide improved fire protection over standard FIRECODE panels due to additives that enhance the integrity of the core under fire exposure.  Comply with Type X requirements.

SHEETROCK brand Gypsum Panels, ULTRACODE Core,  provide 1, 2, 3 and 4 hour fire ratings with fewer layers of gypsum panels than are usually required when used in approved designs.  ******************************************************************************

4.	Acceptable product for curved walls: 1/4" Flexible Gypsum Panels.

******************************************************************************

SHEETROCK brand 1/4 inch Flexible Gypsum Panels bend to fit tight curves without wetting.  These 1/4 inch panels are much more flexible than standard SHEETROCK panels of the same thickness.

******************************************************************************

5.	Where foil-backed gypsum board is indicated: Equivalent to Sheetrock Brand SW Foil-Back, Firecode or Firecode "C" Gypsum Panels by USG.OR Sheetrock Brand Regular FoilBack, Firecode or Firecode "C" Gypsum Panels by USG.

******************************************************************************

SHEETROCK brand Gypsum Panels, Foil-Back, are made by laminating special kraft-backed aluminum foil to back surface of regular or SW tapered panels with FIRECODE and FIRECODE C cores as indicated.  Effective as a vapor retarder for walls and ceilings when applied with foil surface next to the framing in single-layer application or as the base layer in multi-layer systems.  In tests per ASTM E96 (desiccant method), ½ inch foil-back panels showed a vapor permeance of 0.06 perm.

Limitations:  Not recommended as a base for ceramic or other tile or as base layer for SHEETROCK Vinyl-Faced Gypsum Panels or other highly moisture-resistant wall coverings.  Also not to be used in hot, humid climates such as the Southern Atlantic and Gulf Coast areas.

******************************************************************************

2.	Ceiling Board:

1.	ASTM C36, non-sag type.

2.	Thickness:  ½ inch.

3.	Acceptable product:  Equivalent to Interior Gypsum Ceiling Board by USG.

******************************************************************************

SHEETROCK brand Interior Gypsum Ceiling Board a ½ inch thick panel, supports water-based spray texture paints and insulation like 5/8 inch thick board but with in-place construction costs that are less.  Special gypsum core contains additives which increase sag-resistance

******************************************************************************

3.	Water-Resistant Gypsum Board:

1.	ASTM C630, regular type except where Type X fire-resistant type is indicated or required to meet UL assembly types.

2.	Edges:  Tapered.

3.	Thickness:  5/8 [½] inch, unless otherwise indicated.

4.	Acceptable products:  Equivalent to Sheetrock Brand W/R, W/R Firecode "C" or W/R Firecode Type X Gypsum Panels by USG.

******************************************************************************

SHEETROCK brand Gypsum Panels, Water-Resistant, are a proven water-resistant base for the adhesive application of ceramic and plastic tile and plastic-faced wall panels for areas not subjected to constant moisture and humidity.  The panel is easily recognized by its distinctive green face.

Limitations:	Not recommended for ceilings where framing is greater than 12 inches on center, or in remodeling unless applied directly to studs.  Panels should not be installed over a vapor retarder or on a wall acting as a vapor retarder unless it will not be tiled or finished with an impervious paint.   Panels are not intended for use in areas subject to constant moisture such as tub and shower enclosures, gang showers and commercial food processing; DUROCK Cement Boards are recommended for these uses.

******************************************************************************

4.	Cement Backer Board:

1.	Aggregated portland cement board with woven glass fiber mesh facing complying with ANSI A118.9.

2.	Thickness: ½  [5/8] inch.

3.	Acceptable product and manufacturer: Durock Cement Board by USG.

******************************************************************************

DUROCK Cement Board is vapor permeable and does not deteriorate in the presence of water.  It is used as a substrate for tile or veneer plaster.  If a vapor retarder or waterproof construction is specified, a separate barrier must be applied over or behind the DUROCK Board.

For steam rooms and saunas where temperatures exceed 120o F for extended periods, set tile with dry-set or latex-portland cement mortar; do not use organic  adhesive.

IMPERIAL Finish Plaster applied over DIAMOND Veneer Basecoat Plaster can be applied over DUROCK Cement Board to provide a high-impact resistant wall. DUROCK Cement Board surface and joint treatment must receive USG Plastic Bonder before application of basecoat plaster.

******************************************************************************

5.	Veneer Plaster Applications:

1.	Base:  Manufacturer's standard size gypsum base sheets in maximum available lengths to minimize end-to-end joints; manufacturer's standard edge profile.

1.

1.	Comply with ASTM C588.

2.	 Regular type except where Type X fire-resistant type is indicated or required to meet UL assembly types.

3.	Thickness:  5/8 [½] inch, unless otherwise indicated.

4.	Acceptable product: IMPERIAL Gypsum Base by USG.

2.	Bonding agent: USG Plaster Bonder.

3.	Plaster base coat:  Ready-mixed material., mill-prepared, high-strength gypsum veneer plaster for two-coat application.  Acceptable product:  Equivalent to DIAMOND Basecoat by USG.

4.	Plaster finish coat:  Ready-mixed material.

1.	Smooth trowel finish:  Add water in accordance with manufacturer's instructions.  Acceptable product:    Equivalent to IMPERIAL Finish by USG.

***************************************OR************************************

2.	Float finish:  Add water and aggregate in accordance with manufacturer's instructions.  Acceptable product:  Equivalent to DIAMOND Interior Finish by USG.

2.5	ACCESSORIES

1.	Metal Trim for Gypsum Board:

1.	Conform to profile and dimensions indicated.

2.	Material for interior Work:  Galvanized steel, 26 gage minimum.

3.	Corner beads:  Equivalent to Dur-A-Bead No. 103 [104] [800] [900]  by USG.

4.	Casing beads (edge beads): Equivalent to 200A [ 200B] [401] [402] [P-1] [701-B] [801-A] [801-B] by USG.

5.	Control joints:

1.	Roll-formed zinc with perforated flanges.

2.	Size:  1-3/4 inch wide, with 1/4 inch wide center channel.

3.	Provide with removable tape strip over channel.

4.	Acceptable product:  Equivalent to No. 093 by USG.

- Paper-Faced Metal Trim for Gypsum Board:

1.	Conform to profile and dimensions indicated.

- Material for interior Work:  Comply with ASTM C1047.

- Outside corners: SHEETROCK Brand Paper Faced Metal Bead and Trim [81W] [B1XWEL] [B1 Super Wide] by USG.

- Outside Bullnose corners: SHEETROCK Brand Paper Faced Metal Bead and Trim [SLOC] [Danish] [Santa Fe] by USG.

- Inside corners: SHEETROCK Brand Paper Faced Metal Bead and Trim [B2] [SLIC] by USG.

- Trims: L shape - B4 SERIES, J shape: B9 SERIES by USG.

3.	Metal Trim for Veneer Plaster:

1.	Conform to profile and dimensions indicated.

2.	Material:  Galvanized steel, 26 gage minimum.

3.	Corner beads:    Equivalent to No. 900 by USG.

4.	Casing beads:  Equivalent to No. 701-A (channel-type edge) or No. 701-B (angle edge) by USG.

5.	Control joints:  Roll-formed zinc with perforated flanges.  Acceptable product:  Equivalent to No. 093 by USG.

******************************************************************************

Control joint locations and spacing should be designated by Architect.

******************************************************************************

4.	Special Trim and Reveals:  Extruded aluminum alloy 6063-T5, profiles as indicated..

5.	Adhesives and Joint Treatment Materials:

1.	Conform to requirements of ASTM C475.

2.	Joint compounds:

1.	Drying-type (ready-mixed):  Equivalent to SHEETROCK Taping Joint Compound and Topping Joint Compound, or SHEETROCK All Purpose Joint Compound [or Lightweight All Purpose Joint Compound Ready-Mixed ] by USG.

******************************************************************************

SHEETROCK Taping Joint Compound Ready-Mixed is a high-performance product for embedding tape and is also used for laminating.

SHEETROCK Topping Joint Compound Ready-Mixed is a low-shrinkage, easily applied and sanded product recommended for second and third coats over ready-mixed taping and all purpose compounds.  Also used for simple hand-applied texturing or skim coating in some markets; check suitability of formula in your area with local sales office.  Not suitable for embedding tape or as first coat over metal corners, trim and fasteners.

SHEETROCK All Purpose Joint Compound Ready-Mixed used for embedding, finishing, simple hand-applied texturing, laminating and skim coating.

SHEETROCK Lightweight All Purpose Joint Compound Ready-Mixed (PLUS 3) requires only two coats over metal bead and fasteners, gives exceptional ease of sanding.  This all purpose, single package product provides tight bond, superior slip and workability, good crack resistance and low shrinkage.  Also used for simple hand-applied texturing.

******************************************************************************

2.	Setting (chemically-hardening) type:  Equivalent to SHEETROCK Setting-Type Joint Compound by USG.  Note: this is default for veneer plaster and FIBEROCK Brand Panels.

******************************************************************************

Features exceptional bond; virtually unaffected by humidity extremes. Used with cement backer board or veneer plaster,  to treat joints in exterior gypsum soffits and to embed Sheetrock joint tape and fill beads in veneer finish systems when any of the following conditions exist:  rapid drying conditions due to low humidity, high temperature and excessive evaporation.  Recommended for filling joints of SHEETROCK brand Gypsum Panels, Water-Resistant, and treating fastener heads in areas to receive ceramic or plastic tile.  May be used for skim coating and surface texturing .   Required as prefill material for SHEETROCK brand Gypsum Panels, SW Edge.

Limitations: SHEETROCK Setting-Type Joint Compounds (DURABOND) are difficult to sand after drying and must be smoothed before complete setting.  Not to be applied over moist surfaces or surfaces likely to become moist, on below-grade surfaces, or on surfaces subject to moisture exposure, pitting or popping.

SHEETROCK Lightweight Setting-Type Joint Compound (EASY SAND) weighs 25% less than conventional setting-type compounds.  Provides sanding ease similar to a ready-mixed, all purpose joint compound.

******************************************************************************

3.	Primer-Surfacer: Finish Level 4 (GA-214/ASTM C-840) drywall surface with vinyl acrylic latex-based coating to achieve Level 5 gypsum board finish.

******************************************************************************

SHEETROCK Brand Primer-Surfacer is a dual-purpose vinyl acrylic latex-based coating designed especially for interior application over new drywall. In a single spray application it provides the same results achieved using a typical two-step process of skim coating surfaces with joint compound followed by a coat of primer. In a GA-214/ASTM C-840 Level 5 gypsum board finish, SHEETROCK Brand Primer-Surfacer is used in lieu of a skim coat of joint compound and paint primer coat to provide the highest quality drywall finish.

In ceiling applications where a flat white finish is desired, SHEETROCK Brand Primer-Surfacer can be left unpainted providing an ideal final finish.

******************************************************************************

4.	Laminating adhesive for multiple layers:  Special adhesive or joint compound specifically recommended for laminating gypsum boards.

5.	Laminating adhesive for direct application:  Special adhesive or joint compound specifically recommended for laminating gypsum boards and for adhering gypsum boards to solid substrates.

6.	Reinforcing joint tape:

1.	ASTM C475, 2 inch nominal width.

2.	For backer board, provide fiberglass tape as recommended by board manufacturer [and acceptable to manufacturer of ceramic tile setting materials.]

******************************************************************************

SHEETROCK Joint Tape is a strong, cross-fibered paper tape with minimal longitudinal stretch and superior tensile strength.

SHEETROCK Fiberglass Drywall Tape is made with a unique cross-fiberglass construction.  Self-adhesive tape goes on quickly-eliminates bedding coat and provides smooth finished joints in only two coats.  For first coat over tape, setting-type joint compound is used, for second coat, setting-type or drying-type (ready-mixed or powder) joint compounds may be used.  Tape may also be used for patching, small holes and cracks.

******************************************************************************

9.	Gypsum Board Screws:  Self-drilling, self-tapping steel screws.

1.	For steel framing less than 0.03 inch thick: Comply with ASTM C1002.

2.	For steel framing from 0.033 inch thick to 0.112 inch thick:  Comply with ASTM C954.

3.	Provide Type S or Type S-12 screws.

10.	Backer Board Accessories:  Provide accessories and corrosion-resistant-coated steel screws as recommended by backer board manufacturer and required for complete installation.

11.	Acoustical Sealant: Equivalent to Acoustical Sealant by USG.

******************************************************************************

SHEETROCK Acoustical Sealant is a highly elastic, water-based caulking for sound-rated partition and ceiling systems and sealing exterior walls to reduce infiltration.  Non-bleeding and staining, pumpable and easily applied in beads.  Provides excellent adherence to most surfaces, permanent flexibility and lasting seal.   Meets ASTM C919 and ASTM C834.

******************************************************************************

12.	Sound Attenuation Blankets:

1.	Mineral fiber, conforming to ASTM C665, Type I.

2.	Surface burning characteristics per ASTM E84:

1.	Flame spread:  15 or less.

2.	Smoke developed:  0.

3.	Thicknesses:  As indicated.

4.	Acceptable product and manufacturer:  Equivalent to Thermafiber Sound Attenuation Fire Blankets SAFB by USG.[Fire Safety FS-15 Blankets].

******************************************************************************

Sound Attenuation Fire Blankets (SAFB) are paperless, semi-rigid mineral fiber mats designed to improve STC ratings when installed in partitions.

******************************************************************************

13.	Miscellaneous Accessories:  Provide as required for complete installations.

PART 3 - 	EXECUTION

3.1	EXAMINATION:

1.	Examine substrates and adjoining construction and conditions under which Work is to be installed.  Do not proceed with Work until unsatisfactory conditions are corrected.

3.2	GENERAL INSTALLATION REQUIREMENTS:

- Standard reference: Install grid members in accordance with ASTM C636, CISCA installation standards, and other applicable references.

- Manufacturer’s reference: Install in accordance with manufacturer’s current printed recommendations.

- Drawing reference: Install in accordance with approved shop drawings and locate ceiling in accordance with main tee dimensions relative to elevations.

- Install in accordance with reference standards and manufacturer's instructions [, and as required to comply with seismic requirements].

3.3	APPLICATION INSTALLATION REQUIREMENTS:

1.		Flat Ceiling Applications:

- Hanger Wire Installation: Secure hanger wires to upper structural elements and space hangers so that each hanger wire supports a maximum of 16 sq. ft.

- Space main tee members a maximum span of 48” on center (and/or as specified by the UL Fire Resistance Directory)

- Space cross tees recommended 16” o.c. (5/8” SHEETROCK Brand gypsum Board or 5/8” FIBEROCK Interior panels can span 24” o.c. please check USG AC3095, for maximum allowable spacing based on wind load)(and/or as specified by the UL Fire Resistance Directory) Install extra cross tees where butt joints occur, 8” from each side of the butt joint

- Install compression struts per manufacturer’s specifications and spacing, in accordance with wind load applicable. Adjust main and cross tee spacing as necessary for loading conditions. (See AC3095, USG)

- Install fiber glass insulation (R____) in plenum, resting on top of main tees and cross members.

- Do not install insulation within 3” of light fixtures unless fixtures are approved for use with insulation.

- Limit insulation thickness so that combined weight of supported panels and insulation on grid main tees does not exceed 16 plf

- Attach (SHEETROCK gypsum Board) (FIBEROCK Interior panels) (DUROCK Cement Board) to the suspension system main runners, cross tees, and cross channels with (1-1/4” bugle head screws – single layer of board ) spaced (16” o.c. – SHEETROCK gypsum Board) (8” o.c.- FIBEROCK) (6” o.c. – DUROCK) in the field and at the perimeter of the panels, locate 3/8” in from panel edges. Hold panels in firm contact with framing while driving fasteners. (Drive fastener heads flush with, or slightly below surface of (SHEETROCK gypsum Board) (FIBEROCK panels). (Drive fasteners so bottoms of heads are flush with surface of DUROCK Cement Panels.)

- Install trim, and similar accessories as necessary and as applicable to meet project requirements where indicated on drawings.

- Install Control Joints at locations of properly detailed control joints, including additional cross tees as necessary, per direction of architect and/or design professional.

- Finish boards as described to achieve ‘Level of Finish’ specified.

- Corridor (Wall-to-Wall) Applications:

- Hanger Wire Installation: Secure hanger wires to upper structural elements and space hangers so that each hanger wire supports a maximum of 16 sq. ft.

******************************************************************************

Note:

If using ½” single layer of drywall no hangers are required for spans up to 7’-0” (L/240 uniform load, single span design).

If using 5/8” single layer of drywall no hangers are required for spans up to 6’-0” (L/240 uniform load, single span design).

If using ½” single layer of drywall for spans over 7’-0” to 14’-0” one hanger at mid span per each main is required (L/240 uniform load, single span design).

If using 5/8” single layer of drywall for spans over 6’-0” to 12’-0” one hanger at mid span per each main is required (L/240 uniform load, single span design).

If using 5/8” single layer of drywall for spans over 12’-0” to 14’-0” two hangers at 1/3 point per each main is required (L/240 uniform load, single span design).

******************************************************************************

- Space main tee members as required by span and design load

******************************************************************************

Note:

Maximum load (lbs/SF) 18 for 4’-0” unsupported span with mains at 16” o.c.

12 lbs/SF for 4’-0” unsupported span with mains at 24” o.c.

9.2 lbs/SF for 5’-0” unsupported span with mains at 16” o.c.

6.1 lbs/SF for 5’-0” unsupported span with mains at 24” o.c.

5.3 lbs/SF for 6’-0” unsupported span with mains at 16” o.c.

3.6 lbs/SF for 6’-0” unsupported span with mains at 24” o.c.

3.4 lbs/SF for 7’-0” unsupported span with mains at 16” o.c.

******************************************************************************

- Attach (SHEETROCK gypsum Board) (FIBEROCK Interior panels) (DUROCK Cement Board) to the suspension system main runners, cross tees, and cross channels with (1-1/4” bugle head screws – single layer of board ) spaced (16” o.c. – SHEETROCK gypsum Board) (8” o.c.- FIBEROCK) (6” o.c. – DUROCK) in the field and at the perimeter of the panels, locate 3/8” in from panel edges. Hold panels in firm contact with framing while driving fasteners. (Drive fastener heads flush with, or slightly below surface of (SHEETROCK gypsum Board) (FIBEROCK panels). (Drive fasteners so bottoms of heads are flush with surface of DUROCK Cement Panels.)

- Install trim, and similar accessories as necessary and as applicable to meet project requirements where indicated on drawings.

- Install Control Joints at locations of properly detailed control joints, including additional cross tees as necessary, per direction of architect and/or design professional.

- Finish boards as described to achieve ‘Level of Finish’ specified.

- Curved, Vaults or Dome Applications:

- Drawing reference: Install in accordance with approved shop drawings and locate ceiling in accordance with main tee dimensions relative to elevations.

- Hanger Wire Installation: Secure hanger wires to upper structural elements and space hangers so that each hanger wire supports a maximum of 12 sq. ft.

******************************************************************************

Note: Curved surfaces can be achieved with the attachement of panels, however, inorder to achieve the best application plaster is recommended. Due to the width of the grid flange (greater than ¾”) STRUCTOBASE gypsum basecoat plaster should be used to reduce cracking. If other gypsum plasters or portland plaster are being used then it is recommended to secure narrow flanged framing members or offset the metal lath to reduce cracking due to reduced mechical key at framing/lath intersection.

Total weight of ceiling membrane plus overlaid insulation and surface finish material (e.g. ceramic tile) supported by the grid assembly should not exceed 4.0 psf. If the load exceeds 4.0 psf, then spacing of the hanger wires and/or Main Tees must be reduces (see sample calculation below). For guidance the following are design weights:

- ½”  SHEETROCK Exterior Gypsum Ceiling Board		2.0 psf

- 5/8” SHEETROCK Exterior Gypsum Ceiling Board		2.5 psf

- ½”  FIBEROCK Sheathing					2.2 psf

- 5/8” FIBEROCK Sheathing					3.0 psf

- ½”   DUROCK Cement Board				3.0 psf

- 5/8” DUROCK Cement Board				3.75 psf

- 1” of STRUCTOBASE plaster (Dry)				10 psf

- 1” of STRUCTOBASE plaster (Wet)				12 psf

Main Tee hanger wires at 4' o.c., the Mains’ Load capacity is: 4 FT * 4 psf = 16 #/LF.

Reduce the hanger wires to 3' o.c., then the Mains can carry 32 #/LF.

Reduce the hanger wires to 2' o.c., then the Mains can carry 64 #/LF.

If 3/4" of plaster wet would be about 8.75 #/SF + 5/8" FIBEROCK Sheathing at 3 #/SF for about 12 #/SF.

Mains are at 4 ft centers with 4’ hangers; this load would be 12 #/SF * 4 FT = 48 #/LF.

If the Mains are at 2 ft centers with 4’ hangers; this load would be 12 #/SF * 2 FT = 24 #/LF.

Therefore, there are two options:

1.)    Space the main tees at 4' o.c. with the 12 ga. hanger wire at 24" o.c. and within 8" from any wall, cross tees at 16" o.c. with hanger wire support at midspan and/or within 8" from any wall.

2.)    Space the main tees at 2' o.c. with the 12 ga. hanger wire at 36" o.c. and within 8" from any wall, cross tees at 16" o.c.

******************************************************************************

- Space main and cross tee members so the maximum span of metal lath is (16”) (12”)

- Secure self-furring metal lath to tee members with screws spaced 6” o.c. max., applied at lath dimples.  Lap metal lath ends and edges and secure with 18 gauge tie wire spaced 6-inches o.c.

- Mix STRUCTO-BASE Gypsum Plaster with sand in proportions of 2 cu. ft. of sand per 100 lbs. of plaster for scratch and brown coats. Apply plaster to metal lath to a thickness of 5/8” (min.) Measured from the face of the lath.

- Select a plaster mix for the finish coat to provide a smooth trowel or sand float (Textured) finish. (Reference SA 920)

- Use template(s) to insure uniform and even curvature of the finished surface

END OF SECTION