Armstrong World Industries, Inc.

### Ceiling & Suspension System Specification

Please understand that you are responsible for the accuracy of all project specifications, including any Armstrong guide specifications that you use.

ARMSTRONG SHALL NOT BE LIABLE FOR ANY DAMAGES ARISING OUT OF THE USE OF ANY OF ITS GUIDE SPECIFICATIONS.

### SECTION 09 51 33 (09545)

### ACOUSTICAL METAL PAN CEILINGS

### PART 1 - GENERAL

### 1.1 RELATED DOCUMENTS

Drawings and general conditions of Contract, including General and Supplementary Conditions and Divisions-1 Specification sections apply to work of this section.

### 1.2 SUMMARY

- Section Includes:

  - Metal ceiling panels.

  - Exposed grid suspension system.

  - Wire hangers, fasteners, main runners, cross tees, wall angle moldings and accessories.

- Related Sections:

  - Section 09 51 00 (09510) - Acoustical Ceilings

  - Section 09 20 00 (09250) - Plaster and Gypsum Board

  - Divisions 23 (15) - HVAC

  - Division 26 (16) Sections - Electrical Work

- Alternates

  - Prior Approval: Unless otherwise provided for in the Contract documents, proposed product substitutions may be submitted no later than TEN (10) working days prior to the date established for receipt of bids. Acceptability of a proposed substitution is contingent upon the Architect’s review of the proposal for acceptability and approved products will be set forth by the Addenda. If included in a Bid are substitute products which have not been approved by Addenda, the specified products shall be provided without additional compensation.

  - Submittals which do not provide adequate data for the product evaluation will not be considered. The proposed substitution must meet all requirements of this section, including but not necessarily limited to, the following: Single source materials suppliers (if specified in Section 1.5); panel design, size, composition, color, and finish; suspension system component profiles and sizes; compliance with the referenced standards.

### 1.3 REFERENCES

- American Society for Testing and Materials (ASTM):

  - ASTM A 641 Standard Specification for Zinc-Coated (Galvanized) Carbon Steel Wire.

  - ASTM A 653 Standard Specification for Steel Sheet, Zinc-Coated (Galvanized) by the Hot- Dip Process.

  - ASTM A 1008 Standard Specification for Steel, Sheet, Cold Rolled, Carbon, Structural, High-Strength Low-Alloy and High-Strength Low-Alloy with Improved Formability.

  - ASTM C 423 Sound Absorption and Sound Absorption Coefficients by the Reverberation Room Method.

  - ASTM C 635 Standard Specification for Metal Suspension Systems for Acoustical Tile and Lay-in Panel Ceilings.

  - ASTM C 636 Recommended Practice for Installation of Metal Ceiling Suspension Systems for Acoustical Tile and Lay-in Panels.

  - ASTM E 84 Standard Test Method for Surface Burning Characteristics of Building Materials.

  - ASTM E 1414 Standard Test Method for Airborne Sound Attenuation Between Rooms Sharing a Common Ceiling Plenum.

  - ASTM E 1111 Standard Test Method for Measuring the Interzone Attenuation of Ceilings Systems.

  - ASTM E 1264 Classification for Acoustical Ceiling Products.

  - ASTM E 1477 Standard Test Method for Luminous Reflectance Factor of Acoustical Materials by Use of Integrating-Sphere Reflectometers.

### 1.4 SUBMITTALS

- Product Data: Submit manufacturer’s technical data for each type of ceiling unit and suspension system required.

- Installation Instructions: Submit manufacturer’s installation instructions as referenced in Part 3, Installation.

- Samples: Minimum 6 inch x 6 inch samples of specified acoustical panel; 8 inch long samples of exposed wall molding and suspension system, including main runner and 4 foot cross tees.

- Shop Drawings: Layout and details of ceilings. Show locations of items which are to be coordinated with, or supported by the ceilings.

- Certifications: Manufacturer’s certifications that products comply with specified requirements, including laboratory reports showing compliance with specified tests and standards.

### 1.5 QUALITY ASSURANCE

- Single-Source Responsibility: Provide ceiling panel units and grid components by a single manufacturer.

- Fire Performance Characteristics: Identify ceiling components with appropriate markings of applicable testing and inspecting organization.

  - Surface Burning Characteristics: As follows, tested per ASTM E 84 and complying with ASTM E 1264 for Class A products.

    - Flame Spread: 25 or less

    - Smoke Developed: 50 or less

- Engineering Evaluation:  Used to support the use of the described system as having performance equivalent to the prescribed code requirements.

1.   Structural Engineering Earthquake Simulation Laboratory (SEESL) at the State University of New York’s Buffalo campus.

- Coordination of Work: Coordinate ceiling work with installers of related work including, but not limited to building insulation, gypsum board, light fixtures, mechanical systems, electrical systems, and sprinklers.

### 1.6 DELIVERY, STORAGE, AND HANDLING

- Store the ceiling panels in a dry, interior location and keep in cartons prior to installation to avoid damage.

- MetalWorks panels are packaged with the face of the panel toward the outside of the carton. Exercise care in moving and opening cartons to prevent damage to the panel face.

### 1.7 PROJECT CONDITIONS

- Space Enclosure:

  - Building areas to receive ceilings shall be free of construction dust and debris. Products may be installed where temperatures are between 32oF (0°C) and 120°F (49°C) and in spaces before the building is enclosed, where HVAC systems are cycled or not operating.  Such installations shall not be exposed to abnormal conditions, namely: chemical fumes, presence of standing water, or contact with moisture, as could result from condensations or building leaks.  These products cannot be used in exterior applications.

### 1.8 WARRANTY

- Ceiling Panel: Submit a written warranty executed by the manufacturer, agreeing to repair or replace panels that fail within the warranty period. Failures include, but are not limited to:

  - Ceiling Panels and Grid System: Rusting and manufacturer’s defects

- Warranty Period:

  - Ceiling panels: One (1) year from date of installation.

  - Grid: Ten (10) years from date of installation.

- The Warranty shall not deprive the Owner of other rights the Owner may have under other provisions of the Contract Documents and will be in addition to and run concurrent with other warranties made by the Contractor under the requirements of the Contract Documents.

### 1.9 MAINTENANCE

- Extra Materials: Deliver extra materials to Owner. Furnish extra materials described below that match products installed. Packaged with protective covering for storage and identified with appropriate labels.

  - Ceiling Units: Furnish quality of full-size units equal to 5.0 percent of amount installed.

  - Exposed Suspension System Components: Furnish quantity of each exposed suspension component equal to 2.0 percent of amount installed.

### 2.1 MANUFACTURERS

- Ceiling Panels:

  - Armstrong World Industries, Inc.

- Suspension Systems:

  - Armstrong World Industries, Inc.

### 2.2.0 METAL CEILINGS PANELS

### A. Ceiling Panels Type ACT-1:

- Surface Texture: Smooth

- Composition: Metal

- Color: (White) (Silver Grey) (Gunmetal Grey)

- Perforations: (Unperforated) (Microperforated) (Extra Microperforated)

- Size: 24in X 24in

- Edge Profile: (Square Tegular) (Vector) for interface with Prelude XL 15/16" Exposed Tee.

- Noise Reduction Coefficient (NRC): ASTM C 423; (0.10) (0.65) (0.90).

- Ceiling Attenuation Class (CAC): ASTM C 1414; (30) (31) (36) (38)

- Flame Spread: ASTM E 1264; Class A (FM)

- Light Reflectance (LR): ASTM E 1477; White Panel: Light Reflectance: (0.61) (0.77).

- Dimensional Stability: Temperatures between 32 degrees and 120 degrees F and high humidity excluding use over standing water, direct contact with moisture, and exterior use.

- Acceptable Product: MetalWorks, Item #______, as manufactured by Armstrong World Industries.

B. Application Considerations:

1.    Faceted installations are limited to a minimum radius of 22-1/2 feet.  There is no maximum radius limitation.

2.    Both hills and valleys can be created and any portion of the circumference of the circle may be used.  Hills and valleys may be connected to create waves.

3.    Reveals between panels will not be consistent on all sides and is dependent on the radius.

4.    For MetalWorks Faceted Tegular installations, a Faceted Hold Down Clip is required which will limit accessibility.  If access is required, use the Vector version.

C. Accessories

1.   Fiberglass Infill Panel, #820-01-00.

2.   Faceted Hold Down Clip, FHDC, for use with tegular panels.

### 2.2.1 SUSPENSION SYSTEMS

- Components: All main beams and cross tees shall be commercial quality hot-dipped galvanized steel as per ASTM A 653. Main beams and cross tees are double-web steel construction with 15/16 inch type exposed flange design. Exposed surfaces chemically cleansed, capping pre-finished galvanized steel in baked polyester paint. Main beams and cross tees shall have rotary stitching.

  - Components:  Prelude main beams and Prelude XL 2 foot cross tees.

  - Structural Classification: ASTM C 635, (Intermediate Duty) (Heavy Duty).

  - Color: White and match the actual color of the selected ceiling tile, unless noted otherwise.

  - Acceptable Product: Prelude XL 15/16" Exposed Tee as manufactured by Armstrong World Industries, Inc.

- Attachment Devices: Size for five times design load indicated in ASTM C 635, Table 1, Direct Hung unless otherwise indicated.

- Wire for Hangers and Ties: ASTM A 641, Class 1 zinc coating, soft temper, pre-stretched, with a yield stress load of at least time three design load, but not less than 12 gauge.

- Edge Moldings and Trim:  Refer to installation information listed in Part 3.

### PART 3 - EXECUTION

### 3.1 EXAMINATION

- Do not proceed with installation until all wet work such as concrete, terrazzo, plastering and painting has been completed and thoroughly dried out.

### 3.2 PREPARATION

- Measure each ceiling area and establish layout of acoustical units to balance border widths at opposite edges of each ceiling. Avoid use of less than half width units at borders, and comply with reflected ceiling plans. Coordinate panel layout with mechanical and electrical fixtures.

### 3.3 INSTALLATION

- Prior to installation, consult with the local code inspector regarding this “curved” application which varies from the flat ceiling guidelines in ASTM C636.  The International Building Code (IBC), as well as its antecedents, permits alternate designs, materials and methods of construction so long as any such alternate is approved by the Authority Having Jurisdiction (AHJ).  The AHJ can approve the alternate that has performance equivalent to the prescribed code requirements (see Section 1.5 C).  An alternate design, material or construction does meet building code requirements once approved by the AHJ.

- Seismic Consideration:  Installations requiring seismic restraint shall have splayed wire or rigid lateral force bracing applied as prescribed by local building code for flat ceilings.

- Installation must comply with the requirements of ASTM C636 with the following exceptions:

  - Suspend main beams 2 feet on center.

  - Install cross tees every 2 feet along the length of the mains.

  - Every second row of mains must be held in position by struts, not more than 12 feet apart along length of mains.

- Install suspension system and panels in compliance with in accordance with the manufacturer’s installation instructions:

  - MetalWorks 2’ x 2’ Faceted Installation Instructions, LA 297074

  - MetalWorks Tegular Installation, LA295519

  - MetalWorks Vector Installation, LA295532

  - MetalWorks Cutting Instructions, LA 295518

- Suspend main beam from overhead construction with hanger wires spaced 4 feet on center along the length of the main runner. Install hanger wires plumb and straight. The suspension system must be square to within 1/16 inch in 2 feet.

- Perimeter conditions will require custom treatment.  Moldings will need to be bent to match the angle of the ceiling where it contacts the walls at the straight sides, and will need to be cut to align with the panel segments on the faceted sides.  It is recommended that these installations tie into a wall or drywall bulkhead rather than to attempt to create a floating ceiling condition.  Please refer to the basic perimeter treatment options in the installation instructions below for a baseline.

  - MetalWorks Tegular Installation, LA295519

  - MetalWorks Vector Installation, LA 295532

### 3.4 ADJUSTING AND CLEANING

- Replace damaged and broken panels.

- Clean exposed surfaces of ceilings panels, including trim, edge moldings, and suspension members. Comply with manufacturer’s instructions for cleaning and touch up of minor finish damage. Remove and replace work that cannot be successfully cleaned and repaired to permanently eliminate evidence of damage.

### END OF SECTION