Armstrong World Industries, Inc.

### Ceiling & Suspension System Specification

Please understand that you are responsible for the accuracy of all project specifications, including any Armstrong guide specifications that you use.

ARMSTRONG SHALL NOT BE LIABLE FOR ANY DAMAGES ARISING OUT OF THE USE OF ANY OF ITS GUIDE SPECIFICATIONS.

### SECTION 09 51 33 (09545)

### ACOUSTICAL METAL PAN CEILINGS

### PART 1 - GENERAL

### 1.1 RELATED DOCUMENTS

Drawings and general conditions of Contract, including General and Supplementary Conditions and Divisions-1 Specification sections apply to work of this section.

### 1.2 SUMMARY

- Section Includes:

  - Metal ceiling panels.

  - Exposed grid suspension system.

  - Wire hangers, fasteners, main runners, cross tees, wall angle moldings and accessories.

- Related Sections:

  - Section 09 51 00 (09510) - Acoustical Ceilings

  - Section 09 20 00 (09250) - Plaster and Gypsum Board

  - Divisions 23 (15) - HVAC

  - Division 26 (16) Sections - Electrical Work

- Alternates

  - Prior Approval: Unless otherwise provided for in the Contract documents, proposed product substitutions may be submitted no later than TEN (10) working days prior to the date established for receipt of bids. Acceptability of a proposed substitution is contingent upon the Architect's review of the proposal for acceptability and approved products will be set forth by the Addenda. If included in a Bid are substitute products which have not been approved by Addenda, the specified products shall be provided without additional compensation.

  - Submittals which do not provide adequate data for the product evaluation will not be considered. The proposed substitution must meet all requirements of this section, including but not necessarily limited to, the following: Single source materials suppliers (if specified in Section 1.5); Factory Mutual classified acoustical performance, panel design, size, composition, color, and finish; suspension system component profiles and sizes; compliance with the referenced standards.

### 1.3 REFERENCES

- American Society for Testing and Materials (ASTM):

  - ASTM A 641 Standard Specification for Zinc-Coated (Galvanized) Carbon Steel Wire.

  - ASTM A 653 Standard Specification for Steel Sheet, Zinc-Coated (Galvanized) by the Hot- Dip Process.

  - ASTM A 1008 Standard Specification for Steel, Sheet, Cold Rolled, Carbon, Structural, High-Strength Low-Alloy and High-Strength Low-Alloy with Improved Formability.

  - ASTM C 423 Sound Absorption and Sound Absorption Coefficients by the Reverberation Room Method.

  - ASTM C 635 Standard Specification for Metal Suspension Systems for Acoustical Tile and Lay-in Panel Ceilings.

  - ASTM C 636 Recommended Practice for Installation of Metal Ceiling Suspension Systems for Acoustical Tile and Lay-in Panels.

  - ASTM E 84 Standard Test Method for Surface Burning Characteristics of Building Materials.

  - ASTM E 1264 Classification for Acoustical Ceiling Products.

  - ASTM E 1477 Standard Test Method for Luminous Reflectance Factor of Acoustical Materials by Use of Integrating-Sphere Reflectometers.

### 1.4 SUBMITTALS

- Product Data: Submit manufacturer's technical data for each type of ceiling unit and suspension system required.

- Installation Instructions: Submit manufacturer's installation instructions as referenced in Part 3, Installation.

- Samples: Minimum 6 inch x 6 inch samples of specified acoustical panel; 8 inch long samples of exposed wall molding and suspension system, including main runner and 4 foot cross tees.

- Shop Drawings: Layout and details of ceilings. Show locations of items which are to be coordinated with, or supported by the ceilings.

- Certifications: Manufacturer's certifications that products comply with specified requirements, including laboratory reports showing compliance with specified tests and standards. For acoustical performance, each carton of material must carry an approved independent laboratory classification of NRC, CAC and AC.

- If the material supplied by the acoustical subcontractor does not have a Factory Mutual classification of acoustical performance on every carton, subcontractor shall be required to send material from every production run appearing on the job to an independent or NVLAP approved laboratory for testing, at the architect's or owner's discretion. All products not conforming to manufacturer's current published values must be removed, disposed of and replaced with complying product at the expense of the Contractor performing the work.

### 1.5 QUALITY ASSURANCE

- Single-Source Responsibility: Provide ceiling panel units and grid components by a single manufacturer.

- Fire Performance Characteristics: Identify ceiling components with appropriate markings of applicable testing and inspecting organization.

  - Surface Burning Characteristics: As follows, tested per ASTM E 84 and complying with ASTM E 1264 for Class A products.

    - Flame Spread: 25 or less

    - Smoke Developed: 50 or less

- Coordination of Work: Coordinate ceiling work with installers of related work including, but not limited to building insulation, gypsum board, light fixtures, mechanical systems, electrical systems, and sprinklers.

### 1.6 DELIVERY, STORAGE, AND HANDLING

- Store the ceiling panels in a dry, interior location and keep in cartons prior to installation to avoid damage.

- Exercise care in moving and opening cartons to prevent damage to the panel face.

### 1.7 WARRANTY

- Ceiling Panel: Submit a written warranty executed by the manufacturer, agreeing to repair or replace panels that fail within the warranty period. Failures include, but are not limited to:

  - Ceiling Panels: Sagging and warping

  - Grid System: Rusting and manufacturer's defects

- Warranty Period:

  - Ceiling panels: One (1) years from date of substantial completion.

  - Grid: Ten (10) years from date of substantial completion.

- The Warranty shall not deprive the Owner of other rights the Owner may have under other provisions of the Contract Documents and will be in addition to and run concurrent with other warranties made by the Contractor under the requirements of the Contract Documents.

### 1.8 MAINTENANCE

- Extra Materials: Deliver extra materials to Owner. Furnish extra materials described below that match products installed. Packaged with protective covering for storage and identified with appropriate labels.

  - Ceiling Units: Furnish quality of full-size units equal to 5.0 percent of amount installed.

  - Exposed Suspension System Components: Furnish quantity of each exposed suspension component equal to 2.0 percent of amount installed.

### 2.1 MANUFACTURERS

- Ceiling Panels and Suspension Systems:

  - Armstrong World Industries, Inc.

### 2.2.0 METAL CEILINGS PANELS

### A. Ceiling Panels Type ACT-1:

- Surface Texture: Smooth

- Composition:  (Steel) (Aluminum)

- Color

a. Steel (Painted White) (Bare Steel) (Lacquered Steel)

b. Aluminum (Copper) (Chrome) (Brass)

- Size: (Steel) 24inch X 24inch X .010 inch, (Aluminum), 24inch X 24inch X .020 inch, (Steel) 24inch X 48inch X .010inch Nail Up, (Aluminum) 24inch X 48inch X .010inch Nail Up, (Steel)24inch X 24inch X .010inch Coffer Lay-In

- Edge Profile: 24inch X 24inch ([Square Tegular) (Lay-In)] for interface with [Prelude XL 15/16 inch Exposed Tee Grid] [Suprafine XL 9/16 inch Exposed Tee Grid]), 24inch X 48inch Nail Up

- Noise Reduction Coefficient (NRC): ASTM C 423; Classified with UL label on product carton, (.25 Extra Microperforated) .(85 Extra Microperforated w/optional infill), (N/A Unperforated)

- Flame Spread: ASTM E 1264; Class A (FM)

- Light Reflectance (LR): ASTM E 1477; White Panel: Light Reflectance:  0.77 (White Only)

- Dimensional Stability: Standard

- Acceptable Product: MetalWorks Tin, Item# ____________, as manufactured by Armstrong World Industries.

- Application Consideration: Due to the characteristics of Tegular edges on this product, panels may not lay flush.

B. Accessories: Fiberglass infill, #820-01-00.

### 2.2.1 SUSPENSION SYSTEMS

- Components: All main beams and cross tees shall be commercial quality hot-dipped galvanized steel as per ASTM A 653. Main beams and cross tees are double-web steel construction with (15/16 inch) (9/16 inch) type exposed flange design. Exposed surfaces chemically cleansed, capping pre-finished galvanized steel in baked polyester paint. Main beams and cross tees shall have rotary stitching.

  - Structural Classification: ASTM C 635 Intermediate Duty.

  - Color: White or match the actual color of the selected panel, unless noted otherwise.

  - Acceptable Product: (Prelude XL 15/16″ Exposed Tee Grid) (Suprafine XL 9/16 inch Exposed Tee Grid) as manufactured by Armstrong World Industries, Inc.

- Attachment Devices: Size for five times design load indicated in ASTM C 635, Table 1, Direct Hung unless otherwise indicated.

- Wire for Hangers and Ties: ASTM A 641, Class 1 zinc coating, soft temper, pre-stretched, with a yield stress load of at least time three design load, but not less than 12 gauge.

- Edge Moldings and Trim: Metal or extruded aluminum of types and profiles indicated or, if not indicated, manufacturer's standard moldings for edges and penetrations, including light fixtures, that fit type of edge detail and suspension system indicated. Provide moldings with exposed flange of the same width as exposed runner.

- Accessories

### PART 3 - EXECUTION

### 3.1 EXAMINATION

- Do not proceed with installation until all wet work such as concrete, terrazzo, plastering and painting has been completed and thoroughly dried out.

### 3.2 PREPARATION

- Measure each ceiling area and establish layout of acoustical units to balance border widths at opposite edges of each ceiling. Avoid use of less than half width units at borders, and comply with reflected ceiling plans. Coordinate panel layout with mechanical and electrical fixtures.

### 3.3 INSTALLATION

- Install suspension system and panels in compliance with ASTM C636, with the authorities having jurisdiction, and in accordance with the manufacturer's installation instructions:

  - MetalWorks Tin Installation Instructions, LA-297442.

    - 24inch X 48inch panels are for nail up installation. Refer to MetalWorks Tin Installation Instructions, LA-297442.

- Suspend main beam from overhead construction with hanger wires spaced 4 feet on center along the length of the main runner. Install hanger wires plumb and straight.

- Install wall moldings at intersection of suspended ceiling and vertical surfaces. Miter corners where wall moldings intersect or install corner caps.

### 3.4 ADJUSTING AND CLEANING

- Replace damaged and broken panels.

- Clean exposed surfaces of ceilings panels, including trim, edge moldings, and suspension members. Comply with manufacturer's instructions for cleaning and touch up of minor finish damage. Remove and replace work that cannot be successfully cleaned and repaired to permanently eliminate evidence of damage.

### END OF SECTION