SECTION 03900

CONCRETE RESTORATION AND REPAIR

Display hidden notes to specifiers. (Don't know how? Click Here)

** NOTE TO SPECIFIER ** ProSpec (formerly Bonsal) manufacturers of concrete restoration and repair products, construction grouts and concrete mixes.

This section is based on the products of Bonsal / ProSpec, which is located at:

This section is based on the products of Bonsal American / ProSpec, which is located at:

8201 Arrowridge Blvd.

Charlotte, NC 28273

Toll Free: (800)334-0784

Fax: (704)529-5261

E-mail:  prospec@oldcastle.com

Web:  www.prospec.com

ProSpec, an Oldcastle brand is the professionally specified brand of tile & stone installation systems, floor preparation systems and concrete repair and restoration products.   The business has over 50 years of experience producing quality tile grouts and tile setting mortars and over 30 years producing concrete repair and self-leveling products.  This is proven performance you can trust.

GENERAL

SECTION INCLUDES

** NOTE TO SPECIFIER ** Delete items below not required for project.

Concrete restoration and repair materials.

Concrete mixes.

Primers.

Latex admixtures/bonding agents.

RELATED SECTIONS

** NOTE TO SPECIFIER ** Delete section below if not relevant to this project; add others as required.

Section 03300 - Cast-In-Place Concrete:  New concrete.

REFERENCES

** NOTE TO SPECIFIER ** Delete references from the list below that are not actually required by the text of the edited section.

ASTM C 39 - Standard Test Method for Compressive Strength of Cylindrical Concrete Specimens.

ASTM C 78 - Standard Test Method for Flexural Strength of Concrete (Using Simple Beam with Third-Point Loading).

ASTM C 109 - Standard Test Method for Compressive Strength of Hydraulic Cement Mortars (Using 2-inch or 50-mm Cube Specimens).

ASTM C 157 - Standard Test Method for Length Change of Hardened Hydraulic-Cement Mortar and Concrete.

ASTM C 191 - Standard Test Method for Time of Setting of Hydraulic Cement by Vicat Needle.

ASTM C 266 - Standard Test Method for Time of Setting of Hydraulic-Cement Paste by Gillmore Needles.

ASTM C 348 - Standard Test Method for Flexural Strength of Hydraulic-Cement Mortars.

ASTM C 387 - Standard Specification for Packaged, Dry, Combined Materials for Mortar and Concrete.

ASTM C 469 - Standard Test Method for Static Modulus of Elasticity and Poisson's Ratio of Concrete in Compression.

ASTM C 488 - Standard Test Method for Conducting Exterior Exposure Tests of Finishes for Thermal Insulation.

ASTM C 496 - Standard Test Method for Splitting Tensile Strength of Cylindrical Concrete Specimens.

ASTM C 531 - Standard Test Method for Linear Shrinkage and Coefficient of Thermal Expansion of Chemical-Resistant Mortars, Grouts, Monolithic Surfacings, and Polymer Concretes.

ASTM C 666 - Standard Test Method for Resistance of Concrete to Rapid Freezing and Thawing.

ASTM C 827 - Standard Test Method for Change in Height at Early Ages of Cylindrical Specimens of Cementitious Mixtures.

ASTM C 882 - Standard Test Method for Bond Strength of Epoxy-Resin Systems Used With Concrete by Slant Shear.

ASTM C 928 - Standard Specification for Packaged, Dry, Rapid-Hardening Cementitious Materials for Concrete Repairs.

ASTM C 944 - Standard Test Method for Abrasion Resistance of Concrete or Mortar Surfaces by the Rotating-Cutter Method.

ASTM C 1090 - Standard Test Method for Measuring Changes in Height of Cylindrical Specimens of Hydraulic-Cement Grout.

ASTM C 1202 - Standard Test Method for Electrical Indication of Concrete’s Ability to Resist Chloride Ion Penetration.

ASTM D 638 - Standard Test Method for Tensile Properties of Plastics.

ASTM E 96 - Standard Test Methods for Water Vapor Transmission of Materials.

ICRI No. 310.1R-2008 – Guide for Surface Preparation for the Repair of Deteriorated Concrete Resulting from Reinforcing Steel Corrosion.

ICRI No. 310.1R-1996 – Guide for Selecting Application Methods for the Repair of Concrete Surfaces.

ICRI No. 310.2-1997 – Selecting and Specifying Concrete Surface Preparation for Sealers, Coatings and Polymer Overlays.

SUBMITTALS

Submit under provisions of Section 01300.

Manufacturer's data sheets on each product to be used, including:

Preparation instructions and recommendations.

Storage and handling requirements and recommendations.

Installation methods.

Shop Drawings: Show location of repairs, details, anchorage, and other information required for review.

DELIVERY, STORAGE, AND HANDLING

Store products in manufacturer's unopened packaging until ready for installation.

Store and dispose of solvent-based materials, and materials used with solvent-based materials, in accordance with requirements of local authorities having jurisdiction.

Store products in manufacture’s unopened packing until ready for installation.

QUALITY ASSURANCE

Manufacturer Qualifications:  Firm specializing in the manufacture of concrete restoration and repair materials, with minimum 10 years experience.

Installer Qualifications:  Firm specializing in installation of concrete restoration and repair materials, with minimum 5 years documented experience with projects of similar scope, design, and materials.

** NOTE TO SPECIFIER ** Include a mock-up if the project size and/or quality warrant taking such a precaution.  When deciding on the extent of the mock-up, consider all the major different types of work on the project.  Include specific requirements below.

Mock-Up:  Provide a mock-up for evaluation of surface preparation techniques and application workmanship.

Pre-Installation Meeting: At least three weeks prior to commencing work conduct a meeting at the project site to discuss contract requirements and job conditions; require the attendance of installers, representative of installation materials manufacture, and installers of related materials; notify architect in advance of meeting.

PROJECT CONDITIONS

Maintain environmental conditions (temperature, humidity, and ventilation) within limits recommended by manufacturer for optimum results.  Do not install products under environmental conditions outside manufacturer's absolute limits.

PRODUCTS

MANUFACTURERS

Acceptable Manufacturer:

ProSpec / Bonsal American

8201 Arrowridge Blvd., Charlotte, N.C. 28273

Telephone #: 704-525-1621, Toll Free #: 800-334-0784, Fax #: 704-529-5261

Web: http://www.prospec.com

** NOTE TO SPECIFIER ** Delete one of the following two paragraphs; coordinate with requirements of Division 1 section on product options and substitutions.

Substitutions:  Not permitted.

Requests for substitutions will be considered in accordance with provisions of Section 01600.

CONCRETE RESTORATION AND REPAIR PRODUCTS

Horizontal Thin Repairs (1/16” up to 2 inches in depth):

ProSpec Vinyl Concrete Mortar for Patching:  Single component, fast setting, polymer modified portland cement based product for horizontal concrete repair; shrinkage compensating, superior abrasion resistance.

Acceptable Product: ProSpec Vinyl Concrete Patch.

Exceeds ASTM C 387 for High Strength Mortar.

Set Time (ASTM C 191):

Initial Set: 35 to 45 minutes.

Final Set: 60 to 70 minutes.

Flexural Strength, (ASTM C 78): 7 days - >1,400 psi (9.7 MPa), 28 days - >1850 psi (12.8 MPa).

Compressive Strength, (ASTM C 109): 24 hours air cured - > 2,400 psi (16.5 MPa), 7 days - >5,000 psi (34.5 MPa), 28 days - >5,500 psi (37.9 MPa).

Length Change Percent, Air Cured (ASTM C 157): Minus 0.003%.

Tensile Strength, (ASTM C 190): 7 days - >500 psi (3.4 MPa), 28 days - >600 psi (4.1 MPa).

Modulus of Elasticity (ASTM C 469): 2.46 x 106.

Splitting Tensile Strength, (ASTM C 496): 28 Days - >450 psi (3.1 MPa).

Resistance to Deicing Salts (ASTM C 672): 25 cycles, zero (0) visual rating.

Shear Bond Strength, (ASTM C 882): 28 Days - >1800 psi (12.2 MPa).

Abrasion Resistance, (ASTM C 944): 28 Days - 2.3 g loss.

Horizontal Resurfacing & Topping Repairs for Traffic Areas (Feather Edge to 1/2 inch (13 mm) in depth):

Horizontal Concrete Resurfacer: Pre-Blended, fast drying polymer modified repair mortar to resurface old distressed concrete or rain pitted new concrete; single component semi flowable consistency allows placements with squeegee, masonry brush or broom; high flexural & compressive strengths. Allows vehicle traffic in 48 hours; uniform superior bond strength. Self curing:

Acceptable Product:  ProSpec CR-Concrete Resurfacer

Working Time at 70 degrees F (21 degrees C): 20-30 minutes.

Set Time at 70 degrees F (21 degrees C) ASTM C191:

Initial Set:  60-90 minutes.

Final Set:  90-120 minutes

Compressive Strength, (ASTM C109): 3 hours – 1,500 psi (10.3 Mpa), 1 day – 2,400 psi (16.5 MPa), 7 days – 3,600 psi (24.7 MPa), 28 days - 5000 psi (34.5 MPa)

Length Change (ASTM C 157):

Dry: 1 day – 0.004% , 7 days - .0000%, 28 days – minus 0.014%.

Wet: 1 day - 0.007%, 7 days - 0.010%, 28 days – 0.031%.

Fiber  Reinforced Concrete Repair Mortar(Very Rapid Repair Material):Pre-blended cement based mortar achieving high compressive strengths, 2000 psi + in one hour; open to heavy vehicle traffic in 60 minutes, wide temperature installation range 20 F to 100 F (-6° C to 38° C); high performance Fiber Reinforced Repair Mortar- Fast setting Portland cement based repair mortar cement technology with alkali resistant fibers for enhanced impact, flexural and tensile strengths; 1/2 inch (12.7mm) to 8 inches (203.4mm) depth; Non-Corrosive.

Acceptable Product: ProSpec Premium Patch 100.

Meets rapid hardening requirement of ASTM C 928.

Working Time at 70 degrees F (21 degrees C): 15 minutes.

Set Time (ASTM C 191) at 70 degrees F (21 degrees C):

Initial Set: 20 minutes.

Final Set: 25 Minutes.

Compressive Strength, (ASTM C109) at 75 degrees F (24 degrees C): 1 hour – 2,650 psi (18.3) MPa), 3 hours – 3,500 psi (24.1 MPa), 1 day – 6,000 psi (41.3 MPa), 7 days – 8,000 psi (55.1 MPa), 28 days - 10,000 psi (69.0 MPa).

Bond Strength, (ASTM C 882): 1 day – 1,400 psi (9.6 MPa), 7 days - >2000 psi (13.8 MPa).

Rapid Freeze Thaw (ASTM C 666B) Resistance 300 Cycles, no sign of spalling, 99.6 percent.

Scaling Resistance Freeze Thaw (ASTM C672),25 Cycles, No Visible Scaling.

Length Change Hardened Cement Mortar(ASTM C928); .08% water storage; Minus 0.06 Air Storage.

Fiber Reinforced , Polymer Modified Concrete Repair  Mortar (Very Rapid/High Bond Strength Repair Material):Pre –Blended Cement based mortar achieving high compressive strengths, 2000 psi + in one hour; open to heavy vehicle traffic in 60 minutes, wide temperature installation range 20 degrees F to 100 degrees F (-6 degrees C to 38 degrees C); high performance Fiber Reinforced Repair Mortar- Fast setting Portland cement based repair mortar cement technology with alkali resistant fibers for enhanced impact, flexural & tensile strengths;1/2 inch (12.7mm) to 8 inches (203.4mm) depth;Non-Corrosive;  high flexural  and bond strength material.

Acceptable Product: ProSpec Premium Patch 200.

Meets rapid hardening requirement of ASTM C 928.

Working Time at 70 degrees F (21 degrees C): 15 minutes.

Set Time, (ASTM C 191) at 70 degrees F (21 degrees C):

Initial Set: 18 minutes.

Final Set:  20 Minutes.

Compressive Strength, (ASTM C109), at 75 degrees F (24 degrees C): 1 hour – 2,650 psi (18.3) MPa), 3 hours – 3,800 psi (26.2 MPa), 1 day – 5,400 psi (37.2 MPa), 7 days – 7,800 psi (53.8 MPa), 28 days – 9,100 psi (62.7 MPa).

Bond Strength, (ASTM C 882): 7 days – 1,500 psi (10.3 MPa), 7 days >3000 psi (20.7 MPa).

Flexural Strength, (ASTM C 348): 7 days – 1,100 psi (7.5 MPa), 28 days – 1200 psi (8.3 MPa).

Rapid Freeze Thaw (ASTM C 666B) Resistance 300 Cycles, no sign of spalling, 99.6 percent.

Scaling Resistance Freeze Thaw (ASTM C672), 25 Cycles, No visible scaling.

Length Change Hardened Cement Mortar(ASTM C928); 28 days - .038% water storage; Minus percent .094 percent Air Storage.

Vertical, Horizontal and Overhead Repairs with Corrosion Inhibitor (1/2 inch (13 mm) to 8 inches (203.4 mm) in depth):

General Purpose Polymer Modified Repair Mortar: single component rapid setting polymer modified repair mortar for repairing  & resurfacing vertical, overhead and horizontal concrete surfaces-above or below grade; easily shaped, molded or trowel shaved to conform to irregular surface profiles; array of colors and set times to meet repair constraints.

Acceptable Product: ProSpec BlendCrete.

Meets rapid hardening requirement of ASTM C 928.

Working Time at 70 degrees F (21 degrees C): 15 minutes.

Set Time (ASTM C191) at 70 degrees F (21 degrees C):

Intial Set: 20 minutes.

Final Set: 30 minutes.

Compressive Strength (ASTM C 928): 3 hours – 3,000 psi (20.7 MPa), 1 day – 4,000 psi (27.6 MPa), 7 days – 5,000 psi (34.5 MPa), 28 days – 5,500 psi (44.8 MPa).

Freeze /Thaw Resistance (ASTM B666), 300 cycles,1%  loss, slight scaling, no spalling.

Scaling Resistance (ASTM C 672): 25 cycles, no visible scaling.

Shear Bond Strength (ASTM C882): 1 day – 1,035 psi (7.1 MPa), 7 days - >1650 psi (11.4 MPa).

Flexural Strength (ASTM C348): 1 day – 1,142 psi (7.9 MPa), 28 days - 1180 psi (8.1MPa).

Colors: #0 Dark Gray; #2 Medium Gray; #3 Light Gray; Also available in white.

Stopping Active Water Leaks:

Hydraulic Cement:  High speed, single component cement repair material formulated for stopping active water leaks; can be applied under water; non-metallic; shrinkage compensated; for use above and below grade; for horizontal and vertical repairs.

Acceptable Product:  ProSpec Instant Hydraulic Cement.

Set Time (ASTM C 191):

Initial Set: 1 to 3 minutes.

Final Set: 3 to 4 minutes.

Flexural Strength, (ASTM C 78): 7 days - >1,000 psi (6.9 MPa), 28 days 1,400 psi (9.6 MPa).

Compressive Strength, (ASTM C 109): 1 hour – 1,600 psi (11 MPa), 24 hours – 2,800 psi (19.3 MPa), 7 days – 6,550 psi (45.9 MPa).

Tensile Strength (ASTM C 307): 7 days – 350 psi (2.4 MPa).

Linear Length Change, 24 Hours (ASTM C 157): 24 hours - 0.010%.

Coefficient of Thermal Expansion (ASTM C 531): (inches per degree F) 1.13 x 10-.

Density, Wet: 124 lbs. /ft3 (1986 kg/m3).

Vertical Resurfacing, Filling and Smoothing Tilt Up/Cast Concrete/Precast/ Masonry Block (feather edge to 1/2 inch (13 mm)):

Vertical Concrete Resurfacer: Polymer enhanced, single component screed mortar for resurfacing vertical concrete surfaces by filling and smoothing surface gaps, bug holes, honeycombs and depressions; contains smooth, non-angular aggregates; accepts most coatings/coverings within 30 minutes; freeze thaw reisistant.

Acceptable Product: Prospec RubCrete.

Working Time at 70 degrees F (21 degrees C): 30 minutes.

Compressive Strength: (ASTM  C109): 1 day – 600 psi (4.1 MPa), 3 days – 1,500 psi (10.3 MPa), 7 days – 2,000 psi (13.8 MPa), 28 days – 3,500 psi (24.1 MPa).

CONCRETE MIXES

High Performance Concrete Repair Mix:  Super plasticized high performance ready mix concrete; for full depth repairs 2 inches (51 mm) or greater; pumpable; structural applications and full depth repairs for highways, structural piers, bridge decks, balconies, parking garages, slabs, industrial floors and foundations.

Acceptable Product: ProSpec Metro Mix 240.

Exceeds ASTM C 387, Standard Specification for Packaged, Dry, Combined Materials for Mortar and Concrete.

Compressive Strength, (ASTM C 39): 1 day – 2,000 psi (14 MPa), 7 days – 5,000 psi (34 MPa), 28 days – 6,000 psi (41 MPa).

Length Change, Dry (ASTM C 157):

Dry: Minus 0.04.

Wet: Plus 0.02.

High Performance Concrete Repair Mix with Corrosion Inhibitor:  Air entrained super plasticized high performance ready mix concrete with corrosion inhibitor; for full depth repairs 1.5 inches (38.1 mm) or greater; pumpable; structural applications and full depth repairs for highways, structural piers, bridge decks, balconies, parking garages, slabs, industrial floors and foundations.

Acceptable Product: ProSpec Metro Mix 240 AE.

Exceeds ASTM C 387, Standard Specification for Packaged, Dry, Combined Materials for Mortar and Concrete.

Compressive Strength, (ASTM C 39): 1 day – 2,000 psi (14 MPa), 7 days – 5,000 psi (34 MPa), 28 days – 6,000 psi (41 MPa).

Length Change (ASTM C 157):

Dry: Minus 0.04.

Wet: Plus 0.02.

LATEX ADMIXTURES/BONDING AGENTS

Primer / Bonding Agent:  Zero VOC concentrated liquid used prior to installation of cementitious toppings, underlayments, repair mortars and stucco to improve bond strength and curing time; interior or exterior; above and below grade.

Acceptable Primer: ProSpec Primer.

Acrylic Latex Admixture: A  solvent free/zero VOC liquid acrylic polymer emulsion admixture for cement based products,repair & setting mortars and stucco to enhance or improve bond strength,durability, curing time, workability, and tensile strength;interior or exterior;above or below grade.

Acceptable Acrylic Latex Admixture : ProSpec Acrylic Additive

- EXECUTION

EXAMINATION

Do not begin installation until substrates have been properly prepared.

If substrate preparation is the responsibility of another installer, notify Architect of unsatisfactory preparation before proceeding.

PREPARATION

Clean surfaces thoroughly prior to installation.

Prepare surfaces using the methods recommended by the manufacturer for achieving the best result for the substrate under the project conditions.

INSTALLATION

Install in accordance with manufacturer's instructions.

PROTECTION

Protect installed products until completion of project.

Touch-up, repair or replace damaged products after Substantial Completion.

END OF SECTION