Guide Specification for Crane Composites, Inc. Glasbord Glass Fiber Reinforced Plastic Paneling

This guide specification document is provided by Crane Composites, Inc. (Formerly known as Kemlite Co.), as a technical support tool incident to the sale of its products. Crane Composites, Inc. is solely responsible for its content. This document should be reviewed and edited to suit Project requirements by a qualified design professional.

Contact manufacturer for more information on this or other products made by Crane Composites, Inc. 23525 West Eames Street, Channahon, IL 60410. Phone: (800) 435-0080. Phone: (815) 467-8600. Fax: (815) 467-8666. E-mail: salesbp@cranecomposites.com    www.glasbord.com

This document contains trademarks owned by Crane Composites, Inc. including Glasbord, Fire-X Glasbord, Sanigrid II and Surfaseal. Glasbord fiberglass reinforced plastic (FRP) wall and ceiling paneling products are ideal as an interior finish for a wide range of commercial, industrial and institutional applications.

Editor Note: Edit document to suit Project requirements and specifier practice. Specifier notes are shown in blue text like this. Optional text [is shown in bold with brackets like this]. Locations where language for Project-specific requirements is to be inserted are shown like this: <insert language>. Remove specifier notes and unused optional text in final version of the specification document.

Editor Note: The Construction Specifications Institute (CSI) recommends and supports use of its MasterFormat 2004 section title and numbering system, shown below as SECTION 06 64 00 – PLASTIC PANELING. (If using the earlier MasterFormat 1995 section title and numbering designation, the section may be numbered and titled as SECTION 06600 – PLASTIC PANELING). Alternatively this product may be specified as an interior wall finish material under SECTION 09 77 00 – SPECIAL WALL SURFACING. (If using the earlier MasterFormat 1995 section title and numbering designation, the section may be numbered and titled as SECTION 09770 – SPECIAL WALL SURFACES).

SECTION 06 64 00 – PLASTIC PANELING (GLASS FIBER REINFORCED PLASTIC PANELING)

SECTION 09 77 00 – SPECIAL WALL SURFACING (GLASS FIBER REINFORCED PLASTIC PANELING)

PART 1 GENERAL

1.1 SUMMARY

A. Section Includes: Fiberglass reinforced plastic (FRP) paneling for wall and ceiling surfaces, including trim accessories.

Editor Note: Revise paragraph below to suit Project requirements. Add section numbers and titles according to CSI MasterFormat and specifier practice. This paragraph is intended for use when a reader might reasonably expect to find work requirements in this Section, but those requirements are actually located in another, related section.

B. Related Sections: Section(s) related to this section include:

1. <Insert Work Title>: <Insert Division number> Section <Insert Section title>.

Editor Note: Standards numbers and titles in the article below are provided for specifier information and reference. Retain, edit or delete article to suit specifier practice.

1.2 REFERENCES

A. General: Standards listed by reference form a part of this specification section. Standards listed are identified by issuing authority, abbreviation, designation number, title or other designation. Standards subsequently referenced in this Section are referred to by issuing authority abbreviation and standard designation.

B. ASTM International:

1. ASTM D2583 - Standard Test Method for Indentation Hardness of Rigid Plastics by Means of a Barcol Impressor.

2. ASTM D5319 – Standard Specification for Glass-Fiber Reinforced Polyester Wall and Ceiling Panels.

3. ASTM D5420 - Standard Test Method for Impact Resistance of Flat, Rigid Plastic Specimen by Means of a Striker Impacted by a Falling Weight (Gardner Impact).

4. ASTM E84 - Standard Test Method for Surface Burning Characteristics of Building Materials.

Editor Note: Retain paragraph below when FM 4880 approval is required.

C. Factory Mutual FM:

1. FM Approval 4880 - Class 1 Fire Rating of Insulated Wall or Wall and Roof/Ceiling Panels, Interior Finish Materials or Coatings, and Exterior; Wall Systems.

D. Crane Composites (Inspired by Kemlite):

1. Installation Guide For FRP Panels #6876.

1.3 ADMINISTRATIVE REQUIREMENTS

A. Preinstallation Meetings: Conduct preinstallation meeting to clarify Project requirements, substrate conditions, manufacturer’s installation instructions and manufacturer’s warranty requirements.

1.4 ACTION SUBMITTALS

A. Product Technical Data: For each type of product required.

Editor Note: Retain paragraph below if compliance with USGBC LEED IEQ 4.1 is required. Crane offers its LEED Information Form #6931 for this purpose.

B. LEED Submittal Documentation:

1. Product Certificates and Laboratory Test Reports: For LEED Credit IEQ 4.1, for adhesives, sealants and wall panels, including a printed statement of VOC content.

C. Shop Drawings: Showing layout, profiles and product components, including anchorage, accessories, finish colors, patterns and textures. Indicate location and dimension of joints and fastener attachment.

D. Samples: Selection and verification samples for finishes, colors and textures. Submit two samples of each type of panel, trim and fastener.

E. Certificates: Product certificates signed by manufacturer certifying materials comply with specified performance characteristics, criteria and physical requirements.

F. Test and Evaluation Reports: Showing compliance with specified performance characteristics and physical properties.

G. Manufacturer’s Instructions: Manufacturer’s Installation Guide for FRP #6876.

H. Qualifications Statements: For manufacturer and installer.

Editor Note: Retain paragraph below when GREENGUARD Certification is required.

I. Environmental Certifications: Certificates for GREENGUARD Indoor Air Quality and Children & Schools Certification.

1.5 CLOSEOUT SUBMITTALS

A. Operation and Maintenance Data: For installed products including maintenance methods and precautions against cleaning materials and methods detrimental to finishes and performance.

B. Warranty: Warranty documents required in this section.

Editor Note: Coordinate article below with Division 01 Closeout Submittals Section.

1.6 MAINTENANCE MATERIAL

A. Extra Materials: Deliver to Owner extra materials from same production run as products installed. Package products with protective covering and identify with descriptive labels. Comply with Division 01 Closeout Submittals Section.

Editor Note: Revise paragraph below specifying size and percentage as required for project.

1. Quantity: Furnish quantity of <Insert description of units> units equal to <Insert percentage> percent of amount installed. <Insert any additional requirements>.

2. Delivery, Storage and Protection: Comply with Owner’s requirements for delivery, storage and protection of extra materials.

1.7 QUALITY ASSURANCE

A. Manufacturer Qualifications:

1. Provider of advanced installer training.

B. Installer Qualifications:

1. At least five years experience in the installation of fiberglass reinforced plastic panels.

2. Experience on at least five projects of similar size, type and complexity as this Project.

3. Employer of workers for this Project who are competent in techniques required by manufacturer for installation indicated.

Editor Note: Retain paragraph below for assemblies constructed either onsite or offsite required for review of construction, coordination of work of multiple sections, testing, or observation of operation. Mock-ups, when accepted or approved, establish standards by which work will be judged.

C. Mock-Ups: Install at project site a job mock-up using acceptable products and manufacturer approved installation methods. Obtain Owner and Architect approval and acceptance of finish color, texture, pattern, trim, fasteners and quality of installation.

1. Mock-Up Size: <Insert mock-up size requirements>.

2. Maintenance: Maintain mock-up during construction for quality comparison. Remove and legally dispose of mock-up when no longer required.

3. Incorporation: Mock-up may be incorporated into final construction upon Owner approval.

Editor Note: Retain, edit or delete paragraph below to suit Project requirements.

D. Surface-Burning Characteristics: Determined by testing identical products according to ASTM E84 by a testing agency acceptable to authorities having jurisdiction.

1. Flame-Spread Index:  [25 (Class A)] [200 (Class C)] <Insert index value> or less.

2. Smoke-Developed Index:  [450] <Insert index value> or less.

Editor Note: Retain paragraph below when FMRC approval and Fire-X Glasbord are required.

E. FMRC (Factory Mutual Research Corporation) Approval: Fire-X Glasbord FM.

Editor Note: Retain paragraph below when USDA approval is required.

F. Meets USDA/FSIS requirements.

Editor Note: Crane Composites, Inc. complete line of FRP wall and ceiling panels has earned GREENGUARD "Children & Schools" and GREENGUARD "Indoor Air Quality" Certifications. These certifications are issued by the GREENGUARD Environmental Institute (GEI) under file number 90154-03. Retain paragraph below when GREENGUARD certification is required.

G. Environmental Certification: GREENGUARD Indoor Air Quality and Children & Schools Certified.

1.8 DELIVERY, STORAGE AND HANDLING

A. Delivery: Deliver materials in manufacturer’s original, unopened, undamaged containers with identification labels intact. Package sheets on skids or pallets for shipment to project site.

B. Storage and Handling: Store materials protected from exposure to harmful weather conditions and at temperature and humidity conditions recommended by manufacturer. Store panels in a dry indoor location at Project site. Remove any foreign matter from face of panel by using a soft bristle brush, avoiding abrasive action.

1.9 PROJECT CONDITIONS

A. Ambient Conditions:

1. Do not begin installation until building is enclosed, permanent heating and cooling equipment is in operation, and residual moisture from plaster, concrete or terrazzo work has dissipated.

2. During installation, and within 48 hours prior to installation, maintain ambient temperature and relative humidity within limits required by type of panel adhesive used and recommendation of panel adhesive manufacturer.

Editor Note: Coordinate article below with Conditions of the Contract and with Division 01 Closeout Submittals (Warranty) Section.

1.10 WARRANTY

A. Special Warranty: Manufacturer's standard form in which manufacturer agrees to repair or replace FRP panels that fail within specified warranty period.

1. Failures shall include, but not be limited to substantial defects in material and workmanship, rotting, rusting, corrosion, development of structural surface cracks, or requiring painting or refinishing.

2. Warranty Period: Ten years from date of Substantial Completion.

B. Special Warranty: Installer's standard form in which installer agrees to repair or replace FRP panels that fail due to poor workmanship or faulty installation within the specified warranty period.

1. Warranty Period: <Insert number of years> years from date of Substantial Completion.

PART 2 PRODUCTS

Editor Note: Add product features, performance characteristics, material standards, and descriptions as applicable. Use of such phrases as "or equal" or "approved equal" or similar phrases may cause ambiguity in specifications. Such phrases require verification (procedural, legal and regulatory) and assignment of responsibility for determining "equal" products.

2.1 FIBERGLASS REINFORCED PLASTIC (FRP) PANELS

Editor Note: Glasbord panels below are available in several formulations to meet application-specific requirements, including maintenance needs and sanitation control. Contact manufacturer for more information. Glasbord panel designations and applications are as follows:

Fire-X Glasbord Factory Mutual (FXE) Class A, Wall/Ceiling, Embossed

Fire-X Glasbord (FX) Class A, Wall/Ceiling, Embossed

Glasbord FSI (FSI) Class A, Wall/Ceiling, Smooth

Glasbord-P (PIF) Class C, Wall, Embossed

Glasbord-PSIF (PSIF) Class C, Wall/Ceiling, Smooth

Glasbord-CGI (CGI) Class C, Ceiling, Embossed

Glasbord-PCI (PCI) ULC, Wall/Ceiling, Embossed

Glasbord-CNSI (CNSI) ULC, Wall/Ceiling, Smooth

A. General: Fiberglass reinforced plastic panels complying with ASTM D5319.

Editor Note: Retain subparagraph below when low-emitting materials are required.

1. Low-Emitting Materials: Comply with testing and product requirements of California Department of Health Services standards for Volatile Organic Emissions.

B. Basis of Design Product: Subject to compliance with requirements provide Crane Composites, Inc.; Glasbord Fiberglass Reinforced Plastic (FRP) Panels, [Fire-X Glasbord Factory Mutual (FXE)] [Fire-X Glasbord (FX)] [Glasbord FSI (FSI)] [Glasbord-P (PIF)] [Glasbord-PSI (PSI)] [Glasbord-CGI (CGI)].

C. Substitution Limitations: [No substitutions] [All other manufacturers: Submit substitution request in accordance with Section 012500 - "Substitution Procedures"] <Insert limitations>.

D. Product Options:

Editor Note: Special colors can be custom matched and manufactured provided there is a minimum square footage order of 12,000 sq feet (1,116 sq m). Allow 4 to 6 weeks lead time. CGI is available only in 85 white.

1. Color: [85 White] [84 Ivory] [83 Colonial White] [70 Soft Beige] [66 Silver] [48 Pearl Gray] [As indicated by manufacturer's designations] [As selected by Architect from manufacturer's full range].

2. Surface Finish: [Smooth] [Pebbled embossed texture].

3. Nominal Thickness: [0.075 inch (1.9 mm)] [0.09 inch (2.3 mm)] [0.10 inch (2.5 mm)] [0.12 inch (3.0 mm)].

Editor Note: Retain subparagraph below for products required for wall applications and edit to suit Project requirements.

4. Wall Panel Size: <Insert size requirements.> [As indicated on drawings] [4 feet (1.2 m) by 8 feet (2.4 m)] [4 feet (1.2 m) by 9 feet (2.7 m)], [4 feet (1.2 m) by 10 feet (3 m)] [4 feet (1.2 m) by 12 feet (3.7 m)].

Editor Note: Retain subparagraph below for products required for ceiling applications and edit to suit Project requirements.

5. Ceiling Panel Size: [23-3/4 inches (0.6 m) by 47-3/4 inches (1.2 m)] [23-3/4 inches (0.6 m) by 23-3/4 inches (0.6 m)].

Editor Note: When FRP panels are used in conjunction with heavy duty lay-in grid systems, the space between the panel and the grid system can result in an unacceptable appearance. This condition is especially noticeable with the use of smooth FRP panels. For best results require only butt end ceiling grid systems or the Sanigrid II Fiberglass Ceiling grid system when using FRP as a ceiling panel. Contact manufacturer for more information and recommendations on ceiling applications.

Editor Note: Retain subparagraph below for products required for Sanigrid II ceiling applications and edit to suit Project requirements.

6. Ceiling Panel Size for Use with Grid: [23-3/4 inches (0.6 m) by 48 inches (1.22 m)] [23-3/4 inches (0.6 m) by 23-3/4 inches (0.6 m)].

Editor Note: Crane Composite's Surfaseal offers impact, abrasion and scratch resistance making it ideal for high traffic areas.

7. Surface Protection: Manufacturer’s proprietary molecularly-bonded surface protection film for fiberglass reinforced plastic (FRP) panels.

E. Performance Criteria:

Editor Note: Edit subparagraph below to suit Project requirements. 35 for Glasbord-P, 55 for Glasbord-PWI, 55 for Glasbord-PSI and 60 for Glasbord-CGI.

1. Scratch Resistance: ASTM D2583, Barcol Hardness of [35] [55] [60].

2. Abrasion Resistance: Taber Abrasion Test using CS-17 abrasive wheels with 1000 g weight. Panels shall exhibit weight loss after 25 cycles of no more than 0.038 percent.

Editor Note: Edit subparagraph below to suit Project requirements.

For Glasbord PIF, impact strength value is 30 in-lb (3.4 J).

For Glasbord CGI, impact strength value is 35 in-lb (3.9 J).

For Glasbord PWI (0.12 in. thick), impact strength value is 45 in-lb (5.1 J).

3. Impact Strength: ASTM D5420, [30 in-lb (3.4 J)] [35 in-lb (3.9 J)] [45 in-lb (5.1 J)] showing no visible damage on finish side.

Editor Note: Retain subparagraph below when Class A product and permanent finish side identification are required.

4. Product Identification: Finish side identification and confirmation of meeting [Class A] [Class C] interior finish requirements after installation and while in service, without labels.

2.2 ACCESSORIES

Editor Note: Coordinate color selection in paragraph below with color of required FRP panels.

A. Moldings, Trim and Caps: One-piece extruded polypropylene or PVC, configured to cover panel edges and corners.

1. Color: [85 White] [84 Ivory] [83 Colonial White] [70 Soft Beige] [66 Silver] [48 Pearl Gray] [1201 Black] [Match panels] [As indicated by manufacturer's product designations] [As selected by Architect from manufacturer's full product range].

B. Panel Adhesive: As recommended by panel manufacturer for the required substrates.

1. Adhesive shall have a VOC content of [50] <Insert value> g/L or less.

C. Panel Sealant: [Single-component, mildew-resistant silicone] [Latex] [As recommended by panel manufacturer].

1. Sealant shall have a VOC content of [250] <Insert value> g/L or less.

Editor Note: Retain subparagraph below when optional rivet fasteners are required. Rivets are recommended for applications where there are large fluctuations in temperature or humidity, where the substrate is uneven, and in all low temperature or cold storage applications. Refer to Installation Guide #6876 for rivet pattern and installation instructions.

D. Rivets: <Insert color name and number designation.>

2.3 SOURCE QUALITY CONTROL

A. Obtain fiberglass reinforced panels, moldings and other accessories from a single manufacturer.

PART 3 EXECUTION

3.1 EXAMINATION

A. General: Comply with manufacturer’s product data, including product technical bulletins, and installation instructions in product catalogs and product packaging.

B. Verify that substrates previously installed under other sections are acceptable for product installation in accordance with FRP manufacturer’s instructions.

1. Examine substrate surfaces to determine that corners are plumb and straight, that surfaces are smooth, sound and uniform, that nails or screw fasteners are countersunk, and that joints and cracks are filled flush and smooth with adjoining surfaces.

2. Do not begin panel installation until substrate surfaces are in satisfactory condition.

3.2 PREPARATION

A. Clean substrates to remove substances that could impair bond of adhesive, including oil, grease, dirt, dust or other contamination.

B. Condition panels by unpacking and placing in installation space no less than 24 hours before installation.

C. Lay out paneling before beginning installation. Locate panel joints to provide equal panel widths at ends of walls and so that trimmed panels at corners are not less than 12 inches (300 mm) wide.

3.3 INSTALLATION

A. General: Comply with panel manufacturer’s Installation Guide #6876.

B. Cut and drill panels with carbide tipped saw blades or drill bits, or cut with snips.

C. Install panels with manufacturer’s recommended gap for panel field and corner joints.

1. Pre-drill fastener holes in panels, 1/8 inch (3.2 mm) greater in diameter than fastener.

2. Install panels in a full spread of adhesive. For trowel type and application of adhesive, follow adhesive manufacturer’s recommendations.

D. Install trim accessories with adhesive and nails or staples. Do not fasten through panels.

E. Sealant:

1. Fill grooves in trim accessories with sealant before installing panels and bed inside corner trim in a bead of sealant.

2. Remove excess sealant and smears as paneling is installed. Clean with solvent recommended by sealant manufacturer and then wipe with clean dry cloths.

F. Tolerances: <Insert requirements>.

Editor Note: Retain article below if manufacturer site visits are required and edit to suit Project requirements. Consult with manufacturer for services required, and establish number and duration of periodic site visits with Owner and manufacturer. Coordinate paragraph below with Division 01 Quality Assurance Section.

3.4 FIELD QUALITY CONTROL

.

A. Manufacturer’s Field Services: If requested by Owner, provide manufacturer’s field service consisting of product use recommendations and periodic site visits for inspection of product installation in accordance with manufacturer’s instructions.

1. Site Visits: <Insert requirements for site visits.>

3.5 CLEANING

A. Remove temporary coverings and protection of adjacent work areas.

B. Repair or replace any installed products that have been damaged.

C. Clean installed panels in accordance with manufacturer’s instructions prior to Owner’s acceptance.

D. Remove and lawfully dispose of construction debris from project site.

3.6 PROTECTION

A. Protect installed product and finish surfaces from damage during construction.

END OF SECTION 06 64 00 – PLASTIC PANELING (GLASS FIBER REINFORCED PLASTIC PANELING)

END OF SECTION 09 77 00 – SPECIAL WALL SURFACING (GLASS FIBER REINFORCED PLASTIC PANELING)