CSI Three-Part Specification for QuietRock® DensArmor Plus® 528

1250 Elko Drive

Sunnyvale, CA 94089

Phone: (800) 797-8159

Phone: (408) 541-8000

Fax: (408) 715-2560

E-mail: info@QuietSolution.com

www.QuietSolution.com

This MANU-SPEC® utilizes the Construction Specifications Institute (CSI) Manual of Practice, including MasterFormat™, SectionFormat™ and PageFormat™. A MANU-SPEC is a manufacturer-specific proprietary product specification using the proprietary method of specifying applicable to project specifications and master guide specifications. Optional text is indicated by brackets [ ]; delete optional text in final copy of specification. Specifier Notes typically precede specification text; delete notes in final copy of specification. Trade/brand names with appropriate symbols typically are used in Specifier Notes; symbols are not used in specification text. Metric conversion, where used, is soft metric conversion.

This MANU-SPEC specifies soundproof gypsum wall panels. These products are manufactured by Quiet Solution, Inc. Revise MANU-SPEC section number and title below to suit project requirements, specification practices and section content. Refer to CSI MasterFormat for other section numbers and titles.

Section 09 21 16

Gypsum Board Assemblies

- GENERAL

  - SUMMARY

Specifier Note: Revise paragraphs below to suit project requirements.

    - Section Includes: composite gypsum wall and ceiling panels.

Specifier Note: Revise paragraph below to suit project requirements. If a reader of this section could reasonably expect to find a product or component specified in this section, but it is actually specified elsewhere, then the related section number(s) should be listed in the paragraph below. Add section numbers and titles per CSI MasterFormat and specifier’s practice. In the absence of related sections, delete paragraph below.

    - Related Sections:

      - Division 09 Section: Gypsum Board.

      - Division 09 Section: Supports for Plaster and Gypsum Board.

Specifier Note: Article below may be omitted when specifying manufacturer’s proprietary products and recommended installation. Retain Reference Article when specifying products and installation by an industry reference standard. If retained, list standard(s) referenced in this section. Indicate issuing authority name, acronym, standard designation and title. Establish policy for indicating edition date of standard referenced. Conditions of the Contract or Division 1 References Section may establish the edition date of standards. This article does not require compliance with standard, but is merely a listing of references used. Article below should list only those industry standards referenced in this section.

  - REFERENCES

    - ASTM International:

      - ASTM C630 Standard Specification for Water-Resistant Gypsum Backing Board.

      - ASTM C840 Standard Specification for Application and Finishing of Gypsum Board.

      - ASTM C1396 Standard Specification for Gypsum Board.

      - ASTM C1658 Standard Specification for Glass Mat Gypsum Panels.

      - ASTM D3273 Standard Test Method for Resistance to Growth of Mold on the Surface of Interior Coatings in an Environmental Chamber.

      - ASTM E84 Standard Test Method for Surface Burning Characteristics of Building Materials.

    - Gypsum Association (GA):

      - GA-214 Recommended Levels of Gypsum Board Finish.

Specifier Note: Article below should be restricted to statements describing design or performance requirements and functional (not dimensional) tolerances of a complete system. Limit descriptions to composite and operational properties required to link components of a system together and to interface with other systems.

  - SYSTEM DESCRIPTION

    - Design Requirements: Provide products/systems that have been manufactured, fabricated and installed to meet the following criteria:

      - [Specify design requirements.].

    - Performance Requirements: Provide products/systems that have been manufactured, fabricated and installed to meet the following criteria:

      - [Specify performance requirements.].

Specifier Note: Article below includes submittal of relevant data to be furnished by Contractor before, during or after construction. Coordinate this article with Architect’s and Contractor’s duties and responsibilities in Conditions of the Contract and Division 1 Submittal Procedures Section.

  - SUBMITTALS

    - General: Submit listed submittals in accordance with Conditions of the Contract and Division 1 Submittal Procedures Section.

    - Product Data: Submit product data for specified products.

    - Quality Assurance/Control Submittals:

      - Test Reports: Upon request, provide test reports from recognized testing laboratories.

      - Certificates: Submit manufacturer’s certificate that products meet or exceed specified requirements.

    - Closeout Submittals: Submit the following:

      - Warranty documents specified herein.

Specifier Note: Article below should include prerequisites, standards, limitations and criteria that establish an overall level of quality for products and workmanship for this section. Coordinate article below with Division 1 Quality Assurance Section.

  - QUALITY ASSURANCE

    - Installer Qualifications: Utilize an installer having demonstrated experience on projects of similar size and complexity.

Specifier Note: Paragraph below should list obligations for compliance with specific code requirements particular to this section. General statements to comply with a particular code are typically addressed in Conditions of the Contract and Division 1 Regulatory Requirements Section. Repetitive statements should be avoided.

    - Regulatory Requirements and Approvals: [Specify applicable requirements of regulatory agencies.].

      - [Code agency name].

        - [Report or approval number].

    - Certifications: [Specify requirement for certifications.].

Specifier Note: Retain paragraph below if preinstallation meeting is required.

    - Preinstallation Meetings: [Specify requirements for meeting.].

Specifier Note: Article below should include special and unique requirements. Coordinate article below with Division 1 Product Requirements Section.

  - DELIVERY, STORAGE & HANDLING

    - General: Comply with Division 1 Product Requirements Section.

    - Delivery: Deliver materials in manufacturer’s original, unopened, undamaged containers with identification labels intact.

    - Storage and Protection: Store materials protected from exposure to harmful environmental conditions and at temperature and humidity conditions recommended by the manufacturer.

      - Store all products in a dry location until use.

Specifier Note: Coordinate article below with Conditions of the Contract and with Division 1 Closeout Submittals (Warranty) Section. Use this article to require special or extended warranty or bond covering the work of this section.

  - WARRANTY

    - Project Warranty: Refer to Conditions of the Contract for project warranty provisions.

    - Manufacturer’s Warranty: Submit, for Owner’s acceptance, manufacturer’s standard warranty document executed by authorized company official. Manufacturer’s warranty is in addition to, and not a limitation of, other rights Owner may have under contract documents.

Specifier Note: Coordinate subparagraph below with manufacturer’s warranty requirements.

      - Warranty Period: [Specify number of years.] beginning with Date of Substantial Completion.

- PRODUCTS

Specifier Note: Retain article below for proprietary method specification. Add product attributes, performance characteristics, material standards and descriptions as applicable. Use of such phrases as “or equal” or “or approved equal” or similar phrases may cause ambiguity in specifications. Such phrases require verification (procedural, legal and regulatory) and assignment of responsibility for determining “or equal” products.

  - SOUNDPROOF DRYWALL

Specifier Note: Paragraph below is an addition to CSI SectionFormat and a supplement to MANU-SPEC. Retain or delete paragraph below per project requirements and specifier’s practice.

    - Manufacturer: Quiet Solution, Inc.

      - Contact: 1250 Elko Drive, Sunnyvale, CA 94089; Telephone: (800) 797-8159, (408) 541-8000; Fax: (408) 715-2560; E-mail: professionals@quietsolution.com; Web site: www.quietsolution.com.

Specifier Note: Edit Paragraph below to suit project requirements. If substitutions are permitted, edit text below. Add text to refer to Division 1 Project Requirements (Product Substitutions Procedures) Section.

  - PRODUCT SUBSTITUTIONS

    - Substitutions: No substitutions permitted.

Specifier Note: Paragraphs below list proprietary sound and vibration control products offered by Quiet Solution, Inc. Select products appropriate to project. Consult manufacturer regarding product options. Select product characteristics required; delete characteristics not required. Refer to manufacturer’s product data.

  - MATERIALS

    - Gypsum Wall and Ceiling Panels:

      - QuietRock DensArmor Plus 528:

        - Thickness: 5/8 inch.

        - Weight: 2.9 psf.

        - Size: [4 feet × 8 feet] [4 feet × 9 feet] [4 feet × 10 feet] [4 feet × 12 feet].

        - Edges: Tapered.

        - Surfacing: Coated fiberglass mat on face and back.

        - Surface Burning Characteristics (ASTM E84): Class A.

        - Water Absorption (ASTM C630, ASTM C1396, ASTM C1658): < 5% of weight.

        - Mold Resistance (ASTM D3273): 10, in a test as manufactured.

- EXECUTION

Specifier Note: Paragraph below is an addition to CSI SectionFormat and a supplement to MANU-SPEC. Retain or delete paragraph below per project requirements and specifier’s practice.

  - EXAMINATION

    - Site Verification of Conditions: Verify that substrate conditions, which have been previously installed under other sections, are acceptable for product installation in accordance with manufacturer’s instructions.

  - PREPARATION

    - Clean surfaces thoroughly prior to installation.

    - Prepare surfaces using the methods recommended by the manufacturer for achieving the best result for the substrate under the project conditions.

  - INSTALLATION

    - Install in accordance with ASTM C840 and manufacturer’s instructions, product technical bulletins and product catalog [and as required to comply with seismic requirements].

    - Install framing to comply with ASTM C840 requirements for framing installation.

    - Install supplementary framing, blocking and bracing at terminations in gypsum board assemblies to support fixtures, equipment, heavy trim, grab bars, toilet accessories, furnishings or similar construction.

  - FINISHING

Specifier Note: Retain paragraph below when “Level 4” finish is required per GA-214. When using gloss, semi-gloss or enamel paint, or when working in a critical (severe) lighting area, always finish to a “Level 5” finish per GA-214. Refer to GA-214 for definition and examples of critical light areas. Consult gypsum board manufacturer for more information.

    - Primer and Paint Application:

      - Use a high quality, high build drywall primer/surfacer. Comply with application instructions of the primer manufacturer as stated on the container.

      - Apply high build primer at a sufficient wet film thickness to ensure a dry film thickness that will produce acceptable results.

Specifier Note: The number of coats of finish paint and the total dry film thickness of the finish coats needed for acceptable results will depend on the paint used. Consult paint manufacturer for more information.

      - Apply finish coats of paint per the paint manufacturer’s label instructions.

  - PROTECTION

    - Protect installed products until completion of project.

    - Touch up, repair or replace damaged products prior to Substantial Completion.

END OF SECTION