Copyright 2003 and 2005 The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

This Product MASTERSPEC Section is licensed by ARCOM for limited distribution by SCAFCO Corporation ("Licensee").  The license is subject to revocation.  Revisions to the original MASTERSPEC text were made solely by the Licensee.  A clean version (revisions accepted) and an underline-and-strikeout version of this Section, both of which modify the original MASTERSPEC text, are distributed by Licensee to assist in specifying Licensee's products.

Revisions made to the original MASTERSPEC text are provided by the Licensee and are not endorsed by, or representative of the opinions of, ARCOM or The American Institute of Architects (AIA).  A competent design professional should review and edit the document to suit project requirements.  For more information, contact SCAFCO Corporation, 6200 E. Main Avenue, P.O. Box 11215, Spokane Valley, WA 99211; phone:  888-318-6851; fax:  888-318-7258; Website:  www.pricelesssteel.com; e-mail:  nick@pricelesssteel.com.  For information about MASTERSPEC contact ARCOM at (800) 424-5080 or visit www.arcomnet.com.

SECTION 054000 - COLD-FORMED METAL FRAMING

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

- GENERAL

      - SUMMARY

        - This Section includes the following:

Adjust list below to suit Project.

          - Exterior load-bearing wall framing.

          - Interior load-bearing wall framing.

          - Exterior non-load-bearing wall framing.

          - Floor joist framing.

          - Roof trusses.

      - PERFORMANCE REQUIREMENTS

Retain this Article if delegating any part of design responsibility for cold-formed metal framing to fabricator.  Coordinate with Part 2, deleting prescriptive requirements such as steel thickness and minimum yield strength unless imposing minimum design restrictions.  Insert other performance and design criteria below to suit Project or add to Drawings.  AIA Document A201 requires Owner or Architect to specify performance and design criteria to be satisfied.

        - Structural Performance:  Provide cold-formed metal framing capable of withstanding design loads within limits and under conditions indicated.

          - Design Loads:  [As indicated.] [As follows:]

Delete first seven subparagraphs below if design loads and load combinations are indicated on Drawings.

            - Dead Loads:  [Weights of materials and construction] <Insert applicable dead loads>.

            - Live Loads:  <Insert applicable live loads.>

            - Roof Loads:  <Insert applicable roof loads.>

            - Snow Loads:  <Insert applicable snow loads.>

            - Wind Loads:  <Insert applicable wind loads.>

            - Seismic Loads:  <Insert applicable seismic loads.>

            - <Insert loads.>

          - Deflection Limits:  Design framing systems to withstand[ design loads] without deflections greater than the following:

Component deflection limits in five subparagraphs below are examples only.  Select deflection limits from applicable subparagraphs or insert other limits as appropriate for wall, floor, and ceiling finish materials.

            - Exterior Load-Bearing Wall Framing:  Horizontal deflection of [1/240] [1/360] [1/600] [1/720] of the wall height.

            - Interior Load-Bearing Wall Framing:  Horizontal deflection of [1/240] [1/360] of the wall height under a horizontal load of 5 lbf/sq. ft. (239 Pa).

            - Exterior Non-Load-Bearing Framing:  Horizontal deflection of [1/240] [1/360] [1/600] [1/720] <Insert ratio> of the wall height.

            - Floor Joist Framing:  Vertical deflection of 1/480 for live loads and l/360 for total loads of the span.

            - Roof Trusses:  Vertical deflection of [1/240] [1/360] of the span.

      - SUBMITTALS

        - Product Data:  For each type of product and accessory indicated.

        - LEED Submittal:

Retain subparagraph below if recycled content is required for LEED-NC or LEED-CI Credits MR 4.1 and MR 4.2.

          - Product Data for Credit MR 4.1[ and Credit MR 4.2]:  For products having recycled content, documentation indicating percentages by weight of postconsumer and preconsumer recycled content.

            - Include statement indicating costs for each product having recycled content.

        - Shop Drawings:  Show layout, spacings, sizes, thicknesses, and types of cold-formed metal framing; fabrication; and fastening and anchorage details, including mechanical fasteners.

Retain subparagraph below if cold-formed metal framing is required to withstand specific design loads and design responsibilities have been delegated to Contractor or if structural data are required as another way to verify products' compliance with performance requirements.  Professional engineer qualifications are specified in Division 01 Section "Quality Requirements."

          - For cold-formed metal framing indicated to comply with design loads, include structural analysis data signed and sealed by the qualified professional engineer responsible for their preparation.

        - Welding certificates.

        - Qualification data.

        - Product test reports.

        - Research/evaluation reports.

      - QUALITY ASSURANCE

        - Product Tests:  Mill certificates or data from a qualified independent testing agency indicating steel sheet complies with requirements.

        - Welding:  Qualify procedures and personnel according to AWS D1.3, "Structural Welding Code--Sheet Steel."

Delete paragraph below if no fire-resistance-rated units are required.

        - Fire-Test-Response Characteristics:  Where indicated, provide cold-formed metal framing identical to that of assemblies tested for fire resistance per ASTM E 119 by a testing and inspecting agency acceptable to authorities having jurisdiction.

Always retain paragraph below.

        - AISI Specifications and Standards:  Comply with AISI's "North American Specification for the Design of Cold-Formed Steel Structural Members" and its "Standard for Cold-Formed Steel Framing - General Provisions."

Retain two subparagraphs below, as applicable, if Project includes trusses or headers for load-bearing walls.

          - Comply with AISI's "Standard for Cold-Formed Steel Framing - Truss Design."

          - Comply with AISI's "Standard for Cold-Formed Steel Framing - Header Design."

Consider retaining paragraph below if Project is limited to one- and two-family residential construction, framing is fully detailed, and this AISI document is acceptable to authorities having jurisdiction.

        - Comply with AISI's "Standard for Cold-Formed Steel Framing - Prescriptive Method for One and Two Family Dwellings."

- PRODUCTS

"Priceless Steel Products" is a brand of SCAFCO Corporation.

      - MATERIALS

Retain paragraph below if recycled content is required for LEED-NC or LEED-CI Credits MR 4.1 and MR 4.2.

        - Recycled Content of Steel Products:  Provide products with an average recycled content of steel products so postconsumer recycled content plus one-half of preconsumer recycled content is not less than [25] <Insert number> percent.

Select required steel sheet grade and coating weight from subparagraphs in this Article.  If more than one selection is required, indicate locations of each material on Drawings.

        - Steel Sheet:  ASTM A 1003/A 1003M, Structural Grade, Type H, metallic coated, of grade and coating weight as follows:

Select minimum grade requirements from options in subparagraph below.

          - Grade:  [ST33H (ST230H)] [ST50H (ST340H)] [As required by structural performance] <Insert grade>.

Minimum coating requirement for Structural Grade, Type H steel is G60 or equivalent.  Retain first option in subparagraph below if ASTM A 1003/A 1003M's listing of minimum coating thicknesses is required.  This minimum coating designation assumes normal exposure conditions and construction practices.  When more severe exposure conditions are probable, for example, in coastal areas, consider specifying a heavier coating.  BIA recommends G90 (Z275) for stud backup applications.  Verify availability of heavier-coated steel.

          - Coating:  [G60 (Z180), A60 (ZF180), AZ50 (AZ150), or GF30 (ZGF90)] [G90 (Z275) or equivalent] <Insert coating weight>.

      - LOAD-BEARING WALL FRAMING

Retain this Article if load-bearing steel studs are required.  Distinguish axial load-bearing framing from exterior non-load-bearing wall framing here or on Drawings.  Indicate stud and track web depth on Drawings or insert here.

        - Steel Studs:  Manufacturer's standard C-shaped steel studs, of web depths indicated, punched, with stiffened flanges, and as follows:

          - Basis-of-Design Product:  Subject to compliance with requirements, provide SCAFCO Corporation;  <Insert SSMA designation>.

          - Minimum Base-Metal Thickness:  [0.0329 inch (0.84 mm)] [0.0428 inch (1.09 mm)] [0.0538 inch (1.37 mm)] [0.0677 inch (1.72 mm)] [0.0966 inch (2.45 mm)].

Delete subparagraph below if assigning design responsibility to Contractor in Part 1 "Performance Requirements" Article.  If retaining, indicate whether design is based on gross or effective section properties.

          - Section Properties:  <Insert minimum allowable calculated section modulus, moment of inertia, and allowable moment.>

        - Steel Track:  Manufacturer's standard U-shaped steel track, of web depths indicated, unpunched, with straight flanges, and same minimum base-metal thickness as steel studs.

        - Engineered Header:  Two-piece assembly used to form header beams for lateral and vertical load support at interior and exterior door and window openings.

Coordinate sizing of engineered header with manufacturer or use SCAFCO "Header Solver Software."

Select one steel thickness from subparagraph below or revise to suit Project requirements.  Sequence corresponds to new common thickness designators 33, 43, 54, 68, and 97 and obsolete 20-, 18-, 16-, 14-, and 12-gage designations.  If retaining different thicknesses for different locations, indicate locations here or in the framing articles below.

          - Minimum Base-Metal Thickness:  [0.0329 inch (0.84 mm)] [0.0428 inch (1.09 mm)] [0.0538 inch (1.37 mm)] [0.0677 inch (1.72 mm)] [0.0966 inch (2.45 mm)].

Flange heights vary with application.  Coordinate with wall width.

          - Flange Height:  [2 inches (51 mm)] [2-1/2 inches (63 mm)] [3 inches (76 mm)] [3-1/2 inches (89 mm)] [4-1/2 inches (114 mm)].

Delete subparagraph below if assigning design responsibility to Contractor in Part 1 "Performance Requirements" Article.  If retaining, indicate whether design is based on gross or effective section properties.

          - Section Properties:  <Insert minimum allowable calculated section modulus, moment of inertia, and allowable moment.>

        - Steel Box or Back-to-Back Headers:  Manufacturer's standard C-shapes used to form header beams, of web depths indicated, punched, with stiffened flanges, and as follows:

Select one steel thickness from subparagraph below or revise to suit Project.  Sequence corresponds to new common thickness designators 33, 43, 54, 68, and 97 and obsolete 20-, 18-, 16-, 14-, and 12-gage designations.  If retaining different thicknesses for different locations, indicate locations here or in the framing articles below.

          - Minimum Base-Metal Thickness:  [0.0329 inch (0.84 mm)] [0.0428 inch (1.09 mm)] [0.0538 inch (1.37 mm)] [0.0677 inch (1.72 mm)] [0.0966 inch (2.45 mm)].

Flange widths vary with application; coordinate with wall width.

          - Flange Width:  [1-3/8 inches (35 mm)] [1-5/8 inches (41 mm)] [2 inches (51 mm)] [2-1/2 inches (63 mm)].

Delete subparagraph below if assigning design responsibility to Contractor in Part 1 "Performance Requirements" Article.  If retaining, indicate whether design is based on gross or effective section properties.

          - Section Properties:  <Insert minimum allowable calculated section modulus, moment of inertia, and allowable moment.>

        - Connection Devices:  For continuous load displacement from framing members to foundation. ASTM A 653/A 653M, SS grade 50, 50 ksi (340 MPa minimum yield strength, G-90 (Z275) zinc coated.

          - Basis-of-Design Product:  Subject to compliance with requirements, provide Priceless Steel Products:

            - Header Plate Connector: "Secure Plate HG."

            - Floor Tie to Foundation: "Secure Clip FA."

            - Floor to Floor Connection Strap: "Secure Plate SS."

            - Truss Tie Clip: "Secure Clip TT."

        - Bridge Clip:  For securing cold-rolled channels to light-gauge steel framing.  ASTM A 653/A 653M, SS grade 50, 50 ksi (340 Mpa) minimum yield strength, G-90 (Z275) zinc coated.

          - Basis-of-Design Product:  Subject to compliance with requirements, provide Priceless Steel Products; [BC337 with 3-5/8 inches stud depth] [BC575 with 6 inches stud depth] [BC775 with 8 inches stud depth].

        - Solid Backing Plates:  For support of wall shelving, cabinetry, heavy wall hangings, handicap support rails and other equipment.  ASTM A 653/A 653M, SS grade 50, 50 ksi (340 Mpa) minimum yield strength, G-90 (Z275) zinc coated.

        - Basis-of-Design Product:  Subject to compliance with requirements, provide Priceless Steel Products; Kwik-Back [KB125 with 1-1/4 inches flange width] [KB162 with 1-5/8 inches flange width] [KB200 with 2 inches flange width].

      - EXTERIOR NON-LOAD-BEARING WALL FRAMING

Retain this Article if exterior non-load-bearing wall framing, sometimes called "curtain-wall" framing by manufacturers, is required.  Indicate stud and track web depth on Drawings or insert here.

        - Steel Studs:  Manufacturer's standard C-shaped steel studs, of web depths indicated, punched, with stiffened flanges, and as follows:

Select one steel thickness from first subparagraph below or revise to suit Project.  Sequence corresponds to new common thickness designators 33, 43, 54, 68, and 97 and obsolete 20-, 18-, 16-, 14-, and 12-gage designations.

          - Minimum Base-Metal Thickness:  [0.0329 inch (0.84 mm)] [0.0428 inch (1.09 mm)] [0.0538 inch (1.37 mm)] [0.0677 inch (1.72 mm)] [0.0966 inch (2.45 mm)].

          - Flange Width:  [1-3/8 inches (35 mm)] [1-5/8 inches (41 mm)] [2 inches (51 mm)] [2-1/2 inches (63 mm)].

Delete subparagraph below if assigning design responsibility to Contractor in Part 1 "Performance Requirements" Article.  If retaining, indicate whether design is based on gross or effective section properties.

          - Section Properties:  <Insert minimum allowable calculated section modulus, moment of inertia, and allowable moment.>

        - Steel Track:  Manufacturer's standard U-shaped steel track, of web depths indicated, unpunched, with unstiffened flanges, and same minimum base-metal thickness as steel studs.

        - Jamb Studs:  Used at window and door jambs and other openings as indicated on the Drawings.

          - Basis-of-Design Product:  Subject to compliance with requirements, provide Priceless Steel Products; Kwik-Jamb.

          - Minimum Base-Metal Thickness:  [0.0329 inch (0.84 mm)] [0.0428 inch (1.09 mm)] [0.0538 inch (1.37 mm)] [0.0677 inch (1.72 mm)] [0.0966 inch (2.45 mm)].

Select one of three paragraphs below for components to cope with vertical deflection of the primary structure.

Retain paragraph below if vertical deflection clips are required.

        - Vertical Deflection Clips:  Manufacturer's standard [bypass] [head] clips, capable of accommodating upward and downward vertical displacement of primary structure through positive mechanical attachment to stud web.  Designed for screw attachment to stud using proprietary insert allowing frictionless vertical slide while maintaining lateral rigidity and attachment to structure with mechanical fasteners or welding.

          - Basis-of-Design Product:  Subject to compliance with requirements, provide Priceless Steel Products; Slide Clip, including insert.

            - Exterior Head-of-Wall Track:  "SCAFCO Slotted Track SLT."

            - Exterior Head-of-Wall Clip:  "Slide Clip ESC."

            - Bypass Structure at Pour-Stop Connection:  "Slide Clip PLC1."

            - Bypass Structure Below Slab Connection: "Slide Strut PLS1."

Retain first paragraph below if a proprietary single-leg deflection track is required.  Revise description, as applicable, if limiting types of single-leg track.

        - Single Deflection Track:  Manufacturer's single, deep-leg, U-shaped steel track; unpunched, with unstiffened flanges, of web depth to contain studs while allowing free vertical movement, with flanges designed to support horizontal and lateral loads.

        - Double Deflection Tracks:  Manufacturer's double, deep-leg, U-shaped steel tracks, consisting of nested inner and outer tracks; unpunched, with unstiffened flanges.

      - FLOOR JOIST FRAMING

Retain this Article if steel joists are required.  If joist and joist-track depth are not indicated, revise paragraphs below and add depth required.

        - Steel Joists:  Manufacturer's standard C-shaped steel joists, of web depths indicated, [unpunched,] [punched,] [punched, with enlarged service holes,] with stiffened flanges, and as follows:

          - Minimum Base-Metal Thickness:  [0.0329 inch (0.84 mm)] [0.0428 inch (1.09 mm)] [0.0538 inch (1.37 mm)] [0.0677 inch (1.72 mm)] [0.0966 inch (2.45 mm)].

          - Flange Width:  [1-5/8 inches (41 mm)] [2 inches (51 mm)] [2-1/2 inches (63 mm)], minimum.

Delete subparagraph below if assigning design responsibility to Contractor in Part 1 "Performance Requirements" Article.  If retaining, indicate whether design is based on gross or effective section properties.

          - Section Properties:  <Insert minimum allowable calculated section modulus, moment of inertia, and allowable moment.>

Revise paragraph below to include descriptions of other related components, such as headers or other built-up members, at openings or other terminations.

        - Steel Joist Track:  Manufacturer's standard U-shaped steel joist track, of web depths indicated, unpunched, with unstiffened flanges, and as follows:

          - Minimum Base-Metal Thickness:  Matching steel joists.

          - Flange Width:  [1-5/8 inches (41 mm)] [2 inches (51 mm)] [2-1/2 inches (63 mm)], minimum.

      - ROOF TRUSSES

Retain first option in paragraph below for predominant method of fabricating trusses from proprietary shapes for manufacturer's proprietary trusses.  Retain second option, now the exception, if C-shapes are proposed.  Besides several of the listed framing manufacturers, Aegis Metal Framing, Alpine Engineered Products, Mitek Industries, Nucon Steel, Tri-Chord, and others produce trusses.

        - Roof Truss Members:  Manufacturer's standard[-shape steel sections] [C-shaped steel sections, of web depths indicated, unpunched, with stiffened flanges].

        - Connection Devices:  For continuous load displacement from chord and web members to supporting wall structure. ASTM A 653/A 653M, SS grade 50, 50 ksi (340 Mpa) minimum yield strength, G-90 (Z275) zinc coated.

          - Basis-of-Design Product:  Subject to compliance with requirements, provide Priceless Steel Products:

            - Truss Web Plate Connector: "Secure Web Plate WP."

            - Truss Plate Connection: "Secure Gusset Plate GP."

            - Truss Tie Clip: Priceless "Secure Clip TT."

      - FRAMING ACCESSORIES

Revise minimum yield strength of accessories as required.

        - Fabricate steel-framing accessories from steel sheet, ASTM A 1003/A 1003M, Structural Grade, Type H, metallic coated, of same grade and coating weight used for framing members, unless otherwise indicated.

Delete paragraph below if rolled steel shapes and clips are not required or are specified in another Section.

        - Steel Shapes and Clips:  ASTM A 36/A 36M, zinc coated by hot-dip process according to ASTM A 123/A 123M.

        - Connection Devices:  For continuous load from framing members to supporting wall structure. ASTM A 653/A 653M, SS grade 50, 50 ksi (340 Mpa) minimum yield strength, G-90 (Z275) zinc coated.

          - Basis-of-Design Product:  Subject to compliance with requirements, provide Priceless Steel Products:

            - Rafter Tie Down Clip Connector: "Secure Clip MB."

            - Hip Joist Connection: "Hip to Beam Secure Clip HB."

            - Truss Tie Clip: "Secure Clip TT."

            - Joist Hanger Clip: "Secure Joist Hanger FJ."

        - Bracing, bridging, solid blocking:

          - Basis-of-Design Product:  Priceless Steel Products; "Kwik-Bridge Punch System."

Select grade of anchor bolt, head type, and type of protective coating from paragraph below.  Revise if using high-strength, low-alloy anchor bolts.

        - Anchor Bolts:  ASTM F 1554, Grade [36] [55], threaded carbon-steel [hex-headed bolts] [headless, hooked bolts] [headless bolts, with encased end threaded,] and carbon-steel nuts; and flat, hardened-steel washers; zinc coated by [hot-dip process according to ASTM A 153/A 153M, Class C] [mechanically deposition according to ASTM B 695, Class 50].

Retain paragraph below if expansion anchors are acceptable.  Verify safety factor with Project's structural engineer.  Revise as required or insert specific load requirements and names of acceptable products.

        - Expansion Anchors:  Fabricated from corrosion-resistant materials, with capability to sustain, without failure, a load equal to 5 times design load, as determined by testing per ASTM E 488 conducted by a qualified independent testing agency.

Retain first paragraph below if power-actuated fasteners are acceptable.  Verify safety factor with Project's structural engineer.

        - Power-Actuated Anchors:  Fastener system of type suitable for application indicated, fabricated from corrosion-resistant materials, with capability to sustain, without failure, a load equal to 10 times design load, as determined by testing per ASTM E 1190 conducted by a qualified independent testing agency.

        - Mechanical Fasteners:  ASTM C 1513, corrosion-resistant-coated, self-drilling, self-tapping steel drill screws.

          - Head Type:  Low-profile head beneath sheathing, manufacturer's standard elsewhere.

      - MISCELLANEOUS MATERIALS

        - Galvanizing Repair Paint:  [SSPC-Paint 20 or DOD-P-21035] [ASTM A 780].

Retain first paragraph below if concrete or masonry substrates require leveling before setting track or prefabricated assemblies.

        - Cement Grout:  Portland cement, ASTM C 150, Type I; and clean, natural sand, ASTM C 404.  Mix at ratio of 1 part cement to 2-1/2 parts sand, by volume, with minimum water required for placement and hydration.

        - Shims:  Load bearing, high-density multimonomer plastic, nonleaching.

        - Sealer Gaskets:  Closed-cell neoprene foam, 1/4 inch (6.4 mm) thick, selected from manufacturer's standard widths to match width of bottom track or rim track members.

- EXECUTION

      - PREPARATION

Retain paragraph below if joists, trusses, or bottom track of load-bearing walls requires a uniform-bearing surface on concrete or masonry construction.

        - Install load bearing shims or grout between the underside of wall bottom track or rim track and the top of foundation wall or slab at stud or joist locations to ensure a uniform bearing surface on supporting concrete or masonry construction.

Retain paragraph below if isolating framing from contact with concrete or masonry construction.

        - Install sealer gaskets to isolate the underside of wall bottom track or rim track and the top of foundation wall or slab at stud or joist locations.

      - INSTALLATION, GENERAL

Retain this Article with each specific framing classification in articles farther below.

        - Install cold-formed metal framing according to AISI's "Standard for Cold-Formed Steel Framing - General Provisions" and to manufacturer's written instructions unless more stringent requirements are indicated.

        - Install cold-formed metal framing and accessories plumb, square, and true to line, and with connections securely fastened.

        - Install framing members in one-piece lengths.

        - Install temporary bracing and supports to secure framing and support loads comparable in intensity to those for which structure was designed.  Maintain braces and supports in place, undisturbed, until entire integrated supporting structure has been completed and permanent connections to framing are secured.

Include details on Drawings showing expansion- and control-joint construction and locations.

        - Do not bridge building expansion and control joints with cold-formed metal framing.  Independently frame both sides of joints.

Retain first paragraph below if insulation for exterior framing is required.

        - Install insulation, specified in Division 07 Section "Thermal Insulation," in built-up exterior framing members, such as headers, sills, boxed joists, and multiple studs at openings, that are inaccessible on completion of framing work.

        - Fasten hole reinforcing plate over web penetrations that exceed size of manufacturer's standard punched openings.

Revise paragraph and subparagraph below to suit Project.  Coordinate with limitations of subsequent finish materials.

        - Erection Tolerances:  Install cold-formed metal framing level, plumb, and true to line to a maximum allowable tolerance variation of 1/8 inch in 10 feet (1:960) and as follows:

          - Space individual framing members no more than plus or minus 1/8 inch (3 mm) from plan location.  Cumulative error shall not exceed minimum fastening requirements of sheathing or other finishing materials.

      - LOAD-BEARING WALL INSTALLATION

If this Article is required, retain with "Installation, General" Article.

        - Install continuous top and bottom tracks sized to match studs.  Align tracks accurately and securely anchor at corners and ends, and at spacings as follows:

          - Anchor Spacing:  [24 inches (610 mm)] [32 inches (813 mm)] [To match stud spacing] [As shown on Shop Drawings].

        - Squarely seat studs against top and bottom tracks with gap not exceeding of 1/8 inch (3 mm) between the end of wall framing member and the web of track.  Fasten both flanges of studs to top and bottom tracks.  Space studs as follows:

          - Stud Spacing:  [12 inches (305 mm)] [16 inches (406 mm)] [19.2 inches (488 mm)] [24 inches (610 mm)] [As indicated].

        - Set studs plumb, except as needed for diagonal bracing or required for nonplumb walls or warped surfaces and similar configurations.

        - Align studs vertically where floor framing interrupts wall-framing continuity.  Where studs cannot be aligned, continuously reinforce track to transfer loads.

        - Align floor and roof framing over studs.  Where framing cannot be aligned, continuously reinforce track to transfer loads.

        - Anchor studs abutting structural columns or walls, including masonry walls, to supporting structure as indicated.

        - Install headers over wall openings wider than stud spacing.  Locate headers above openings as indicated.  Fabricate headers of compound shapes indicated or required to transfer load to supporting studs, complete with clip-angle connectors, web stiffeners, or gusset plates.

          - Frame wall openings with not less than a double stud at each jamb of frame as indicated on Shop Drawings.  Fasten jamb members together to uniformly distribute loads.

          - Install runner tracks and jack studs above and below wall openings.  Anchor tracks to jamb studs with clip angles or by welding, and space jack studs same as full-height wall studs.

        - Install supplementary framing, blocking, and bracing in stud framing indicated to support fixtures, equipment, services, casework, heavy trim, furnishings, and similar work requiring attachment to framing.

          - If type of supplementary support is not indicated, comply with stud manufacturer's written recommendations and industry standards in each case, considering weight or load resulting from item supported.

Select spacing of bridging from options in paragraph below or revise to suit Project.

        - Install horizontal bridging in stud system, spaced [48 inches (1220 mm)] [as indicated] [as indicated on Shop Drawings].  Fasten at each stud intersection.

Select type of bridging required from three subparagraphs below or revise to suit Project.  Add locations if more than one type of bridging is required.  Add minimum size of flat steel strap, such as 1-1/2 by 0.0329 inch (38 by 0.84 mm), if default size is required.

          - Bridging:  Cold-rolled steel channel, welded or mechanically fastened to webs of punched studs with a minimum of 2 screws into each flange of the clip angle for framing members up to 6 inches (150 mm) deep.

          - Bridging:  Combination of flat, taut, steel sheet straps of width and thickness indicated and stud-track solid blocking of width and thickness to match studs.  Fasten flat straps to stud flanges and secure solid blocking to stud webs or flanges.

          - Bridging:  Proprietary Kwik-Bridge Punch System installed according to manufacturer's written instructions.

Delete first paragraph below if not required.  Revise bracing type and reinforcement at terminations to suit Project.  Description below usually applies to shear walls.  Add track reinforcing or gusset plate requirements to Drawings if applicable, particularly for shear walls.  If sheathing provides bracing to one or both stud flanges, revise to suit Project.

        - Install steel sheet diagonal bracing straps to both stud flanges, terminate at and fasten to reinforced top and bottom tracks.  Fasten clip-angle connectors to multiple studs at ends of bracing and anchor to structure.

        - Install miscellaneous framing and connections, including supplementary framing, web stiffeners, clip angles, continuous angles, anchors, and fasteners, to provide a complete and stable wall-framing system.

      - EXTERIOR NON-LOAD-BEARING WALL INSTALLATION

If this Article is required, retain with "Installation, General" Article.

        - Install continuous tracks sized to match studs.  Align tracks accurately and securely anchor to supporting structure as indicated.

Select fastening of studs to top track only if required.  Do not fasten studs to deflection track, such as in infill wall framing.

        - Fasten both flanges of studs to[ top and] bottom track, unless otherwise indicated.  Space studs as follows:

          - Stud Spacing:  [12 inches (305 mm)] [16 inches (406 mm)] [19.2 inches (488 mm)] [24 inches (610 mm)] [As indicated].

        - Set studs plumb, except as needed for diagonal bracing or required for nonplumb walls or warped surfaces and similar requirements.

Indicate isolation details on Drawings or insert detailed description here.

        - Isolate non-load-bearing steel framing from building structure to prevent transfer of vertical loads while providing lateral support.

Retain subparagraph below if deflection clips are required for bypassing or infill wall framing.  Vertical deflection clips are used if wall is stick built or panelized.

          - Connect vertical deflection clips to [bypassing] [infill] studs and anchor to primary building structure using mechanical fasteners.

        - Install horizontal bridging in wall studs, spaced in rows indicated on Shop Drawings but not more than 48 inches (1220 mm) apart.  Fasten at each stud intersection.

          - Bridging:  Combination of flat, taut, steel sheet straps of width and thickness indicated and stud-track solid blocking of width and thickness to match studs.  Fasten flat straps to stud flanges and secure solid blocking to stud webs or flanges.

          - Bridging:  Proprietary Kwik-Bridge Punch System installed according to manufacturer's written instructions.

        - Install miscellaneous framing and connections, including stud kickers, web stiffeners, clip angles, continuous angles, anchors, fasteners, and stud girts, to provide a complete and stable curtain-wall-framing system.

      - JOIST INSTALLATION

If this Article is required, retain with "Installation, General" Article.

        - Install perimeter joist track sized to match joists.  Align and securely anchor or fasten track to supporting structure at corners, ends, and spacings indicated on Shop Drawings.

        - Install joists bearing on supporting frame, level, straight, and plumb; adjust to final position, brace, and reinforce.  Fasten joists to both flanges of joist track.

Revise minimum end bearing in first subparagraph below if joists bearing on flange of joist track are acceptable.  Web stiffeners will usually be required to reinforce joist web.

          - Install joists over supporting frame with a minimum end bearing of 1-1/2 inches (38 mm).

          - Reinforce ends and bearing points of joists with web stiffeners, end clips, joist hangers, steel clip angles, or steel-stud sections as indicated on Shop Drawings.

        - Space joists not more than 2 inches (51 mm) from abutting walls, and as follows:

          - Joist Spacing:  [12 inches (305 mm)] [16 inches (406 mm)] [19.2 inches (488 mm)] [24 inches (610 mm)] [As indicated].

        - Frame openings with built-up joist headers consisting of joist and joist track, nesting joists, or another combination of connected joists if indicated.

        - Install joist reinforcement at interior supports with single, short length of joist section located directly over interior support, with lapped joists of equal length to joist reinforcement, or as indicated[ on Shop Drawings].

          - Install web stiffeners to transfer axial loads of walls above.

        - Install bridging at intervals indicated[ on Shop Drawings].  Fasten bridging at each joist intersection as follows:

Select type of bridging required from two subparagraphs below or revise to suit Project.  Add locations if more than one type of bridging is required.  Add minimum size of flat steel strap, such as 1-1/2 by 0.0329 inch (38 by 0.84 mm), if default size is required.  Revise if also fastening flat steel strap bridging to top flange of joists.

          - Bridging:  Joist-track solid blocking of width and thickness indicated, secured to joist webs.

          - Bridging:  Combination of flat, taut, steel sheet straps of width and thickness indicated and joist-track solid blocking of width and thickness indicated.  Fasten flat straps to bottom flange of joists and secure solid blocking to joist webs.

        - Secure joists to load-bearing interior walls to prevent lateral movement of bottom flange.

        - Install miscellaneous joist framing and connections, including web stiffeners, closure pieces, clip angles, continuous angles, hold-down angles, anchors, and fasteners, to provide a complete and stable joist-framing assembly.

      - TRUSS INSTALLATION

If this Article is required, retain with "Installation, General" Article.

        - Install, bridge, and brace trusses according to Shop Drawings and requirements in this Section.

        - Truss Spacing:  [16 inches (406 mm)] [19.2 inches (488 mm)] [24 inches (610 mm)] [32 inches (813 mm)] [48 inches (1220 mm)] [As indicated].

        - Do not alter, cut, or remove framing members or connections of trusses.

        - Erect trusses with plane of truss webs plumb and parallel to each other, align, and accurately position at spacings indicated.

        - Erect trusses without damaging framing members or connections.

Retain first paragraph below if trusses bear on load-bearing, cold-formed wall framing.

        - Align webs of bottom chords and load-bearing studs or continuously reinforce track to transfer loads to structure.  Anchor trusses securely at all bearing points.

        - Install continuous bridging and permanently brace trusses as indicated[ on Shop Drawings and designed according to LGSEA's Technical Note 551e, "Design Guide for Permanent Bracing of Cold-Formed Steel Trusses."] [.]

Insert additional article titles here if other framing classifications warrant more detailed installation requirements than those in "Installation, General" Article.

      - FIELD QUALITY CONTROL

Retain this Article if field testing and inspecting are required.  Provisions below include shop and field testing and inspecting.  Revise and add a "Source Quality Control" Article to end of Part 2 if separate shop and field testing and inspecting are required.  Revise first paragraph below to include code-mandated special inspections or revise if Contractor engages testing agency.

        - Testing:  Owner will engage a qualified independent testing and inspecting agency to perform field tests and inspections and prepare test reports.

        - Field and shop welds will be subject to testing and inspecting.

        - Testing agency will report test results promptly and in writing to Contractor and Architect.

        - Remove and replace work where test results indicate that it does not comply with specified requirements.

        - Additional testing and inspecting, at Contractor's expense, will be performed to determine compliance of replaced or additional work with specified requirements.

      - REPAIRS AND PROTECTION

Retain first paragraph below if galvanized framing is in this Section.

        - Galvanizing Repairs:  Prepare and repair damaged galvanized coatings on fabricated and installed cold-formed metal framing with galvanized repair paint according to ASTM A 780 and manufacturer's written instructions.

        - Provide final protection and maintain conditions, in a manner acceptable to manufacturer and Installer, that ensure that cold-formed metal framing is without damage or deterioration at time of Substantial Completion.

END OF SECTION 054000