Valspar Flooring	May, 2006

1191 South Wheeling Rd

Chicago, Illinois 60090

Toll-Free: 	(800) 637-7793

Phone: 	(847) 541-9000

Fax:	(847) 541-2752

www.valsparflooring.com

Specifier Notes: This product guide specification is written according to the Construction Specifications Institute (CSI) Format, including MasterFormat (1995 Edition), SectionFormat, and PageFormat, contained in the CSI Manual of Practice. The section must be carefully reviewed and edited by the Architect to meet the requirements of the project and local building code. Coordinate with other specification sections and the drawings. Delete all "Specifier Notes" when editing this section.

# SECTION 09 6726

## Quartzite™ 2100
 Quartz Flooring System

Specifier Notes: This section covers Valspar Flooring “Quartzite 2100.” QUARTZITE 2100 is a nominal 3/32" trowel-applied floor system consisting of 100% solids clear epoxy and multicolored, fine-grain, ceramic-coated quartz aggregate. QUARTZITE 2100 conforms to USDA guidelines for use in federally inspected meat and poultry plants. Consult Valspar Flooring for assistance in editing this section for the specific application.

PART 1		GENERAL

1.1		SECTION INCLUDES

A.	This section specifies a highly decorative, seamless epoxy flooring system utilizing multi-colored ceramic granular aggregate to provide an aesthetic, chemical resistant and durable wearing surface.

B.	QUARTZITE 2100 is a monolithic flooring system that can be installed in a variety of thicknesses, degrees of surface texture and chemical resistance depending upon the agreed to requirements of this project.

1.2		RELATED SECTIONS

Specifier Notes: Edit the following list as required for the project. List other sections with work directly related to the floor coating.

A.	Section 03300 - Cast-in-Place Concrete.

B.	Section 03930 - Concrete Rehabilitation.

1.3		REFERENCES

Specifier Notes: List standards referenced in the section, complete with designations and titles. This article does not require compliance with standards, but is merely a listing of those used.

A.	ASTM C 413-88	- Test Method for Absorption of Chemical Resistant Mortars, Grouts and Monolithic Surfaces

B.	ASTM C 531-90	- Test Method for Linear Shrinkage and Coefficient of Thermal Expansion of Chemical Resistant Mortars, Grouts and Monolithic Surfaces

C.	ASTM C 579-91- Test Method for Compressive Strength of Chemical Resistant Mortars, Grouts and Monolithic Surfaces

D.	ASTM D 580-90	- Test Method for Flexural Strength and Modulus of Elasticity of Chemical Resistant Mortars, Grouts and Monolithic Surfaces

E.	ASTM D 638-91	- Test Method for Tensile Properties of Plastics

F.	ASTM D 1864-88 - Test Method for Moisture in Mineral Aggregates

G.	ASTM D 2240-91 - Test Method for Rubber Property - Durometer Hardness

H.	ASTM D 4060-90 - Test Method for Abrasion Resistance of Organic Coatings by the Taber Abraser

I.	ASTM D 4263-88 - Test Method for Capillary Moisture in Concrete by Plastic Sheet

J.	ASTM D 4258-83 - Standard Practice for Surface Cleaning Concrete for Coating

K.	ASTM D 4259-83 - Standard Practice for Abrading Concrete

L.	ASTM D 4260-83 - Standard Practice for Acid Etching Concrete

M.	ASTM D 4262-83 - Standard Test Method for pH of Chemically Cleaned or Etched Concrete Surfaces

1.4		SUBMITTALS

A.	Comply with Section 01330 - Submittal Procedures.

B.	Product Data:  Submit manufacturer's product data, including physical properties and colors available.

C.	Maintenance Instructions:  Submit manufacturer's maintenance instructions, including maintenance procedures and materials, procedures for stain removal and surface repair, and recommended schedule for cleaning.

1.5		QUALITY ASSURANCE

A.	Qualifications:

1.	Applicator:  Use applicator experienced in application of specified materials for a minimum of 5 years on projects of similar size and complexity.  Provide list of completed projects including project name and location, name of architect, name of material manufacturer, and approximate quantity of materials applied.

2.	Applicator's Personnel:  Employ persons trained for application of specified materials.

Specifier Notes: Describe requirements for a meeting to coordinate the application of the floor coating and to sequence related work.

B.	Preapplication Meeting:  Convene a preapplication meeting [2] [ _______ ] weeks before start of application of floor coating.  Require attendance of parties directly affecting work of this section, including Contractor, Architect, applicator, and manufacturer's representative.  Review surface preparation, priming, application, curing, protection, and coordination with other work.

1.6		DELIVERY, STORAGE, AND HANDLING

A.	Delivery:  Deliver materials to site in manufacturer's original, unopened containers and packaging, with labels clearly identifying product name, manufacturer, batch or lot number, and date of manufacture.

B.	Storage:

1.	Store materials in accordance with manufacturer's instructions.

2.	Keep containers sealed until ready for use.

C.	Handling:  Protect materials during handling and application to prevent damage or contamination.

1.7		PROJECT CONDITIONS

A.	Maintain minimum concrete surface temperature of 55 degrees F (12 degrees C) for a minimum of 48 hours before, during and after installation, or until cured.

B.	Concrete must be free of hydrostatic, capillary or moisture vapor pressure. Substrates in contact with ground must have a properly installed, effective vapor barrier to help prevent potential problems resulting from hydrostatic, capillary or moisture vapor pressure. Concrete must contain less than 3% moisture when tested per ASTM D 1864.

C.	Concrete to receive a QUARTZITE 2100 floor should have been designed and installed as approved by architect/engineer to minimize random cracking, curling, slab deflections and shall contain well designed control and isolation joints as approved by architect/engineer.

D.	Do not apply sealers or membrane curing agents to concrete. Moisture curing of concrete is recommended.

E.	Concretes containing lightweight aggregates are not recommended substrates.

F.	Provide ventilation, lighting and clean, drinkable water supply.

G.	Advise other trades of fixtures and fittings not to be installed until floor is cured, such as: radiators, painting, decorating, floor-supported equipment or cabinetwork, caulking, plumbing, fixtures, etc.

H.	Floors shall be kept free of traffic and no trades shall be permitted in rooms during the application and curing of the coating.

I.	Protect adjacent surfaces from damage resulting from work of this trade. If necessary, mask and/or cover adjacent surfaces, fixtures, equipment, etc. by suitable means.

PART 2		PRODUCTS

2.1		MANUFACTURER

A.	Valspar Flooring, 1191 South Wheeling Road, Wheeling, Illinois 60090. Toll Free: (800) 637-7793. Fax: (847) 541-2752. E-mail: flooringmarketing@valspar.com.

2.2		MATERIALS

Specifier Notes: Consult Valspar Flooring for assistance in determining proper coating for the specific application.

A.	Valflex Elastomeric Membrane (optional)

1.	Description: Flexible epoxy membrane coating used to reduce reflective cracking from substrate; also suited for use as waterproofing membrane. Hybrid chemistry assures long-term performance. Low odor. Two component.

Specifier Notes: For use as a waterproofing membrane, specify 2 coats of Valflex.

2.	Number of coats at 20 mil DFT per coat: [1] [2]

B.	Ceramic Granular Epoxy Flooring System:  Quartzite 2100.

1.	Water Absorption, ASTM C 413:  0.2%.

2.	Coefficient of Thermal Expansion, ASTM C 531-90: 1.32 x 10-5 in/in/°F

3.	Compressive Strength, ASTM C 579: 10,400 psi (72.0 Mpa)

4.	Flexural Strength, ASTM C 580: 3,200 psi (22 Mpa)

5.	Curing Shrinkage, ASTM D 531: 3.75 x 10-4 in/in

6.	Tensile Strength, ASTM D 638: 7250 psi (50.0 Mpa)

7.	Shore D Hardness, ASTM D 2240: 85

8.	Abrasion Resistance, ASTM D 4060: 0.105 gm

9.	Moisture Vapor Permeability, ASTM E 96: 0.06 perms

10.	Impact Resistance, Gardner Impact: >160 in·lb

11.	Thickness: 3/32 inch

Specifier Notes: Quartzite 2100 is available in a variety of tweed quartz blends. Please consult manufacturers color chart.

11.	Quartz Color:  [ ____________________ ].

PART 3 - EXECUTION

3.01	Inspection

A.	Before starting work, ensure that environmental and site conditions are suitable for application and curing.

B.	Inspect surfaces for acceptability of levelness, moisture content, pitch to drains and other critical factors.

C.	Report in writing to architect/engineer, with copy to manufacturer, of deficiencies that could impair work. Surfaces must be approved prior to application of flooring.

3.02	Surface Preparation

A.	Prepare surfaces in accordance with manufacturer's instructions.

B.	Remove concrete laitance by steel shot blasting, grit blasting, or other method approved by manufacturer.

C.	Surface must be clean, sound and dry prior to application.

D.	Pre-fill surface irregularities, holes and cracks in accordance with manufacturer's recommendations.

3.03	Mixing

A.	Comply with manufacturer's instructions for mixing procedures.

B.	Pre-mix each component before every batch to ensure uniformity.

C.	Carefully measure and mix the components together.

D.	Carefully pre-mix quartz aggregate to match desired color pattern.

3.04	Installation

A.	Follow manufacturer's written instructions.

B.	(OPTIONAL) Apply stretch coat of elastomeric membrane to minimum width of 3 inches (75 mm) wide and 20 mils (0.4 mm) dry thickness over cracks in substrate.

C.	(OPTIONAL) Embed Pennflex tape or similar reinforcing fabric in elastomeric membrane over cracks in substrate.

D.	(OPTIONAL) Install elastomeric membrane in multiple coats to a dry film thickness of 20 to 30 mils (0.4 to 0.6 mm).

E.	(OPTIONAL) Install cove and/or base in accordance with manufacturer's instructions.

F.	Prime entire surface with recommended primer.

G.	Apply epoxy and aggregate matrix in accordance with manufacturer's instruction to a total thickness of 3/32 inch (2.4 mm). Apply body coat of resin and mixed aggregate by narrow trowel or gauged rake.

H.	Apply grout coat(s) and topcoat(s) at manufacturer's recommended coverage to provide uniform, dense surface.

I.	Allow proper cure time for each installation step.

J.	Allow the finished epoxy flooring to cure for a minimum of 7 days from completion before putting into service.

K.	If necessary, use temporary protection until flooring is fully cured.

# END OF SECTION

Rev 05/06