Specification L100

StoTherm® Lotusan System

Section 07 24 00

This specification is intended for use by the design/construction professional and any user of Sto products to assist in developing project specifications and to provide guidance on the application of the StoTherm  Lotusan to concrete, masonry and exterior wall sheathing.  The StoTherm  Lotusan is an exterior insulation and finish system that functions as a decorative and protective insulating wall cladding.  It consists of five components--adhesive, insulation board, reinforcing mesh, base coat and finish coat. These components, when properly integrated with other components of construction, form a barrier wall which is intended to resist water penetration at its outer surface.  A barrier wall is not designed to drain or eliminate moisture behind it.  The accumulation of moisture behind the StoTherm  Lotusan could result in building damage.  As with any wall cladding, proper detailing and integration with other components of construction by a qualified design or construction professional, including the proper use of flashing, to prevent the accumulation of moisture within the wall assembly are essential.  Generally a vapor retarder is placed on the warm side of the wall.  Specifically, it is placed on the interior side in cold climates.  A vapor retarder may not be necessary depending on the wall components and the range of temperature/humidity conditions inside and outside.  A vapor retarder should not be used on the inside of walls in warm humid climates. A dewpoint analysis should be performed to determine whether a vapor barrier should be installed.

Notes in italics, such as this one, are explanatory and intended to guide the design/construction professional and user in the proper selection and use of materials. This specification should be modified where necessary to accommodate individual project conditions.

PART 1 GENERAL

- SUMMARY

  - Provide EIFS for vertical, above-grade concrete, masonry and exterior wall sheathing.

  - Related Sections:  Other specification sections which relate directly to the work of this section include the following:

- Section 06 11 50: 	Sheathing

- Section 07 19 00: 	Vapor Retarders

- Section 07 19 50: 	Air Barriers

- Section 07 62 00: 	Sheet Metal Flashing and Trim

- Section 07 92 00: 	Sealants and Caulking

- Section 08 40 00: 	Exterior Entrance Doors

- Section 08 50 00: 	Exterior Windows

- SUBMITTALS

- Manufacturer's specifications, details, installation instructions and product data.

- Manufacturer’s code compliance report.

- Manufacturer's standard warranty.

- Applicator's certificate of instruction.

- Samples for approval as directed by architect or owner.

- EPS board manufacturer's certificate of compliance with ASTM E 2430

- Sealant manufacturer's certificate of compliance with ASTM C 1382.

- Prepare and submit project-specific details (when required by contract documents).

- REFERENCES

- ASTM Standards:

- B 117	Test Method for Salt Spray (Fog) Testing

- C 578	Specification for Preformed, Cellular Polystyrene Thermal Insulation

- C 1177	Specification for Glass Mat Gypsum for Use as Sheathing

- C 1382	Test Method for Determining Tensile Adhesion Properties of Sealants When Used in Exterior Insulation and Finish Systems (EIFS) Joints

- D 522	Test Methods for Mandrel Bend Test of Attached Organic Coatings

- D 968	Test Method for Abrasion Resistance of Organic Coatings by Falling 	Abrasive

- D 1784	Specification for Rigid Poly (Vinyl Chloride) (PVC) and Chlorinated Poly (Vinyl Chloride) (CPVC) Compounds

- D 2247	Practice for Testing Water Resistance of Coatings in 100% Relative 			Humidity

- D 3273	Test for Resistance to Growth of Mold on the Surface of Interior Coatings in an Environmental Chamber

- E 84		Test Method for Surface Burning Characteristics of Building Materials

- E 96		Test Methods for Water Vapor Transmission of Materials

- E 119		Method for Fire Tests of Building Construction and Materials

- E 283	Test Method for Determining the Rate of Air Leakage Through Exterior Windows, Curtain Walls, and Doors under Specified Pressure Differences Across the Specimen

- E 330	Test Method for Structural Performance of Windows, Curtain Walls, and Doors by Uniform Static Air Pressure Difference

- E 331	Test Method for Water Penetration of Exterior Windows, Curtain Walls, and Doors by Uniform Static Air Pressure Difference

- E 2098	Test Method for Determining Tensile Breaking Strength of Glass Fiber Reinforcing Mesh for Use in Class PB Exterior Insulation and Finish System after Exposure to a Sodium Hydroxide Solution

- E 2134	Test Method for Evaluating the Tensile-Adhesion Performance of an Exterior Insulation and Finish System (EIFS)

- E 2430	Specification for Expanded Polystyrene (EPS) Thermal Insulation Boards for use in Exterior Insulation and Finish Systems (EIFS)

- E 2485	Standard Test Method for Freeze/Thaw Resistance of Exterior Insulation and Finish Systems (EIFS) and Water Resistive Barrier Coatings

- E 2486	Standard Test Method for Impact Resistance of Class PB and PI Exterior Insulation and Finish Systems (EIFS)

- G 153	Recommended Practice for Operating Light-and Water-Exposure Apparatus (Carbon-Arc Type) for Exposure of Nonmetallic Materials

- G 154	Recommended Practice for Operating Light-and Water-Exposure Apparatus (Fluorescent UV-Condensation Type) for Exposure of Nonmetallic Materials

- Building Code Standards

  - AC219	Acceptance Criteria for Exterior Insulation and Finish Systems (April, 2008)

- National Fire Protection Association (NFPA) Standards

  - NFPA 268, “Standard Test Method for Determining Ignitability of Exterior Wall  Assemblies Using a Radiant Heat Energy Source”

  - NFPA 285, “Standard Method of Test for the Evaluation of Flammability Characteristics of Exterior Non-Load-Bearing Wall Assemblies containing Combustible Components Using the Intermediate-Scale, Multistory Test Apparatus”

D.	Other Referenced Documents

- Fire-Resistance Design Manual, GA-600, Gypsum Association

- APA Engineered Wood Association E 30, Engineered Wood Construction Guide

- ICC-ES ESR-1720, Evaluation Report for StoTherm EIFS.

    - DESIGN REQUIREMENTS

- Wind Load

  - Design for maximum allowable system deflection, normal to the plane of the wall, of L/240.

  - Design for wind load in conformance with code requirements.

B.	Moisture Control

  - Prevent the accumulation of water behind the EIF system, either by condensation or leakage through the wall construction, in the design and detailing of the wall assembly.

- Provide flashing to direct water to the exterior where it is likely to penetrate components in the wall assembly, including, above window and door heads, beneath window and door sills, at roof/wall intersections, decks, abutments of lower walls with higher walls, above projecting features, and at the base of the wall.

- Air Leakage Prevention—see Sto Specification L100G if an air barrier is desired or required in the wall construction.

- Vapor Diffusion and Condensation—perform a dew point analysis of the wall assembly to determine the potential for accumulation of moisture in the wall assembly as a result of water vapor diffusion and condensation.  Adjust insulation thickness and/or other wall assembly components accordingly to minimize the risk of condensation.  Avoid the use of vapor retarders on the interior side of the wall in warm, humid climates.

- Impact Resistance

  - Provide ultra-high impact resistance to a minimum height of 6'-0" (1.8 m) above finished grade at all areas accessible to pedestrian traffic and other areas exposed to abnormal stress or impact.  Indicate the areas with impact resistance other than “Standard” on contract drawings.

- Color Selection:

  - Select finish coat with a light reflectance value of 20 or greater. (The use of dark colors is not recommended with EIF Systems that incorporate expanded polystyrene [EPS].  EPS has a service temperature limitation of approximately 160( F [71(C]).

- Joints

  - Design minimum ¾ inch (19 mm) wide expansion joints in the EIFS where they exist in the substrate or supporting construction, where the EIFS adjoins dissimilar construction or materials, at changes in building height, and at floor lines in multi-level wood frame construction.

  - Design minimum ½ inch (13 mm) wide sealant joints at all penetrations through the EIFS (windows, doors, etc.).

  - Specify compatible backer rod and sealant that has been evaluated in accordance with ASTM C 1382, “Test Method for Determining Tensile Adhesion Properties of Sealants When Used in Exterior Insulation and Finish System (EIFS) Joints,” and that  meets minimum 50% elongation after conditioning.

  - Design joints with secondary moisture protection and drain joints to the exterior.

- Grade Condition

  - Do not specify EIFS below grade (unless designed for use below grade and permitted by code) or for use on surfaces subject to continuous or intermittent water immersion or hydrostatic pressure.

- Trim, Projecting Architectural Features and Reveals

  - All trim and projecting architectural features must have a minimum 1:2 [27(] slope along their top surface. All horizontal reveals must have a minimum 1:2 [27(] slope along their bottom surface. Increase slope for northern climates to prevent accumulation of ice/snow and water on surface. Where trim/feature or bottom surface of reveal projects more than 2 inches (51 mm) from the face of the EIFS wall plane, protect the top surface with waterproof base coat.  Periodic inspections and increased maintenance may be required to maintain surface integrity of EIFS on weather exposed sloped surfaces.  Limit projecting features to easily accessible areas and limit total area to facilitate maintenance and minimize maintenance burden. Refer to Sto details 1.04a and 1.04b.

  - Do not use EIFS on weather exposed projecting ledges, sills, or other projecting features unless supported by framing or other structural support and protected with metal coping or flashing.  Refer to Sto detail 1.61.

- Insulation Thickness

  - Minimum EPS insulation thickness is 1 inch (25 mm).

  - Maximum EPS insulation thickness is 12 inches (305 mm) when installed in accordance with ESR 1720 (including architectural features).

- Fire Protection

  - Where a fire-resistance rating is required by code use EIFS over rated assembly (EIFS is considered not to add or detract from the fire-resistance of the rated assembly).

  - Refer to manufacturer’s applicable code compliance report for other limitations that may apply.

- PERFORMANCE REQUIREMENTS

- EIF System Performance: StoTherm Lotusan System : Comply with ICC-ES AC-219 and the following:

Table 1—EIFS System Durability

| TEST | METHOD | CRITERIA | RESULTS |
| --- | --- | --- | --- |
| 1. Accelerated Weathering | ASTM G 153 (Formerly ASTM G 23) | No deleterious effects* at 2000 hours when viewed under 5x magnification | Pass** |
| 2. Freeze/Thaw Resistance | ASTM E 2485 | No deleterious effects* at 10 cycles when viewed under 5x magnification | Pass |
| 3. Water Penetration | Modified ASTM E 331 | No water penetration beyond the plane of the base coat/EPS board interface after 15 minutes at 6.24 psf (299 Pa) or 20% of design wind pressure, whichever is greater | Pass *** |
| 4. Drainage Efficiency | EIMA 200.02 | 90% minimum | > 99% |
| 5. Tensile Adhesion | ASTM E 2134 | Minimum 15 psi (103kPa) tensile strength | Pass |
| 6. Water Resistance | ASTM D 2247 | No deleterious effects* at 14 day exposure | Pass |
| 7. Salt Spray | ASTM B 117 | No deleterious effects* at 300 hours | Pass |
| 8. Mildew Resistance | ASTM D 3273 | No growth supported during 28 day exposure period | Pass @ 84 days |
| 9. Impact Resistance | ASTM E 2486 | Level 1: 25-49 in-lbs (2.83-5.54J) Level 2: 50-89 in-lbs (5.65-10.1J) Level 3: 90-150 in-lbs (10.2-17J) Level 4: >150 in-lbs (>17J) | Pass with one layer Sto Mesh Pass with two layers Sto Mesh Pass with one layer Sto Intermediate Mesh Pass with one layer Sto Armor Mat and one layer Sto Mesh |

*No deleterious effects: no cracking, checking, crazing, erosion, rusting, blistering, peeling or delamination

** Internal testing

*** By interpolation

Table 2—EIFS  Fire Performance

| TEST | METHOD | CRITERIA | RESULT |
| --- | --- | --- | --- |
| 1. Fire Endurance | ASTM E 119 | Maintain fire resistance of existing rated assembly | Pass* |
| 2. Intermediate Scale Multi-Story Fire Test | NFPA 285 (UBC Standard 26-9) | 1. Resistance to vertical spread of flame within the core of the panel from one story to the next 2. Resistance to flame propagation over the exterior surface 3. Resistance to vertical spread of flame over the interior surface from one story to the next 4. Resistance to significant lateral spread of flame from the compartment of fire origin to adjacent spaces | Pass with 12 inches of EPS insulation * |
| 3. Radiant Heat Ignition | NFPA 268 | No ignition @ 20 minutes | Pass with 12 inches of EPS insulation |
| 4. Surface Burning (individual components) | ASTM E 84 | Insulation board and reinforced coating system shall each have a flame spread of 25 or less, and smoke developed of 450 or less | Flame: 0 Smoke Developed:5 |

Note: * indicates results based on extrapolation of data from series testing. ASTM E 119 testing performed on assembly with 4 inch thick  (102 mm) EPS.

B.	EIFS Component Performance

Table 3—EIFS Component Performance

| TEST | METHOD | CRITERIA | RESULT |
| --- | --- | --- | --- |
| 1. Alkali Resistance of Reinforcing Mesh | ASTM E 2098 | Greater than 120 pli (21 dN/cm) retained tensile strength | Pass |
| 2. Requirements for Rigid PVC Accessories | ASTM D 1784 | Meets cell classification 13244C | Pass |

- QUALITY ASSURANCE

- Manufacturer requirements

  - Member in good standing of the EIFS Industry Members Association (EIMA).

  - System manufacturer for a minimum of twenty-five (25) years.

  - Manufacturing facilities ISO 9001:2000 Certified Quality System.

  - Manufacturer’s wall assembly listed in Gypsum Association Fire Resistance Design Manual.

- Contractor requirements

  - Engaged in application of EIFS for a minimum of three (3) years.

  - Knowledgeable in the proper use and handling of Sto materials, possessing certificate of completion of Sto on-line EIFS application test.

  - Employ skilled mechanics who are experienced and knowledgeable in EIFS application, and familiar with the requirements of the specified work.

  - Successful completion of minimum of three (3) projects of similar	size and complexity to the specified project.

  - Provide the proper equipment, manpower and supervision on the job site to install the system in compliance with Sto's published specifications and details and the project plans and specifications.

- Insulation board manufacturer requirements

  - Recognized by Sto as capable of producing insulation board to meet system requirements, and hold a valid licensing agreement with Sto.

  - Listed by an approved agency.

  - Label insulation board with information required by Sto, the approved listing agency and the applicable building code.

- Mock-up Testing

  - Construct full-scale mock-up of typical EIFS/window wall assembly with specified tools and materials and test air and water infiltration and structural performance in accordance with ASTM E 283, E 331 and E 330, respectively, through independent laboratory.  Mock-up shall comply with requirements of project specifications.  Where mock-up is tested at job site maintain approved mock-up at site as reference standard.  If tested off-site accurately record construction detailing and sequencing of approved mock-up for replication during construction.

- Inspections

  - Provide independent third party inspection where required by code or contract documents.

  - Conduct inspections in accordance with code requirements and contract documents.

- DELIVERY, STORAGE AND HANDLING

- Deliver all materials in their original sealed containers bearing manufacturer's name and identification of product.

- Protect coatings (pail products) from freezing and temperatures in excess of 90(F (32( C). Store away from direct sunlight.

- Protect portland cement based materials (bag products) from moisture and humidity. Store under cover off the ground in a dry location.

- PROJECT/SITE CONDITIONS

(Weather conditions affect application and drying time. Hot or dry conditions limit working time and accelerate drying and may require adjustments in the scheduling of work to achieve desired results; cool or damp conditions extend working time and retard drying and may require added measures of protection against wind, dust, dirt, rain and freezing)

- Maintain ambient and surface temperatures above 40(F (4(C) during application and drying period, minimum 24 hours after application of Air/Moisture barrier and EIFS.

- Provide supplementary heat for installation in temperatures less than 40(F (4(C).

- Provide protection of surrounding areas and adjacent surfaces from application of materials.

- COORDINATION/SCHEDULING

(The work in this section requires close coordination with related sections and trades. Sequence work to provide protection of construction materials from weather deterioration)

- Provide site grading such that EIFS terminates above finished grade a minimum of 6 inches (152 mm) or as required by code.

- Provide protection of rough openings before installing windows, doors, and other penetrations through the wall and provide sill flashing.

- Install window and door head flashing immediately after windows and doors are installed.

- Install diverter flashings wherever water can enter the wall assembly to direct water to the exterior.

- Install copings and sealant immediately after installation of the EIF system and when EIFS coatings are dry.

- Attach penetrations through EIFS to structural support and provide water tight seal at penetrations.

- WARRANTY

- Provide manufacturer's standard warranty.

PART 2  PRODUCTS

- MANUFACTURERS

- Provide EIF System and accessories from single source manufacturer or approved supplier.

- The following are acceptable manufacturers:

  - Sto Corp.— EIFS

- SURFACE PREPARATION (optional components, depending on substrate condition)

- Conditioner

  - Sto Plex W - an acrylic based surface conditioner (used for chalking surfaces or excessively absorptive concrete, plaster or masonry).

    - Leveler (select one)

- Sto BTS®-Plus - one-component, polymer-modified cement-based leveler with fiber reinforcement (used for concrete, or plaster surfaces; for leveling up to ⅛ inch [3 mm]).

- Sto BTS® Xtra—lightweight, one-component, polymer-modified, cement-based, high build leveler (used for concrete, or plaster surfaces; for leveling up to ¼ inch [6 mm]).

- Sto Leveler - one-component, polymer modified, cement based leveler with fiber reinforcement (used for concrete, masonry or plaster surfaces; for leveling up to ¼ inch [6 mm]).

- ADHESIVE (select one)

- Cementitious Adhesives

  - Sto BTS Plus—one-component, polymer-modified, cement based high build adhesive (for use over exterior glass mat faced gypsum sheathing (compliant with ASTM C 1177), exterior cementitious sheathing, concrete, masonry or cement plaster surfaces.

  - Sto BTS® Silo—one-component, polymer-modified, cement based high build adhesive designed for use with StoSilo spray equipment (for use over exterior glass mat faced gypsum sheathing (compliant with ASTM C 1177), exterior cementitious sheathing, concrete, masonry or cement plaster surfaces.

  - Sto BTS Xtra- A light weight, one component, polymer modified, dry powder material (for use exterior glass mat faced gypsum sheathing (compliant with ASTM C 1177), exterior cementitious sheathing, concrete, masonry or cement plaster surfaces.

- INSULATION BOARD

- Nominal 1.0 lb/ft3 (16 kg/m3) Expanded Polystyrene (EPS) insulation board in compliance with ASTM E 2430 and ASTM C 578 Type I requirements (Note: minimum required thickness is 1 inch [25 mm] and maximum allowable thickness is  12 inches [305 mm] when installed in accordance with ICC-ES ESR 1720.

- BASE COAT (select one)

- Cementitious Base Coats

  - Sto BTS Plus—One-component, polymer modified, cement based factory blend base coat.

  - Sto BTS Silo—One component, polymer modified, cement based high build factory blend base coat designed for use with the Sto silo spray equipment.

  - Sto BTS Xtra— Light weight, one component, polymer modified, cement based high build factory blend base coat.

    - Non-cementitious Base Coat

- Sto RFP—one component ready mixed non-cementitious, fiber reinforced acrylic base coat.

  - Waterproof Base Coat

- Sto Flexyl—two component fiber reinforced acrylic based waterproof base coat mixed with portland cement (for use as a waterproof base coat for foundations, parapets, splash areas, trim  and other projecting architectural features).

- REINFORCING MESHES

- Standard Mesh

  - Sto Mesh--nominal 4.5 oz./yd2 (153 g/m2), symmetrical, interlaced open-weave glass fiber fabric made with alkaline resistant coating for compatibility with Sto materials (achieves Standard Impact Classification).

- High Impact Mesh

  - Sto Intermediate Mesh--nominal 11.2 oz./yd2 (380 g/m2), high impact, interwoven, open weave glass fiber fabric with alkaline resistant coating for compatibility with Sto materials (achieves High Impact Classification).

- Ultra-High Impact Mesh

  - Sto Armor Mat--nominal 15 oz./yd2 (509 g/m2), ultra-high impact, double strand, interwoven, open-weave glass fiber fabric with alkaline resistant coating for compatibility with Sto materials (recommended to a minimum height of 6’-0” [1.8m]above finished grade at all areas accessible to pedestrian traffic and other areas exposed to abnormal stress or impact.  Achieves Ultra-High Impact Classification when applied beneath Sto Mesh).

- Specialty Meshes

  - Sto Detail Mesh--nominal 4.2 oz/yd2 (143 g/m2), flexible, symmetrical, interlaced glass fiber fabric, with alkaline resistant coating for compatibility with Sto materials (used for standard EIFS backwrapping, aesthetic detailing, and reinforcement of sheathing joints and protection of rough openings with air/ moisture barrier).

- PRIMER (select one)

- Sto Primer Sand (acrylic based tinted primer with sand for roller application.

- Sto Primer Smooth – acrylic based tinted primer for spray application.

(Note: the primer is an optional component)

- FINISH COAT

A.	Stolit®Lotusan® --acrylic based textured wall coating with Lotus-Effect®, pronounced self-cleaning performance.

(Note: specify finish color with a lightness value of 20% or greater)

- JOB MIXED INGREDIENTS

- Water--Clean and potable.

- Portland cement--Type I, Type II or Type I-II,  in conformance with ASTM C 150.

- ACCESSORIES

- Starter Track( Rigid PVC (polyvinyl chloride) plastic track Part No. STDE as furnished by Plastic Components, Inc., 9051 NW 97th Terrace, Miami, Florida 33178 (800 327-7077) or equivalent.

- MIXING

A.	Sto BTS Plus--mix ratio with water: 5-6.5 quarts (4.7-6.2 L) of water per 47 pound (21.3 kg) bag of Sto BTS Plus. Pour water into a clean mixing pail. Add Sto BTS Plus, mix to a uniform consistency and allow to set for approximately 5 minutes. Adjust mix if necessary with additional Sto BTS Plus or water and remix to a uniform trowel consistency. Avoid retempering. Keep mix ratio consistent.  Do not exceed maximum water amount in mix ratio.

B.	Sto BTS Silo--mix by machine with StoSilo spray equipment at a water flow rate setting of 450-600 L/hr.

C.	Sto BTS Xtra- Mix ratio with water: 4.75-5 quarts (4.5-4.7L) of water per 38 pound (17.2kg) bag of Sto BTS® Xtra. Pour water into a clean mixing pail, add Sto BTS Xtra, mix to a uniform consistency and allow to set for approximately 5 minutes. Adjust mix if necessary with additional Sto BTS Xtra or water and remix to a uniform trowel consistency. Avoid retempering. Keep mix ratio consistent. Do not exceed maximum water amount in mix ratio.

D.	Sto RFP--mix with a clean, rust-free high speed mixer to a uniform consistency.

E.	Sto Flexyl--mix ratio with portland cement: 1:1 ratio by weight.  Pour Sto Flexyl into a clean mixing pail. Add portland cement, mix to a uniform consistency and allow to set for approximately five minutes. Adjust mix if necessary with additional Sto Flexyl and remix to a uniform trowel consistency. Avoid retempering.  Keep mix ratio consistent.

F.	Sto Primer--mix with a clean, rust-free high speed mixer to a uniform consistency.

G.	Stolit®Lotusan® --mix with a clean, rust-free high speed mixer to a uniform consistency. A small amount of water may be added to adjust workability. Limit addition of water to amount needed to achieve the finish texture.

H.	Mix only as much material as can readily be used.

I.	Do not use anti-freeze compounds or other additives.

PART 3  EXECUTION

- ACCEPTABLE INSTALLERS

- Prequalify under Quality Assurance requirements of this specification (section 1.06 B).

- EXAMINATION

- Inspect surfaces for:

  - Contamination—algae, chalkiness, dirt, dust, efflorescence, form oil, fungus, grease, laitance, mildew or other foreign substances.

  - Surface absorption and chalkiness.

  - Cracks—measure crack width and record location of cracks.

  - Damage and deterioration.

  - Moisture content and moisture damage—use a moisture meter to determine if the surface is dry enough to receive the EIFS and record any areas of moisture damage.

  - Compliance with specification tolerances—record areas that are out of tolerance (greater than ¼ inch in 8-0 feet [6mm in 2438 mm] deviation in plane).

- Inspect sheathing application for compliance with applicable requirement:

  - Glass Mat Faced gypsum sheathing compliant with ASTM C 1177.

  - Exterior Grade and Exposure I wood based sheathing–APA Engineered Wood Association E 30

  - Cementitious sheathing--Consult manufacturer's published recommendations

- Report deviations from the requirements of project specifications or other conditions that might adversely affect the Air/Moisture Barrier and EIFS installation to the General Contractor. Do not start work until deviations are corrected.

- SURFACE PREPARATION

- Remove surface contaminants on concrete and concrete masonry surfaces.

- Apply conditioner by sprayer or roller to chalking or excessively absorptive surfaces.

- Replace weather-damaged sheathing and repair damaged or cracked surfaces.

- Level surfaces to comply with required tolerances.

- Repair cracks, spalls or damage in concrete or concrete masonry surfaces.

- INSTALLATION

(Note: the coordination of work with other trades is important for the performance of the wall assembly, in particular the installation of flashing above window and door heads, beneath window and door sills, at roof/wall intersections, decks, intersections of lower walls with higher walls, above projecting features, and at the base of the wall to ensure that where water is likely to penetrate the wall assembly, it will be drained to the exterior at the source of the leak).

- Backwrapping

  - Apply a strip of detail mesh to the substrate at the base of the wall and at all system terminations (windows, doors, expansion joints, etc.).  The mesh must be wide enough to adhere approximately 4 inches (100 mm) of mesh onto the wall, be able to wrap around the insulation board edge and cover a minimum of 2 1/2 inches (64 mm) on the outside surface of the insulation board.  Adhere mesh strips to the supporting substrate and allow them to dangle until the backwrap procedure is completed (paragraph F.1).

B.	Adhesive Application and Installation of Insulation Board

  - Rasp the interior lower face of insulation boards to provide a snug friction fit into the Starter Track. (Note: rasping prevents an outward bow at the Starter Track).

  - Apply adhesive to the back of the insulation board with the proper size stainless steel notched trowel.  Apply uniform ribbons of adhesive parallel with the SHORT dimension of the board so that when boards are placed on the wall the ribbons will be VERTICAL. Apply adhesive uniformly so ribbons of adhesive do not converge.

  - Immediately place insulation boards in a running bond pattern on the wall with the long dimension horizontal.  Start by inserting the lower edge of the boards inside the starter track at the base of the wall until they contact the bottom of the track. Apply firm pressure over the entire surface of the boards to ensure uniform contact of adhesive. Bridge sheathing joints by a minimum of 6 inches (152 mm). Interlock inside and outside corners.

  - Butt all board joints tightly together to eliminate any thermal breaks in the EIFS. Care must be taken to prevent any adhesive from getting between the joints of the boards.

  - Cut insulation board in an L-shaped pattern to fit around openings. Do not align board joints with corners of openings.

  - Remove individual boards periodically while the adhesive is still wet to check for satisfactory contact with the substrate and the back of the insulation board, and for spacing between ribbons of adhesive. An equal amount of adhesive must be on the substrate and the board when they are removed, as an indication of adequate adhesion.  Do not use nails, screws, or any other type of non-thermal mechanical fastener.

C.	Slivering and Rasping of Insulation Board Surface

(Note: EPS insulation board exposed to sunlight will develop a powdery residue on the surface. This residue must be entirely removed by rasping the surface)

- After insulation boards are firmly adhered to the substrate, fill any open joints in the insulation board layer with slivers of insulation or spray foam. Use spray foam that is identified by spray foam manufacturer as suitable for this use.

- Rasp the insulation board surface to achieve a smooth, even surface and to remove any ultraviolet ray damage.

D.	Trim, Reveals and Projecting Aesthetic Features

(Note: Reveals/aesthetic grooves may be designed into the system to accommodate workability on multi-level buildings or lengthy wall sections)

- Attach features and trim where designated on drawings with adhesive to the insulation board or sheathing surface.  Slope the top surface of all trim/features minimum 1:2 (27() and the bottom of all horizontal reveals minimum 1:2 (27().

- Cut reveals/aesthetic grooves with a hot-knife, router or groove-tool in locations indicated on drawings.

- Offset reveals/aesthetic grooves minimum 3 inches (75 mm) from insulation board joints.

- Do not locate reveals/aesthetic grooves at high stress areas such as corners of windows, doors, etc.

- A minimum ¾ inch (19 mm) thickness of insulation board must remain at the bottom of the reveals/aesthetic grooves.

E.	Completion of Backwrapping

- Complete the backwrapping procedure by applying base coat to exposed edges of insulation board and approximately 4 inches (100 mm) onto the face of the insulation board. Pull mesh tight around the board and embed it in the base coat with a stainless steel trowel. Use a corner trowel for clean, straight lines. Smooth any wrinkles or gaps in the mesh.

F.	Base Coat and Reinforcing Mesh Application

- Apply minimum 9x12 inch (225x300 mm) diagonal strips of detail mesh at corners of windows, doors, and all penetrations through the system. Embed the strips in wet base coat and trowel from the center to the edges of the mesh to avoid wrinkles.

- Apply detail mesh at trim, reveals and projecting architectural features. Embed the mesh in the wet base coat.  Trowel from the base of reveals to the edges of the mesh.

- Ultra-High impact mesh application (recommended to a minimum height of  6’-0" [1.8 m] above finished grade at all areas accessible to pedestrian traffic and other areas exposed to abnormal stress or impact, and where indicated on contract drawings): apply base coat over the insulation board with StoSilo spray equipment or a stainless steel trowel to a uniform thickness of approximately 1/8 inch (3 mm). Work horizontally or vertically in strips of 40 inches (1016 mm), and immediately embed the mesh into the wet base coat by troweling from the center to the edge of the mesh. Butt the mesh at seams. Allow the base coat to dry.

- Standard mesh application: Apply base coat over the insulation board, including areas with Ultra-High impact mesh, with StoSilo spray equipment or a stainless steel trowel to a uniform thickness of approximately ⅛ inch (3 mm). Work horizontally or vertically in strips of 40 inches (1016mm), and immediately embed the mesh into the wet base coat by troweling from the center to the edge of the mesh. Overlap mesh not less than 2-½ inches (64 mm) at mesh seams and at overlaps of detail mesh. Feather seams and edges.  Double wrap all inside and outside corners with minimum 2-½ inch (64 mm) overlap in each direction.  Avoid wrinkles in the mesh. The mesh must be fully embedded so that no mesh color shows through the base coat when it is dry. Re-skim with additional base coat if mesh color is visible.

- Sloped Surfaces: for trim, reveals, aesthetic bands, cornice profiles, sills or other architectural features that project beyond the vertical wall plane more than 2 inches (51 mm) apply waterproof base coat with a stainless steel trowel to the weather exposed sloped surface and minimum four inches (100 mm) above and below it.  Embed standard mesh or detail mesh in the waterproof base coat and overlap mesh seams a minimum of 2-½ inches (65 mm).

- Allow base coat to thoroughly dry before applying primer or finish.

Note: All trim and projecting architectural features must have a minimum 1:2 [27(] slope along their top surface. All horizontal reveals must have a minimum 1:2 [27(] slope along their bottom surface. Increase slope for northern climates to prevent accumulation of ice/snow and water on surface. Where trim/feature or bottom surface of reveal projects more than 2 inches (51 mm) from the face of the EIFS wall plane, protect the weather exposed sloped surface with waterproof base coat.  Insulation maximum thickness is 12 inches (305 mm), which also includes trim and architectural features, when installed in accordance with ICC-ES ESR-1720. Periodic inspections and increased maintenance may be required to maintain surface integrity of EIFS on sloped weather exposed surfaces.  Limit projecting features to easily accessible areas and limit total area to facilitate maintenance and minimize maintenance burden. Refer to Sto details 1.04a and 1.04b.

Do not use EIFS on weather exposed projecting ledges, sills, or other projecting features unless supported by framing or other structural support and protected with metal coping or flashing.  Refer to Sto detail 1.61.

G.	Primer application

(Note: the primer is an optional component)

- Apply primer evenly with brush, roller or proper spray equipment over the clean, dry base coat and allow to dry thoroughly before applying finish.

H.	Finish Coat Application

- Apply finish directly over the base coat or primed base coat when dry. Apply finish by spraying or troweling with a stainless steel trowel, depending on the finish specified.  Follow these general rules for application of finish:

  - Avoid application in direct sunlight.

  - Apply finish in a continuous application, and work to an architectural break in the wall.

  - Weather conditions affect application and drying time. Hot or dry conditions limit working time and accelerate drying.  Adjustments in the scheduling of work may be required to achieve desired results; cool or damp conditions extend working time and retard drying and may require added measures of protection against wind, dust, dirt, rain and freezing. Adjust work schedule and provide protection.

  - Do not install separate batches of finish side-by-side.

  - Do not apply finish into or over sealant joints. Apply finish to outside face of wall only.

  - Do not apply finish over irregular or unprepared surfaces, or surfaces not in compliance with the requirements of the project specifications.

- PROTECTION

- Provide protection of installed materials from water infiltration into or behind them.

- Provide protection of installed materials from dust, dirt, precipitation, freezing and continuous high humidity until they are fully dry.

3.06	CLEANING, REPAIR AND MAINTENANCE

A.		Clean and maintain the Exterior Insulation and Finish System (EIFS) for a fresh appearance and to prevent water entry into and behind the system.  Repair cracks, impact damage, spalls or delamination promptly.

- Maintain adjacent components of construction such as sealants, windows, doors, and flashing, to prevent water entry into the wall assembly.

- Refer to Sto reStore Repair and Maintenance Guide (reStore Program) for detailed information on EIFS restoration - cleaning, repairs, recoating, resurfacing and refinishing, or re-cladding.

ATTENTION

Sto products are intended for use by qualified professional contractors, not consumers, as a component of a larger construction assembly as specified by a qualified design professional, general contractor or builder.  They should be installed in accordance with those specifications and Sto’s instructions.  Sto Corp. disclaims all,  and assumes no, liability for on-site inspections, for its products applied improperly, or by unqualified persons or entities, or as part of an improperly designed or constructed building, for the nonperformance of adjacent building components or assemblies, or for other construction activities beyond Sto’s control.  Improper use of Sto products or use as part of an improperly designed or constructed larger assembly or building may result in serious damage to Sto products, and to the structure of the building or its components.  STO CORP. DISCLAIMS ALL WARRANTIES EXPRESS OR IMPLIED EXCEPT FOR EXPLICIT LIMITED WRITTEN WARRANTIES ISSUED TO AND ACCEPTED BY BUILDING OWNERS IN ACCORDANCE WITH STO’S WARRANTY PROGRAMS WHICH ARE SUBJECT TO CHANGE FROM TIME TO TIME.  For the fullest, most current information on proper application, clean-up, mixing and other specifications and warranties, cautions and disclaimers, please refer to the Sto Corp. website, www.stocorp.com

.