| SECTION 09280 / 09 28 19 - Fiberock® Brand Aqua-Tough™ Underlayment |  | 09280 09 28 19 Specification |
| --- | --- | --- |

# Unbonded Ceramic Tiled Wood Floor System

# with Fiberock® Brand Aqua-Tough™ Underlayment

Residential (Single and Multi-family) Only!

PART 1 - 	GENERAL

1.01	SUMMARY

A.	Description of Work:  Work of this Section includes, but is not limited to, the following:

1.	Framing.

2.	Wood decking.

3.	Underlayment and fasteners.

4.	Mortars and grouts.

5.	Ceramic tile.

1.02	RELATED WORK SPECIFIED ELSEWHERE

A.	See Section 09310 CERAMIC TILE for tile facing on cement backer board.

1.03	SUBMITTALS

A.	Product Data:  Submit manufacturer's specifications and installation instructions with Project conditions and materials clearly identified or detailed for each required system.

1.04	SYSTEM REQUIREMENTS

A.	Performance Requirements:  Fabricate and install systems as indicated but not less than that required to comply with 2005 Handbook for Ceramic Tile Installation published by the Tile Council of North America Inc. under the following conditions:

1.	Floor Framing:

a.	Standard systems (sawn lumber/dimension lumber):  Maximum live load deflection limit of L/360 of the span with a maximum framing spacing of 19.2”.

b.	Engineered wood systems (prefabricated wood framing/I-joists):  Maximum live load deflection limit of L/480 of the span with a maximum framing spacing of 19.2”.

2.	Floor Decking:

a.	Plywood or OSB:

- APA Rated Sturdi-I-Floor, Exposure 1 or better.

- Minimum deck thickness of 23/32” or 3/4”.

- All decking shall be T&G or back blocked at unsupported edges.

- The subfloor system shall be designed for a live load deflection limit of L/360.

- Variation in subfloor surfaces shall meet the limits described in the 2005 Handbook for Ceramic Tile Installation published by the Tile Council of North America Inc. (Maximum variation in the plywood surface – 1/4” in 10’-0” and 1/16” in 1’-0” from the required plane.)  Adjacent edges of subfloor panels – maximum of 1/32” above or below adjacent sheets.

- Repair existing voids, reattach loose deck panels, etc.

B.	Fire Resistance Ratings:  Where fire resistance classifications are indicated, provide materials and application procedures identical to those listed by UL or tested according to ASTM E119 for type of construction shown.

C.	Acoustical Ratings:  Where sound ratings are indicated, provide materials and application procedures identical to those tested by manufacturer to achieve Sound Transmission Class (STC) in accordance with ASTM E90 and/or Impact Insulation Class (IIC) in accordance with ASTM E492 specified.

1.05	QUALITY ASSURANCE

A.	Reference Standards:

1.	System installation per ANSI A108.5.

1.06	DELIVERY, STORAGE AND HANDLING

A.	Delivery:

1.	Deliver material to site promptly without undue exposure to weather.

2.	Deliver in manufacturer's unopened containers, bundles, or panels fully identified with name, brand, type and grade.

B.	Storage:

1.	Store above ground in dry, ventilated space.

2.	Protect materials from soiling, rusting and damage.

1.07	PROJECT CONDITIONS

A.	Environmental Requirements:

1.	Do not install decking and underlayment when ambient or conditioned temperature is below 40°F or above 100°F.

PART 2 - 	PRODUCTS

2.01	PRODUCTS AND MANUFACTURERS

A.	Underlayment and Accessories:  Listed products establish standard of quality and are manufactured by United States Gypsum Company (USG), Chicago, IL.

- Subfloor: Per APA Sturdi-I-Floor rating and Tile Council of North America limitations.

2.02	MATERIALS

A.	Underlayment:

1.	Fiberock® Brand Aqua-Tough™ Underlayment, 3/8” x 4’ x 4’, 3/8” x 4’ x 8’, or 3/8” x 3’ x 5’, 1/2" x 4’ x 4’, 1/2" x 4’ x 8’, or 1/2" x 3’ x 5’.

2.	Edges:  Square Edge.

B.	Underlayment Joint Reinforcement:

1.	Durock™ Brand Interior Joint Tape (alkali-resistant), 2” x 50’, or 2” x 250’ wide alkali-resistant glass fiber mesh tape.

C.	Underlayment Fasteners:

1.	Corrosion-resistant #6 wood screws: 1¼” at 6” o.c. in panel field and 3” o.c. at panel perimeter.

D.	Mortar:

1.	ANSI A118.4, a “premium” latex portland cement mortar with minimum published 28-day shear strengths of:

Glazed wall tile – 600 psi

Impervious ceramic tile – 400 psi

Quarry tile – 475 psi

Quarry tile to plywood – 265 psi

E.	Grout:

1.	ANSI A118.7, latex modified grout.

F.	Ceramic Tile:

1.	ANSI A137.1, Maximum tile size – 14” X 14”, minimum tile size – 6” x 6”.

- For tile 8” x 8” and larger – Install per 2005 Handbook for Ceramic Tile Installation published by the Tile Council of North America Inc.  Method is addressed in section titled:  Bonding Large-Format Tile for Coverage and Support (page 12 of 2005 Edition).

2.	Minimum tile breaking strength: 250 pounds or greater per ASTM C-648.

G.	Trowel:

1.	Select a notch trowel size to achieve 95% coverage of the average tile contact area.

a.	For tile smaller than 8” x 8”, minimum trowel size required is 1/4” X 1/4” X 1/4".

b.	For 8” x 8” or larger tile, minimum trowel size required is 1/4” X 3/8” X 1/4".

PART 3 - 	EXECUTION

3.01	EXAMINATION

A.	Examine substrates and adjoining construction and conditions under which Work is to be installed.  Do not proceed with Work until unsatisfactory conditions are corrected.

3.02	GENERAL INSTALLATION REQUIREMENTS

- Preparation: Allow underlayment panels to acclimate to the temperature and humidity conditions at the job site a minimum of 24 hours prior to installation. Consult local building codes for specific crawl-space requirements of vapor barrier location/installation and ventilation. Install FIBEROCK Underlayment only over approved wood subfloor installed in accordance with manufacturer’s installation instructions for this type of application.

- Subfloor: Clean subfloor if required to leave free of dust, dirt, and debris. Ensure subfloor is dry. Verify that fasteners are flush with, or slightly below, the subfloor surface. Verify subfloor and structure are within the tolerances of the Tile Council of North America (TCA) guidelines. The maximum variation in the subfloor shall not exceed ¼” in 10’-0” and 1/16” in 1’-0” from the required plane; maximum variation between adjacent edges of subfloor panels shall not exceed 1/32” above or below adjacent sheets. Inspect subfloor for an even, flat surface before installing underlayment. Uneven end edge joints and variations in panel thickness may telegraph through the underlayment. Sand uneven joints, if necessary. Ensure that subfloor is flat between framing elements. If subfloor panels appear to buckle, correct the problem by adding blocking or cleats under the floor. Fasten cleats to the subfloor to flatten the panels. Repair existing voids, large gaps, subfloor variations and penetrations through the subfloor using a manufacturer-approved floor-leveler prior to installing Fiberock Underlayment.

- Cutting and laying out panels: Maintain temperature and humidity of space prior to, during, and after installation. Conditions should approximate those of normal occupancy. Install underlayment, fastener marks up. Cut underlayment from one side using the score-and-snap method. For more difficult cuts, combine the score-and-snap method with use of a handsaw or low-RPM power saw. Cut out holes for plumbing using a holesaw, keyhole saw, or variable-speed jigsaw. Lay field cut edges against the wall; only factory edges should be joined. Begin laying panels at one corner. Maintain a 1/4” space between the underlayment panels and the perimeter walls; remove all debris from gaps. Stagger joints of underlayment panels a minimum of 16" o.c. so that four panel corners never meet, and offset end and edge joints of panels a minimum of 8" from the subfloor panel joints. Butt underlayment panel edges and ends closely, but do not force together. A maximum 1/32" gap is allowed.

- Fastening Fiberock Underlayment: Position underlayment with joints staggered from subfloor joints offset at least 8”. Fit ends and edges closely, but do not force together. Fasten panels to subfloor with corrosion-resistant #6 wood screws (1-1/4” long), spaced 3" o.c. in both directions with perimeter fasteners ½” from ends and edges and spaced 6" o.c. in the field of the panel.

- Finishing Fiberock Underlayment Joints: Sand uneven panel joints. Prefill all underlayment joints with tile-setting mortar, and then immediately embed Durock Interior Joint Tape over the joints, and strike joints flush. Additional fill coats may be required.

- Prior to Finish Installation: Avoid heavy traffic and moving heavy items across the underlayment panels. If necessary, items such as refrigerators or other appliances with free-rolling wheels (or on wheeled dollies) may be rolled over the floor if care is taken to avoid wheel contact on the finished underlayment surface. Using hard wood strips or scrap underlayment strips to bear wheel traffic is recommended.

- Floor covering application: Install ceramic tile units using latex portland cement mortar. Install ceramic tile units in accordance with ANSI A108.4 and A108.5. Grout ceramic tile units using latex modified cement grout. Install grout in accordance with ANSI A108.10.

- Protection of new tile work: Protect new tile work installation in accordance with the Tile Council of North America (TCA) guidelines. Keep all traffic off finished tile floors until they have fully cured. Install protection board of adequate strength and stiffness over non-staining kraft paper to protect floors after materials have cured.

END OF SECTION