SECTION 07 65 00

FLEXIBLE FLASHING

Date: 01sep05

PART 1 - GENERAL

1.01	SUMMARY

A.	Related sections:

1.	04 05 23	Masonry Accessories.

2.	04 21 13	Brick Masonry

3.	04 22 00	Concrete Unit Masonry

4.	04 22 23	Architectural Concrete Unit Masonry

5.	04 42 00	Exterior Stone Cladding.

6.	04 72 00	Cast Stone Masonry.

7.	05 40 00	Cold Formed Metal Framing.

8.	06 10 00	Rough Carpentry.

9.	07 11 10	Dampproofing.

10.	07 60 00	Flashing and Sheet Metal.

11.	07 65 10		Flexible Flashing Active Drainage Plane System.

B.	Alternates:  Flexible Flashing/Drainage System Section is specified as alternative method replacing conventional mortar deflection devices, accessory metal drip edge where specified or required, and flexible flashing.

1.02	REFERENCES

A.	Standards of the following as referenced:

1.	ASTM.

2.	Brick Industry Association (BIA).

3.	Copper Development Association, Inc. (CDA).

B.	Industry standards:

1.	BIA Technical Notes on Brick Construction No. 7, Water Penetration Resistance- Design and Detailing, August 2005.

2.	BIA Technical Notes on Brick Construction No. 28B, Brick Veneer/Steel Stud Walls, August 2005.

1.03	DEFINITIONS

A.	Terms:

1.	Flexible flashing:  Water-proof material typically used in cavity wall construction to contain and assist in the proper water drainage that may penetrate wall system veneer.  Other materials may be required to constitute the “system”.

2.	Through-wall flashing:

a.	Generally considered the same as flexible flashing.

b.	Rare definition referred to full width cap flashing under copings or wall caps.

1.04	SUBMITTALS

A.	Product data:  Indicate material type, composition, thickness, and installation procedures.

B.	Samples: 3" by 5" flashing material.

C.	Quality control submittals:

1.	Certificates:

a.	Indicate materials supplied or installed are asbestos free.

b.	Indicate recycled content:  90% total recycled material; based on 80% Post Industrial Recycled Content and 10% Post Consumer Recycled Content.

1.05	QUALITY ASSURANCE

A.	Qualifications:

1.	Manufacturer:  Provide flashing materials by single manufacturer with not less than ten years of experience in manufacturing products of the type specified.

1.06	WARRANTY

A.	Special warranty:

1.	Manufacturer:  Warrant flexible flashing material for **

Copper flexible flashing:  ** life of the wall.

Fully adhering composite flexible flashing, (peel-and-stick):  ** five years from material date of manufacture.

PVC or sheet vinyl flexible flashing:  ** NOT APPLICABLE.

2.	Begin warranty at Date of Substantial Completion.

PART 2 - PRODUCTS

2.01	MANUFACTURED UNITS

A.	Flexible flashing:

1.	Products of manufacturers listed below meeting indicated standards and specified manufacturer's product data characteristics, except as modified below, are acceptable for use, subject to compliance with specified requirements.

2.	Acceptable manufacturers:

a.	STS Coatings, Inc.

b.	Nervastral, Inc.

c.	Phoenix Flashing.

d.	York Manufacturing, Inc.

3.	Copper core type:

a.	Product standard of quality:  York Manufacturing, Inc.; York( Multi-Flash( 500.

b.	Characteristics:

1)	Type: Copper core with non-asphalt adhesive glass fabric or polypropylene fabric laminated to each copper face.

2)	Copper type: 060 temper in accord with ASTM B370-98.

3)	Fabric:  Fiberglass or polypropylene fabric; laminated back face copper core with core weight manufacturer identified on product with color coded laminate or written.

3)	Adhesive: Non-asphalt for laminating adhesive.

4)	Size:  Manufacturer's standard width rolls.

5)	Sealant: Suggested Manufacturers of polyether sealants:

York Manufacturing UniverSeal US-100

STS Coatings GreatSeal LT-100

4.	Copper core type:

a.  Product standard of quality:  York Manufacturing, Inc. Copper Fabric Flashing

b.  Characteristics:

1)	Type: Copper core with asphalt coated glass or polypropylene fabric laminated to each copper face with surface applied parting agent.

2)	Copper type: 060 temper in accord with ASTM B370-98.

3)	Copper weight:  ** 3 ** 5 ** 7 ** oz. per sq. ft.

4)	Fabric:  Fiberglass or polypropylene fabric; laminated each face copper core.

5)	Asphalt for laminating adhesive: ASTM D449-89(1999) e1, Type II, Grade UC-20 or rubber based adhesive.

6)	Size:  Manufacturer's standard width rolls.

5.	Fully adhered composite flexible flashing type:

a.	Product standard of quality:  York Manufacturing, Inc.; York Seal.

b.	Characteristics:

1)	Type:  40 mil minimum thickness by manufacturer standard roll lengths and made of  high density four plies cross laminated polyethylene film and asphalt.

2)	Termination mastic and surface conditioner/primer:  Flashing manufacturer's standard products recommended for use with flashing material.

3)	Termination bar option:  Manufacturer's standard continuous length complete with fasteners.

4)	Exposed edge metal:  26 gauge stainless steel, #2 finish.

5)	Provide flashing manufacturer’s preformed end dams; material compatible with flashing material.

6.	Sheet plastic type:

a.	Product standard of quality:  York Manufacturing, Inc.; Wascoseal.

b.	Characteristics:

1)	Type:  ** 30 ** 20 ** mil minimum thickness by manufacturer standard roll lengths, non-reinforced, homogeneous vinyl sheet; widths required.

2)	Adhesive:  Flashing manufacturer's adhesive recommended for use with flashing material.

3)	Exposed edge metal:  26 gauge stainless steel, #2 finish.

4)	Termination bar:  Manufacturer's standard continuous length complete with fasteners.

5)	Provide flashing manufacturer’s preformed end dams; material compatible with flashing material.

7.	Butyl rubber flashing type:

a.	Product standard of quality:  Carlisle Syntec Systems, Inc.; Butyl Rubber Sheet.

b.	Characteristics:

1)	Type:  60 mil minimum thickness by manufacturer standard roll lengths, butyl rubber compound.

2)	Termination bar:  Manufacturer's standard continuous length complete with fasteners.

3)	Exposed edge metal:  26 gauge stainless steel, #2 finish.

4)	Termination mastic and surface conditioner:  Flashing manufacturer's standard products recommended for use with flashing material.

5)	Provide flashing manufacturer’s preformed end dams; material compatible with flashing material.

PART 3 - EXECUTION

3.01	INSTALLATION

A.	General:

1.	Install where indicated, specified, or required in accord with flashing manufacturer's written instructions and as follows.  Splicing material on material width to manufacture wider pieces is prohibited unless flashing detail requires material wider than normally manufactured.

2.	Extend flashing 6" minimum, beyond opening, each side without stretching flashing material.  Lap end joints 6" minimum; seal joints completely with specified flashing adhesive or tape.  Fold flashing ends at end of openings or horizontal flashing terminations to form end dam.

3.	Masonry back up:

a.	Cut flashing flush with exterior face of exterior wythe after inspection, extend through cavity, rising height required to extend above lintel steel and mortar deflection device at least 6".

b.	Use any of three methods below for installation.

1)	Method 1:  Tuck at least 2" into masonry bed joint during back-up construction. This leaves the flashing exposed for long periods of time, so please cover the flashing to protect it from damage.

2)	Method 2 using masonry reglet specified in Masonry Accessories Section:  Tuck flashing into reglet or secure with termination bar and seal.

3)	Method 3 using polyether sealant:

a)	Surface apply after dampproofing installation specified in Dampproofing Section in accord with manufacturer’s installation instructions.

b)	Install continuous bead of polyether sealant and embed flashing in sealant bead.

4.	Concrete back up:

a.	Cut flashing flush with exterior wythe after inspection, extend through cavity, rising height required to extend above lintel steel and above mortar deflection device at least 6".

b.	Use either of two methods below for installation.

1)	Method 1:  Tuck into previously installed concrete reglet or secure with termination bar specified in Masonry Accessories Section and seal.

2)	Method 2 using polyether sealant bead:

a)	Surface apply after dampproofing installation specified in Dampproofing Section in accord with manufacturer’s installation instructions.

b)	Install continuous bead of polyether sealant under flashing face and embed flashing in sealant.

5.	Stud back up:

a.	Flashing width:  Cut flush with exterior wythe after inspection, extend through cavity, rising height required to extend above lintel steel and above mortar deflection device at least 2".

b.	Embed in full bed of flashing manufacturer’s polyether sealant against sheathing material.

c.	Leave ready for building felt or air barrier installation lapping flashing top installed in another Section.

6.	Lay flashing in continuous bed or polyether sealant bead on masonry supporting steel.

7.	Fold ends of flashing at end of opening to form dam.

8.	Inside corners:  Folded, not cut. :  Make in industry accepted manner using outside corner and splice material or buy from manufacturer.

9.	Outside corners:  Make in industry accepted manner using outside corner and splice material or buy from manufacturer.

10.	Additional installation requirements for fully adhering composite flexible flashing, sheet plastic flashing, or butyl rubber flashing:

a.	Hold flashing membrane back from masonry face to protect from UV damage or deterioration.

b.	Install stainless steel edge strip continuous at masonry face with flashing lapping and embedded on top of edge strip in accord with specific manufacturer’s installation instructions and BIA Tech Note 7.  Seal horizontal joint with sealant specified in Joint Sealants Section.

c.	Install preformed end dams in accord with flashing manufacturer’s installation instructions.

d.	Install termination bar continuous at flashing top in accord with flashing manufacturer’s installation instructions.

e.     If the backer wall is an exterior gypsum, you must prime the backer wall.

11.	Patch minor punctures with tape or adhesive and material in accord with manufacturer’s installation instructions.

12.	Replace ripped, torn, or severely damaged flashing with new material.

13.	Cover flashing within a few days of installation to protect it from damage from the different trades, the environment and falling debris. If flashing is left unprotected and it is punctured, torn, or has loose scrim you should contact the manufacturer for repair instructions.

14.     Support all fully adhered composites across all gaps in excess of ¼” with metal supports.

3.02	SCHEDULES

A.	Locations:

1.	Exterior door heads.

2.	Window heads and sills.

3.	Storefront heads.

4.	Horizontal control joints.

5.	Same bed joint as weep hole, continuous, in accord with manufacturer's written instructions.

6.	Changes in veneer materials, vertically.

7.	Other wall openings.

8.	Other locations indicated.

END OF SECTION 07 65 00

# Text boxes

DELETE SUB PARAGRAPH BELOW IF NO ASPHALT CONTAINING MATERIAL IS SPECIFIED

DELETE PARAGRAPH BELOW IF COPPER FLASHING NOT SPECIFIED.

EDIT FOR FLASHING TYPE SPECIFIED BELOW

- NO WARRANTY FOR PLASTIC MATERIALS; DELETE ENTIRE WARRANTY ARTICLE

- 5 YEAR ONLY FOR PEEL-AND-STICK;

- LIFE OF WALL FOR COPPER BASED MATERIALS.

NERVASTRAL ONLY MAKES PLASTIC FLASHING MATERIAL. DELETE NERVASTRAL IF COPPER OR PEEL-AND-STICK IS SPECIFIED.

MATERIAL IN THE SUBPARAGRAPH BELOW MEETS ALL REQUIREMENTS FOR “LAMINATED COPPER FLASHING” - USES ADHESIVE WHICH CONTAINS NO ASPHALT WHICH COULD BLEED TO EXTERIOR.

MAY BE USED IN COMBINATION WITH ANOTHER COPPER LAMINATED PRODUCT BELOW OR BY ITSELF

MATERIAL IN THE SUBPARAGRAPH BELOW MEETS ALL REQUIREMENTS FOR “LAMINATED COPPER FLASHING” - USES ASPHALT WHICH MAY BLEED TO EXTERIOR.

DELETE PARAGRAPH BELOW IF NO “PEEL-AND-STICK” MATERIAL IS REQUIRED - REMEMBER LIMITED FIVE YEAR WARRANTY ON THIS PRODUCT.  NOTE REQUIREMENT FOR METAL DRIP EDGE, SINCE THIS PRODUCT MUST BE HELD BACK FROM THE FACE OF THE WALL ½”.

DELETE PARAGRAPH BELOW IF NO SHEET PLASTIC OR PVC MATERIAL IS REQUIRED - REMEMBER NO WARRANTY ON THIS PRODUCT.  NOTE REQUIREMENT FOR METAL EDGE STRIP.

DELETE PARAGRAPH BELOW IF NO BUTYL RUBBER MATERIAL IS SPECIFIED.   NOTE REQUIREMENT FOR METAL EDGE STRIP.

SPECIFIER NOTE:  Mortar deflection devices are 10" tall in cavity.  Mortar deflection device height requires that drawing details for flashing be ABOVE the typical first mortar joint in masonry (or 8" above R.O. height).  This means either install flashing 8" higher in next mortar joint OR surface mount flashing using termination bar.  Keep flashing top at least 6" above the anticipated level of mortar droppings above mortar deflection device.

EDIT RELATED SECTIONS TO INCLUDE ONLY SECTIONS IN PROJECT MANUAL.