SECTION 07 65 00

FLEXIBLE FLASHING

PART 1 - GENERAL

1.01	SUMMARY

A.	Section includes combination flashing, mortar deflection, and weep as complete one step system.  Using this system deletes requirement for mortar deflection devices and may lessen requirements for weep spacing.

B.	Related sections:

1.	04 05 23	Masonry Accessories.

2.	04 21 13	Brick Masonry

3.	04 22 00	Concrete Unit Masonry

4.	04 22 23	Architectural Concrete Unit Masonry

5.	04 42 00	Exterior Stone Cladding.

6.	04 72 00	Cast Stone Masonry.

7.	05 40 00	Cold Formed Metal Framing.

8.	06 10 00	Rough Carpentry.

9.	07 11 10	Dampproofing.

10.	07 60 00	Flashing and Sheet Metal.

11.	07 65 00	Flexible Flashing.

C.	Alternates:  This Section is alternative method replacing mortar deflection device specified in Masonry Accessories Section and flashing specified in Flexible Flashing Section; includes deletion of accessory metal drip edge where specified or required.

1.02	REFERENCES

A.	Standards of the following as referenced:

1.	ASTM

2.	Brick Industry Association (BIA)

3.	Copper Development Association, Inc. (CDA).

4. 	Recycled content & Recyclability

B.	Industry standards:

1.	BIA Technical Notes on Brick Construction No. 7, Water Penetration Resistance- Design and Detailing, August 2005.

2.	BIA Technical Notes on Brick Construction No. 28B, Brick Veneer/Steel Stud Walls, August 2005.

1.03	DEFINITIONS

A.	Terms:

1.	Cavity wall flashing:  Same as flexible flashing.

2.	Foundation sill flashing:  Same as flexible flashing.

3.	Flexible flashing:  Water-proof material typically used in cavity wall construction to contain and assist in the proper water drainage that may penetrate wall system veneer.  Other materials may be required to constitute the system.

4.	Head and sill flashing:  Same as flexible flashing.

5.	Through-wall flashing:

a.	Generally considered the same as flexible flashing.

b.	Rare definition referred to full width cap flashing under copings or wall caps.

1.04	SUBMITTALS

A.	Product data:  Indicate material type, composition, thickness, and installation procedures.

B.	Samples:  3" by 5" flashing material.

C.	Product Quality & Environmental submittals:

1.	Certificates:

a.	Indicate materials supplied or installed are asbestos free.

b.	Indicate recycled content:  90% total recycled material; based on 80% Post Industrial Recycled Content and 10% Post Consumer Recycled Content.

2.    Performance Attributes

a. Tensile strength, 31,500 psi minimum

b. Puncture Resistance, >400 pounds average

c.	When tested as manufactured, product resists growth of mold pursuant to test method ASTM D3273-94.

d. Fire Rating

1. Rated Class B, ASTM E84

1.05	QUALITY ASSURANCE

A.	Qualifications:

1.	Manufacturer:  Provide flashing materials by single manufacturer with not less than twenty five years of experience in manufacturing flexible flashing products.

2. 	Flashing materials must be able to withstand 300º F temperature without changing the long term performance of the flashing.

SPECIFIER’S NOTE:  All manufacturers of air barrier, insulation and flashing products should provide you MUTUAL letters of compatibility for these products in combination with each other.  (York has these on file for you.)

1.06	WARRANTY

A.	Special warranty:

1.	Manufacturer:  Warrant flexible flashing material for life of the wall.

2.	Begin warranty at Date of Substantial Completion.

PART 2 - PRODUCTS

2.01	MANUFACTURED UNITS

A.	Flexible flashing:

1.	Products of manufacturers listed below meeting indicated standards and specified manufacturer's product data characteristics, except as modified below, are acceptable for use, subject to compliance with specified requirements.

- Product standard of quality:

  - York Manufacturing, Inc.; Multi-Flash 500

  - STS Coatings, Inc.; Gorilla Flash CF

  - Wire-Bond, Inc.; Copper Seal

  - Illinois Products, Inc.; IPCO Copper Fabric

  - Other flashing provided they meet the requirements in section 1.04.C

2.	Characteristics:

a.	Type:  Copper core with polymer fabric laminated to both copper faces with non-asphalt adhesive.

b.	Copper type, ASTM B370:  CDA Alloy 110, 060 temper.

- Fabric: polymer fabric; laminated back and front face copper core with core weight manufacturer identified on product with color coded laminate or printed on the material.

- Weight:  3 oz copper core is color coded with grey polymer fabric, 5 oz copper core is color coded with red polymer fabric, 7 oz copper core is color coded with tan polymer fabric

d.	Size:  Manufacturer's standard width rolls.

e.	Polyether sealant:

1) York Manufacturing, Inc.;  UniverSeal US-100

2) STS Coatings;  GreatSeal LT-100

f.	Lap Tape:

1) York Manufacturing; York 304 stainless steel tape

2) York Manufacturing; York 110 copper tape

3) Illinois Products, Inc.; IPCO Self Adhering Stainless Steel Flashing

f.	Corner and splice material:  York Multi-Flash 500 or pre-manufactured 26 gauge stainless steel corners.

g.  Mortar deflection:  polyester strands that will not degrade and will keep weep vents from clogging with mortar.

1)York Manufacturing; Weep-Armor

h.  Termination bar:  rigid PVC or stainless steel termination bar with sealant catch lip

1) York Manufacturing; T-96 Termination Bar

2)  York Manufacturing; SS Term Bar

PART 3 - EXECUTION

3.01	INSTALLATION

A.	General:

1.	Install where indicated, specified, or required in accord with flashing manufacturer's written instructions and as follows.

2.	Extend flashing 6" minimum beyond opening.  Fold flashing ends at end of openings or horizontal flashing terminations to form end dam or use pre-manufactured end dams.

3.	Flashing width:  Width required starting flush with outside face of exterior wythe, extending through cavity, rising height required to extend above lintel steel at least 2".

4.	Splice end joints by overlapping them 6” and seal with a compatible sealant or metal lap tape.

5.	Masonry back up:

a.	Surface apply after dampproofing installation specified in Dampproofing Section in accord with manufacturer’s installation instructions.

b.   Fasten to masonry back-up surface at top by embedding in layer of sealant or use a non-corrosive termination bar and fasten it to the backer wall at the top edge of the flashing and seal the top edge with compatible sealant.

6.	Concrete back up:

a.	Surface apply after dampproofing installation specified in Dampproofing Section in accord with manufacturer’s installation instructions.

b.	Fasten to concrete surface at top by embedding in layer of sealant or use a non-corrosive termination bar and fasten it to the backer wall at the top edge of the flashing and seal the top edge with compatible sealant or use the termination clamp, which is embedded in the block back up wall.

7.	Stud back up with sheathing:

a.	Fasten to stud back-up at top by embedding in layer of sealant or use a non-corrosive termination bar and fasten it to the backer wall at the top edge of the flashing and seal the top edge with compatible sealant.

8.	Leave ready for certified compatible building felt or air barrier installation lapping flashing top installed in another Section.

9.	Lay flashing in continuous bead of sealant on masonry supporting steel.

10.	Fold ends of flashing at end of opening to form dam; seal with sealant or use manufacturers preformed end dams.

11.	Inside corners:  Make in industry accepted manner using corner and splice material or use pre-manufactured corners from manufacturer.

12.	Outside corners:  Make in industry accepted manner using corner and splice material or use pre-manufactured corners from manufacturer.

13.    Cover flashing within a few days of installation to protect it from damage from the different trades, the environment and falling debris. If flashing is left unprotected and it is punctured, torn, or has loose scrim you should contact the manufacturer for repair instructions.

3.02	SCHEDULES

A.	Locations:

1.	Exterior door heads.

2.	Window heads and sills.

3.	Storefront heads.

4.	Horizontal control joints.

5.	Changes in veneer materials, vertically.

6.	Other wall openings.

7.	Other locations indicated.

END OF SECTION 07 65 00

# Text boxes

EDIT RELATED SECTIONS TO INCLUDE ONLY SECTIONS IN PROJECT MANUAL.