SECTION 07 65 10

FLEXIBLE FLASHING ACTIVE DRAINAGE PLANE SYSTEM

PART 1 - GENERAL

1.01	SUMMARY

A.	Section includes combination flashing, mortar deflection, and weep as complete one step system.  Using this system deletes requirement for mortar deflection devices and may lessen requirements for weep spacing.

B.	Related sections:

1.	04 05 23	Masonry Accessories.

2.	04 21 13	Brick Masonry

3.	04 22 00	Concrete Unit Masonry

4.	04 22 23	Architectural Concrete Unit Masonry

5.	04 42 00	Exterior Stone Cladding.

6.	04 72 00	Cast Stone Masonry.

7.	05 40 00	Cold Formed Metal Framing.

8.	06 10 00	Rough Carpentry.

9.	07 11 10	Dampproofing or Liquid Applied Air Barrier

10.	07 60 00	Flashing and Sheet Metal.

11.	07 65 00	Flexible Flashing.

C.	Alternates:  This Section is alternative method replacing mortar deflection device specified in Masonry Accessories Section and flashing specified in Flexible Flashing Section; includes deletion of accessory metal drip edge where specified or required.

1.02	REFERENCES

A.	Standards of the following as referenced:

1.	ASTM.

2.	Brick Industry Association (BIA).

3.	Copper Development Association, Inc. (CDA).

B.	Industry standards:

1.	BIA Technical Notes on Brick Construction No. 7, Water Penetration Resistance- Design and Detailing, August 2005.

2.	BIA Technical Notes on Brick Construction No. 28B, Brick Veneer/Steel Stud Walls, August 2005.

1.03	DEFINITIONS

A.	Terms:

1.	Cavity wall flashing:  Same as flexible flashing.

2.	Foundation sill flashing:  Same as flexible flashing.

3.	Flexible flashing:  Water-proof material typically used in cavity wall construction to contain and assist in the proper water drainage that may penetrate wall system veneer.  Other materials may be required to constitute the system.

4.	Head and sill flashing:  Same as flexible flashing.

5.	Through-wall flashing:

a.	Generally considered the same as flexible flashing.

b.	Rare definition referred to full width cap flashing under copings or wall caps.

1.04	SUBMITTALS

A.	Product data:  Indicate material type, composition, thickness, and installation procedures.

B.	Samples:  3" by 5" flashing material.

C.	Product Quality & Environmental submittals:

1.	Certificates:

a.	Indicate materials supplied or installed are asbestos free.

b.	Indicate recycled content:  90% total recycled material; based on 80% Post Industrial Recycled Content and 10% Post Consumer Recycled Content.

2.    Critical Performance Attributes:

a.     Tensile Strength, 31,500 psi minimum average

b.     Puncture Resistant, >500 pound average

c.	When tested as manufactured, product resists growth of mold pursuant to test method ASTM D 3273-94.

d. 	Non-woven fabric passes ASTM D3273 and G21 resistance to growth of fungi

Specifier’s Note: Products/systems that meet/exceed the above listed Certificates and/or performance criteria come with a Life of the Wall Warranty

1.05	QUALITY ASSURANCE

A.	Qualifications:

1.	Manufacturer:  Provide flashing materials by single manufacturer with not less than ten years of experience in manufacturing flexible flashing products.

SPECIFIER’S NOTE:  All manufacturers of air barriers, insulations and flashing products should provide you letters of compatibility for these products in combination with each other.  (York has these on file for you.)

1.06	WARRANTY

A.	Special warranty:

1.	Manufacturer:  Warrant flexible flashing/drainage system material for life of the wall.

2.	Begin warranty at Date of Substantial Completion.

PART 2 - PRODUCTS

2.01	MANUFACTURED UNITS

A.	Copper core flexible flashing with wicking fabric:

1.	Product standard of quality:

- York Manufacturing, Inc.; York Flash-Vent, (www.yorkmfg.com)

- STS Coatings: Gorilla Flash VF-1000, (www.stscoatings.com)

- Building Materials West Co.:  Evacu-Flash, (www.evacu-flash.com)

2.	Characteristics:

a.	Type:  Copper core with non-asphalt adhesive fabric laminated to one copper face and non-woven wicking fabric laminated to opposing face with non-asphalt adhesive.

b.	Copper type, ASTM B248-06:  CDA Alloy 110, 060 temper.

c.	Fabrics:

1)	Polymer fabric; laminated back face copper core with core weight manufacturer identified on product with color coded laminate.

2)	Non-woven drainage fabric:  Fabric laminated to front face.

d.	Size:  Manufacturer's standard width rolls.

e.	Polyether sealant:  Suggested manufacturers: York Mfg UniverSeal US-100

Sonneborn: Sonolastic 150

STS Coatings GreatSeal LT-100

f.	Corner and splice material:  York Multi-Flash 500/Gorilla Flash MF/Evacu-splice, 3 ounce, or pre-manufactured corners.

PART 3 - EXECUTION

3.01	INSTALLATION

A.	General:

1.	Install where indicated, specified, or required in accord with flashing manufacturer's written instructions and as follows.

a.	Splicing material on material width to manufacture wider pieces is prohibited unless flashing detail requires material wider than normally manufactured.

b.	Prohibited practice:  Bonding or splicing copper to non-woven wicking fabric or non-woven wicking fabric to non-woven wicking fabric.

2.	Extend flashing 6" minimum, beyond opening, each side without stretching flashing material.  Fold flashing ends at end of openings or horizontal flashing terminations to form end dam or use preformed end dams from manufacturer.

3.	Flashing width:  Width required starting flush with outside face of exterior wythe, extending through cavity, rising height required to extend above lintel steel at least 2".

4.	Splice end joints by butting ends together over 12" wide piece of Multi-Flash copper flashing and sealing lap joint with UniverSeal US-100 polyether sealant.

5.	Masonry back up:

a.	Surface apply after dampproofing installation specified in Dampproofing Section in accord with manufacturer’s installation instructions.

b.	Apply flashing with wicking surface to outside.

c.   Fasten to masonry back-up surface at top by embedding in layer of UniverSeal US-100 polyether sealant or use a termination bar, like the T96 by York, to fasten to the backer wall and seal the top of the termination bar with UniverSeal US-100 or use the termination clamp from York.

6.	Concrete back up:

a.	Surface apply after dampproofing installation specified in Dampproofing Section in accord with manufacturer’s installation instructions.

b.	Apply flashing with wicking surface to outside.

c.	Fasten to concrete back-up surface at top by embedding in layer of UniverSeal US-100 polyether sealant or use a termination bar, like the T96 by York, to fasten to the backer wall and seal the top of the termination bar with UniverSeal US-100.

7.	Stud back up with sheathing:

a.	Surface apply after certified compatible dampproofing installation specified in Dampproofing Section in accord with manufacturer’s installation instructions

b.    Apply flashing with wicking surface to the outside.

c.	Fasten to stud back-up surface at top by embedding in layer of UniverSeal US-100 polyether sealant or use a termination bar, like the T96 by York, to fasten to the backer wall and seal the top of the termination bar with UniverSeal US-100.

8.	Leave ready for certified compatible building felt or air barrier installation lapping flashing top installed in another Section.

9.	Lay flashing in continuous bead of UniverSeal US-100 polyether sealant on masonry supporting steel.

10.	Fold ends of flashing at end of opening to form dam; seal with UniverSeal US-100 polyether sealant or purchase preformed end dams from manufacturer.

11.	Inside corners:  Make in industry accepted manner using corner and splice material or purchase preformed corners from manufacturer.

12.	Outside corners:  Make in industry accepted manner using corner and splice material or purchase preformed corners from manufacturer.

13.    Cover flashing within a few days of installation to protect it from damage from the different trades, the environment and falling debris. If flashing is left unprotected and it is punctured, torn, or has loose scrim you should contact the manufacturer for repair instructions.

3.02	SCHEDULES

A.	Locations:

1.	Exterior door heads.

2.	Window heads and sills.

3.	Storefront heads.

4.	Horizontal control joints.

5.	Changes in veneer materials, vertically.

6.	Other wall openings.

7.	Other locations indicated.

END OF SECTION 07 65 10

# Text boxes

EDIT RELATED SECTIONS TO INCLUDE ONLY SECTIONS IN PROJECT MANUAL.