Date: October 25, 2011

Section 07 65 13

Drainage Plane Flashing

October 25, 2011

PART 1 - GENERAL

1.01 SUMMARY

A. Section includes:

1. Combination flashing and weep as integral part of system for draining moisture/water

from various thin brick, manufactured stone, stucco systems, and other exterior claddings

there by preventing moisture entering building interior.

2. Flashing material is used in conjunction with moisture barriers.

3. Using system negates requirement for accessory metal drip edges.

LEED only 4. LEED®-NC, Version 3.0, 2009 requirements apply to this Section by virtue of certain

"Industry standards" referenced below.

B. Related sections:

1. 01 35 15 LEED® Certification Procedures.

2. 01 35 15.13 LEED® Submittal Forms.

3. 04 05 23 Masonry Accessories.

4. 04 21 13 Brick Masonry.

5. 04 21 13.16 Surface-Bonded Brick Masonry.

6. 04 22 00 Concrete Unit Masonry

7. 04 22 23 Architectural Concrete Unit Masonry.

8. 04 42 00 Exterior Stone Cladding.

9. 04 71 13 Calcium Silicate Manufactured Brick Masonry.

10. 04 72 00 Cast Stone Masonry.

11. 04 73 00 Simulated Stone.

12. 04 73 00 Manufactured Stone Masonry.

13. 04 73 00.13 Surface-Bonded Manufactured Stone Masonry.

14. 04 73 13 Calcium Silicate Manufactured Stone Masonry.

15. 04 73 13.13 Surface-Bonded Calcium Silicate Manufactured Stone Masonry.

16. 05 40 00 Cold Formed Metal Framing.

17. 06 10 00 Rough Carpentry.

18. 07 27 00 Air Barriers.

19. 07 27 00.13 Moisture Retarders/Air Barriers.

20. 07 27 13 Modified Bituminous Sheet Moisture/Air Barriers.

21. 07 27 19 Plastic Sheet Air Barriers.

22. 07 27 26.13 Fluid-Applied Membrane Moisture Retarders/Air Barriers.

23. 07 27 26.16 Fluid-Applied Membrane Moisture/Air Barriers.

24. 07 60 00 Flashing and Sheet Metal.

25. 07 65 00 Flexible Flashing.

1.02 REFERENCES

A. Standards of the following as referenced:

1. ASTM.

2. Brick Industry Association (BIA).

3. Copper Development Association, Inc. (CDA).

LEED only 4. South Coast Air Quality Management District (SCAQMD).

B. Industry standards:

LEED only 1. Bay Area Air Quality Management District Regulation 8, Rule 51.

2. BIA Technical Notes on Brick Construction No. 7, Water Penetration Resistance-   Design and Detailing, August 2005.

3. BIA Technical Notes on Brick Construction No. 28B, Brick Veneer/Steel Stud Walls,

August 2005.

LEED only 4. SCAQMD Rule #1168; Adhesive and Sealant Applications, Amended January 7, 2005.

1.03 DEFINITIONS

A. Terms:

1.	 Cavity wall flashing: Same as flexible flashing.

2.  	Drainage plane (system):

a. 	Water repellent materials located behind veneer/cladding; designed and constructed to drain water passing through veneer/cladding.

b. 	Material interconnected with flashings, window and door openings, and other

penetrations of building enclosure providing water drainage to building exterior.

c. 	Materials forming drainage plane either are fluid applied (pin-hole free), sheet

applied overlapping each other shingle fashion; or sealed so that water drains down and out of the wall.

3. 	Foundation sill flashing: Same as flexible flashing.

4. 	Flexible flashing: Water-proof material typically used in cavity wall construction to contain and assist in proper water drainage that may penetrate wall system veneer. Other materials may be required to constitute “system”.

5. 	Head and sill flashing: Same as flexible flashing.

6. 	Rain screen: Same as drainage plane.

7. 	Through-wall flashing:

a. 	Generally considered the same as flexible flashing.

b. 	Rare definition referred to full width cap flashing under copings or wall caps.

8. 	Water resistive barrier (WRB): Same as drainage plane.

**1.04 SYSTEM DESCRIPTION This Article for LEED® use only

**A. Performance requirements; LEED® Credit areas:

1. 	Materials and Resources: Refer to LEED® Requirements Section.

a. 	Credit 1.1, 1.2, 1.3, and 1.4: Innovation in Design.

b. 	MR Credit 2.1: Construction Waste Management; divert 50% of project waste (by weight) from landfill.

c. 	MR Credit 2.2: Construction Waste Management; divert another 25% of project waste (by weight) from landfill.

d. 	MR Credit 4: Recycled Content; 25% of project materials by weight have 20%post-consumer or 40% post-industrial and Recycled Content; 20% post-consumer + ½ pre-consumer.

e. 	MR Credit 5: Regional Materials; 20% of project materials are manufactured within500 miles and Regional Materials; raw materials for products obtained within 500miles of manufacturing.

**f. 	MR Credit 6: Regional Materials; 20% Extracted, Processed & Manufactured

Regionally.

g. 	EQ Credit 4.2: Indoor Environmental Quality; Construction Indoor Air Quality Management Plan Before Occupancy.

1.05 SUBMITTALS

A. Product data: Indicate material type, composition, thickness, and installation procedures.

B. Samples: 3" by 5" flashing material.

C. Quality control submittals:

1. 	Certificates:

a. 	Indicate materials supplied or installed are asbestos free.

b. 	Indicate recycled content: 90% total recycled material; based on 80% Post IndustrialRecycled Content and 10% Post Consumer Recycled Content.

c. 	When tested as manufactured, product resists growth of mold pursuant to test method

** Normal (Non-LEED®): ** ASTM D3273-00(2005).

LEED®: ** ASTM D3273-00(2005) and may qualify for a LEED® Innovation

Credit based upon the environmental mitigation of mold and mildew hazards related

to Indoor Air Quality (IAQ).

LEED only 	1) 	VOC requirements; NOTE - VOC limits depend on substrate (see Chart page

273 of LEED Reference Guide):

LEED only 	2) 	Indicate sealants supplied or installed meet or are lower than allowable by

SCAQMD Rule #1168.

LEED only 	3) 	Indicate sealants supplied or installed meet or exceed the requirements of the

Bay Area Air Quality Management District Regulation 8, Rule 51.

LEED only	 4) 	LEED® report: Submit VOC content documentation for non-preformed

materials.

1.06 QUALITY ASSURANCE

A. Qualifications:

1. 	Manufacturer: Provide flashing materials by single manufacturer with not less than ten

years of experience in manufacturing flexible flashing products.

SPECIFIER’S NOTE:  All manufacturers of air barrier, insulation and flashing products should provide letters of compatibility for these products in combination with each other.  (York has these on file for you.)

1.07 WARRANTY

A. Special warranty:

1. 	Manufacturer: Warrant flexible flashing/drainage system material for life of the wall.

2. 	Begin warranty at Date of Substantial Completion.

PART 2 - PRODUCTS

2.01 MANUFACTURED UNITS

A. Copper core flexible flashing with wicking fabric:

1. 	Acceptable products:

a. 	Building Materials West Company; Evacu-Flash.

b. 	STS Coatings; Gorilla Flash

c. 	York Manufacturing, Inc.; York® Flash-Vent™.

2. 	Product standard of quality: York Manufacturing, Inc.; York® Flash-Vent™.

3. 	Characteristics:

a.	 Type: Copper core with non-asphalt adhesive polymer fabric laminated to one copper face and non-woven drainage fabric laminated to opposing face with non-asphalt adhesive.

b. 	Copper type, ASTM B370-11: CDA Alloy 110, 060 temper.

c. 	Copper weights: Recommended by flashing manufacturer.

1) 	Window, storefront, and other sill conditions: 5 oz. per sq. ft.

2) 	Other locations: 3 oz. per sq. ft.

d. 	Fabrics:

1) 	Polymer fabric; laminated back face copper core with core weight

manufacturer identified on product with color coded laminate.

2) 	Non-woven drainage fabric: Fabric laminated to front face.

e. 	Size: Manufacturer's standard width rolls.

f. 	Mastic/sealant:

1) 	Acceptable products:

a) 	STS Coatings; GreatSeal LT-100

b) 	York Manufacturing: UniverSeal US-100

2)	 Characteristics:

a) 	Type: One part 100% solids, solvent-free formulated silyl-terminated polyether, ASTM C920-01, Type S, Grade NS, Class 50.

b)  	Meets SCAQMD requirements.

c) 	Meets LEED®-NC, Version 3.0, 2009.

3) 	Color: Manufacturer’s standard for unexposed locations.

g. 	Outside corner and splice material: York Multi-Flash.

4.	 Termination bar: Not required.  Termination bar option if selected or required by Architect: Manufacturer's standard 1" wide, minimum by 1/8" thickness, minimum by continuous length pre-punched stainless steel bar or composite material bar complete with stainless steel fasteners.

a.	York Manufacturing, Inc.; T-96 termination bar

B. Weather resistive barrier (rain screen): Specified in **

** Moisture Retarders/Air Barriers Section.

** Modified Bituminous Sheet Moisture/Air Barriers Section.

** Plastic Sheet Air Barriers Section.

** Fluid-Applied Membrane Moisture Retarders/Air Barriers Section.

** Fluid-Applied Membrane Moisture/Air Barriers Section.

** Spray-Applied Polyurethane Foam Air Barrier Section

PART 3 - EXECUTION

3.01 	INSTALLATION

A.	General:

1.	Install where indicated, specified, or required in accord with flashing manufacturer's written instructions and as follows.

a.	Splicing material on material width to manufacture wider pieces is prohibited unless flashing detail requires material wider than normally manufactured.

b.	Prohibited practice:  Bonding or splicing copper to non-woven drainage fabric or non-woven drainage fabric to non-woven drainage fabric.

2.	Extend flashing 6" minimum, beyond opening, each side without stretching flashing material.  Fold flashing ends at end of openings or horizontal flashing terminations to form end dam or use preformed end dams from manufacturer.

3.	Flashing width:  Width required starting flush with outside face of exterior wythe, extending through cavity, rising height required to extend above lintel steel at least 2".

4.	Splice end joints by butting ends together over 12" wide piece of Multi-Flash copper flashing and sealing lap joint with UniverSeal US-100 polyether sealant.

5.	Masonry back up:

a.	Surface apply after dampproofing installation specified in Dampproofing Section in accord with manufacturer’s installation instructions.

b.	Apply flashing with drainage surface to outside.

c.   Fasten to masonry back-up surface at top by embedding in layer of UniverSeal US-100 polyether sealant or use a termination bar, like the T96 by York, to fasten to the backer wall and seal the top of the termination bar with UniverSeal US-100 or use the termination clamp from York.

6.	Concrete back up:

a.	Surface apply after dampproofing installation specified in Dampproofing Section in accord with manufacturer’s installation instructions.

b.	Apply flashing with drainage surface to outside.

c.	Fasten to concrete back-up surface at top by embedding in layer of UniverSeal US-100 polyether sealant or use a termination bar, like the T96 by York, to fasten to the backer wall and seal the top of the termination bar with UniverSeal US-100.

7.	Stud back up with sheathing:

a.	Surface apply after certified compatible dampproofing installation specified in Dampproofing Section in accord with manufacturer’s installation instructions

b.    Apply flashing with drainage surface to the outside.

c.	Fasten to stud back-up surface at top by embedding in layer of UniverSeal US-100 polyether sealant or use a termination bar, like the T96 by York, to fasten to the backer wall and seal the top of the termination bar with UniverSeal US-100.

8.	Leave ready for certified compatible building felt or air barrier installation lapping flashing top installed in another Section

** Moisture Retarders/Air Barriers Section.

** Modified Bituminous Sheet Moisture/Air Barriers Section.

** Plastic Sheet Air Barriers Section.

** Fluid-Applied Membrane Moisture Retarders/Air Barriers Section.

** Fluid-Applied Membrane Moisture/Air Barriers Section.

** Spray-Applied Polyurethane Foam Air Barrier Section

9.	Lay flashing in continuous bead of UniverSeal US-100 polyether sealant on masonry supporting steel.

10.	Fold ends of flashing at end of opening to form dam; seal with UniverSeal US-100 polyether sealant or purchase preformed end dams from manufacturer.

11.	Inside corners:  Make in industry accepted manner using corner and splice material or purchase preformed corners from manufacturer.

12.	Outside corners:  Make in industry accepted manner using corner and splice material or purchase preformed corners from manufacturer.

13.    Cover flashing within a few days of installation to protect it from damage from the different trades, the environment and falling debris. If flashing is left unprotected and it is punctured, torn, or has loose scrim you should contact the manufacturer for repair instructions.

3.02 SCHEDULES

A. Locations:

1. Exterior door heads.

2. Window heads and sills.

3. Storefront heads.

4. Horizontal control joints.

5. Changes in veneer materials, vertically.

6. Other wall openings.

7. Other locations indicated.

END OF SECTION 07 65 13.13