Armstrong World Industries, Inc.

### Ceiling & Suspension System Specification

Please understand that you are responsible for the accuracy of all project specifications, including any Armstrong guide specifications that you use.

ARMSTRONG SHALL NOT BE LIABLE FOR ANY DAMAGES ARISING OUT OF THE USE OF ANY OF ITS GUIDE SPECIFICATIONS.

SECTION 09 51 13 (09510)

ACOUSTICAL PANEL CEILINGS

# PART 1  GENERAL

1.1  	RELATED DOCUMENTS

Drawings and general conditions of Contract, including General and Supplementary Conditions and Divisions-1 Specification sections apply to work of this section.

1.2	SUMMARY

A.	Section Includes:

1.	Acoustical ceiling panels.

2.	Exposed grid suspension system.

3.	Wire hangers, fasteners, main runners, cross tees, and wall angle moldings.

B.	Related Sections:

- Section 01 41 13 (01450) – Codes

- Section 01 45 33 (01450) – Code-required Special Inspections and Procedures

- Section 09 20 00 (09250) – Plaster and Gypsum Board

- Divisions 23 (15) – HVAC

- Division 26 (16) Sections - Electrical Work

C. 	Alternates

- Prior Approval: Unless otherwise provided for in the Contract documents,

Proposed product substitutions accompanied by an International Code Council Evaluation Report may be submitted no later than TEN (10) working days prior to the date established for receipt of bids.  Acceptability of a proposed substitution is contingent upon the Architect’s review of the proposal for acceptability and approved products will be set forth by the Addenda.  If included in a Bid are substitute products which have not been approved by Addenda, the specified products shall be provided without additional compensation.

2.	Submittals that do not provide adequate data for the product evaluation will not be considered.  The proposed substitution must meet all requirements of this section, including but not necessarily limited to, the following: Single source 	materials suppliers (if specified in Section 1.5); Underwriters’ Laboratories 	Classified Acoustical performance; Panel design, size, composition, color, and 	finish; Suspension system component 	profiles and sizes; Compliance with the referenced standards.

1.3	REFERENCES  (Use only those referenced in section)

- ASTM A568 Standard Specification for Steel, Sheet, Carbon, Structural, and High-Strength, Low-Alloy, Hot-Rolled and Cold-Rolled, General Requirements.

- ASTM A 641 Standard Specification for Zinc-Coated (Galvanized) Carbon  Steel Wire.

- ASTM A 653 Standard Specification for Steel Sheet, Zinc-Coated (Galvanized) by the Hot-Dip Process.

- ASTM A 1008 Standard Specification for Steel, Sheet, Cold Rolled, Carbon, Structural, High-Strength Low-Alloy and High-Strength Low-Alloy with Improved Formability

- ASTM C 423 Sound Absorption and Sound Absorption Coefficients by the Reverberation Room Method.

- ASTM C 635 Standard Specification for Metal Suspension Systems for Acoustical Tile and Lay-in Panel Ceilings.

- ASTM C 636 Recommended Practice for Installation of Metal Ceiling Suspension Systems for Acoustical Tile and Lay-in Panels.

- ASTM E 84 Standard Test Method for Surface Burning Characteristics of Building Materials.

- ASTM E 1414 Standard Test Method for Airborne Sound Attenuation Between Rooms Sharing a Common Ceiling Plenum.

- ASTM E 1111 Standard Test Method for Measuring the Interzone Attenuation of Ceilings Systems.

- ASTM E 1264 Classification for Acoustical Ceiling Products.

- ASTM E 1477 Standard Test Method for Luminous Reflectance Factor of Acoustical Materials by Use of Integrating-Sphere Reflectometers.

- ASTM D 3273 Standard Test Method for Resistance to Growth of Mold on the Surface of Interior Coatings in an Environmental Chamber.

- ASTM E 119 Standard Test Method for Fire Tests of Building Construction and Material.

- International Code Council-Evaluation Services - AC 156 Acceptance Criteria for Seismic Qualification Testing of Non-structural Components

- International Code Council-Evaluation Services - Evaluation Report, ESR-1308, Fire- and Nonfire-Resistance-Rated Suspended Ceiling Framing Systems.

- ASCE 7 Standard – American Society of Civil Engineers, Minimum Design Loads for Buildings and Other Structures

- CISCA 0-2 – Ceilings and Interior Systems Construction Association Recommendations for Direct-Hung Acoustical Tile and Lay-In Panel Ceilings, Seismic Zones 0-2

  - SYSTEM DESCRIPTION

Seismic Loads:  Design and size components to withstand seismic loads in accordance with the International Building Code, Section 1621 for Category C.

1.5	SUBMITTALS

A.	Product Data:  Submit manufacturer’s technical data for each type of acoustical ceiling unit and suspension system required.

B.	Samples:  Minimum 6 inch x 6 inch samples of specified acoustical panel; 8 inch long samples of exposed wall molding and suspension system, including main runner and 4 foot cross tees.

C.	Shop Drawings:  Layout and details of acoustical ceilings.  Show locations of items which are to be coordinated with, or supported by the ceilings.

- Certifications:  Manufacturer’s certifications that system complies with specified requirements:

  - For seismic performance:  International Code Council Evaluation Report, ESR-1308

  - For acoustical performance, each carton of material must carry an approved independent laboratory classification of NRC, CAC, and AC.

E.	If the material supplied by the acoustical subcontractor does not have an Underwriter’s Laboratory classification of acoustical performance on every carton, subcontractor shall be required to send material from every production run appearing on the job to an independent or NVLAP approved laboratory for testing, at the architect’s or owner’s discretion.  All products not conforming to manufacturer’s current published values must be removed, disposed of and replaced with complying product at the expense of the Contractor performing the work.

1.6	QUALITY ASSURANCE

A.	Single-Source Responsibility:  Provide acoustical panel units and grid components by a single manufacturer.

B.	Fire Performance Characteristics:  Identify acoustical ceiling components with appropriate markings of applicable testing and inspecting organization.

1.	Surface Burning Characteristics:  As follows, tested per ASTM E 84 and complying with ASTM E 1264 for Class A products.

a.	Flame Spread:  25 or less

b.	Smoke Developed:  50 or less

(INCLUDE if hourly rating is required)

2.	Fire Resistance Ratings:  As indicated by reference to design designations in UL Fire Resistance Directory, for types of assemblies in which acoustical ceilings function as a fire protective membrane and tested per ASTM E 119.

a.	Protect lighting fixtures and air ducts to comply with requirements indicated for rated assembly.

- Seismic Performance:  Provide acoustical ceiling system that has been evaluated by an independent party and found to be compliant with the 2003 International Building Code, Seismic Category C.

1.   Tested per International Code Council – Evaluation Services – AC 156 Acceptance Criteria for Seismic Qualification Testing of Non-structural Components as evidenced by International Code Council Evaluation Report, ESR-1308.

- Coordination of Work:  Coordinate acoustical ceiling work with installers of related work including, but not limited to building insulation, gypsum board, light fixtures, mechanical systems, electrical systems, and sprinklers.

1.7	DELIVERY, STORAGE, AND HANDLING

A.	Deliver acoustical ceiling units to project site in original, unopened packages and store them in a fully enclosed space where they will be protected against damage from moisture, direct sunlight, surface contamination, and other causes.

B.	Before installing acoustical ceiling units, permit them to reach room temperature and a stabilized moisture content.

C.	Handle acoustical ceiling units carefully to avoid chipping edges or damaged units in any way.

1.8	PROJECT CONDITIONS

A.	Space Enclosure:

(CHOOSE based on “Sag Resistance”)

Standard Ceilings: Do not install interior ceilings until space is enclosed and weatherproof; wet work in place is completed and nominally dry; work above ceilings is complete; and ambient conditions of temperature and humidity are continuously maintained at values near those intended for final occupancy.  Building areas to receive ceilings shall be free of construction dust and debris.

HumiGuard Plus Ceilings: Building areas to receive ceilings shall be free of construction dust and debris. Products with HumiGuard Plus performance and     hot dipped galvanized steel, aluminum or stainless steel  suspension systems can be installed up to 120°F (49°C) and in spaces before the building is enclosed, where HVAC systems are cycled or not operating. Cannot be used in exterior applications where standing water is present or where moisture will come in direct contact with the ceiling.

HumiGuard Max Ceilings: Building areas to receive ceilings shall be free of construction dust and debris. Ceilings with HumiGuard Max performance can      be installed in conditions up to 120°F (49°C) and maximum humidity exposure including outdoor applications, and other standing water applications, so long as they are installed with either SS Prelude Plus, AL Prelude Plus, or Prelude Plus Fire Guard XL suspension systems. Products with Humiguard Max performance can be installed in exterior applications, where standing water is present, or where moisture will come in direct contact with the ceiling. Only Ceramaguard with AL Prelude Plus suspension system can be installed over swimming pools.

1.9	WARRANTY

A.	Acoustical Panel:  Submit a written warranty executed by the manufacturer, agreeing to repair or replace acoustical panels that fail within the warranty period.  Failures include, but are not limited to:

1.	Acoustical Panels:  Sagging and warping

2.	Grid System:  Rusting and manufacturer’s defects

(IF SAG RESISTANCE = Standard)

B.	Warranty Period:

- Acoustical panels:  One (1) year from date of substantial completion.

- Cirrus Acoustical panels: Ten (10) years from data of substantial completion.  Note Space Enclosure requirements.

- Grid:  Ten years from date of substantial completion.

(IF SAG RESISTANCE = HumiGuard Plus or HumiGuard Max)

C.	Warranty Period:

1.	Acoustical panels: Ten (10) years from date of substantial completion.

2.	Grid:  Ten (10) years from date of substantial completion.

3.  	Acoustical panels and grid systems with HumiGuard Plus or HumiGuard Max performance supplied by one source manufacturer is fifteen (15) years from date of substantial completion.

- The Warranty shall not deprive the Owner of other rights the Owner may have under other provisions of the Contract Documents and will be in addition to and run concurrent with other warranties made by the Contractor under the requirements of the Contract Documents.

1.10	MAINTENANCE

A.	Extra Materials:  Deliver extra materials to Owner.  Furnish extra materials described below that match products installed.  Packaged with protective covering for storage and identified with appropriate labels.

1.	Acoustical Ceiling Units:  Furnish quality of full-size units equal to 5.0 percent of amount installed.

2.	Exposed Suspension System Components:  Furnish quantity of each exposed suspension component equal to 2.0 percent of amount installed.

##### PART 2 - PRODUCTS

2.1	MANUFACTURERS

A.	Ceiling Panels:

1.	Armstrong World Industries, Inc.

B.	Suspension Systems:

1.	Armstrong World Industries, Inc.

2.2	ACOUSTICAL CEILING UNITS

A.	Acoustical Panels Type AP-1:

1.   Surface Texture:  _______

2.	Composition:  _________

3.	Color: _______

4.	Size:  _______

5.	Edge Profile:  _____________for interface with Prelude XL 15/16” Exposed Tee Grid System.

6.	Noise Reduction Coefficient (NRC):  ASTM C 423; Classified with UL label on product carton____.

7.	Ceiling Attenuation Class (CAC):  ASTM C 1414; Classified with UL label on product carton ______.

8.	Articulation Class (AC):  ASTM E 1111; Classified with UL label on product carton, _____.

9.	Flame Spread:  ASTM E 1264; Class A.

10.	Light Reflectance (LR) White Panel:  ASTM E 1477; _____.

- Dimensional Stability:  ________________.

- Mold/Mildew Inhibitor: (If applicable)  The surface and back of the product have been treated with BioBlock, a paint that contains a special biocide that inhibits or retards the growth of mold and mildew, ASTM D3273.

- Acceptable Product: (Product Family), (Item Number) as manufactured by Armstrong World Industries.

2.3	SUSPENSION SYSTEMS

A.	Components:  Main beams and cross tees In accordance with the International Building Code, Section 1621 for Category C as described in ESR-1308.

1.	Structural Classification:  ASTM C 635, (Intermediate Duty) (Heavy Duty).

2.	Color: White and match the actual color of the selected ceiling tile, unless noted otherwise.

3.  	Represented Systems: (Prelude XL 15/16”) (Prelude XL Fire Guard 15/16”) (Prelude Plus XL Fire Guard 15/16”) (AL Prelude Plus XL 15/16”) (SS Prelude Plus XL 15/16”) (Suprafine XL 9/16”) (Suprafine XL Fire Guard 9/16”) Exposed Tee Systems; (Silhouette XL 1/4” Reveal 9/16” Bolt Slot System) (Silhouette XL 1/8” Reveal 9/16” Bolt Slot System) (Interlude XL 9/16” Dimensional Tee System) (Sonata XL 9/16” Dimensional Tee System) as manufactured by Armstrong World Industries.

  - Attachment Devices: In accordance with the International Building Code, Section 1621 for Category C.

  - Wire for Hangers and Ties:  In accordance with the International Building Code,

Section 1621.

  - Wall Moldings:  In accordance with the International Building Code, Section 1621 for Category C or method as described in ESR-1308.

1.   Nominal 7/8 inch x 7/8 inch hemmed, pre-finished angle molding (7800) (7802) (7803) (780036) (HD7801)

2.   Nominal 15/16 inch x 15/16 inch hemmed, pre-finished angle molding (7809)

E.	Accessories:

- BERC2 – 2 inch Beam End Retaining Clip, 0.034 inch thick, hot-dipped galvanized cold-rolled steel per ASTM A568 – used to join main beam or cross tee to wall molding.

##### PART 3 - EXECUTION

3.1	EXAMINATION

A.	Do not proceed with installation until all wet work such as concrete, terrazzo, plastering and painting has been completed and thoroughly dried out, unless expressly permitted by manufacturer’s printed recommendations.  (Exception: HumiGuard Max Ceilings)

3.2	PREPARATION

A.	Measure each ceiling area and establish layout of acoustical units to balance border widths at opposite edges of each ceiling.  Avoid use of less than half width units at borders, and comply with reflected ceiling plans.  Coordinate panel layout with mechanical and electrical fixtures.

(INCLUDE if “New Construction” )

B.	Coordination:  Furnish layouts for preset inserts, clips, and other ceiling anchors whose installation is specified in other sections.

1.	Furnish concrete inserts and similar devices to other trades for installation well in advance of time needed for coordination of other work.

3.3	INSTALLATION

A.	Install suspension system and panels in accordance with the International Building Code, Section 1621, except as noted in Section 4.4.3.2 of ESR-1308, and with the authorities having jurisdiction.

  - ESR-1308, Section 4.4.3.2, Seismic Design Category C Installation:

Terminal ends of the runners are secured by attaching the BERC-2 clip to the wall molding and attaching the runners to the BERC-2 clip. The runners have zero clearance at the perimeter on two adjacent walls and with 3/8-inch (9.5 mm) clearance on the opposite walls. The clip is attached to the wall molding by sliding the locking lances over the hem of the vertical leg of the wall molding. BERC-2 clips installed in this manner are an acceptable means of preventing runners from spreading, in lieu of spacer bars required in CISCA 0-2, which is referenced in ASCE 7, Section 9.6.2.6.2.1, which is referenced in IBC Section 1621. Except for the use of the BERC-2 clip as noted above, installation of the ceiling system must be as prescribed by the applicable code. Maximum ceiling weight permitted is 1.20 pounds per square foot (5.86 kg/m2). This construction is equivalent to that required by CISCA 0-2, which is referenced in ASCE-7, Section 9.2.6.2.1, and which is referenced in IBC Section 1621.

C.   The presence of a hanger wire within 3 inches of an expansion relief joint as called for in ASTM C 636 shall be required in addition to the requirements of the International Building Code, Section 1621.2.5 and with the authorities having jurisdiction.

1.  Only applies when using (Prelude XL Fire Guard 15/16”) (Prelude Plus XL Fire Guard 15/16”)  (Suprafine XL Fire Guard 9/16”) Exposed Tee Systems.

D.   For reveal edge panels:  Cut and reveal or rabbet edges of ceiling panels at border areas and vertical surfaces.

  - Install acoustical panels in coordination with suspended system, with edges resting on flanges of main runner and cross tees.  Cut and fit panels neatly against abutting surfaces.  Support edges by wall moldings.

3.5    ADJUSTING AND CLEANING

A.	Replace damaged and broken panels.

B.	Clean exposed surfaces of acoustical ceilings, including trim, edge moldings, and suspension members.  Comply with manufacturer’s instructions for cleaning and touch up of minor finish damage.  Remove and replace work that cannot be successfully cleaned and repaired to permanently eliminate evidence of damage.

# END OF SECTION