SECTION 09 54 00

Specialty Ceilings

METALWORKS Mesh Lay-In & Tegular

PART 1 – GENERAL

  - RELATED DOCUMENTS

Drawings and general conditions of Contract, including General and Supplementary Conditions and Divisions-1 Specification sections apply to work of this section.

  - SUMMARY

- Section Includes

  - Metal ceiling panels

  - Exposed grid suspension system

  - Wire hangers, fasteners, main runners, cross tees, and wall angle moldings

  - Perimeter Trim

- Related Sections

  - Section 09 51 33.13 Acoustical Snap in Metal Pan Ceiling

  - Section 09 20 00 (09250) - Plaster and Gypsum Board

  - Section 09 51 13 (09500) - Acoustical Fabric-Faced Panel Ceilings

  - Section 09 53 00 (09500) - Acoustical Ceiling Suspension Assemblies

  - Section 09 54 00 Specialty Ceilings

  - Divisions 23 - HVAC Air Distribution

  - Division 26 - Electrical

- ALTERNATES

  - Prior Approval: Unless otherwise provided for in the Contract documents, proposed product substitutions may be submitted no later than TEN (10) working days prior to the date established for receipt of bids.  Acceptability of a proposed substitution is contingent upon the Architect's review of the proposal for acceptability and approved products will be set forth by the Addenda.  If included in a Bid are substitute products that have not been pre-approved by the architect and included in the Addenda, the originally specified products shall be provided without additional compensation.

  - Submittals that do not provide adequate data for the product evaluation will not be considered.  The proposed substitution must meet all requirements of this section, including but not necessarily limited to, the following: Single source materials suppliers; Underwriters' Laboratories Classified Acoustical performance; Panel design, size, composition, color, and finish; Suspension system component profiles and sizes; Compliance with the referenced standards.

  - REFERENCES

- American Society for Testing and Materials (ASTM):

  - ASTM A 1008 Standard Specification for Steel, Sheet, Cold Rolled, Carbon, Structural, High-Strength Low-Alloy and High-Strength Low-Alloy with Improved Formability

  - ASTM A 641 Standard Specification for Zinc-Coated (Galvanized) Carbon Steel Wire

  - ASTM A 653 Standard Specification for Steel Sheet, Zinc-Coated (Galvanized) by the Hot-Dip Process

  - ASTM C 423 Sound Absorption and Sound Absorption Coefficients by the Reverberation Room Method

  - ASTM C 635 Standard Specification for Metal Suspension Systems for Acoustical Tile and Lay-in Panel Ceilings

  - ASTM C 636 Recommended Practice for Installation of Metal Ceiling Suspension Systems for Acoustical Tile and Lay-in Panels

  - ASTM D 3273 Standard Test Method for Resistance to Growth of Mold on the Surface of Interior Coatings in an Environmental Chamber

  - ASTM E 84 Standard Test Method for Surface Burning Characteristics of Building Materials

  - ASTM E 580 Installation of Metal Suspension Systems in Areas Requiring Moderate Seismic Restraint

  - ASTM E 1111 Standard Test Method for Measuring the Interzone Attenuation of Ceilings Systems

  - ASTM E 1414 Standard Test Method for Airborne Sound Attenuation Between Rooms Sharing a Common Ceiling Plenum

  - ASTM E 1264 Classification for Acoustical Ceiling Products

- International Building Code

- ASHRAE Standard 62.1-2004, Ventilation for Acceptable Indoor Air Quality

- NFPA 70 National Electrical Code

- ASCE 7 American Society of Civil Engineers, Minimum Design Loads for Buildings and Other Structures

- International Code Council-Evaluation Services - AC 156 Acceptance Criteria for Seismic Qualification Testing of Non-structural Components

- International Code Council-Evaluation Services Report - Seismic Engineer Report

  - ESR 1308 - Armstrong Suspension Systems

- LEED - Leadership in Energy and Environmental Design is a set of rating systems for the design, construction, operation, and maintenance of green buildings

  - SYSTEM DESCRIPTION

- Continuous/Wall-to-wall

  - SUBMITTALS

- Product Data: Submit manufacturer's technical data for each type of acoustical ceiling unit and suspension system required.

- Samples: Minimum 6-inch x 6-inch samples of specified acoustical panel; 8-inch-long samples of exposed wall molding and suspension system, including main runner and 4-foot cross tees.

- Shop Drawings: Layout and details of acoustical ceilings show locations of items that are to be coordinated with or supported by the ceilings.

- Acoustical Certifications: Manufacturer's certifications that products comply with specified requirements, including laboratory reports showing compliance with specified tests and standards.  For acoustical performance, each carton of material must carry an approved independent laboratory classification, such as Underwriter’s Laboratory (UL), of NRC, CAC, and AC.

  - If the material supplied by the acoustical subcontractor does not have an independent laboratory classification of acoustical performance on every carton, subcontractor shall be required to send material from every production run appearing on the job to an independent or NVLAP approved laboratory for testing, at the architect's or owner's discretion.  All products not conforming to manufacturer's current published values must be removed, disposed of, and replaced with complying product at the expense of the Contractor performing the work.

  - QUALITY ASSURANCE

- Single-Source Responsibility: Provide acoustical panel units and grid components by a single manufacturer to ensure fit and function.

- Installer Qualifications: Company specializing in performing specified work type, a minimum of three years of documented experience, and approved by the manufacturer.

- Fire Performance Characteristics: Identify acoustical ceiling components with appropriate markings of applicable testing and inspecting organization.

- Surface Burning Characteristics: Tested per ASTM E 84 and complying with ASTM E 1264 Classification.

- Acoustic Panels: As with other architectural features located at the ceiling, may obstruct, or skew the planned fire sprinkler water distribution pattern through possibly delay or accelerate the activation of the sprinkler or fire detection systems by channeling heat from a fire either toward or away from the device. Designers and installers are advised to consult a fire protection engineer, NFPA 13, or their local codes for guidance where automatic fire detection and suppression systems are present.

- Coordination of Work: Coordinate acoustical ceiling work with installers of related work including, but not limited to building insulation, gypsum board, light fixtures, mechanical systems, electrical systems, and sprinklers.

  - DELIVERY, STORAGE, AND HANDLING

- The ceiling planks should be stored in a dry interior location and shall remain in cartons prior to installation to avoid damage. The cartons shall be stored in a flat, horizontal position. The planks should not be removed from the carton until the suspension system is installed.

- Proper care should be taken when handling the planks to avoid damage and soiling. It is recommended to hold the planks in the vertical orientation to avoid possibly bending the plank.

- White cotton or latex gloves are recommended for handling. It is recommended that two installers handle the 96" planks.

  - PROJECT CONDITIONS

- Areas to receive ceilings shall be free of construction dust and debris. The ceilings should only be installed in closed and acclimatized buildings. This product is not intended for exterior purposes.

- Interior systems cannot be used where standing water is present or where moisture will come in direct contact with the ceiling.

  - ALTERNATE CONSTRUCTION WASTE DISPOSAL

- Ceiling material being reclaimed must be kept dry and free from debris.

- Before disposing of ceilings, contact the Armstrong Recycling Center at 877-276-7876, select option #1 then #8 to review with a consultant the condition and location of building where the ceilings will be removed. The consultant will verify the condition of the material and that it meets the Armstrong requirements for recycling. The Armstrong consultant will help facilitate the process to recycle the ceiling.

- Recycling may qualify for LEED Credits:

  - LEED 2009 - Category 4: Material and Resources (MR)

    - Credit MRc2: Construction Waste Management

  - LEEDv4 - MRp2

    - Construction Waste Management Planning Qualifies as a material stream (non-structural) targeted for diversion. Ceilings will be source-separated and diverted through the Armstrong Ceiling Recycling Program.

  - LEEDv4-MRc5

    - Option 1: Divert ceilings to qualify for one of the 3 material streams (50%)

    - Option 2: Divert ceilings to qualify for one of the 4 material streams (75%)

  - WARRANTY

- The system is tested based on the appropriate installation method available at www.armstrongceilings.com/installation. The warranty will be voided if you do not follow specific instructions and guidelines.

- Warranty Period:

  - Acoustical Metal panels: One (1) year from date of substantial completion

  - Grid: One (1) year from date of substantial completion

- The Warranty shall not deprive the Owner of other rights the Owner may have under other provisions of the Contract Documents and will be in addition to and run concurrent with other warranties made by the Contractor under the requirements of the Contract Documents.

  - MAINTENANCE

- Extra Materials: Deliver extra materials to Owner.  Furnish extra materials described below that match products installed.  Packaged with protective covering for storage and identified with appropriate labels.

  - Acoustical Ceiling Units: Furnish quality of full-size units equal to 5.0 percent of the amount installed.

  - Exposed Suspension System Components: Furnish quantity of each exposed suspension component equal to 2.0 percent of the amount installed.

PART 2 – PRODUCTS

Attention Design Professional: Please edit Part 2 based on your project needs. Select product attributes and acceptable product item (s) that fit with the requirements of your project. Delete all items from the specification that do not relate to your project needs. Please refer to the Armstrong website for additional ceilings, suspension systems, perimeter trim options, and accessories. The related guide specifications for each of these items are available on the Armstrong website.

  - MANUFACTURERS

  - Ceiling Panels:

    - Armstrong World Industries, Inc.

  - Suspension Systems:

    - Armstrong World Industries, Inc.

2.2 CEILING UNITS

  - Specialty Ceilings

    - Surface Texture: Smooth

    - Composition: Cold-Rolled Steel

    - Power Coated Color:

      - White (WH)

      - Silver Grey (SG)

      - Nickel Chrome (NC)

      - Gun Metal Grey (MY)

      - Tech Black (BL)

      - Bronze (BZ)

      - Copper (CP)

    - Anodized for Cascades Colors:

      - Bright Anodized (BA)

      - Natural Anodized (NA)

    - Plated Antique Nickel Color:

      - Antique Nickel (AN)

    - Size:

      - 24” x 24”

      - 24” x 48”

      - 24” x 72”

      - 24” x 96”

    - Edge Profile:  Square Lay-In or Square Tegular

    - Perforation: Unperforated

    - Noise Reduction Coefficient (NRC): ASTM C 423 0.70-0.85 depending on infill panel selection

    - Ceiling Attenuation Class (CAC): n/a

    - Articulation Class (AC): n/a

    - Flame Spread: ASTM E 1264; Class A

    - Light Reflectance (LR) White Panel: ASTM E 1477; 0.75

    - Dimensional Stability/Humidity Resistance: Inherent

    - Basis of Design: METALWORKS Mesh Lay-In & Tegular, item number __________, as manufactured by Armstrong World Industries, Inc.

    - Substitutions: Refer to Alternates in Part 1.

    - Other Accessories:

      - 7425 – Stabilizer Bar

      - CHDC – Clear Hold Down Clips

      - 5600HDC – 5600 Hold Down Clips

      - 5823 – 24" x 24" BioAcoustic Infill Panel

      - 1713BL – 24" x 24" School Zone® Fine Fissured Panel – Black

      - 2820BK – 24" x 24" Calla® Square Lay-in Panel – Black

      - 2821BK – 24" x 48" Calla® Square Lay-in Panel – Black

      - 2864BK – 24" x 72" Calla® Square Lay-in Panel - Black

  - METAL SUSPENSION SYSTEMS

- Components: Main beams and cross tees, base metal and end detail, fabricated from commercial quality hot dipped galvanized steel complying with ASTM A 653.  Main beams and cross tees are double-web steel construction exposed flange design.  Exposed surfaces chemically cleansed, capping prefinished galvanized steel in baked polyester paint.  Main beams and cross tees shall have rotary stitching.

  - Structural Classification: ASTM C 635 Intermediate or Heavy Duty.

  - Color: White or match the actual color of the selected ceiling tile, unless noted otherwise.

  - Sustainability: Environmental Product Declaration (EPD), Health Product Declaration (HPD)

  - Basis of Design:

    - Prelude XL 15/16” Exposed Tee as manufactured by Armstrong World Industries, Inc.

  - Substitutions: Refer to Alternates in Part 1.

- Attachment Devices: Size for five times design load indicated in ASTM C 635, Table 1, Direct Hung unless otherwise indicated.

- Wire for Hangers and Ties: ASTM A 641, Class 1 zinc coating, soft annealed, with a yield stress load of at least time three design load, but not less than 12 gauge.

- Edge Moldings as manufactured by Armstrong World Industries, Inc.

- AXIOM Trim & Transitions as manufactured by Armstrong World Industries, Inc. www.armstrongceilings.com/axiom

- Accessories as manufactured by Armstrong World Industries, Inc.

PART 3 – EXECUTION

3.1 EXAMINATION

- Do not proceed with installation until all wet work such as concrete, terrazzo, plastering and painting has been completed and thoroughly dried out.

- Proper designs for both supply air and return air, maintenance of the HVAC filters and building interior space are essential to minimize soiling. Before starting the HVAC system, make sure supply air is properly filtered and the building interior is free of construction dust.

3.2 PREPARATION

- Measure each ceiling area and establish layout of acoustical units to balance border widths at opposite edges of each ceiling.  Avoid use of less than half width units at borders and comply with reflected ceiling plans.  Coordinate panel layout with mechanical and electrical fixtures.

- Coordination: Furnish layouts for preset inserts, clips, and other ceiling anchors whose installation is specified in other sections.

  - Furnish concrete inserts and similar devices to other trades for installation well in advance of time needed for coordination of other work.

3.3 INSTALLATION

- Follow manufacturer installation instructions.

- Install suspension system and panels in accordance with the manufacturer's instructions, and in compliance with ASTM C 636 and with the authorities having jurisdiction.

3.4 ADJUSTING AND CLEANING

- Replace damaged and broken panels.

Clean exposed surfaces of acoustical ceilings, including trim, edge moldings, and suspension members.  Comply with manufacturer's instructions for cleaning and touch up of minor finish damage.  Remove any ceiling products that cannot be successfully cleaned and or repaired. Replace with attic stock or new product to eliminate evidence of damage.