Shingle Roofing System Specification

SECTION 07 3113

ASPHALT SHINGLE ROOFING SYSTEM

Atlas Roofing Corporation asphalt/fiberglass and SBS modified asphalt/fiber glass shingles.

This section is based on the Atlas Roofing Corporation line of asphalt fiberglass and SBS modified asphalt fiberglass shingles.  Atlas has been the industry leader in proven innovations in design and shingle technology and the introduction of a full line of designer shingle colors and shapes.

For more information on Atlas Roofing Corporation products and availability, or for the name of your local Atlas Roofing Corporation representative, contact or write: Atlas Roofing Corporation, 2000 RiverEdge Parkway Suite 800, Atlanta, GA 30328. Or www.atlasroofing.com

This three-part specification must be edited to delete shingle types and styles not required on a particular project.  Also, you may delete the “NOTES” below once editing is completed.

PART 1 GENERAL

1.1 SECTION INCLUDES

A.	Granule surfaced asphalt/fiber glass shingle roof coverings.

B.	The moisture shedding underlayment, eaves, valley and ridge protection.

C.	Associated metal flashing.

1.2	RELATED SECTIONS

NOTE ** Coordinate the sections listed below with actual project requirements.

A.	Section 06 10 00 - Rough Carpentry: Plywood Roof Sheathing.

B.	Section 06 15 00 - Wood Decking.

C.	Section 07 26 00 - Vapor Retarders.

D.	Section 07 13 00 – Sheet Waterproofing.

E.	Section _____ - _____:  Attic space ventilation.

F.	Section 07 60 00 - Flashing and Sheet Metal.

G.	Section 08 62 00 - Unit Skylights.

H.	Section _____ - _____:  Chimney Flue.

1.3	REFERENCES

NOTE ** Delete unnecessary references from the list below.

A.	ASTM A 653/A 653M - Standard Specification for Steel Sheets, Zinc-Coated (Galvanized) or Zinc-Iron Alloy-Coated (Galvannealed) by the Hot-Dip Process.

B.	ASTM B 209 - Standard Specification for Aluminum and Aluminum-Alloy Sheet and Plate.

C.	ASTM B 370 - Standard Specification for Copper Sheet and Strip for Building Construction.

.

E.	ASTM D 226 - Standard Specification for Asphalt-Saturated Organic Felt Used in Roofing and Waterproofing.

F.	ASTM D 1970 - Standard Specification for Self-Adhering Polymer Modified Bituminous Sheet Materials Used as Steep Roofing Underlayment for Ice Dam Protection.

G.	ASTM D 3018 - Standard Specification for Class A Shingles Surfaced with Mineral Granules.

H.	ASTM D 3161 - Standard Test Method for Wind-Resistance of Asphalt Shingles (Fan-Induced Method).

I.	ASTM D 3462 - Standard Specification for Asphalt Shingles Made from Glass Felt and Surfaced with Mineral Granules.

J.	ASTM D 4586 - Standard Specification for Asphalt Roof Cement, Asbestos-Free.

K.	ASTM D 4869 - Standard Specification for Asphalt-Saturated Organic Felt Shingle Underlayment Used in Roofing.

L.	ASTM D 6757 – Standard Specification for Inorganic Underlayment for Use with Steep Slope Roofing Products.

- M.	ASTM D 7158, Class H – Standard Test Method for Wind Resistance of Sealed Asphalt Shingles (Uplift Force/Uplift Resistance Method)

- N.	E 108 - Standard Test Methods for Fire Tests of Roof Coverings.

- O.	UL 2218 - Impact Resistance of Prepared Roofing Materials.

- P.	UL 2390/ASTM D 6381, Class H – Uplift Test Method for Wind Resistant Shingles with Sealed Tabs

1.4	SUBMITTALS

A.	Submit under provisions of Section 01300.

B.	Product Data: Provide manufacturer's printed product information indicating material characteristics, performance criteria, and product limitations.

C.	Manufacturer's Installation Instructions: Provide published instructions that indicate preparation required and installation procedures.

NOTE ** Delete the paragraph below if not required.

D.	Certificate of Compliance: Provide Certificate of Compliance from an independent laboratory indicating that the asphalt fiberglass shingles made in normal production meet or exceed the requirements of the following:

1.	ASTM E 108/UL 790 Class A Fire Resistance.

2.	ASTM D 3161/UL 997 Wind Resistance, Class F, Tested at 110 mph..

- ASTM D 3462.

- ASTM D7158 Wind Uplift Resistance, Class H

NOTE ** Delete the following paragraph unless unusual project conditions mandate shop drawings.

E.	Shop Drawings: Indicate specially configured metal flashing, jointing methods and locations, fastening methods and locations, and installation details, as required by project conditions indicated.

1.5	QUALITY ASSURANCE

A.	Maintain one copy of manufacturer's application instructions on project site.

B.	Verify that manufacturer's label contains reference to specified ASTM standards.

1.6	ENVIRONMENTAL REQUIREMENTS

A.	Take special care when applying WeatherMaster or Polyseal waterproofing shingle underlayments and shingles when ambient or wind chill temperature is below 45 degrees F (7 degrees C).  Fasten WeatherMaster or Polyseal temporarily in place if it does not adhere immediately to the deck. It will adhere when the ambient temperature rises.

1.7	EXTRA MATERIALS

A.	Furnish under provisions of section 01700.

B.	Provide ____ square feet (____ square m) of extra shingles of each color specified.

1.8	WARRANTY

NOTE ** Edit the following list to indicate shingle types specified.

A.	Manufacturer's Warranty: Furnish shingle manufacturer's warranty for product(s) of this section as follows:

ASPHALT FIBER GLASS SHINGLES

- StormMaster Slate, Limited Lifetime Shingle Warranty, 110 mph Wind Warranty, (SBS modified asphalt, large format, slate look designer shingle)

- StormMaster LM, 110 Wind Warranty (traditional laminated SBS modified asphalt architectural shingle – 50 yr. Limited Shingle Warranty)

- Pinnacle 35, (traditional laminated, architectural shingle, with 35 yr. Limited Shingle Warranty)

- Pinnacle 45, (traditional, laminated, architectural shingle, with 45 yr. Limited Shingle Warranty)

- Stratford and/or Chalet, (granular overlay shingles with look of laminated shingle, 30 yr. Limited Shingle Warranty)

- GlassMaster 25, (traditional 3-tab strip shingle, 25 yr. Limited Shingle Warranty)

- Pro-Cut Hip and Ridge Shingles, (Color matching, pre cut shingles to complement the ridge and hip areas of the roof).

- Evolution Ridge Vent, (Hidden ridge vent design to complement the finished installation of the Atlas Roofing Corporation roof system)

- Series 5 Ridgevent, 2 sided baffled ridge vent.

- Series 7, Lo-Pro ridge vent – low profile 2 sided ridge vent.

- Premium 9 Ridgevent, baffled ridge vent with filter.

B.	Warranty Supplement: Provide manufacturer's supplemental warranty (Premium Protection Period and/or Signature Select extended warranty program) to cover labor and materials in the event of a material defect for the following period after completion of application of shingles:

- 1.	First three or five years. (Depends on specific shingle premium Protection Period from above)

- 2.	 Signature Select program effectively doubles the initial Premium Protection Warranty feature when a full Atlas roof covering system is installed together. This covers the materials and labor for the full system – see Atlas Limited Shingle Warranty for full details.

- 3.	Warranty Transferability Clause: Makes available to first Owner, shingle manufacturer's standard option for transferring warranty to a new owner.

PART 2.0 PRODUCTS

2.1	MANUFACTURER

A.	Provide products manufactured by Atlas Roofing Corporation as detailed in the Warranty provisions and/or the Signature Select Program as detailed.

B.    Substitutions: Not permitted.

2.2	ASPHALT FIBER GLASS SHINGLES

A.	Example: StormMaster Slate, Lifetime Warranted, SBS asphalt designer shingle. UL Certification of ASTM D 7158 – “Class H” Wind Resistance; UL Certification of ASTM D3462; Conforms to ASTM D3018 Type I - Self-Sealing; ASTM D3161-03b, Class “F” Wind Resistance ; ASTM D3161-99a Wind Resistance; UL997 Wind Resistance; UL 2390/ASTM D6381 Class “H” and ASTM D7158 Class “H” Wind Resistance; UL 790 Class A Fire Resistance; glass fiber mat base, ceramic coated and colored/UV resistant mineral, surfacing granules across entire face of shingle; algae resistant.

1.	Metric size at 13 1/8” x 38 13/16”, or (12” x 36”, depending on the specific shingle chosen)

NOTE ** Retain one of the following two sub-paragraphs depending on color selection method.

2.	Color: ______________.

2.	Color:  As selected by Architect from manufacturer's standards.

2.3	SHEET MATERIALS

NOTE ** Delete paragraph below and installation instructions in Part 3 if climatic conditions are such that ice dam protection is not required.

A.	Eaves Protection: Atlas Roofing Corporation WeatherMaster (granular) or Polyseal (high temp); ASTM D1970 sheet barrier of self-adhering rubberized asphalt membrane shingle underlayment having reinforcement, and "split" back plastic release film; provide material with warranty equal in duration to that of shingles being applied.

NOTE ** Delete underlayment types not required for the building project.

1.

- PolySeal High Temp, peel and stick, self - adhering underlayment

- WeatherMaster – granular surfaced, self – adhering underlayment.

- Gorilla Guard – glass reinforced saturated felt, shingle underlayment.

NOTE ** Select underlayment from the following three paragraphs, deleting those not required.  The Atlas Roofing Corporation Gorilla Guard underlayment resists wrinkling, due to the glass fiber reinforcement in the product.

- A.	Underlayment: Atlas Roofing Corporation Gorilla Guard, ASTM D 6757; asphalt-impregnated glass fiber-reinforced organic felt designed for use on roof decks as a water-resistant layer beneath roofing shingles.

- B.	Summit Synthetic shingle underlayment,

B. Underlayment:  ASTM D 4869 (any Type), asphalt saturated felt.

C. Underlayment:  ASTM D 226 (Type I or II, asphalt saturated felt (non-perforated).

E. Waterproofing Underlayment: Atlas WeatherMaster or PolySeal; ASTM D 1970 sheet barrier of self-adhering rubberized asphalt membrane shingle underlayment having internal reinforcement, and "split" back plastic release film; Use in ‘low-slope’ and potential ice dam areas, (below 4:12, but no less than 2:12); provide material with warranty equal in duration to that of shingles being applied. (NOTE** Delete underlayment types not required for the building project.)Gorilla Guard – glass fiber reinforced saturated felt

- Summit Synthetic – long term exposure shingle underlayment

- WeatherMaster – granular surface – self adhering underlayment

- PolySeal – high temp – self adhering underlayment

2.4	FLASHING MATERIALS

A.	Sheet Flashing: ASTM A361/A 361M, 26 gage (0.45 mm) steel with minimum G115/Z350 galvanized coating.

B.	Sheet Flashing: ASTM B209; 0.025 in (0.63 mm) thick aluminum, mill finish.

C.	Sheet Flashing: ASTM B370; cold rolled copper; 16 ounces per square foot (0.55 mm); natural finish.

2.5	ACCESSORIES

A.	Nails:  Standard round wire type roofing nails, corrosion resistant; hot dipped zinc coated steel, aluminum, or chromated steel;   Nominal 3/8 inch (9.5 mm) head diameter; minimum 11 or 12 gage (2.5 mm) shank diameter; shank to be of sufficient length to penetrate through roof sheathing or 3/4 inch (19 mm) into solid wood, plywood, or non-veneer wood decking.

B.	Asphalt Roofing Cement: ASTM D 4586.

2.6	FLASHING FABRICATION

A.	Form flashing to profiles indicated on Drawings, and to protect roofing materials from physical damage and shed water.

B.	Form sections square and accurate to profile, in maximum possible lengths, free from distortion or defects detrimental to appearance or performance.

PART 3 EXECUTION

3.1	EXAMINATION

A.	Verify existing site conditions under provisions of Section 01700.

B.	Verify that roof penetrations and plumbing stacks are in place and flashed to deck surface.

C.	Verify roof openings are correctly framed prior to installing work of this section.

D.	Verify deck surfaces are dry and free of ridges, warps, or voids.

3.2	ROOF DECK PREPARATION

A.	Follow shingle manufacturer's recommendations for acceptable roof deck materials.

B.	Broom clean deck surfaces under eave protection and shingle underlayment prior to their application.

3.3	INSTALLATION - EAVE ICE DAM PROTECTION

A.	Place the eave edge and gable edge metal flashing tight to the fascia boards.  Weather-lap joints 2 inches (50 mm).  Secure flange with nails spaced 8 inches (200 mm) on center.

B.	Apply chosen “Atlas Roofing Corporation shingle underlayment" as eave protection in accordance with manufacturer's instructions and local building code requirements.

NOTE ** Change the dimension below to 48 inches (1,220 mm) or greater for low slope roofs or severe climatic conditions – to comply with local code requirements.

C.	Extend eave protection membrane minimum 24 inches (610 mm) up slope beyond interior face of exterior wall.

3.4	INSTALLATION - PROTECTIVE UNDERLAYMENT

NOTE ** Delete first two paragraphs below if all roof slopes are greater than 4:12.  Otherwise, select either Atlas Roofing Corporation Gorilla Guard underlayment or Summit Synthetic underlayment or WeatherMaster peel and stick or PolySeal peel and stick underlayment or D4869 saturated felt underlayment or in combination to achieve eave and valley ice dam protection.  Gorilla Guard is an improved version of standard saturated felt underlayment, developed to resist standing water held on a sloped roof at eaves and valleys by ice dams and to resist wind-driven water.  Summit Synthetic underlayment is a long-term exposure shingle underlayment with excellent physical characteristics. WeatherMaster or PolySeal can be used to cover the entire roof deck, rather than just eaves and valleys, when the slope is so low (2:12 to 4:12) as to permit wind to drive rain beneath the shingle.  Assure sufficient ventilation of space beneath the deck upon which WeatherMaster or PolySeal is applied, as these products can serve as a vapor barrier.

A.	Roof Slope Between 2:12 and 4:12: Apply one layer of "WeatherMaster or PolySeal" over all decking areas, with ends and edges weather-lapped per application instructions.  Stagger end-laps each consecutive course. Nail around the entire perimeter of each course to initially hold each course in place.

B.	Roof Slope Between 2:12 and 4:12: Apply two layers of Gorilla Guard, D4869 or D226 underlayment over areas not protected by WeatherMaster or PolySeal at eaves, with ends and edges weather-lapped a minimum of 19 inches (480 mm). Stagger end laps each on consecutive layer.  Edge nail in place.

C.	Roof Slope 4:12 or Greater: Install one layer Gorilla Guard,1 layer of D 4869 or D226 asphalt felt shingle underlayment perpendicular to slope of roof and lap minimum 4 inches (100 mm) over eave protection.

D.	Shingle style - lap and seal watertight with asphalt roofing cement items projecting through or mounted on roof.  Avoid contact of solvent-based cements with WeatherMaster or PolySeal.

3.5	INSTALLATION - VALLEY PROTECTION

A.	For "closed-cut," "woven," and "open" valleys first place one ply of WeatherMaster or PolySeal, minimum 36 inches (910 mm) wide, centered over valleys.  Lap joints shingle style a minimum 6 inches (152 mm).  Next, it is recommended to overlay the valley with a second layer of metal valley flashing or a second 18” wide course of the WeatherMaster or PolySeal. Follow instructions of shingle and waterproofing membrane manufacturer.

3.6	INSTALLATION - METAL FLASHING

A.	Shingle style – lap and seal all joints a minimum of 2 inches (50 mm).

B.	Seal work projecting through or mounted on roofing with asphalt roofing cement and make weather-tight.

3.7	INSTALLATION - ASPHALT SHINGLES

A.	Install shingles in accordance with manufacturer's instructions for product type and application specified.

3.8	FIELD QUALITY CONTROL

A.	Field inspection will be performed under provisions of Section 01400.

B.	Owner will provide the final visual inspection of the work. If conditions are unacceptable, Owner will notify the Architect.

3.9	PROTECTION OF FINISHED WORK

A.	Protect finished work under provisions of Section 01700.

B.	Do not permit traffic over finished roof surface.

END OF SECTION