BRICKFORM® • (800) 483-9628 toll free • (909) 484-3318 fax  • 11061 Jersey Blvd.• Rancho Cucamonga, CA 91730

These specification guidelines are intended for use by a qualified concrete construction specifier and are not intended to be used as a project specification. Coordinate each section with other specification sections and the drawings. Prepare specification in accordance with ACI recommendations and other applicable industry guidelines.

Each section must be carefully reviewed and edited to meet the requirements of the project and local building code. Bracketed sections are intended for modifications regarding specific use or color selection and are included for the convenience of the specifier.

Section 03355

Specification GuidelineS

INTEGRALLY COLORED CONCRETE

Part 1 GENERAL

1.1 SUMMARY

A. Drawings and general provisions of Contract, including General and Supplementary Conditions and Division 1 Specification sections, apply to Work of this Section.

B. Section Includes:

1. Integrally Colored Concrete [sidewalks,] [driveways,] [patios,] [roads,] [parking lots,] [_______,] [and] [other exterior concrete pavements].

1.2 RELATED SECTIONS

A. Section 03300 – Cast-in-Place Concrete.

B. Section 03330 – Architectural Concrete.

C. Section 03400 – Precast Concrete.

1.3 REFERENCES

Other useful publications about colored concrete include:

PCA PA124 - Finishing Concrete Slabs with Color and Texture.

PCA SP021 - Color and Texture in Architectural Concrete.

A. American Concrete Institute (ACI):

1. ACI 301 -Specification for Structural Concrete for Buildings.

2. ACI 302 IR - Recommended Practice for Concrete Floor and Slab Construction.

3. ACI 303.1 -Standard Specification for Cast-In-Place Architectural Concrete.

4. ACI 304 - Recommended Practice for Measuring, Mixing, Transporting and Placing of Concrete.

5. ACI 305R - Recommended Practice for Hot Weather Concreting.

6. ACI 306R - Recommended Practice for Cold Weather Concreting.

7. ACI 316 - Recommendations for Construction of Concrete Pavements and Bases.

B. American Society of Testing and Materials (ASTM):

1. ASTM C 33 - Standard Specification for Concrete Aggregates.

2. ASTM C 94 - Standard Specification for Ready-Mixed Concrete.

3. ASTM C 150 - Standard Specification for Portland Cement.

4. ASTM C 309 - Liquid Membrane - Forming Compounds for Curing Concrete.

5. ASTM C 979 - Standard Specification for Pigments for Integrally Colored Concrete.

1.4 SUBMITTALS

A. Comply with Section 01330 - Submittal Procedures.

B. Product Data: Submit manufacturer's complete technical information sheets for the following:

1. BRICKFORM® Liquid Color (integral Color).

Page 2 of 5

C. Design Mixes: For each type of concrete.

D. Samples for Initial Selection: Manufacturer's color charts showing full range of colors available.

E. Qualification Data: For firms indicated in 1.5 Quality Assurance, including list of completed projects.

1.5 QUALITY ASSURANCE

A. Concrete Contractor Qualifications: Concrete work shall be performed by firm with [three] [________] years experience and must have successfully completed [not less than 6 projects] [work of similar scope and quality] comparable in scale and complexity.

1. Statement of Contractor Qualifications

a. Submit list of [at least 6] completed projects including project name, project

address and owner contact information.

B. Comply with the requirements of [ACI 301,] [305,] [306,] and [316].

C. Obtain specified material from same source and maintain high degree of consistency in workmanship throughout Project.

D. Notification of manufacturer's authorized representative shall be given at least 1-week before start of Work.

Please Note:

Color charts and small sample submittals provide only a general indication of color. Please note that an exact color match of cast-in-place concrete and work specified in other sections may not be practical because of the differences in the various manufacturing and construction processes. Please specify and approve mockups or field samples to demonstrate that proposed materials and workmanship produce an acceptable concrete appearance.

E. Colored Concrete [Mockup] [Field Samples]:

1. Provide under provisions of Division 1 Section [Quality Control] [________.]

2. At location on Project selected by [Architect] [Landscape Architect] [Engineer], place and finish [10’ X 10’] [4’ X 4’]] [________] area.

3. For accurate color, the quantity of concrete mixed to produce the sample should not le less than one (1) cubic yard (liquid color only) and should always be in full yard increments. Construct [mockup][sample panel] using processes and techniques intended for use on permanent work, including curing procedures. Include samples of control, construction, and expansion joints in sample panels. Individual workers who will perform the work for the Project will produce [mockup] [field sample].

4. Retain samples of cements, sands, aggregates, and color additives used in mock-up for comparison with materials used in remaining work.

5. Accepted [mockup] [field sample] provides visual standard for work of Section.

[Mockup] [Field sample] shall remain through completion of the work for use as a quality standard for finished work.

6. Remove [mockup] [field sample] when directed.

1.6 DELIVERY, STORAGE, AND HANDLING

A. Products shall be delivered in original factory packaging, unopened and undamaged. Packaging will bear identification of product, manufacturer’s identification and batch numbers. A technical information sheet and MSDS should be available for each product throughout the project.

B. Store the product in strict accordance with the manufacturer's recommendations in a location protected from damage, construction activity, and weather conditions.

1.7 JOBSITE CONDITIONS

A. Schedule placement to minimize exposure to wind and hot sun

B. Avoid placement if rain, snow, or frost is forecast within a 24-hour period. Protect fresh concrete from moisture and freezing.

Page 3 of 5

C. Comply with professional practices described in ACI 305R and ACI 306R.

1.8 PRE-JOB CONFERENCE

A. One week prior to placement of concrete a meeting shall be held to discuss the Project and application methods including delivery and mix design requirements.

B. It is suggested that the [Architect,] [Landscape Architect,] [Engineer,] General Contractor, [Construction Manager,] Subcontractor, Ready-Mix Concrete Representative, and a Manufacturer's Representative be present.

PART 2 PRODUCTS

2.1 ACCEPTABLE MANUFACTURER

A. BRICKFORM® Liquid Color (integral): Iron Oxide, concrete color.

BRICKFORM® Liquid Color as manufactured by BRICKFORM®, Rancho Cucamonga, CA conforms to the requirements of this specification.

2.2 MATERIALS

A. BRICKFORM® Liquid Color: BRICKFORM® pre-packaged, integral color.

B. Ready-Mixed concrete: ASTM C94

C. Portland Cement: ASTM C 150. Use same source, brand, type, and color throughout project.

D. Course and Fine Aggregates: ASTM C 33. Use same source and color throughout project.

E. Admixtures: Designed for use with concrete pigments. Do not use Calcium Chloride or admixtures containing chlorides. Use same admixtures throughout the project.

F. Delivery from the same concrete batch plant and concrete mix design are to remain consistent during the entire project.

2.3 COLORS [AND FINISHES]

A. Colors: as selected by [Architect] [Landscape Architect] [Engineer] from the BRICKFORM® Liquid Color Color Selection Guide.

- B. Finishes: as selected by [Architect] [Landscape Architect] [Engineer]. Surfaces shall

- be finished uniformly with the following finish:

- 1. Broomed:  Pull broom across freshly [floated] [troweled] concrete to produce [fine]

- [medium] [coarse] texture in [straight] [wavy] lines perpendicular to main line of

traffic (do not dampen brooms) to match originally approved [mockup] [field sample].

- 2. Swirl:  Float concrete.  Work float flat on surface using pressure in swirling

- manner to produce series of uniform arcs and twists  [use aluminum or magnesium

float to produce medium texture]  [use wood float to provide coarse texture] to match originally approved [mockup] [field sample].

- 3. Trowel:  Precautions should be taken to ensure that the surface is uniformly

troweled so that it will not be slippery to match originally approved [mockup] [field sample]. Do not over-trowel or burnish the surface.

- 4. Rock Salt:  [Float,] [trowel,] [and] [broom] concrete. Then sprinkle salt on

concrete and press into surface leaving only tops of salt grains exposed. After 24 hours, wash salt away with water and brush to match originally approved [mockup] [field sample]. Allow surface and impressions to dry before applying curing compound.

- 5. Sandblast:  Allow concrete to cure to sufficient strength so that it will not be

- damaged by blasting but not less than seven days or where local conditions permit. Use [light] [medium] [heavy] sandblasting to remove cement mortar from surface and expose aggregate to match originally approved [mockup] [field sample].

6. Exposed Aggregate: Finish concrete and apply chemical surface retarder according to manufacturer’s written instructions. Wash surface to match originally approved [mockup] [field sample].

- Page 4 of 5

2.4 CONCRETE MIX DESIGN

A. Minimum Cement Content:  [6] [________] sacks per cubic yard of concrete.

B. Slump of concrete shall be consistent throughout Project at 4-inches or less. At no time shall slump exceed 5-inches. [If super plasticizers or mid-range water reducers are allowed, slump shall not exceed 8-inches.]

C. Do not add calcium chloride to mix as it causes mottling and surface discoloration.

D. Supplemental admixtures shall not be used unless approved by manufacturer.

E. Do not add water to the mix in the field.

PART 3 EXECUTION

3.1 APPLICATION

A. Measuring, Batching, Mixing and Delivering Concrete:

1. Measure, batch, mix and deliver concrete with pigment in accordance with manufacturer’s instructions.

2. Ensure mixer is clean and free of washout water before loading.

3. Load mixer to a minimum of 40 percent capacity.

4. Do not load mixer beyond recommended capacity.

5. Do not add colorant to mixer as first concrete material.

6. Agitate liquid pigment in container to ensure proper viscosity prior to addition to the concrete mix

7. Add concrete materials to mixer in same order for each batch.

8. Maintain consistent amounts of batch water in each batch.

3.2 INSTALLATION

A. Placing, Finishing, and Curing Concrete:

1. Place, finish, and cure concrete with pigments in accordance with manufacturer’s instructions.

2. Allow excess surface water to evaporate before finishing.

3. Trowel the surface uniformly.

4. Do not over-finish surface and avoid burning.

5. Do not retrowel partial areas of finished slab.

6. Do not fog with water or cover surface of colored concrete during initial curing process for a minimum of 24 hours.

7. Do not use plastic sheeting to cure the concrete.

8. After the initial curing period, a clear, non-staining, non-yellowing curing compound that conforms to ASTM C 309 may be used.

3.3 PROTECTION OF FINISHED WORK

A. Protect finish work under provisions of Division 1, Section: Temporary Facilities and Controls  [________.]

B. Prohibit foot or vehicular traffic on floor surface.

C. Barricade area to protect flooring.

D. Protect floor surface from damage until final inspection and acceptance by Owner.

Page 5 of 5

3.4 TOLERANCES

As with any natural material, some variation in appearance is a normal design feature of concrete, whether integrally colored or not. It is normal for the color of integrally colored concrete to lighten as it cures. Allow up to 28 days for process to occur.

A. Minor variations in appearance of integrally colored concrete, which are similar to natural variations in color and appearance of uncolored concrete are acceptable.

BRICKFORM®				Local Contact:__________________________

Corporate Headquarters

(800) 483-9628 toll free 			Telephone Number______________________

(909) 484-3318 fax

(909) 484-3399 phone • 11061 Jersey Blvd. • Rancho Cucamonga, CA 91730