SECTION 07 21 00

FIBERGLASS BUILDING INSULATION

Display hidden notes to specifier. (Don't know how? Click Here)

** NOTE TO SPECIFIER ** CertainTeed Corp., Insulation Group; Building Insulation products.
.
This section is based on the products of CertainTeed Corp., Insulation Group, which is located at:
20 Moores Road 
Malvern, PA 19355
Toll Free Tel: 800-233-8990
Email: request info (building.solutions@saint-gobain.com)
Web: www.certainteed.com/insulation  
 [ Click Here ] for additional information.
CertainTeed is one of America's leading producers of fiberglass insulation used in Residential, Commercial and Mechanical/HVAC markets for both new and existing buildings. Our product line includes fiberglass batts, blankets, blowing products, fiberglass insulation for HVAC duct systems and mold prevention products. Our insulation products have achieved GREENGARD™ Gold Certification.

- GENERAL

  - SECTION INCLUDES

** NOTE TO SPECIFIER ** Delete items below not required for project.

    - Batt and Roll Insulation.

    - Blowing Insulation.

    - Board Insulation.

    - Blanket Insulation.

    - Vapor Retarder.

  - RELATED SECTIONS

** NOTE TO SPECIFIER ** Delete any sections below not relevant to this project; add others as required.

    - Section 04 40 00 - Stone Assemblies.

    - Section 07 10 00 - Damp-proofing and Waterproofing.

    - Section 07 26 00 - Vapor Retarders.

    - Section 07 27 26 - Fluid-Applied Membrane Air Barriers.

    - Section 07 46 63 - Fabricated Panel Assemblies with Siding.

    - Section 07 50 00 - Membrane Roofing.

    - Section 07 81 33 - Mineral-Fiber Fireproofing.

    - Section 09 20 00 - Plaster and Gypsum Board.

    - Section 23 31 16.16 - Thermoset Fiberglass-Reinforced Plastic Ducts.

  - REFERENCES

** NOTE TO SPECIFIER ** Delete references from the list below that are not actually required by the text of the edited section.

    - ASTM C 423 - Standard Test Method for Sound Absorption and Sound Absorption Coefficients by the Reverberation Room Method.

    - ASTM C 518 - Standard Test Method for Steady-State Thermal Transmission Properties by Means of the Heat Flow Meter Apparatus.

    - ASTM C 553 - Standard Specification for Mineral Fiber Blanket Thermal Insulation for Commercial and Industrial Applications.

    - ASTM C 612 - Standard Specification for Mineral Fiber Block and Board Thermal Insulation.

    - ASTM C 665 - Standard Specification for Mineral-Fiber Blanket Thermal Insulation for Light Frame Construction and Manufactured Housing.

    - ASTM C 764 - Standard. Specification for Mineral Fiber. Loose-Fill Thermal Insulation.

    - ASTM E 84 - Standard Test Method for Surface Burning Characteristics of Building Materials.

    - ASTM E 96 - Standard Test Methods for Water Vapor Transmission of Materials.

    - ASTM E 119 - Standard Test Methods for Fire Tests of Building Construction and Materials.

    - ASTM E 136 - Standard Test Method for Behavior of Materials in a Vertical Tube Furnace at 750 Degrees C.

    - ASTM E 814 - Standard Test Method for Fire Tests of Through-Penetration Fire Stops.

    - Federal Specification HH-I-521F: Insulation Blankets, Thermal (Mineral Fiber, For Ambient Temperatures).

    - Federal Specification HH-I-558B: Insulation, Blocks, Blankets, Felts, Sleeving (Pipe and Tube Covering), and Pipe fitting Covering, Thermal (Mineral Fiber, Industrial Type)

    - National Fire Protection Association (NFPA) Life Safety Code

    - Underwriters Laboratories (UL) - UL 2079 Standard test method for fire resistance of Building Joint Systems.

  - SUBMITTALS

    - Submit under provisions of Section 01 30 00 - Administrative Requirements.

    - Product Data: Manufacturer's data sheets on each product to be used, including:

      - Preparation instructions and recommendations.

      - Storage and handling requirements and recommendations.

      - Installation methods.

    - Manufacturer's Certificates: Certify products meet or exceed specified requirements.

  - QUALITY ASSURANCE

    - Manufacturer Qualifications: Manufacturer with a minimum of ten years of experience manufacturing products in this section shall provide all products listed.

    - Installer Qualifications: Products listed in this section shall be installed by a single organization with at least five years of experience successfully installing insulation on projects of similar type and scope as specified in this section.

** NOTE TO SPECIFIER ** Include a mock-up if the project size and/or quality warrant taking such a precaution. The following is one example of how a mock-up on a large project might be specified. When deciding on the extent of the mock-up, consider all the major different types of work on the project.

    - Mock-Up: Provide a mock-up for evaluation of surface preparation techniques and application workmanship.

      - Finish areas designated by Architect.

      - Do not proceed with remaining work until workmanship is approved by Architect.

      - Refinish mock-up area as required to produce acceptable work.

  - DELIVERY, STORAGE, AND HANDLING

    - Deliver and store products in manufacturer's unopened packaging bearing the brand name and manufacturer's identification until ready for installation.

    - Storage: Store materials in dry locations with adequate ventilation, free from water, and in such a manner to permit easy access for inspection and handling.

    - Handling: Handle materials to avoid damage.

  - SEQUENCING

    - Coordinate with the installation of vapor retarders and air seal materials specified is Section 07 26 00 - Vapor Retarders and Section 07 27 26 - Fluid-Applied Membrane Air Barriers.

    - Ensure that products of this section are supplied to affected trades in time to prevent interruption of construction progress.

  - PROJECT CONDITIONS

    - Maintain environmental conditions (temperature, humidity, and ventilation) within limits recommended by manufacturer for optimum results. Do not install products under environmental conditions outside manufacturer's absolute limits.

- PRODUCTS

  - MANUFACTURERS

    - Acceptable Manufacturer: CertainTeed Corp., Insulation Group, which is located at: 20 Moores Road; Malvern, PA 19355; Toll Free Tel: 800-233-8990; Email: request info (building.solutions@saint-gobain.com); Web: www.certainteed.com/insulation

** NOTE TO SPECIFIER ** Delete one of the following two paragraphs; coordinate with requirements of Division 1 section on product options and substitutions.

    - Substitutions: Not permitted.

    - Requests for substitutions will be considered in accordance with provisions of Section 01 60 00 - Product Requirements.

  - APPLICATIONS

** NOTE TO SPECIFIER ** The following is an example of how to specify different types of insulation for different applications. If the insulation types, R-values, and/or thicknesses are clearly indicated on the Drawings, this series of paragraphs is not required. 
If used, determine which applications are necessary and add any other applications needed that are not identified. Where applicable, specify product thicknesses and width dimensions so insulation completely fills wall cavities to meet thermal and acoustical performance specifications. Specify type of vapor retarder facing to meet water vapor transmission and fire rating required.
Review the insulation types specified and determine which type(s) should be used for each application. If required, add the names of the types specified to the applications specified below. Insert R-values if thicknesses are not indicated on the Drawings.

    - Exterior Stud Walls: Batt type.

** NOTE TO SPECIFIER ** Delete one of the following two paragraphs.

      - Thickness: As indicated on the Drawings.

      - Thickness: _____.

      - R-Value: ______.

** NOTE TO SPECIFIER ** Delete two of the following three paragraphs.

      - Vapor Retarder: Foil facing.

      - Vapor Retarder: Kraft facing.

      - Vapor Retarder: Separate.

    - Exterior Concrete and Masonry Walls: Rigid board type applied to interior face.

** NOTE TO SPECIFIER ** Delete one of the following two paragraphs.

      - Thickness: As indicated on the Drawings.

      - Thickness: _____.

      - R-Value: ________.

** NOTE TO SPECIFIER ** Delete two of the following three paragraphs.

      - Vapor Retarder: Foil facing.

      - Vapor Retarder: Kraft facing.

      - Vapor Retarder: Separate.

    - Basement Walls:

** NOTE TO SPECIFIER ** Delete one of the following two paragraphs.

      - Thickness: As indicated on the Drawings.

      - Thickness: _____.

      - R-Value: ______.

** NOTE TO SPECIFIER ** Delete one of the following two paragraphs.

      - Type: Extra wide batt type applied to interior face.

      - Type: Batt type applied between furring strips.

      - Vapor Retarder: Separate.

    - Attic/Ceiling Rafters: Blown type.

** NOTE TO SPECIFIER ** Delete one of the following two paragraphs.

      - Thickness: As indicated on the Drawings.

      - Thickness: _____.

      - R-Value: ______.

      - Vapor Retarder: Separate.

    - Roof Rafters, With No Covering: Batt type.

** NOTE TO SPECIFIER ** Delete one of the following two paragraphs.

      - Thickness: As indicated on the Drawings.

      - Thickness: _____.

      - R-Value: ______.

** NOTE TO SPECIFIER ** Delete one of the following two paragraphs.

      - Vapor Retarder: Foil facing.

      - Vapor Retarder: Separate.

    - Floor Joists Over Crawl Space: Batt type.

** NOTE TO SPECIFIER ** Delete one of the following two paragraphs.

      - Thickness: As indicated on the Drawings.

      - Thickness: _____.

      - R-Value: ______.

** NOTE TO SPECIFIER ** Delete two of the following three paragraphs.

      - Vapor Retarder: Foil facing, with facing up (on warm side).

      - Vapor Retarder: Kraft facing, with facing up (on warm side).

      - Vapor Retarder: Separate.

    - Cathedral Ceilings (Gypsum Board Covering): High density batt type.

** NOTE TO SPECIFIER ** Delete one of the following two paragraphs.

      - Thickness: As indicated on the Drawings.

      - Thickness: _____.

      - R-Value: ______.

** NOTE TO SPECIFIER ** Delete one of the following two paragraphs.

      - Vapor Retarder: Kraft facing.

      - Vapor Retarder: None.

      - Vapor Retarder: Separate.

    - Above Soffits: Batt type.

** NOTE TO SPECIFIER ** Delete one of the following two paragraphs.

      - Thickness: As indicated on the Drawings.

      - Thickness: _____.

      - R-Value: ______.

    - Interior Partitions Indicated with STC Rating: Batt type.

** NOTE TO SPECIFIER ** Delete one of the following two paragraphs.

      - Thickness: As indicated on the Drawings.

      - Thickness: _____.

    - Above Interior Ceilings: Batt type.

** NOTE TO SPECIFIER ** Delete one of the following two paragraphs.

      - Thickness: As indicated on the Drawings.

      - Thickness: _____.

    - Theater - On Exposed Ceilings and Walls Above 8 Feet (2440 mm) Above Floor Level: Black acoustical insulation.

** NOTE TO SPECIFIER ** Delete one of the following two paragraphs.

      - Type: Batt type.

      - Type: Board type.

** NOTE TO SPECIFIER ** Delete one of the following two paragraphs.

      - Thickness: ________.

      - Thickness: As indicated on the Drawings.

** NOTE TO SPECIFIER ** The following major paragraphs contain various insulation types including Batt and Roll Insulation, Blowing Insulation, Board Insulation, Blanket Insulation and Vapor Retarders. These products are intended for use in either residential or commercial construction. Select the products required from the following paragraphs and delete those not required. Coordinate with the Drawings and/or the applications paragraph above.

  - BATT AND ROLL INSULATION

** NOTE TO SPECIFIER ** CertainTeed Fiberglass Building Insulation is intended for use in either residential or commercial construction as thermal and acoustical insulation in ceilings, walls and floors. Available unfaced or kraft-faced and is designed for use in standard wood stud and steel frame assemblies.

    - Thermal Batt & Roll Insulation: CertainTeed Fiberglass Building Insulation. Fiberglass building insulation for walls, ceilings, attics and floors. Complies with ASTM C 665; preformed glass fiber batt insulation:

* NOTE TO SPECIFIER ** Select one or both of the following two paragraphs for faced and unfaced batt insulation as required and delete those not required.

      - Facing: ASTM C 665 Type I Unfaced.

        - Fire Hazard Classification: ASTM E 84:

          - Maximum Flame Spread Index; 25.

          - Maximum Smoke Developed Index; 50.

        - Noncombustibility: ASTM E 136, passes.

** NOTE TO SPECIFIER ** Select one or more of the following paragraphs for thermal resistance and facing as required and delete those not required.

        - Thermal Resistance: R of 8 (RSI 1.4).

          - Thickness: 2-1/2 inches (64 mm).

** NOTE TO SPECIFIER ** Select one or more of the following paragraphs for width required and delete those not required.

          - Width: 16 inches (406 mm).

          - Width: 24 inches (610 mm).

        - Thermal Resistance: R of 11 (RSI 1.9).

          - Thickness: 3-1/2 inches (89 mm).

** NOTE TO SPECIFIER ** Select one or more of the following paragraphs for width required and delete those not required.

          - Width: 11-1/4 inches (286 mm).

          - Width: 15 inches (381 mm).

          - Width: 15-1/4 inches (387 mm).

          - Width: 16 inches (406 mm).

          - Width: 23 inches (584 mm).

          - Width: 23-1/4 inches (591 mm).

          - Width:  24 inches (610 mm).

          - Width: 48 inches (1219 mm).

          - Width: 84 inches (2134 mm).

        - Thermal Resistance: R of 13 (RSI 2.3).

          - Thickness: 3-1/2 inches (89 mm).

** NOTE TO SPECIFIER ** Select one or more of the following paragraphs for width required and delete those not required.

          - Width: 15-1/4 inches (387 mm).

          - Width: 16 inches (406 mm).

          - Width: 19-1/4 inches (489 mm).

          - Width: 23-1/4 inches (591 mm).

          - Width: 24 inches (610 mm).

        - Thermal Resistance: R of 15 (RSI 2.6).

          - Thickness: 3-1/2 inches (89 mm).

** NOTE TO SPECIFIER ** Select one or more of the following paragraphs for width required and delete those not required.

          - Width: 15-1/4 inches (387 mm).

          - Width:  16 inches (406 mm).

          - Width: 23-1/4 inches (591 mm).

        - Thermal Resistance: R of 19 (RSI 3.3).

          - Thickness: 6-1/4 inches (159 mm).

** NOTE TO SPECIFIER ** Select one or more of the following paragraphs for width required and delete those not required.

          - Width: 11-1/4 inches (286 mm).

          - Width: 15 inches (381 mm).

          - Width: 15-1/4 inches (387 mm).

          - Width: 16 inches (406 mm).

          - Width: 19-1/4 inches (489 mm).

          - Width: 23 inches (584 mm).

          - Width: 23-1/4 inches (591 mm).

          - Width: 24 inches (610 mm).

          - Width: 28 inches (711 mm).

          - Width: 48 inches (1219 mm).

        - Thermal Resistance: R of 20 (RSI 3.5).

          - Thickness: 6 inches (152 mm).

** NOTE TO SPECIFIER ** Select one or more of the following paragraphs for width required and delete those not required.

          - Width: 15 inches (381 mm).

          - Width: 15-1/4 inches (387 mm).

        - Thermal Resistance: R of 21 (RSI 3.7).

          - Thickness: 5-1/2 inches (140 mm).

** NOTE TO SPECIFIER ** Select one or more of the following paragraphs for width required and delete those not required.

          - Width: 15-1/4 inches (387 mm).

          - Width: 16 inches (406 mm).

          - Width: 23-1/4 inches (591 mm).

          - Width: 24 inches (610 mm).

        - Thermal Resistance: R of 22 (RSI 3.9).

          - Thickness: 6-1/2 inches (xxx mm).

** NOTE TO SPECIFIER ** Select one or more of the following paragraphs for width required and delete those not required.

          - Width: 16 inches (406 mm).

          - Width:  19-1/4 inches (489 mm).

          - Width: 23 inches (584 mm).

          - Width: 24 inches (610 mm).

        - Thermal Resistance: R of 25 (RSI 4.4).

          - Thickness: 8 inches (203 mm).

** NOTE TO SPECIFIER ** Select one or more of the following paragraphs for width required and delete those not required.

          - Width: 16 inches (406 mm).

          - Width: 23 inches (584 mm).

          - Width: 24 inches (610 mm).

        - Thermal Resistance: R of 30 (RSI 5.3).

          - Thickness: 10 inches (254 mm).

** NOTE TO SPECIFIER ** Select one or more of the following paragraphs for width required and delete those not required.

          - Width: 16 inches (406 mm).

          - Width: 19-1/4 inches (489 mm).

          - Width: 24 inches (610 mm).

        - Thermal Resistance: R of 30C (RSI 5.3). Cathedral Ceiling Batt.

          - Thickness: 8-1/4 inches (210 mm).

** NOTE TO SPECIFIER ** Select one or more of the following paragraphs for width required and delete those not required.

          - Width: 15-1/4 inches (387 mm).

          - Width: 23-1/4 inches (591 mm).

        - Thermal Resistance: R of 38 (RSI 6.7).

          - Thickness: 12 inches (305 mm).

** NOTE TO SPECIFIER ** Select one or more of the following paragraphs for width required and delete those not required.

          - Width: 16 inches (406 mm).

          - Width: 19-1/4 inches (489 mm).

          - Width: 24 inches (610 mm).

        - Thermal Resistance: R of 38C (RSI 6.7). Cathedral Ceiling Batt.

          - Thickness: 10-1/4 inches (260 mm).

** NOTE TO SPECIFIER ** Select one or more of the following paragraphs for width required and delete those not required.

          - Width: 15-1/4 inches (387 mm).

          - Width: 23-1/4 inches (591 mm).

        - Thermal Resistance: R of 49 (RSI 8.6).

          - Thickness: 15 inches (381 mm).

** NOTE TO SPECIFIER ** Select one or more of the following paragraphs for width required and delete those not required.

          - Width: 16 inches (406 mm).

          - Width: 24 inches (610 mm).

      - Facing: ASTM C 665 Type II, Class C, Category 1, faced on one side with Kraft paper providing a vapor barrier of 1.0 or less.

        - Thermal Resistance: R of 11 (RSI 1.9).

          - Thickness: 3-1/2 inches (89 mm).

** NOTE TO SPECIFIER ** Select one or more of the following paragraphs for width required and delete those not required.

          - Width: 15 inches (381 mm).

          - Width: 16 inches (406 mm).

          - Width: 19 inches (483 mm).

          - Width: 23 inches (584 mm).

          - Width: 24 inches (610 mm).

        - Thermal Resistance: R of 13 (RSI 2.3).

          - Thickness: 3-1/2 inches (89 mm).

** NOTE TO SPECIFIER ** Select one or more of the following paragraphs for width required and delete those not required.

          - Width: 11 inches (279 mm).

          - Width: 15 inches (381 mm).

          - Width: 16 inches (406 mm).

          - Width: 23 inches (584 mm).

          - Width: 24 inches (610 mm).

        - Thermal Resistance: R of 15 (RSI 2.6).

          - Thickness: 3-1/2 inches (89 mm).

** NOTE TO SPECIFIER ** Select one or more of the following paragraphs for width required and delete those not required.

          - Width: 15 inches (381 mm).

          - Width: 23 inches (584 mm).

        - Thermal Resistance: R of 19 (RSI 3.3).

          - Thickness: 6-1/4 inches (159 mm).

** NOTE TO SPECIFIER ** Select one or more of the following paragraphs for width required and delete those not required.

          - Width: 11 inches (279 mm).

          - Width: 15 inches (381 mm).

          - Width: 16 inches (406 mm).

          - Width: 19-1/4 inches (489 mm).

          - Width: 23 inches (584 mm).

          - Width: 24 inches (610 mm).

        - Thermal Resistance: R of 20 (RSI 3.5).

          - Thickness: 5-1/2 inches (140 mm).

** NOTE TO SPECIFIER ** Select one or more of the following paragraphs for width required and delete those not required.

          - Width: 15 inches (381 mm).

        - Thermal Resistance: R of 21 (RSI 3.7).

          - Thickness: 5-1/2 inches (140 mm).

** NOTE TO SPECIFIER ** Select one or more of the following paragraphs for width required and delete those not required.

          - Width: 15 inches (381 mm).

          - Width: 16 inches (406 mm).

          - Width: 23 inches (584 mm).

        - Thermal Resistance: R of 22 (RSI 3.9).

          - Thickness: 6-1/2 inches (165 mm).

** NOTE TO SPECIFIER ** Select one or more of the following paragraphs for width required and delete those not required.

          - Width: 15 inches (381 mm).

        - Thermal Resistance: R of 25 (RSI 4.4).

          - Thickness: 8 inches (203 mm).

** NOTE TO SPECIFIER ** Select one or more of the following paragraphs for width required and delete those not required.

          - Width: 23 inches (584 mm).

        - Thermal Resistance: R of 30 (RSI 5.3).

          - Thickness: 10 inches (254 mm).

** NOTE TO SPECIFIER ** Select one or more of the following paragraphs for width required and delete those not required.

          - Width: 12 inches (305 mm).

          - Width: 16 inches (406 mm).

          - Width: 19-1/4 inches (489 mm).

          - Width: 24 inches (610 mm).

        - Thermal Resistance: R of 30C (RSI 5.3). Cathedral Ceiling Batt.

          - Thickness: 8-1/4 inches (210 mm).

** NOTE TO SPECIFIER ** Select one or more of the following paragraphs for width required and delete those not required.

          - Width: 15 inches (381 mm).

          - Width: 23 inches (584 mm).

        - Thermal Resistance: R of 38 (RSI 6.7).

          - Thickness: 12 inches (305 mm).

** NOTE TO SPECIFIER ** Select one or more of the following paragraphs for width required and delete those not required.

          - Width: 16 inches (406 mm).

          - Width: 19-1/4 inches (489 mm).

          - Width: 24 inches (610 mm).

        - Thermal Resistance: R of 38C (RSI 6.7). Cathedral Ceiling Batt.

          - Thickness: 10-1/4 inches (260 mm).

** NOTE TO SPECIFIER ** Select one or more of the following paragraphs for width required and delete those not required.

          - Width: 15 inches (381 mm).

          - Width: 23 inches (584 mm).

        - Thermal Resistance: R of 49 (RSI 8.6).

          - Thickness: 15 inches (381 mm).

** NOTE TO SPECIFIER ** Select one or more of the following paragraphs for width required and delete those not required.

          - Width: 16 inches (406 mm).

          - Width: 19-1/4 inches (489 mm).

          - Width: 24 inches (610 mm).

** NOTE TO SPECIFIER ** CertainTeed SpeedyR™ Tabless Batts are intended for use in either residential or commercial construction as thermal and acoustical insulation in walls. These batts are designed for use in standard width wood framed construction where a vapor retarder is needed. The batts have kraft-paper facing without flanges and can be friction-fit between wall studs for non-exposed applications.

    - Thermal Insulation, Friction Fit: CertainTeed SpeedyR Tabless Batts. Fiberglass building insulation for friction fit in walls. Complies with ASTM C 665; preformed glass fiber batt insulation:

** NOTE TO SPECIFIER ** Select one or more of the following paragraphs for thermal resistance as required and delete those not required.

      - Facing: ASTM C 665 Type II, Class C, Category 1, faced on one side with Kraft paper providing a vapor barrier of 1.0 or less.

        - Thermal Resistance: R of 13 (RSI 2.3).

          - Thickness: 3-1/2 inches (89 mm).

          - Width: 15-1/4 inches by 93 inches (387.35 mm by 2362.20 mm).

          - Width: 15-1/4 inches by 105 inches (387.35 mm by 2667 mm).

        - Thermal Resistance: R of 15 (RSI 2.6).

          - Thickness: 3-1/2 inches (89 mm).

          - Width: 15-1/4 inches by 93 inches (387.35 mm by 2362.20 mm).

          - Width: 15-1/4 inches by 105 inches (387.35 mm by 2667 mm).

        - Thermal Resistance: R of 19 (RSI 3.3).

          - Thickness: 6-1/4 inches (159 mm).

          - Width: 15-1/4 inches by 93 inches (387.35 mm by 2362.20 mm).

          - Width: 15-1/4 inches by 105 inches (387.35 mm by 2667 mm).

        - Thermal Resistance: R of 21 (RSI 3.7).

          - Thickness: 5-1/2 inches (140 mm).

          - Width: 15-1/4 inches by 93 inches (387.35 mm by 2362.20 mm).

          - Width: 15-1/4 inches by 105 inches (387.35 mm by 2667 mm).

** NOTE TO SPECIFIER ** CertainTeed EasyTouch™ Encapsulated Fiberglass Building Insulation is intended for use in either residential or commercial construction as thermal and acoustical insulation in walls, attics or above commercial ceiling grids. These are available in both unfaced and kraft-faced

    - Thermal/Acoustical Insulation, Encapsulated, Certainteed EasyTouch Fiberglass Building Insulation. Certainteed EasyTouch is an encapsulated fiberglass building insulation with a perforated plastic film on three sides and a Kraft vapor retarder on the other side. Complies with ASTM C 665; preformed glass fiber batt insulation:

** NOTE TO SPECIFIER ** Select one or more of the following paragraphs for thermal resistance as required and delete those not required.

      - Facing: ASTM C 665 Type II, Class C, Category 1, faced on one side with Kraft paper.

        - Thermal Resistance: R of 13 (RSI 2.3).

          - Thickness: 3-1/2 inches (89 mm).

          - Width: 15 inches (381 mm)

        - Thermal Resistance: R of 19 (RSI 3.3).

          - Thickness: 6-1/4 inches (159 mm).

          - Width: 15 inches (381 mm).

          - Width: 23 inches (584 mm).

        - Thermal Resistance: R of 30 (RSI 5.3).

          - Thickness: 10 inches (254 mm).

          - Width: 16 inches (406 mm)

      - Facing: ASTM C 665 Type II, Class A, Category 2, unfaced.

        - Thermal Resistance: R of 21 (RSI 3.7).

          - Thickness: 5-1/2 inches (140 mm).

          - Width: 15 inches (381 mm)

.

** NOTE TO SPECIFIER ** CertainTeed High-Performance Fiberglass Building Insulation is intended for use in walls, ceilings, floors and attics where maximum thermal performance is desired and limited space is available.

    - High-Density Thermal Insulation: Certainteed High-Performance Fiber Glass Building Insulation. Fiber glass building insulation for walls, ceilings, attics and floors. Complies with ASTM C 665; preformed glass fiber batt insulation:

      - Facing: ASTM C 665 Type I Unfaced.

        - Fire Hazard Classification: ASTM E 84:

          - Maximum Flame Spread Index; 25.

          - Maximum Smoke Developed Index; 50.

        - Noncombustibility: ASTM E 136, passes.

** NOTE TO SPECIFIER ** Select one or more of the following paragraphs for thermal resistance and facing as required and delete those not required.

        - Thermal Resistance: R of 13 (RSI 2.3).

          - Thickness: 3-1/2 inches (89 mm).

** NOTE TO SPECIFIER ** Select one or more of the following paragraphs for width required and delete those not required.

          - Width: 15-1/4 inches (387 mm).

          - Width: 16 inches (406 mm).

          - Width: 19-1/4 inches (489 mm).

          - Width: 23-1/4 inches (591 mm).

          - Width: 24 inches (610 mm).

        - Thermal Resistance: R of 15 (RSI 2.6).

          - Thickness: 3-1/2 inches (89 mm).

** NOTE TO SPECIFIER ** Select one or more of the following paragraphs for width required and delete those not required.

          - Width: 15-1/4 inches (387 mm).

          - Width:  16 inches (406 mm).

          - Width: 23-1/4 inches (591 mm).

        - Thermal Resistance: R of 21 (RSI 3.7).

          - Thickness: 5-1/2 inches (140 mm).

** NOTE TO SPECIFIER ** Select one or more of the following paragraphs for width required and delete those not required.

          - Width: 15-1/4 inches (387 mm).

          - Width: 16 inches (406 mm).

          - Width: 23-1/4 inches (591 mm).

          - Width: 24 inches (610 mm).

        - Thermal Resistance: R of 30C (RSI 5.3). Cathedral Ceiling Batt.

          - Thickness: 8-1/4 inches (210 mm).

** NOTE TO SPECIFIER ** Select one or more of the following paragraphs for width required and delete those not required.

          - Width: 15-1/4 inches (387 mm).

          - Width: 23-1/4 inches (591 mm).

        - Thermal Resistance: R of 38C (RSI 6.7). Cathedral Ceiling Batt.

          - Thickness: 10-1/4 inches (260 mm).

** NOTE TO SPECIFIER ** Select one or more of the following paragraphs for width required and delete those not required.

          - Width: 15-1/4 inches (387 mm).

          - Width: 23-1/4 inches (591 mm).

      - Facing: ASTM C 665 Type II, Class C, Category 1, faced on one side with Kraft paper.

        - Thermal Resistance: R of 13 (RSI 2.3).

          - Thickness: 3-1/2 inches (89 mm).

** NOTE TO SPECIFIER ** Select one or more of the following paragraphs for width required and delete those not required.

          - Width: 11 inches (279 mm).

          - Width: 15 inches (381 mm).

          - Width: 16 inches (406 mm).

          - Width: 23 inches (584 mm).

          - Width: 24 inches (610 mm).

        - Thermal Resistance: R of 15 (RSI 2.6).

          - Thickness: 3-1/2 inches (89 mm).

** NOTE TO SPECIFIER ** Select one or more of the following paragraphs for width required and delete those not required.

          - Width: 15 inches (381 mm).

          - Width: 23 inches (584 mm).

        - Thermal Resistance: R of 21 (RSI 3.7).

          - Thickness: 5-1/2 inches (140 mm).

** NOTE TO SPECIFIER ** Select one or more of the following paragraphs for width required and delete those not required.

          - Width: 15 inches (381 mm).

          - Width: 16 inches (406 mm).

          - Width: 23 inches (584 mm).

        - Thermal Resistance: R of 30C (RSI 5.3). Cathedral Ceiling Batt.

          - Thickness: 8-1/4 inches (210 mm).

** NOTE TO SPECIFIER ** Select one or more of the following paragraphs for width required and delete those not required.

          - Width: 15 inches (381 mm).

          - Width: 23 inches (584 mm).

        - Thermal Resistance: R of 38C (RSI 6.7). Cathedral Ceiling Batt.

          - Thickness: 10-1/4 inches (260 mm).

** NOTE TO SPECIFIER ** Select one or more of the following paragraphs for width required and delete those not required.

          - Width: 15 inches (381 mm).

          - Width: 23 inches (584 mm).

** NOTE TO SPECIFIER ** CertainTeed Basement Wall Building Insulation. Basement Wall is designed for use in semi-finished or unfinished residential and commercial basement areas. The product is available either with a white reinforced polypropylene facing or a reinforced foil facing, both of which can be left exposed and are perforated.

A.		Basement Wall Thermal Insulation: CertainTeed Basement Wall Insulation. Fiberglass building insulation for semi-finished or unfinished basement areas. Complies with ASTM C 665; preformed glass fiber batt insulation:

1.	Basement Wall Thermal Insulation:

** NOTE TO SPECIFIER ** Select one or more of the following paragraphs for thermal resistance and facing as required and delete those not required.

a.	Facing: ASTM C 665 Type II, Class A, Category 1, faced on one side with perforated white reinforced polypropylene or perforated reinforced foil.

1)	Thermal Resistance: R of 11 (RSI 1.9).

            - Thickness: 3-1/8 inches (79 mm).

            - Width: 48 inches by 50 feet roll (1219 mm by 15.24 m).

2)	Thermal Resistance: R of 15 (RSI 2.6).

            - Thickness: 4-1/2 inches (114 mm).

            - Width: 48 inches by 40 feet roll (1219 mm by 12.19 m).

3)	Thermal Resistance: R of 19 (RSI 3.3).

            - Thickness: 6-1/4 inches (159 mm).

            - Width: 48 inches by 40 feet roll (1219 mm by 12.19 m).

** NOTE TO SPECIFIER ** CertainTeed SMARTBATT™ Fiberglass Insulation is intended for use in either residential or commercial construction as thermal and acoustical insulation in wall and ceiling cavities. The products are faced on one side with kraft paper integrated with a Smart Vapor Retarder, and is designed for use in standard wood stud assemblies. SMARTBATT helps prevent mold and mildew growth by reducing the potential for moisture accumulation.

    - Thermal/Acoustical Insulation with Vapor Barrier: CertainTeed SMARTBATT Fiberglass Insulation. Fiberglass building insulation for walls and ceilings. Kraft Faced with a Smart Vapor Retarder that helps prevent mold and mildew by reducing potential moisture accumulation. Complies with ASTM C 665; Type II, Class C, Category 1.

    - Fire Resistance rating:

** NOTE TO SPECIFIER ** Select one or more of the following paragraphs for thermal resistance as required and delete those not required.

      - Facing: ASTM C 665, Section 7.4, Water Vapor Permeance and ASTM E 96, Class A or 1 Fire Resistance rating.

        - Water vapor permeance: Type II Vapor Retarder

          - ASTM E96 (Dessicant method) ≤ 1.0 perm

a.		Thermal Resistance: R of 13 (RSI 2.3).

          - Thickness: 3-1/2 inches (89 mm).

          - Width: 15 inches by 93 inches (381 mm by 2362 mm).

          - Width: 23 inches by 93 inches (584 mm by 2362 mm)

b.	Thermal Resistance: R of 19 (RSI 3.3).

          - Thickness: 6-1/4 inches (159 mm).

          - Width: 15 inches by 93 inches (381 mm by 2362 mm).

c.	Thermal Resistance: R of 30 (RSI 5.3).

          - Thickness: 8-1/4 inches (210 mm).

          - Width: 24-1/2 inches by 48 inches (622 mm by 1219 mm).

** NOTE TO SPECIFIER ** Certainteed CertaPro™ Unfaced Batts are intended for use in commercial construction to enhance acoustical and thermal performance in exterior and interior walls and improve sound transmission loss over suspended ceilings.

    - Acoustical/Thermal Batt Insulation, Certainteed CertaPro Batts. Complies with ASTM C 665; preformed glass fiber batt insulation.

** NOTE TO SPECIFIER ** Select one or more of the following paragraphs for faced or unfaced as required and delete those not required.

      - Unfaced: ASTM C 665, Type 1.

        - Fire Hazard Classification: ASTM E 84:

          - Maximum Flame Spread Index; 5.

          - Maximum Smoke Developed Index; 5.

        - Noncombustibility: ASTM E 136, passes.

        - Sizes:

** NOTE TO SPECIFIER ** Select one or more of the following paragraphs for thermal resistance as required and delete those not required.

          - Thermal Resistance: R of 8 (RSI 1.4).

            - Thickness: 2-1/2 inches (64 mm).

** NOTE TO SPECIFIER ** Select one of the following width paragraphs for size required and delete the one not required.

            - Width: 16 inches (406 mm).

            - Width: 24 inches (610 mm).

          - Thermal Resistance: R of 11 (RSI 1.9).

            - Thickness: 3-1/2 inches (89 mm).

** NOTE TO SPECIFIER ** Select one of the following width paragraphs for size required and delete the one not required.

            - Width: 16 inches (406 mm).

            - Width: 24 inches (610 mm).

          - Thermal Resistance: R of 19 (RSI 3.4).

            - Thickness: 6-1/4 inches (159 mm).

** NOTE TO SPECIFIER ** Select one of the following width paragraphs for size required and delete the one not required.

            - Width: 16 inches (406 mm).

            - Width: 24 inches (610 mm).

      - Facing: ASTM C 665, Type II, Class C, Category 1, kraft faced.

** NOTE TO SPECIFIER ** Select one or more of the following paragraphs for thermal resistance as required and delete those not required.

        - Thermal Resistance: R of 11 (RSI 1.9).

          - Thickness: 3-1/2 inches (89 mm).

          - Width: 16 inches (406 mm).

          - Width: 24 inches (610 mm).

        - Thermal Resistance: R of 19 (RSI 3.4).

          - Thickness: 6-1/4 inches (159 mm).

          - Width: 16 inches (406 mm).

          - Width: 24 inches (610 mm).

** NOTE TO SPECIFIER ** Certainteed CertaPro™ Thermal FSK-25 Faced Batts are intended for use in commercial construction for use in exterior walls and floor/ceiling assemblies where Fire Hazard Classification of 25/50 is required. And are intended for exposed applications where a vapor retarder is required.

    - Thermal Foil Faced Exposed Batt Insulation, Certainteed CertaPro Thermal FSK-25 Faced Batts. Complies with ASTM C 665; preformed glass fiber batt insulation.

      - Facing: ASTM C 665, Type III, Class A, Category 1, foil-scrim-kraft faced.

        - Fire Hazard Classification: ASTM E 84:

          - Maximum Flame Spread Index; 25.

          - Maximum Smoke Developed Index; 50.

        - Noncombustibility: ASTM E 136, passes.

** NOTE TO SPECIFIER ** Select one or more of the following paragraphs for thermal resistance as required and delete those not required.

          - Thermal Resistance: R of 11 (RSI 1.9).

            - Thickness: 3-1/2 inches (89 mm).

** NOTE TO SPECIFIER ** Select one of the following width paragraphs for size required and delete the one not required.

            - Width: 16 inches (406 mm).

            - Width: 24 inches (610 mm).

          - Thermal Resistance: R of 13 (RSI 2.3).

            - Thickness: 3-1/3 inches (89 mm).

            - Width: 16 inches (406 mm).

          - Thermal Resistance: R of 19 (RSI 3.4).

            - Thickness: 6-1/4 inches (159 mm).

** NOTE TO SPECIFIER ** Select one of the following width paragraphs for size required and delete the one not required.

            - Width: 16 inches (406 mm).

            - Width: 24 inches (610 mm).

          - Thermal Resistance: R of 30 (RSI 5.3).

            - Thickness: 10 inches (254 mm).

** NOTE TO SPECIFIER ** Select one of the following width paragraphs for size required and delete the one not required.

            - Width: 16 inches (406 mm).

            - Width: 24 inches (610 mm).

          - Thermal Resistance: R of 38 (RSI 6.7).

            - Thickness: 12 inches (305 mm).

            - Width: 24 inches (610 mm).

      - Facing: ASTM C 665, Type III, Class A, Category 1, foil-scrim-kraft faced, extended flange

        - Fire Hazard Classification: ASTM E 84:

          - Maximum Flame Spread Index; 25.

          - Maximum Smoke Developed Index; 50.

        - Noncombustibility: ASTM E 136, passes.

** NOTE TO SPECIFIER ** Select one or more of the following paragraphs for thermal resistance as required and delete those not required.

          - Thermal Resistance: R of 19 (RSI 3.4).

            - Thickness: 6-1/4 inches (159 mm).

            - Width:  23 inches (584 mm).

          - Thermal Resistance: R of 30 (RSI 5.3).

            - Thickness: 10 inches (254 mm).

            - Width:  24 inches (610 mm).

** NOTE TO SPECIFIER ** Certainteed CertaPro™ Thermal Foil Faced Batts are light density batts intended for use in commercial construction to enhance thermal performance in non-exposed exterior walls and floor/ceiling assemblies where a vapor retarder is required.

    - Thermal Foil Faced Non-Exposed Batt Insulation, Certainteed CertaPro Thermal Foil Faced Batts. Complies with ASTM C 665; preformed glass fiber batt insulation.

      - Facing: ASTM C 665, Type III, Class B, Category 1, foil faced.

        - Fire Hazard Classification: ASTM E 84:

          - Maximum Flame Spread Index; 75.

          - Maximum Smoke Developed Index; 150.

** NOTE TO SPECIFIER ** Select one or more of the following paragraphs for thermal resistance as required and delete those not required.

          - Thermal Resistance: R of 11 (RSI 1.9).

            - Thickness: 3-1/2 inches (89 mm).

            - Width: 16 inches (406 mm).

          - Thermal Resistance: R of 19 (RSI 3.4).

            - Thickness: 6-1/4 inches (159 mm).

            - Width: 16 inches (406 mm).

** NOTE TO SPECIFIER ** Select one or more of the following paragraphs for thermal blowing insulation as required and delete those not required.

  - BLOWING INSULATION

** NOTE TO SPECIFIER ** InsulSafe® SP Fiberglass Blowing Insulation is used in residential and commercial construction as a thermal and acoustical insulation. It is designed for pneumatic installation in open attic areas and for retrofitting enclosed sidewall and floor/ceiling construction assemblies.

    - Thermal Blowing Insulation: CertainTeed InsulSafe SP Fiberglass Blowing Insulation. Fiberglass blowing insulation for open attics, enclosed walls, and floor/ceilings assemblies. Complies with ASTM C 764; mineral fiber loose fill insulation Type 1, Pneumatic application:

      - Fire Hazard Classification: ASTM E 84:

        - Maximum Flame Spread Index; 5.

        - Maximum Smoke Developed Index; 5.

      - Noncombustibility: ASTM E 136, passes.

** NOTE TO SPECIFIER ** Select one or both of the following two paragraphs for application required and delete those not required.

      - Open Attic Application:

** NOTE TO SPECIFIER ** Select one or more of the following paragraphs for thermal resistance required and delete those not required.

        - Thermal Resistance: R of 60. Minimum Installed Thickness: 21.75 inches.

        - Thermal Resistance: R of 49. Minimum Installed Thickness: 18.25 inches.

        - Thermal Resistance: R of 44. Minimum Installed Thickness: 16.50 inches.

        - Thermal Resistance: R of 38. Minimum Installed Thickness: 14.50 inches.

        - Thermal Resistance: R of 30. Minimum Installed Thickness: 11.50 inches.

        - Thermal Resistance: R of 26. Minimum Installed Thickness: 10.00 inches.

        - Thermal Resistance: R of 22. Minimum Installed Thickness: 8.50 inches.

        - Thermal Resistance: R of 19. Minimum Installed Thickness: 7.50 inches.

        - Thermal Resistance: R of 13. Minimum Installed Thickness: 5.25 inches.

        - Thermal Resistance: R of 11. Minimum Installed Thickness: 4.50 inches.

      - Closed Cavity Application:

** NOTE TO SPECIFIER ** Select one or more of the following paragraphs for thermal resistance required and delete those not required.

        - Thermal Resistance: R of 31. Minimum Installed Thickness: 7.25 inches.

        - Thermal Resistance: R of 29. Minimum Installed Thickness: 7.25 inches.

        - Thermal Resistance: R of 24. Minimum Installed Thickness: 5.50 inches.

        - Thermal Resistance: R of 22. Minimum Installed Thickness: 5.50 inches.

        - Thermal Resistance: R of 15. Minimum Installed Thickness: 3.50 inches.

        - Thermal Resistance: R of 14. Minimum Installed Thickness: 3.50 inches.

** NOTE TO SPECIFIER ** OPTIMA® SP Loose Fiberglass Insulation for Closed Cavity Applications is designed for installation in sidewalls, cathedral ceilings, floored attics and other closed cavity applications. It is pneumatically installed behind non-woven OPTIMA fabric (or equivalent). This product is approved for use in the Blow-In-Blanket® System (BIBS®). OPTIMA fiberglass blowing insulation is used in residential and commercial construction as a thermal and acoustical insulation.

    - Thermal Closed Cavity Blowing Insulation: CertainTeed OPTIMA Loose Fiberglass Insulation for Closed Cavity Applications. Fiber glass blowing insulation for use behind OPTIMA non-woven fabric in sidewalls, cathedral Ceilings, floored attics and other closed cavity applications. Complies with ASTM C 764; mineral fiber loose fill insulation Type 1:

      - Fire Hazard Classification: ASTM E 84:

        - Maximum Flame Spread Index; 5.

        - Maximum Smoke Developed Index; 5.

      - Noncombustibility: ASTM E 136, passes.

** NOTE TO SPECIFIER ** Select one or both of the following two paragraphs for compressed or non-compressed application required and delete those not required.

      - Compression Filled Application: Sidewalls, Cathedral Ceilings and other closed cavities:

** NOTE TO SPECIFIER ** Select one or more of the following paragraphs for thermal resistance required and delete those not required.

        - Thermal Resistance: R of 14.

          - Density 1.2.

          - Thickness: 3-1/2 inches (2 by 4).

        - Thermal Resistance: R of 15.

          - Density 1.5.

          - Thickness: 3-1/2 inches (2 by 4).

        - Thermal Resistance: R of 21.

          - Density 1.2.

          - Thickness: 5-1/2 inches (2 by 6).

        - Thermal Resistance: R of 24.

          - Density 1.8.

          - Thickness: 5-1/2 inches (2 by 6).

        - Thermal Resistance: R of 29.

          - Density 1.2.

          - Thickness: 7-1/4 inches (2 by 8).

        - Thermal Resistance: R of 31.

          - Density 1.6.

          - Thickness: 7-1/4 inches (2 by 8).

      - Not Compression Filled Application: MidFloors and other closed cavities with a design density of .8.

** NOTE TO SPECIFIER ** Select one or more of the following paragraphs for thermal resistance required and delete those not required.

        - Thermal Resistance: R of 28.

          - Thickness: 8 inches

        - Thermal Resistance: R of 32.

          - Thickness: 9 inches

        - Thermal Resistance: R of 35.

          - Thickness: 10 inches

        - Thermal Resistance: R of 39.

          - Thickness: 11 inches

        - Thermal Resistance: R of 42.

          - Thickness: 12 inches

        - Thermal Resistance: R of 46.

          - Thickness: 13 inches

        - Thermal Resistance: R of 49.

          - Thickness: 14 inches

        - Thermal Resistance: R of 53.

          - Thickness: 15 inches

        - Thermal Resistance: R of 56

          - Thickness: 16 inches

        - Thermal Resistance: R of 60

          - Thickness: 17 inches

        - Thermal Resistance: R of 63.

          - Thickness: 18 inches

        - Thermal Resistance: R of 67.

          - Thickness: 19 inches

        - Thermal Resistance: R of 71.

          - Thickness: 20 inches

        - Thermal Resistance: R of 74.

          - Thickness: 21 inches

        - Thermal Resistance: R of 78.

          - Thickness: 22 inches

        - Thermal Resistance: R of 81.

          - Thickness: 23 inches

** NOTE TO SPECIFIER ** OPTIMA® SP Loose Fiberglass Insulation for Sidewall Reinsulation applications is designed for pneumatic installation into existing sidewalls and floored attics. This product can be used in residential and commercial construction as a thermal and acoustical insulation.

    - Thermal Blowing Reinsulation: Certainteed OPTIMA Loose Fiberglass Insulation for Sidewall dense packing. Fiberglass blowing insulation for use in existing sidewalls, floored attics and other closed cavity applications. Complies with ASTM C 764; mineral fiber loose fill insulation Type 1:

      - Fire Hazard Classification: ASTM E 84:

        - Maximum Flame Spread Index; 5.

        - Maximum Smoke Developed Index; 5.

      - Noncombustibility: ASTM E 136, passes.

      - Compression Filled Reinsulation Dense Pack Application: Sidewalls, Floored Attics and other closed cavities.

** NOTE TO SPECIFIER ** Select one or more of the following paragraphs for thermal resistance required and delete those not required.

        - Thermal Resistance: R of 41.

          - Weight/Installed Insulation: Minimum 1.773 lbs/SF 2.3.

          - Thickness: 9-1/4 inches (235 mm).

        - Thermal Resistance: R of 32.

          - Weight/Installed Insulation: Minimum 1.390 lbs/SF 2.3.

          - Thickness: 7-1/4 inches (184 mm).

        - Thermal Resistance: R of 25.

          - Weight/Installed Insulation: Minimum 1.054 lbs/SF 2.3.

          - Thickness: 5-1/2 inches (140 mm).

        - Thermal Resistance: R of 18.

          - Weight/Installed Insulation: Minimum 0.767 lbs/SF 2.3.

          - Thickness: 4 inches (102 mm).

        - Thermal Resistance: R of 15.

          - Weight/Installed Insulation: Minimum 0.671 lbs/SF 2.3.

          - Thickness: 3-1/2 inches (89 mm).

  - BOARD INSULATION

** NOTE TO SPECIFIER ** Certainteed AcoustaBoard™ Black is intended for use in commercial construction to enhance acoustical and thermal performance for sound control in theaters, studios and entertainment facilities. AcoustaBoard provides excellent sound absorption, which controls room reverberation and echoes plus reduces noise levels.

    - Acoustical Board Insulation, Certainteed AcoustaBoard Black. Complies with ASTM C 612. Composed of glass fibers bonded with a thermoset resin and faced with an adhered black non-woven mat surface.

** NOTE TO SPECIFIER ** Available in two densities. Select one of the following paragraphs for type required and delete the one not required.

      - Type 150: Semi-rigid board conforming to ASTM C 612, Type 1A.

        - Fire Hazard Classification: ASTM E 84:

          - Maximum Flame Spread Index; 25.

          - Maximum Smoke Developed Index; 50.

        - Limited Combustible: NFPA 259 less than or equal to 3,500 Btu/lb.

        - Thickness: 1 inch (25 mm).

          - NRC: 0.65 in accordance with ASTM C 423.

          - Thermal Resistance: R of 4.3 (RSI 0.76).

      - Type 300: Board type conforming to ASTM C 612, Type 1A and 1B.

        - Fire Hazard Classification: ASTM E 84:

          - Maximum Flame Spread Index; 25.

          - Maximum Smoke Developed Index; 50.

        - Limited Combustible: NFPA 259 less than or equal to 3,500 Btu/lb.

** NOTE TO SPECIFIER ** Select one of the following paragraphs as required and delete those not required.

        - Thickness: 1 inch (25 mm).

          - NRC: 0.70 in accordance with ASTM C 423.

          - Thermal Resistance: R of 4.3 (RSI 0.76).

        - Thickness: 2 inches (51 mm).

          - NRC: 0.95 in accordance with ASTM C 423.

          - Thermal Resistance: R of 8.7 (RSI 1.53).

** NOTE TO SPECIFIER ** CertainTeed CertaPro™ Commercial Board is intended for use in commercial construction where board stiffness properties are required and also functions as an exterior insulation when covered with a weather barrier. Commercial Board is used in exterior curtain walls, interior walls, floor/ceiling assemblies and as an exterior insulation on HVAC ducts and plenums or in constructions where framing is not present. It is also used as thermal insulation on tanks and vessels.

    - Commercial Board Insulation, Certainteed CertaPro Commercial Board. Complies with ASTM C 612. Composed of glass fibers bonded with a thermoset binder.

** NOTE TO SPECIFIER ** Select one of the following paragraphs for type required and delete the one not required.

      - Type CB 110: Board type conforming to ASTM C 612, Type 1A and 1B.

        - Fire Hazard Classification: ASTM E 84:

          - Maximum Flame Spread Index; 25.

          - Maximum Smoke Developed Index; 50.

        - Limited Combustible: NFPA 259 less than or equal to 3,500 Btu/lb.

- ** NOTE TO SPECIFIER ** Select one of the following paragraphs as required and delete those not required.

c.     Thickness: 6 inch (152 mm).

          - NRC: 1.25 in accordance with ASTM C 423.

          - Thermal Resistance: R of 25 (RSI 4.4)

      - Type CB 250: Board type conforming to ASTM C 612, Type 1A and 1B.

        - Fire Hazard Classification: ASTM E 84:

          - Maximum Flame Spread Index; 25.

          - Maximum Smoke Developed Index; 50.

        - Limited Combustible: NFPA 259 less than or equal to 3,500 Btu/lb.

        - Thickness: 1 inch (25 mm).

          - NRC: 0.70 in accordance with ASTM C 423.

        - Thermal Resistance: R of 4.3 (RSI 0.77).

      - Type CB 300: Board type conforming to ASTM C 612, Type 1A and 1B.

        - Fire Hazard Classification: ASTM E 84:

          - Maximum Flame Spread Index; 25.

          - Maximum Smoke Developed Index; 50.

        - Limited Combustible: NFPA 259 less than or equal to 3,500 Btu/lb.

** NOTE TO SPECIFIER ** Select one of the following paragraphs as required and delete those not required.

        - Thickness: 1 inch (25 mm).

          - NRC: 0.70 in accordance with ASTM C 423.

          - Thermal Resistance: R of 4.3 (RSI 0.77).

        - Thickness: 1-1/2 inches (38 mm).

          - NRC: 0.80 in accordance with ASTM C 423.

          - Thermal Resistance: R of 6.5 (RSI 1.15).

        - Thickness: 2 inches (51 mm).

          - NRC: 0.95 in accordance with ASTM C 423.

          - Thermal Resistance: R of 8.7 (RSI 1.53).

      - Type CB 450: Rigid board type conforming to ASTM C 612, Type 1A and 1B.

        - Fire Hazard Classification: ASTM E 84:

          - Maximum Flame Spread Index; 25.

          - Maximum Smoke Developed Index; 50.

        - Limited Combustible: NFPA 259 less than or equal to 3,500 Btu/lb.

        - Thickness: 2 inches (51 mm).

          - NRC: 1.00 in accordance with ASTM C 423.

          - Thermal Resistance: R of 9.1 (RSI 1.53).

  - BLANKET INSULATION

** NOTE TO SPECIFIER ** Certainteed Metal Building Insulation is intended for use in commercial construction for metal buildings. Metal Building Insulation is a flexible blanket insulation furnished in rolls and intended to be laminated on one side with a suitable vapor retarder. Metal Building Insulation may be used as an additional layer of insulation over laminated metal building insulation in systems or over the top of BUR or single ply roofs in metal reroof applications to achieve greater thermal performance.

    - Metal Building Insulation, CertainTeed Metal Building Insulation. Complies with ASTM C 553, Type I and ASTM 665, Type I Plain. Composed of inorganic glass fibers bonded with a thermoset resin.

      - Fire Hazard Classification: ASTM E 84:

        - Maximum Flame Spread Index; 25.

        - Maximum Smoke Developed Index; 50.

** NOTE TO SPECIFIER ** Select one of the following paragraphs as required and delete those not required.

      - Size:

** NOTE TO SPECIFIER ** Select one of the following paragraphs as required and delete those not required.

        - Thickness: 3-3/8 inches (86 mm).

          - Thermal Resistance: R of 10 (RSI 1.8).

        - Thickness: 3-3/4 inches (94 mm).

          - Thermal Resistance: R of 11 (RSI 1.9).

        - Thickness: 4-3/8 inches (109 mm).

          - Thermal Resistance: R of 13 (RSI 2.3).

        - Thickness: 5-1/4 inches (133.4 mm).

          - Thermal Resistance: R of 16 (RSI 2.8).

        - Thickness: 6-3/8 inches (160 mm).

          - Thermal Resistance: R of 19 (RSI 3.4).

        - Thickness: 8 inches (203 mm).

          - Thermal Resistance: R of 25 (RSI 4.4).

        - Thickness: 9-1/4 inches (235 mm).

          - Thermal Resistance: R of 30 (RSI 5.3).

        - Width:

** NOTE TO SPECIFIER ** Select one of the following paragraphs as required and delete those not required.

          - 36 inches (914 mm).

          - 48 inches (1219 mm).

          - 60 inches (1524 mm.).

          - 72 inches (1829 mm.).

          - 96 inches (2438 mm).

** NOTE TO SPECIFIER ** MemBrain™ Continuous Air Barrier & SMART Vapor Retarder is for use with unfaced, vapor permeable, mass insulation (fiberglass and mineral wool) in wall and ceiling cavities. MemBrain™ changes its permeability with the ambient humidity condition. This process allows closed building envelope systems to increase their drying potential with seasonal climatic changes.

  - VAPOR RETARDER

** NOTE TO SPECIFIER ** Select one or more of the following paragraphs for thermal blowing insulation as required and delete those not required.

    - Sheet Retarder: CertainTeed MemBrain Continuous Air Barrier & Smart Vapor Retarder.  Polyamide film vapor retarder for use with unfaced, vapor permeable glass fiber and mineral wool insulation in wall and ceiling cavities. Material has a permeance of 1 perm or less when tested to ASTM E 86, dry cup method and increases to greater than 10 perms using the wet cup method.

      - Water Vapor Permeance:

        - ASTM E 86, dry cup method: 1.0 perms (57ng/Pa*s*m2).

        - ASTM E 86, wet cup method: 10.0 perms (1144ng/Pa*s*m2).

      - Fire Hazard Classification: ASTM E 84:

        - Maximum Flame Spread Index; 25.

        - Maximum Smoke Developed Index; 450.

        - Height:

          - 96 inches (2438 mm).

          - 108 inches (2743 mm).

          - 120 inches (3048 mm).

          - 144 inches (3658 mm).

- EXECUTION

  - EXAMINATION

    - Do not begin installation until substrates have been properly prepared.

    - Verify that all exterior and interior wall, partition, and floor/ceiling assembly construction has been completed to the point where the insulation may correctly be installed.

    - Verify that mechanical and electrical services in ceilings, walls and floors have been installed and tested and, if appropriate, verify that adjacent materials are dry and ready to receive insulation.

    - If substrate preparation is the responsibility of another installer, notify Architect of unsatisfactory preparation before proceeding.

  - PREPARATION

    - Clean surfaces thoroughly prior to installation.

    - Prepare surfaces using the methods recommended by the manufacturer for achieving the best result for the substrate under the project conditions.

  - INSTALLATION

    - Install in accordance with manufacturer's instructions.

    - Install in exterior spaces without gaps or voids. Do not compress insulation.

    - Trim insulation neatly to fit spaces. Insulate miscellaneous gaps and voids.

    - Fit insulation tight in spaces and tight to exterior side of mechanical and electrical services within plane of insulation.

    - Install insulation with vapor barrier installed facing the warm side. Seal or tape joints as required.

  - PROTECTION

    - Protect installed products until completion of project.

    - Touch-up, repair or replace damaged products before Substantial Completion.

END OF SECTION