This guide specification was issued January 2014 and may be superseded without notice at any time. Therefore, please confirm that this specification is still current and has not been superseded by checking at www.cetco.com or by calling 1-847-851-1800.

CAST-IN-PLACE CONCRETE CONSTRUCTION SPECIFICATION

This guide specification has been prepared according to the principles established in the Manual of Practice published by the Construction Specification Institute and is intended for use with cast-in-place concrete structures. This specification is not intended for use with shotcrete or precast concrete construction. Contact CETCO regarding installation and application guidelines for Envirosheet Waterproofing System used with below-grade shotcrete or precast concrete construction. CETCO, Building Materials Group – 1- 800-851-1800.

SECTION 071326  - JANUARY 2014 (Supersedes All Previous Versions)

ENVIROSHEET® SHEET MEMBRANE WATERPROOFING

WITH AQUADRAIN PREFABRICATED DRAINAGE COMPOSITE

GUIDELINE SPECIFICATION FOR CAST-IN-PLACE CONCRETE

BACKFILLED WALL CONSTRUCTION

PART 1 - GENERAL

1.01	 RELATED DOCUMENTS

A.  	All of the Contract Documents, including General and Supplementary Conditions, and Division 1 General requirements, apply to the work of this section.

1.02  	WORK SUMMARY

A. 	The work of this section includes, but is not limited to the furnishing and installing the following materials, per project specifications and drawings, or as directed by waterproofing manufacturer, to cast-in-place concrete foundation walls:

1. Rubberized asphalt sheet waterproofing membrane with all applicable accessory products.

2. Aquadrain® Prefabricated drainage composite and Aquadrain 100BD Base Drain.

1.03	RELATED SECTIONS

A.	Other specification Sections which directly relate to the work of this section include, but are not limited to, the following:

1. Division 2: Subsurface and Geotechnical Investigations

2. Division 3: Waterstops

3. Division 5: Expansion Joint Products

4. Division 7: Joint Treatment/ Sealants, Flashing and sheet metal, and Insulation

5. Division 22: Mechanical Penetrations

6. Division 26: Conduit and other Electrical Penetrations

7. Division 31: Earthwork, Excavation and Fill

8. Division 33: Geocomposite Foundation Drainage

071326 -1

1.04 	SYSTEM DESCRIPTION

A.	Provide waterproofing and drainage composite system to prevent the passage of liquid water under hydrostatic pressure and install without defects, damage or failure. Waterproofing shall be self-adhesive membrane system of not less than 60-mils (1.5 mm) thickness, consisting of rubberized asphalt layer laminated to a 4-mil cross-laminated polyethylene film.

1.05	SUBMITTALS

A.	General: Prepare and submit specified submittals in accordance with "Conditions of the Contract" and Division 1 Submittals Sections.

B.	Product Data: Submit manufacturer’s product data, with complete general and specific installation instructions, recommendations, and limitations.

C.	Product Samples: Submit representative samples of the following for approval:

1. Rubberized asphalt sheet waterproofing membrane

2. Aquadrain 15XP and Aquadrain 100BD prefabricated drainage composites

1.06 	QUALITY ASSURANCE

- Installer Qualifications: Installing company should have at least three (3) years experience in work of the type required by this section, who can comply with manufacturer's warranty requirements, and who is an Approved Applicator as determined by waterproofing/drainage system manufacturer.

- Manufacturer Qualifications: Sheet membrane waterproofing system shall be provided by a firm with a minimum of 30 years experience in the production and sales of waterproofing systems. Manufacturer shall be capable of providing field service representation during construction, approving an acceptable installer, and recommending appropriate installation methods, and conducting a final inspection of the waterproofing and drainage system assembly.

C.	Pre-Installation Conference: A pre-installation conference shall be held prior to commencement of field installation to establish procedures to maintain required working conditions and to coordinate this work with related and adjacent work. Verify that final waterproofing and waterstop details comply with waterproofing manufacturer's current installation requirements and recommendations. Pre-con meeting attendees should include representatives for the owner, architect, inspection firm, general contractor, waterproofing contractor, concrete contractor, excavating/backfill contractor, and mechanical and electrical contractors if work penetrates the waterproofing.

- Materials: Obtain waterproofing and prefabricated drainage materials from a single manufacturer to assure material compatibility.

1.07	PRODUCT DELIVERY, STORAGE AND HANDLING

A.	Delivery and Handling: Deliver materials in factory sealed and labeled packaging. Sequence deliveries to avoid delays, while minimizing on-site storage. Handle and store following manufacturer's instructions, recommendations and material safety data sheets. Protect from construction operation related damage, as well as, damage from weather, excessive temperatures and prolonged sunlight. Remove damaged material from site and dispose of in accordance with applicable regulations.

- Storage: Do not double-stack pallets during shipping or storage. Protect waterproofing materials from moisture, excessive temperatures and sources of ignition. Provide cover, top and all sides, for materials stored on-site, allowing for adequate ventilation.

071326 -2

1.08	PROJECT CONDITIONS

- Substrate Condition: Proceed with work only when cast-in-place concrete wall construction and surface preparation work is complete and in condition to receive waterproofing system.

B.	Weather Conditions: Perform work only when existing and forecasted weather conditions are within the guidelines established by the manufacturer of the waterproofing materials. Do not proceed with waterproofing installation when ambient or substrate temperature is below 50F (10C). Do not apply waterproofing materials to a damp, wet, frozen or contaminated surface. For temperatures 25F (-4C) to 50F (10C) use Envirosheet LT, low temperature membrane.

1.09 	WARRANTY

A.	Waterproofing Warranty: Upon completion and acceptance of the work required by this section, the waterproofing materials manufacturer will provide a written five (5) year material warranty.  Issuance of Manufacturer's Material Warranty requires the following: (1) In Section 3 work, Waterstop-RX must be installed in all applicable horizontal and vertical concrete construction joints and around applicable penetrations. Manufacturer's warranty shall be independent from any other warranties made by the Contractor under requirements of the Contract Documents and may run concurrent with said warranties.

PART 2 - PRODUCTS

2.01 	MANUFACTURER

A.	Provide Envirosheet self-adhering sheet waterproofing and prefabricated drainage composite as manufactured by Colloid Environmental Technologies Company (CETCO), 2870 Forbs Ave, Hoffman Estates, IL 60192, USA. Phone: (847)851-1800-; Web-site: http://www.cetco.com.

2.02 	MATERIALS

A.	Waterproofing Membrane: Provide Envirosheet self-adhering waterproofing membrane consisting of 56-mil (1.4 mm) thick rubberized asphalt layer integrally bonded to a 4-mil (0.1 mm) cross-laminated, high density polyethylene film.

PHYSICAL PROPERTIES OF ENVIROSHEET:

Property 				Test Method 			Typical Value

Color									Dark gray-black

Thickness				ASTM D 3767			60-mils (1.5 mm)

Resistance to Hydrostatic Head		ASTM D 5385			231 ft. (70 m)

Tensile Strength, Membrane		ASTM D 412 (C) mod.		325 lbs/in2 (2240 kPa) min.

Tensile Strength, Film			ASTM D 412			5,000 lbs/in2  (34.5 MPa) min.

Elongation, rubberized asphalt		ASTM D 412 (C) mod.		300% minimum

Water Vapor Permeance		ASTM E 96 (B)			0.05 Perms													(2.9 ng/m2s Pa)

Low Temperature Flexibility 		ASTM D 1970			Unaffected at -20F (-29C)

Crack Cycling, 100 Cycles		ASTM C 836			Unaffected at –25F (-32C)

Peel Strength				ASTM D 903			10 lbs./in. (1.8 kN/m)

Lap Adhesion				ASTM D 1876 mod.		7.0 lbs/in. (1.2 kN/m)

Puncture Resistance, Membrane	ASTM E 154			61 lbs. (0.275 kN)

Water Absorption			ASTM D 570			0.09%

Exposure to Fungi in Soil		GSA-PBS 07115		16 weeks, Unaffected

071326 -3

C.	ACCESSORY WATERPROOFING PRODUCTS: All accessory waterproofing materials shall be provided by the waterproofing manufacturer Waterproofing Accessory Products: Primer, Mastic, and other specified accessory materials shall be provided by membrane manufacturer:

- Enviroprimer WB – water based substrate primer

- Enviroprimer SB – solvent based substrate primer

3.   M-2000 Liquid Flashing – trowel grade detailing mastic

4. Termination Bar: Min. 1” (25 mm) wide aluminum bar with pre-punched holes on 12” (300 mm) centering for fastening.

5. Protection Course: Approved material by manufacturer

D.	BASE AND SHEET DRAINAGE COMPOSITE

Aquadrain® drainage composite by CETCO shall be used where specified to promote positive drainage. Use base drain accessory connectors and outlets as required.

1. Aquadrain® 15XP - 4-ft by 52-ft roll of a three-dimensional polypropylene drainage core with a nonwoven geotextile adhered to one side to allow water passage while restricting soil particles. Composite includes a thin polyethylene sheet on the back of the drainage core.

A. Compressive Strength, 15,000psf  (718 kPa); B. Water Flow Rate, 20gpm/ft (251 l/m/m);

C. Thickness,  7/16” (11 mm)

2. Aquadrain® 100BD Base Drain – 1” (25 mm) thick x 12” (300 mm) high base drain composite designed to collect water from sheet composite drainage and then discharge the water to proper sump system or gravity to daylight.

A. Compressive Strength, 10,000psf (457 kPa); B. Water Flow rate, 97gpm/ft (1,197 l/m/m);

C. Thickness, 1” (25 mm)

PART 3 – EXECUTION

A.	Comply with contract documents and manufacturer's product data, including product application and installation instructions.

3.01 	SUBSTRATE INSPECTION AND CONDITIONS

A.	The installer shall examine conditions of substrates and other conditions under which this section work is to be performed and notify the contractor, in writing, of circumstances detrimental to the proper completion of the work. Do not proceed with work until unsatisfactory conditions are corrected and are acceptable for compliance with manufacturer's warranty requirements. General substrate conditions acceptable for the waterproofing installation are listed below. For conditions not covered in this Section, contact the waterproofing manufacturer for guidance.

- CONCRETE WALLS:  Cast-in-place concrete to receive waterproofing shall be of sound structural grade with a smooth finish, free of debris, oil, grease, laitance, dirt, dust, or other foreign matter which will impair the performance of the waterproofing and drainage system and which do not comply with manufacturer's warranty requirements.

CONCRETE CURING: Use pure sodium silicate type curing compounds. Concrete shall be cured a minimum of seven (7) days prior to membrane installation. Lightweight structural concrete requires a minimum of 14 days cure time prior to membrane installation.  Double curing time for concrete placed over non-vented metal pan deck. Do not apply waterproofing membrane over lightweight insulating concrete.

1. Horizontal deck or roof surfaces should be sloped to provide positive drainage.

2. Form fins, ridges, and other protrusions should be level and smooth with monolithic concrete surface. Honeycombing, aggregate pockets, tie-rod holes and other voids should be completely filled with non-shrink cementitious grout and level with monolithic concrete wall surface.

071326 -4

3.  All expansion joints should receive applicable expansion joint sealant product manufactured by others prior to the installation of the Waterproofing System. Expansion joint material is the primary seal at the expansion joint and the expansion joint material manufacturer is responsible for water tightness of the joint.

NOTE: Related work to be completed under Division 3. Volclay Waterstop-RX shall be installed in all applicable vertical and horizontal concrete construction cold pour joints and around applicable penetrations and structural members. Refer to Waterstop-RX Product Manual for further installation procedures and guidelines.

C.	MASONRY BLOCK SUBSTRATES: Apply waterproofing membrane over prepared and primed concrete block or brick with sound trowel-cut mortar joints flush with masonry face or parge coat. Install membrane only onto smooth, uniform face masonry block that provides monolithic surface.

3.02 	SURFACE PREPARATION

A.	Remove dirt, debris, oil, grease, cement laitance, or other foreign matter which will impair or negatively affect the adhesion or performance of the waterproofing and drainage system. Protect adjacent work areas and finish surfaces from damage or contamination from waterproofing products during installation operations.

B.	Membrane Adhesion Test: Determine substrate acceptance by applying a minimum 36" x 36" (91.4 cm x 91.4 cm) test patch of waterproofing membrane material to prepared surface with primer and verify adhesion characteristics.

3.03 	GENERAL INSTALLATION GUIDELINES

A. 	Install Envirosheet membrane with self-adhering rubberized asphalt side in direct connect with structural substrate only after priming substrate and removing the release paper component.

B.	Detailing products shall be installed prior to installation of waterproofing membrane.

C.	Install Aquadrain drainage composite after waterproofing system installation.

3.04 	SUBSTRATE PRIMING GUIDELINES

A.	Water-Based Primer: Stir primer thoroughly. Apply Enviroprimer WB by spray or roller to substrate at approximate rate of 400 to 600 square feet per gallon (37 to 55 sq. meters per 3.78 liters) depending on surface texture and condition. Allow primer to dry a 2 to 4 hours at 75F (42C) until it will not transfer when touched. In humid or cool weather conditions, an overnight cure may be required. Membrane will not adhere properly to uncured primer. All moisture must be allowed to leave primer. Reprime surface if primed area has been left exposed for 24 hours.

1A. Solvent-Based Primer: Stir primer thoroughly. Apply Enviroprimer SB by brush or roller to substrate at    approximate rate of 300 to 350 square feet per gallon (27 to 32 sq. meters per 3.78 liters) depending on surface texture and condition. Allow primer to dry until it will not transfer when touched. All moisture must be allowed to leave primer. Primed surfaces not covered by membrane during the same day must be reprimed.

3.05 	SUBSTRATE DETAILING GUIDELINES

A	Joints and Crack Treatment: Seal cracks and joints (1/8" wide or less) in concrete with 60-mils (1.5 mm) minimum thick coat of M-2000 or prestrip joint 9" (230 mm) wide Envirosheet membrane strip centered on crack.

- Inside Wall Corner Transitions: Install a 3/4" (18 mm) fillet of M-2000 at all horizontal and vertical inside corners. Then install a 9" (230 mm) wide strip of Envirosheet membrane centered over corner transition.

071326 -5

C.	Outside Wall Corner Transitions: Install a 9" (230 mm) wide strip of Envirosheet membrane centered over corner transition.

D.	Penetrations: Apply Envirosheet membrane to within 1” (25 mm) radius of penetration. Apply ¾” (18 mm) fillet of M-2000 around base of penetration. Extend 90-mil (2.3 mm) thick layer of M-2000 2-1/2” (65 mm) onto both the penetration and membrane.

E.	Drains: At drains, apply 90-mil thick coat of M-2000 from inside throat of drain to 12" (300 mm) radius beyond the drain collar onto the deck. Apply 36" x 36" (915 mm x 915 mm) field cut Envirosheet membrane centered over drain basin and cut out membrane flush with inside throat of drain. Apply drain clamping ring into 60-mil (1.5 mm) thick bed of M-2000.

F.	Footing-to-Wall Transition: Install a 3/4" (18 mm) fillet of M-2000 at the horizontal to vertical inside corner. Then trowel a 9" (230 mm) wide, 90-mil (2.3 mm) thick coat of M-2000 centered over corner transition.

G.	Expansion Joints: Envirosheet membrane is not an expansion joint filler or sealant, but may be used as an expansion joint cover over properly installed expansion joint material placed during substrate preparation. To use Envirosheet membrane as an expansion joint cover, first prime substrate along expansion joint. Install Envirosheet membrane to both edges of expansion joint, but not extending onto or over expansion joint. Then install a 9" (230 mm) wide strip of Envirosheet membrane inverted (4 mil polyethylene side toward the substrate) centered over the expansion joint. Finally place a 18" (450 mm) wide strip of Envirosheet membrane centered over the inverted membrane strip. Overlap membrane strip end laps a minimum 5" (125 mm) and seal all membrane strip edges with bead of M-2000.

3.06 	MEMBRANE INSTALLATION - BACKFILLED CAST-IN-PLACE CONCRETE WALLS

A.     	Remove release paper from back of membrane and apply membrane adhesive side down to primed and properly prepared substrate per Section 3.05. Install first course of membrane horizontally at the base of the wall to decrease the number of overlap seams at the footing area overlapping the end seams a minimum 5" (125 mm). Install subsequent membrane sheets either oriented horizontally or vertically. Maintain uniform 2-1/2" (65 mm) minimum membrane overlap widths and end laps. Stagger end laps.

B.	Roll membrane in place using firm pressure with a hand roller. Ensure that all membrane laps are firmly adhered and that there are no gaps or fish mouths.

C. 	Multiple Penetrations. Trowel 90-mil (2.3 mm) thick layer of M-2000 covering entire area between penetrations and extend layer outside of penetration area minimum 4" (100 mm)  to allow membrane to overlap. At base of each penetration apply 3/4" (18 mm) fillet of M-2000 over the main M-2000 layer. Cut Envirosheet membrane and overlap M-2000 layer a minimum 2" (50 mm).

D. 	Apply a bead of M-2000 at each daily termination of the membrane. Trowel bead flat, approximately 1/8" (3 mm) thick by 3/4" (18 mm) wide.

- Terminate membrane on vertical surfaces into a reglet or with a termination bar. Press membrane firmly to wall surface and seal with trowelled bead of M-2000. Membrane continuing above grade shall be covered with UV resistant flashing or architectural finish material and not left exposed to prolonged sunlight.

- Repair any damage.

- Install Aquadrain prefabricated drainage composite over waterproofing system. Refer to Part 3.05, for Aquadrain installation instructions.

071326-6

3.07	PREFABRICATED DRAINAGE COMPOSITE INSTALLATION (FOUNDATION WALL)

A.	 At the base of the wall, place Aquadrain 100BD (100BD) base-drain horizontally oriented with the open core side up and the 2” (50 mm) flap of fabric side tight against the wall over the previously installed Envirosheet waterproofing. Use Enviroprimer SB or general construction adhesive to secure to waterproofing membrane. The 2” fabric flap along the top edge of 100BD should be tightly secured against the wall. Use 100BD accessory fittings, as required, to form a continuous installation. Install 100BD discharge outlet fittings to connect to discharge pipes as required for the project.

B.	Install the bottom course of Aquadrain 15XP sheet drainage (plastic core side against the wall) with the 15XP bottom core edge in contact with open top core edge of 100BD.  Secure sheet drain to waterproofing membrane with Enviroprimer SB or general construction adhesive. Secure extra fabric flap of 15XP extending down the top front edge of 100BD to prevent the passage of soil into the core at the connection.

C.	Install subsequent courses of Aquadrain 15XP sheet drainage in a shingle overlap style to finished grade or as shown on the project drawings. Prior to subsequent course, seal top and side core edges by tucking the products extra fabric edge flap behind the core before securing with Enviroprimer SB or general construction adhesive. Install drainage sheet panels overlapped, bottom edge of higher course installed to the outside of the lower course to shed water like a roof shingle. Seal all outward overlap core edges by securing extra fabric flap with tape or general construction adhesive to filter fabric of previously installed sheet.

D. 	Around penetrations and other details, cut sheet drainage composite to fit and wrap extra filter

fabric around open core edge to prevent soil from entering core.

E.	At the top of the sheet drain installation, wrap the filter fabric flap behind the exposed top core edge to prevent intrusion of soil into the core and secure sheet drain to wall with termination bar fastened 12" (300 mm) on center.

3.08	MEMBRANE INSTALLATION – HORIZONTAL DECK SURFACES

A.	Remove release paper from back of membrane and apply membrane adhesive side down to primed properly prepared substrate per Section 3.05 detailing. Install sheet membrane from low point to high point across the deck slope line so that membrane laps shed water. Overlap membrane edges 2-1/2” (65 mm) and overlap end seams a minimum 5” (125 mm). Stagger end seams a minimum 12” (300 mm). Roll membrane in place with standard resilient roller, 75 lb. (34 kg). Ensure that all membrane laps are firmly adhered and that there are no gaps or fish mouths. Seal daily terminations with trowel bead of M-2000.

B.	Seal membrane laps occurring within 12" (30 cm) of any corner transition with a bead of M-2000 or Volclay Seamtape. Trowel bead flat, approximately 1/8" (0.3 cm) thick by 3/4" (1.9 cm) wide.

C.	Terminate turned up membrane on vertical walls into a reglet or under counter flashing or with a fastened termination bar. Roll membrane in place using firm pressure with a hand roller. Seal membrane termination edge with trowel bead of M-2000.

3.09	FLOOD TESTING

A.	In accordance with warranty requirements, conduct a water test on installed horizontal waterproofing system after sheet membrane has been in place at least 24 hours. Plug drains and provide barriers necessary to contain 2" (50 mm) of flood test water for 24 hours. Inspect for leaks and repair waterproofing if leaks are found. Retest after making repairs. Before flood testing, consult with structural engineer for deck loading limits.

071326-7

3.10 	HORIZONTAL SURFACE DRAINAGE - Aquadrain 20H (Pedestrian Traffic) or 30H (Vehicular Traffic)

A.	 Plaza Decks, Parking Decks, and Split-Slab Applications: Starting from the low point to the high point across the deck slope, place Aquadrain with the plastic core side down against the deck and the filter fabric side up. Connections should be completed in shingle fashion so that water will flow with the overlap and not against it. Overlap fabric in direction of water flow. Use Enviroprimer SB, double-sided tape, or general construction adhesive to secure the Aquadrain to the waterproofing membrane or place sufficient ballast on top of the Aquadrain to hold it in place.

B.	Wrap all drainage sheet termination edges with the filter fabric flap by tucking it behind the core and securing it.  At pipe penetrations, cut a hole in the core corresponding to the size and location of the protrusion. Then cut an “X” in the fabric and tape the fabric around the protrusion to seal composite edge. Dirt and concrete must not infiltrate the core.

C.	Plaza Drains: Cut a hole in the core corresponding to the size and location of the plaza drain. Avoid cutting a hole in the fabric by cutting the backside of the core between the dimples. If fabric is cut, place additional filter fabric over cut area to prevent intrusion of soil, grout, sand, or concrete into the drainage core.

3.11	INSULATION

A.	Always apply Envirosheet waterproofing directly to properly prepared structural concrete substrates. Insulation, if used, should be applied over the waterproofing. Do not apply Envirosheet waterproofing over lightweight insulating concrete.

- 3.12 	PROTECTION COURSE

- A.	Protect Envirosheet waterproofing installation with a protection course.  Aquadrain prefabricated drainage composite may double function as a protection course or other protection course material approved by manufacturer.

3.13	BACKFILL EXCAVATED CAST-IN-PLACE CONCRETE WALLS

A.	Closely coordinate Envirosheet installation with Backfill conducted under Division 31 work. Care should be used during backfill operation to avoid damage to the waterproofing system. Follow generally accepted practices for backfilling and compaction. Backfill should be added in 6" to 12" (150 - 300 mm) lifts and compacted to a minimum 85% Modified Proctor density. Protection course required with gravel backfill. Limit gravel backfill to <3/4” (18 mm) angular aggregate with fines.

3.14	CLEAN UP

- Clean areas where adjacent finished surfaces are soiled by work of this Section. Remove all tools, equipment and remaining product on-site. Dispose of section work debris and damaged product following all applicable regulations.

End of Section 071326