This guide specification was issued May 2019 and may be superseded without notice at any time. Therefore, please confirm that this specification is still current and has not been superseded by checking at www.cetco.com or by calling 1-800-527-9948.

CAST-IN-PLACE CONCRETE AND MASONRY BLOCK CONSTRUCTION SPECIFICATION

This guide specification has been prepared according to the principles established in the Manual of Practice published by the Construction Specification Institute and is intended for use with cast-in-place concrete structures. This specification is not intended for use with shotcrete or precast concrete construction. Contact CETCO regarding installation and application guidelines for SWELLTITE Waterproofing System when used with below-grade shotcrete or precast concrete construction. CETCO, Building Materials– 1- 847-851-1800-.

This master guide specification contains work sections in PART 3 – Execution – pertaining to both zero-lot line construction and backfilled foundation wall construction. Therefore, PART 3 should be edited to only include work sections specific to the job site conditions required on the project.

SECTION 071700 - MAY 2019 (Supersedes All Previous Versions)

SWELLTITE® WATERPROOFING SYSTEM GUIDELINE SPECIFICATION FOR CAST-IN-PLACE CONCRETE WALLS AND SPLIT-SLAB DECKS WITH AQUADRAIN PREFABRICATED DRAINAGE COMPOSITE

PART 1 - GENERAL

1.01	 RELATED DOCUMENTS

A.  	All of the Contract Documents, including General and Supplementary Conditions, and Division 1 General requirements, apply to the work of this section.

1.02  	WORK SUMMARY

A. 	The work of this section includes, but is not limited to the furnishing and installing the following materials, per project specifications and drawings, or as directed by bentonite waterproofing manufacturer:

1. SWELLTITE ® bentonite composite waterproofing membrane with all applicable accessory products 2. AQUADRAIN® Prefabricated drainage composite and AQUADRAIN 100BD Base Drain

1.03	RELATED SECTIONS

A.	Other specification Sections which directly relate to the work of this section include, but are not limited to, the following:

1. Division 2: Subsurface and Geotechnical Investigations

2. Division 3: Waterstops

3. Division 5: Expansion Joint Products

4. Division 7: Joint Treatment/ Sealants, Flashing and sheet metal, and Insulation

5. Division 22: Deck and Floor Drains and other Mechanical Penetrations

6. Division 26: Conduit and other Electrical Penetrations

7. Division 31: Earthwork, Excavation and Backfill

8. Division 33: Geocomposite Foundation Drainage

1.04 	SYSTEM DESCRIPTION

- Provide bentonite membrane waterproofing and prefabricated drainage composite system to prevent the passage of liquid water and install without defects, damage or failure. Waterproofing membrane shall be a 2.0 mm (80-mil) composite of a sodium bentonite compound integrally bonded to a geomembrane liner with a silicone release liner.

1.05	SUBMITTALS

A.	General: Prepare and submit specified submittals in accordance with "Conditions of the Contract" and Division 1 Submittals Sections.

B.	Product Data: Submit manufacturer’s product data, with complete general and specific installation instructions, recommendations, and limitations.

C.	Product Samples: Submit representative samples of the following for approval:

1. SWELLTITE composite bentonite membrane waterproofing

2. AQUADRAIN 100BD Base Drain and AQUADRAIN 15XP Prefabricated drainage composite

D.	Waterproofing Material and Labor Warranty: At time of bid, submit a sample copy of the Manufacturer’s Waterproofing warranty complete with all coverage’s, limitations, and conditions.

E.	Contractor Certificate: At time of bid, submit written certification that installer has current Approved Applicator status with waterproofing material manufacturer.

1.06 	QUALITY ASSURANCE

A. 	Installer Qualifications: Installing company should have at least three (3) years experience in work of the type required by this section, who can comply with manufacturer's warranty requirements, and who is an Approved Applicator as determined by waterproofing/drainage system manufacturer.

B.	Manufacturer Qualifications:  Bentonite waterproofing and all accessory products shall be provided by a single manufacturer with a minimum of 30 years experience in the direct production and sales of bentonite waterproofing systems. Manufacturer shall be capable of providing field service representation during construction, approving an acceptable installer, and recommending appropriate installation methods for bentonite waterproofing and prefabricated drainage system.

C.	Pre-Installation Conference: A pre-installation conference shall be held prior to commencement of field installation to establish procedures to maintain required working conditions and to coordinate this work with related and adjacent work. Verify that final waterproofing and waterstop details comply with waterproofing manufacturer's current installation requirements and recommendations. Pre-con meeting attendees should include representatives for the owner, architect, inspection firm, general contractor, waterproofing contractor, concrete contractor, excavating/backfill contractor, and mechanical and electrical contractors if work penetrates the waterproofing.

D.	Materials: Obtain bentonite composite membrane waterproofing and prefabricated drainage materials from a single manufacturer to assure material compatibility.

E.	Independent Inspection: Owner shall make all arrangements and payments for an independent inspection service to monitor waterproofing material installation compliance with the project contract documents and manufacturer’s published literature and site specific details. Independent Inspection Firm shall be an approved company participating with the waterproofing manufacturer’s Certified Inspection Program. Inspection service shall produce reports and digital photographs documenting each inspection. Reports shall be made available to the Contractor, waterproofing installer, waterproofing material manufacturer, and Architect. Inspections should include substrate examination, beginning of waterproofing installation, periodic intervals, and final inspection prior to concrete or backfill placement against the waterproofing.

F.	Water Sample Test: Project site water sample supplied to manufacturer by waterproofing contractor to determine suitability of bentonite system to be utilized on the project. Manufacturer shall conduct test free of charge. Contractor is responsible for collection and shipment of 2 liters (64-fluid ounces) of actual site water. Water should be shipped in uncontaminated, sealed plastic container to: CETCO 2870 Forbs Ave., Hoffman Estates, IL 60192 Attn: BMG Field Services. Also provide project name, city and state along with return address to forward test results.

1.07	PRODUCT DELIVERY, STORAGE AND HANDLING

A.	Delivery and Handling: Deliver materials in factory sealed and labeled packaging. Sequence deliveries to avoid delays, while minimizing on-site storage. Handle and store following manufacturer's instructions, recommendations and material safety data sheets. Protect from construction operation related damage, as well as, damage from weather, excessive temperatures and prolonged sunlight. Remove damaged material from site and dispose of in accordance with applicable regulations.

- Storage: Do not double-stack pallets during shipping or storage. Protect waterproofing materials from moisture, excessive temperatures and sources of ignition. Provide cover, top and all sides, for materials stored on-site, allowing for adequate ventilation.

1.08	PROJECT CONDITIONS

- Substrate Condition: Proceed with work only when substrate construction and preparation work is complete and in condition to receive waterproofing system. All plumbing, electrical, mechanical and structural items to be under or passing through the waterproofing shall be positively secured in their proper positions prior to waterproofing system installation. All expansion joint materials and deck drains installed prior to waterproofing system installation. Substrate preparation shall be per waterproofing manufacturer’s guidelines.

- Topping Slab Thickness: Minimum topping over horizontal deck SWELLTITE installation: minimum concrete coverage thickness - 75 mm (3"); minimum compacted earth backfill cover - 450 mm (18"); minimum concrete paver with grout bed system weight per square foot - 9 kg (20 lbs). Do not use SWELLTITE with pavers placed on pedestals or with thin set tile.

C.	Weather Conditions: Perform work only when existing and forecasted weather conditions are within the guidelines established by the manufacturer of the waterproofing materials. Do not apply waterproofing materials into standing water or over ice.

1.09 	WARRANTY

- Warranty eligibility for the project must be validated by Manufacturer, confirming acceptance of the installation and independent inspection reports are in accordance with the manufacturer’s quality assurance program requirements.

- Waterproofing Material and Labor Warranty: Upon installation completion and manufacturer acceptance of the work required by this section, the waterproofing materials manufacturer will provide to the project Owner, a written five (5) year non-prorated warranty, covering both materials and labor. Issuance of Manufacturer's Waterproofing Warranty requires the following: (1) Waterproofing System products and drainage composite products shall have been provided by a single manufacturer; (2) Installation of waterproofing products and CXJ Expansion Joint by Manufacturer's Approved Applicator in full accordance with manufacturer’s quality assurance program requirements; (3) Installation inspected by an approved and trained Independent Inspection Firm participating with the waterproofing manufacturer’s Certified Inspection Program; (4) In Division 3 work, Waterstop-RX must be installed in all applicable concrete cold pour construction joints, including around applicable penetrations. Manufacturer's warranty shall be independent from any other warranties made by the Contractor under requirements of the Contract Documents and may run concurrent with the other warranties.

PART 2 - PRODUCTS

2.01 	MANUFACTURER

A.	Provide SWELLTITE bentonite composite membrane waterproofing with applicable accessories as manufactured by Colloid Environmental Technologies Company (CETCO), 2870 Forbs Ave., Hoffman Estates, IL  60192; Toll Free: 1-(800)-527-9948; 1-(847)851-1800. Web-site: http://www.cetco.com.

2.02 	MATERIALS

- Sodium Bentonite Compound:  Select sodium bentonite and butyl rubber blended to produce a uniform waterproofing compound integrally bonded to a geomembrane liner.

B. 	SWELLTITE COMPOSITE BENTONITE WATERPROOFING

1. SWELLTITE: 1.0 m (40") x 11.5 m (37'-9”) x 2 mm (80-mil) thick composite waterproofing membrane consisting of sodium bentonite/butyl rubber compound integrally bonded to a geomembrane liner with a clear siliconized release liner. Square Area of roll: 11.5 sq m (125 square feet). Typical membrane performance properties:

| PROPERTY | TEST METHOD | TYPICAL VALUE |
| --- | --- | --- |
| Tensile Strength | ASTM D 412 | 1.15 MPa (1,660 psi) |
| Elongation | ASTM D 412 | 31% |
| Puncture Resistance | ASTM E 514 | 1335 N (300 lbs) |
| Hydrostatic Pressure Resistance | ASTM D 5385 mod. | 70 m (231 ft) |
| Low Temperature Flexibility | ASTM C 836 | Unaffected |
| Permeability | ASTM D 5887 | 5 x 10-10 cm/s |
| Water Vapor Transmission | ASTM E 96 | 0.01 grains/hr/ft2 |

C.	ACCESSORY WATERPROOFING PRODUCTS: All accessory waterproofing materials shall be 	provided by the bentonite waterproofing manufacturer or shall have manufacturer’s written 	approval for substitution.

1. BENTOSEAL®:  Trowel grade compound used as a detailing mastic for foundation wall applications.

2. HYDROBAR TUBES: 50 mm (2”) diameter x 60 cm (2’) long, water soluble tube container filled with granular sodium bentonite

3. WATERSTOPPAGE®:  22.7 kg (50 lbs.) bag of active granular sodium bentonite.

4. SEAMTAPE®: 50 mm (2”) wide butyl rubber sealant tape.

5. Termination Bar: Min. 3 mm (1/8”) thick by 25 mm (1”) wide stainless steel or aluminum termination bar with pre-punched holes punched 150 mm (6”) on center for fastening.

6. M-2000 Liquid Flashing: Trowel grade high solids content, modified polyurethane waterproofing detailing mastic for plaza deck applications.

7. A-3000WB Adhesive: Water-based latex adhesive applied to substrates to promote adhesion of SWELLTITE Membrane. Typical application rate 25 sq m/gallon (250—275 sq ft/gallon).

8. CETSEAL: single-component polyether general sealant and adhesive

9. ENVIROSHEET:self-adhering flashing membrane used for grade and thru-wall flashing

- 10. CXJ 200/400: CXJ is a thermoplastic expansion joint product consisting of a 50mm (2”)/ 100mm (4”) wide dual-cell center gland with two integrated flashing flanges on both sides of the center gland.

D.	BASE AND SHEET DRAINAGE COMPOSITE

AQUADRAIN® drainage composite by CETCO shall be used where specified to promote positive drainage. Use AQUADRAIN 15XP and 100BD base drain with accessory connectors and outlets as required for foundation walls. Use AQUADRAIN 20H or AQUADRAIN 30H for split-slab construction.

1. AQUADRAIN® 15XP – 1.2m x 15.8m (4-ft x 52-ft) roll of a three-dimensional polypropylene drainage core with a nonwoven geotextile adhered to one side to allow water passage while restricting soil particles. Composite includes a thin polyethylene sheet on the back of the drainage core.

A. Compressive Strength, 718kPa (15,000psf); B. Flow Rate, 251 l/m/m (20gpm/ft);

C. Thickness, 11 mm (7/16”)

2. AQUADRAIN® 20H – 1.2m x 15.8m (4-ft x 52-ft) roll of a three-dimensional polypropylene drainage core with a nonwoven geotextile adhered to one side to allow water passage while restricting soil particles.

A. Compressive Strength, 1005 kPa (21,000psf ); B. Flow Rate, 226 l/m/m (18 gpm/ft);

C. Thickness, 11 mm (7/16”)

3. AQUADRAIN® 30H - 4-ft by 52-ft roll of a three-dimensional polypropylene drainage core with a nonwoven geotextile adhered to one side to allow water passage while restricting soil particles.

A. Compressive Strength, 1436 kPa (30,000psf ); B. Flow Rate, 113 l/m/m (9 gpm/ft);

C. Thickness, 6 mm (1/4”)

4. AQUADRAIN® 100BD Base Drain – 25 mm (1”) thick x 300 mm (12”) high base drain composite designed to collect water from sheet composite drainage and then discharge the water to proper sump system or gravity to daylight.

A. Compressive Strength, 457 kPa (10,000psf); B. Water Flow rate, 1,197 l/m/m (97gpm/ft);

C. Thickness, 25 mm (1”)

PART 3- EXECUTION contains work sections pertaining to both backfilled foundation wall construction and split-slab plaza deck construction. Therefore, PART 3 should be edited to only include work sections specific to the job site conditions required on the project. Sections 3.01, 3.02, 3.03, and 3.10 pertain to all applications.

PART 3 – EXECUTION

A.	Comply with contract documents and manufacturer's product data, including product application and installation instructions.

3.01 	SUBSTRATE INSPECTION AND CONDITIONS

A.	The installer, with the Owner’s Independent Inspector present, shall examine conditions of substrates and other conditions under which this section work is to be performed and notify the contractor, in writing, of circumstances detrimental to the proper completion of the work. Do not proceed with work until unsatisfactory conditions are corrected and are acceptable for compliance with manufacturer's warranty requirements. General substrate conditions acceptable for the waterproofing installation are listed below. For conditions not covered in this Section, contact the waterproofing manufacturer for guidance.

B.	CONCRETE:  Cast-in-place concrete to receive waterproofing shall be of reinforced structural grade with a smooth finish, free of debris, oil, grease, laitance, dirt, dust, or other foreign matter which will impair the performance of the waterproofing and drainage system and which do not comply with manufacturer's warranty requirements. SWELLTITE can be installed on green structural concrete as soon as the forms are removed. There is no product limitation regarding a minimum concrete curing time requirement for SWELLTITE to be installed over structural concrete. Manufacturer recommends gaining instructions from project structural engineer regarding any site specific concrete curing time requirement. Do not apply SWELLTITE waterproofing over lightweight insulating concrete. If substrate is precast concrete, consult waterproofing manufacturer for special installation guides.

      - Remove dirt, debris, oil, grease, cement laitance, or other foreign matter which will impair or negatively affect the performance of the waterproofing and drainage system.

      - Protect adjacent work areas and finished surfaces from damage or contamination from waterproofing products during installation operations.

      - Form fins, ridges, ponding ridges and other protrusions should be level and smooth with concrete surface.

      - Honeycombing, aggregate pockets, tie-rod holes and other voids shall be completely filled with non-shrink cementitious grout and level with monolithic concrete surface.

      - Horizontal deck or roof concrete surfaces should be sloped for positive drainage to the deck drains or the perimeter edges. Deck drain positions should be designed with an appropriate sump depression surrounding the drain.

      - Precast concrete deck units shall be installed and secured to structural supports in accordance with the concrete panel manufacturer’s requirements and industry practice. All joints between precast units shall be completely grouted and flush with deck. Any differential in elevation between precast units shall be feathered for a smooth transition.

- 7.	For below grade expansion joints between 25 mm – 100 mm (1”- 4”) in width, install appropriate CETCO CXJ Expansion Joint prior to the installation of the Ultraseal Waterproofing System.  Only CETCO CXJ Expansion Joint products are eligible for warranty inclusion. Refer to CETCO CXJ Expansion Joint Installation guide for expansion joint installation instructions

NOTE: Related work to be completed under Division 3. Waterstop-RX shall be installed in all applicable vertical and horizontal concrete construction cold pour joints and around applicable penetrations, structural members, and tie-rod form holes that extend through the wall. Refer to Waterstop-RX Product Manual for further installation procedures and guidelines.

C.	MASONRY BLOCK: Masonry Cementitious Block Walls to receive waterproofing shall be of sound construction. Block surface shall be free of debris, oil, grease, laitance, dirt, or other foreign matter which will impair the performance of the waterproofing and drainage system and which do not comply with manufacturer's warranty requirements.

1. Masonry block must have a smooth exterior surface. Do not use SWELLTITE with Architectural textured or irregular surface block that does not provide a smooth surface.

2. All vertical and horizontal mortar joints must be struck flush with smooth exterior surface of masonry block.

3.  All expansion joints should receive applicable CETCO CXJ Expansion Joint sealant product prior to the installation of the SWELLTITE Waterproofing System.

NOTE: Related work to be completed under Division 3. Waterstop-RX shall be installed in all applicable vertical and horizontal concrete construction cold pour joints, around applicable penetrations and structural members,  and tie-rod form holes that extend through the wall. Refer to Waterstop-RX Product Manual for further installation procedures and guidelines.

3.02 	SURFACE PREPARATION

A.	Remove dirt, debris, oil, grease, cement laitance, or other foreign matter which will impair or negatively affect the performance of the waterproofing and drainage system.

B.	Protect adjacent work areas and finish surfaces from damage or contamination from waterproofing products during installation operations.

C.	Concrete surfaces to receive M-2000 Liquid Flashing should be water-cured and in place a minimum of seven (7) days prior to application. Allow wet concrete to thoroughly dry prior to applying M-2000 Liquid Flashing or SWELLTITE Membrane. M-2000 is compatible with clear, resin based curing compounds containing no oil, wax, or pigment.

3.03 	GENERAL INSTALLATION GUIDELINES

A. 	REMOVE CLEAR SILICONIZED RELEASE LINER FROM BACK OF SWELLTITE MEMBRANE PRIOR TO INSTALLATION. After removing the clear release liner, install SWELLTITE Waterproofing Membrane with the sodium bentonite compound side directly against the substrate surface to be waterproofed (white geomembrane side up facing installer) for both horizontal and vertical applications.

B.	Prevent bentonite waterproofing products from hydrating before material is contained with overburden or backfill. When threat of rain is imminent, installed bentonite products not already contained by overburden or backfill should have all seams sealed with SEAMTAPE. After rain, promptly remove any standing water off membrane installation.

C. 	Expansion Joints: SWELLTITE waterproofing is not an expansion joint filler or sealant, but can be incorporated with the CETCO CXJ Expansion Joint to create a warranty eligible, solution for waterproofing the below grade expansion joint. Please refer to the CETCO CXJ Expansion Joint Installation Guide for installation instructions.

3.04	SPLIT-SLAB DECK INSTALLATION

- Deck Edge Transitions: For all deck edge transitions install waterproofing system in accordance with manufacturer’s detail for specific project condition(s).

- Deck Penetrations: For all pipe, rebar, structural and other penetrations install waterproofing system in accordance with manufacturer’s detail for specific project condition(s).

- Deck Drains: For all deck drains install waterproofing system in accordance with manufacturer’s detail for specific project condition(s).

- Planters: For all deck planters install waterproofing system in accordance with manufacturer’s detail for specific project condition(s).

- Remove clear poly release liner from back of membrane and then install SWELLTITE membrane with sodium bentonite compound side directly against the concrete substrate (white geomembrane liner side up) from the low point to the high point across the fall line of the deck to create a shingle-style application. Overlap all membrane edges a minimum of 50 mm (2"). Stagger roll end seams a minimum 300 mm (12").

E2.	(Optional Adhesive Method) Apply A-3000WB Adhesive by roller or spray at a rate of 25 sq m/gallon (250-275 sq ft/gallon) and allow to dry (cure) black. Remove clear poly release liner from back of membrane and then install SWELLTITE membrane with sodium bentonite compound toward the concrete substrate (white geomembrane liner side up) from the low point to the high point across the fall line of the deck to create a shingle-style application. Overlap all membrane edges a minimum of 50 mm (2"). Stagger roll end seams a minimum 300 mm (12").

- Cut membrane to closely contour penetrations, drains, and elevation changes. Apply 1.5 mm (60-mil) counter flashing of M-2000 Liquid Flashing over membrane edge around penetrations and drains.

- Seal all membrane overlap seam edges with SEAMTAPE.

- Terminate SWELLTITE membrane along deck perimeter in accordance with manufacturer’s detail for specific project condition(s).

- Inspect installation and repair any damaged materials.

- 3.05	DECK SUB-SURFACE DRAINAGE INSTALLATION

A.	Over the SWELLTITE membrane installation, install AQUADRAIN 20H for pedestrian traffic applications or AQUADRAIN 30H for pedestrian and light vehicular traffic applications.

B. 	Install AQUADRAIN sheet drainage with plastic core side facing down against waterproofing. Start drainage sheet installation at drains or from the low point to the high point across the fall line of the deck to create a shingle-style application. Tightly abut adjoining sheet drain core edges together and secure the extra fabric flaps over the front of adjacent roll edges to prevent concrete or soil from entering the sheet drain core. Secure sheet drain to waterproofing with general construction adhesive or double sided tape as required to keep drain sheet in place.

C. 	Around penetrations and tie-back heads, cut sheet drainage composite to fit and wrap extra filter fabric around open core edge to prevent concrete or soil from entering drain core.

D.	At the perimeter edge of the AQUADRAIN sheet drain installation, wrap the filter fabric flap under the exposed core edge to prevent intrusion of concrete or soil into the drain core. Concrete topping slab can be poured directly over installed AQUADRAIN course.

The following Sections 3.06, through Section 3.08 pertain only to backfilled foundation wall applications (cast-in-place concrete or masonry block).

3.06	BACKFILLED FOUNDATION WALLS

A.	Prior to membrane, Install a continuous 19 mm (3/4") cant of BENTOSEAL at footing/wall joint.

B. 	Inside Corners: Install a 19 mm (3/4") thick continuous cant of BENTOSEAL at all vertical inside wall corners prior to installing membrane.

C.	Penetrations: For all pipe, rebar, structural and other penetrations install waterproofing system in accordance with manufacturer’s detail for specific project condition(s).

- D.	Remove the clear release film from back of membrane before installation. Starting at the base of the wall, install the membrane horizontally oriented with the bottom edge extending over the BENTOSEAL cant and onto the footing a minimum of 150 mm (6"). Overlap all membrane edges a minimum of 50 mm (2"). Secure membrane edges with washer-head fasteners maximum 600 mm (24”) on center or less as required to contour surface. Apply 50 mm (2”) BENTOSEAL or M-2000 flashing centered along fastened membrane edge on the footing. Stagger membrane roll end seams a minimum 300 mm (12"). After base membrane course, SWELLTITE membrane may be installed horizontally or vertically oriented.

D2.	(Optional Adhesive Method) Apply A-3000WB Adhesive by roller or spray at a rate of 25 sq m/gallon (250-275 sq ft/gallon) and allow to dry (cure) black. Remove the clear release film from back of membrane before installation. Starting at the base of the wall, install the membrane horizontally oriented with the bottom edge extending over the BENTOSEAL cant and onto the footing a minimum of 150 mm (6"). Overlap all membrane edges a minimum of 50 mm (2"). Stagger membrane roll end seams a minimum 300 mm (12"). Apply 50 mm (2”) BENTOSEAL or M-2000 flashing centered along fastened membrane edge on the footing. After the base course, SWELLTITE membrane may be installed horizontally or vertically oriented.

- NOTE: If hydrostatic conditions exist, extend SWELLTITE membrane over entire footing to overlap the underslab waterproofing a minimum 150 mm (6") to form a continuous waterproofing system. Install SEAMTAPE along bottom membrane overlap edge.

- Seal all membrane overlap seam edges with SEAMTAPE.

- Terminate SWELLTITE membrane 300 mm (12”) below finished grade elevation secured with washer-head fasteners maximum 300 mm (12”) on center to exterior surface of concrete wall. Per manufacturer’s detail for specific project condition(s), install ENVIROSHEET grade flashing to primed concrete substrate with bottom edge overlapping top edge of SWELLTITE membrane minimum 100 mm (4”). Overlap all roll ends a minimum 100 mm (4”) to form a continuous flashing. Height of flashing shall be per project details and specifications. Install a rigid termination bar along the top edge of ENVIROSHEET; fastened maximum 300 mm (12”) on center. Complete grade termination detail with tooled bead of CETSEAL along the top edge, at all penetrations through the flashing, and all exposed overlap seams.

G.	Inspect installation and repair any damaged materials.

- 3.07	SUB-SURFACE DRAINAGE COMPOSITE DECK INSTALLATION

A.	At the base of the wall, place AQUADRAIN 100BD (100BD) base-drain horizontally oriented with the open core side up and the 50 mm (2”) flap of fabric side tight against the wall over the previously installed SWELLTITE membrane using wash-head mechanical fasteners or general construction adhesive. The 50 mm (2”) fabric flap along the top edge of 100BD should be tightly secured against the wall. Use 100BD accessory couplers and corner fittings, as required, to form a continuous installation. Install 100BD discharge outlet fittings to connect to discharge pipes as required for the project.

B.	Install the bottom course of AQUADRAIN 15XP sheet drainage (plastic core side against the wall) with the 15XP bottom core edge in contact with open top core edge of 100BD.  Secure sheet drain to wall with washer-head fasteners. Secure extra fabric flap of 15XP extending down the top front edge of 100BD to prevent the passage of soil into the core at the connection.

C.	Install subsequent courses of AQUADRAIN 15XP sheet drainage to within 300 mm (12”) of finished grade or as shown on the project drawings. Tightly abut adjoining sheet drain core edges together and secure the extra fabric flaps over the front of adjacent roll edges to prevent soil from entering the sheet drain. Secure sheet drain to wall with washer-head fasteners. Where drainage sheet panels are installed overlapped, bottom edge of higher course shall be installed to the outside of the lower course to shed water like a roof shingle.

D. 	Around penetrations and tie-back heads, cut sheet drainage composite to fit and wrap extra filter fabric around open core edge to prevent soil from entering core.

E.	At the top of the sheet drain installation, wrap the filter fabric flap behind the exposed top core edge to prevent intrusion of soil into the core and secure sheet drain to wall with termination bar fastened 300 mm (12") on center.

3.08	INSULATION (WHEN SPECIFIED)

A.	Always apply SWELLTITE waterproofing directly to properly prepared structural substrates. Insulation, if used, should be applied over the waterproofing. Do not apply SWELLTITE waterproofing over insulation or lightweight insulating concrete.

3.09	BACKFILL COVER

A. 	Backfill shall be placed and compacted to minimum 85% Modified Proctor density promptly after waterproofing has been installed. Closely coordinate with contractor responsible for Backfill work by informing them each time a waterproofed area is ready for backfill. Backfill shall consist of compactable soil or angular aggregate free of debris, sharp objects, and stones larger than 19 mm (¾”). Care should be used during backfill operation to avoid damage to the waterproofing system. If damage occurs, cease backfilling and report damage. Damaged waterproofing must be repaired per manufacturer’s guidelines.

3.10	CLEAN UP

A.	Clean areas where adjacent finished surfaces are soiled by work of this Section, consult manufacturer of surfaces for cleaning advice and conform to their recommendations and instructions. Remove all tools, equipment and remaining product on-site. Dispose of section work debris and damaged product following all applicable regulations.

End of Section 071700