TIPS:

To view non-printing Editor's Notes that provide guidance for editing, click on “Show/Hide” button (¶) on the Home menu ribbon.

SECTION 072100 – THERMAL INSULATION

- GENERAL

      - RELATED DOCUMENTS

        - Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specifications, apply to this Section.

      - SUMMARY

        - Section Includes:

Retain subparagraphs below as applicable to project:

          - Styrofoam™ Brand Extruded Polystyrene Rigid Insulation.

          - Thermax™ Brand Polyisocyanurate Rigid Insulation.

      - REFERENCE STANDARDS

        - ASTM C272 - Standard Test Method for Water Absorption of Core Materials for Sandwich Constructions; 2018.

        - ASTM C578 - Standard Specification for Rigid, Cellular Polystyrene Thermal Insulation; 2016.

        - ASTM E84 - Standard Test Method for Surface Burning Characteristics of Building Materials; 2016.

        - ASTM E2357 - Standard Test Method for Determining Air Leakage of Air Barrier Assemblies; 2011.

      - SUBMITTALS

        - See Section 01 3000 – Administrative Requirements, for submittal procedures.

        - Product Data: Provide product characteristics, performance criteria, and product limitations.

        - Warranty:

          - Provide Manufacturer’s System Warranty for 10 Year Product & Labor for Insulation and Weather Resistive Barrier

            - DuPont™ Commercial Wall2 System Warranty.

          - Provide Manufacturer’s Limited Thermal Warranty for rigid insulation.

        - NFPA 285 Compliance: Submit documentation showing wall assembly compliance with NFPA 285.

      - 1.04	QUALITY ASSURANCE

        - Source Limitations: Obtain exterior building insulation through one source from a single manufacturer.

      - 1.05	FIELD CONDITIONS

        - Application Temperatures: Comply with Manufacturer's recommendations for product applications.

- PRODUCTS

      - APPLICATIONS

        - Insulation at Exterior Walls: Extruded polystyrene board.

      - FOAM BOARD INSULATION MATERIALS

        - Extruded Polystyrene Board Insulation: Extruded polystyrene board; ASTM C578; with either natural skin or cut cell surfaces, and the following characteristics:

          - Basis of Design:

            - DuPont de Nemours Inc.; Styrofoam™ Square Edge [Scoreboard]; building.dupont.com/commercial

          - Type: ASTM C578, Type IV - 25 PSI

          - Flame Spread Index (FSI): Class A - 0 to 25, when tested in accordance with ASTM E84.

          - Smoke Developed Index (SDI): 450 or less, when tested in accordance with ASTM E84.

          - R-value (RSI-value); 1 inch (25 mm) of material at 72 degrees F (22 C): 5 (0.88), minimum.

          - Panel Size: [Thickness in inches] thick by 48" wide by 96" long.

          - Board Edges: Square.

          - Recycled Content: Average of 20% pre-consumer certified by UL Environment Inc.

          - Sustainability: Third party listed Environmental Product Declaration certificate.

          - Water Absorption: ASTM C272, 0.1% max, by volume.

        - Polyisocyanurate Board Insulation with Facers Both Sides: Rigid cellular foam, complying with ASTM C1289; Type I, aluminum foil both faces; Class 2, glass fiber-reinforced core.

          - Basis of Design:

            - DuPont de Nemours Inc.; Thermax™ XARMOR™ ci [Thermax™ (ci)] [ Thermax™ Sheathing]: building.dupont.com/commercial.

          - Flame Spread Index (FSI): Class A - 0 to 25 for both core AND finished product, when tested in accordance with ASTM E84.

          - Smoke Developed Index (SDI): 450 or less for both core AND finished product, when tested in accordance with ASTM E84.

Retain first choice (4.0 mil) for Thermax™ XARMOR™; second choice (1.25 mil blue) for Thermax™ (ci); third choice (1.0 smooth) for Thermax™ Sheathing.

          - Front Facer: 4.0 mil gray acrylic coated embossed aluminum [1.25 mil blue acrylic coated embossed aluminum] [1.0 mil smooth aluminum].

Retain first choice (1.25 mil) for Thermax™ XARMOR™; second choice (1.0 smooth) for Thermax™ (ci) and Thermax™ Sheathing.

          - Back Facer: 1.25 mil embossed aluminum [1.0 mil smooth aluminum].

          - Board Size: 48 by 96 inch (1220 by 2440 mm).

          - Board Thickness: ____ inch (____ mm).

Retain first choice (Shiplap) for Thermax™ XARMOR™ and Thermax™ (ci); second choice (Square) for Thermax™ Sheathing

          - Board Edges: Shiplap on 1.5” and thicker boards [Square].

          - Sustainability: Third party listed Environmental Product Declaration certificate.

      - ACCESSORIES

        - Fasteners

          - Acceptable Products:

Retain first choice (Thermal-Grip) when project uses “Wrap Over Foam” or “Inverted Wall” assemblies; retain second choice (TubeSeal) when project uses “WRB Under Foam” assembly.

            - Rodenhouse: Thermal-Grip Flat Washer for DuPont™ Wall2 “Wrap Over Foam” and “Inverted Wall” assemblies [Rodenhouse: TubeSeal Fastener for DuPont™ Wall2 “WRB Under Foam” assembly].

            - Other fastener approved by insulation Manufacturer.

        - Penetration and Gap Filler

          - Acceptable Products:

            - DuPont de Nemours Inc.; Great Stuff Pro™ Gaps & Cracks.

            - DuPont de Nemours Inc.; Great Stuff Pro™ Window & Door.

            - DuPont de Nemours Inc.; Froth-Pak™ Foam Insulation two component, quick-cure polyurethane foam.

        - Exterior Insulation Joint Treatment (Optional)

          - Acceptable Products:

            - DuPont de Nemours Inc.; LiquidArmor™ CM spray flashing and sealant (for gaps < ¼”).

            - DuPont de Nemours Inc.; LiquidArmor™ LT flexible single component silicone flashing (for gaps < ¼”).

            - DuPont de Nemours Inc.; LiquidArmor™ QS spray flashing and sealant (for gaps < ¼”).

            - DuPont de Nemours Inc.; Great Stuff Pro™ Gaps & Cracks (for gaps ¼” to 2”).

          - For joints >1/4”, use Gap Filler prior to sealing joint.

        - Roof/Wall Juncture Sealing

          - Maintain continuity of air barrier by sealing the roof/wall juncture.

          - Acceptable Products:

            - DuPont de Nemours Inc.; Froth-Pak™ Foam Insulation (Class A).

- EXECUTION

      - EXAMINATION

        - A.	Verify that substrate, adjacent materials, and insulation materials are dry and that substrates are ready to receive insulation.

      - BOARD INSTALLATION AT EXTERIOR WALLS

        - Install rigid insulation directly to steel studs [exterior grade sheathing] [CMU] per Manufacturer’s installation instructions as required by Manufacturer’s system warranty.

        - Install boards horizontally lengthwise on walls, staggering the joints.

        - Cut and fit insulation tightly to protrusions or interruptions to the insulation plane.

          - Seal around penetrations using Penetration and Gap Filler material.

          - Maintain continuity of air barrier by sealing the roof/wall juncture with Roof/Wall Juncture Sealing material.

Retain subparagraph below for “Inverted Wall Assembly” as part of the DuPont Wall2 System options.

        - Install exterior gypsum board over the insulation per gypsum Manufacturer’s recommendations.

Retain subparagraph below for “Inverted Wall Assembly” as part of the DuPont Wall2 System options.

        - Install weather-resistive barrier (WRB) on exterior gypsum per WRB Manufacturer’s recommendations and per specification section 072500.

      - FIELD QUALITY CONTROL

        - See Section 01 4000 - Quality Requirements, for additional requirements.

      - PROTECTION

        - Do not permit installed insulation to be damaged prior to its concealment.

- END OF SECTION 072100

Retain section 072500 WEATHER BARRIERS when specifying DuPont Tyvek CommercialWrap or CommercialWrap D weather-resistive barrier.

SECTION 072500 - WEATHER BARRIERS

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

DuPont de Nemours, Inc.'s Guide Specifications have been written as an aid to the professionally qualified Specifier and Design Professional. Use of Guideline Specification requires sole professional judgment and expertise of qualified Specifiers and Design Professionals to adapt information to specific needs for Building Owner and the Project, who coordinate with the construction document process, and meet each applicable building codes, regulations and laws. DUPONT EXPRESSLY DISCLAIMS ANY WARRANTY, EXPRESSED OR IMPLIED, INCLUDING THE WARRANTY OF MERCHANTABILITY OR FITNESS FOR PARTICULAR PURPOSE OF THIS PRODUCT FOR THE PROJECT.

Please contact your local DuPont Tyvek Specialist at (800) 44-TYVEK or visit www.weatherization.tyvek.com.

- GENERAL

      - RELATED DOCUMENTS

Retain or delete this article in all Sections of Project Manual.

        - Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

      - SUMMARY

        - Section Includes:

Revise subparagraphs below to suit Project.

          - Commercial weather barrier assemblies.

          - Flexible flashing.

          - Weather barrier flashing.

          - Fluid-applied flashing.

          - Weather barrier accessories.

          - Drainage material.

        - Related Requirements:

Refer to "Cladding Considerations" in the DuPont Tyvek "Mechanically Fastened Air and Water Barrier Installation Guidelines" for specific weather barrier installation information and related types of cladding. See information at http://commercialspecs.tyvek.com.

Retain subparagraphs below to cross-reference requirements Contractor might expect to find in this Section but are specified in other sections. See Section 013100 "Project Management and Coordination" for preinstallation conference and LEED coordination meeting. See Section 014000 "Quality Requirements" for preconstruction testing and mockup requirements.

          - Section 042000 "Unit Masonry" for masonry ties and flashing installation.

          - Section 042613 "Masonry Veneer" for masonry ties and flashing installation.

          - Section 044200 "Exterior Stone Cladding" for stone masonry ties and flashing installation.

          - Section 044313.13 "Anchored Stone Masonry Veneer" for stone masonry ties and flashing installation.

          - Section 044313.16 "Adhered Stone Masonry Veneer" for stone masonry ties and flashing installation.

          - Section 047200 "Cast Stone Masonry" for stone masonry ties and flashing installation.

          - Section 072100 "Thermal Insulation" for installation of exterior insulation.

          - Section 072413 "Polymer-Based Exterior Insulation and Finish System (EIFS)" for installation of exterior insulation and finish system.

          - Section 072419 "Water-Drainage Exterior Insulation and Finish System (EIFS)" for installation of exterior insulation and finish system.

          - Section 074624 "Wood Shingle and Shake Siding" for installation of wood shingle and shake siding.

          - Section 074646 "Fiber-Cement Siding" for installation of fiber-cement board siding.

          - Section 092400 "Cement Plastering" for installation of stucco.

          - Section <Insert Section number and title> for <insert material or product to be installed and that requires coordination>.

      - DEFINITIONS

        - Weather Barrier: A combination of materials and accessories that do the following:

          - Prevent the accumulation of water as a water-resistive barrier.

          - Minimize the air leakage into or out of the building envelope as a continuous air barrier.

          - Provide sufficient water vapor transmission to enable drying as a vapor-permeable membrane.

        - Water-Resistive Barrier: A combination of materials and accessories that prevent the accumulation of water within the wall assembly per International Building Code Section 1403.2.

        - Continuous Air Barrier: The combination of interconnected materials, assemblies, and sealed joints and components of the building envelope that minimize air leakage into or out of the building envelope per ASHRAE 90.1 section 5.4.3.1.

        - Vapor Diffusion: A slow movement of individual water vapor molecules from regions of higher to lower water vapor concentration (higher to lower vapor pressure).

        - Vapor Permeable Membrane: The property of having a water-vapor permeance rating of 10 perms (575 ng/Pa x s x sq. m) or greater, when tested in accordance with the desiccant method using Procedure A of ASTM E96 per definition in International Building Code. Vapor permeable material permits the passage of moisture vapor through vapor diffusion.

      - PREINSTALLATION MEETINGS

        - Preinstallation Conference: Conduct conference at [Project site] <Insert location>.

          - Meet with Owner, Architect, Manufacturer's Certified Installer, [weather barrier manufacturer's designated field representative,] and installers of work that interfaces with or affects weather barrier.

          - Review methods and procedures related to weather barrier installation, including manufacturer's written instructions.

          - Review and finalize construction, and verify availability of materials, Installer's personnel, equipment, and facilities needed to make progress and avoid delays.

          - Examine substrate conditions and finishes for compliance with requirements.

          - Review flashings, special weather barrier details, weather barrier penetrations, and condition of other construction that affects weather barrier.

          - Review weather barrier manufacturer's Project Registration and Observation process.

Retain two subparagraphs below if seeking LEED EQc: Construction Indoor Air Quality Management Plan (1 Point).

          - Review Construction Indoor Air Quality Management Plan "Moisture Protection for Absorbent Materials."

          - Review temporary protection requirements for weather barrier during and after installation.

      - ACTION SUBMITTALS

        - Product Data: For each type of product.

          - For weather barrier, include data on air and water-vapor permeance based on testing in accordance with referenced standards.

Sustainable design submittals listed in first paragraph below are only those submittals that would typically be required of Contractor for projects seeking LEED certification. Coordinate list of submittals required with Project Design Team's LEED consultant; with requirements of Section 018113.xx "Sustainable Design Requirements - XX," and, if applicable, with Project's Commissioning Authority (CxA). This Guideline Specification supports LEED v4 rating systems.

        - Sustainable Design Submittals:

Retain "Test Reports" Subparagraph below if seeking LEED Energy & Atmosphere (EA) Prerequisite; Fundamental Commissioning and Verification. Full envelope commissioning is not required, unless the Project team pursues LEED EAc, Enhanced Commissioning, Option 2.

Delete "Test Reports" Subparagraph below if the Owner is responsible for field quality control testing.

          - Test Reports: Envelope testing and verification of the following:

            - Water-Spray Test.

            - Air Infiltration Test.

            - Water Penetration Test.

          - Product Data: Including the following information:

            - Provide Environmental Product Declarations (EPDs)

Retain first subparagraph below if seeking LEED Indoor Environmental Quality (EQ) Credit: Low-Emitting Materials:

            - Provide SDS (formerly MSDS), third-party certifications, or product technical data confirming that systems meet or exceed emissions guidelines for volatile organic compounds (VOCs) and hazardous air pollutants (HAPs), as follows:

Retain one or more of three subparagraphs below in accordance with Project requirements. LEED v4 Healthcare and Schools requires that exterior applied adhesives, sealants, coatings, roofing, and waterproofing applied on-site be included in VOC content calculations.

              - Commercial weather barrier complies with California Department of Public Health (CDPH) Standard.

              - Adhesives and sealants wet-applied on-site are to meet/exceed VOC content requirements for wet-applied products and comply with SCAQMD Rule 1168.

              - Flashing systems comply with SCAQMD Rule 1168 on VOC limits.

        - Shop Drawings: Show details of weather barrier at terminations, openings, and penetrations. Show details of flexible flashing applications.

Retain "Preconstruction Laboratory Mockup Testing Submittals" Paragraph below if specifying Project-specific preconstruction testing in "Preconstruction Laboratory Mockups" Paragraph as Contractor's responsibility. Testing is at the expense of the Owner or Contractor. Only retain these tests if appropriate for the Project's size, scope, and budget.

Field testing of mockups is addressed in "Field Quality Control" Article in Part 3 "Execution."

        - Preconstruction Laboratory Mockup Testing Submittals:

          - [Engage] [Owner will engage] in a third-party testing program: Develop[ed] specifically for Project.

          - Test Reports: Prepared by a qualified preconstruction testing agency for each mockup test.

          - Record Drawings: As-built drawings of preconstruction laboratory mockups showing changes made during preconstruction laboratory mockup testing.

      - INFORMATIONAL SUBMITTALS

For documents mentioned in paragraphs below, see http://commercialspecs.tyvek.com.

        - Evaluation Reports: For [weather barrier] [and] [flexible flashing], from ICC-ES.

        - Manufacturer's Instructions: For installation of each product specified.

        - Qualification Data: For Installer[ and] [laboratory mockup testing agency] [field testing agency].

        - Sample Warranty: For manufacturer's warranty.

Retain "Reports" Paragraph below if required by "Preconstruction Laboratory Mockups" Paragraph below or "Field Quality Control" Paragraph in Part 3.

        - Reports: Field test and inspection reports.

        - Installer's weather barrier manufacturer-training certificate.

      - QUALITY ASSURANCE

DuPont Weatherization Systems Certified Installers receive classroom and on-site training on proper installation techniques and safety practices from a DuPont Tyvek specialist, and must pass written and hands-on installation tests to become certified.

        - Installer Qualifications: A qualified firm that is certified by weather barrier system manufacturer to install manufacturer's product.

Retain "Laboratory Mockup Testing Agency Qualifications" Paragraph below if Project-specific preconstruction mockup testing is specified in "Preconstruction Laboratory Mockups" Paragraph.

        - Laboratory Mockup Testing Agency Qualifications: Qualified in accordance with ASTM E699 for testing indicated[ and accredited by IAS or ILAC Mutual Recognition Arrangement in compliance with ISO/IEC 17025].

Retain "Mockups" Paragraph below if an in-place or a standalone mockup of the exterior wall construction will be required. Coordinate requirements for materials in other Sections that are also part of the exterior wall assembly. If preconstruction field or lab testing of exterior wall assemblies is required, coordinate mockup requirements with "Field Quality Control" Article in this Section and with Section 014000 "Quality Requirements."

Retain "Mockups" Paragraph below if preconstruction testing is required.

        - Mockups: Build mockups to set quality standards for materials and execution.

Indicate portion of wall represented by mockup on Drawings or draw mockup as separate element.

          - Build integrated mockups of exterior wall assembly [as indicated on Drawings] [150 sq. ft. (14 sq. m)] <Insert area or dimensions>, incorporating backup wall construction, external cladding, window, storefront, door frame and sill, insulation, ties and other penetrations, and flashing to demonstrate surface preparation, crack and joint treatment, application of weather barriers, and sealing of gaps, terminations, and penetrations of air-barrier assembly.

            - Include junction with roofing membrane [building corner condition,] [and] [foundation wall intersection] [fenestration and wall interface].

            - If Architect determines mockups do not comply with requirements, reconstruct mockups and apply weather barrier until mockups are approved.

          - Approval of mockups does not constitute approval of deviations from the Contract Documents contained in mockups unless Architect specifically approves such deviations in writing.

Retain subparagraph below if the intention is to make an exception to the default requirement in Section 014000 "Quality Requirements" for demolishing and removing mockups.

          - Subject to compliance with requirements, approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

Retain "Manufacturer's Field Service" Paragraph below if retaining "Manufacturer's Product and Labor Warranty" Paragraph in "Warranty" Article. See editing notes in "Warranty" Article for additional information.

        - Manufacturer's Field Service: Register Project with weather barrier manufacturer prior to installation of weather barrier and comply with weather barrier manufacturer's Project registration and observation process.

Typically, delete "Preconstruction Laboratory Mockups" Paragraph below. Include only if Project is large, complex, or has atypical performance requirements. If retaining Paragraph, consult manufacturers and testing agencies for guidance on appropriate requirements for Project.

        - Preconstruction Laboratory Mockups:

          - Preconstruction Testing Service: [Owner will engage] [Engage] a qualified testing agency to perform testing on preconstruction laboratory mockups.

          - Build preconstruction laboratory mockups at testing agency facility; use personnel, products, and methods of construction to be used at Project site.

Usually, indicate size and other details of preconstruction laboratory mockups on Drawings. ASTM E2099 includes recommendations for minimum sizes and configurations.

            - Size and Configuration: As indicated on Drawings.

Retain first subparagraph below if required for Project.

            - Notify Architect [seven] <Insert number> days in advance of the dates and times when preconstruction laboratory mockups will be constructed and tested.

Revise example test methods and sequence of tests in "Preconstruction Laboratory Mockup Testing Program" Subparagraph below to suit Project. Coordinate with performance requirements listed in "Performance Requirements" Article in Part 2. See AAMA 501 and ASTM E2099, and consult testing laboratories' default testing methods and sequences. Coordinate test results with performance requirements for fenestration products.

          - Preconstruction Laboratory Mockup Testing Program: Test preconstruction laboratory mockups in accordance with requirements in "Performance Requirements" Article. Perform following tests on base wall to conform to ASTM E2357 Section A2.2.1.2 Specimen 2 for penetrated assemblies.

Retain one of first two subparagraphs below to evaluate water-resistance performance of assembly. Within selected subparagraph (ASTM E331 or AAMA 501.1), select a pressure option or provide another pressure as required to suit Project requirements. Pressure options below represent standard (first option) and high pressure (second option) using the corresponding testing standard. Test method duration listed is a common or standard timeframe. See fenestration manufacturer for pressure-rating limits.

            - Water Penetration by Uniform Static Air Pressure: [2.86 lb/sq. ft. (137 Pa)] [12.5 lb/sq. ft. (575 Pa)] pressure for [15] <Insert duration time>-minute duration tested in accordance with ASTM E331.

            - AAMA 501.1 Test Parameters: [2.86 lb/sq. ft. (137 Pa)] [12.5 lb/sq. ft. (575 Pa)] <Insert pressure> pressure for [15] <Insert duration time>-minute duration.

Retain "ASTM E330 Test Parameters" Subparagraph below to evaluate structural air pressure performance. Select pressure option in subparagraph, or provide another pressure as required to suit Project requirements. Pressure options below represent standard (first option) and high pressure (second option) using the corresponding testing standard. Duration listed is a common or standard timeframe for the test method. See fenestration manufacturer for pressure rating limits.

            - ASTM E330 Test Parameters: [30 lb/sq. ft. (1440 Pa)] [75 lb/sq. ft. (3500 Pa)] <Insert pressure> pressure for [10-second] <Insert duration time> duration.

If including performance of AAMA 501.5, retain "AAMA 501.5 Test Parameters" Subparagraph below. Also include a repeated test of water-resistance performance or structural air pressure performance of assembly to evaluate and maintain required performance after thermal cycling. Retain one of two cycle options in "Number of Cycles" Subparagraph below, which represent standard number (first option) and high number (second option) of cycles using AAMA 501.5.

            - AAMA 501.5 Test Parameters:

              - Cycle Temperature Range: 0 to 180 deg F (minus 18 to 82 deg C).

              - Number of Cycles: [3] [28] <Insert number of cycles>.

              - Repeat [ASTM E331] [AAMA 501] [ASTM E283] test after thermal cycling.

Edit "Test Results" Subparagraph below based on individual or collective results of above tests as required to meet system performance criteria.

            - Test Results: Laboratory mockup passes if the following results are achieved by the above tests [individually] [collectively]:

The following subparagraphs are examples only. Retain one or more of the following test results or include additional test results to suit Project requirements.

              - No water penetration.

Include definition of structural failure to suit Project requirements.

              - No structural failure.

Include definition of expansion or contraction failure to suit Project requirements.

              - No expansion or contraction failures.

              - <Insert test results>.

      - DELIVERY, STORAGE, AND HANDLING

        - Do not store near heat source or open flame.

      - WARRANTY

Manufacturers' warranties vary; some offer a product warranty, others a product and labor warranty. While not customary, a product and labor warranty can include costs of exposing weather barrier or restoring affected construction. A product and labor warranty example is provided below as "Manufacturer's Product Warranty" Paragraph. For specific details for DuPont Tyvek weatherization product warranties, seehttp://dupontspecs.tyvek.com.

Retain only one of two manufacturer warranty paragraphs below.

"Manufacturer's Product Warranty" Paragraph below covers repair or replacement of defective weather barrier only and does not cover repair and replacement of other damaged materials.

If retaining "Manufacturer's Product Warranty" Paragraph, manufacturer's field representative requirements in "Preinstallation Meetings," "Quality Assurance," and "Field Quality Control" articles may also be deleted, if Project does not require that level of support.

        - Manufacturer’s System Warranty: 10 Year Product & Labor for Rigid Insulation and Weather Barrier Product.

          - DuPont™ Commercial Wall2 System Warranty.

        - Manufacturer's Product Warranty: To repair or replace weather barrier product that fails in materials within specified warranty period.

Verify available warranties and warranty periods. DuPont weatherization products provide warranties to Builders, General Contractors, or Professional Installers.

          - Warranty Period: 10 years from date of purchase.

"Manufacturer's Product and Labor Warranty" Paragraph below covers replacement of defective weather barrier product and reasonable construction repair costs to correct problems that arise solely out of failure of manufactured weather barrier product. If retaining paragraph, also retain manufacturer's field representative requirements in "Preinstallation Meetings," "Quality Assurance," and "Field Quality Control" articles. Product and labor warranties are subject to use of manufacturer's recommended installation methods, required preconstruction meetings, and observation visits during installation along with required submittal and post-installation documentation process.

        - Manufacturer's Product and Labor Warranty: Manufacturer agrees to repair or replace weather barrier that fails in materials within specified warranty period, including removal and replacement of affected construction up to manufacturer's limits.

Verify available warranties and warranty periods.

          - Warranty Period: 10 years from date of purchase.

- PRODUCTS

Manufacturers and products listed in SpecAgent and MasterWorks Paragraph Builder are neither recommended nor endorsed by the AIA or Deltek. Before inserting names, verify that manufacturers and products listed there comply with requirements retained or revised in descriptions and are both available and suitable for the intended applications. For definitions of terms and requirements for Contractor's product selection, see Section 016000 "Product Requirements."

      - MANUFACTURERS

        - Source Limitations: Obtain weather barrier assembly components, including [weather barrier flashing] [and] [foam insulation] <Insert products> from [same manufacturer as weather barrier] [or] [manufacturer approved by weather barrier manufacturer].

      - PERFORMANCE REQUIREMENTS

High-performance installations are defined as building envelope design requirements that exceed ASTM E1677, 65 mph (104.6 km/h) equivalent structural load, and 15 mph (24.14 km/h) equivalent wind-driven rainwater infiltration resistance. Certain construction types are more appropriate for high-performance weather barrier products and installation methods.

"Low-rise construction" can be characterized by performance, utilizing ASTM E1677 as a reference point. Low-rise construction should be limited to building envelope design requirements that do not exceed ASTM E1677, 65 mph (100 km/h) equivalent structural load, and 15 mph (24 km/h) equivalent wind-driven rainwater infiltration resistance, and utilize wood-framed walls on buildings less than 60 ft. (18 m) in height.

Refer to White Paper "DuPont Tyvek Commercial Air Barrier Assemblies - ASTM E1677 vs. ASTM E2357" by Maria Spinu, Ph.D; seehttp://dupontspecs.tyvek.com.

        - General Performance: Installed weather barrier and accessories shall withstand specified wind pressures, liquid water penetration, and water vapor pressures without failure due to defective manufacture of products.

Retain "High-Performance Installations" Paragraph below for buildings 60 ft. (18 m) or more in height or for buildings of height that require a high-performance weather barrier assembly.

        - High-Performance Installations:

          - For installation with one of the following building envelope performance or structural characteristics:

            - Exceeding 65 mph (100 km/h) equivalent structural load.

            - Exceeding 15 mph (24 km/h) equivalent wind-driven rainwater infiltration.

            - Buildings with 60 ft. (18 m) or more total height above grade plane, as defined in the International Building Code.

            - Construction with gypsum or cement-based exterior sheathing.

            - Non-wood based primary structure such as steel, light gage steel, masonry, or concrete.

      - WEATHER BARRIER

        - Commercial Building Wrap: ASTM E2357 passed, ABAA (Air Barrier Association of America) evaluated air barrier assembly, and assembly water resistance per ASTM E331; with flame-spread and smoke-developed indexes of less than 25 and 450, respectively, when tested in accordance with ASTM E84; UV stabilized for nine-month exposure; and acceptable to authorities having jurisdiction.

DuPont's "Tyvek CommercialWrap" is engineered to provide excellent performance as an air and water barrier, and offers the added strength and durability needed in commercial construction. It offers nine months of UV resistance and the ideal balance of air and water protection and vapor permeability.

DuPont's "Tyvek CommercialWrap D" is a durable air and water barrier that offers a specially engineered surface texture designed to provide superior water drainage and durability under a variety of facades in climates that may require additional drainage. It offers high tear and wind load resistance, nine months of UV resistance, and the ideal balance of air and water protection and vapor permeability.

Typically. retain "Tyvek CommercialWrap" option in "Basis-of-Design Product" Subparagraph below. Retain "Tyvek CommercialWrap D" option when weather barrier is required to provide water drainage behind cladding or exterior insulation. If a two-layer weather barrier is required for enhanced drainage and protection, retain all three options below, and specify drainage product order/function in "Drainability" Subparagraph.

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

          - Basis-of-Design Product: Subject to compliance with requirements, provide DuPont de Nemours, Inc.; [Tyvek CommercialWrap] [and] [Tyvek CommercialWrap D] or comparable product by one of the following:

            - <Insert manufacturer's name>.

Retain one or more of three "System Description" Subparagraphs below. Multiple systems may be required depending on exterior finish systems used. If specifying more than one system, be sure to clearly indicate location and extent of each system on Drawings.

Retain "System Description, Single-Layer Weather Barrier" Subparagraph below when specifying "Tyvek CommercialWrap" and where no enhanced drainage is required behind cladding or exterior insulation.

          - System Description, Single-Layer Weather Barrier: Single-layer weather barrier, including flashing and sealing of penetrations and seams.

Retain "System Description, Single-Layer Drainable" Subparagraph below when specifying "Tyvek CommercialWrap D" and where drainage is required behind cladding or exterior insulation.

          - System Description, Single-Layer Drainable: Single-layer weather barrier with integral drainage, including flashing and sealing of penetrations and seams.

Retain "System Description, Double-Layer Drainable " Subparagraph below when specifying "Tyvek CommercialWrap" and "Tyvek CommercialWrap D" as parts of a double-layer system and where drainage is required behind claddings such as stucco, adhered masonry, and installation methods utilizing a lath.

          - System Description, Double-Layer Drainable: Double-layer weather barrier, including flashing and sealing of penetrations and seams, arranged as follows:

Specify either DuPont's "Tyvek CommercialWrap" or "Tyvek CommercialWrap D" as the primary layer. It makes no difference in the performance of the system which is selected as the primary layer. However, it is more efficient from a construction perspective to use the commercial wrap product that is being used on the majority of the exterior surface as the primary layer.

Retain first option in "Primary Layer" Subparagraph below when specifying "Tyvek CommercialWrap D" as primary layer; retain second option when specifying "Tyvek CommercialWrap" as primary layer.

            - Primary Layer: Commercial building wrap [with] [without] integral drainage installed closest to building interior.

Retain first option in "Secondary Layer" Subparagraph below when specifying DuPont's "Tyvek CommercialWrap D" as secondary layer; retain second option when specifying "Tyvek CommercialWrap" as secondary layer.

            - Secondary Layer: Commercial building wrap [with] [without] integral drainage installed over primary layer.

Retain "Drainability" Subparagraph below only when DuPont's "CommercialWrap D" is part of the weather barrier system; otherwise, delete.

          - Drainability: 98 percent or greater when tested in accordance with ASTM E2273.

Air-barrier performance can be shown at multiple levels: the product, assembly, and whole building level. Product general air-barrier properties are determined by ASTM E2178, where measured air is forced through the field of air-barrier membrane. Assembly air-barrier performance is measured through ASTM E2357, where membrane and accessories are pressurized and measured on various 8 by 8 ft. (2438 by 2438 mm) test walls with openings, penetrations, and seams representative of actual construction methods.

ASTM E2357 is far more stringent than requirements in ASTM E1677 assembly test, which allows for 50 percent more air infiltration than limit for air barriers in many energy codes. Results of ASTM E2357 can also be third-party evaluated via the ABAA. Whole-building air performance can be verified through ASTM E779 and should be coordinated with "Field Quality Control Testing" Paragraph in Part 3, as well as Section 014000 "Quality Requirements."

Product air-permeance units can be shown in many ways, such as a value of 0.001 cfm/sq. ft. at 0.3 inch wc, which is equal to the value specified in "Air Permeance, Product" Subparagraph below. Only the unit of measure is different. If needed, the value of 0.001 cfm/sq. ft. at 0.3 inch wc can be used instead of that indicated in "Air Permeance, Product" Subparagraph.

Retain first option in "Air Permeance, Product" Subparagraph below for DuPont's "Tyvek CommercialWrap"; retain second option for "Tyvek CommercialWrap D."

          - Air Permeance, Product: Not more than [0.001 cfm/sq. ft. at 1.57 lbf/sq. ft. (0.005 L/s x sq. m at 75 Pa)] [0.004 cfm/sq. ft. at 1.57 lbf/sq. ft. (0.02 L/s x sq. m at 75 Pa)] when tested in accordance with ASTM E2178.

          - Air Permeance, Assembly: Not more than 0.04 cfm/sq. ft. at 1.57 lbf/sq. ft. (0.2 L/s x sq. m at 75 PA) when tested in accordance with ASTM E 2357 and evaluated by ABAA.

Water-resistance performance can be shown at multiple levels: the product, assembly, and field test. Product must resist water penetration through membrane from hydrostatic pressure from water columns using AATTC 127.

Assembly water penetration can use the same lab-based representative construction assemblies as described above for ASTM E2357, and then apply calibrated water spray on the depressurized wall to draw water into vulnerable joints using ASTM E331. Field or project water testing can also be performed to mirror lab assembly using ASTM E1105.

Coordinate ASTM E1105 requirements with ASTM E331 values in "Water Penetration Resistance, Product" Subparagraph below, and with "Water Penetration" Subparagraph in "Field Quality Control Testing" Paragraph in Part 3.

          - Water Penetration Resistance, Product: Hydrostatic head resistance greater than 7.7 ft. (2.35 m) in accordance with AATTC 127.

Coordinate with design pressure to be specified for window systems. Specified value selected below should not be greater than pressure specified for window systems.

          - Water Penetration Resistance, Assembly: Assembly wall specimen described in ASTM E2357 to water resistance in accordance with ASTM E331 to [2.86 lbf/sq. ft. (137 Pa)] [6.24 lbf/sq. ft. (300 Pa)] [10.4 lbf/sq. ft. (500 Pa)] [12.5 lbf/sq. ft. (575 Pa)] [15 lbf/sq. ft. (718 Pa)].

Refer to White Paper "Vapor Permeable or Impermeable Building Envelope Materials. Does It Matter?" by Maria Spinu, Ph.D. for information regarding moisture vapor control through the building envelope. Seehttp://dupontspecs.tyvek.com.

Select one of two "Water-Vapor Permeance" subparagraphs below based on product used in single-layer system or as the primary layer used in double-layer system.

Procedure A							Procedure B

US perms		ng/(Pa s sq. m)			US perms		ng/(Pa s sq. m)

CommercialWrap			23				1300					28				1600

CommercialWrap D		30				1700					46				2600

Retain first Water-Vapor Permeance" Subparagraph below if specifying DuPont's "CommercialWrap" in single-layer system or as primary layer used in double-layer system.

          - Water-Vapor Permeance: Not less than 23 perms (1300 ng/Pa x s x sq. m) per ASTM E96/E96M, Desiccant Method (Procedure A) or not less than 28 perms (1600 ng/Pa x s x sq. m) per ASTM E96/E96M, Water Method (Procedure B).

Retain "Water-Vapor Permeance" Subparagraph below if specifying DuPont's "CommercialWrap D" in single-layer system or as primary layer used in double-layer system.

          - Water-Vapor Permeance: Not less than 30 perms (1700 ng/Pa x s x sq. m) per ASTM E96/E96M, Desiccant Method (Procedure A) or not less than 46 perms (2600 ng/Pa x s x sq. m) per ASTM E96/E96M, Water Method (Procedure B).

          - Allowable UV Exposure Time: Not less than nine months when tested in accordance with ASTM G155 (Accelerated Weathering).

Retain "Flame Propagation Test" Subparagraph below if required. For NFPA 285 compliant assemblies using DuPont's "Tyvek Commercial Air & Water Barriers," seehttp://commercialspecs.tyvek.com. Coordinate with Division 01 General Requirements for assembly and building compliance.

          - Flame Propagation Test: Materials and construction shall be as tested in accordance with NFPA 285.

          - Heat and Visible Smoke Release Rates: Maximum rates in accordance with NFPA 285.

            - Peak Heat Release: 13,217 Btu/sq. ft. (150 kW/sq. m).

            - Total Heat Release: 1762 Btu/sq. ft. (20 MJ/sq. m).

            - Effective Heat of Combustion: 7744 Btu/lb (18 MJ/kg).

Retain subparagraph below if required for LEED credits.

          - Weather barrier system to have a VOC content of 30 g/L or less.

      - WEATHER BARRIER FLASHING

Flashing adhesives are typically made from modified-asphalt (bitumen) or butyl-rubber compounds, and with a release liner. Accelerated weathering with UV light, heat, and moisture degrades flashings with asphalt adhesives significantly more than those with DuPont's butyl-based adhesives.

Conformable flashing is flexible and has butyl adhesive on one side. Conformable flashing can be stretched to seamlessly cover complex shapes like round-top or custom-shaped windows, 3-D sill protection, and wall interruptions such as dryer vents and hose bibs.

        - Conformable Weather Barrier Flashing: Composite flashing material composed of micro-creped, polyethylene laminate with a 100 percent butyl-based adhesive layer; AAMA 711 Class A (no primer), Level 3 thermal exposure, 176 deg F (80 deg C) for seven days.

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

          - Basis-of-Design Product: Subject to compliance with requirements, provide DuPont de Nemours, Inc.; FlexWrap NF or comparable product by one of the following:

            - <Insert manufacturer's name>.

          - Conformability: Able to create a seamless sill pan extending up the jambs without cuts, patches, or fasteners.

ASTM E331 applies to water penetration testing of exterior windows, skylights, doors, and curtain walls.

          - Water Penetration: No leakage at 15 psf (720 Pa) per ASTM E331.

          - Low Temperature Adhesion: Exceeds minimum value of 1.5 lb./in. (0.26N/mm) at 25 deg F (minus 4 deg C) as Class A (without primer use).

          - Adhesion After Water Immersion: Exceeds minimum value of 1.5 lb./in. (0.26N/mm), after AAMA 800, Sections 2.4.1.3.1/2.4.1.4.3, Test B.

Strip flashing is flexible and has butyl adhesive on one side for DuPont's "StraightFlash," which is typically used at jambs and heads of rectangular windows. "StraightFlash VF" (versatile flange) has butyl adhesive on portions of two sides of flashing and is typically used at brick-mold windows and doors.

        - Strip Flashing: Composite flashing material composed of spunbonded polyethylene laminate with 100 percent butyl-based, dual-sided, adhesive layer; AAMA 711, Class A (no primer), Level 3 thermal exposure, 176 deg F (80 deg C) for seven days.

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

          - Basis-of-Design Product: Subject to compliance with requirements, provide DuPont de Nemours, Inc.; [StraightFlash] [StraightFlash VF] or comparable product by one of the following:

            - <Insert manufacturer's name>.

ASTM E331 applies to water penetration testing of exterior windows, skylights, doors, and curtain walls.

          - Water Penetration: No leakage at 15 psf (720 Pa) per ASTM E331.

          - Low Temperature Adhesion: Exceeds minimum value of 1.5 lb./in. (0.26N/mm) at 25 deg F (minus 4 deg C) as Class A without primer use.

          - Adhesion After Water Immersion: Exceeds minimum value of 1.5 lb./in. (0.26N/mm), after AAMA 800, Sections 2.4.1.3.1/2.4.1.4.3, Test B.

      - WEATHER BARRIER ACCESSORIES

        - Building-Wrap Tape: as recommended by weather barrier manufacturer for sealing joints and penetrations in commercial building wrap.

Retain "Basis-of-Design Product" Subparagraph below to identify a specific product or a comparable product.

          - Basis-of-Design Product: Subject to compliance with requirements, provide DuPont de Nemours, Inc.; DuPont™ Flashing Tape or comparable product.

        - Closed-Cell Polyurethane Foam Insulation: Low-pressure, low-expansion, single-component polyurethane foam, with maximum flame-spread and smoke-developed indexes of 15 and 25, respectively, per ASTM E84.

Retain "Basis-of-Design Product" Subparagraph below to identify a specific product or a comparable product.

          - Basis-of-Design Product: Subject to compliance with requirements, provide DuPont de Nemours, Inc.; Great Stuff Pro Window & Door or comparable product.

Retain second option in "Fasteners with Self-Gasketing Washers" Paragraph below for high-performance applications.

        - Fasteners

Retain "Basis-of-Design Product" Subparagraph below to identify a specific product or a comparable product.

          - Basis-of-Design Product: Subject to compliance with requirements, Provide Rodenhouse Thermal-Grip Flat Washer Fastener as required by Manufacturer’s system warranty.

        - Primer for Flashings: Synthetic rubber-based product; spray applied. Strengthen adhesive bond at low temperature applications between weather products such as self-adhered flashing products, commercial building wraps, and common building sheathing materials.

Retain "Basis-of-Design Product" Subparagraph below to identify a specific product or a comparable product.

          - Basis-of-Design Product: Subject to compliance with requirements, provide DuPont de Nemours, Inc.; DuPont Adhesive Primer or comparable product.

          - Peel Adhesion Test: Passes in accordance with ASTM D3330, Test Method F, for the following.

            - Peel Angles: 0, 25, 72, and 180 degrees.

            - Substrates: Concrete masonry units (CMUs), exterior gypsum sheathing, oriented strand board (OSB), aluminum, and vinyl.

          - Chemical Compatibility: Pass; AAMA 713.

          - Flame Spread Index: 5; ASTM E84.

          - Smoke Development Index: 0; ASTM E84.

- EXECUTION

      - EXAMINATION

        - Examine substrates, with Installer present, for compliance with requirements.

        - Verify that substrate and surface conditions are in accordance with commercial weather barrier manufacturer recommendations prior to installation.

          - Verify that rough sill framing for doors and windows is sloped downwards towards the exterior and is level across width of the opening.

        - Verify that surfaces to receive weather barrier flashing are clean, dry, and free of frost.

        - Proceed with installation only after unsatisfactory conditions have been corrected.

      - PREPARATION

        - Direct water onto an acceptable weather barrier drainage plane with an unobstructed path to exterior of wall.

          - Provide a drainage path for water intrusion through window and door attachment system that collects at window and door sills and directs water to the exterior or weather barrier.

      - COMMERCIAL BUILDING WRAP INSTALLATION

        - General: Comply with weather barrier manufacturer's written installation guidelines and warranty requirements.

        - Cover exposed exterior surface of sheathing with weather barrier securely fastened to framing immediately after sheathing is installed.

          - Maintain continuity of air and water barrier assemblies.

          - Start weather barrier installation at a building corner, leaving 12 inches (300 mm) of weather barrier extended beyond corner to overlap.

          - Install weather barrier horizontally starting at lower portion of wall surface.

          - Provide minimum 6 inches (150 mm) overlap at horizontal- and vertical-wrap seams in a shingle manner to maintain continuous downward drainage plane and air and water barrier.

        - Seams: Seal seams with building wrap tape per manufacturer's recommended installation instructions.

          - Shiplap horizontal seams in weather barrier to facilitate proper drainage.

        - Fasteners: Use weather barrier manufacturer's recommended fasteners to secure weather barrier and install fasteners according to weather barrier manufacturer's installation guidelines.

          - Do not use temporary fasteners to permanently attach weather barrier.

          - Do not place fasteners with gasketing washers where weather barrier flashing will be installed.

          - Install fasteners with gasketing washers through flashing where recommended by manufacturer.

        - Openings: Completely cover openings with weather barrier, then cut weather barrier membrane to openings in accordance with weather barrier manufacturer's installation guidelines.

          - Provide head and jamb flaps and seam overlaps to maintain continuous drainage.

          - Repair damage to weather barrier using method recommended by weather barrier manufacturer.

          - Install flashing in accordance with weather barrier manufacturer's installation guidelines.

      - WEATHER BARRIER FLASHING INSTALLATION

        - Installation: Remove wrinkles and bubbles, reposition weather barrier as necessary to produce a uniform, smooth surface.

          - Ensure that ambient and substrate surface temperatures are acceptable in accordance with manufacturer instructions and recommendations.

          - Wipe surfaces to remove moisture, dirt, grease and other debris that could interfere with adhesion.

          - Apply weather barrier manufacturer's recommended primer over concrete, masonry, and glass-mat gypsum wall sheathing substrates to receive weather barrier flashing.

          - Lap weather barrier flashing a minimum of 2 inches (50 mm) onto weather barrier.

          - Apply pressure over entire surface using roller or firm hand pressure

        - Rough Openings: Shiplap flashing with weather barrier in a shingle manner to maintain a continuous downward drainage plane and air and water barrier in accordance with manufacturer's written instructions.

Retain first option in first subparagraph below for stud framing that is nominally 4 inches (100 mm) thick. Retain second option for stud framing that is nominally 6 inches (150 mm) thick.

          - Apply [6-inch- (150-mm-)] [9-inch- (230-mm-)] wide conformable weather barrier flashing at door and window sills.

          - Ensure that sill flashing does not slope to the interior.

          - Install backer rod in joint between frame of opening product and flashed rough opening on the interior.

          - Apply sealant or closed-cell polyurethane foam insulation around entire opening/fenestration product to create air seal around interior perimeter of window openings in accordance with weather barrier manufacturer's instructions.

Weather barrier flashing selection and application methods are specific to type of opening product and rough opening configuration. When building envelope design requirements exceed ASTM E1677, 65 mph equivalent structural load, and 15 mph equivalent wind-driven rainwater infiltration resistance, use DuPont's butyl-based "StraightFlash" and wrap cap screws in subparagraphs below.

          - Around door and window openings, apply butyl-based flashing to flaps of weather barrier.

          - Use strip flashing with wrap cap screws to secure head flap of the windows.

Retain "Penetrations" Paragraph below for high-performance installations where performance requirements exceed those established by ASTM E1677. Otherwise, delete this paragraph. Coordinate with "Performance Requirements" Article in Part 2.

        - Penetrations: Apply weather barrier manufacturer's recommended weather barrier flashing patches behind fastening plates, such as brick-tie base plates, metal-flashing clips, and metal channels.

          - Seal weather barrier around each penetration with weather barrier manufacturer's recommended self-adhered flashing product or sealant. Integrate products with flanges into the weather barrier.

        - Terminations: Provide minimum 2 inches (50 mm) overlap using strip flashing on adjoining roof and base of wall systems to maintain continuous downward drainage plane.

          - Secure weather barrier with fasteners and weather barrier flashing.

Retain "Fluid-Applied Flashing Installation" Article below for DuPont's "Tyvek Fluid Applied Flashing & Joint Compound+" used in conjunction with "CommercialWrap" or "CommercialWrap D."

      - FLUID-APPLIED FLASHING INSTALLATION

        - General: Before installing fluid-applied flashing, do the following:

          - Ensure drainage path is not blocked or disrupted. Do not install on walls that do not feature a continuous path for moisture drainage. Blocked or disrupted paths for drainage can result in excess moisture buildup in wall cavity. Do not install below grade.

          - Verify that surface is free of grease and other contaminants and that surface is smooth.

        - Fluid-Applied Flashing Installation: Using a trowel or brush, apply fluid-applied flashing around perimeter of recessed window and door openings to a minimum thickness of 25 mils (0.635 mm).

          - Extend flashing a minimum of 2 inches (50 mm) onto top of transition membrane.

          - Inspect for gaps and pinholes in fluid-applied flashing and apply additional coats until no gaps and pinholes appear.

          - Joint Applications: Using a trowel or a brush, fill cracks and voids up to 1/4 inch (6 mm) in width.

            - For joints and cracks between 1/4 and 1/2 inch (6 and 12 mm) wide, cover first with mesh tape.

            - For joints and cracks between 1/2 and 1 inch (12 and 24 mm) wide, cover first with butyl-based strip flashing.

            - Apply a bead, then trowel smooth.

            - Seam coverage should be a minimum of 2 inches (50 mm) wide and 15 to 20 mils (0.38 to 0.51 mm) thick.

            - Inspect for gaps and pinholes in fluid-applied flashing and apply additional coats until no gaps and pinholes appear.

      - DRAINAGE MATERIAL INSTALLATION

        - Install drainage material with grooves or channels running vertically in compliance with manufacturer's written instructions.

Retain "Field Quality Control" Article below for testing of weather barrier during installation or for testing of field mockups. Note that services are not provided by weather barrier manufacturer or designated field representative.

      - FIELD QUALITY CONTROL

Retain "Manufacturer's Field Service" Paragraph below if retaining "Manufacturer's Product and Labor Warranty" Paragraph in "Warranty" Article in Part 1. See editing notes in "Warranty" Article for additional information. Testing agency is at expense of Owner or Contractor.

        - Manufacturer's Field Service: Engage a factory-authorized service representative to train installers and observe subject test-wall areas and installations.

        - Testing Agency: [Owner will engage] [Engage] a qualified third-party testing agency to perform tests and inspections.

        - Test Area: Perform tests on [one bay at least 30 ft. (9.15 m), by one story] [representative areas of structural-sealant-glazed curtain walls] [mockups] <Insert requirements>.

        - Field Quality Control Testing: Perform the following test on [representative areas of structural-sealant-glazed curtain walls] [mockups] <Insert requirements>.

In "Air Infiltration Whole Building" Subparagraph below, first option meets minimum code requirements in accordance with ASHRAE 90.1. Second and third options are often required by United States Army Corps of Engineers and by some state building codes. Consult local authorities having jurisdiction to verify air-infiltration requirements before editing.

          - Air Infiltration Whole Building: ASTM E779 at not more than [0.40 cfm/sf (2.00 L/s per sq. m)] [0.25 cfm/sf (1.25 L/s per sq. m)] [0.15 cfm/sf (0.75 L/s per sq. m)] at 1.57 lb/sq. ft. (75 Pa).

Coordinate test result values below with those called out in "Water Penetration Resistance, Assembly" Subparagraph in "Weather Barrier" Article in Part 2.

          - Water Penetration: ASTM E1105 at a minimum [uniform] [and] [cyclic] static-air-pressure differential of 0.67 times the static-air-pressure differential specified for laboratory testing in "Performance Requirements" Article, but not less than [2.86 lbf/sq. ft. (137 Pa)] [6.24 lbf/sq. ft. (300 Pa)] [10.0 lbf/sq. ft. (500 Pa)] [12.5 lbf/sq. ft. (600 Pa)]. No water penetration shall occur as defined in ASTM E1105.

Retain one of two subparagraphs below.

            - Perform a minimum of [two] [three] <Insert number> tests in areas as directed by Architect.

            - Perform tests in each test area as directed by Architect. Perform at least three tests, prior to [10, 30, and 70 percent completion] <Insert requirements>.

Retain "Test and Inspection Reports" Paragraph below if Contractor is responsible for engaging a qualified testing agency to perform tests and inspections; otherwise, delete paragraph.

        - Test and Inspection Reports: Prepare test and inspection reports.

      - CLEANING

        - Immediately remove release paper and scrap from work area and dispose of material in accordance with requirements of [Section 017300 "Execution."] [Section 017419 "Construction Waste Management and Disposal."] [Section 017300 "Execution" and Section 017419 "Construction Waste Management and Disposal."]

      - PROTECTION

        - Protect installed weather barrier from the following:

          - Damage from cladding, structure, or a component of the structure (for example, window, door, or wall system).

          - Contamination from building site chemicals, premature deterioration of building materials, or nonstandard use or application of products.

          - Foreign objects or agents, including the use of materials incompatible with weather barrier products.

          - UV exposure in excess of products' stated limits.

END OF SECTION 072500

Retain section 072800 FLUID-APPLIED MEMBRANE AIR AND WATER BARRIERS when specifying DuPont Tyvek Fluid Applied WB+ weather-resistive barrier.

SECTION 072800 - FLUID-APPLIED MEMBRANE AIR AND WATER BARRIERS

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

DuPont de Nemours, Inc.'s Guide Specifications have been written as an aid to the professionally qualified Specifier and Design Professional. Use of this Guideline Specification requires the sole professional judgment and expertise of the qualified Specifier and Design Professional to adapt the information to the specific needs for the Building Owner and the Project, to coordinate with their Construction Document Process, and to meet all the applicable building codes, regulations, and laws. DUPONT EXPRESSLY DISCLAIMS ANY WARRANTY, EXPRESSED OR IMPLIED, INCLUDING THE WARRANTY OF MERCHANTABILITY OR FITNESS FOR PARTICULAR PURPOSE OF THIS PRODUCT FOR THE PROJECT.

Please contact your local "DuPont Tyvek" Specialist at 1-800-44-Tyvek or visit www.fluidapplied.tyvek.com.

- GENERAL

      - RELATED DOCUMENTS

Retain or delete this article in all Sections of Project Manual.

        - Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

      - SUMMARY

        - Section includes vapor-permeable, fluid-applied air and water barriers.

        - Related Requirements:

Refer to "Facade/Exterior Considerations" in DuPont's "Tyvek Fluid Applied WB+ Wall and Substrate Guidelines" for specific weather barrier installation information for related types of cladding. See information at http://commercialspecs.tyvek.com.

Retain subparagraphs below to cross-reference requirements Contractor might expect to find in this Section but are specified in other Sections.

Coordinate with Section 013100 "Project Management and Coordination" for preinstallation conference and LEED coordination meeting. Coordinate with Section 014000 "Quality Requirements" for preconstruction testing and mockup requirements.

          - Section 042000 "Unit Masonry" for masonry ties and flashing installation.

          - Section 042613 "Masonry Veneer" for masonry ties and flashing installation.

          - Section 044200 "Exterior Stone Cladding" for stone masonry ties and flashing installation.

          - Section 044313.13 "Anchored Stone Masonry Veneer" for stone masonry ties and flashing installation.

          - Section 044313.16 "Adhered Stone Masonry Veneer" for stone masonry ties and flashing installation.

          - Section 047200 "Cast Stone Masonry" for stone masonry ties and flashing installation.

          - Section 061600 "Sheathing" for wall sheathings and wall sheathing joint-and-penetration treatments.

          - Section 072100 "Thermal Insulation" for installation of exterior insulation.

          - Section 072413 "Polymer-Based Exterior Insulation and Finish System (EIFS)" for installation of exterior insulation and finish system.

          - Section 072419 "Water-Drainage Exterior Insulation and Finish System (EIFS)" for installation of exterior insulation and finish system.

          - Section 072500 "Weather Barriers" for weather barriers, including [building paper] [flexible flashing] [and] [building wraps with air-barrier properties].

          - Section 074624 "Wood Shingle and Shake Siding" for installation of wood shingle and shake siding.

          - Section 074646 "Fiber-Cement Siding" for installation of fiber-cement board siding.

          - Section 092400 "Cement Plastering" for installation of stucco.

      - DEFINITIONS

Retain terms that remain after this Section has been edited for a project.

        - Weather Barrier: A combination of materials and accessories that do the following:

          - Prevent the accumulation of water as a water-resistive barrier.

          - Minimize the air leakage into or out of the building envelope as a continuous air barrier.

          - Provide sufficient water vapor transmission to enable drying as a vapor-permeable membrane.

        - Water-Resistive Barrier: A combination of materials and accessories that prevent the accumulation of water within the wall assembly in accordance with IBC Section 1403.2.

            - Primary Layer: Water-resistive barrier (fluid-applied) installed closest to building interior with all flashings and terminations integrated to this layer.

            - Secondary Layer: Outermost part of a double-layer system and where drainage is required behind claddings such as stucco, adhered masonry, and installation methods utilizing a lath.

        - Continuous Air Barrier: The combination of interconnected materials, assemblies, and sealed joints and components of the building envelope that minimize air leakage into or out of building envelope in accordance with ASHRAE 90.1 Section 5.4.3.1.

        - Vapor-Permeable Membrane: The property of having a water-vapor permeance rating of 10 perms or greater, when tested in accordance with the desiccant method using Procedure A of ASTM E96 in accordance with definition in International Building Code. Vapor-permeable material permits passage of moisture vapor through vapor diffusion.

        - Vapor Diffusion: A slow movement of individual water vapor molecules from regions of higher to lower water vapor concentration (higher to lower vapor pressure).

      - PREINSTALLATION MEETINGS

        - Preinstallation Conference: Conduct conference at [Project site] <Insert location>.

          - Meet with Owner, Architect, Manufacturer's Certified Installer, [weather barrier manufacturer's designated field representative, ]and installers of work that interfaces with or affects weather barrier.

          - Review methods and procedures related to weather barrier installation, including manufacturer's written instructions.

          - Review and finalize construction, and verify availability of materials, Installer's personnel, equipment, and facilities needed to make progress and avoid delays.

          - Examine substrate conditions and finishes for compliance with requirements.

          - Review flashings, special weather barrier details, weather barrier penetrations, and condition of other construction that affects weather barrier.

          - Review weather barrier manufacturer's Project registration and observation process.

Retain two subparagraphs below if seeking LEED EQc: Construction Indoor Air Quality Management Plan (1 point), Construction "Moisture Protection for Absorbent Materials."

          - Review Construction Indoor Air Quality Management Plan "Moisture Protection for Absorbent Materials."

          - Review temporary protection requirements for weather barrier during and after installation.

      - ACTION SUBMITTALS

        - Product Data: For each type of product.

          - For weather barrier, include data on air and water-vapor permeance based on testing in accordance with referenced standards.

        - Sustainable Design Submittals:

Retain "Test Reports" Subparagraph below if seeking LEED Energy & Atmosphere (EA) Prerequisite; Fundamental Commissioning and Verification. Full envelope commissioning is not required unless the Project team pursues LEED EAc, Enhanced Commissioning, Option 2.

Delete "Test Reports" Subparagraph below if Owner is responsible for Field Quality Control Testing.

          - Test Reports: Envelope testing and verification of the following:

            - Water-Spray Test.

            - Air Infiltration Test.

            - Water Penetration Test.

          - Product Data: Including the following information:

            - Provide Environmental Product Declarations (EPDs).

Retain first subparagraph below if seeking LEED Indoor Environmental Quality (EQ) Credit: Low-Emitting Materials.

            - SDS (formerly MSDS), third-party certifications, or product technical data confirming systems that meet or exceed emissions guidelines for volatile organic compounds (VOCs) and hazardous air pollutants (HAPs), as follows:

Retain one or more of three subparagraphs below in accordance with Project requirements. LEED v4 Healthcare and LEED v4 Schools require that exterior applied adhesives, sealants, coatings, roofing, and waterproofing applied on-site be included in VOC content calculations.

              - Commercial weather barrier complies with California Department of Public Health (CDPH) Standard.

              - Adhesives and sealants wet-applied on-site that meet/exceed VOC content requirements for wet-applied products comply with SCAQMD Rule 1168.

              - Flashing systems comply with SCAQMD Rule 1168 on VOC limits.

Retain "Preconstruction Laboratory Mockup Testing Submittals" Paragraph below if specifying Project-specific preconstruction testing in "Preconstruction Laboratory Mockups" Paragraph as Contractor's responsibility. Testing agency is at expense of Owner or Contractor. Only retain these tests if appropriate for Project's size, scope, and budget.

Field testing of mockups is addressed in "Field Quality Control" Article in Part 3.

        - Preconstruction Laboratory Mockup Testing Submittals:

          - [Engage] [Owner will engage] in a third-party testing program: Develop[ed] specifically for Project.

          - Test Reports: Prepared by a qualified preconstruction testing agency for each mockup test.

          - Record Drawings: As-built drawings of preconstruction laboratory mockups showing changes made during preconstruction laboratory mockup testing.

        - Shop Drawings:

          - Show details of weather barrier at terminations, openings, and penetrations.

          - Show details of weather barrier applications.

      - INFORMATIONAL SUBMITTALS

Information described in paragraphs below can be found at http://commercialspecs.tyvek.com.

        - Manufacturer's Instructions: For installation of each product specified.

        - Qualification Data: For Installer[ and laboratory mockup testing agency] [ and field testing agency].

        - Sample Warranty: For manufacturer's warranty.

Retain "Reports" Paragraph below if required by "Preconstruction Laboratory Mockups" Paragraph or "Field Quality Control" Article.

        - Reports: Field test and inspection reports.

        - Installer's weather barrier manufacturer training certificate.

      - QUALITY ASSURANCE

DuPont weatherization systems certified installers receive classroom and on-site training on proper installation techniques and safety practices from a DuPont Tyvek Specialist, and must pass written and hands-on installation tests to become certified.

        - Installer Qualifications: A qualified firm that is certified by weather barrier system manufacturer to install manufacturer's product.

Retain "Laboratory Mockup Testing Agency Qualifications" Paragraph below if Project-specific preconstruction mockup testing is specified in "Preconstruction Laboratory Mockup Testing Submittals" Paragraph above.

        - Laboratory Mockup Testing Agency Qualifications: Qualified in accordance with ASTM E699 for testing indicated[ and accredited by IAS or ILAC Mutual Recognition Arrangement as complying with ISO/IEC 17025].

Retain "Mockups" Paragraph below if in-place or standalone mockup of exterior wall construction is required. Coordinate requirements for materials in other Sections that are part of exterior wall assembly. If preconstruction field or lab testing of exterior wall assemblies is required, coordinate mockup requirements with "Field Quality Control" Article in Part 3 and Section 014000"Quality Requirements."

Retain "Mockups" Paragraph below if preconstruction testing is required.

        - Mockups: Build mockups to set quality standards for materials and execution.

Indicate portion of wall represented by mockup on Drawings or draw mockup as separate element.

          - Build integrated mockups of exterior wall assembly [as indicated on Drawings] [, 150 sq. ft. (14 sq. m)] <Insert requirement>, incorporating backup wall construction, external cladding, window, storefront, door frame and sill, insulation, ties and other penetrations, and flashing to demonstrate surface preparation, crack and joint treatment, application of air barriers, and sealing of gaps, terminations, and penetrations of air-barrier assembly.

            - Include junction with roofing membrane[, building corner condition,] [and] [foundation wall intersection] [fenestration and wall surface].

            - If Architect determines that mockups do not comply with requirements, reconstruct mockups and apply weather barrier until mockups are approved.

          - Approval of mockups does not constitute approval of deviations from the Contract Documents contained in mockups unless Architect specifically approves such deviations in writing.

Retain subparagraph below if the intention is to make an exception to the default requirement in Section 014000 "Quality Requirements" for demolishing and removing mockups.

          - Subject to compliance with requirements, approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

Typically, delete "Preconstruction Laboratory Mockups" Paragraph below. Include only if Project is large, complex, or has atypical performance requirements. If retaining this paragraph, consult manufacturers and testing agencies for guidance on appropriate requirements for Project.

        - Preconstruction Laboratory Mockups:

          - Preconstruction Testing Service: [Owner will engage] [Engage] a qualified testing agency to perform testing on preconstruction laboratory mockups.

          - Build preconstruction laboratory mockups at testing agency facility; use personnel, products, and methods of construction that will be used at Project site.

Usually, indicate size and other details of preconstruction laboratory mockups on Drawings. ASTM E2099 includes recommendations for minimum sizes and configurations.

            - Size and Configuration: As indicated on Drawings.

Retain first subparagraph below if required for Project.

            - Notify Architect [seven] <Insert number> days in advance of the dates and times when preconstruction laboratory mockups will be constructed and tested.

Revise example test methods and sequence of tests in "Preconstruction Laboratory Mockup Testing Program" Subparagraph below to suit Project. Coordinate with performance requirements in "Performance Requirements" Article in Part 2. See AAMA 501 and ASTM E2099, and consult testing laboratories' default testing methods and sequences. Coordinate test results with performance requirements for fenestration products.

          - Preconstruction Laboratory Mockup Testing Program: Test preconstruction laboratory mockups in accordance with requirements in "Performance Requirements" Article in Part 2. Perform the following tests on base wall to conform to ASTM E2357 Section A2.2.1.2 Specimen 2 for penetrated assemblies.

Retain "ASTM E331 Test Parameters" or "AAMA 501.1 Test Parameters" Subparagraph below to evaluate water-resistance performance of assembly. Within selected subparagraph, select pressure option or provide another pressure as required to suit Project requirements. Pressure options below represent standard (first option) and high pressure (second option) using corresponding testing standard. Duration listed is a common or standard timeframe for the test method. See fenestration manufacturer for pressure rating limits.

            - ASTM E331 Test Parameters: [2.86 psf (137 Pa)] [15 psf (718 Pa)] pressure for [15] <Insert time>-minute duration.

            - AAMA 501.1 Test Parameters: [2.86 psf (137 Pa)] [15 psf (718 Pa)] <Insert pressure> pressure for [15] <Insert time>-minute duration.

Retain first subparagraph below to evaluate Structural Air Pressure Performance. Select a pressure option or provide another pressure as required to suit Project requirements. Pressure options below represent standard (first option) and high pressure (second option) using corresponding testing standard. Duration listed is a common or standard timeframe for the test method. See fenestration manufacturer for pressure rating limits.

            - ASTM E330 Test Parameters: [30 psf (1440 Pa)] [75 psf (3500 Pa)] <Insert pressure> pressure for [10-second] <Insert time> duration.

If including performance of AAMA 501.5, also include a repeated test of water-resistance performance or structural air pressure performance of the assembly to evaluate and maintain required performance after-thermal cycling. Retain one of two cycle options in "Number of Cycles" Subparagraph below, which represent the standard (first option) and high number (second option) of cycles using AAMA 501.5.

            - AAMA 501.5 Test Parameters:

              - Cycle Temperature Range: 0 to 180 deg F (-18 to +82 deg C).

              - Number of Cycles: [3] [28] <Insert number of cycles>.

              - Repeat test [ASTM E331] [AAMA 501] [ASTM E330] after thermal cycling.

Edit "Test Results" Subparagraph below based on individual or collective results of above tests as required to meet system performance criteria.

            - Test Results: Laboratory mockup passes if the following results are achieved by the above tests [individually][collectively]:

The following subparagraphs are examples only. Retain one or more of the following test results or include additional test results to suit Project requirements.

              - No water penetration.

Include definition of structural failure to suit Project requirements.

              - No structural failure.

Include definition of expansion or contraction failure to suit Project requirements.

              - No expansion or contraction failures.

              - <Insert test results>

Retain "Manufacturer's Field Service" Paragraph below if retaining "Manufacturer's Product Warranty" Paragraph in "Warranty" Article below. See editing notes in "Warranty" Article for additional information.

        - Manufacturer's Field Service: Register Project with weather barrier manufacturer prior to installation of weather barrier and comply with weather barrier manufacturer's Project Registration and Observation process.

      - DELIVERY, STORAGE, AND HANDLING

        - Remove and replace liquid materials that cannot be applied within their stated shelf life.

        - Protect stored materials from direct sunlight.

        - Store in a dry environment between 50 and 80 deg F (10 and 27 deg C).

      - WARRANTY

"Manufacturer's Product Warranty" Paragraph below covers repair or replacement of defective weather barrier only and does not cover repair and replacement of other damaged materials. Specific details for "DuPont Tyvek Weatherization" product warranties can be found at http://commercialspecs.tyvek.com.

If retaining paragraph below, retain manufacturer's field representative requirements in "Preinstallation Meetings" and "Quality Assurance" articles in Part 1, and the "Field Quality Control" Article in Part 3.

        - Manufacturer’s System Warranty for 10 Year Product & Labor for Insulation and WRB.

          - DuPont™ Commercial Wall2 System Warranty.

        - Manufacturer's Product Warranty: Manufacturer agrees to repair or replace weather barrier product that fails in materials within specified warranty period.

Verify available warranties and warranty periods. DuPont's weatherization products provide warranties to Builders, General Contractors, or Professional Installers.

          - Warranty Period: 10 years from date of product purchase.

- PRODUCTS

Manufacturers and products listed in SpecAgent and MasterWorks Paragraph Builder are neither recommended nor endorsed by the AIA or Deltek. Before inserting names, verify that manufacturers and products listed there comply with requirements retained or revised in descriptions and are both available and suitable for the intended applications. For definitions of terms and requirements for Contractor's product selection, see Section 016000 "Product Requirements."

      - MANUFACTURERS

        - Source Limitations: Obtain weather barrier assembly components, including weather barrier[, weather barrier flashing] [and] [foam insulation] <Insert products> from [same manufacturer as weather barrier] [or] [manufacturer approved by weather barrier manufacturer].

      - PERFORMANCE REQUIREMENTS

High-performance installations are defined as building envelope design requirements that exceed ASTM E1677, 65 mph (104.6 km/h) equivalent structural load, and 15 mph (24.14 km/h) equivalent wind-driven rainwater infiltration resistance. Certain construction types are more appropriate for high-performance weather barrier products and installation methods.

"Low-Rise Construction" can be characterized by performance, utilizing ASTM E1677 as a reference point. Low-rise construction should be limited to building envelope design requirements that do not exceed ASTM E1677, 65 mph (104.6 km/h) equivalent structural load, and 15 mph (24.14 km/h) equivalent wind-driven rainwater infiltration resistance; and that use wood-framed walls on buildings less than 60 ft. (18.3 m) in height.

Refer to White Paper "DuPont Tyvek Commercial Air Barrier Assemblies - ASTM E1677 vs. ASTM E2357" by Maria Spinu, Ph.D. See http://commercialspecs.tyvek.com.

        - General Performance: Installed weather barrier and accessories shall withstand specified wind pressures, liquid water penetration, and water vapor pressures, without failure due to defective manufacture of products.

Retain "High Performance Installations" Paragraph below for buildings 60 ft. (18.3 m) or more in height or for buildings of any height that require high-performance weather barrier assembly.

        - High-Performance Installations:

          - For installation with one of the following building envelope performance or structural characteristics:

            - Exceeding 65 mph (100 km/h) equivalent structural load.

            - Exceeding 15 mph (24 km/h) equivalent wind-driven rainwater infiltration.

            - Buildings with 60 ft. (18 m) or more total height above grade plane, as defined by the IBC.

            - Construction with gypsum or cement-based exterior sheathing.

            - Non-wood based primary structure such as steel, light-gauge steel, masonry, or concrete.

      - WEATHER BARRIER

DuPont's "Tyvek Fluid Applied WB+" is based on a unique formulation using silyl-terminated polyether polymer technology. It offers low shrinkage during curing, superior elongation, and recovery, and can be easily applied in one coat.

"Tyvek CommercialWrap D" is a durable air and water barrier that offers a specially engineered surface texture designed to provide superior water drainage and durability under a variety of facades in climates that may require additional drainage. It offers high tear and wind load resistance, nine months of UV resistance, and the ideal balance of air and water protection and vapor permeability.

Retain "Basis-of-Design Product" Paragraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

        - Basis-of-Design Product: DuPont de Nemours, Inc.; Tyvek Fluid Applied WB+ or comparable product by one of the following:

          - <Insert manufacturer's name>.

        - Fluid-Applied Membrane: ASTM E2357 passed, Air Barrier Association of America (ABAA) evaluated air barrier assembly, and assembly water resistance in accordance with ASTM E331; with flame-spread and smoke-developed indexes of less than 25 and 450, respectively, when tested in accordance with ASTM E84; UV stabilized for nine-month exposure; and acceptable to authorities having jurisdiction.

Air barrier performance can be shown at multiple levels: Product, assembly, and whole building. Product must have general air barrier properties as determined by ASTM E2178, where measured air is forced through the field of the air barrier membrane. Assembly air barrier performance is determined by ASTM E2357, where the membrane and accessories are pressurized and measured on various 8 by 8 ft. (2438 by 2438 mm) test walls with openings, penetrations, and seams representative of actual construction methods.

ASTM E2357 is far more stringent than the requirement in the ASTM E1677 assembly test, which allows for 50 percent more air infiltration than the limit for air barriers in many energy codes. Results of ASTM E2357 can also be third-party evaluated via the ABAA. Whole building air performance can be verified through ASTM E779 and should be coordinated with "Field Quality Control Testing" Paragraph in Part 3, as well as Section 014000 "Quality Requirements."

          - Air Permeance, Product: Not more than 0.0002 cfm/sq. ft. at 1.57 lbf/sq. ft. (0.0005 L/s x sq. m at 75 Pa) when tested in accordance with ASTM E2178.

          - Air Permeance, Assembly: Not more than 0.0002 cfm/sq. ft. at 1.57 lbf/sq. ft. (0.0005 L/s x sq. m at 75 PA) when tested in accordance with ASTM E2357 and evaluated by the ABAA.

Water-resistance performance can be shown at multiple levels including product, assembly, and field test. Product must resist water penetration through the membrane from hydrostatic pressure from a water column utilizing AATTC 127.

Assembly water penetration can utilize the same lab-based representative construction assemblies as those described above for ASTM E2357, and then apply calibrated water spray on the depressurized wall to draw water into vulnerable joints using ASTM E331. Field or project water testing can also be performed to mirror the lab assembly, utilizing ASTM E1105.

Coordinate ASTM E1105 requirements with ASTM E331 values in "Water Penetration Resistance, Product" Subparagraph below, and with "Water Penetration" Subparagraph under "Field Quality Control Testing" Paragraph in Part 3.

          - Water Penetration Resistance, Product: Hydrostatic-head resistance greater than 394 inches (1000 cm) in accordance with AATTC 127.

Coordinate specified design pressure with design pressures specified for the window systems. Specified value in first subparagraph below should not be greater than pressure specified for window systems.

          - Water Penetration Resistance, Assembly: Assembly wall specimen described in ASTM E2357 to water resistance in accordance with ASTM E331 to [2.86 lbf/sq. ft. (137 Pa)] [6.24 lbf/sq. ft. (300 Pa)] [10.4 lbf/sq. ft. (500 Pa)] [12.5 lbf/sq. ft. (575 Pa)] [15 lbf/sq. ft. (718 Pa)].

Refer to white paper "Vapor Permeable or Impermeable Building Envelope Materials. Does It Matter?" by Maria Spinu, Ph.D. for information regarding moisture vapor control through the building envelope. See http://commercialspecs.tyvek.com.

          - Water-Vapor Permeance: Not less than 10 perms (570 ng/Pa x s x sq. m) in accordance with ASTM E96/E96M, Desiccant Method (Procedure A) or not less than 20 perms (1100 ng/Pa x s x sq. m) in accordance with ASTM E96/E96M, Water Method (Procedure B).

          - Allowable UV Exposure Time: Not less than nine months, when tested in accordance with ASTM G155 (accelerated weathering).

Retain "Flame Propagation Test" Subparagraph below if required. NFPA 285 compliant assemblies using DuPont's  "Tyvek Commercial Air and Water Barrier Systems" can be found at http://commercialspecs.tyvek.com. Coordinate with Division 01 for assembly and building compliance.

          - Flame Propagation Test: Confirm assembly compliance with NFPA 285.

Retain subparagraph below if required for LEED credits.

          - Weather barrier system shall have a VOC content of 30 g/L or less.

          - Water-Resistive Barriers over Exterior Sheathing: Pass, in accordance with AC 212.

          - Percent Solids: Greater than 90.

          - 99-percent recovery at 300-percent elongation in accordance with ASTM D412.

      - WEATHER BARRIER FLASHING

Flashing adhesives are typically made from modified asphalt (bitumen) or butyl rubber compounds, and a release liner. Accelerated weathering with UV light, heat, and moisture degrades flashings with asphalt adhesives significantly more than those with DuPont butyl-based adhesives.

Conformable flashing is flexible and has butyl adhesive on one side. Conformable flashing can be stretched to seamlessly cover complex shapes like round top or custom shaped windows, 3-D sill protection, and wall interruptions such as dryer vents and hose bibs.

        - Conformable Weather Barrier Flashing: Composite flashing material composed of micro-creped, polyethylene laminate with a 100 percent butyl-based adhesive layer; AAMA 711 Class A (no primer), Level 3 thermal exposure of 176 deg F (80 deg C) for seven days.

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

          - Basis-of-Design Product: DuPont de Nemours, Inc.; FlexWrap NF or comparable product by one of the following:

            - <Insert manufacturer's name>.

          - Conformability: Able to create a seamless sill pan extending up the jambs without cuts, patches, or fasteners.

ASTM E331 applies to water penetration testing of exterior windows, skylights, doors, and curtain walls.

          - Water Penetration: No leakage at 15 psf (720 Pa) in accordance with ASTM E331.

          - Low Temperature Adhesion: Exceeds minimum value of 1.5 lb./in. (0.26N/mm) at 25 deg F (-4 deg C) as Class A (without primer use).

          - Adhesion After Water Immersion: Exceeds minimum value of 1.5 lb./in. (0.26N/mm), after AAMA 800, Sections 2.4.1.3.1/2.4.1.4.3 Test B.

Strip flashing is flexible and has butyl adhesive on one side for DuPont's  "Tyvek StraightFlash." "Tyvek StraightFlash" is typically used at jambs and heads of rectangular windows. "Tyvek StraightFlash VF" (versatile flange) has butyl adhesive on portions of two sides of the flashing and is typically used at brick mold windows and doors.

        - Strip Flashing: Composite flashing material composed of spunbonded polyethylene laminate with a 100 percent butyl-based adhesive layer; AAMA 711, Class A (no primer), Level 3 thermal exposure of 176 deg F (80 deg C) for seven days.

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

          - Basis-of-Design Product: DuPont de Nemours, Inc.; [Tyvek StraightFlash] [Tyvek StraightFlash VF] or comparable product by one of the following:

            - <Insert manufacturer's name>.

ASTM E331 applies to water penetration testing of exterior windows, skylights, doors, and curtain walls.

          - Water Penetration: No leakage at 15 psf (720 Pa) in accordance with ASTM E331.

          - Low Temperature Adhesion: Exceeds minimum value of 1.5 lb./in. (0.26N/mm) at 25 deg F (-4 deg C) as Class A without primer use.

          - Adhesion After Water Immersion: Exceeds minimum value of 1.5 lb./in. (0.26N/mm), after AAMA 800, Sections 2.4.1.3.1/2.4.1.4.3 Test B.

        - Primer for Flashings: Synthetic rubber-based product. Spray applied. Strengthen the adhesive bond at low temperature applications between weather products, such as self-adhered flashing products, commercial building wraps, and common building sheathing materials.

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

          - Basis of Design Product: DuPont de Nemours, Inc.; DuPont Adhesive Primer or comparable product by one of the following.

            - <Insert manufacturer's name>.

          - Peel Adhesion Test: Passes ASTM D3330, Test Method F, for the following:

            - Peel Angles: 0, 25, 72, and 180 degrees.

            - Substrates: Concrete masonry units (CMUs), exterior gypsum sheathing, oriented strand board (OSB), aluminum, and vinyl.

          - Chemical Compatibility per AAMA 713: Pass.

          - Flame Spread Index per ASTM E84: 5.

          - Smoke Development Index per ASTM E84: 0.

      - FLUID APPLIED FLASHING AND SEALANT

        - Fluid Applied Flashing: Trowel or brush applied, non-water soluble, single component, silyl terminated polyether technology (STPE), vapor permeable, flashing material.

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

          - Basis-of-Design Product: DuPont de Nemours, Inc.; Tyvek Fluid Applied Flashing and Joint Compound+ or comparable product by one of the following:

            - <Insert manufacturer's name>.

          - VOC Content: ASTM C1250, less than 2 percent by weight and less than 30 g/L.

          - Water Vapor Transmission: ASTM E96, Method B, greater than 20 perms at 25 mils (0.64 mm) thick.

          - Minimum Tensile Strength: ASTM D412, 245 psi (1690 kPa).

          - Minimum Elongation at Break: ASTM D412, 400 percent.

          - Water-Resistive Seal: Pass, in accordance with AAMA 714.

          - Allowable UV Exposure Time: Not less than nine months, when tested in accordance with ASTM G155 (accelerated weathering).

          - Low-Temperature Crack Bridging: ASTM C1305, no cracking at 25 mil (0.635 mm) thickness.

          - Water Penetration Resistance: No leakage at 15 psf (720 Pa) when tested in accordance with ASTM E331.

          - Percent Solids: Greater than 90.

          - 99-percent recovery at 300-percent elongation in accordance with ASTM D412.

          - Nail Sealability: Pass, in accordance with ASTM D1970.

        - Sealant: ASTM C920.

          - Extension-Recovery/Adhesion per ASTM C736: 100 percent recovery.

          - Accelerated Weathering/Low Temperature Flexibility per ASTM C793: Pass.

          - VOC Percentage by Weight per ASTM C1250: Less than 2 percent.

          - VOC per ASTM C1250: Less than 30 g/L.

Retain "Drainage Layer" Article below when specifying both DuPont's  "Tyvek Fluid Applied WB+" and "Tyvek CommercialWrap D" as two parts of a double-layer system, because drainage is required behind claddings such as stucco, adhered masonry, or installation methods utilizing a lath. Retain "Tyvek CommercialWrap D" only when weather barrier is required to provide for water drainage behind cladding or exterior insulation.

Retain "Drainage Layer" Article below and specify drainage product below if a two-layer weather barrier is required for enhanced drainage and protection. Retain "Drainage Layer" Article only when "Tyvek CommercialWrap D" is part of the weather barrier system; otherwise, delete.

      - DRAINAGE LAYER

        - Drainage Layer: Weather barrier membrane with drainage.

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

          - Basis-of-Design Product: DuPont de Nemours, Inc.; Tyvek [Fluid Applied WB+ and] CommercialWrap D or comparable product by one of the following:

            - <Insert manufacturer's name>.

          - Drainability: 98 percent or greater when tested in accordance with ASTM E2273.

- EXECUTION

      - EXAMINATION

Suitable substrates for DuPont's  "Tyvek Fluid Applied" products include CMU, concrete (48 hours for green concrete), exterior gypsum, OSB, plywood, wood, treated wood, and metal.

For "Tyvek Fluid Applied WB+ Wall and Substrate Guidelines," see http://commercialspecs.tyvek.com.

        - Examine substrates, areas, and conditions, with Installer present, for compliance with requirements and other conditions affecting performance of the Work.

          - Verify that substrates are sound and free of oil, grease, dirt, excess mortar, or other contaminants.

          - Verify that substrates have cured and aged for minimum time recommended in writing by weather barrier manufacturer.

          - Verify that substrates are visibly dry and frost-free.

            - Fluid-applied weather barrier may be applied to damp surfaces.

            - Surfaces are considered damp if there is no visible water on the surface, and no transfer of water to the skin when touched.

            - Apply accessory products only to clean and dry surfaces.

          - Verify that substrates are free of efflorescence and mold.

          - Verify that masonry joints are flush and filled with mortar.

          - Verify that top-of-wall system has been capped or covered to prevent water getting behind the facade and into wall cavity.

          - Verify continuous path for moisture drainage.

            - Verify that continuous path for drainage is not blocked or disrupted, which results in excess moisture buildup in wall cavity.

          - Verify that surfaces to receive weather barrier are above grade.

        - Verify that substrate and surface conditions are in accordance with commercial weather barrier manufacturer recommendations prior to installation.

          - Verify that rough sill framing for doors and windows slopes downward towards the exterior and is level across width of opening.

        - Verify air and surface temperatures are above 25 deg F (4 deg C) with a maximum surface temperature of 140 deg F (60 deg C). Do not install once ambient temperature exceeds 95 deg F (35 deg C), unless surface is shaded.

        - Proceed with installation only after unsatisfactory conditions have been corrected.

      - PREPARATION

        - Clean, prepare, treat, fill, and seal substrate and joints and cracks in substrate in accordance with manufacturer's written instructions and details. Provide clean, dust-free, and dry substrate for air-barrier application.

        - Remove grease, oil, bitumen, form-release agents, paints, curing compounds, and other penetrating contaminants or film-forming coatings from concrete.

        - Remove fins, ridges, mortar, and other projections and fill honeycomb, aggregate pockets, holes, and other voids in concrete with substrate-patching material.

        - Remove excess mortar from masonry ties, shelf angles, and other obstructions.

        - At changes in substrate plane, apply sealant or termination mastic beads at sharp corners and edges to form a smooth transition from one plane to another.

        - Cover gaps in substrate plane and form a smooth transition from one substrate plane to another with stainless steel sheet mechanically fastened to structural framing to provide continuous support for air barrier.

Treatment at expansion joints, isolation joints, and other discontinuous joints varies. Not only primary architectural expansion joints but also building expansion joints may need continuous air barriers. Grouted joints between similar materials do not need to be treated. Coordinate expansion-joint treatment with Section 079513.13 "Interior Expansion Joint Cover Assemblies," and Section 079513.16 "Exterior Expansion Joint Cover Assemblies."

        - When spraying is method of application, taper ends of the joint treatment to assist maintaining a wall system free of pinholes and voids.

        - Treat all non-moving transition joints to beams, columns, and dissimilar materials by applying a 2-inch- (50-mm-) wide by 60-mil- (1.5-mm-) thick coat of fluid-applied flashing across the joint.

        - Apply 25-mil- (0.6-mm-) thick coat of fluid-applied flashing, extending a minimum 2 inches (51 mm) on each surface, and treat the following conditions:

          - Joints up to 1/4 inch (6 mm).

          - Joints 1/4- to 1/2-inch (6- to 13-mm); reinforce with fiberglass-mesh tape.

          - Joints and transitions up to 1 inch (25 mm); treat using strip flashing.

        - Bridge [isolation joints] [expansion joints] [and] discontinuous wall-to-wall, deck-to-wall, and deck-to-deck joints with air-barrier accessory material that accommodates joint movement in accordance with manufacturer's written instructions and details.

        - When spraying is method of application, taper ends of fluid applied corner treatment to wall substrate.

        - Treat inside and outside corners by applying a 25-mil- (0.6-mm-) thick coat of fluid applied weather barrier a minimum 2 inches (50 mm) on each adjoining surface. Apply fillet bead of fluid-applied sealant to inside corners to ensure continuity. Alternatively, treat corners using strip flashing. Press strip flashing into inside corners; ensure that it is fully adhered to substrate.

        - Seal penetrations using fluid-applied flashing or sealant. Extend fillet bead 1/2 inch (13 mm) onto both surfaces.

        - Treat embedded masonry anchors by applying a coat of fluid-applied weather barrier or fluid-applied flashing around base of the anchor.

      - ACCESSORIES INSTALLATION

        - Install accessory materials in accordance with air-barrier manufacturer's written instructions and details to form a seal with adjacent construction and ensure continuity of air and water barrier.

          - Coordinate installation of air barrier with installation of roofing membrane and base flashing to ensure continuity of air barrier with roofing membrane.

          - Install transition strip on roofing membrane or base flashing, for a minimum 3 inches (75 mm) coverage over each substrate.

          - Unless manufacturer recommends in writing against priming, apply primer to substrates at required rate and allow to dry.

Retain first subparagraph below when using DuPont product as basis of design.

          - Use recommended primer when applying self-adhered flashing products on concrete, masonry, and fiber faced exterior gypsum board substrates. Priming is generally not required for adhering self-adhered flashing products to wood. However, adverse weather conditions or colder temperatures may require a primer to promote adhesion. Priming is not required when applying fluid-applied products, except on cut edges of exterior gypsum sheathing.

          - Apply pressure along entire surface of strip flashing for good bond using a J-roller or firm hand pressure. Remove all wrinkles and bubbles by smoothing surface and repositioning as necessary.

        - Connect and seal exterior wall air-barrier material continuously to roofing-membrane air barrier, concrete below-grade structures, floor-to-floor construction, exterior glazing and window systems, glazed curtain-wall systems, storefront systems, exterior louvers, exterior door framing, and other construction used in exterior wall openings, using accessory materials.

Retain first paragraph below when using DuPont's "Self-Adhered Flashing" and "Tyvek Fluid Applied WB+" product as basis of design.

        - When applying self-adhered flashing products over a cured fluid-applied membrane, first apply a wet bed of fluid-applied product.

Retain first paragraph below for buildings 60 ft. (18.3 m) or more in height, or for buildings of heights requiring high-performance weather barrier assemblies.

        - Seal fasteners of mechanically attached supports or furring strips in high-performance building envelope designs.

Retain applicable subparagraph(s) below when using DuPont product as basis of design.

          - Apply double-sided butyl tape to back of support bracket at fastener location.

          - Embed support bracket into an additional wet bed of fluid applied product.

          - Adhere butyl-based flashing patch to wall at fastener location.

          - Use alternate method as approved by the manufacturer.

        - At end of each working day, seal top edge of strips and transition strips to substrate with manufacturer-approved product.

        - Apply joint sealants forming part of air-barrier assembly within manufacturer's recommended application temperature ranges. Consult manufacturer when sealant cannot be applied within these temperature ranges.

        - Flashing Sill Area for Windows and Doors:

          - Use 6-inch- (150-mm-) wide conformable flashing for 2- by 4-inch (50- by 100-mm) framing and 9-inch- (220-mm-) wide conformable flashing for 2- by 6-inch (50- by 150-mm) framing. When rigid back dams are required or desired, one option to use is a 3/4-inch (19 mm) corner guard (back dam), cut to length of sill, and nailed into place on interior edge of sill prior to installation of 9-inch- (220-mm-) wide conformable flashing. Afterward, install 9-inch- (220-mm-) wide conformable flashing over sill and corner guard back dam.

          - Install without stretching conformable flashing when installing along sills or jambs. Conformable flashing is intended to be stretched when covering corners or curved sections.

        - Apply fluid-applied flashing products from head of opening down. Use a corner trowel to smooth corners.

        - Repairs:

          - Coat small damaged areas with layer of fluid-applied product.

          - Reinforce large damaged areas with fiberglass mesh or replace damaged substrate before reapplying fluid-applied product.

      - PRIMARY AIR-BARRIER MATERIAL INSTALLATION

        - Apply air-barrier material to form a seal with strips and transition strips, and to achieve a continuous air barrier in accordance with air-barrier manufacturer's written instructions and details. Apply air-barrier material within manufacturer's recommended application temperature ranges.

          - Unless manufacturer recommends in writing against priming, apply primer to substrates at required rate and allow it to dry.

          - Limit priming to areas that will be covered by air-barrier material on same day. Reprime areas exposed for more than 24 hours.

          - Where multiple prime coats are needed to achieve required bond, allow adequate drying time between coats.

          - Fluid applied products may be overcoated once a touch-free skin has formed. Exterior insulation and cladding may be installed once the membrane has cured sufficiently to resist damage during installation.

DuPont's  "Tyvek Fluid Applied WB+" may be sprayed, brushed, or rolled.

For "Tyvek Fluid Applied WB+ Wall and Substrate Guidelines," see http://commercialspecs.tyvek.com.

        - Apply air barrier material in accordance with air-barrier manufacturer's written instructions and recommendations.

          - Roller Application:

            - Nap rolling: Use a roller cover with a 1/2- to 3/4-inch (13- to 19-mm) nap.

          - Spray Application:

            - Mask off adjoining surfaces not covered by air barrier to prevent spillage and overspray affecting other construction.

            - Use spray guard.

Retain "Back Rolling" Subparagraph below when using DuPont's "Tyvek Fluid Applied WB+" product as basis of design.

            - Back Rolling: Use a roller cover with a 1/2- to 3/4-inch (13- to 19-mm) nap. Apply fluid-applied product in a single coat at 25 mils (0.64 mm) thick. Control thickness by applying appropriate volume over a marked area and spot checking with a wet-mil gauge.

Retain first paragraph below when using DuPont's "Tyvek Fluid Applied WB+" product as basis of design.

        - Integrate fluid-applied product with through-wall flashing and window and door flashing by overlapping flashing with fluid-applied product a minimum 2 inches (50 mm).

        - Inspect surfaces to ensure that fluid-applied products are continuous and free of any voids or pinholes.

        - Do not cover air barrier until it has been tested and inspected by the testing agency.

        - Correct deficiencies in or remove air barrier that does not comply with requirements; repair substrates and reapply air-barrier components.

      - FIELD QUALITY CONTROL

Retain "ABAA Quality Assurance Program" Paragraph below if required; consult ABAA for requirements and costs. Verify availability of ABAA-licensed contractors before retaining.

        - ABAA Quality Assurance Program: Perform examinations, preparation, installation, testing, and inspections under ABAA's Quality Assurance Program.

          - Allow fluid-applied product to cure for 14 days prior to performance testing.

Coordinate test and inspection requirements in this article with Owner.

Retain "Testing Agency" Paragraph below to identify who shall perform tests and inspections. If retaining second option in paragraph, retain "Field quality-control reports" Paragraph in "Informational Submittals" Article in Part 1. Testing agency is at expense of Owner or Contractor.

        - Testing Agency: [Owner will engage] [Engage] a qualified third-party testing agency to perform tests and inspections.

Retain option in "Inspections" Paragraph below with list of inspections if required for Contractor's information.

        - Inspections: Air-barrier materials, accessories, and installation are subject to inspection for compliance with requirements.[ Inspections may include the following:]

          - Continuity of air-barrier system has been achieved throughout the building envelope without gaps, holes, or pinholes.

          - Air-barrier dry film thickness.

          - Continuous structural support of air-barrier system provided.

          - Masonry and concrete surfaces are smooth, clean, and free of cavities, protrusions, and mortar droppings.

          - Site conditions for application, temperature, and dryness of substrates are maintained.

          - Maximum exposure time of materials to UV deterioration not exceeded.

          - Surfaces primed, where applicable.

          - Laps in strips and transition strips comply with minimum requirements, are shingled in correct direction (or mastic applied on exposed edges), and are without fishmouths.

          - Termination mastic applied on cut edges.

          - Strips and transition strips firmly adhered to substrate.

          - Compatible materials used.

          - Transitions at changes in direction and structural support at gaps provided.

          - Connections between assemblies (air-barrier and sealants) comply with requirements for cleanliness, surface preparation and priming, structural support, integrity, and continuity of seal.

          - Each penetration sealed.

        - Field Quality Control Testing: Perform the following test on [representative areas of structural sealant glazed curtain walls] [mockups] <Insert requirements>.

          - Allow fluid-applied product to cure for 14 days prior to performance testing.

In "Air Infiltration Whole Building" Subparagraph below, first option meets minimum code requirements in accordance with ASHRAE 90.1, and second and third options are often required by United States Army Corps of Engineers, and by some state building codes. Consult local authority having jurisdiction to verify air infiltration requirements before editing.

          - Air Infiltration Whole Building: ASTM E779 at not more than [0.40 cfm/sf (2.00 L/s per sq. m)] [0.25 cfm/sf (1.25 L/s per sq. m)] [0.15 cfm/sf (0.75 L/s per sq. m)] at 1.57 lb/sq. ft. (75 Pa).

Coordinate test result values below with those called out in "Water Penetration Resistance, Assembly" Subparagraph in "Weather Barrier" Article in Part 2.

          - Water Penetration: ASTM E1105 at a minimum [uniform] [and] [cyclic] static-air-pressure differential of 0.67 times the static-air-pressure differential specified for laboratory testing in "Performance Requirements" Article in Part 2, but not less than [2.86 lbf/sq. ft. (137 Pa)] [6.24 lbf/sq. ft. (300 Pa)] [10.4 lbf/sq. ft. (500 Pa)] [12.5 lbf/sq. ft. (600 Pa)]. No water penetration shall occur as defined in ASTM E1105.

Retain one of first two subparagraphs below.

            - Perform a minimum of [two] [three] <Insert number> tests in areas as directed by Architect.

            - Perform tests in each test area as directed by Architect. Perform a minimum three tests, prior to [10, 30, and 70 percent completion] <Insert requirements>.

          - Adhesion Testing: Air-barrier assemblies will be tested for required adhesion to substrate in accordance with ASTM D4541 for each [600 sq. ft. (56 sq. m)] <Insert value> of installed air barrier or part thereof.

See Section 014000 "Quality Requirements" for retesting and reinspecting requirements and Section 017300 "Execution" for requirements for correcting the Work.

        - Air barriers will be considered defective if they do not pass tests and inspections.

          - Apply additional air-barrier material, in accordance with manufacturer's written instructions, where inspection results indicate insufficient thickness.

          - Remove and replace deficient air-barrier components for retesting as specified above.

        - Repair damage to air barriers caused by testing; follow manufacturer's written instructions.

Retain paragraph below if Contractor is responsible for engaging a qualified testing agency to perform tests and inspections. Otherwise, delete this paragraph.

        - Prepare test and inspection reports.

      - CLEANING AND PROTECTION

        - Protect air-barrier system from damage during application and remainder of construction period, in accordance with manufacturer's written instructions.

          - Protect air barrier from exposure to UV light and harmful weather exposure as recommended in writing by manufacturer. If exposed to these conditions for longer than recommended, remove and replace air barrier or install additional, full-thickness, air-barrier application after repairing and preparing the overexposed materials in accordance with air-barrier manufacturer's written instructions.

          - Protect air barrier from contact with incompatible materials and sealants not approved by air-barrier manufacturer.

        - Clean spills, stains, and soiling from construction that would be exposed in the completed work using cleaning agents and procedures recommended in writing by manufacturer of affected construction.

        - Remove masking materials after installation.

END OF SECTION 072800