**DuPont Performance Building Solutions**

**DuPont Experimental Station 356**

**200 Powder Mill Road**

**Wilmington, Delaware 19803**

**1-800-448-9835**

[building.dupont.com](https://www.dupont.com/building.html)

**Product and System Specifications  
DuPont™ Tyvek® StuccoWrap®**

Specifier Note: The purpose of this guide specification is to assist the specifier in correctly specifying weather barrier products and execution. The specifier needs to edit the guide specifications to fit the needs of specific projects. Contact a DuPont™ Tyvek® Specialist to assist in appropriate product selections. Throughout the guide specification, there are Specifier notes to assist in editing of the file.

References have been made within the text of the specification to CSI MasterFormat 2018 Section numbers and titles. The specifier needs to coordinate these numbers and titles with sections included for the specific project. Brackets [ ]; “AND/OR”; and “OR” have been used to indicate when a selection is required.

This guide is for applications using a non-woven, spunbonded polyolefin sheet air and moisture barrier assembly. This barrier is non-perforated, without visible holes or voids, designed to help stop the passage of bulk water and airflow movement, yet it is vapor permeable. This barrier assembly offers a balance of properties and protection for the building envelope by providing a lightweight barrier that will resist wind, water, abrasion, tearing, puncturing, and UV exposure for up to 4 months.

DuPont™ Tyvek® StuccoWrap® is approved for use as a drainable membrane behind drainable EIFS applications. This weather barrier is also for use as the primary weather barrier for traditional stucco and direct-applied stone masonry applications requiring two-layer weather resistive barrier systems or an intervening layer over the primary weather resistive barrier. This weather barrier is acceptable for use behind traditional brick veneer, vinyl and wood siding applications in buildings less than 5 stories and low-rise multi-family residential buildings less than 6 stories. For applications beyond four stories, or where performance specifications exceed ASTM E 1677 or where a commercial warranty is required, DuPont™ Tyvek® CommercialWrap® D is recommended.

This weather barrier is specifically for above grade, vertical wall surfaces where the wall assembly may consist of any of the following: exterior gypsum sheathing, exterior plywood sheathing, oriented strand board (OSB) sheathing and masonry.

It is the recommendation and the preferred application for the weather barrier to be installed prior to the installation of the windows and doors. In cases where conditions require installation of weather barrier after window installation or non-flanged windows are used, contact a DuPont™ Tyvek® Specialist for assistance and recommendations.

**SECTION 07 25 00  
WEATHER BARRIERS  
DuPont™ Tyvek® StuccoWrap**®

|  |  |
| --- | --- |
| **TIPS:**  To view non-printing **Editor's Notes** that provide guidance for editing, click on MasterWorks/Single‑File Formatting/Toggle/Editor's Notes.  To read **detailed research, technical information about products and materials, and coordination checklists**, click on MasterWorks/Supporting Information. |  |

Revise this Section by deleting and inserting text to meet Project-specific requirements.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

DuPont Safety & Construction Guide Specifications have been written as an aid to the professionally qualified Specifier and Design Professional. Use of Guideline Specification requires sole professional judgment and expertise of qualified Specifiers and Design Professionals to adapt information to specific needs for Building Owner and the Project, who coordinate with the construction document process, and meet each applicable building codes, regulations and laws. DUPONT EXPRESSLY DISCLAIMS ANY WARRANTY, EXPRESSED OR IMPLIED, INCLUDING THE WARRANTY OF MERCHANTABILITY OR FITNESS FOR PARTICULAR PURPOSE OF THIS PRODUCT FOR THE PROJECT.

Please contact your local DuPont™ Tyvek® Specialist at (800) 44-TYVEK or visit. www.weatherization.tyvek.com.

PART 1 - GENERAL

* + - 1. **RELATED DOCUMENTS**

Retain or delete this article in all Sections of Project Manual.

* + - * 1. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.
      1. **SUMMARY**
         1. Section Includes:

(Specifier Note: “Weather barrier assembly” has been used throughout the document. A weather barrier is a weather-resistant membrane for vertical building envelope protection that will maintain air/moisture resistance while maintaining moisture-vapor permeability. The assembly consists of the following four components.)

Revise subparagraphs below to suit Project.

1. Weather Barrier Membrane (DuPont™ Tyvek® StuccoWrap®)
2. Seam Tape (DuPont™ Tyvek® Tape)
3. Self-Adhered Flashing (DuPont™ FlexWrap™ NF, DuPont™ FlexWrap™ EZ, DuPont™ StraightFlash™, DuPont™ StraightFlash™ VF, and/or DuPont™ Flashing Tape)
4. Weather Barrier Accessories - Fasteners (DuPont™ Tyvek® Wrap Caps)
   * + - 1. Related Requirements:

Refer to "Cladding Considerations" in the DuPont™ Tyvek® "Mechanically Fastened Air and Water Barrier Installation Guidelines" for specific weather barrier installation information and related types of cladding. See information at <http://commercialspecs.tyvek.com>.

Retain subparagraphs below to cross-reference requirements Contractor might expect to find in this Section but are specified in other sections. See Section 013100 "Project Management and Coordination" for preinstallation conference and LEED coordination meeting. See Section 014000 "Quality Requirements" for preconstruction testing and mockup requirements.

Section 042000 "Unit Masonry" for masonry ties and flashing installation.

Section 042613 "Masonry Veneer" for masonry ties and flashing installation.

Section 044200 "Exterior Stone Cladding" for stone masonry ties and flashing installation.

Section 044313.13 "Anchored Stone Masonry Veneer" for stone masonry ties and flashing installation.

Section 044313.16 "Adhered Stone Masonry Veneer" for stone masonry ties and flashing installation.

Section 047200 "Cast Stone Masonry" for stone masonry ties and flashing installation.

Section 072100 "Thermal Insulation" for installation of exterior insulation.

Section 072413 "Polymer-Based Exterior Insulation and Finish System (EIFS)" for installation of exterior insulation and finish system.

Section 072419 "Water-Drainage Exterior Insulation and Finish System (EIFS)" for installation of exterior insulation and finish system.

Section 074624 "Wood Shingle and Shake Siding" for installation of wood shingle and shake siding.

Section 074646 "Fiber-Cement Siding" for installation of fiber-cement board siding.

Section 092400 "Cement Plastering" for installation of stucco.

Section <**Insert Section number and title**> for <**insert material or product to be installed and that requires coordination**>.

* + - 1. **PREINSTALLATION MEETINGS**
         1. Preinstallation Conference: Conduct conference at [**Project site**] <**Insert location**>.

Meet with Owner, Architect, Manufacturer's Certified Installer, [**weather barrier manufacturer's designated field representative**,] and installers of work that interfaces with or affects weather barrier.

Review methods and procedures related to weather barrier installation, including manufacturer's written instructions.

Review and finalize construction, and verify availability of materials, Installer's personnel, equipment, and facilities needed to make progress and avoid delays.

Examine substrate conditions and finishes for compliance with requirements.

Review flashings, special weather barrier details, weather barrier penetrations, and condition of other construction that affects weather barrier.

Review weather barrier manufacturer's Project Registration and Observation process.

Retain two subparagraphs below if seeking LEED EQ Credit: Construction Indoor Air Quality Management Plan (1 Point).

Review Construction Indoor Air Quality Management Plan "Moisture Protection for Absorbent Materials."

Review temporary protection requirements for weather barrier during and after installation.

* + - 1. **REFERENCES**
         1. ASTM International

ASTM C920; Standard Specification for Elastomeric Joint Sealants

ASTM C1193; Standard Guide for Use of Joint Sealants

ASTM D882; Test Method for Tensile Properties of Thin Plastic Sheeting

ASTM D1117; Standard Guide for Evaluating Non-woven Fabrics

ASTM E84; Test Method for Surface Burning Characteristics of Building Materials

ASTM E96; Test Method for Water Vapor Transmission of Materials

ASTM E1677; Specification for Air Barrier Material or System for Low-Rise Framed Building Walls

ASTM E2178; Test Method for Air Permeance of Building Materials

ASTM E2273; Standard Test Method for Determining the Drainage Efficiency of Exterior Insulation and Finish Systems (EIFS) Clad Wall Assemblies

* + - * 1. AATCC – American Association of Textile Chemists and Colorists

Test Method 127 Water Resistance: Hydrostatic Pressure Test

* + - * 1. TAPPI

Test Method T-410; Grams of Paper and Paperboard (Weight per Unit Area)

Test Method T-460; Air Resistance (Gurley Hill Method)

* + - 1. **ACTION SUBMITTALS**
         1. Refer to Section [**01 33 00 Submittal Procedures**] [**Insert section number and title**].
         2. Product Data: Submit manufacturer current technical literature for each component.

For weather barrier, include data on air and water-vapor permeance based on testing in accordance with referenced standards.

Sustainable design submittals listed in first paragraph below are only those submittals that would typically be required of Contractor for projects seeking LEED certification. Coordinate list of submittals required with Project Design Team's LEED consultant; with requirements of Section 018113.xx "Sustainable Design Requirements - XX," and, if applicable, with Project's Commissioning Authority (CxA). This Guideline Specification supports LEED v4 rating systems.

* + - * 1. Sustainable Design Submittals:

(Specifier Note: The use of a weather barrier as part of an assembly to reduce air infiltration may assist in achieving points for USGBC LEED® Certified Projects or an ENERGY STAR® label for new homes or home improvements. Contact a DuPont™ Tyvek® Specialist for assistance.)

Retain "Test Reports" Subparagraph below if seeking LEED Energy & Atmosphere (EA) Prerequisite; Fundamental Commissioning and Verification. Full envelope commissioning is not required, unless the Project team pursues LEED EA Credit, Enhanced Commissioning, Option 2.

Delete "Test Reports" Subparagraph below if the Owner is responsible for field quality control testing.

Test Reports: Envelope testing and verification of the following:

Water-Spray Test.

Air Infiltration Test.

Water Penetration Test.

Product Data: Including the following information:

Retain "List of weather barrier ingredients" in subparagraph below if seeking LEED Materials & Resources (MR) Credit: Building Product Disclosure and Optimization - Material Ingredients, Option 1. - Material Ingredients Reporting:

Provide Health Product Declarations (HPDs) or list of weather barrier ingredients by name and Chemical Abstract Service (CAS) registry number or Proprietary Ingredients hazards associated with LT-1/LT-P1 down to 0.1 percent (1000 ppm).

Provide Environmental Product Declarations (EPDs)

Retain first subparagraph below if seeking LEED Indoor Environmental Quality (EQ) Credit: Low-Emitting Materials:

Provide SDS (formerly MSDS), Article Information Sheet, third-party certifications, or product technical data confirming that systems meet or exceed emissions guidelines for volatile organic compounds (VOCs) and hazardous air pollutants (HAPs), as follows:

Retain one or more of three subparagraphs below in accordance with Project requirements. LEED v4 Healthcare and Schools requires that exterior applied adhesives, sealants, coatings, roofing, and waterproofing applied on site be included in VOC content calculations.

Commercial weather barrier complies with California Department of Public Health (CDPH) Standard.

Adhesives and sealants wet-applied onsite are to meet/exceed VOC content requirements for wet-applied products and comply with SCAQMD Rule 1168.

Flashing systems comply with SCAQMD Rule 1168 on VOC limits.

* + - * 1. Shop Drawings: Show details of weather barrier at terminations, openings, and penetrations. Show details of flexible flashing applications.

Field testing of mockups is addressed in "Field Quality Control" Article in Part 3 "Execution."

* + - 1. **INFORMATIONAL SUBMITTALS**

For documents mentioned in paragraphs below, see http://commercialspecs.tyvek.com.

* + - * 1. Evaluation Report: For [**weather barrier**], from ICC-ES.
        2. AAMA Verified Component Listing status for [**flexible flashings**].
        3. Manufacturer's Instructions: For installation of each product specified.
        4. Samples: Weather Barrier membrane, minimum 8-1/2 inches by 11 inches.
        5. Qualification Data: For Installer [**and**] [**laboratory mockup testing agency**] [**field testing agency**].
        6. Sample Warranty: For manufacturer's warranty.

(Specifier Note: See the DuPont website for more information on residential warranties.)

Retain "Reports" Paragraph below if required by "Field Quality Control" Paragraph in Part 3.

* + - * 1. Reports: Field test and inspection reports.
        2. Installer's weather barrier manufacturer-training certificate.
        3. Closeout Submittals

Refer to Section [**01 78 00 Closeout Submittals**] [**insert section number and title**].

* + - 1. **QUALITY ASSURANCE**

DuPont Weatherization Systems Certified Installers receive classroom and on-site training on proper installation techniques and safety practices from a DuPont™ Tyvek® specialist, and must pass written and hands-on installation tests to become certified.

* + - * 1. Installer Qualifications: A qualified firm that is certified by weather barrier system manufacturer to install manufacturer's product in accordance with manufacturer’s installation guidelines and recommendations.

Retain "Mockups" Paragraph below if an in-place or a stand-alone mockup of the exterior wall construction will be required. Coordinate requirements for materials in other Sections that are also part of the exterior wall assembly. If preconstruction field or lab testing of exterior wall assemblies is required, coordinate mockup requirements with "Field Quality Control" in this Section and Section 014000 "Quality Requirements."

Retain "Mockups" Paragraph below if preconstruction testing is required.

* + - * 1. Mockups: Build mockups to set quality standards for materials and execution.

Indicate portion of wall represented by mockup on Drawings or draw mockup as separate element.

Build integrated mockups of exterior wall assembly [**as shown on Drawings**] [**150 sq. ft. (14 sq. m)**] <**Insert area or dimensions**>, incorporating backup wall construction, external cladding, window, storefront, door frame and sill, insulation, ties and other penetrations, and flashing to demonstrate surface preparation, crack and joint treatment, application of weather barriers, and sealing of gaps, terminations, and penetrations of air-barrier assembly.

Include junction with roofing membrane [**building corner condition,**] [**and**] [**foundation wall intersection**] [**fenestration and wall interface**].

If Architect determines mockups do not comply with requirements, reconstruct mockups and apply weather barrier until mockups are approved.

Approval of mockups does not constitute approval of deviations from the Contract Documents contained in mockups unless Architect specifically approves such deviations in writing.

Retain first paragraph below if retaining "Manufacturer's Product and Labor Warranty" Paragraph in "Warranty" Article. See editing notes in "Warranty" Article for additional information.

* + - * 1. Manufacturer's Field Service: Register project with weather barrier manufacturer prior to installation of weather barrier and comply with weather barrier manufacturer's Project registration and observation process.
        2. Source Limitations: Provide weather barrier and accessory materials produced by single manufacturer.
      1. **DELIVERY, STORAGE, AND HANDLING**
         1. Refer to Section **[01 60 00 Product Requirements**] [**insert section number and title**].
         2. Deliver weather barrier materials and components in manufacturer’s original, unopened, undamaged containers with identification labels intact.
         3. Store weather barrier materials as recommended by system manufacturer. Do not store near heat source or open flame.
      2. **SCHEDULING**

(Specifier Note: The preferred order of installation for DuPont™ Tyvek® StuccoWrap® is prior to the installation of windows and doors.)

* + - * 1. Review requirements for sequencing of installation of weather barrier assembly with installation of windows, doors, louvers and flashings to provide a weather-tight barrier assembly.
      1. **WARRANTY**

(Specifier Note: Warranty for DuPont™ StuccoWrap® Based upon the document “*DuPont™ Weatherization Products 10-Year Limited Builder Warranty for Buildings Less than 5 Stories and Low-Rise Multi-Family Residential Buildings Less than 6 Stories*”.

Choose either “Manufacturer’s Product Warranty” or “Manufacturer’s Product and Labor Warranty” below based on desired Warranty coverage. For specific details for DuPont™ Tyvek® weatherization product warranties, see <http://dupontspecs.tyvek.com>..)

Manufacturers' warranties vary; some offer a product warranty, others a product and labor warranty. While not customary, a product and labor warranty can include costs of exposing weather barrier or restoring affected construction. A product and labor warranty example is provided below as "Manufacturer's Product Warranty" Paragraph. For specific details for DuPont™ Tyvek® weatherization product warranties, see http://dupontspecs.tyvek.com.

Retain only one of the two manufacturer warranty paragraphs below.

"Manufacturer's Product Warranty" Paragraph below covers repair or replacement of defective weather barrier only and does not cover repair and replacement of other damaged materials.

If retaining "Manufacturer's Product Warranty" Paragraph below, manufacturer's field representative requirements in "Preinstallation Meetings," "Quality Assurance," and "Field Quality Control" articles may also be deleted, if Project does not require that level of support.

* + - * 1. Manufacturer's Product Warranty: To repair or replace weather barrier product that fails in materials within specified warranty period when all terms of Warranty are met.

Verify available warranties and warranty periods. DuPont weatherization products provide warranties to Builders, General Contractors, or Professional Installers.

Warranty Period: 10 years from date of purchase.

"Manufacturer's Product and Labor Warranty" Paragraph below covers replacement of defective weather-barrier product and reasonable construction repair costs to correct problems that arise solely out of failure of manufactured weather barrier product. If retaining paragraph, also retain manufacturer's field representative requirements in "Preinstallation Meetings," "Quality Assurance," and "Field Quality Control" articles. Product and labor warranties are subject to use of manufacturer's recommended installation methods, required pre-construction meetings and observation visits during installation along with required submittal and post installation documentation process.

* + - * 1. Manufacturer's Product and Labor Warranty: Manufacturer agrees to repair or replace weather barrier that fails in materials within specified warranty period, including removal and replacement of affected construction up to manufacturer’s limits when all terms of Warranty are met.

Verify available warranties and warranty periods.

Warranty Period: 10 years from date of purchase.

1. **PRODUCTS**

(Specifier Note: Product Information is proprietary to DuPont™ Tyvek® StuccoWrap®. If additional products are required for competitive procurement, contact DuPont for assistance.)

Manufacturers and products listed in SpecAgent and MasterWorks Paragraph Builder are neither recommended nor endorsed by the AIA or Avitru. Before inserting names, verify that manufacturers and products listed there comply with requirements retained or revised in descriptions and are both available and suitable for the intended applications. For definitions of terms and requirements for Contractor's product selection, see Section 016000 "Product Requirements."

* + - 1. **MANUFACTURERS**

1. DuPont Performance Building Solutions; 200 Powder Mill Road, DuPont Experimental Station 356   
   Wilmington, Delaware 19803; 1-800-448-9835; [building.dupont.com](https://www.dupont.com/building.html)
   * + 1. **PERFORMANCE REQUIREMENTS**

High-performance installations are defined as building envelope design requirements that exceed ASTM E 1677, 65 mph (104.6 km/h) equivalent structural load, and 15 mph (24.14 km/h) equivalent wind-driven rainwater infiltration resistance. Certain construction types are more appropriate for high-performance weather barrier products and installation methods.

"Low-rise construction" can be characterized by performance, utilizing ASTM E 1677 as a reference point. Low-rise construction should be limited to building envelope design requirements that do not exceed ASTM E 1677, 65 mph (100 km/h) equivalent structural load, and 15 mph (24 km/h) equivalent wind-driven rainwater infiltration resistance, and utilize wood-framed walls on buildings less than 60 ft (18 m) in height.

Refer to White Paper "DuPont™ Tyvek® Commercial Air Barrier Assemblies - ASTM E 1677 vs. ASTM E 2357" by Maria Spinu, Ph.D; see http://dupontspecs.tyvek.com.

* + - * 1. General Performance: Installed weather barrier and accessories shall withstand specified wind pressures, liquid water penetration, and water vapor pressures, without failure due to defective manufacture of products.
      1. **WEATHER BARRIER**

DuPont™ "Tyvek® StuccoWrap®" is engineered to provide excellent performance as an air and water barrier, and offers the strength and durability needed in residential construction. It offers four months of UV resistance and the ideal balance of air and water protection and vapor permeability.

* + - * 1. Basis of Design: spunbonded polyolefin, non-woven, non-perforated, weather barrier is based upon DuPont™ Tyvek® StuccoWrap® and related assembly components.
        2. Performance Characteristics:

Air-barrier performance can be shown at multiple levels: the product, assembly, and whole building level. Product general air-barrier properties are determined by ASTM E 2178, where measured air is forced through the field of air-barrier membrane. Assembly air-barrier performance is measured through ASTM E 1677, where membranes are pressurized and measured on 8 by 8 feet (2438 by 2438 mm) test walls.

Whole-building air performance can be verified through ASTM E 779 and should be coordinated with the "Field Quality Control Testing" Paragraph in Part 3, as well as Section 014000 "Quality Requirements."

Air Penetration Resistance: <0.004 cfm/ft2 at 1.57 psf, when tested in accordance with ASTM E2178.

Type I Air Barrier Material when tested in accordance with ASTM E1677.

Water Vapor Transmission: 50 perms, when tested in accordance with ASTM E96-05, Method B.

Water-resistance performance can be shown at multiple levels: the product, assembly, and field test. Product must resist water penetration through membrane from hydrostatic pressure from water columns using AATTC 127.

Assembly water penetration can use the same lab-based representative construction assemblies as described above for ASTM E 1677. Field or project water testing can also be performed to mirror lab assembly using ASTM E 1105.

Coordinate ASTM E 1105 requirements with ASTM E 331 values in "Water Penetration Resistance, Product" Subparagraph below, and with "Water Penetration" Subparagraph in "Field Quality Control Testing" Paragraph in Part 3.

Water Penetration Resistance: 210 cm when tested in accordance with AATCC Test Method 127.

Basis Weight: 2.1 oz/yd2, when tested in accordance with TAPPI Test Method T-410.

Air Resistance: >300 seconds, when tested in accordance with TAPPI Test Method T-460.

Tensile Strength: 30/30 lbs/in., when tested in accordance with ASTM D882, Method A.

Tear Resistance: 7/9 lbs, when tested in accordance with ASTM D1117.

Surface Burning Characteristics: Class A, when tested in accordance with ASTM E84. Flame Spread: 5, Smoke Developed: 25.

Drainage Efficiency: >99%, when tested in accordance with ASTM E2273.

* + - 1. **WEATHER BARRIER FLASHING**

(Specifier Note: Flashing is dependent upon construction conditions. DELETE flashing products that are unnecessary and inappropriate for specific project.)

Products covered below: DuPont™ FlexWrap™ NF, DuPont™ FlexWrap™ EZ, DuPont™ StraightFlash™, DuPont™ StraightFlash™ VF, DuPont™ Flashing Tape.)

Flashing adhesives are typically made from modified-asphalt (bitumen) or butyl-rubber compounds, and with a release liner. Accelerated weathering with UV light, heat, and moisture degrades flashings with asphalt adhesives significantly more than those with DuPont butyl-based adhesives.

Conformable flashing is flexible and has butyl adhesive on one side. Conformable flashing can be stretched to seamlessly cover complex shapes like round-top or custom-shaped windows, 3-D sill protection, and wall interruptions such as dryer vents and hose bibs.

* + - * 1. Conformable Weather Barrier Flashing: Composite flashing material composed of micro-creped, polyethylene laminate with a 100 percent butyl-based adhesive layer; AAMA 711 Class A (no primer), Level 3 thermal exposure, 176 deg F (80 deg C) for 7 days.

Basis-of-Design Product: Subject to compliance with requirements, provide DuPont Safety & Construction: DuPont de Nemours, Inc.; **DuPont™** **FlexWrap™ NF** or comparable product by one of the following:

<**Insert manufacturer's name**>.

Conformability: Able to create a seamless sill pan extending up the jambs without cuts, patches, or fasteners.

ASTM E 331 applies to water penetration testing of exterior windows, skylights, doors, and curtain walls.

Water Penetration: No leakage at 15 psf (720 Pa) per ASTM E 331.

Low Temperature Adhesion: Exceeds minimum value of 1.5 lb./in. (0.26N/mm) at 25 degrees F (minus 4 deg C) as Class A (without primer use).

Adhesion After Water Immersion: Exceeds minimum value of 1.5 lb./in. (0.26N/mm), after AAMA 800, Sections 2.4.1.3.1/2.4.1.4.3, Test B.

* + - * 1. Conformable Weather Barrier Flashing for Sealing Penetrations: Composite flashing material composed of micro-creped, polyethylene laminate with a 100 percent butyl-based adhesive layer; AAMA 711 Class A (no primer), Level 3 thermal exposure, 176 deg F (80 deg C) for 7 days.

Basis-of-Design Product: Subject to compliance with requirements, provide DuPont Safety & Construction: DuPont de Nemours, Inc.; **DuPont™** **FlexWrap™ EZ** or comparable product by one of the following:

<**Insert manufacturer's name**>.

Conformability: Able to create a continuous watertight seal around penetrations from weather barrier to penetration without cuts, patches, or fasteners.

ASTM E 331 applies to water penetration testing of exterior windows, skylights, doors, and curtain walls.

Water Penetration: No leakage at 15 psf (720 Pa) per ASTM E 331.

Low Temperature Adhesion: Exceeds minimum value of 1.5 lb./in. (0.26N/mm) at 25 degrees F (minus 4 deg C) as Class A (without primer use).

Adhesion After Water Immersion: Exceeds minimum value of 1.5 lb./in. (0.26N/mm), after AAMA 800, Sections 2.4.1.3.1/2.4.1.4.3, Test B.

Strip flashing is flexible and has butyl adhesive on one side for StraightFlash™, which is typically used at jambs and heads of rectangular windows. StraightFlash™ VF (versatile flange) has butyl adhesive on portions of two sides of flashing and is typically used at brick-mold windows and doors.

* + - * 1. Strip Flashing: Composite flashing material composed of spunbonded polyethylene laminate with 100 percent butyl-based, adhesive layer; AAMA 711, Class A (no primer), Level 3 thermal exposure, 176 deg F (80 deg C) for 7 days.

Basis-of-Design Product: Subject to compliance with requirements, provide DuPont Safety & Construction: DuPont de Nemours, Inc.; **DuPont™** **StraightFlash™** or comparable product by one of the following:

<**Insert manufacturer's name**>.

ASTM E 331 applies to water penetration testing of exterior windows, skylights, doors, and curtain walls.

Water Penetration: No leakage at 15 psf (720 Pa) per ASTM E 331.

Low Temperature Adhesion: Exceeds minimum value of 1.5 lb./in. (0.26N/mm) at 25 deg F (minus 4 deg C) as Class A without primer use.

Adhesion After Water Immersion: Exceeds minimum value of 1.5 lb./in. (0.26N/mm), after AAMA 800, Sections 2.4.1.3.1/2.4.1.4.3, Test B.

* + - * 1. Strip Flashing: Composite flashing material composed of spunbonded polyethylene laminate with 100 percent butyl-based, **dual-sided**, adhesive layer; AAMA 711, Class A (no primer), Level 3 thermal exposure, 176 deg F (80 deg C) for 7 days.

Basis-of-Design Product: Subject to compliance with requirements, provide DuPont Safety & Construction: DuPont de Nemours, Inc.; **DuPont™ StraightFlash™ VF** or comparable product by one of the following:

<**Insert manufacturer's name**>.

ASTM E 331 applies to water penetration testing of exterior windows, skylights, doors, and curtain walls.

Water Penetration: No leakage at 6.24 psf (300 Pa) per ASTM E 331.

Low Temperature Adhesion: Exceeds minimum value of 1.5 lb./in. (0.26N/mm) at 25 deg F (minus 4 deg C) as Class A without primer use.

Adhesion After Water Immersion: Exceeds minimum value of 1.5 lb./in. (0.26N/mm), after AAMA 800, Sections 2.4.1.3.1/2.4.1.4.3, Test B.

* + - * 1. Strip Flashing: Composite flashing material composed of **polypropylene** laminate with 100 percent butyl-based, adhesive layer; AAMA 711, Class A (no primer), Level 3 thermal exposure, 176 deg F (80 deg C) for 7 days.

Basis-of-Design Product: Subject to compliance with requirements, provide DuPont Safety & Construction: DuPont de Nemours, Inc.; **DuPont™ Flashing Tape** or comparable product by one of the following:

<**Insert manufacturer's name**>.

ASTM E 331 applies to water penetration testing of exterior windows, skylights, doors, and curtain walls.

Water Penetration: No leakage at 6.24 psf (300 Pa) per ASTM E 331.

Low Temperature Adhesion: Exceeds minimum value of 1.5 lb./in. (0.26N/mm) at 25 deg F (minus 4 deg C) as Class A without primer use.

* + - 1. **WEATHER BARRIER ACCESSORIES**
         1. Building Wrap Seam Tape: **[2] [or] [3]** inch wide, Pressure-sensitive plastic tape recommended by weather barrier manufacturer for sealing joints and penetrations in building wrap.

Basis-of-Design Product: DuPont Safety & Construction: DuPont de Nemours, Inc.; **DuPont™ Tyvek® Tape**.

* + - * 1. Fasteners with Self-Gasketing Washers: Building wrap manufacturer's recommended pneumatically or hand-applied fasteners with [**1-inch- (25-mm-)**] [**2-inch- (50-mm-)**] diameter, high-density polyethylene cap washers with UV inhibitors.

(Specifier Note: Fasteners are dependent upon substrate construction. More than one type of fastener may be required on a single project.)

Basis-of-Design Product: DuPont Safety & Construction: DuPont de Nemours, Inc.; **DuPont™ Tyvek® Wrap Caps**.

* + - * 1. Sealants

(Specifier Note: Sealants compatible with weather barrier assembly may be specified in this section or in Division 07 sealants section. DELETE paragraphs 2 and 3 when sealants are specified in Division 07.)

Refer to Section [07 92 00 Joint Sealants] [insert section number and title].

**OR**

Provide sealants that comply with ASTM C 920, elastomeric polymer sealant to maintain watertight conditions.

(Specifier Note: Sealant products listed below have been tested for compatibility and intermittent contact with DuPont weather barrier materials. EDIT for specific project as appropriate when sealants are specified within this section.)

Products:

**DuPont™ Residential Sealant**

Sealants recommended by the weather barrier manufacturer

* + - * 1. Insulating Foam Sealant: one component, expanding, low pressure-build, flexible polyurethane foam.

Basis-of-Design Product: DuPont Safety & Construction: DuPont de Nemours, Inc.; **DuPont™ Great Stuff Pro™ Window & Door Polyurethane Foam Sealant**.

* + - * 1. Primer for Flashings: Synthetic rubber-based product; spray applied. Strengthen adhesive bond at low temperature applications between weather products such as self-adhered flashing products, commercial building wraps, and common building sheathing materials.

Basis-of-Design Product: DuPont Safety & Construction: DuPont de Nemours, Inc., **DuPont™ Adhesive/Primer**.

Peel Adhesion Test: Passes in accordance with ASTM D 3330, Test Method F, for the following.

Peel Angles: 0, 25, 72, and 180 degrees.

Substrates: Concrete masonry units (CMU), exterior gypsum sheathing, oriented strand board (OSB), aluminum, and vinyl.

Chemical Compatibility: Pass; AAMA 713.

Flame Spread Index: 5; ASTM E 84.

Smoke Development Index: 0; ASTM E 84.

1. **EXECUTION**
   * + 1. **EXAMINATION**
          1. Examine substrates, with Installer present, for compliance with requirements.
          2. Verify that substrate and surface conditions are in accordance with commercial weather barrier manufacturer recommendations prior to installation.

Verify that rough sill framing for doors and windows is sloped downwards towards the exterior and is level across width of the opening.

* + - * 1. Verify that surfaces to receive weather barrier flashing are clean, dry, and free of frost.
        2. Proceed with installation only after unsatisfactory conditions have been corrected.
      1. **PREPARATION**

1. Direct water onto an acceptable weather barrier drainage plane with an unobstructed path to exterior of wall.

Provide a drainage path for water intrusion through window and door attachment system that collects at window and door sills and directs water to the exterior or weather barrier.

* + - 1. **WEATHER BARRIER INSTALLATION**

(Specifier Note: It is the recommendation and the preferred application for the weather barrier to be installed prior to the installation of the windows and doors. In cases where conditions require installation of the weather barrier after the window installation or use of non-flanged or brick mold windows, contact a DuPont™ Tyvek® Specialist for assistance and recommendations.)

* + - * 1. General: Comply with weather barrier manufacturer's written instructions and warranty requirements.
        2. Cover exposed exterior surface of sheathing with weather barrier securely fastened to structure per manufacturer’s written instructions immediately after sheathing is installed.

Maintain continuity of air and water barrier assemblies.

Start weather barrier installation at a building corner, leaving 12 inches (300 mm) of weather barrier extended beyond corner to overlap.

Install weather barrier horizontally starting at lower portion of wall surface. Extend bottom roll edge over sill plate 1” minimum. For air barrier installations, seal weather barrier along bottom edge with sealant or tape. Shingle weather barrier over back edge of through-wall flashings and seal weather barrier with building wrap tape. Ensure weeps are not blocked.

Provide minimum 6 inches (150 mm) overlap at horizontal- and vertical-wrap seams in a shingle manner to maintain continuous downward drainage plane and air and water barrier.

* + - * 1. Seams: Seal seams with building wrap tape per manufacturer's recommended installation instructions.

Shiplap horizontal seams in weather barrier to facilitate proper drainage.

* + - * 1. Fasteners: Use weather barrier manufacturer’s recommended fasteners to secure weather barrier and install fasteners according weather barrier manufacturer’s installation guidelines.

(Specifier Note: Attachment method is dependent upon substrate construction.)

(Specifier Note: Cladding anchors, supports and fasteners will likely be specified in the Section including the cladding. COORDINATE the inclusion of the following paragraph in the appropriate specification section. With weather barrier manufacturer’s approval, cladding anchors can be used to fasten the weather barrier.)

Do not use temporary fasteners to permanently attach weather barrier.

Do not place fasteners with gasketing washers where weather barrier flashing will be installed.

Install fasteners with gasketing washers through flashing where recommended by manufacturer.

* + - * 1. Openings: Completely cover openings with weather barrier, and then cut weather barrier membrane at openings according to weather barrier manufacturer's installation guidelines.

(Specifier Note: Opening preparation and flashing installation is dependent upon the construction of the opening and construction of the window. DELETE execution requirements that are not appropriate for specific project. COORDINATE proper design and detailing at windows, doors and other openings or intersections for proper flashing in accordance with window manufacturer guidelines, industry standards and best flashing and waterproofing practices.)

Provide head and jamb flaps and seam overlaps to maintain continuous drainage.

Repair damage to weather barrier using method recommended by weather barrier manufacturer.

Install flashing according to weather barrier manufacturer's installation guidelines.

* + - 1. **WEATHER BARRIER FLASHING**
         1. Installation: Remove wrinkles and bubbles, reposition weather barrier as necessary to produce a uniform, smooth surface.

Ensure that ambient and substrate surface temperatures are acceptable in accordance with manufacturer instructions and recommendations.

Wipe surfaces to remove moisture, dirt, grease and other debris that could interfere with adhesion.

Apply weather barrier manufacturer’s recommended primer over concrete, masonry, and glass-mat gypsum wall sheathing substrates to receive weather barrier flashing.

Lap weather barrier flashing a minimum of 2 inches (50 mm) onto weather barrier.

Apply pressure over entire surface using roller or firm hand pressure

* + - * 1. Rough Openings: Shiplap flashing with weather barrier in a shingle manner to maintain a continuous downward drainage plane and air and water barrier in accordance with manufacturer’s written instructions.

Retain first option below for stud framing that is nominally 4 inches (100 mm) thick. Retain second option for stud framing that is nominally 6 inches (150 mm) thick.

(Specifier Note: DuPont recommends the use of the 6-inch wide DuPont™ FlexWrap™ NF with 2 by 4 framing and 9-inch wide DuPont™ FlexWrap™ NF with 2 by 6 framing.)

Apply [**6-inch- (150-mm-)**] [**9-inch- (230-mm-)**] wide conformable weather barrier flashing at door and window sills.

Ensure that sill flashing does not slope to the interior.

Install backer rod in joint between frame of opening product and flashed rough opening on the interior.

Apply sealant or closed-cell polyurethane foam insulation around entire opening/fenestration product to create air seal around interior perimeter of window openings in accordance with weather barrier manufacturer’s instructions.

Weather barrier flashing selection and application methods are specific to type of opening product and rough opening configuration. When building envelope design requirements exceed ASTM E 1677, 65 mph equivalent structural load, and 15 mph equivalent wind-driven rainwater infiltration resistance, use butyl-based DuPont™ "StraightFlash™" and wrap cap fasteners in subparagraphs below.

Around door and window openings, apply butyl-based flashing to flaps of weather barrier per manufacturer’s instructions.

Seal building wrap head flap of the windows.

* + - * 1. Penetrations: Seal weather barrier around each penetration with weather barrier manufacturer's recommended self-adhered flashing product. Integrate products with flanges into the weather barrier.
        2. Terminations: Provide minimum 2 inches (50 mm) overlap using strip flashing on adjoining roof and base of wall systems to maintain continuous downward drainage plane.

Secure weather barrier with fasteners and weather-barrier flashing.

(Specifier Note: Retain “Flashing Patches” paragraph below for high performance installations where performance requirements exceed those established by ASTM E1677. Otherwise, delete this paragraph. Coordinate with “Performance Requirements”. Article in Part 2.)

* + - * 1. Flashing Patches: Apply weather barrier manufacturer's recommended weather barrier flashing patches behind fastening plates, such as brick-tie base plates, metal-flashing clips, and metal channels.
      1. **FIELD QUALITY CONTROL**

Retain "Manufacturer's Field Service" Paragraph below if retaining "Manufacturer's Product and Labor Warranty" Paragraph in "Warranty" Article in Part 1. See editing notes in "Warranty" Article for additional information. Testing agency is at expense of Owner or Contractor.

* + - * 1. Manufacturer's Field Service: Engage a factory-authorized service representative to train installers and observe subject test-wall areas and installations.
        2. Testing Agency: [**Owner will engage**] [**Engage**] a qualified third-party testing agency to perform tests and inspections.
        3. Field Quality Control Testing: Perform the following test on [**representative areas of structural-sealant-glazed curtain walls**] [**mockups**] <**Insert requirements**>.

Coordinate test result values below with those called out in "Water Penetration Resistance, Assembly" Subparagraph in "Weather Barrier" Article in Part 2.

Water Penetration: ASTM E 1105 as specified by Testing Agency. No water penetration shall occur as defined in ASTM E 1105.

Perform specified number of tests in each test area and at various stages of completion as directed by Architect.

Retain "Test and Inspection Reports" Paragraph below if Contractor is responsible for engaging a qualified testing agency to perform tests and inspections; otherwise, delete paragraph.

* + - * 1. Test and Inspection Reports: Prepare test and inspection reports.
      1. **CLEANING**
         1. Immediately remove release paper and scrap from work area and dispose of material in accordance with requirements of **[Section 017300 "Execution."] [Section 017419 "Construction Waste Management and Disposal."] [Section 017300 "Execution" and Section 017419 "Construction Waste Management and Disposal."]**
      2. **PROTECTION**
         1. Protect installed weather barrier from the following:

Damage from cladding, structure, or a component of the structure (e.g., window, door, or wall system).

Contamination from building site chemicals, premature deterioration of building materials, or nonstandard use or application of products.

Foreign objects or agents, including the use of materials incompatible with weather barrier products.

UV exposure in excess of products' stated limits.

**END OF SECTION**

DISCLAIMER:

DuPont Performance Building Solutions Guide Specifications have been written as an aid to the professionally qualified specifier and design professional. The use of this guideline specification requires the sole professional judgment and expertise of the qualified specifier and design professional to adapt the information to the specific needs for the building owner and the project, to coordinate with their construction document process, and to meet all the applicable building codes, regulations and laws. DUPONT EXPRESSLY DISCLAIMS ANY WARRANTY, EXPRESSED OR IMPLIED, INCLUDING THE WARRANTY OF MERCHANTABILITY OR FITNESS FOR PARTICULAR PURPOSE OF THIS PRODUCT FOR THE PROJECT.

Notice: No freedom from infringement of any patent owned by DuPont or others is to be inferred. Because use conditions and applicable laws may differ from one location to another and may change with time, Customer is responsible for determining whether products and the information in this document are appropriate for Customer's use and for ensuring that Customer's workplace and disposal practices are in compliance with applicable laws and other government enactments. The product shown in this literature may not be available for sale and/or available in all geographies where DuPont is represented. The claims made may not have been approved for use in all countries. DuPont assumes no obligation or liability for the information in this document. References to “DuPont” or the “Company” mean the DuPont legal entity selling the products to Customer unless otherwise expressly noted.

DuPont™, the DuPont Oval Logo, and all trademarks and service marks denoted with ™, ℠ or ® are owned by affiliates of DuPont de Nemours, Inc. unless otherwise noted.

Please contact your local DuPont™ Tyvek® Specialist at 1-800-448-9835 or visit [building.dupont.com](https://www.dupont.com/building.html)