Euco 456S Mortar

Iron aggregate epoxy repair material for use where exceptional strength and durability are needed. It consists of a two-component epoxy resin system and a specially graded iron aggregate. EUCO 456S MORTAR has excellent adhesion and provides maximum abrasion and impact resistance on floors with extra heavy duty traffic.

{Note to Specifier: The paragraphs below are meant to be incorporated into Parts 2 and 3 of a standard CSI 3 Part Format specification, project’s General Structural Notes or directly onto the plans. They must be carefully reviewed by a qualified design professional and edited to meet the particular requirements of the project at hand, assure compliance with any governing building codes, and coordinate with other specification sections and drawings.}

PART 2.0	PRODUCT

2.__	EPOXY REPAIR MORTAR

A.	Three component, epoxy repair mortar with iron aggregate for added impact and wear resistance.

1.	Compressive Strength psi(MPa) per ASTM C 109:

1 day	 	12,000 (83)

7 days 		13,000 (90)

14 days 	13,500 (93)

2.	Bond Strength: 2,200 psi (15 MPa) per ASTM D 882

3.	Abrasion Resistant per ASTM C 779 Procedure A

30 minutes:	0.008” (.20 mm)

60 minutes:	0.013” (.33 mm)

6.	Product:

a)	Euclid Chemical Company (The); Euco 456S Mortar with Euco 456 Primer/Sealer, www.euclidchemical.com

B.	Manufacturer shall have ISO 9001 Quality Certification. To ensure compatibility all admixtures shall be from the same manufacturer.

PART 3.0	EXECUTION

3.___	SURFACE PREPARATION

A.	Concrete Removal: Remove all loose and unsound concrete per ICRI Guideline 310.1R “Guide for Surface Preparation”

1.	Perimeter boundaries shall be saw cut to minimum depth of ¼ inch more than overlay thickness or less if such depth will cause saw to come in contact with embedded reinforcing steel. Saw cuts shall be made perpendicular to the concrete surface and all repair boundaries shall be straight and aligned parallel to opposite boundary edges resulting in repair areas that are rectangular in shape.

2.	Provide a surface with suitable profile for bond, as defined in repair mortar manufacturer’s written recommendations. If delaminations, cracking, or unsound materials exist beyond minimum removal depth, then removal shall continue until all unsound, delaminated, or cracked concrete has been removed from cavity.

3.	All cracks over 1/16” in width shall be routed to minimum ¼” x ¼” and filled with specified iron aggregate epoxy repair mortar.

B.        Preparing Reinforcing Steel: Clean and prepare any exposed embedded reinforcing steel per ICRI Guideline 310.1R. “Guide for Surface Preparation”

1.	Where ½ or more of diameter of reinforcement steel is exposed either by existing conditions or concrete removal, bond between the concrete and reinforcing steel is broken, or corrosion is present, the concrete shall be removed to provide a minimum ¾” clearance around entire perimeter of steel and along entire exposed length.

2. 	Clean all exposed reinforcing steel to bright steel, prior to installation of repair mortar.

a)	Where section loss on a reinforcing bar is more than [insert number]%, or [insert number]% in two or more adjacent bars contact Engineer.

C.     Concrete Preparation and Cleaning: Areas to receive epoxy repair shall be structurally sound and free from deteriorated concrete, dust, dirt, debris, loosened concrete, paint, oil, efflorescence, laitance, and other contaminants, and shall have a minimum Concrete Surface Profile CSP equal to that recommended by the repair mortar manufacturer per ICRI Guideline 310.2.

3.___	EPOXY REPAIR MORTAR APPLICATION:

A.	For patching, spread epoxy mortar with a trowel, come-a-long, or square-tipped shovel to a thickness of 1/8” (3 mm) higher than the final desired height of the overlay. Compact and finish by hand or machine trowel. For overlays, use a vibratory screed and finish by machine trowel.