EUCO QWIKstitch

Fast Setting Urethane Crack and Spall Repair.

{Note to Specifier: The paragraphs below are meant to be incorporated into Parts 2 and 3 of a standard CSI 3 Part Format specification, project’s General Structural Notes or directly onto the plans. They must be carefully reviewed by a qualified design professional and edited to meet the particular requirements of the project at hand, assure compliance with any governing building codes, and coordinate with other specification sections and drawings.}

PART 2.0:	PRODUCT

2.__	CRACK AND SPALL REPAIR MATERIALS

A.	Two component, ultra low viscosity, fast setting hybrid urethane liquid designed for repair of cracks in concrete, repair spalled joints, and repair damaged or uneven concrete surfaces. Material shall have the following properties.

1.	Gel Time: 2 to 3 minutes

2.	Tack Free Time: 10 minutes

3.	VOC Content: 0 g/l

4.	Shore D Hardness: 70 per ASTM D 2240

5.	Tensile Strength at 7 days: 4,090 psi per ASTM D 638

6.	Tensile Elongation: 4.6% per ASTM D 638

7.	Compressive Strength minimum per ASTM D 695

1 hour		4,500 psi

24 hours	5,000 psi

8.	Bond Strength: minimum 1,800 psi per ASTM C 882

9.	Water Absorption: 0.25% per ASTM D 570

10.	Product:

a)	Euclid Chemical Company (The); EUCO QWIKstitch  www.euclidchemical.com

B.	Manufacturer shall have ISO 9001 Quality Certification.

C.	Aggregate: Provide kiln dried medium grade (30 mesh) silica sand

PART 3.0:	EXECUTION

3.___	SURFACE PREPARATION

A.	Concrete Removal: Remove all loose and unsound concrete per ICRI Guideline 310.1R “Guide for Surface Preparation”

1.	Unsound concrete surface areas shall have perimeter boundaries saw cut to minimum depth of ½” inch or less if such depth will cause saw to come in contact with embedded reinforcing steel.  Saw cuts shall be made perpendicular to the concrete surface and all concrete removal boundaries shall be straight and aligned parallel to opposite boundary edges resulting in repair areas that are rectangular in shape.

2.	All concrete shall be removed from within repair boundary to minimum depth of ½” inch.  Provide a surface with suitable profile for bond, as defined in repair mortar manufacturer’s written recommendations. If delaminations, cracking, or unsound materials exist beyond minimum removal depth, then removal shall continue until all unsound, delaminated, or cracked concrete has been removed from cavity.

C.	Cracks shall be cleaned with a diamond blade saw, wire brush or wire wheel. After preparing area, remove all dust and debris with an industrial vacuum and oil-free compressed air.

D.	Concrete Preparation and Cleaning: Areas to receive concrete repair shall be structurally sound and free from deteriorated concrete, dust, dirt, debris, loosened concrete, paint, oil, efflorescence, laitance, and other contaminants, and shall have a minimum Concrete Surface Profile CSP equal to that recommended by the repair mortar manufacturer per ICRI Guideline 310.2.

3.___	APPLICATION:

A.	Mix and apply crack and spall repair material per manufacturer’s published recommendations.

B.	For repairs over 0.5” in depth mix concrete spall and repair liquid with kiln dried, medium grade, 30 mesh silica sand per manufacturer’s recommendation.

1.	Maximum depth per lift of aggregate modified material shall be 3”.

2.	Large cracks and joint openings shall be filled with kiln dried medium grade 30 mesh silica sand prior to having repair liquid flowed into opening.

3. 	Remove all excess repair material per manufacturer’s published recommendations.