EUCON STASIS

Cement Hydration and Set Retarding Admixture

{Note to Specifier: The paragraphs below are meant to be incorporated into Part 2 of a standard CSI 3 Part Format specification (normally 03 30 00), the General Structural Notes, or directly onto the plans. They must be carefully reviewed and edited by a qualified design professional to meet the requirements of the project and governing building codes. Coordinate with other specification sections and drawings.}

PART 2:	PRODUCTS

2.__	ADMIXTURES

A.	Hydration Stabilizer: Liquid chemical admixture specially formulated to retard concrete for extended periods of time during hot weather or extended hauling and pumping operations. Non-corrosive and free of added chloride ions.

1.	Product (basis of design):

a)	Euclid Chemical Company (The); EUCON STASIS, www.euclidchemical.com

2.__	MIXES

A.	Upon prior approval by engineer, specified Hydration Stabilizer may be used when required by high temperatures, low humidity, extended pumping and hauling times and/or other adverse placement conditions.

2.__	MANUFACTURER

A.	Manufacturer shall have ISO 9001 Quality Certification. To ensure compatibility all admixtures shall be from the same manufacturer.