

**SECTION 07310**

**ASPHALT SHINGLE ROOFING**

**GAF® DESIGN LINE**

****

*Note: GAF® does not practice architecture or engineering. This Design Line is provided as a guide specification and is based on criteria provided to GAF®. GAF® has not observed the jobsite conditions, contract specifications, or other documents and shall not be construed in any manner to be the designer of record.*

Specifier’s notes and tools are shown in blue and will not print and/or interrupt formatting unless specifically required. To print all hidden text, select TOOLS / OPTIONS / PRINT / HIDDEN TEXT from your toolbar

1. GENERAL
   1. SECTION INCLUDES
      1. Asphalt roofing shingles.
      2. Leak barrier and roof deck protection.
      3. Metal flashing associated with shingle roofing.
      4. Attic ventilation.
   2. RELATED SECTIONS

\*\*\*Delete sections below not relevant to this project\*\*\*

* + 1. Section 06100 - Rough Carpentry: Framing, wood decking, and roof sheathing.
    2. Section 07620 - Flashing and Sheet Metal: Sheet metal flashing not associated with shingle roofing; gutters and downspouts.
    3. Section 08630 - Unit Skylights: Skylights
  1. REFERENCES

\*\*\*Delete references below not relevant to this project\*\*\*

* + 1. American Society for Testing and Materials (ASTM) - Annual Book of ASTM Standards
       1. ASTM A 653/A 653M - Standard Specification for Steel Sheet, Zinc Coated (Galvanized) or Zinc-Iron Alloy-Coated (Galvannealed) by the Hot-Dip Process.
       2. ASTM B 209 - Standard Specification for Aluminum and Aluminum-Alloy Sheet and Plate.
       3. ASTM B 370 - Standard Specification for Copper Sheet and Strip for Building Construction.

\*\*\*Impact Resisant Shingles Only\*\*\*\*

* + - 1. ASTM D 3018 - Standard Specification for Class A Asphalt Shingles Surfaced with Mineral Granules.
      2. ASTM D 3161 - Standard Test Method for Wind-Resistance of Asphalt Shingles (Fan-Induced Method).
      3. ASTM D 3462 – Standard Specification for Asphalt Shingles Made From Glass Felt and Surfaced with Mineral Granules.
      4. ASTM D 4586 - Standard Specification for Asphalt Roof Cement, Asbestos-Free.
      5. ASTM D 7158 - Standard Test Method for Wind-Resistance of Sealed Asphalt Shingles (Uplift Force/Uplift Resistance Method).

ASTM E 903 – Standard Test Method for Solar Absorptance, Reflectance, and Transmission of Materials Using Integrating Spheres.ASTM E 903 – Standard Test Method for Solar Absorptance, Reflectance, and Transmission of Materials Using Integrating Spheres.\*\*\*ENERGYSTAR rated only\*\*\*

* + 1. Underwriters Laboratories (UL) - Roofing Systems and Materials Guide (TFWZ.R21)
       1. UL 790 - Tests for Fire Resistance of Roof Covering Materials.
       2. UL 997 - Wind Resistance of Prepared Roof Covering Materials.
    2. Asphalt Roofing Manufacturers Association (ARMA)
    3. Sheet Metal and Air Conditioning Contractors National Association, 1nc. (SMACNA) - Architectural Sheet Metal Manual.
    4. National Roofing Contractors Association (NRCA)

\*\*\*LEED Certification Only\*\*\*

* + 1. U.S. Green Building Council (USGBC)
    2. Leadership in Energy and Environmental Design (LEED)
    3. Miami Dade County
  1. DEFINITIONS
     1. Roofing Terminology: Refer to ASTM D1079 and the glossary of the National Roofing Contractors Association (NRCA) Roofing and Waterproofing Manual for definitions of roofing terms related to this section.
  2. LEED CERTIFICATION

\*\*\*LEED Certification Only\*\*\*

* + 1. Provide a roofing system that will achieve or aid in the qualification of points satisfying
       1. Materials & Resource credit 5 - Local and Regional Materials
  1. SUBMITTALS
     1. Submit copies of GAF product data sheets, detail drawings and samples for each type of roofing product.

\*\*\*LEED Certification Only\*\*\*

* + 1. L.E.E.D. submittal: Coordinate with Section 01115 - Green Building Requirements, for LEED certification submittal forms and certification templates.
  1. QUALITY ASSURANCE
     1. Manufacturer Qualifications: Provide all primary roofing products, including shingles, underlayment, leak barrier, and ventilation, by a single manufacturer.
     2. Installer Qualifications: Installer must be approved for installation of all roofing products to be installed under this section.
  2. REGULATORY REQUIREMENTS
     1. Provide a roofing system achieving an Underwriters Laboratories (UL) Class A fire classification.

\*\*\*ENERGYSTAR rated only\*\*\*

* + 1. Provide a roofing system achieving an ENERGYSTAR rating

Install all roofing products in accordance with all federal, state and local building codes.

* + 1. All work shall be performed in a manner consistent with current OSHA guidelines.
  1. PREINSTALLATION MEETING
     1. General: For all projects in excess of 250 squares of roofing, a pre-installation meeting is strongly recommended.
     2. Timing: The meeting shall take place at the start of the roofing installation, no more than 2 weeks into the roofing project.
     3. Attendees: Meeting to be called for by manufacturer’s certified contractor. Meeting’s mandatory attendees shall include the certified contractor and the manufacturer’s representative. Non-mandatory attendees shall include the owner’s representative, architect or engineer’s representative, and the general contractor’s representative.
     4. Topics: Certified contractor and manufacturer’s representative shall review all pertinent requirements for the project, including but not limited to, scheduling, weather considerations, project duration, and requirements for the specified warranty.
  2. DELIVERY, STORAGE, AND HANDLING
     1. Store all products in manufacturer's unopened, labeled packaging until they are ready for installation.
     2. Store products in a covered, ventilated area, at temperature not more than 110 degrees F (43 degrees C); do not store near steam pipes, radiators, or in direct sunlight.
     3. Store bundles on a flat surface. Maximum stacking height shall not exceed GAF’s recommendations. Store all rolls on end.
     4. Store and dispose of solvent-based materials in accordance with all federal, state and local regulations.
  3. WEATHER CONDITIONS
     1. Proceed with work only when existing and forecasted weather conditions will permit work to be performed in accordance with GAF’s recommendations
  4. WARRANTY \*\*\*Choose Warranty Option\*\*\*
     1. Provide to the owner a GAF® Weather Stopper® Golden Pledge® Ltd Warranty:

\*\*\*Requirements for Systems Plus Warranty\*\*\*

* + - 1. Eligibility requirements: Roofs installed by a **GAF® Certified GAF® Master Elite™ Roofing Contractor only**. Requires at least 5 qualifying accessory products in addition to GAF shingles.
      2. Manufacturing defects:
         1. Single family detached homes owned by individuals:

Lifetime limited warranty with a 50-year Smart Choice® Protection Period (non-prorated). *GAF Accessories installed with lifetime shingles are also covered with a Lifetime limited warranty with a 50-year Smart Choice® Protection Period (non-prorated).*

* + - * 1. Commercial or Multi-Residential Building:

40 years with a 25-year Smart Choice® Protection Period (non-prorated). *GAF Accessories installed with lifetime shingles are also covered with a 40-year limited warranty with a 25-year Smart Choice® Protection Period (non-prorated).*

* + - 1. Workmanship:
         1. Twenty-Five (25) years
      2. Wind Warranty Coverage:
         1. WindProven™ Limited Wind Warranty:

15-year limited warranty with no maximum wind speed. Requires installation of **4** nails per shingle.

* + - 1. Algae Warranty Coverage:
         1. StainGuard Plus™ labeled Shingles:

25 year limited warranty with 10-year Smart Choice® Protection Period (non-prorated).

* + - * 1. StainGuard® labeled Shingles:

10 year limited warranty with 1-year Smart Choice® Protection Period (non-prorated).

* + 1. Provide to the owner a GAF® Weather Stopper® Silver Pledge™ Ltd Warranty:

\*\*\*Requirements for Systems Plus Warranty\*\*\*

* + - 1. Eligibility requirements: Roofs installed by a GAF® Certified GAF® Master Elite™ Roofing Contractor only. Requires at least 4 qualifying accessory products in addition to GAF shingles.
      2. Manufacturing defects:
         1. Single family detached homes owned by individuals:

Lifetime limited warranty with a 50-year Smart Choice® Protection Period (non-prorated). *GAF Accessories installed with lifetime shingles are also covered with a Lifetime limited warranty with a 50-year Smart Choice® Protection Period (non-prorated).*

* + - * 1. Commercial or Multi-Residential Building:

40 years with a 20-year Smart Choice® Protection Period (non-prorated). *GAF Accessories installed with lifetime shingles are also covered with a 40-year limited warranty with a 20-year Smart Choice® Protection Period (non-prorated).*

* + - 1. Workmanship:
         1. Ten (10) years
      2. Wind Warranty Coverage:
         1. LayerLock-labeled Shingles:

WindProven™ Limited Wind Warranty – 15-year limited warranty with no maximum wind speed. Requires installation of **4** nails per shingle.

* + - 1. Algae Warranty Coverage:
         1. StainGuard Plus™ labeled Shingles:

25 year limited warranty with 10-year Smart Choice® Protection Period (non-prorated).

* + - * 1. StainGuard® labeled Shingles:

10 year limited warranty with 1-year Smart Choice® Protection Period (non-prorated).

* + 1. Provide to the owner a GAF® Weather Stopper® System Plus Ltd Warranty:

\*\*\*Requirements for Systems Plus Warranty\*\*\*

* + - 1. Eligibility requirements: Roofs installed by a **GAF® Certified Contractor** or **Certified GAF® Master Elite™ Roofing Contractor only**. Requires at least 3 qualifying accessory products in addition to GAF shingles (4 accessories required for WindProven™ Limited Wind Warranty). Visit [www.gaf.com](http://www.gaf.com) for a complete list of qualifying GAF Shingles and Accessory Products.
      2. Manufacturing defects:
         1. Single family detached homes owned by individuals:

Lifetime limited warranty with a 50-year Smart Choice® Protection Period (non-prorated). *GAF Accessories installed with lifetime shingles are also covered with a Lifetime limited warranty with a 50-year Smart Choice® Protection Period (non-prorated).*

* + - * 1. Commercial or Multi-Residential Building:

40 years with a 20-year Smart Choice® Protection Period (non-prorated). *GAF Accessories installed with lifetime shingles are also covered with a 40-year limited warranty with a 20-year Smart Choice® Protection Period (non-prorated).*

* + - 1. Wind Warranty Coverage:
         1. WindProven™ Limited Wind Warranty

15-year limited warranty with no maximum wind speed. Requires installation of **4** nails per shingle and at least four (4) qualifying accessories. Qualifying accessories include GAF Ridge Cap Shingles, GAF Starter Strip Shingles, GAF Roof Deck Protection, plus your choice of either a GAF Leak Barrier Product or GAF Attic Ventilation Product.

All other installations: 15-year limited warranty for 130 mph with the special installation of **4** nails per shingle and GAF Starter Strip Products installed at the eaves AND rakes. Otherwise, wind warranty is 110 mph without special installation described above.

* + - 1. Algae Warranty Coverage:
         1. StainGuard Plus™ labeled Shingles:

25 year limited warranty with 10-year Smart Choice® Protection Period (non-prorated).

* + - * 1. StainGuard® labeled Shingles:

10 year limited warranty with 1-year Smart Choice® Protection Period (non-prorated).

* + 1. Provide to the owner a GAF® Roofing System Limited Warranty. Requires the installation of GAF Shingles which carry a Lifetime limited warranty and at least three (3) qualifying GAF Accessory Products. Four (4) accessories are required for the WindProven™ Limited Warranty coverage with LayerLock-lableled shingles. Visit [www.gaf.com](http://www.gaf.com) for a complete list of qualifying GAF Shingles and Accessory Products.
       1. Manufacturing defects:
          1. Single family detached homes owned by individuals:

Lifetime limited warranty with a 10-year Smart Choice® Protection Period (non-prorated).

* + - * 1. Commercial or Multi-Residential Building:

40 years with a 10-year Smart Choice® Protection Period (non-prorated)

* + - 1. Wind Warranty Coverage:
         1. WindProven™ Limited Wind Warranty:

15-year limited warranty with no maximum wind speed. Requires installation of **4** nails per shingle and at least four (4) qualifying accessories. Qualifying accessories include GAF Ridge Cap Shingles, GAF Starter Strip Shingles, GAF Roof Deck Protection, plus your choice of either a GAF Leak Barrier Product or GAF Attic Ventilation Product.

All other installations: 15-year limited warranty for 130 mph with the special installation of **4** nails per shingle and GAF Starter Strip Products installed at the eaves AND rakes. Otherwise, wind warranty is 110 mph without special installation described above.

* + - 1. Algae Warranty Coverage:
         1. StainGuard Plus™ labeled Shingles:

25 year limited warranty with 10-year Smart Choice® Protection Period (non-prorated).

* + - * 1. StainGuard® labeled Shingles:

10 year limited warranty with 1-year Smart Choice® Protection Period (non-prorated).

* + 1. Provide to the owner a GAF® Shingle and Accessory Limited Warranty.
       1. Manufacturing defects:
          1. Single family detached homes owned by individuals:

Lifetime limited warranty with a 10-year Smart Choice® Protection Period (non-prorated). *GAF Accessories installed with lifetime shingles are covered for 40 years with a 5-year Smart Choice® Protection Period (non-prorated).*

* + - * 1. Commercial or Multi-Residential Building:

40 years with a 10-year Smart Choice® Protection Period (non-prorated) on both shingles and GAF Accessories.

* + - 1. Wind Warranty Coverage:
         1. 15-year limited warranty for 130 mph with the special installation of 4 nails per shingle and GAF Starter Strip Products installed at the eaves AND rakes. Otherwise, wind warranty is 110 mph without special installation described above
      2. Algae Warranty Coverage:
         1. StainGuard Plus™ labeled Shingles:

25 year limited warranty with 10-year Smart Choice® Protection Period (non-prorated).

* + - * 1. StainGuard® labeled Shingles:

10 year limited warranty with 1-year Smart Choice® Protection Period (non-prorated).

\*\*\*requirements for Golden Pledge Warranty\*\*\*

1. PRODUCTS
   1. MANUFACTURERS
      1. Acceptable Manufacturer: GAF, 1 Campus Drive, Parsippany NJ 07054. Tel: 1-973-628-3000.
      2. Requests for substitutions will be considered in accordance with provisions of Section 01600.
   2. VENTILATED ROOF INSULATION PANELS
      1. Preassembled panel with one layer of oriented strand board, built-in ventilation space maintained by wood spacers blocks, and isocyanurate insulation on the bottom, **ThermaCal® 1 Ventilated Roof Insulation Panel** by GAF-Cornell.
         1. 7/16”, 5/8”, 3/4” OSB or plywood **\*\*\*Select A Thickness\*\*\***
         2. 1”, 1-1/2”,2” wood spacers blocks **\*\*\*Select A Thickness\*\*\***
      2. Preassembled panel with two layer of oriented strand board, built-in ventilation space maintained by wood spacers blocks, and isocyanurate insulation on the bottom, **ThermaCal® 2 Ventilated Roof Insulation Panel** by GAF-Cornell.
         1. 7/16”, 5/8”, 3/4” OSB or plywood **\*\*\*Select A Thickness\*\*\***
         2. 1”, 1-1/2”,2” wood spacers blocks **\*\*\*Select A Thickness\*\*\***
   3. SHINGLES \*\*\*Select All Applicable Products\*\*\*
      1. Self sealing, granule surfaced, asphalt shingle with a strong fiberglass reinforced Micro Weave® core and StainGuard® protection, which prevents pronounced discoloration from blue-green algae through formulation/unique blends of granules. Architectural laminate styling provides a wood shake appearance with a 5 5/8 inch exposure. New StrikeZone™ Nailing Area with proprietary LayerLock™ Technology provides up to 30% faster nailing and up to 600% larger nailing target. Features GAF®’s patented High Definition® color blends and enhanced shadow effect. UL 790 Class A rated with UL 997 Wind Resistance Label; ASTM D 7158; ASTM D 3161, Class F; ASTM D 3018, Type 1; ASTM D 3462; AC438; CSA A123.5; Dade County Approved, Florida Building Code Approved, Texas Dept of Insurance Approved, ICC Report Approval ESR-1475 and ESR-3267. Timberline® HDZ™ Lifetime High Definition Shingles, by GAF**®**.
         1. Color: As selected from manufacturers’ full range.
         2. Color: \_\_\_\_\_\_\_\_\_\_\_\_\_
   4. HIP AND RIDGE SHINGLES \*\*\*Choose One\*\*\*(based on regional availability)
      1. High profile self sealing hip and ridge cap shingle matching the color of selected roof shingle. Each bundle covers approx. 20 lineal feet (6.10m). [Timbertex®](http://www.gaf.com/General/DocList.asp?WS=GAF&Silo=ARCH&App=PROD&UID=&CatID=5&ProdID=2&ProdName=Timbertex%28RT%29) Premium Ridge Cap Shingles, by GAF.
      2. Distinctive self sealing hip and ridge cap shingle complementing the color of selected roof shingle. Each bundle covers approx. 31 lineal feet (9.45m) with an 8 inch (203mm) exposure. Ridglass™ 10” Ridge Cap Shingles by GAF.
      3. Distinctive self sealing hip and ridge cap shingle complementing the color of selected roof shingle. Each bundle covers approx. 31 lineal feet (9.45m) with an 8 inch (203mm) exposure Ridglass™ 8” Ridge Cap Shingles by GAF.
      4. Distinctive self sealing hip and ridge cap shingle complementing the color of selected roof shingle. Each bundle covers approx. 25 lineal feet (7.62mm) with a 6 2/3 inch (169mm) exposure. Seal-A-Ridge® Ridge Cap Shingles by GAF.
2. \*\*\*For use with Timberline ArmorShield II \*\*\*
   * 1. Distinctive hip and ridge cap shingle complementing the color of selected roof shingle. Each bundle covers approx. 33.3 lineal feet (10.15m) with a 5 5/8 inch (147mm) exposure. Z® Ridge Shingles by GAF.
     2. Bullnose style hip and ridge cap shingle matching the color of selected roof shingle, available in 8” and 10” widths. Each bundle covers approx. 20 lineal feet (6.10m) with a 8” exposure. [Timbercrest](http://www.gaf.com/General/DocList.asp?WS=GAF&Silo=ARCH&App=PROD&UID=&CatID=5&ProdID=2&ProdName=Timbertex%28RT%29)™ Premium SBS-Modified Ridge Cap Shingles, by GAF.
   1. STARTER STRIP
      1. Self sealing starter shingle designed for premium roof shingles. Each bundle covers approx. 100 lineal feet (30.48m) for English and metric shingles or 50 lineal feet (15.24m) for oversized shingles. WeatherBlocker™ Eave/Rake Starter Strip by GAF.
      2. Self sealing starter shingle designed for all roof shingles. Each bundle covers approx. 120 lineal feet (36.58m). ProStart™ Starter Strip by GAF.
      3. Self adhered starter roll designed for shingles with an exposure less than 6”. Each roll is 9” x 33’ (228 mm x 10m). QuickStart® Peel & Stick Starter Roll by GAF.
   2. LEAK BARRIER \*\*\*Choose One\*\*\*
      1. Self-adhering, self sealing, bituminous leak barrier surfaced with fine, skid-resistant granules. Approved by UL, Dade County, ICC, State of Florida and Texas Department of Insurance. Each roll contains approx. 150 sq ft (13.9 sq.m.), 36” X 50’ (0.9m x 20.3m) or 200 sq ft (18.6 sq.m.), 36” X 66.7’ (0.9m x 20.3m). [WeatherWatch® Leak Barrier,](http://www.gaf.com/General/DocList.asp?WS=GAF&Silo=ARCH&App=PROD&UID=&CatID=0&ProdID=1&ProdName=Weather+Watch%28RT%29) by GAF.
      2. Self-adhering, self sealing, bituminous leak barrier surfaced with a smooth polyethylene film. Approved by UL, Dade County, ICC, State of Florida and Texas Department of Insurance. Each Roll contains approx. 200 sq ft. (18.6 sq.m.), 36” X 66.7’ (0.9m x 20.3m), and 60 mils thick. [StormGuard® Leak Barrier,](http://www.gaf.com/General/DocList.asp?WS=GAF&Silo=ARCH&App=PROD&UID=&CatID=0&ProdID=2&ProdName=StormGuard%28RT%29) by GAF.
   3. SHINGLE UNDERLAYMENT \*\*\*Choose One\*\*\*
      1. Water repellent, breather type cellulose/glass fiber composite roofing underlayment. Meets or exceed ASTM D226 and D4869 and approved by UL and the Florida Building Code. Each roll contains approximately 4 squares (432 sq. ft.) of material and is 36” x 144” [Shingle-Mate® Roof Deck Protection,](http://www.gaf.com/General/DocList.asp?WS=GAF&Silo=ARCH&App=PROD&UID=&CatID=1&ProdID=1&ProdName=SHINGLE%2DMATE%28RT%29) by GAF.
      2. Premium, water repellant, breather type non-asphaltic underlayment. UV stabilized polypropylene construction. Meets or exceeds ASTM D226 and D4869. Approved by Dade Country, Florida Building Code, and ICC. Each roll contains approximately 10 squares (1003 sq. ft.) of material and is 54” x 223’. Deck-Armor™ Premium Breathable Roof Deck Protection, by GAF.
      3. Non-woven fiberglass mat underlayment coated on both sides suing a highly filled polymer. Provides a fire barrier and water resistant. Approved by Dade Country, Florida Building Code, and ICC approval. VersaShield® Fire-Resistant Roof Deck Protection by GAF.
      4. Superior quality, water repellant, non-asphaltic underlayment. UV stabilized polypropylene construction. Meets or exceeds ASTM D226 and D4869. Each roll contains approximately 10 squares (1003 sq. ft.) of material and is 54” x 223’. TigerPaw™ Roof Deck Protection, by GAF.
      5. #15 Roofing Underlayment – By Others: Water repellent breather type cellulose fiber building paper. Meets or exceeds the requirements of ASTM D-4869 Type I.
      6. #30 Roofing Underlayment - By Others: Water repellent breather type cellulose fiber building paper. Meets or exceeds the requirements of ASTM D-4869 Type II.
      7. High-traction, moisture resistant synthetic underlayment. UV stabilized polypropylene construction. Meets or exceeds ASTM D226 and D4869. Each roll contains approximately 10 squares (1000 sq. ft.) of material and is 48” x 250’. **FeltBuster®** High-Traction Synthetic Roofing Felt, by GAF.
         1. \*Use of FeltBuster™ underlayment will require a layer of VersaShield underlayment installed over the deck to achieve a Class A Fire Rating for the shingles.
   4. ROOFING CEMENT
      1. Asphalt Plastic Roofing Cement meeting the requirements of ASTM D 4586, Type I or II.
      2. Roof Cement: ASTM D 4586, **Matrix™ 203 Plastic Roof Cement**.
      3. Roof Cement: ASTM D 4586. **Matrix™ 204 Wet/Dry Roof Cement.**
   5. ROOF ACCESSORIES
      1. UV stable solid molded PVC compression collar, Kynar PVDF coated 24 guage galvanized flange, **Ultimate Pipe Flashing** by Lifetime Tool.
   6. ATTIC VENTILATION
      1. Ridge Vents \*\*\*Choose One\*\*\*
         1. Rigid plastic ridge ventilator designed to allow the passage of hot air out of attics. For use in conjunction with eave/ soffit intake ventilation products. Provides 18.0 sq inches (11613 sq.mm/m) in NFVA per lineal foot. Each package contains 40 lineal feet (12.19m) of vent. Cobra® Rigid Vent 3™ ridge vent (includes 3” (76mm) galvanized ring shank nails), by GAF
         2. Flexible ridge ventilator designed to allow the passage of hot air from attics. For use in conjunction with eave/ soffit intake ventilation products. Provides 16.9 inches (1430 mm/m) NFVA (Hand Nail) and 14.1 inches (1193 mm/m) NFVA (Nail Gun) per lineal foot. Cobra® Exhaust Vent, by GAF.
         3. Flexible rigid plastic ridge ventilator designed to allow the passage of hot air from attics, while resisting snow infiltration. For use in conjunction with eave/soffit ventilation products. Provides 12.5 sq inches NFVA per lineal foot (8065 sq.m/m). Each package contains 20 lineal feet (6.10m) of vent. Cobra® Ridge Runner™ Ridge Vent by GAF.
         4. Rigid plastic ridge ventilator designed to allow the passage of hot air from attics while prohibiting snow infiltration. For use in conjunction with eave/ soffit intake ventilation products. Provides 18.0 sq inches (11613 sq.mm/m) NFVA per lineal foot. Each package contains 40 lineal feet (12.19m) of vent. Cobra® Snow Country™ or Cobra® Snow Country Advanced™ Ridge Vent (includes 3” (76mm) galvanized ring shank nails), by GAF.
      2. Hip Vents
         1. Rigid plastic ridge ventilator designed to allow the passage of hot air out of attics. For use in conjunction with eave/ soffit intake ventilation products. Provides 9 sq inches in NFVA per lineal foot. Cobra® Hip Vent (includes 3” (76mm) galvanized ring shank nails), by GAF
      3. Fascia and Soffit/Under Eave Vents
         1. Flexible rigid plastic ridge ventilator designed to allow the passage of hot air out of attics at the roof top along the eaves. For use in conjunction with ridge ventilation products. Provides 9.0 sq inches (11613 sq.mm/m) in NFVA per lineal foot. Each package contains 40 lineal feet (12.19m) of vent, Cobra® IntakePro™ Rooftop Intake Vent (includes 1-3/4” (44.5 mm) coil nails), by GAF®
         2. Surface mounted closeable soffit vent with intrgal screen to help prevent wildfire embers from being drawn into the attic. 16.5” x 9” (419 mm x 229 mm) paintable finish providing 56 sq. in. (36,131 sq mm) of NFA, **MasterFlow® EmberShield® Closeable Soffit Vent** by GAF
         3. Surface mounted, screened aluminum, corrosion resistant soffit vent. MasterFlow™ EAC Soffit Vent by GAF.
         4. Surface mounted, high impact resin, oval snap-in designed soffit vent. MasterFlow™ EAP Soffit Vent by GAF.
         5. Continuous aluminum 8ft section soffit vent. MasterFlow™ LSV8 Series Soffit Vent by GAF.
      4. Solar Powered Vents
         1. Solar powered roof exhaust vent designed to remove damaging heat and moisture from attics. Each vent provides 500 CFM and is solar powered to eliminate related utility costs. Green Machine™ Solar Powered Roof Exhaust Vent, by GAF.
         2. Solar powered intake booster vent designed for houses with insufficient soffit ventilation. Each vent provides up to 500 CFM airflow and is solar powered to eliminate related utility costs. Green Machine™ Solar Powered Intake Booster™ Vent, by GAF.
         3. Solar powered gable mounted exhaust ventilators designed to remove damaging heat and moisture from attics. Each vent provides 500 CFM and is solar powered to eliminate related utility costs. Green Machine™ Solar Powered Gable Vent, by GAF.
      5. Dual Powered Vents
         1. Dual powered roof exhaust vent designed to remove damaging heat and moisture from attics. Each vent provides 500 CFM and is solar and electric powered to provide continuous operation and reduce related utility costs. Green Machine™ Dual Powered Roof Exhaust Vent, by GAF.
         2. Dual powered gable mounted exhaust ventilators designed to remove damaging heat and moisture from attics. Each vent provides 500 CFM and is solar and electric powered to provide continuous operation and reduce related utility costs. Green Machine™ Dual Powered Gable Vent, by GAF.
      6. Powered Vents
         1. Powered, rooftop mounted exhaust ventilators designed to evacuate hot air from attics. Each vent permits the passage of 1000 to 1600 c.f.m. Thermostat and/or humidistat controlled. [MasterFlow™ ERV Series](http://www.gaf.com/General/DocList.asp?WS=GAF&Silo=ARCH&App=PROD&UID=&CatID=4&ProdID=6&ProdName=Master+Flow%28RT%29) power roof ventilators, by GAF.
         2. Powered, gable mounted exhaust ventilators designed to evacuate hot air from attics. Each vent permits the passage of 1280 to 1600 c.f.m. Thermostat and/or humidistat controlled. [MasterFlow™ EGV Series](http://www.gaf.com/General/DocList.asp?WS=GAF&Silo=ARCH&App=PROD&UID=&CatID=4&ProdID=6&ProdName=Master+Flow%28RT%29) power roof ventilators, by GAF
      7. Roof Louvers
         1. Rooftop mounted, square-top designed, high-impact resin exhaust ventilator designed to evacuate hot air from attics. Each vent provides 60 sq in NFVA. [MasterFlow™ RT-65](http://www.gaf.com/General/DocList.asp?WS=GAF&Silo=ARCH&App=PROD&UID=&CatID=4&ProdID=6&ProdName=Master+Flow%28RT%29) Passive Roof Louver, by GAF.
         2. Rooftop mounted, slant-back designed, metal exhaust ventilator designed to evacuate hot air from attics. Each vent provides 60 sq in NFVA. [MasterFlow™ SSB 960A](http://www.gaf.com/General/DocList.asp?WS=GAF&Silo=ARCH&App=PROD&UID=&CatID=4&ProdID=6&ProdName=Master+Flow%28RT%29) Passive Roof Louver, by GAF.
         3. Rooftop mounted, slant-back designed, high-impact resin exhaust ventilator designed to evacuate hot air from attics. Each vent provides 65 sq in NFVA. [MasterFlow™ IR65](http://www.gaf.com/General/DocList.asp?WS=GAF&Silo=ARCH&App=PROD&UID=&CatID=4&ProdID=6&ProdName=Master+Flow%28RT%29) Passive Roof Louver, by GAF.
         4. Rooftop mounted, low-profile square-top designed, high-impact resin exhaust ventilator designed to evacuate hot air from attics. Each vent provides 37 sq in NFVA. [MasterFlow™ IR-61](http://www.gaf.com/General/DocList.asp?WS=GAF&Silo=ARCH&App=PROD&UID=&CatID=4&ProdID=6&ProdName=Master+Flow%28RT%29) Passive Roof Louver, by GAF.
         5. Rooftop mounted, square-top, slant-back, metal exhaust ventilator designed to evacuate hot air from attics. Each vent provides 50 sq in NFVA. [MasterFlow™ NSB50A](http://www.gaf.com/General/DocList.asp?WS=GAF&Silo=ARCH&App=PROD&UID=&CatID=4&ProdID=6&ProdName=Master+Flow%28RT%29) Passive Roof Louver, by GAF.
         6. Rooftop mounted, square-top metal utility ventilator designed to evacuate hot air from attics, bathrooms, and kitchen ducts. Each vent provides 50 sq in NFVA. [MasterFlow™ RV50A](http://www.gaf.com/General/DocList.asp?WS=GAF&Silo=ARCH&App=PROD&UID=&CatID=4&ProdID=6&ProdName=Master+Flow%28RT%29) Metal Utility Vent, by GAF.
      8. Gable Louvers
         1. Surfaced mounted, flush or recessed one piece integral construction in thermoformed plastic or aluminum. Masterflow™ DA Series or SL Series Gable Louver by GAF.
         2. Circular surfaced mounted, one piece integral construction high-impact white plastic mini vent. Masterflow™ RLSC Series Circular Louver by GAF.
      9. Roof Turbines
         1. Rooftop mounted, stainless dual bearing, high performance, aluminum rotary turbine exhaust vents. MasterFlow™ AIC12 & AIC14 Rotary Turbine Vents by GAF.
         2. Rooftop mounted, stainless dual bearing, high performance, galvanized rotary turbine exhaust vents. MasterFlow™ GC12E Rotary Turbine Vent by GAF.
      10. Whole House Fans \*\*attic spaces greater than 1000sq.ft only\*\*
          1. Interior ceiling mounted belt drive deluxe house fan. Super quiet 1/3 hp permanent split capacitor motor, wall switch operated. MasterFlow™ 30BWHFS Belt Drive Deluxe Whole House Fan by GAF.
          2. Interior ceiling mounted direct drive standard house fan. Super quiet 1/4 hp permanent split capacitor motor, chain switch operated. MasterFlow™ WHFS24M Direct Drive Standard Whole House Fan by GAF.
          3. Interior ceiling mounted tandem whole house fan. 2 speed remote operated. MasterFlow™ WHFTAN1 Tandem Whole House Fan by GAF.
   7. VENTILATION ACCESSORIES
      1. Chimney Cap
         1. Stainless steel vented chimney cap. MasterFlow™ CC1313SS Safety Cap by GAF.
         2. Epoxy powder finished vented chimney cap. MasterFlow™ CC99, CC913 and CC1313 Safety Cap by GAF
         3. Epoxy powder finished adjustable bracket mount vented chimney cap. MasterFlow™ CC99, CC913 and CC1313 Safety Cap by GAF.
      2. Foundation Vent
         1. High Density Polyethylene constructed electric foundation vent provides up to 330 CFM/airflow. Independent laboratory approved. Masterflow™ PFV1 Foundation Vent by GAF.
         2. High Density Polyethylene constructed automatic foundation vent. Masterflow™ FVRABL Foundation Vent by GAF.
         3. Die Cast aluminum positive open/closed damper foundation vent. Masterflow™ 500 Foundation Vent by GAF.
         4. Galvanized steel or aluminum high level ventilation foundation vent. Masterflow™ BVSII Foundation Vent by GAF.
   8. NAILS
      1. Standard round wire, zinc-coated steel or aluminum; 10 to 12 gauge, smooth, barbed or deformed shank, with heads 3/8 inch (9mm) to 7/16 inch (11mm) in diameter. Length must be sufficient to penetrate into solid wood at least 3/4 inch (19mm) or through plywood or oriented strand board by at least 1/8 inch (3.18mm).
   9. METAL FLASHING \*\*\*Choose One\*\*\*
      1. .24 gauge hot-dip galvanized steel sheet, complying with ASTM A 653/A 653M, G90/Z275.
      2. 16-oz/sq ft (0.56mm) copper sheet, complying with ASTM B 370.
      3. 0.032-inch (0.8mm) aluminum sheet, complying with ASTM B 209.
3. EXECUTION
   1. EXAMINATION
      1. Do not begin installation until the roof deck has been properly prepared.
      2. If roof deck preparation is the responsibility of another installer, notify the architect or building owner of unsatisfactory preparation before proceeding.
   2. PREPARATION \*\*\*Tear-Off Only\*\*\*
      1. \*\*\*Tear Off\*\*\*
      2. Remove all existing roofing down to the roof deck.
      3. Verify that the deck is dry, sound, clean and smooth. It shall be free of any depressions, waves, and projections. Cover with sheet metal, all holes over 1 inch (25mm) in diameter, cracks over 1/2 inch (12mm) in width, loose knots and excessively resinous areas.
      4. Replace damaged deck with new materials.
      5. Clean deck surfaces thoroughly prior to installation of eaves protection membrane and underlayment.
   3. PREPARATION \*\*\*New Construction\*\*\*
      1. \*\*\*New Construction\*\*\*
      2. Clean deck surfaces thoroughly prior to installation of eaves protection membrane and underlayment.
      3. At areas that receive eaves protection membrane, fill knotholes and cracks with latex filler.
      4. Install crickets on the upslope side of all chimneys in the north, any chimney wider than 24” (610mm), and on all roofs steeper than 6/12.
   4. PREPARATION \*\*\*Recover Only\*\*\*
      * 1. \*\*\*Recover Only\*\*\*
      1. Verify that the deck is structurally sound and free of deteriorated decking. All deteriorated decking shall be removed and replaced with new materials.
      2. Verify that the existing shingles are dry, sound, clean and smooth. All curled, buckled or loose tabs shall be nailed down or removed.
      3. Clean shingle surfaces thoroughly prior to installation of eaves protection membrane and underlayment.
   5. SUBSTRATE INSTALLATION (Vented Nail Base Insulation)
      1. The structural roof deck shown in the plans shall be smooth and level and free of water or debris before the nail base insulation is installed. Apply vapor retarder if required.

NOTE: GAF recommends that the designer carefully considers the need for a vapor/air retarder.

* + 1. Installation shall follow the GAF written installation instructions.
    2. Fasten with ThermaCal® Fasteners to the supporting roof deck shown in the plans.
    3. Protect nail base insulation work from exposure to moisture damage and deterioration, primarily by prompt installation of the roofing, sheet metal and waterproofing work.
  1. INSTALLATION OF UNDERLAYMENTS \*\*Required for New/Tear off – Optional for Recover \*\*
     1. General:
        1. Install using methods recommended by GAF, in accordance with local building codes. When local codes and application instructions are in conflict, the more stringent requirements shall take precedence.
     2. Eaves:
        1. Install eaves edge metal flashing tight with fascia boards; lap joints 2 inches (51mm) and seal with plastic cement or high quality urethane sealant; nail at the top of the flange.
        2. In the north, and on all roofs between 2/12 and 4/12 (low slopes) install GAF leak barrier up the slope from eaves edge a full 36 inches (914mm) or to at least 24 inches (610 mm) beyond the interior “warm wall”. Lap ends 6 inches (152mm) and bond.
     3. Valleys:
        1. Install eaves protection membrane at least 36 (914mm) inches wide and centered on the valley. Lap ends 6 inches (152mm) and seal.
     4. Hips and Ridges:
        1. Install GAF leak barrier along entire lengths. If ridge vents are to be installed, position the GAF leak barrier so that the ridge slots will not be covered.
     5. Roof Deck:
        1. Install one layer of GAF roof deck protection over the entire area not protected by GAF leak barrier at the eaves or valley. Install sheets horizontally so water sheds and nail in place.
        2. On roofs sloped at 4:12 or greater, lap horizontal edges at least 2 inches (51mm) and at least 2 inches (51mm) over eaves protection membrane.
        3. On roofs sloped between 2:12 to less than 4:12, lap horizontal edges at least 19 inches (482 mm) and at least 19 inches (482mm) over eaves protection membrane.
        4. Lap ends at least 4 inches (102 mm). Stagger end laps of each layer at least 36 inches (914 mm).
        5. Lap GAF roof deck protection over GAF leak barrier in valley at least 6 inches (152mm).
     6. Deck-Armor™ Application
        1. Deck-Armor shall be installed over a clean, dry deck.
        2. Install Weather Watch® or StormGuard® Leak Barrier at eaves, valleys, rakes, skylights, dormers and other vulnerable leak areas.
        3. Lay Deck-Armor™ over deck and overlap 3” (76mm) at side laps and 6” (152mm) at end laps.
        4. For exposure to rain or snow, overlap 12” (305mm) at end laps.
        5. For side and end laps: fasten Deck-Armor 12” (305mm) o.c. (6” (152mm)o.c. for high wind areas).
        6. For middle of the roll: fasten Deck-Armor 24” (610mm) o.c. (12” (305mm) o.c. for high wind areas).
        7. For exposure to rain or snow, completely cover all side laps, end laps and fasteners with tape.
        8. For long term exposure see complete Deck-Armor installation instructions for side lap detail.
        9. If roof may be exposed to high winds, apply tape over all fasteners at the center of the roll to prevent rain or snow from entering at the fasteners.
        10. For slopes between 2:12 to less than 4:12, a double application of Deck-Armor is required. See complete Deck-Armor installation instructions for more information.
     7. Penetrations:
        1. Vent pipes: Install a 24 inch (610 mm) square piece of eaves protection membrane lapping over roof deck underlayment; seal tightly to pipe.
        2. Vertical walls: Install eaves protection membrane extending at least 6 inches (152mm) up the wall and 12 inches (305mm) on to the roof surface. Lap the membrane over the roof deck underlayment.
        3. Skylights and roof hatches: Install eaves protection membrane from under the built-in counterflashing and 12 inches (305mm) on to the roof surface lapping over roof deck underlayment.
        4. Chimneys: Install eaves protection membrane around entire chimney extending at least 6 inches (152mm) up the wall and 12 inches (305mm) on to the roof surface. Lap the membrane over the roof deck underlayment.
        5. Rake Edges: Install metal edge flashing over eaves protection membrane and roof deck underlayment; set tight to rake boards; lap joints at least 2 inches (51mm) and seal with plastic cement; secure with nails.
  2. INSTALLATION OF SHINGLES
     1. General:
        1. Install in accordance with GAF's instructions and local building codes. When local codes and application instructions are in conflict, the more stringent requirements shall take precedence.
        2. Minimize breakage of shingles by avoiding dropping bundles on edge, by separating shingles carefully (not by "breaking" over ridge or bundles), and by taking extra precautions in temperatures below 40 degrees F (4 degrees C).
        3. Handle carefully in hot weather to avoid scuffing the surfacing, or damaging the shingle edges.
     2. Placement and Nailing: \*\*new and tearoff\*\* \*\*\*Recover\*\*\*
        1. For maximum wind resistance along rakes, install any GAF starter strip containing sealant or cement shingles to underlayment and each other in a 4" (102mm) width of asphalt plastic roof cement.
        2. Secure shingle per GAF’s instructions or local codes.
        3. Placement of nails varies based on the type of shingle specified. Consult the application instructions for the specified shingle for details.
        4. Nails must be driven flush with the shingle surface. Do not overdrive or under drive the nails.
        5. Shingle offset varies based on the type of shingle specified. Consult the application instructions for the specified shingle for details.
     3. Placement and Nailing: \*\*recover only\*\* \*\*\*Recover\*\*\*
        1. Beginning with the starter strip, trim shingles so that they “nest” within the shingle located beneath it. This procedure will yield a first course that is typically 3” (76mm) to 4” (102mm) rather than a fully exposed shingle.
        2. For maximum wind resistance along rakes, install any GAF starter strip containing sealant or cement shingles to underlayment and each other in a 4" (102mm) width of asphalt plastic roof cement.
        3. Laterally, offset the new shingles from the existing keyways, to avoid waves or depressions caused by excessive dips in the roofing materials.
        4. Using the bottom of the tab on existing shingles, align subsequent courses.
        5. \*Note: DO NOT install standard sized shingles (5” exposure) over metric (5 5/8” exposure) shingles, as it will overexpose the shingles and reveal the nails. Use standard alignment methods to assure proper shingle placement.
        6. Secure shingle per GAF’s instructions or local codes.
        7. Placement of nails varies based on the type of shingle specified. Consult the application instructions for the specified shingle for details.
        8. Nails must be driven flush with the shingle surface. Do not overdrive or under drive the nails.
        9. Shingle offset varies based on the type of shingle specified. Consult the application instructions for the specified shingle for details.
     4. Valleys \*\*\*Choose a Method\*\*\*For Camelot Shingles use Open Valley only
        1. Install valleys using the "closed cut valley" method:
           1. Run the first course of shingles from the higher roof slope across the valley at least 12 inches (305mm).
           2. Run succeeding courses of shingles from the lower roof slope across the valley at least 12 inches (305mm) and nail not closer than 6 inches (152mm) to center of valley.
           3. Run shingles from the upper roof slope into the valley and trim 2 inches (51mm) from the center line.
     5. Penetrations
        1. All Penetrations are to be flashed according to GAF, ARMA and NRCA application instructions and construction details.
     6. Skylights and Roof Hatches
        1. Consult the manufacturer of the skylight or roof hatch for specific installation recommendations.
        2. Skylights and roof hatches shall be installed with pre-fabricated metal flashings specifically designed for the application of the unit.
  3. INSTALLATION OF ATTIC VENTILATION
     1. General
        1. Ventilation must meet or exceed current F.H.A., H.U.D. and local code requirements.
     2. Ridge / Soffit ventilation
        1. Install ridge vent along the entire length of ridges:
        2. Cut continuous vent slots through the sheathing, stopping 6 inches (152mm) from each end of the ridge.
        3. On roofs without ridge board, make a slot 1 inch (25mm) wide, on either side of the peak (2” (51mm) overall).
        4. On roofs with ridge board, make two slots 1-3/4 inches (44.5mm) wide, one on each side of the peak (3 ½” (89mm) overall).
        5. Install ridge vent material along the full length of the ridge, including uncut areas.
        6. Butt ends of ridge vent material and join using roofing cement.
        7. Install eaves vents in sufficient quantity to equal or exceed the ridge vent area.
     3. Roof and Gable Louvers:
        1. Cut vent hole through sheathing as specified by the manufacturer for the type of vent to be installed.
        2. Install a 24 inches (610mm) square of leak barrier, centered around the hole for roof louvers
        3. Install according to manufacturers instructions for flashing vent penetrations
        4. Install eave vents in sufficient quantity to equal or exceed the exhaust vent area, calculated as specified by manufacturer.
     4. Powered (& Solar Powered) Ventilators & Roof turbines:
        1. Cut vent hole through sheathing as specified by the manufacturer for the type of vent to be installed.
        2. On rooftop applications, install a 36 inches (914mm) square of leak barrier, centered around the hole
        3. Install according to manufacturers instructions for flashing vent penetrations
        4. Install eave vents in sufficient quantity to equal or exceed the exhaust vent area, calculated as specified by manufacturer
     5. Whole House Fans
        1. Install at desired locations in ceiling below attic space per manufacturer recommended location and application instructions.
  4. INSTALLATION OF VENTILATION ACCESSORIES
     1. Chimney Caps
        1. Install chimney caps to manufacturer recommendations
     2. Foundation Vents
        1. Install foundation vents per manufacturer recommendations and applications.
  5. PROTECTION
     1. Protect installed products from foot traffic until completion of the project.
     2. Any roof areas that are not completed by the end of the workday are to be protected from moisture and contaminants.

END OF SECTION