Copyright 2010 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

This Product MasterSpec Section is licensed by ARCOM to Georgia-Pacific Gypsum LLC ("Licensee").

This Product MasterSpec Section modifies the original MasterSpec text, and does not include the full content of the original MasterSpec Section.

Revisions made to the original MasterSpec text are made solely by the Licensee and are not endorsed by, or representative of the opinions of, ARCOM or The American Institute of Architects (AIA).  Neither AIA nor ARCOM are liable in any way for such revisions or for the use of this Product MasterSpec Section by any end user.  A qualified design professional should review and edit the document to suit project requirements.

For more information, contact Georgia-Pacific Gypsum LCC, 133 Peachtree Road, 8th Floor, Atlanta, GA 30303;  Phone: (800) 225-6119; Website: www.gpgypsum.com; Email: techservices@gapac.com.

For information about MasterSpec contact ARCOM at (800) 424-5080 or visit www.MasterSpec.com.

SECTION 092116.23 - GYPSUM BOARD SHAFT WALL ASSEMBLIES

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

GENERAL

RELATED DOCUMENTS

Retain or delete this article in all Sections of Project Manual.

Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

SUMMARY

Section Includes:  Gypsum board shaft wall assemblies.

ACTION SUBMITTALS

Product Data:  For each component of gypsum board shaft wall assembly.

LEED Submittals:

Product Data for Credit MR 4:  For products having recycled content, documentation indicating percentages by weight of postconsumer and preconsumer recycled content.  Include statement indicating cost for each product having recycled content.

"Product Certificates for Credit MR 5" Subparagraph below applies to LEED-NC, LEED-CS, and LEED for Schools.

Product Certificates for Credit MR 5:  For products and materials required to comply with requirements for regional materials, certificates indicating location of material manufacturer and point of extraction, harvest, or recovery for each raw material.  Include statement indicating distance to Project, cost for each regional material, and fraction by weight that is considered regional.

"Product Certificates for Credit MR 5" Subparagraph below applies to LEED-CI.  Retain option for Credit MR 5, Option 2.

Product Certificates for Credit MR 5:  For products and materials required to comply with requirements for regionally manufactured[ and regionally extracted and manufactured] materials.  Include statement indicating cost for each regionally manufactured material.

First subparagraph below applies to LEED-CI Credit MR 5, Option 1 and Option 2.

Include statement indicating location of manufacturer and distance to Project for each regionally manufactured material.

First subparagraph below applies to LEED-CI Credit MR 5, Option 2.

Include statement indicating location of manufacturer and point of extraction, harvest, or recovery for each raw material used in regionally extracted and manufactured materials.  Indicate distance to Project and fraction by weight of each regionally manufactured material that is regionally extracted.

"Laboratory Test Reports for Credit EQ 4" Subparagraph below applies to LEED for Schools.

Laboratory Test Reports for Credit EQ 4:  For gypsum board shaft wall systems, documentation indicating that products comply with the testing and product requirements of the California Department of Health Services' "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

INFORMATIONAL SUBMITTALS

Evaluation Reports:  For [shaft wall assemblies] [firestop tracks], from ICC-ES.

DELIVERY, STORAGE, AND HANDLING

Store materials inside under cover and keep them dry and protected against weather, condensation, direct sunlight, construction traffic, and other potential causes of damage.  Stack panels flat and supported on risers on a flat platform to prevent sagging.

FIELD CONDITIONS

Environmental Limitations:  Comply with ASTM C 840 requirements or with gypsum board manufacturer's written recommendations, whichever are more stringent.

For fast-track construction, Georgia-Pacific Gypsum recommends always including the option of moisture- and mold-resistant, glass-mat-faced shaft-liner and wallboard products.

Do not install interior products until installation areas are enclosed and conditioned.

Do not install panels that are wet, moisture damaged, or mold damaged.

Indications that panels are wet or moisture damaged include, but are not limited to, discoloration, sagging, and irregular shape.

Indications that panels are mold damaged include, but are not limited to, fuzzy or splotchy surface contamination and discoloration.

PRODUCTS

See Editing Instruction No. 1 in the Evaluations for cautions about named manufacturers and products.  For an explanation of options and Contractor's product selection procedures, see Section 016000 "Product Requirements."

PERFORMANCE REQUIREMENTS

Retain “Moisture- and Mold-Resistant Assemblies” Paragraph below when moisture- and mold-resistant assemblies are required.

Moisture- and Mold-Resistant Assemblies: Provide and install moisture- and mold-resistant glass-mat gypsum shaft-wall panel and wallboard products with moisture-resistant fiberglass mat faced surface where indicated on Drawings and in all locations that might be subject to limited moisture exposure during construction.

Indicate fire-resistance ratings of specific assemblies on Drawings or in "Gypsum Board Shaft Wall Assemblies" Article.

Fire-Resistance-Rated Assemblies:  For fire-resistance-rated assemblies, provide materials and construction identical to those tested in assembly indicated according to ASTM E 119 by an independent testing agency.

Retain "STC-Rated Assemblies" Paragraph below if shaft wall is part of STC-rated assemblies.  Indicate design designations of specific assemblies on Drawings.

STC-Rated Assemblies:  Provide materials and construction identical to those of assemblies tested according to ASTM E 90 and classified according to ASTM E 413 by a testing and inspecting agency.

Retain "Low-Emitting Materials" Paragraph below if required for LEED for Schools.

Low-Emitting Materials:  Gypsum shaft wall assemblies shall comply with the testing and product requirements of the California Department of Health Services' "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

GYPSUM BOARD SHAFT WALL ASSEMBLIES <Insert drawing designation>

Copy this article and re-edit for each product.

Insert number to complete drawing designation.  Use these designations on Drawings to identify each product.

Retain “Basis-of-Design Product” Paragraph below for basis-of-design specification.  Verify that design designations are indicated on Drawings.  For fiberglass paperless glass-mat -faced shaft-wall assemblies, refer to Underwriters Laboratories UL V473, Gypsum Association's GA File # WP 7073, GA File # WP 70747096, WHI design, GP/WA 120-01, 120-02 for 2-hour fire resistance rating;  GA File # WP 7001 and7000, WHI Design GPDG/WA 60-01 for 1-hour fire resistance rating; and GA File # WP 7452,WP7451 WHI Design GP/WA 180-01 for 3-hour fire resistance rating. A horizontal assembly design for fiberglass matpaperless shaft-wall, with a 2-hour fire resistance rating, is also available from Georgia-Pacific-P Gypsum.

Basis-of-Design Product:  As indicated on Drawings by design designation of a qualified testing agency.

Fire-Resistance Rating:  [As indicated] [1 hour] [2 hours] [3 hours] [4 hours] <Insert rating>.

Retain "STC Rating" Paragraph below if required to reduce airborne sound transmission.

STC Rating:  [As indicated] [51, minimum] <Insert rating>.

Studs:  Manufacturer's standard profile for repetitive members, corner and end members, and fire-resistance-rated assembly indicated.

Depth:  [As indicated] [2-1/2 inches (64 mm)] [4 inches (102 mm)] [6 inches (152 mm)].

Second option in "Minimum Base-Metal Thickness" Subparagraph below corresponds to 25 gage; third option corresponds to 20 gage.  Note that thicknesses offered by various manufacturers differ.  See the Evaluations for discussion of steel sheet thicknesses.

Minimum Base-Metal Thickness:  [As indicated] [0.018 inch (0.45 mm)] [0.033 inch (0.84 mm)] <Insert value>.

Runner Tracks:  Manufacturer's standard J-profile track with manufacturer's standard long-leg length, but at least [2 inches (51 mm)] <Insert dimension> long and matching studs in depth.

Third option in "Minimum Base-Metal Thickness" Subparagraph below corresponds to 25 gage; fourth option corresponds to 24 gage; fifth option corresponds to 20 gage.  Note that thicknesses offered by various manufacturers differ.  See the Evaluations for discussion of steel sheet thicknesses.

Minimum Base-Metal Thickness:  [As indicated] [Matching steel studs] [0.018 inch (0.45 mm)] [0.021 inch (0.53 mm)] [0.033 inch (0.84 mm)] <Insert value>.

Retain "Firestop Tracks" Paragraph below if required.

Firestop Tracks:  Provide firestop track at head of shaft wall on each floor level.

Retain "Elevator Hoistway Entrances" Paragraph below if required.

Elevator Hoistway Entrances:  Manufacturer's standard J-profile jamb strut with long-leg length of 3 inches (76 mm), matching studs in depth, and not less than [0.033 inch (0.84 mm)] <Insert dimension> thick.

Retain "Room-Side Finish" and "Shaft-Side Finish" paragraphs below or delete and show room- and shaft-side finishes on Drawings.

Room-Side Finish:  [As indicated] [Gypsum board] [Gypsum veneer plaster] [Cementitious backer units] <Insert finish>.

Shaft-Side Finish:  [As indicated] [Gypsum shaftliner board, Type X] [Gypsum shaftliner board, moisture- and mold-resistant Type X] [As indicated by fire-resistance-rated assembly design designation] <Insert finish>.

Retain "Insulation" Paragraph below if applicable.

Insulation:  Sound attenuation blankets.

PANEL PRODUCTS

Retain "Recycled Content of Gypsum Panel Products" Paragraph below to specify recycled content if applying for LEED Credit MR 4.  An alternative method of dealing with these credit requirements is to retain requirement in Section 018113.13 "Sustainable Design Requirements - LEED for New Construction and Major Renovations," Section 018113.16 "Sustainable Design Requirements - LEED for Commercial Interiors," Section 018113.19 "Sustainable Design Requirements - LEED for Core and Shell Development," Section 018113.23 "Sustainable Design Requirements - LEED for Schools" that gives Contractor the option and responsibility to determine how these credit requirements will be met.

Recycled Content of Gypsum Panel Products:  Postconsumer recycled content plus one-half of preconsumer recycled content not less than <Insert number> percent by weight.

Retain first "Regional Materials" Paragraph below for LEED-NC, LEED-CS, and LEED for Schools Credit MR 5 and LEED-CI Credit MR 5, Option 2; before retaining, verify availability of materials that comply.

Regional Materials:  Gypsum panel products shall be manufactured within 500 miles (800 km) of Project site from materials that have been extracted, harvested, or recovered, as well as manufactured, within 500 miles (800 km) of Project site.

Retain "Regional Materials" Paragraph below for LEED-CI Credit MR 5, Option 1; before retaining, verify availability of materials that comply.

Regional Materials:  Gypsum panel products shall be manufactured within 500 miles (800 km) of Project site.

Panel Size:  Provide in maximum lengths and widths available that will minimize joints in each area and that correspond with support system indicated.

Georgia-Pacific Gypsum does not manufacture a product complying with requirements of the "Gypsum Shaftliner Board, Type X" paragraph below.

Gypsum Shaftliner Board, Type X:  ASTM C 1396/C 1396M; manufacturer's proprietary fire-resistive liner panels with paper faces.

Retain "Products" Subparagraph and list of manufacturers and products below to require specific products or a comparable product from other manufacturers.

Products:  Subject to compliance with requirements, [provide the following] [provide one of the following]:

American Gypsum; Shaft Liner.

CertainTeed Corp.; ProRoc Shaftliner.

Lafarge North America, Inc.; Firecheck Type X Shaftliner.

National Gypsum Company; Gold Bond Brand Fire-Shield Shaftliner.

PABCO Gypsum; Pabcore Shaftliner Type X.

Temple-Inland Inc.; Fire-Rated SilentGuard Gypsum Shaftliner System.

USG Corporation; Sheetrock Brand Gypsum Liner Panel.

<Insert manufacturer's name; product name or designation>.

Thickness:  1 inch (25.4 mm).

Long Edges:  Double bevel.

Gypsum Shaftliner Board, Moisture- and Mold-Resistant Type X:  ASTM C 1658/C 1658M; manufacturer's proprietary fire-resistive liner panels with moisture- and mold-resistant core and surfaces.

Basis-of-Design Product:  Subject to compliance with requirements, provide Georgia-Pacific Gypsum; "DensGlass Shaftliner" or a comparable product by one of the following:

CertainTeed Corp.

Lafarge North America, Inc.

National Gypsum Company.

PABCO Gypsum.

Temple-Inland Inc.

USG Corporation.

<Insert manufacturer's name>.

Thickness:  1 inch (25.4 mm).

Long Edges:  Double bevel.

Mold Resistance:  ASTM D 3273, score of 10 as rated according to ASTM D 3274.

Retain "Gypsum Board" Paragraph below if exposed surfaces of shaft walls or backing panels of multilayer applications are gypsum board.

Gypsum Board:  As specified in Section 092900 "Gypsum Board."

Retain "Gypsum Base for Gypsum Veneer Plaster" Paragraph below if exposed surfaces of shaft walls will receive gypsum veneer plaster finish.

Gypsum Base for Gypsum Veneer Plaster:  As specified in Section 092613 "Gypsum Veneer Plastering."

Retain "Cementitious Backer Units" Paragraph below if exposed surfaces of shaft walls will receive ceramic tile finish.

Cementitious Backer Units:  As specified in [Section 092900 "Gypsum Board."] [Section 093000 "Tiling."]

NON-LOAD-BEARING STEEL FRAMING

Retain "Recycled Content of Steel" Paragraph below if required for LEED.  The USGBC allows a default value of 25 percent to be used for steel, without documentation; higher percentages can be claimed if they are supported by appropriate documentation.  The Steel Recycling Institute indicates that steel sheet typically has 23 percent postconsumer recycled content and 1.5 percent preconsumer recycled content.

Recycled Content of Steel:  Postconsumer recycled content plus one-half of preconsumer recycled content not less than [25] <Insert number> percent.

Steel framing complies with ASTM C 645 for material thickness; stud type and size do not apply.

Steel Framing Members:  Comply with ASTM C 645 requirements for metal unless otherwise indicated.

First option in "Protective Coating" Subparagraph below is the default for ASTM C 645; second option provides the same level of protection as the first but mandates hot-dip galvanizing; third option may be retained for greater corrosion protection.

Protective Coating:  [Coating with equivalent corrosion resistance of ASTM A 653/A 653M, G40 (Z120)] [ASTM A 653/A 653M, G40 (Z120), hot-dip galvanized] [ASTM A 653/A 653M, G60 (Z180), hot-dip galvanized] unless otherwise indicated.

"Firestop Tracks" Paragraph below specifies firestop tracks for isolating the top of shaft wall framing from structure above in specific fire-resistance-rated assemblies.  Products listed may need additional materials to achieve a fire-resistance rating; verify with manufacturer.  If retaining, revise to coordinate with rated assemblies and indicate design designations of assemblies on Drawings.

Firestop Tracks:  Top runner manufactured to allow partition heads to expand and contract with movement of the structure while maintaining continuity of fire-resistance-rated assembly indicated; in thickness not less than indicated for studs and in width to accommodate depth of studs.

Retain "Products" Subparagraph and list of manufacturers and products below to require specific products or a comparable product from other manufacturers.

Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

Fire Trak Corp.; Fire Trak System[ attached to studs with Fire Trak Posi Klip].

Grace Construction Products; FlameSafe FlowTrak System.

Metal-Lite, Inc.; The System.

Steel Network Inc. (The); [VertiClip SLD] [VertiTrack VTD] Series.

<Insert manufacturer's name; product name or designation>.

AUXILIARY MATERIALS

General:  Provide auxiliary materials that comply with manufacturer's written recommendations.

Trim Accessories:  Cornerbead, edge trim, and control joints of material and shapes as specified in [Section 092900 "Gypsum Board"] [Section 092613 "Gypsum Veneer Plastering"] that comply with gypsum board shaft wall assembly manufacturer's written recommendations for application indicated.

Steel Drill Screws:  ASTM C 1002 unless otherwise indicated.

Track Fasteners:  Power-driven fasteners of size and material required to withstand loading conditions imposed on shaft wall assemblies without exceeding allowable design stress of track, fasteners, or structural substrates in which anchors are embedded.

Retain "Expansion Anchors" Subparagraph below if expansion anchors are acceptable.  Verify safety factor with Project's structural engineer.  Revise to suit Project or insert specific load requirements and names of acceptable products.

Expansion Anchors:  Fabricated from corrosion-resistant materials, with capability to sustain, without failure, a load equal to 5 times design load, as determined by testing according to ASTM E 488 conducted by a qualified testing agency.

Retain "Power-Actuated Anchors" Subparagraph below if power-actuated fasteners are acceptable.  Verify safety factor with Project's structural engineer.

Power-Actuated Anchors:  Fastener system of type suitable for application indicated, fabricated from corrosion-resistant materials, with capability to sustain, without failure, a load equal to 10 times design load, as determined by testing according to ASTM E 1190 conducted by a qualified testing agency.

Sound Attenuation Blankets:  As specified in [Section 092900 "Gypsum Board."] [Section 092613 "Gypsum Veneer Plastering."]

Acoustical Sealant:  As specified in [Section 092900 "Gypsum Board."] [Section 092613 "Gypsum Veneer Plastering."]

EXECUTION

EXAMINATION

Examine substrates to which gypsum board shaft wall assemblies attach or abut, with Installer present, including hollow-metal frames, elevator hoistway door frames, cast-in anchors, and structural framing.  Examine for compliance with requirements for installation tolerances and other conditions affecting performance.

Examine panels before installation.  Reject panels that are wet, moisture damaged, or mold damaged.

Proceed with installation only after unsatisfactory conditions have been corrected.

PREPARATION

Retain this article for sprayed fire-resistive materials.

Sprayed Fire-Resistive Materials:  Coordinate with gypsum board shaft wall assemblies so both elements of Work remain complete and undamaged.  Patch or replace sprayed fire-resistive materials removed or damaged during installation of shaft wall assemblies to comply with requirements specified in Section 078100 "Applied Fireproofing."

After sprayed fire-resistive materials are applied, remove only to extent necessary for installation of gypsum board shaft wall assemblies and without reducing the fire-resistive material thickness below that which is required to obtain fire-resistance rating indicated.  Protect remaining fire-resistive materials from damage.

INSTALLATION

General:  Install gypsum board shaft wall assemblies to comply with requirements of fire-resistance-rated assemblies indicated, manufacturer's written installation instructions, and ASTM C 754 other than stud-spacing requirements.

Retain first paragraph below for building expansion joints with gypsum board shaft wall assemblies.  Include details on Drawings showing expansion-joint construction and locations.

Do not bridge building expansion joints with shaft wall assemblies; frame both sides of expansion joints with furring and other support.

Install supplementary framing in gypsum board shaft wall assemblies around openings and as required for blocking, bracing, and support of gravity and pullout loads of fixtures, equipment, services, heavy trim, furnishings, wall-mounted door stops, and similar items that cannot be supported directly by shaft wall assembly framing.

Fully detail elevator hoistway openings in shaft wall assemblies.  Manufacturers' written recommendations for framing elevator hoistway-entrance door openings differ.  Revise to suit Project and assemblies selected.  Insert requirements for other openings to suit Project.

Elevator Hoistway:  At elevator hoistway-entrance door frames, provide jamb struts on each side of door frame.

Fully detail support for items attached to shaft wall assemblies; "Reinforcing" Subparagraph below is an example only.  If retaining, indicate size of reinforcing plate on Drawings.  Insert requirements for other items to suit Project.

Reinforcing:  Where handrails directly attach to gypsum board shaft wall assemblies, provide galvanized steel reinforcing strip with [0.033-inch (0.84-mm)] <Insert dimension> minimum thickness of base metal (uncoated), accurately positioned and secured behind at least one layer of face panel.

Fully detail items penetrating shaft wall assemblies on Drawings.

Penetrations:  At penetrations in shaft wall, maintain fire-resistance rating of shaft wall assembly by installing supplementary steel framing around perimeter of penetration and fire protection behind boxes containing wiring devices, elevator call buttons, elevator floor indicators, and similar items.

See "Crack Control" Article in the Evaluations for discussion of assemblies subjected to differential structural movements.

Isolate perimeter of gypsum panels from building structure to prevent cracking of panels, while maintaining continuity of fire-rated construction.

If retaining "Firestop Tracks" Paragraph below, indicate locations and details of firestop tracks on Drawings.

Firestop Tracks:  Where indicated, install to maintain continuity of fire-resistance-rated assembly indicated.

Generally retain first option in "Control Joints" Paragraph below and show joints on Drawings to comply with ASTM C 840 requirements for spacing control joints.

Control Joints:  Install control joints [at locations indicated on Drawings] [according to ASTM C 840 and in specific locations approved by Architect] while maintaining fire-resistance rating of gypsum board shaft wall assemblies.

Retain "Sound-Rated Shaft Wall Assemblies" Paragraph below for sound-rated shaft walls or delete if sound or air leakage is not a concern.

Sound-Rated Shaft Wall Assemblies:  Seal gypsum board shaft walls with acoustical sealant at perimeter of each assembly where it abuts other work and at joints and penetrations within each assembly.

Retain "Cant Panels" Paragraph below for installation of gypsum board cants over projection into shafts or delete if no projections or if cants are specified in Section 055000 "Metal Fabrications."

Cant Panels:  At projections into shaft [exceeding 4 inches (102 mm)] [where indicated], install 1/2- or 5/8-inch- (13- or 16-mm-) thick gypsum board cants covering tops of projections.

Slope cant panels at least 75 degrees from horizontal.  Set base edge of panels in adhesive and secure top edges to shaft walls at 24 inches (610 mm) o.c. with screws fastened to shaft wall framing.

Where steel framing is required to support gypsum board cants, install framing at 24 inches (610 mm) o.c. and extend studs from the projection to shaft wall framing.

"Installation Tolerance" Paragraph below is based on recommendation for metal framing in ASTM C 840.

Installation Tolerance:  Install each framing member so fastening surfaces vary not more than 1/8 inch (3 mm) from the plane formed by faces of adjacent framing.

PROTECTION

Protect installed products from damage from weather, condensation, direct sunlight, construction, and other causes during remainder of the construction period.

Remove and replace panels that are wet, moisture damaged, or mold damaged.

Indications that panels are wet or moisture damaged include, but are not limited to, discoloration, sagging, and irregular shape.

Indications that panels are mold damaged include, but are not limited to, fuzzy or splotchy surface contamination and discoloration.

END OF SECTION 092116.23