SECTION 04085

MASONRY ANCHORS AND ACCESSORIES

PART 1	GENERAL

1.1	SECTION INCLUDES

*****************************************************************

NOTE: Delete items below not required for project.

*****************************************************************

A.	Masonry veneer anchors and ties.

B.	Stone veneer anchors and ties.

C.	Masonry accessories.

1.2	RELATED SECTIONS

A.	Section 04810 - Unit Masonry Assemblies.

B.	Section 04851 - Cut Stone Veneer.

C.	Section 04852 - Stone Masonry Veneer.

1.3	REFERENCES

*****************************************************************

NOTE:Delete references from the list below that are not actually required by the text of the edited section.

*************************************************************4	SUBMITTALS

A.	Submit under provisions of Section 01300.

B.	Product Data:  Manufacturer's data on each type of product furnished.

PART 2	PRODUCTS

2.1	MANUFACTURERS

Acceptable Manufacturer:  Heckmann Building Products Inc., 1501 N. 31st Avenue, Melrose Park, IL 60160

800-621-4140 or 708-865-2403 FAX: 708-865-2640

Email: Heckmann@worldnet.att.net.

Website:  www.heckmannbuildingprods.com.

*****************************************************************

NOTE: Delete paragraph below; coordinate with Division 1 requirements.

*****************************************************************

A.	Requests for substitutions will be considered in accordance with provisions of Section 01600.

B.	Substitutions:  Not permitted.

2.2	APPLICATIONS

A.  Provide anchoring systems that comply with ACI 530.1/ASCE 6/TMS 602.

2.3	MATERIALS

*****************************************************************

NOTE: Delete all but one style of vent or weep below, unless drawings or specifications indicate clearly where each type is to be used.

*****************************************************************

- Trash Mortar( Cavity Moisture Diverter:  No. 365; corrugated polystyrene, V-shaped, with weep holes; for insertion into cavity.

- Cavity Vent( Weep System: No. 366; corrugated polystyrene, designed to be set in mortar joint without impairing bond or bending.

- Core Cavity Vent( Weep System: No 367; corrugated polystyrene, designed to be set in mortar joint without imparing bond or bending.

- Weepholes: No. 330; clear plastic tube, ¼ inch (6 mm) inside diameter, 4 inches (100 mm) long.

- Cell Vent: No. 85; rectangular polypropylene vertical joint vent. [Regular: 3/8 inch wide x 2-1/2 inches high x 3-3/8 inches long] [Jumbo: 3/8 inch wide x 3-3/8 inches wide x 4 inches long]

- Mortar Maze: 11 inches (279 mm) wide x 5 feet (1.524 m) long for [1 inch (25.4 mm)] [2 inch (50.8 mm)] insulation.

- CavClear® Masonry Mat: Composed of a fluid conducting, nonabsorbant, mold and mildew resistant polymer mesh consisting of 100% recycled staple with a PVC binder [bonded to [Type IV, ASTM C 578 closed cell extruded polystyrene foam] [Type II, 1.5 pcf expanded] [Type IX, 2.0 pcf expanded] insulation]. The thickness of the CavClear® Masonry Mat shall be [3/4] [1] [1-1/4] inch.[The thickness of the insulation shall be [1] [1.5] [2] [2.5] [3] [4] inches.]

PART 3	EXECUTION

3.1	INSTALLATION

A.	Install as specified in applicable masonry section(s) and in accordance with manufacturer's instructions.

END OF SECTION