SPEC NOTE: This guide specification includes materials and installation procedures for Henry Permax 2.0 Spray Applied Polyurethane Wall Foam Insulation & Air Barrier. Henry Permax 2.0# Spray Applied Polyurethane Foam Insulation is a liquid two component, medium density expanding insulating foam intended for use in the cavity of rain screen wall assemblies.  Henry Permax 2.0 Spray Applied Polyurethane Foam Insulation in conjunction with Henry Blueskin® self-adhered transition membranes, primer and HE925 BES Sealant at terminations and penetrations meets ASTM E-2357 and the requirements of the Massachusetts Energy Code for the building envelope.   This specification should be adapted to suit the requirements of individual projects and the applicable building code. It is prepared in CSI three part format and should be included as a separate section under Division 7 - Thermal and Moisture Protection.

PART 1 - GENERAL

1.01	GENERAL REQUIREMENTS

A.	General Conditions, Supplementary Conditions, Instructions to Bidders and Division One General Requirements shall be read in conjunction with and govern this section.

B.	This Specification shall be read as a whole by all parties concerned.  Each Section may contain more or less than the complete Work of any trade.  The Contractor is solely responsible to make clear to the Subcontractors the extent of their Work.

1.02	DESCRIPTION

- Cavity Wall Design & Performance

  - The cavity wall assembly shall consist of [xx] inches of spray applied polyurethane insulation & Air Barrier installed over clean dry substrates or other materials compatible with spray applied polyurethane insulation.

  - The wall design shall incorporate a continuous vapor barrier membrane with a water vapor permeance of no more than 0.05 perms and be located on the warm side of the insulating materials as established by the design professional.

  - The cavity wall air barrier system shall consist of materials to bridge and seal the following air leakage pathways and gaps including but not limited to:

a.		Connections of the continuous walls to the roof air barrier.

b.		Connections of the walls to the foundations.

c.		Seismic and expansion joints.

d.	Openings and penetrations of window and door frames, store front, curtain wall.

e.	Piping, conduit, duct and similar penetrations.

f.	Masonry ties, screws, bolts and similar penetrations.

g.	All other air leakage pathways in the building envelope.

B.	Supply labor, materials and equipment to complete the Work as shown on the Drawings and as specified herein to provide:

1.	A continuous air/vapor barrier membrane system and accessories, including transitions and thru-wall flashing and connection membranes over the interior wyth of the exterior walls of the building envelope using components tested and compliant with  ASTM E 2357.

2.	A continuous spray applied polyurethane foam building insulation & Air Barrier over the air/vapor barrier membrane of the building envelope meeting ASTM E 2357.

1.03	RELATED SECTIONS

- Fluid Applied Non Permeable Air Barrier Membrane:	Section 07 27 26

- Self-Adhered Non Permeable Air Barrier Membrane:	Section 07 27 13

C.	Self-Adhered Roof Underlayment Membrane:		Section 07 52 16

D.	Hot Fluid Applied Roofing Membrane:			Section 07 55 63

E.	Exterior Gypsum					Section 09 25 3

F.  	Cast-in-place Concrete					Section 03 30 0

G.	Unit Masonry						Section 04 20 0

1.04	REFERENCES

A.	The following standards are applicable to this section:

1.	ASTM E 2357: Standard Test Method for Determining Air Leakage of Air Barrier Assemblies

2.	ASTM E 84: Surface Burning Characteristics

3.	ASTM E 2178: Standard Test Method for Air Permeance of Building Materials

4.	ASTM E 96: Water Vapor Transmission of Materials

5.	ASTM C 518: Standard Test Method for Steady-State Thermal Transmission Properties by Means of the Heat Flow Meter Apparatus

6.	International Building Code, Section 2603.0 Foam Plastic

7.	AC377: Acceptance Criteria For Spray-Foam Plastic Insulation

8.	ASHRAE 189.1: Standard For The Design of High-Performance “Green” Buildings Except-Low Rise Residential Buildings

1.05	SUBMITTALS

A.	Submit documentation from an approved independent testing laboratory certifying the air leakage rates of the air barrier membranes assembly, including primary membrane, primer, sealants and spray polyurethane foam building insulation have been tested to meet ASTM E 2357.

B.	Submit documentation from an approved independent testing laboratory certifying the air leakage of the air barrier membranes, including primary membrane, transition sheets, sealants and spray polyurethane foam building insulation exceed the requirements of the Massachusetts Energy Code and in accordance with ASTM E 2178.

1.	Test report submittals shall include test results on a porous substrate and include sustained wind load and gust load air leakage results.

C.	Submit manufacturers’ current product data sheets for the air barrier membrane system and spray polyurethane foam building insulation.

D.	Submit documentation from an approved independent testing laboratory certifying the long term thermal value and aged R value of 6.45 minimum at 1” thick.

E.	Submit documentation from manufacturer certifying compatibility of primary air/vapor barrier membrane and spray polyurethane foam building insulation, including transition sheets, flashings and sealants.

F.	Submit two samples _x_ minimum size of each air/vapor barrier material required for project.

1.06	QUALITY ASSURANCE

A.	Submit document stating the applicator of the primary air/vapor barrier membranes and insulation spray polyurethane foam building insulation specified in this section is qualified by the manufacturer as suitable for the execution of the Work.

B.	Perform Work in accordance with manufacturer’s written instructions and this specification.

C.	Maintain one copy of manufacturer’s written instructions on site.

D.	Allow access to Work site by the spray polyurethane foam building insulation manufacturer’s representative.

E.	Components used shall be sourced from one manufacturer including primary air/vapor barrier membrane, air barrier sealants, primers and spray polyurethane foam building insulation,

- Single-Source Responsibility:

1.	Obtain air/vapor barrier, flexible flashing and spray polyurethane foam building insulation materials from a single manufacturer regularly engaged in manufacturing the product.

2.	Provide products which comply with all federal, state and local regulations controlling use of volatile organic compounds (VOCs).

1.07	MOCK-UP

A.	Construct mock-up in accordance with Section 01 43 39 – Mock-ups.

B.	Provide mock-up of air/vapor barrier, flashing and spray polyurethane foam building insulation under provisions of Section 01 33 23 - Shop Drawings, Product Data and Samples.

C.	Where directed by [engineer] [architect] [consultant], construct typical exterior wall panel, 8 foot long by 8 foot high, incorporating substrate, window frame, insulation & air barrier and showing air barrier membrane application details.

D.	Owner may exercise option to test mock-up for air leakage in accordance with ASTM E783 and water leakage in accordance with E1105 at the Owners’ expense.

E.	Allow 48 hours for inspection of mock-up by [engineer] [architect] [consultant] before proceeding with air barrier work. Mock-up may remain as part of the Work.

1.08	PRE-INSTALLATION CONFERENCE

A.	Contractor shall convene prior to commencing Work of this section, under provisions of Section 01 31 19 – Project Meetings.

B.	Ensure all contractors responsible for creating a continuous plane of air tightness and insulation are present.

1.09	DELIVERY, STORAGE AND HANDLING

A.	Refer to current Product Technical Data sheets for proper storage and handling.

B.	Deliver materials to the job site in undamaged and original packaging indicating the name of the manufacturer and product. Protect stored materials from direct sunlight.

C.	Keep solvent away from open flame or excessive heat.

1.10	CO-ORDINATION

- Ensure continuity of the air/vapor barrier membrane assembly throughout prior to start.

- Ensure continuity of spray polyurethane foam building insulation throughout the scope of this section.

1.11	ALTERNATES

- Submit request for alternates in accordance with Section 01 25 00 – Substitution Procedures.

- Submit requests for alternates a minimum of ten (10) working days prior to bid date

- Alternate submission to include:

1.	Evidence that alternate materials meet or exceed performance characteristics of Product requirements as well as documentation from an approved independent testing laboratory certifying the air leakage rates and vapor permeance rates of the air barrier membranes, including primary membrane, transition sheets and spray polyurethane foam building insulation exceed the requirements of ASTM E 2357, the Massachusetts Energy Code and in accordance with ASTM E 2178.

2.	Evidence system is accredited and listed with ABAA as an air barrier assembly

3.	Evidence that alternate materials meet or exceed performance characteristics of product requirements as well as documentation from an approved independent testing laboratory certifying the aged R value 6.45 aged.

4.	Ten (10) references clearly indicating the membrane manufacturer has successfully completed projects of similar scope and nature for a minimum of ten (10) years

5.	Manufacturer’s complete set of details for spray polyurethane foam building insulation and air/vapor barrier membrane system showing a continuous plane of insulation and air tightness throughout the building envelope.

- Acceptable alternates will be confirmed by addendum. Substitute materials not approved in writing prior to bid date shall not be permitted for use on this project.

1.12	WARRANTY

A.	Manufacturer's Material Warranty

1.	Contractor hereby warrants the Insulation & Air Barrier and membrane flashings for water intrusion and leak coverage for two years.

2.	Insulation & Air Barrier manufacturer hereby warrants the insulation and membrane flashings against faulty materials for a period of [10 years] [15 years] from the date of substantial completion.

B.	Manufacturer's System Warranty

1.	Contractor hereby warrants the Insulation & Air Barrier and membrane flashings for leak coverage for two years.

2.	Insulation manufacturer hereby warrants the insulation and membrane flashings for leak coverage as a result of faulty materials for a period of [10 years] [15 years] from the date of substantial completion.

- PART 2 – PRODUCTS

2.01	MATERIALS

- Air/vapor barrier membrane components and spray polyurethane foam building insulation must be obtained as a single-source from the membrane manufacturer to ensure total system compatibility and integrity.

Acceptable Manufacturer: 		Henry Company.

909 N Sepulveda Blvd, Suite 650

El Segundo, CA  90245

(800) 598-7663

Web Site: www.Henry.com

| Water Vapor Permeance WVP of Outermost Layer of Wall Assembly perms (ng/Pa.s.m2) | Maximum Permissible Air Leakage Rates cfm/sf @ 0.3" w.g. (l/s.m2 @ 75 Pa) |
| --- | --- |
| 0.25 (15) < WVP ≤ 1 (60) | 0.01 (0.05) |
| 1 (60) < WVP ≤ 3 (170) | 0.02 (0.1) |
| 3 (170) < WVP ≤ 14 (800) | 0.03 (0.15) |
| > 14 (800) | 0.04 (0.2) |

2.02	INSULATION & AIR BARRIER (Basis of Design)

A.	Primary spray polyurethane foam building insulation shall be HE735 PERMAX 2.0 a spray applied polyurethane foam material as manufactured by Henry, the B Component of a 2-part Polyurethane Foam system which, when combined with the appropriate A Component, will react to produce a seamless, monolithic and durable polyurethane closed cell foam insulation suitable for commercial insulating and air barrier applications.  Insulation shall have the following physical properties and 3rd party accreditations:

1.	Air leakage: <0.0006 L/(s.m2) @ 75Pa, per ASTM E 2178

2. 	Tested to ASTM E 2357 for the air barrier assembly

3.	Meet ICC AC377 standards

4.	Vapor permeance minimum: 0.95 perms @ 1in, 0.47 perms @ 2in, per ASTM E96

- 4.	Aged R value minimum: >6.45/in @ 1 inch thickness, > 6.2/in @ 4 inches

- 5.	Nominal Density: 2.0 pounds per cubic foot

6.	Tested ASTM E-84 for FSI and SDI

7.	Accreditation and current full system listing by ABAA as found on www.airbarrier.org

- 2.03	 AUXILIARY MATERIALS

- Furnish auxiliary materials recommended by air/vapor barrier manufacturer for intended use, compatibility and meeting ASTM E-2357

- Self-adhering modified asphalt/polyethylene flashing to counterflash metal flashings

- Blueskin TWF by Henry Company

- Self-adhering modified asphalt/polyethylene flashing for rough openings, window and door flashings and transitions

- Blueskin SA or Blueskin SA LT by Henry Co.

- Flashing Primers: liquid primer to prepare substrates for receipt of self-adhered modified asphalt/polyethylene flashings. Selection based upon local VOC regulations in effect at time of construction:

- AquaTac water based primer by Henry Co.

- Blueskin Adhesive by Henry Co.

- Blueskin LVC Adhesive by Henry Co.

Sealant for transition strip, penetrations and flashing membrane terminations, complying with ASTM C920, Type S, Grade NS, and ASTM C719 ±25%, Maximum VOC 5 g/l

- HE925 BES Sealant by Henry Co.

- PART 3 – EXECUTION

3.01	EXAMINATION

A.	Examine substrates, areas, and conditions over which the primary spray polyurethane foam building insulation will be applied with installer present for compliance with requirements.

B.	Verify that surfaces and conditions are suitable prior to commencing work of this section.  Do not proceed with installation until unsatisfactory conditions have been corrected.

- C.	Prior to commencement of Work, report in writing to the Architect [consultant] any defects in surfaces or conditions that may adversely affect the performance of products installed under this section.

- D.	Do not proceed with installation of spray applied polyurethane foam insulation until placement of masonry ties, clips, connectors and continuous air/vapor barrier Work has been completed and reviewed by Architect [consultant].

- E.  	Commencement of work shall be deemed as acceptance of substrate and site conditions by installing contractor.

- 3.02	SURFACE PREPARATION

A.	Clean, prepare and treat substrate according to manufacturer's written instructions.  Provide clean, dust-free and dry substrate for spray polyurethane foam building insulation application.

- B.	Ensure installed air/vapor barrier membrane, transition and flashing membranes are fully adhered to all applicable surfaces and capable of receiving spray polyurethane foam.

- 3.03	PrOTECTION

- A.	Mask and cover adjacent areas to protect from over spray.

- B.	Ensure any required foam stop or back up material are in place to prevent over-spray.

- C.	Seal off existing ventilation equipment.  Install temporary ducting and fans to ensure exhaust fumes do not contribute to airborne particles.  Provide for make-up air where necessary.

- D.	Erect barriers, isolate area and post warning signs to advise non-protected personnel to avoid the spray area.

- 3.04	Application OF SPRAYED POLYURETHANE FOAM

A.	Spray-application of spray polyurethane foam building insulation shall be installed in accordance with manufacturer’s written instructions.

- B.	Apply only when surfaces and environmental conditions are within limits prescribed by the material manufacturer.

- C.	Apply in consecutive passes as recommended by manufacturer to thickness as indicated on drawings and to achieve the specified R-Value.  Passes shall be not less than ½ inch and not greater than 3 inches.

- D.	Do not install spray polyurethane foam building insulation within 3 inches of heat emitting devices such as light fixtures and chimneys. Follow manufacturers’ recommendation to detail.

- E.	Finished surface of spray polyurethane foam building insulation to be free of voids and fully sealed around embedded objects.

F.	Remove masking materials and over spray from adjacent areas immediately after the foam surface has hardened.  Ensure cleaning methods do not damage work performed by other sections.

- G.	Trim as required any excess thickness that would interfere with the application of cladding/covering system by other trades.

- H.	Clean and restore surfaces soiled or damaged by Work of the section.

- I.	Do not permit adjacent Work to be damaged by Work of this section.  Damage to work of this section caused by other trades shall be repaired at the expense of the subcontractor causing the damage.

3.05	Field Quality Control

A.	Site Tests

- 1.	The Authorized Installer shall conduct daily visual inspection, adhesion/cohesion testing and density measurements as outlined by the ULC S705.2-02 Installation Standard and recorded in the Daily Work Record and kept at site for routine inspections.  Copies of the Daily Work Record shall be forwarded to the owner or owner’s representative upon request.  Costs incurred for daily testing and inspection by the installer shall be borne by the contractor.

2.	If the inspection reveals defects, the Licensed Contractor shall immediately rectify all such defects at his cost.

3.06	Tolerances

A.	Maximum variation from indicated thickness: minus (-) ¼ inch; plus (+) ½ inch.

3.07	Protection

A.	Protect the spray polyurethane foam from ultraviolet radiation when installed on the exterior of a building.

B.	When installed on the interior of the building, cover the spray polyurethane foam per applicable building code.

C. 	Repair damaged or compromised spray polyurethane foam using specified materials prior to Substantial Completion.

END OF SECTION