For assistance with detail review, additional options, radius closures, penetration closures and specialty one-of-a-kind products, contact Johns Manville Roofing Accessories Technical Services 1-800-445-1500,

E-mail - roofacc@jm.com   Website - www.jm.com

SECTION 05812

WALL [EXPANSION] [CONTROL][SEISMIC] JOINT ASSEMBLIES

GENERAL

RELATED DOCUMENTS

Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

SUMMARY

This Section includes the following:

Elastomeric-sheet-covered, bellows-type wall [expansion] [control] [seismic] joint assemblies.

RELATED SECTIONS

Section [        -             ]:  Wood nailers.

Section [07620 - Sheet Metal Flashing and Trim] [        -             ]:  Metal flashings.

Section 07716 -[            ]: Roof expansion joint assemblies.

PERFORMANCE REQUIREMENTS

General:  Provide wall [expansion] [control] [seismic] joint covers that, when installed, remain watertight within movement limitations specified by manufacturer.

Movement:  Provide wall [expansion] [control] [seismic] joint covers that accommodates [    ] inches (     mm) of horizontal width movement, [    ] inches  (     mm) of horizontal depth movement and    [    ] inches (     mm) of vertical movement.  (Note:  Insert amount of joint movement, provide schedule at the end of this section for different conditions or schedule/indicate joint movement on drawings.)

SUBMITTALS

General:  Submit each item in this Article according to the Conditions of the Contract and Division 1 Specification Sections.

Product data for joint cover specified.

Shop drawings showing fabrication and installation of wall joint covers including plans, sections, details of components, anchorage details, intersections, transitions, and fittings and attachments to other units of Work.

Furnish manufacturer’s standard size samples of proposed joint cover.

QUALITY ASSURANCE

Fabrications:  Provide factory fabricated corners, transitions, intersections, and terminations, fully covered under the joint cover manufacturer’s warranty.  Field fabricated corners, transitions, intersections, and terminations not permitted.

COORDINATION AND SCHEDULING

Coordinate delivery and installation of joint covers to prevent damage and provide timely integration of units with adjacent construction.

PRODUCTS

MANUFACTURER

Johns Manville Expand-O-Gard.

Section 01600 - Material and Equipment:  Product options and substitutions. Substitutions not permitted.

SHEET METAL MATERIALS  (Note: Other metals available - contact JM)

Stainless Steel:  AISI Type 304, complying with ASTM A 167, 2D annealed finish, soft, except where harder temper is required for forming or performance; minimum 0.018 inch (0.46 mm) thick.

Copper:  ASTM B 370, temper as required for forming; minimum 16 oz. (0.56 mm thick).

Lead Coated Copper:  ASTM B 370, temper as required for forming with lead coating of 0.06 psf on exposed copper surfaces; minimum 16 oz. (0.56 mm thick).

Sheet Aluminum:  ASTM B 209 (ASTM B 209M) alloy 3003-H14, mill finish; minimum 0.032 inch (0.81 mm) thick except as otherwise indicated.

Zinc-Coated Steel:  ASTM A 924/A 924M lock-forming quality, hot-dip galvanized according to ASTM A 525, G 60 (ASTM A 525M, Z 275) class coating; minimum 26 gage, (0.56 mm) thick.

FLEXIBLE SHEET MATERIALS AND INSULATION

EPDM Membrane:  Nonreinforced flexible, [black] [white] EPDM conforming to ASTM D 4637, 60 mils (1.3 to 1.6 mm) thick.

Neoprene Membrane:  Nonreinforced flexible, black neoprene, 60 mils (1.3 to 1.6 mm) thick.  (Note: Include where prolonged exposure to process oils or animal fats is an issue.  EPDM has greater UV resistance.)

[Bellows Support:  Closed cell foam, minimum thickness of 1/4 inch (6.3mm).  (Note: Include bellows support if radius shape of bellows must be maintained for aesthetic reasons)]

[Insulation:  Johns Manville Microlite L speciality fiberglass insulation wrapped in 4 mil minimum thickness polyethylene sleeve and supported by continuous neoprene coated nylon fabric vapor retarder.  (Note: The bellows support, if used for aesthetic reasons holds the membrane to the proper shape over the joint, and is not intended to be the joint insulation.  Include this paragraph if the reduction of heat loss or sound through the joint is required.)]

MISCELLANEOUS ACCESSORIES

Fasteners:   Corrosion resistant fasteners compatible with flange metal and equivalent in corrosion resistance, of proper length and type for substrate.

2.05	WALL [EXPANSION] [CONTROL] [SEISMIC]  JOINT COVER ASSEMBLIES

A.	General:  Provide manufacturer's standard assemblies of sizes and types indicated, including prefabricated corner, transition, termination and joint-intersection units, splicing units, adhesives, coatings, and other components as recommended by joint cover manufacturer for a complete installation.  Fabricate assemblies specifically for required applications.

Metal-Flanged, Bellows-Type Wall [Expansion] [Control] [Seismic]  Joint Cover for Concealed Flange Application:  Provide assemblies consisting of elastomeric sheet, adhesively and mechanically combined to metal flanges by bifurcation process, either flat double metal or angle formed to fit detail.

Style:  [As indicated] [WS][-INS  (Note:  Include suffix for insulated system)].

Joint Bellows Width:  [As indicated.] [4 inch (101mm)] [6 inch (152mm)] [8 inch (203mm)] [10 inch (254mm)] [12 inch (304mm)] [      inch (    mm)].  (Note: Wider widths available.  Contact JM.)

Membrane Cover:  [Black EPDM] [White EPDM] (Note: Black EPDM is standard.) [Neoprene (Note:  Include where prolonged exposure to process oils or animal fats is an issue.  EPDM has greater UV resistance).

[Bellows Support: Closed cell foam. (Note: Include bellows support if radius shape of bellows must be maintained for aesthetic reasons)]

Transition Style(s):  [PF-] [FF-] [EG-] [EW-]  (Note: Insert various style conditions and coordinate style number locations with the drawings where the drawings do not clearly detail.)

Metal Flanges:  [Stainless steel] [Copper] [Lead coated copper] [Sheet aluminum] [Zinc-coated (galvanized) steel]  (Note: Other metals available,  contact JM),  [unpunched] [punched with 3/4 inch  (19mm) diameter holes spaced 4 inches (100mm) on center].  (Note: Copper or stainless steel flanges are recommended where contact with masonry is part of the design.)

[Insulate joint with integrally attached insulation system, factory sized for width and depth of joint.]

Metal-Flanged, Bellows-Type Wall [Expansion] [Control] [Seismic]  Joint Cover for Exposed Flange Application:  Provide assemblies consisting of elastomeric sheet adhesively and mechanically combined to metal flanges by bifurcation process, either flat double metal or angle formed to fit detail.

Style:  [As indicated] [F] [-INS (Note: Include suffix for insulated system)].

Joint Bellows Width:  [As indicated.] [4 inch (101mm)] [6 inch (152mm)] [8 inch (203mm)] [10 inch (254mm)] [12 inch (304mm)] [      inch (    mm)].   (Note: Wider widths available.  Contact JM.)

Membrane Cover:  [Black EPDM] [White EPDM] (Note: Black EPDM is standard.) [Neoprene (Note:  Include where prolonged exposure to process oils or animal fats is an issue.  EPDM has greater UV resistance)].

Transition Style(s):  [PF-] [FF-] [EG-] [EW-]  (Note: Insert various style conditions and coordinate style number locations with the drawings where the drawings do not clearly detail.)

Flange Metal:  2-1/4 inch (56mm) wide double metal construction, 0.018 inch (0.46mm) thick type 304- 2D stainless steel (Note:  Other metals available, contact JM), [unpunched] [punched with 1/4  inch (6.3mm) diameter holes spaced 12 inches (304 mm) on center].

[Insulate joint with integrally attached insulation system, factory sized for width and depth of joint.]

EXECUTION

EXAMINATION

Verify that items affecting work of this Section are in place and positioned correctly.  Do not begin installation until substrates have been inspected and are determined to be in satisfactory condition.  [Wood blocking and substrates shall be fully anchored at proper location and elevation.]

INSTALLATION

Comply with manufacturer's instructions for handling and installing  joint covers and materials, except where more stringent requirements are indicated.

Provide uniform profile throughout length of each installation; do not stretch elastomeric sheets.

[Set flanges in full bed of sealant.]

Splice adjoining sections, corners, transitions, intersections, and terminations using expansion joint manufacturer furnished splice kit.  Clean splice area to assure proper adhesion of splice strip.  Prime metal flanges to assure proper adhesion of splice strip.  Adjacent sections shall be aligned and uniform in profile.

END OF SECTION