SHORT FORM SPECIFICATION

For assistance with detail review, additional options, radius closures, penetration closures and specialty one-of-a-kind products, contact Johns Manville Roofing Accessories Technical Services 1-800-445-1500,

E-mail - roofacc@jm.com  Website - www.jm.com

Insulated and Non-Insulated Wall [Expansion] [Control] [Seismic] Joint Cover  (Vertical joints with concealed metal flanges)

Product description for insertion into Part 2 of spec.

A.	Wall [Expansion] [Control] [Seismic] Joint Cover:  Johns Manville Expand-O-Gard.

1.	Style: [As indicated] [WS] [-INS (Note:  Include suffix for insulated system)].

2.  	Joint Bellows Width:  [As indicated.] [4 inch (101mm)] [6 inch (1521mm)] [8 inch (203mm)] [10 inch (254mm)] [12 inch (304mm)] [      inch (     mm)].  (Note: Wider widths available.  Contact JM.)

3.	Bellows:  0.060 inch (1.5mm) thick non-reinforced [{black}{white} E(EPDM)] [N(neoprene) (Note: Include where prolonged exposure to process oils or animal fats is an issue.  EPDM has greater UV resistance.)] bellows adhesively and mechanically combined to metal flanges by bifurcation process.

4.	[Bellows Support:  Closed cell foam, 1/4 inch (6.3mm) minimum thickness (Note: Iinclude bellows support if radius shape of bellows must be maintained for aesthetic reasons) .]

5.	Flange Metal:  4 inch (100mm) wide [16 oz. (0.56mm) copper] [16 oz. (0.56mm) lead coated copper] [0.018 inch (0.46mm) thick type 304 - 2D stainless steel] [26 gage (0.56mm) G60 hot dipped galvanized steel]  (Note:  Other metals available, contact JM), [unpunched] [punched with 3/4 inch (19mm) diameter holes spaced 4 inches (100mm) on center].  (Note: Copper or stainless steel flanges are recommended where contact with masonry is part of design.)

6.	Provide matching factory-fabricated corners, transitions, intersections and terminations.

7.	[Insulated [Expansion] [Control] [Seismic] Joint:  Integrally attached system consisting of Microlite “L” specialty fiberglass insulation wrapped in 4 mil minimum thickness polyethylene sleeve and supported by neoprene coated nylon fabric vapor retarder.  (Note:  The bellows support holds the membrane to the proper shape over the joint, and is not intended to be the joint insulation.  Include this paragraph if the reduction of heat loss or sound through the joint is required.)]

8.	[Fasteners:  Corrosion resistant fasteners compatible with flange metal and equivalent in corrosion resistance, of proper length and type for substrate.]

Product installation for insertion into Part 3 of spec.

A.	Wall [Expansion] [Control] [Seismic] Joint Cover:  Install joint cover and accessories in strict accordance with manufacturer’s written instructions, providing a permanent weather tight installation.

1.	Set flanges in full bed of sealant.  Attach flanges securely to substrate, allowing proper spacing at splices.  Splice adjoining sections, corners, transitions, intersections and terminations using joint manufacturer furnished splice kit.  Prime metal flanges to assure proper adhesion of splice strip.