# SECTION 07 21 00

# BUILDING INSULATION

# For best results, display hidden notes to specifier.

** NOTE TO SPECIFIER **  Knauf; glass fiber thermal insulation for exterior walls, roofs, and ceilings; acoustical insulation.
 .
 This section is based on the products of Knauf Fiber Glass GmbH, which is located at:
    One Knauf Drive
    Shelbyville, IN  46176
    Tel: (317) 398-4434
    Tel: (800) 825-4434
    Fax: (317) 398-3675
    www.knaufinsulation.com
[ Additional Product Data ]

 This section covers Knauf's batt and blanket, board, blowing, and specialty insulations, for thermal and acoustical applications.

Knauf makes premium fiber glass insulation for industrial and commercial use, air handling, residential, metal building, and OEM markets.  About the time Knauf was started in 1978, the insulation business had become rather predictable and complacent.  It was time for change, and that's what Knauf offered:  new ideas about performance and quality, innovative products, service, and a 'let's do it' attitude.  For the beginning, our customers had the same sort of 'we're in this together' team approach, and it's paid off.  Today, Knauf is the fastest-growing manufacturer of premium fiber glass insulation with plants located in Shelbyville, Indiana, and Lanett, Alabama.
 .

- GENERAL

  - SECTION INCLUDES

** NOTE TO SPECIFIER **  Delete items below not required for project.

    - Thermal insulation in exterior walls, ceilings, and roofs.

    - Acoustical insulation.

  - RELATED SECTIONS

** NOTE TO SPECIFIER **  Delete any sections below not relevant to this project; add others as required.

    - Section 07 24 00 - Exterior Insulation and Finish Systems:  Insulation that is part of the finish system assembly.

    - Section 07 26 00 - Vapor Retarders:  Vapor retarders that are separate from insulation.

    - Section 07 41 13 - Metal Roof Panels:  Insulation factory-installed in panels.

    - Section 07 51 00 - Built-Up Bituminous Roofing:  Roof insulation.

    - Section 07 53 00 - Elastomeric Membrane Roofing:  Roof insulation.

    - Section 07 55 00 - Protected Membrane Roofing:  Roof insulation.

    - Section 23 07 13 - Duct Insulation:  Duct liner and duct wrap.

    - Section 23 07 16 - HVAC Equipment Insulation:  Insulation on mechanical equipment.

    - Section 23 31 16.13 - Fibrous-Glass Ducts.

  - REFERENCES

** NOTE TO SPECIFIER **  Delete references from the list below that are not actually required by the text of the edited section.

    - ASTM C 423 - Standard Test Method for Sound Absorption and Sound Absorption Coefficients by the Reverberation Room Method; 2000.

    - ASTM C 518 - Standard Test Method for Steady-State Thermal Transmission Properties by Means of the Heat Flow Meter Apparatus; 1998.

    - ASTM C 612 - Standard Specification for Mineral Fiber Block and Board Thermal Insulation; 2000a.

    - ASTM C 665 - Standard Specification for Mineral-Fiber Blanket Thermal Insulation for Light Frame Construction and Manufactured Housing; 1998.

    - ASTM C 764 - Standard Specification for Mineral Fiber Loose-Fill Thermal Insulation; 1999.

    - ASTM C 1136 - Standard Specification for Flexible, Low Permeance Vapor Retarders for Thermal Insulation; 2000.

    - ASTM E 84 - Standard Test Method for Surface Burning Characteristics of Building Materials; 2000a.

    - ASTM E 96 - Standard Test Methods for Water Vapor Transmission of Materials; 2000.

    - ASTM E 136 - Standard Test Method for Behavior of Materials in a Vertical Tube Furnace At 750 Degrees C; 1999.

    - NAIMA - Recommendations for Installation in Residential and Other Light-Frame Construction - Fiber Glass Building Insulation; North American Insulation Manufacturers Association; 1999.

    - NAIMA - Recommendations for Installation in Residential and Other Light-Frame Construction - Fiber Glass Loose Fill Insulation; North American Insulation Manufacturers Association; 1997.

    - TAPPI T 803 - Puncture Resistance of Container Board; TAPPI; 1999.

  - SUBMITTALS

    - Submit under provisions of Section 01 30 00.

    - Product Data: Submit manufacturer's literature describing the products to be used, showing compliance with specified requirements; include installation instructions.

  - DELIVERY, STORAGE AND HANDLING

    - Protect insulation from physical damage and from becoming wet, soiled, or  covered with ice or snow.  Comply with manufacturer's recommendations for handling, storage and protection during installation.

    - Label insulation packages to include material name, production date and/or product code.

  - QUALITY ASSURANCE

    - 3rd Party Validation UL Environment Required for Minimum  50% Post Consumer Recycle Content and Formaldehyde Free.

    - EUCEB Exonerated Fiber

- PRODUCTS

  - MANUFACTURERS

    - Acceptable Manufacturer:  Knauf Insulation, which is located at: One Knauf Dr.  ; Shelbyville, IN 46176; Toll Free Tel: 800-825-4434; Fax: 317-398-3675; Email: bob.gardner@knaufinsulation.com ; Web:  www.knaufinsulation.us.

** NOTE TO SPECIFIER **  Delete one of the following two paragraphs; coordinate with requirements of Division 1 section on product options and substitutions.

    - Substitutions:  Not permitted.

    - Requests for substitutions will be considered in accordance with provisions of Section 01 60 00.

  - APPLICATIONS/SCOPE

** NOTE TO SPECIFIER **  The following is an example of how to specify different types of insulation for different applications.  If the different types, R-values, and/or thicknesses are indicated on the drawings, this article is not required.  Otherwise, determine which applications are necessary and add any other applications.  Then review the insulation types in the next article and determine which type should be used for each application -- the names of the types used here refer to the types specified below.  Insert R-values if thicknesses are not indicated on the drawings.

    - Exterior Stud Walls:  Batt type.

      - R-Value:  ______.

** NOTE TO SPECIFIER **  Delete two of the following three paragraphs.

      - Vapor Retarder:  FSK-25 facing.

      - Vapor Retarder:  Kraft facing.

      - Vapor Retarder:  Separate.

    - Exterior Concrete and Masonry Walls:  Rigid board type applied to interior face.

      - R-Value:  ________.

** NOTE TO SPECIFIER **  Delete one of the following two paragraphs.

      - Vapor Retarder:  FSK facing.

      - Vapor Retarder:  ASJ facing.

    - Basement Walls:

      - R-Value:  ______.

** NOTE TO SPECIFIER **  Delete one of the following two paragraphs.

      - Type:  Extra wide batt type applied to interior face.

      - Type:  Batt type applied between furring strips.

    - Attic/Ceiling Rafters:  Blown type.

      - R-Value:  ______.

    - Roof Rafters, With No Covering:  Batt type.

      - R-Value:  ______.

      - Vapor Retarder:  FSK-25 facing.

    - Floor Joists Over Crawl Space:  Batt type.

      - R-Value:  ______.

** NOTE TO SPECIFIER **  Delete one of the following two paragraphs.

      - Vapor Retarder:  FSK-25 facing, with facing up (on warm side).

      - Vapor Retarder:  Kraft facing, with facing up (on warm side).

    - Cathedral Ceilings (Gypsum Board Covering):  High density batt type.

      - R-Value:  ______.

** NOTE TO SPECIFIER **  Delete one of the following two paragraphs.

      - Vapor Retarder:  Kraft facing.

      - Vapor Retarder:  None.

    - Above Soffits:  Batt type.

      - R-Value:  ______.

    - Interior Partitions Indicated with STC Rating:  Batt type.

    - Above Interior Ceilings:  Batt type.

      - Thickness:  _____.

    - Theater - On Exposed Ceilings and Walls Above 8 Feet (2440 mm) Above Floor Level:  Black acoustical insulation.

** NOTE TO SPECIFIER **  Delete one of the following two paragraphs.

      - Type:  Batt type.

      - Type:  Board type.

      - Thickness:  ________.

  - MATERIALS

    - Rigid Board Insulation:  Glass Mineral  Wool  thermal insulation complying with ASTM C 612, Type 1A or 1B; insulation exclusive of facing non-combustible when tested in accordance with ASTM E 136; Knauf Insulation Board with ECOSE Technology.

      - R-value as indicated when tested in accordance with ASTM C 518.

** NOTE TO SPECIFIER **  Delete all of the following thickness and R-value combinations not required.  If more than one thickness is required, edit to indicate where each thickness is to be used.

      - 1 Inch (25 mm) Thickness:  R-value of 4.3.

      - 1-1/2 Inch (38 mm) Thickness:  R-value of 6.5.

      - 2 Inch (51 mm) Thickness:  R-value of 8.7.

      - 2-1/2 Inch (64 mm) Thickness:  R-value of 10.9.

      - 3 Inch (76 mm) Thickness:  R-value of 13.0.

      - 3-1/2 Inch (89 mm) Thickness:  R-value of 15.2.

      - 4 Inch (102 mm) Thickness:  R-value of 17.4.

      - Size:  Maximum sizes available, to avoid jointing to greatest extent possible.

** NOTE TO SPECIFIER **  Delete all but one of the following density paragraphs.  Some thicknesses are not available in some densities.  1.6 pcf density is also available, with lower R-values.

      - Density:  2.25 lb/cu ft (36 kg/cu m) minimum.

      - Density:  3.0 lb/cu ft (48 kg/cu m) minimum.

      - Density:  4.25 lb/cu ft (68 kg/cu m) minimum.

      - Density:  6.0 lb/cu ft (96 kg/cu m) minimum.

      - Dimensional Stability:  Linear shrinkage less than 0.3 percent.

** NOTE TO SPECIFIER **  Delete all but one of the three facing descriptions below.  The first is unfaced.  FSK facing is not available in 4.25 pcf density.  ASJ facing is not available in 2.25 pcf density.

      - Facing:  None, unfaced.

        - Surface Burning Characteristics:  Maximum flame spread of 25, maximum smoke developed of 50, when tested in accordance with ASTM E 84.

        - Noise Reduction Coefficient:  1.00, when tested on 2 inch (50 mm) samples in accordance with ASTM C 423.

      - Facing:  Foil-scrim-kraft (FSK) vapor retarder faced.

        - Surface Burning Characteristics:  Maximum flame spread of 25, maximum smoke developed of 50, when tested in accordance with ASTM E 84.

        - Noise Reduction Coefficient of 3.0 pcf (48 kg/cu m) Density Product:  0.75, when tested on 2 inch (50 mm) samples in accordance with ASTM C 423.

        - Noise Reduction Coefficient of 6.0 pcf (96 kg/cu m) Density Product:  0.60, when tested on 2 inch (50 mm) samples in accordance with ASTM C 423.

        - Vapor Retarder Perm Rating:  Maximum 0.02 perms (1.1 ng/(Pa s sq m)) when tested in accordance with ASTM C 1136.

        - Puncture Resistance:  25, when tested in accordance with TAPPI T 803.

      - Facing:  All service jacket (ASJ) vapor retarder faced.

        - Surface Burning Characteristics:  Maximum flame spread of 25, maximum smoke developed of 50, when tested in accordance with ASTM E 84.

        - Noise Reduction Coefficient of 3.0 pcf (48 kg/cu m) Density Product:  0.65, when tested on 2 inch (50 mm) samples in accordance with ASTM C 423.

        - Noise Reduction Coefficient of 6.0 pcf (96 kg/cu m) Density Product:  0.50, when tested on 2 inch (50 mm) samples in accordance with ASTM C 423.

        - Vapor Retarder Perm Rating:  Maximum 0.02 perms (1.1 ng/(Pa s sq m)) when tested in accordance with ASTM C 1136.

        - Puncture Resistance:  50, when tested in accordance with TAPPI T 803.

# 18.      Free of Formaldehyde:  Insulation is manufactured with bio-based binder and

no formaldehyde.

# 19.      VOC Emission:  Low VOC emission certified by UL Environment GREENGUARD  Gold.  (formerly Children and Schools)

20.      Recycled Content:  Minimum of 50% “post-consumer” recycled material.

    - Foil-Faced Batt Insulation:  EcoBatt Glass Mineral Wool thermal insulation complying with ASTM C 665; insulation exclusive of facing non-combustible when tested in accordance with ASTM E 136; extra wide stapling flanges.

      - R-value as indicated when tested in accordance with ASTM C 518.

** NOTE TO SPECIFIER **  Delete all of the following thickness and R-value combinations.  If more than one thickness is required, edit to indicate where each thickness is to be used.  12 inch thickness is available only with the FSK-25 facing.

      - 3-1/2 Inch (89 mm) Thickness:  R-value of 11.

      - 3-1/2 Inch (89 mm) Thickness:  R-value of 13.

      - 6-1/4 Inch (159 mm) Thickness:  R-value of 19.

      - 10 Inch (254 mm) Thickness:  R-value of 30.

      - 12 Inch (305 mm) Thickness:  R-value of 38.

      - Size:  Maximum sizes available, to avoid jointing to greatest extent possible.

      - Width for Metal Framing Application:  Same as framing center to center dimension.

      - Width for Wood Framing Application:  Maximum of 1 inch (25 mm) less than framing center to center dimension.

** NOTE TO SPECIFIER **  Delete one of the two facing descriptions below.  Only the FSK-25 may be left exposed.

      - Facing:  Foil-scrim-kraft (FSK-25) vapor retarder faced; ASTM C 665, Type III, Class A; insulation exclusive of facing non-combustible when tested in accordance with ASTM E 136.

        - Surface Burning Characteristics:  Maximum flame spread of 25, maximum smoke developed of 50, when tested in accordance with ASTM E 84.

        - Vapor Retarder Perm Rating:  Maximum 0.04 perms (2.3 ng/(Pa s sq m)) when tested in accordance with ASTM C 1136.

      - Facing:  Foil vapor retarder faced; ASTM C 665, Type III, Class B.

        - Vapor Retarder Perm Rating:  Maximum 0.05 perms (2.9 ng/(Pa s sq m)) when tested in accordance with ASTM C 1136.

12.      Free of Formaldehyde:  Insulation is manufactured with bio-based binder and

no formaldehyde.

# 13.	VOC Emission:  Low VOC emission certified by UL Environment GREENGUARD  Gold.  (formerly Children and Schools)

.

14.      Recycled Content:  Minimum 50% “post-consumer” recycled material.

    - Kraft Faced Batt Insulation:  EcoBatt Glass Mineral Wool thermal insulation complying with ASTM C 665, Type II, Class C; insulation exclusive of facing non-combustible when tested in accordance with ASTM E 136; extra wide stapling flanges.

- R-value as indicated when tested in accordance with ASTM C 518.

- 3-1/2 Inch (89 mm) Thickness:  R-value of 11.

- 3-1/2 Inch (89 mm) Thickness:  R-value of 13 (high density).

- 3-1/2 Inch (89 mm) Thickness:  R-value of 15 (high density).

- 5-1/2 Inch (140 mm) Thickness:  R-value of 21 (high density).

- 6-1/4 Inch (159 mm) Thickness:  R-value of 19.

- 6-1/2 Inch (165 mm) Thickness:  R-value of 22.

- 8-1/4 Inch (210 mm) Thickness:  R-value of 30 (high density).

- 9 Inch (229 mm) Thickness:  R-value of 26.

- 10 Inch (254 mm) Thickness:  R-value of 30.

- 10-1/4 Inch (261 mm) Thickness:  R-value of 38 (high density).

- 12 Inch (305 mm) Thickness:  R-value of 38.

- Size:  Maximum sizes available, to avoid jointing to greatest extent possible.

- Width for Metal Framing Application:  Same as framing center to center dimension.

- Width for Wood Framing Application:  Maximum of 1 inch (25 mm) less than framing center to center dimension.

- Vapor Retarder Perm Rating:  Maximum 1.0 perms (57 ng/(Pa s sq m)) when tested in accordance with ASTM E 96.

- Free of Formaldehyde:  Insulation is manufactured with bio-based binder and no formaldehyde.

- VOC Emission:  Low VOC emission certified by UL Environment GREENGUARD  Gold.  (formerly Children and Schools)

- Recycled Content:  Minimum 50% “post-consumer” recycled material.

- Product Transparency and Ingredient Disclosure-Declare Red List Free and UL Environment-EPD(Environmental Product Declarations)

    - Unfaced Batt Insulation:  EcoBatt Glass Mineral Wool thermal insulation complying with ASTM C 665, Type I, Class A; non-combustible when tested in accordance with ASTM E 136.

- R-value as indicated when tested in accordance with ASTM C 518

- 3/4 Inch (19 mm) Thickness:  R-value of 3.

- 1-1/2 Inch (38 mm) Thickness:  R-value of 5.

- 3-1/2 Inch (89 mm) Thickness:  R-value of 11.

- 3-1/2 Inch (89 mm) Thickness:  R-value of 13 (high density).

- 3-1/2 Inch (89 mm) Thickness:  R-value of 15 (high density).

- 5-1/2 Inch (140 mm) Thickness:  R-value of 21 (high density).

- 6-1/4 Inch (159 mm) Thickness:  R-value of 19.

- 6-1/2 Inch (165 mm) Thickness:  R-value of 22.

- 8-1/4 Inch (210 mm) Thickness:  R-value of 30 (high density).

- 8-1/2 Inch (216 mm) Thickness:  R-value of 25.

- 9 Inch (229 mm) Thickness:  R-value of 26.

- 10 Inch (254 mm) Thickness:  R-value of 30.

- 10-1/4 Inch (261 mm) Thickness:  R-value of 38 (high density).

- 12 Inch (305 mm) Thickness:  R-value of 38.

- Size:  Maximum sizes available, to avoid jointing to greatest extent possible.

- Width for Metal Framing Application:  Same as framing center to center dimension.

- Width for Wood Framing Application:  Maximum of 1 inch (25 mm) less than framing center to center dimension.

- Surface Burning Characteristics:  Maximum flame spread of 25, maximum smoke developed of 50, when tested in accordance with ASTM E 84.

- Free of Formaldehyde:  Insulation is manufactured with bio-based binder and no formaldehyde.

# VOC Emission:  Low VOC emission certified by UL Environment GREENGUARD  Gold.  (formerly Children and Schools)

- Recycled Content:  Minimum 50% “post-consumer” recycled material.

- Product Transparency and Ingredient Disclosure-Declare Red List Free and UL Environment-EPD(Environmental Product Declarations)

E.  Acoustical Batt Insulation:  EcoBatt Glass Mineral Wool insulation complying with ASTM C 665; non-combustible when tested in accordance with ASTM E 136; Knauf Quiet Therm.

      - Size:  Maximum sizes available, to avoid jointing to greatest extent possible.

      - Stud Walls and Rafter Spaces:  Thickness to nominally fill cavity.

      - Over Ceilings:  Minimum thickness of ______.

** NOTE TO SPECIFIER **  Delete one of the two facing descriptions below.  Only the unfaced batts may be left exposed.

      - Facing:  None, unfaced; ASTM C 665, Type I, Class A.

        - Surface Burning Characteristics:  Maximum flame spread of 25, maximum smoke developed of 50, when tested in accordance with ASTM E 84.

        - Noise Reduction Coefficient:  1.00, when tested on 2 inch (50 mm) samples in accordance with ASTM C 423.

      - Facing:  Kraft paper faced; ASTM C 665, Type II, Class C; extra wide stapling flanges.

      - Free of Formaldehyde:  Insulation is manufactured with bio-based binder and no formaldehyde..

      - VOC Emission:  Low VOC emission certified by   UL Environment GREENGUARD Gold(formerly Children and Schools)

      - Recycled Content:  Minimum 50% “post-consumer” recycled material.

      - Product Transparency and Ingredient Disclosure-Declare Red List Free and UL   Environment-EPD(Environmental Product Declarations)

F. Black Acoustical Insulation:  Glass Mineral Wool insulation with smooth black facing; insulation exclusive of facing non-combustible when tested in accordance with ASTM E 136.

1. Blanket Insulation:  ASTM C 665, Type I, Class A; Knauf Wall and Ceiling Liner M with ECOSE Technology.

        - Noise Reduction Coefficient of 1.5 pcf (24 kg/cu m) Density Product:  0.90, when tested on 2 inch (50 mm) samples in accordance with ASTM C 423.

** NOTE TO SPECIFIER **  Delete all but one of the following thickness and density combinations.  Thickness and density determines noise reduction coefficient and sound absorption.

        - Thickness:  1/2 inch (13 mm), 1.5 lb/cu ft (24 kg/cu m) density.

        - Thickness:  1 inch (25 mm), 1.0 lb/cu ft (16 kg/cu m) density.

        - Thickness:  1 inch (25 mm), 1.5 lb/cu ft (24 kg/cu m) density.

        - Thickness:  1 inch (25 mm), 2.0 lb/cu ft (32 kg/cu m) density.

        - Thickness:  1-1/2 inches (38 mm), 1.0 lb/cu ft (16 kg/cu m) density.

        - Thickness:  1-1/2 inches (38 mm), 1.5 lb/cu ft (24 kg/cu m) density.

        - Thickness:  2 inches (51 mm), 1.0 lb/cu ft (16 kg/cu m) density.

        - Thickness:  2 inches (51 mm), 1.5 lb/cu ft (24 kg/cu m) density.

2. Board Insulation:  ASTM C 612, Type 1A or 1B; Knauf Black Acoustical Board with ECOSE Technology.

        - Maximum Air Velocity In Plenums:  4000 ft/min (1219 m/min).

** NOTE TO SPECIFIER **  Delete all but one of the following thickness and density combinations.  Thickness and density determines noise reduction coefficient and sound absorption.

        - Thickness:  1 inch (25 mm), 3.0 lb/cu ft (48 kg/cu m) density.

        - Thickness:  1-1/2 inches (38 mm), 3.0 lb/cu ft (48 kg/cu m) density.

        - Thickness:  2 inches (51 mm), 2.25 lb/cu ft (36 kg/cu m) density.

        - Thickness:  2 inches (51 mm), 3.0 lb/cu ft (48 kg/cu m) density.

3. Surface Burning Characteristics:  Maximum flame spread of 25, maximum smoke developed of 50, when tested in accordance with ASTM E 84.

4. Water Vapor Sorption:  Less than 3 percent by weight when tested in accordance with ASTM C 1104.

5. Free of Formaldehyde:  Insulation is manufactured with bio-based binder and no formaldehyde.

6. VOC Emission:  Low VOC emission certified by UL Environment GREENGUARD  Gold.( formerly Children and Schools)

7. Recycled Content:  Minimum 50% “post-consumer” recycled material.

G. Blown Insulation:  Unbonded, virgin fibrous glass, for pneumatic placement, complying with ASTM C 764, Type I; non-combustible when tested in accordance with ASTM E 136; Knauf Insulation Jet Stream Ultra, EcoFill Wx, and Expert glass mineral wool insulation.

- Installed Thickness in Open Applications: As required to achieve R-value of ______ based on testing in accordance with ASTM C518.

- Closed Cavity Applications.

- Surface Burning Characteristics: Maximum flame spread  of 5, maximum smoke developed of 5, when tested in accordance with ASTM E 84.

- Critical Radiant Flux:  Greater than 0.12 W/sq cm, when tested in accordance with ASTM E 970.

- Color:  White.

- Free of Formaldehyde:  Insulation is manufactured with no formaldehyde.

- VOC Emission:  Low VOC emission certified by UL Environment GREENGUARD  Gold. (formerly Children and Schools)

- Recycled Content:  Minimum 50% “post-consumer” recycled material.

- Product Transparency and Ingredient Disclosure-Declare Red List Free and UL Environment-EPD(Environmental Product Declarations)

H. Accessory Materials and Fasteners:  Provide all materials required for complete and proper installation of insulation, whether specified or not

I. Separate Vapor Retarders:  As specified in Section 07 26 00.

- EXECUTION

  - EXAMINATION

    - Examine the areas and conditions under which work of this section will be installed.

    - Verify that adjacent materials are dry and ready to receive insulation.

    - Verify mechanical and electrical services within walls have been tested and inspected.

    - Notify Architect in writing of conditions detrimental to performance of work in this section.

    - Do not proceed with installation until unsatisfactory conditions have been corrected.

  - INSTALLATION - BATTS, BLANKETS, AND BOARDS

    - Install in accordance with NAIMA "Recommendations for Installation in Residential and Other Light-Frame Construction - Fiber Glass Building Insulation" and manufacturer's instructions.

** NOTE TO SPECIFIER **  Delete one of the two following surface application descriptions.  If both are required, edit to indicate where each is used.

    - Surface Application:  Apply insulation directly to surface with appropriate spindle or prong-type anchors.

      - Fasten anchors to steel surfaces by welding the pin to metal or by using pre-attached heads and welded through the insulation.

      - Fasten anchors to other substrates with adhesive. Follow manufacturer's recommendations for surface preparation and adhesive pattern.

      - Impale insulation on anchor and secure with washer.

      - Select pin lengths to ensure tight fit. Protect pin tips where subject to human contact.

      - See manufacturer's diagram for impaling pin pattern.

i.	Surface Application:  Apply insulation with adhesive. Follow adhesive manufacturer's recommendations for surface preparation and adhesive pattern.

ii.  Between Furring Strips, Hat-Channels, and Z-Shaped Furring:  Install insulation between furring members; use fastening system recommended by furring strip manufacturer.

    - Between Metal Studs, Rafters, and Joists:  Friction fit insulation between framing members after cover material has been installed on one side of the cavity.

- Unfaced Insulation:  In applications without a cover material and where framing depth is larger than insulation thickness, use wire or metal straps to hold insulation in place

- Faced Insulation:  Tape attachment flanges to face of metal framing prior to applying interior finish.

- Wall Heights Over 8 Feet (2440 mm) and Ceilings:  Provide supplementary support to hold insulation in place until finish surface is applied.

    - Between Wood Studs, Rafters, and Joists:

      - Unfaced Insulation:  Friction fit insulation between framing members after cover material has been installed on one side of cavity. In applications without a cover material, use wire or metal straps to hold insulation in place.

** NOTE TO SPECIFIER **  Delete one of the following two paragraphs.

      - Faced Insulation:  Staple attachment flanges to face or side of framing member every 8 to 12 inches (200 to 305 mm) on verticals, every 6 to 8 inches (150 to 200 mm) on horizontals and slopes.

      - Faced Insulation:  Friction fit insulation between framing members after cover material has been installed on one side of cavity. In applications without a cover material, use wire or metal straps to hold insulation in place.

    - Between Open Web Bar Joists:  Secure with 16 or 18 gage wire running diagonally or perpendicular to insulation, spaced at 18 to 24 inches (460 to 610 mm).

    - Over Suspended Ceilings:  Install insulation with face contacting back of ceiling panels; butt insulation tightly together at edges to prevent thermal leaks.

    - Maintain vapor retarder integrity by tightly abutting adjacent insulation.

    - Repair punctures or tears in vapor retarder facing by taping. Follow tape manufacturer's application recommendations.

    - Do not leave kraft or standard foil facings exposed.

  - INSTALLATION - BLOWN INSULATION

    - Install in accordance with NAIMA "Recommendations for Installation in Residential and Other Light-Frame Construction - Fiber Glass Loose Fill Insulation" and manufacturer's instructions; follow manufacturer's coverage chart.

    - In open applications, install to depth necessary to achieve specified R-value.

    - In closed cavities, install to fill entire cavity.

  - PROTECTION

    - Protect insulation from damage and from becoming wet before, during and after installation.

# END OF SECTION

# 11/12/2014

# ##

# For additional information:

# Technical Support

# (317) 421-8512

# Info.us@knaufinsulation.com