Note:

This document contains information and notes in hidden text.

If you need assistance to view & hide text, instructions are at this link:

http://www.marlite.com/hidden-notes-instructions.aspx

Delete this note and hyperlink after editing is complete.

The following specification has been developed by:

Marlite

202 Harger St.

Dover, Ohio 44622

Tel: (330) 343-6621

Fax: (330) 343-4668.

Email:  info@marlite.com

Website: www.marlite.com

to assist Architects and Designers in the specification of Slatwall products that are attached to backup framing or other surfaces having furring systems to support the panels.  Slatwall panels are available in Marlite Faux Print, standard laminates, wood veneer, and custom graphics applied to regular or no added formaldehyde substrates.

This Section does not include Marlite “Dimensions” or “Renu” slatwall accessories for installation over existing Slatwall. Contact Marlite for information regarding these products.

Refer to separate Marlite Guide Specification Sections 09 7710 sections for Marlite Framed Decorative Panel and Trim systems, Sections 06 2510 and 06 400 for other Marlite prefinished panels, Section 09 7730 for Marlite decorative FRP panels, and Marlite Section 09 8430 for Acoustical Panels.

The section has been formatted in accordance with the principals embodied in the Construction Specifications  Institute's  Manual of Practice and is intended for use in conjunction with Contract Conditions, Bidding Conditions and General Requirements developed in accordance with CSI guidelines. Notes to the specifier are included. Options that must be selected by the specifier are shown in brackets [         ].   Inapplicable clauses shall be deleted.

SECTION 06 2530 (11 2130) – SLATWALL PANEL SYSTEMS

- GENERAL

      - SUMMARY

        - Section Includes:   T-Grooved wood composite 3/4” (19mm) thick panels, pre-engineered and machined for use with [groove inserts and] retail display hardware..

          - Attachment System:

- Choose between direct attachment and metal frames having attachment clips, for installation direct to studs or solid substrate.

            - Direct fastening of slatwall to [metal stud][wood stud] [or] [furring] framing.

          - Panels:

            - Faux Print finish (Simulated Wood Grain) applied by offset gravure print process utilizing solid color oven-baked base paints, ink overprints and oven-baked protective topcoat.

The following includes Marlite Azure and Custom Digital Graphic panels, produced via a proprietary Marlite Giclee Imaging Process.  Twenty-two Azure finishes are listed as standard, but custom finishes can be produced to customer specification.

            - Azure (Wood Grain) and Graphic Images applied using direct digital imaging to wood fiber substrate including seal coats, color inks and protective topcoats.

            - Wood veneer laminated to wood fiber substrate having a balancing backer sheet, with protective topcoats.

            - High Pressure Laminate adhered to wood fiber substrate and having a balancing backer sheet.

        - Products Not Furnished or Installed under This Section:

- Marlite offers straight hooks, shelf brackets, face-outs and other accessories for use with Marlite Slatwall.  Contact Marlite for details before specifying under this Section.

          - Display fixtures, hooks or brackets arms.

          - Wood Veneer casework.

          - Gypsum board backup.

      - RELATED SECTIONS

        - Section [____] - Wood [Metal] Stud Framing

        - Section [____] - Custom Cabinets

        - Section [____] - Solid Wood Paneling

        - Section [____] - Gypsum Wallboard.

        - Section [____] - Painting & Transparent Finishes.

        - Section [____] - Resilient Base.

      - REFERENCES

References are listed as a convenience and are often deleted in their entirety.  If required by the user agency delete references from the list below that are not actually required by the text of the edited section.

        - American Society for Testing and Materials:  Standard Specifications (ASTM)

          - ASTM E 84 - Standard Test Method for Surface Burning Characteristics of Building Materials.

        - Architectural Woodwork Standards as published by the Architectural Woodwork Institute, the Architectural Woodwork Manufacturers Association of Canada, and the Woodwork Institute.

          - Architectural Woodwork Standards - Edition 1.

      - SUBMITTALS

        - Product Data:  Submit sufficient manufacturer's data to indicate compliance with these specifications, including:

          - Preparation instructions and recommendations.

          - Storage and handling requirements and recommendations.

          - Installation methods.

        - Shop Drawings:  Submit elevations of each wall showing location of paneling and trim members with respect to all discontinuities in the wall elevation.

        - Selection Samples:  Submit manufacturer’s standard color and pattern selection samples representing manufacturer's full range of available colors and patterns.

          - Provide samples of edge trim as applicable.

- Include the following when vinyl grove inserts are specified.

          - Provide samples for groove insert selection as applicable.

        - Samples for Verification:  Submit sample for each component and for each exposed finish required, prepared on samples of size indicated below complete with exposed molding and trim samples.  Sample to indicate type, finish, and color specified.

          - Laminate and printed finishes:  Submit 6” (154mm) by 10” (254mm) section of panel for each panel selected indicating the color, texture, and pattern required.

            - Submit complete with specified applied finish.

            - For selected patterns show complete pattern repeat.

          - Painted finishes:  Submit 6” (154mm) by 10” (254mm) samples of each type and color.

When matching custom veneer, request a flitch sample from the veneer to be used for the specific project after submission of a sample to be matched.

          - Wood Veneers:  Submit sample sets of [each] wood veneer with stain color and finish required.  Sample size approximately 6” (154mm) by 10” (254mm).  Sample sets to show the full range of normal color and texture variations expected.

          - Mirrored Acrylic:  Submit 6” (154mm) by 10” (254mm) sample.

        - Manufacturers Material Safety Data Sheets (MSDS) for panels, adhesives prior to their delivery to the site.

        - Maintenance Instructions.

      - QUALITY ASSURANCE

ASTM E 84 Definition: Strict interpretation of the ASTM E 84 fire rating applies only to surface burning characteristics of a panel.  Marlite MAP System fire rated panels and trim are intended to provide a Class A fire rated application, as defined by ASTM E 84 classification, but are not intended to be included in the creation of fire rated demising wall construction.  ASTM E 84 fire rating for a Class A material requires a flame spread 25 or less, along with a smoke development maximum of 450.  ASTM E 84 fire rating for a Class C material requires a flame spread of between 26 and 200, along with a smoke development maximum of 450.

Marlite Fire Rated Wood Veneer panels are comprised of Class A components, as requested by a specifier to meet, or exceed, restrictions where rated fire retardant surfaces are required.  As the panel face consists of a material that is less than 1/28" (.0357") thick and does not contribute to or pose an unusual hazard. This allows an exemption for the face material, but the substrate material must be rated to the local code requirements for a particular installation.

As all current U.S. building fire rating codes are pertinent only to surface burning characteristics of applied materials, the balancing backer is not subject to scrutiny within fire ratings.

        - Conform to building code requirements for interior finish for smoke and flame spread requirements as tested in accordance with:

          - ASTM E 84 (Method of test for surface burning characteristics of building Materials)

          - Required Rating – Class [A.] [C.]

      - DELIVERY, STORAGE AND HANDLING

        - Deliver panels and associated materials factory packaged on strong pallets and properly packaged or protected.

          - Upon delivery carefully inspect all cartons, packages, pallets and protective wrap for damage or material shortage.

          - Open and inspect suspect packages, cartons or wrapped pallets for damage.

          - Contact shipper immediately to report any damaged or missing materials.

          - Contact Marlite @ (800) 377-1221 immediately to report any damaged or missing materials.

          - Contact Marlite @ (800) 377-1221 with any questions, problems or concerns.

        - Store products in manufacturer's unopened packaging until ready for installation.

          - Maintain plastic or other protective wrap in place during on site handling until ready for installation.

          - Keep panels clean and do not stack panels after removal of protection.

        - Store and dispose of solvent-based materials, and materials used with solvent-based materials, in accordance with requirements of local authorities having jurisdiction.

      - PROJECT CONDITIONS

        - Wood composite panels are subject to the effects of humidity and temperature.  Do not use in kitchens, rest rooms, or other high humidity areas.

        - Partition walls are to be finished and the building completely closed. Walls shall be thoroughly dry and concrete cured and dry before starting installation.

        - HVAC system must be operable and installation area must be balanced to normal operating conditions.

        - Maintain environmental conditions (temperature, humidity, and ventilation) within limits recommended by manufacturer for optimum results.  To ensure product performance, a temperature range of 60°-80°F (16°C-27°C) and a humidity range of 35-55% must be maintained during storage, installation and product life cycle.  Do not install products under environmental conditions outside manufacturer's absolute limits.

      - COORDINATION AND SEQUENCING

        - Except as specified by the architect, it’s recommended to locate trim members so that panel lines coordinate with doors, headers, jambs and other discontinuities in a wall.

        - Vapor barrier shall be used on exterior walls behind backing to discourage warping.

Delete the following if panels are not used on casework.

        - Coordinate with casework manufacturer.  Deliver material to the fabrication shop.

      - WARRANTY

For longer warranties contact Marlite.

        - Standard Warranty:  All products shall be warranted to be free from defects for a period of 30 days after installation.

- PRODUCTS

      - ACCEPTABLE PRODUCT

        - Marlite;   202 Harger Street, Dover, OH  44622.  800-377-1221 FAX (330) 343-4668 Email:  info@marlite.com www.marlite.com.

        - Marlite Slatwall Panel

      - PANEL

        - Panel Configuration:  Engineered groove machined into wood composite substrate.

          - Panel thickness – 3/4” (19mm) thick with nominal1/2” (13mm) deep slotted grove.

- Custom face panel sizes are available.  Contact Marlite.

          - Panel face dimensions:  48” (1.22m) by [96” (2.44m)] [As indicated on the drawings].

            - Dimensions:  Nominal 24” (600mm) high x [24” (600mm)] [48” (1.22m)] [72” (1.8m)] [as indicated on the drawings].

          - Slatwall panels grooves machined on [3” (76mm)][6” (15mm)][12” (30mm)] centers [as indicated on the drawings].

        - High internal bond wood composite substrate.  Slatwall panels shall have formaldehyde emissions of 0.3 PPM or less and shall comply with HUD 24 CFR Part 3280 Standards set fourth for particleboard panels.

- Marlite panels are typically manufactured using various wood fiber substrates having either 75%, 82% or 100 % recycled wood waste.   Specify a higher percentage if required for environmental credits.

          - Standard Slatwall

            - Medium density wood fiberboard conforming to ANSI A208.2, industrial-grade MDF or other wood fiber substrates having not less than 75% recycled wood waste.

          - Slatwall EQ

            - High pine particleboard, industrial grade.  NAF (No-Added Formaldehyde).  100% post-industrial recycled/recovered content.  CARB exempt.  Physical properties tested using method ASTM D1037-06

For standard slatwall panels that are to have minimum amount formaldehyde or higher recycled contents delete above and specify only Medium Density Fiberboard backer board with “No Added Formaldehyde”, below.

          - Standard Slatwall, NAF

            - Medium density wood fiberboard conforming to ANSI A208.2, industrial-grade MDF and having No-Added Formaldehyde (NAF).

      - PANEL FINISH

- The Marlite Finish is richly detailed, easy to maintain and more economical than decorative laminates.

        - Marlite’s Printed Finish:  Modified melamine enamel (base coat, precision coats, print coats and melamine top coat) baked to achieve outstanding performance characteristics.

          - Color:  [Sierra Maple Marlite #310][Alum Rock Maple Marlite #317][Windsor Anigre Marlite #318][Whittier Anigre Marlite #319][Champagne Maple Marlite #342][As selected by Architect from manufacturer's standard selection.]

        - Low Pressure Laminate (Melamine treated paper) bonded to wood fiber substrate by hot melt adhesive.

          - Finish:  [Hard Maple Marlite #687] [Fine Oak Marlite #692][Linn Birch Marlite #711] [Brushed Aluminum Marlite #738] [Tornado Gray Marlite #742][Swiss Almond Marlite #744] [Goshen White Marlite #750] [Stone Gray Marlite #751] [Trojan Black Marlite #844][Cherry Marlite #975] ][As selected by Architect from manufacturer's standard selection.]

        - High Pressure Laminate:  Vertical grade 0 .030” (0.762mm) thick high pressure plastic laminate adhered to wood fiber substrate by cold pressing polyvinyl acetate (PVA) type II, water resistant adhesives.

          - Edges - Square, and sealed, to provide a black edge.

          - Balancing Backer:   Kraft Paper that does not contribute to or pose an unusual additional fire hazard.

Refer to Marlite website for options

          - Color and Pattern:  _________________________________________ [As selected by Architect from manufacturer's standard selection.]

        - Wood Veneer Panels:   Wood veneer applied to the substrate via cold press to wood fiber substrate, and coated with furniture grade catalyzed finish.

          - Edges: Square cut and sealed.

          - Balancing Backer: Wood veneer measuring between 0.015" (0.38mm) and 0.025" (0.64mm).

- Custom veneer species, grades and cuts are available.  Contact Marlite for assistance.

          - Veneer Face:  Architectural grade rotary cut veneer. 0.035” (0.89mm) thick [Red Oak Veneer Marlite #020][White Birch Veneer Marlite #041][As selected by Architect from manufacturer's standard selection.]

          - Species and Cut:  _________________________________________ [As selected by Architect.]

            - Grain direction shall be manufacturer’s standard. [As selected by Architect.]

        - Mirrored Acrylic:  a .080” (2.032mm) thick acrylic sheet backed with reflective film, cold press laminated to the substrate.

          - Marlite #601 Clear Mirrored Acrylic.

        - Painted Finishes:

- Select from one of the three options.

          - Standard Factory Finish:  [Frost White Marlite #415][Almond Marlite #515][Brite White Marlite #703][Crystal Gray Marlite #764][As selected by Architect from manufacturer's standard selection.]

          - Paint Grade:   Smooth unfinished surface suitable for field or in-shop finishing.

          - Primed Finish:  Alkyd primer factory applied and baked creating a suitable surface for field finish in one coat.

      - GROOVE TREATMENT AND TRIM

- Select applicable series from the following.

        - Groove Treatment:

1000 series - Aluminum grove insert for light duty application feature merchandising and ¼” glass or acrylic shelving secures without the use of brackets.

          - Marlite 1000 Series.

- 2000 series is a light duty groove for painting vinyl trim strips and color snaps.

          - Marlite 2000 Series.

- Optional groove finishes.  Painted groove is available on panels surfaced with Marlite’s exclusive finish. Color strips and Patented Color Snaps are installed in field by others.

            - Painted groove.

            - PVC solid color trim strips; color [white] [black}.

            - Vinyl ColorSnaps; color [white][red][platinum][black][ivory]

            - HPL trim strips:  color select from HPL manufacturer’s color options.  Installed in

            - Aluminum Insert:  Available in Mill finish.  Installed in field by others.

          - 2101 Series:  for flat metal back accessories only

          - 3000 Series:  Factory installed L grove insert

          - Marlite 5000 Series:  Factory installed vinyl inserts [white][black]

          - Marlite 7000 Series:  Factory installed aluminum insert – [mill finished][black].

        - Panel Trim:

Select Panel Trim from the list below.

          - Outside/Inside Corner – [Marlite A760  1” x 1 “ x 8’- 0” (2.4m) aluminum mill finish] [Marlite P760  1-3/8” x 1-3/8” x 8’- 0” (2.4m) aluminum [white] [Gray] finish]

          - Edge – [Marlite A770 1/2” x 3⁄4” x 8’- 0” (2.4m) aluminum mill finish] [Narrow profile; Marlite M770 5⁄16” x 3⁄4” x 10’- 0” (3m) lengths aluminum satin finish] [Wood Profile Marlite W770 9⁄16” x 1” x 8’-0" Poplar, for field finishing.]

      - INSTALLATION ACCESSORIES

        - Phillips, bugle head, coarse threaded screws.

        - Marlite Rail Assembly:   Combination of Mounting Track and Panel Bar

          - Steel prefinished at the factory. Silver Powder Coat

Select finish below

          - P770 Edge – [D100White][D109 Gray]

        - Adhesives:

Marlite Brand C109 adhesive is the adhesive recommended for installation of Surface Systems.  Marlite Brand C-109 adhesive is a solvent based material and local code restrictions may require substitution. Any adhesive substitution must have the manufacturer's approval.

          - Marlite Brand SS5262 Heavy Duty C-109 solvent based adhesive unless otherwise approved by Marlite.

      - FABRICATION

        - All framing, panels, hardware and accessories shall be factory finished and ready to install except for field fabrication required by perimeter and corner conditions.

        - Refinish field cut panel edges in accordance with manufacturer’s instruction before installation.

        - Fabrication Tolerances for panels:

          - Dimensional:   0.0625”

          - Square:   0.125” across diagonals

          - Thickness:   0.008”

          - Grooving::   0.031” (groove width and spacing between grooves)

- EXECUTION

      - EXAMINATION

        - Installer's Examination:  Examine conditions under which construction activities of this section are to be performed.  Submit written notification to Architect and system manufacturer if such conditions are unacceptable.  Beginning erection constitutes installer's acceptance of conditions.

          - Verify that a vapor barrier has been provided on exterior walls behind backing to prevent warping.

          - Verify backing panels are smooth, solid, and flat.  All drywall joints are to be taped and finished.

          - Verify that walls are primed before installation begins.

          - Verify mechanical, electrical, and building service and/or items affecting work of this section are placed and ready to receive this work.

          - Verify that stud spacing does not exceed 24” (600mm) on-center.

        - Structural walls are to be finished, with building completely closed.   Walls shall be thoroughly dry before starting installation.

      - PREPARATION

        - Conditioning:  Panels must be allowed to acclimate to a balanced environment in the installation location for 72 hours prior to installation.

        - Protect existing surfaces with drop cloths.

Due to textures, wood grain patterns, materials and manufacturing techniques, some panels may vary in color consistency, tone and pattern.  These variations are expected and not to be considered as defects. Contact Marlite with questions or problems.

        - Except as directed by the architectural drawings, before installing, examine panels and arrange to achieve best combination of color, pattern, texture and grain.

      - INSTALLATION

        - Install all materials in strict accordance with the manufacturer’s installation instructions with hardware straight, plumb, and level.

          - Anchor units rigidly and securely in place.

          - Cut sheets to meet existing supports.

        - Fasten initial bottom panel to the wall with #6 or #7 bugle head drywall screws. Install a minimum of one screw every third slot (or 9" (228mm)) vertically and every stud horizontally, typically every 16" (40.64cm) on centers horizontally (maximum 24" (600mm) on centers horizontally).  Each 4' x 8' panel shall have minimum of 42 screws secured to studs or furring.

          - Where screws do not hit the studs, fasten with adhesive in accordance with the manufacturer’s recommendations.

          - Screws must be installed thru the panel grooves.

          - Slatwall panels without inserts do not require pre-drilling.

          - Slatwall panels with inserts require 5/32" pre-drilling of holes thru the insert and panel before fastening.

        - Avoid contamination of the panel faces with adhesives, solvents or cleaners during installation.

      - CLEANING AND PROTECTION

        - Clean and remove dust and other foreign matter from panel and framing surfaces.  Clean finishes in accordance with manufacturer's instructions.

END OF SECTION 06 2530 (11 2130)