SECTION 03930

CONCRETE FLOOR CRACK AND JOINT REPAIR

# PART 1 - GENERAL

1.1		General Description of Work

- Provide all labor, products and equipment required to properly install semi-rigid filler in interior concrete floor slab joints and cracks.

## 1.2	SUMMARY

### A.	Purpose: This Section includes materials and methods to repair uncontrolled floor cracks and deteriorated floor joints in interior concrete slabs on ground that meet the following:

#### 1.	Slab is at least one year old, and significant slab shrinkage is not anticipated in the future

#### 2.	Slab is fully supported by subgrade, and not rocking.  Where rocking or slab deflection exists, utilize Slab Stabilizations procedures prior to commencement of joint, crack, or spal repair.

### B.	Work includes the following activities:

#### 1.	Removing deteriorated concrete and foreign material so surfaces are clean and ready for repair and rebuilding.

#### 2.	Repairing deteriorated floor joints and fillers,

#### 3.	Repairing uncontrolled floor cracks,

#### 4.	Repairing spalled floor areas.

### C.	Related Sections include the following:

#### 1.	Division 3 Section "Cast-in-Place Concrete Floor Slab" for new floor installations.

#### 2.	Division 3 Section "Concrete Shrinkage Control Joints and Fillers" for new floor installations

#### 3.	Division 3 Section "Concrete Slab Patching And Repair" for minor concrete work in remodel projects.

1.3		APPLICABLE STANDARDS

- Products and installation shall be in compliance or exceed the joint filling criteria established in the latest ACI 302 and ACI 360 Committee published documents.

## 1.4	DEFINITIONS

### A.	Floor Slab Joints: Joints deliberately created in regular, grid pattern intervals during construction, or added to weaken the slab.

#### 1.	Construction Joints (C.J.) and Closure Strip Joints (C.S.J.):  Formed joints between adjacent slab panels, where panels are separate concrete pours.

#### 2.	Shrinkage Joints (S.J.):  Also called control or contraction joints, are saw-cut after slab troweling to control slab breaks caused by concrete shrinkage, and keep cracks in straight lines under the saw-cuts.

### B.	Cracks in Floor Slab: Random, uncontrolled breaks in the floor slab.

#### 1.	Shrinkage Cracks: Caused by overall concrete shrinking beyond the capacity of shrinkage or construction joints to contain.

#### Slab Curl Cracks: Caused by concrete shrinking faster at the slab top than the bottom, with resulting curl at pour edges, breaking may be from wheeled vehicle impact.

### C. 	Slab Spalls: Locations where slab surface has delaminated, chipped or broken off, exposing aggregate in the mix.

## 1.5	CONTRACTOR QUALIFICATIONS

### Installer shave have a minimum of three (3) years experience in performing the types of work covered by this Section and shall be an Approved Applicator of the material manufacturer.

### Use only Manufacturer Approved Applicators for work covered by this section.

### Approved Applicator shall use tools and equipment specifically designed for the preparation and placement of industrial joint fillers.

## 1.6	SUBMITTALS

### Product Data:  Include material descriptions, chemical composition, physical properties, test data, and mixing and application instructions.

### Source Limitations:  Obtain materials through one source from a single manufacturer.

### Prepare mockups of repair materials and methods on the jobsite for review and approval by Architect. Including examples of repairs to each of the following conditions described in Part 3 “Execution” below:

#### 1.	 Joint Filler Repair

#### 2.	Spall Repair Overlay

#### 3.	Joint and Random Crack Repairs

##### a.	Where overall width of joint /crack and slab spall is 3/4” or less

##### b.	Where overall width of joint /crack and slab spall is more than 3/4”

#### 4.	Approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

## 1.7	DELIVERY, STORAGE, AND HANDLING

### A.	Deliver materials to Project site in manufacturer's original and unopened containers, labeled with type and name of products and manufacturers.

### B.	Comply with manufacturer's written instructions for minimum and maximum temperature requirements and other conditions for storage.

### C.	Store aggregates, covered and in a dry location, where grading and other required characteristics can be maintained and contamination avoided.

# PART 2 - PRODUCTS

## 2.1	JOINT FILLER AND SMALL CRACK REPAIR MATERIAL

### A.	Provide a semi-rigid polymer resin manufactured and distributed for use as a floor crack and joint filler material to protect concrete joint edges. Use a rapid set, cold applied, gray colored, self-leveling, two-part filling system composed of 100% solids.

### B.	Utilize products with physical properties meeting the following minimum values:

PROPERTY	TEST METHOD	PROPERTY VALUE

Shore A Hardness	ASTM D2240	90 (-5, +5)

Tensile Lap Shear	ASTM D1002	500 psi

Tensile Strength	ASTM D638	500 psi

Compressive Yield	ASTM D695	1500 psi

Solids Content……………………………………………….100%

Acceptable for use in USDA regulated facilities

### C.	Available Products:  Subject to compliance with requirements, utilize products manufactured by Metzger/McGuire Co.  Concord NH  800-223-6680.

#### Metzger/McGuire: “MM-80 Semi-Rigid Epoxy Joint Filler”.

- Metzger/McGuire: “SPAL-PRO 2000, Rapid Set Polyurea Repair Polymer”.

## 2.2	LARGE JOINT, CRACK, AND SPALL REPAIR MATERIAL

### A.	Provide a high strength polymer resin material that is manufactured to repair and rebuild large openings and spalled concrete floor areas. Use a two-part, 100% solids, liquid system with high tensile strength, intended to be used alone or to be combined with aggregate to create a mortar.

### B.	Use a product with the following physical properties before mixing with aggregate:

PROPERTY	TEST METHOD	PROPERTY VALUE

Shore D Hardness	ASTM D 2240	75 (+/- 5)

Compressive Strength…...ASTM D 790…………………10,500 PSI

Tensile Strength 	ASTM D 638	1,400 PSI

Adhesive Strength ………………………………………….Concrete Breaks

Acceptable for use in USDA regulated facilities

### C.	Available Repair Resin Products:  Subject to compliance with requirements, utilize products manufactured by Metzger/McGuire Co.  Concord NH  800-223-6680.

#### 1.	Metzger /McGuire: “Armor-Hard Early Set Structural Epoxy”.

### D.	Sand Aggregate for Crack, Spall, and Joint Repair: Use fine, oven-dried, washed silica sand ranging from 20 to 40

### E.	Spall and Crack Repair Mortar: Mix Polymer Repair Resin with sand aggregate, following manufacturer’s instructions. The mortar mix will be approximately 3 to 6 parts aggregate to one part repair resin.

## 2.3	DUST-FREE CLEANOUT SAW

### A.	Where saw-cuts are used to clean surfaces for repair work, use a specialized, dust-free cleanout saw such as those manufactured by Sawtec or Joe Due Equipment or equivalent tool.. Sawtec, Div. of US Surface Prep, 800/624-7832,  Joe Due Equipment, 877/563-3383.

### B.	Cleanout saw shall be equipped with a diamond blade wider than joint or crack so both faces are cut, and blade diameter selected to cut concrete for full depth of repair.

# PART 3 - EXECUTION

## 3.1	FLOOR SURVEY

### A.	Repair floor cracks and joints in the concrete floor slab where indicated on the drawings, where identified by Owner’s Representative at specific locations, or generally identified by existing crack or joint conditions.

### B.	Visually examine the floor cracks and joints in the slab observing the following -

#### 1.	Where semi-rigid joint filler is most appropriate material.

#### 2.	Where spall and crack repair mortar is most appropriate material.

#### 3.	Notify the Owner’s Representative where other defective areas are observed and not indicated for repair work, but where repair is appropriate.

## 3.2	REPLACING UNSATISFACTORY JOINT FILLER

### A.	Remove and replace the existing filler where the following unsatisfactory conditions are at existing joints -

#### 1.	Unsuitable Filler Resin Mix:  Previous filler had improper ratio of “A” and “B” mix, and joint filler has not cured to meet the physical properties specified above.

#### 2.	Missing Joint Filler: Filler is altogether absent in the joint.

#### 3.	Filler Push-Down: Previous filler installation was not full depth of the joint, adhesion to concrete sidewalls has failed, and filler has dropped to bottom of joint opening.

#### 4.	Lost Adhesive Bond:  Previous filler installation failed because adhesion is lost on both sides of the joint walls, usually because of inadequate concrete cleaning and preparation.

### B.	After completely removing existing filler, prepare opening for new filler installation -

#### 1.	Re-saw the joint using dust-free cleanout saw equal to the depth of the original sawcut depth.

#### 2.		When joint surfaces have clean, bare concrete, use a vacuum to get dust-free conditions for maximum bond between filler and concrete.

#### 3.	Clean only as much joint length as can be filled in the same day.  Keep joints free of dust and moisture.

#### 4.	Leave concrete with plain, straight, vertical edges, with sharp, square concrete corners to prevent ‘feathering’ of installed joint filler.

#### 5.	Seal off any opening below sawcut bottoms using Sand Aggregate.

#### 6.	Fill joint with Polymer Filler Resin, “MM80 Epoxy” or ”Spal-Pro 2000 Polyurea”, so top of resin is slightly crowned above floor surface. Monitor top to assure fill remains crowned.

#### 7.	After resin has cured, trim the overfill using a stiff, sharp razor so top of Filler Resin is flush with concrete floor on both sides.  Heating of “MM80 Epoxy” prior to shaving may be necessary to provide a smooth, flush finish profile.  Heating of “Spal-Pro 2000” is not recommended.

## 3.3	JOINT FILLER REPAIRS

### A.	Where shrinkage-related conditions have created unsatisfactory conditions at previous filler installation, restore the joint to optimum condition.

#### 1.	Where filler separation voids (cracks/splits) exceed .032” (credit card thickness) in width, repair existing joints to best possible condition according to the following:

#### 2.	Filler Separations: Where filler has adhesive separation from one concrete side wall, or has cohesive separation with internal split or tear -

##### a.	Use a knife or narrow tool to loosen debris, then sawcut or grind off the top 1/2” of the remaining filler. Blow or vacuum the joint clean.

##### b.	Following Manufacturer’s mixing and installation instructions, overfill the joint with Polymer Filler Resin, “MM80 Epoxy” or “Spal-Pro 2000 Polyurea”, so top of resin is slightly crowned above floor surface. Monitor top to assure fill remains crowned.

##### c.	After resin has fully cured, trim the overfill using a stiff, sharp razor so top of Filler Resin is flush with concrete floor on both sides.  Heating of “MM80 Epoxy” prior to shaving may be necessary to provide a smooth, flush finish profile.  Heating of “Spal-Pro 2000” is not recommended.

### B.	Concave Filler - Where filler remains bonded to concrete side walls but top of filler is depressed below the surface plane of the slab:

#### 1.	Sawcut or grind off the top 1/2” of the remaining filler. Blow or vacuum the joint clean.

#### 2.	Following Manufacturer’s mixing and installation instructions, overfill the joint with Polymer Filler Resin, “MM80 Epoxy” or “Spal-Pro 2000 Polyurea”, so top of resin is slightly crowned above floor surface. Monitor top to assure fill remains crowned.

#### 3.	After resin has cured, trim the overfill using a stiff, sharp razor so top of Filler Resin is flush with concrete floor on both sides. Heating of “MM80 Epoxy” prior to shaving may be necessary to provide a smooth, flush finish profile.  Heating of “Spal-Pro 2000” is not recommended.

## 3.4	WIDE AREA SPALL REPAIR

### A.	Surface Preparation for Wide Area Spall Repair.

#### 1.	Clean surfaces free of oil, grease, coatings, sealers, paint, rust, etc. Verify surfaces are dry, and structurally sound.

#### 2.	Remove delaminated material and deteriorated concrete surface material. Roughen surface of concrete by sand blasting, shot blasting, scarifying, or milling.  Sweep and vacuum roughened surface to remove debris.

#### 3.	Prevent feather edging by making vertical cuts at the spall outer edges.

### B.	Spall Repair Mortar Installation:

- Mix Polymer Repair Resin, “Armor Hard”, per manufacturer’s recommendations thoroughly blending Part A & Part B components.

#### 2.	Prime spalled area with brush-applied “Armor Hard” liquid (without aggregate).

#### 2.	Blend “Armor Hard” liquid with aggregate creating a mortar.  Fill area with the Repair Mortar: Trowel top of repair mortar to be flush with concrete surfaces on both sides.

#### 3.	After Repair Mortar has cured, grind top and edges of mortar and the adjacent concrete to ensure flush, smooth surfaces on both sides.

C.  Where WIDE AREA SPALL REPAIR is adjacent to existing joints or cracks:

1.    Create a RELIEF cut through the center of the repair mortar by re-sawcutting so as not to structurally bond both sides of a moving joint or crack together.  The relief cut should extend down through the structural mortar repair.

- Following Manufacturer’s mixing and installation instructions, re-fill the relief cut with Polymer Filler Resin, “MM80 Epoxy” or “Spal-Pro 2000 Polyurea”, so top of resin is slightly crowned above floor surface. Monitor top to assure fill remains crowned.

- After resin has cured, trim the overfill using a stiff, sharp razor so top of Filler Resin is flush with concrete floor on both sides. Heating of “MM80 Epoxy” prior to shaving may be necessary to provide a smooth, flush finish profile.  Heating of “Spal-Pro 2000” is not recommended.

## 3.5	FLOOR SLAB REPAIRS AT CRACKS AND JOINTS

### A.	Shrinkage and Construction Joint Repairs

#### 1.	Joints where overall width of joint and edge spall is 3/4” or less -

##### Prepare joint by making 1/2" minimum depth (3/4” preferred) vertical sawcuts at spall edges, then remove material to provide a channel to accept repair material.

##### Where necessary, clean dry silica sand can be placed at the bottom of the joint (1/4” maximum layer) to seal off any opening and prevent excessive filler seepage or run through.

##### c.	Following Manufacturer’s mixing and installation instructions, fill the joint with Polymer Filler Resin, “MM80 Epoxy” or “Spal-Pro 2000 Polyurea”, so top of resin is slightly crowned above floor surface. Monitor top to assure fill remains crowned.

##### d.	After resin has cured, trim the overfill using a stiff, sharp razor so top of Filler Resin is flush with concrete floor on both sides. Heating of “MM80 Epoxy” prior to shaving may be necessary to provide a smooth, flush finish profile.  Heating of “Spal-Pro 2000” is not recommended.

#### 2.	Joints where overall width of joint and edge spall is more than 3/4” -

##### a.	Prepare joint by making straight, vertical sawcuts at spall edges, then remove delaminated material and deteriorated concrete surface material.

##### Where necessary, clean dry silica sand can be placed at the bottom of the joint (1/4” maximum layer) to seal off any opening and prevent excessive filler seepage or run through.

##### c.	Prime sides and bottom of repair area using brush applied Polymer Repair Resin, “Armor Hard”, liquid (without aggregate).

##### d.	Following Manufacturer’s mixing and installation instructions, prepare “Armor Hard Mortar” and fill joint as outlined in Section 3.4.B.  Trowel top of repair mortar to be flush with concrete surfaces on both sides.

##### e.	After Repair Mortar has cured, grind top and edges to be flush and smooth with concrete floor on both sides.

- Create a RELIEF cut through the center of the repair mortar by re-sawcutting so as not to structurally bond both sides of a moving joint or crack together.  The relief cut should extend down through the structural mortar repair.

- Following Manufacturer’s mixing and installation instructions, re-fill the relief cut with Polymer Filler Resin, “MM80 Epoxy” or “Spal-Pro 2000”, so top of resin is slightly crowned above floor surface. Monitor top to assure fill remains crowned.

- After resin has cured, trim the overfill using a stiff, sharp razor so top of Filler Resin is flush with concrete floor on both sides. Heating of “MM80 Epoxy” prior to shaving may be necessary to provide a smooth, flush finish profile.  Heating of “Spal-Pro 2000” is not recommended.

### B.	Floor Slab Random Crack Repairs:

#### 1.	Random cracks less than 1/16” wide, not subject to movement, which are specifically identified to be repaired:

##### a.	Utilizing dust-free cleanout and crack chasing saws as outlined in Section 2.3, cut along the crack to a depth of approximately 3/4" (1/2” minimum) creating a straight, clean vertical edge.  Ensure that this defining cut has removed all previously adhered fillers, concrete “islands”, and any loose or weak concrete from the crack edge.

##### b.	Following Manufacturer’s mixing and installation instructions, fill the joint with Polymer Filler Resin, “MM80 Epoxy” or “Spal-Pro 2000 Polyurea”, so top of resin is slightly crowned above floor surface. Monitor top to assure fill remains crowned.

##### c.	After resin has cured, trim the overfill using a stiff, sharp razor so top of Filler Resin is flush with concrete floor on both sides.  Heating of “MM80 Epoxy” prior to shaving may be necessary to provide a smooth, flush finish profile.  Heating of “Spal-Pro 2000” is not recommended.

#### 2.	Random cracks greater than 1/16”  but less than 3/4” wide:

##### a.	Utilizing dust-free cleanout and crack chasing saws as outlined in Section 2.3, cut along the crack to a depth of approximately 3/4" (1/2” minimum) creating a straight, clean vertical edge.  Ensure that this defining cut has removed all previously adhered fillers, concrete “islands”, and any loose or weak concrete from the crack edge.

##### b.    Where necessary, clean dry silica sand can be placed at the bottom of the crack to seal off any opening and prevent excessive filler seepage or run through.

##### c.     Following Manufacturer’s mixing and installation instructions, fill the joint with Polymer Filler Resin, “MM80 Epoxy” or “Spal-Pro 2000 Polyurea”, so top of resin is slightly crowned above floor surface. Monitor top to assure fill remains crowned.

##### After resin has cured, trim the overfill using a stiff, sharp razor so top of Filler Resin is flush with concrete floor on both sides.  Heating of “MM80 Epoxy” prior to shaving may be necessary to provide a smooth, flush finish profile.  Heating of “Spal-Pro 2000” is not recommended.

#### 3.	Random cracks with top wider than 3/4”:

##### a.	Utilizing dust-free cleanout and crack chasing saws as outlined in Section 2.3, cut along the crack to a depth of approximately 3/4" (1/2” minimum) creating a straight, clean vertical edge.  Ensure that this defining cut has removed all previously adhered fillers, concrete “islands”, and any loose or weak concrete from the crack edge.

##### b.	Seal off any opening at crack bottom using Sand Aggregate.

##### c.	Prime sides and bottom of repair area using brush applied Polymer Repair Resin, “Armor Hard”, liquid (without aggregate).

##### d.	Following Manufacturer’s mixing and installation instructions, prepare “Armor Hard Mortar” and fill joint as outlined in Section 3.4.B.  Trowel top of repair mortar to be flush with concrete surfaces on both sides.

##### e.	After Repair Mortar has cured, grind top and edges to be flush and smooth with concrete floor on both sides.

f.     Create a RELIEF cut through the center of the repair mortar by re-sawcutting so as not to structurally bond both sides of a moving joint or crack together.  The relief cut should extend down through the structural mortar repair.

- Following Manufacturer’s mixing and installation instructions, re-fill the relief cut with Polymer Filler Resin, “MM80 Epoxy” or “Spal-Pro 2000 Polyurea”, so top of resin is slightly crowned above floor surface. Monitor top to assure fill remains crowned.

- After resin has cured, trim the overfill using a stiff, sharp razor so top of Filler Resin is flush with concrete floor on both sides. Heating of “MM80 Epoxy” prior to shaving may be necessary to provide a smooth, flush finish profile.  Heating of “Spal-Pro 2000” is not recommended.

END OF SECTION 03930