Copyright 2008 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

This Product MasterSpec Section is licensed by ARCOM for limited distribution by Phillips Manufacturing Company ("Licensee").  The license is subject to revocation by ARCOM subject to the Product MasterSpec License Agreement between ARCOM and Licensee.

A clean version (revisions accepted) and an underline-and-strikeout version of this Section, both of which modify the original MasterSpec text, are distributed by Licensee to assist in specifying Licensee's products.   Revisions made to the original MasterSpec text are made solely by the Licensee and are not endorsed by, or representative of the opinions of, ARCOM or The American Institute of Architects (AIA).  Neither AIA nor ARCOM are liable in any way for such revisions or for the use of this Product MasterSpec Section by Licensee or any end user to which Licensee distributes this Product MasterSpec Section.  A qualified design professional should review and edit the document to suit project requirements.  For more information, contact Phillips Manufacturing Company, 4949 S. 30th Street, Omaha, NE; phone: Phone 402-339-3800;  Fax: 402-339-0772; Website: www.Phillipsmfg.com; E-mail: info@Phillipsmfg.com.  For information about MasterSpec contact ARCOM at (800) 424-5080 or visit www.arcomnet.com.

SECTION 092216 - NON-STRUCTURAL METAL FRAMING

Revise this Section by deleting and inserting text to meet Project-specific requirements.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

GENERAL

RELATED DOCUMENTS

Retain or delete this article in all Sections of Project Manual.

Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

SUMMARY

Section Includes:

Non-load-bearing steel framing systems for interior gypsum board assemblies.

Suspension systems for interior gypsum ceilings, soffits, and grid systems.

Related Requirements:

Retain subparagraph below to cross-reference requirements Contractor might expect to find in this Section but are specified in another Section.

Division 05 Section "Cold-Formed Metal Framing" for exterior and interior load-bearing and exterior non-load-bearing wall studs; floor joists; roof rafters and ceiling joists; and roof trusses.

ACTION SUBMITTALS

Product Data:  For each type of product.

LEED Submittals:

Product Data for Credit MR 4.1[ and Credit MR 4.2]:  For products having recycled content, documentation indicating percentages by weight of postconsumer and preconsumer recycled content.  Include statement indicating cost for each product having recycled content.

INFORMATIONAL SUBMITTALS

Evaluation Reports:  For [steel studs and runners] [firestop tracks], from ICC-ES[ as follows:][.]

Retain ICC-ES report numbers below if I-stud shaft-wall or H-stud area separation wall systems are required in this Section.

I-stud Shaft-Wall System: ICC-ES 89-35.01.

I-stud Shaft-Wall system: ICC-ES 9525B.

I-stud Shaft-Wall system: ER-3579.

I-stud Shaft-Wall system: ER-4924.

H-stud area separation wall system: ICC-ES 90-26.01.

<Insert evaluation report number>.

PRODUCTS

See Editing Instruction No. 1 in the Evaluations for cautions about named manufacturers and products.  For an explanation of options and Contractor's product selection procedures, see Division 01 Section "Product Requirements."

PERFORMANCE REQUIREMENTS

Retain "Fire-Test-Response Characteristics" Paragraph below if framing is part of fire-resistance-rated assemblies.  Indicate design designations of specific assemblies on Drawings.

Fire-Test-Response Characteristics:  For fire-resistance-rated assemblies that incorporate non-load-bearing steel framing, provide materials and construction identical to those tested in assembly indicated, according to ASTM E 119 by an independent testing agency[ as follows:][.]

Retain fire-resistance rated assembly numbers below if I-stud shaft-wall systems are required in this Section.

Shaft-Wall, one hour: WHI PMC/WA60-01.

Shaft-Wall, two hour: WHI PMC/WA120-01.

Shaft-Wall, two hour: WHI PMC/WA120-02.

Shaft-Wall, three hour: WHI PMC/WA180-01.

Shaft-Wall: UL V433.

<Insert rated assembly number>.

Retain "STC-Rated Assemblies" Paragraph below if framing is part of STC-rated assemblies.  Indicate design designations of specific assemblies on Drawings.

STC-Rated Assemblies:  For STC-rated assemblies, provide materials and construction identical to those tested in assembly indicated, according to ASTM E 90 and classified according to ASTM E 413 by an independent testing agency.

FRAMING SYSTEMS

Retain "Recycled Content of Steel Products" Paragraph below to specify recycled content if applying for LEED Credit MR 4.1 and Credit MR 4.2.  An alternative method of dealing with these credit requirements is to retain requirement in Division 01 Section "Sustainable Design Requirements" that gives Contractor the option and responsibility to determine how these credit requirements will be met.

Recycled Content of Steel Products:  Postconsumer recycled content plus one-half of preconsumer recycled content not less than [25] <Insert number> percent.

Framing Members, General:  Comply with ASTM C 754 for conditions indicated.

Steel Sheet Components:  Comply with ASTM C 645 requirements for metal unless otherwise indicated.

See "Corrosion Protection of Steel Framing" Article in the Evaluations for a discussion of corrosion-resistant coatings on components.

Protective Coating:  [ASTM A 653/A 653M, G40 (Z120)] [ASTM A 653/A 653M, G60 (Z180)] [Coating with equivalent corrosion resistance of ASTM A 653/A 653M, G40 (Z120)], hot-dip galvanized unless otherwise indicated.

Studs and Runners:  ASTM C 645.

Steel Studs and Runners:

Basis-of-Design Product:  Subject to compliance with requirements, provide Phillips Manufacturing; Metal Studs and Runners, or a comparable product by one of the following:

<Insert manufacturer name>.

Minimum Base-Metal Thickness:  [As indicated on Drawings] [0.018 inch (0.45 mm)] [0.027 inch (0.68 mm)] [0.033 inch (0.84 mm)].

Depth:  [As indicated on Drawings] [3-5/8 inches (92 mm)] [6 inches (152 mm)] [4 inches (102 mm)] [2-1/2 inches (64 mm)] [1-5/8 inches (41 mm)].

For slip joint at stud and top-track interface (head joint) that avoids axial loading of partition by overhead structure, retain "Slip-Type Head Joints" Paragraph below and one or all of the following types of head joints.  See "Crack Control" Article in the Evaluations.

Slip-Type Head Joints:  Where indicated, provide[ one of] the following:

If retaining "Single Long-Leg Runner System" Subparagraph below, indicate type of bridging required on Drawings or by inserts.  Strap and 1-1/2-inch (38-mm) cold-rolled channel are commonly used.

Single Long-Leg Runner System:  ASTM C 645 top runner with 2-inch- (51-mm-) deep flanges in thickness not less than indicated for studs, installed with studs friction fit into top runner and with continuous bridging located within 12 inches (305 mm) of the top of studs to provide lateral bracing.

Basis-of-Design Product:  Subject to compliance with requirements, provide Phillips Manufacturing; Long-Leg Track, or a comparable product by one of the following:

<Insert manufacturer name>.

If retaining "Double-Runner System" Subparagraph below and if deflection might be great, evaluate the lateral stability of outer-runner flanges and consider using steel channels for tracks instead of non-structural runners.

Double-Runner System:  ASTM C 645 top runners, inside runner with 2-inch- (51-mm-) deep flanges in thickness not less than indicated for studs and fastened to studs, and outer runner sized to friction fit inside runner.

Basis-of-Design Product:  Subject to compliance with requirements, provide Phillips Manufacturing; Slip Track, or a comparable product by one of the following:

<Insert manufacturer name.>

Deflection Track:  Steel sheet top runner manufactured to prevent cracking of finishes applied to interior partition framing resulting from deflection of structure above; in thickness not less than indicated for studs and in width to accommodate depth of studs.

Retain "Products" Subparagraph and list of manufacturers and products below to require specific products or a comparable product from other manufacturers.

Basis-of-Design Product:  Subject to compliance with requirements, provide Phillips Manufacturing; Deflection Track, or a comparable product by one of the following:

<Insert manufacturer name.>

Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

Dietrich Metal Framing; SLP-TRK Slotted Deflection Track.

MBA Building Supplies; [FlatSteel Deflection Track] [Slotted Deflecto Track].

Phillips Manufacturing Co.

Steel Network Inc. (The); [VertiClip SLD] [VertiTrack VTD] Series.

Superior Metal Trim; Superior Flex Track System (SFT).

Telling Industries; [Vertical Slip Track] [Vertical Slip Track II].

<Insert manufacturer's name; product name or designation>.

If shaft wall framing is required in this section, retain paragraph below and edit to suit Project requirements.  Alternatively, delete paragraph below and coordinate shaft wall framing requirements in Division 09 Section "Gypsum Shaft Wall Assemblies."

Shaft Wall Studs and Runners:  ASTM 645, roll-formed steel tabbed I-studs and compatible tabbed J-tracks.

Basis-of-Design Product:  Subject to compliance with requirements, provide Phillips Manufacturing; [Tabbed I-Stud] [and] [Tabbed J-Track], or a comparable product by one of the following:

<Insert manufacturer name.>

Minimum Base-Metal Thickness:  [As indicated on Drawings] [0.020 inch (0.51 mm)]  [0.033 inch (0.84 mm)].

Minimum Yield Strength, I-stud:  40 ksi.

Depth:  [As indicated on Drawings] [6 inches (152 mm)] [4 inches (102 mm)] [2-1/2 inches (64 mm)].

If area separation wall framing is required in this section, retain paragraph below and edit to suit project requirements.  Alternatively, delete paragraph below and coordinate area separation wall framing requirements in Division 09 Section "Area Separation Wall Assemblies."

Area Separation Wall Studs and Runners:  ASTM 645, roll-formed steel hemmed studs and compatible runner tracks.

Basis-of-Design Product:  Subject to compliance with requirements, provide Phillips Manufacturing; [Hemmed H-Stud] [and] [U-Track], or a comparable product by one of the following:

<Insert manufacturer name.>

Minimum Base-Metal Thickness:  [As indicated on Drawings] [0.018 inch (0.45 mm)] [0.033 inch (0.84 mm)].

Hemmed H-Studs and U-Track are 2 inches deep.  ASW I-Studs are 2-1/2 inches deep.

Depth:  [As indicated on Drawings] [2-1/2 inches (64 mm)] [2 inches (51 mm)].

"Firestop Tracks" Paragraph below specifies firestop tracks for isolating partition framing from structure above in specific fire-resistance-rated assemblies.  Products listed may need additional materials to achieve a fire-resistance rating; verify with manufacturer.  If retaining, revise to coordinate with rated assemblies and indicate design designations of assemblies on Drawings.

Firestop Tracks:  Top runner manufactured to allow partition heads to expand and contract with movement of the structure while maintaining continuity of fire-resistance-rated assembly indicated; in thickness not less than indicated for studs and in width to accommodate depth of studs.

Retain "Products" Subparagraph and list of manufacturers and products below to require specific products or a comparable product from other manufacturers.

Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

Fire Trak Corp.; Fire Trak System[ attached to studs with Fire Trak Posi Klip].

Grace Construction Products; FlameSafe FlowTrak System.

Metal-Lite, Inc.; The System.

Steel Network Inc. (The); [VertiClip SLD] [VertiTrack VTD] Series.

<Insert manufacturer's name; product name or designation>.

Retain "Flat Strap and Backing Plate" Paragraph below for flat-strap blocking and bracing for fixture attachment.  Indicate locations, lengths, and widths on Drawings.

Flat Strap and Backing Plate:  Knurled steel sheet for blocking and bracing in length and width indicated.

Minimum Base-Metal Thickness:  [As indicated on Drawings] [0.018 inch (0.45 mm)] [0.027 inch (0.68 mm)] [0.033 inch (0.84 mm)] <Insert thickness>.

Basis-of-Design Product:  Phillips Manufacturing; Knurled Flat Stock, or a comparable product by one of the following:

<Insert manufacturer name>.

Retain "Cold-Rolled Channel Bridging" Paragraph below for channel bridging for fixture attachment or lateral bracing.  Indicate locations and details of installation on Drawings.

Cold-Rolled Channel Bridging:  Steel, 0.053-inch (1.34-mm) minimum base-metal thickness, with minimum 1/2-inch- (13-mm-) wide flanges.

Basis-of-Design Product:  Phillips Manufacturing; Cold Rolled Channel, or a comparable product by one of the following:

<Insert manufacturer name>.

Depth:  [As indicated on Drawings] [1-1/2 inches (38 mm)] <Insert depth>.

Clip Angle:  Not less than 1-1/2 by 1-1/2 inches (38 by 38 mm), 0.068-inch- (1.72-mm-) thick, galvanized steel.

Hat-Shaped, Rigid Furring Channels:  ASTM C 645.

Basis-of-Design Product:  Phillips Manufacturing; DWC Hat Channel, or a comparable product by one of the following:

<Insert manufacturer name>.

Minimum Base-Metal Thickness:  [As indicated on Drawings] [0.018 inch (0.45 mm)] [0.033 inch (0.84 mm)] <Insert thickness>.

Depth:  [As indicated on Drawings] [7/8 inch (22.2 mm)] [1-1/2 inches (38 mm)].

Resilient Furring Channels:  1/2-inch- (13-mm-) deep, steel sheet members designed to reduce sound transmission.

Retain one of three subparagraphs below to suit Project requirements.

Basis-of-Design Product:  Phillips Manufacturing; RC-1 Tru 25, asymmetrical with minimum base-metal thickness of 0.020 inch (0.51 mm), or a comparable product by one of the following:

Basis-of-Design Product:  Phillips Manufacturing; RC-1 Standard Duty, asymmetrical with minimum base-metal thickness of 0.018 inch (0.45 mm), or a comparable product by one of the following:

Basis-of-Design Product:  Phillips Manufacturing; RC-2, hat-shaped with expanded metal web, minimum base metal thickness 0.018 inch (0.45 mm), or a comparable product by one of the following:

Retain subparagraph below with any of three subparagraphs selected above.

<Insert manufacturer name>.

Cold-Rolled Furring Channels:  0.053-inch (1.34-mm) uncoated-steel thickness, with minimum 1/2-inch- (13-mm-) wide flanges.

Basis-of-Design Product:  Phillips Manufacturing; Cold Rolled Channel, or a comparable product by one of the following:

<Insert manufacturer name>.

Depth:  [As indicated on Drawings] [3/4 inch (19 mm)] <Insert depth>.

Furring Brackets:  Adjustable, corrugated-edge type of steel sheet with minimum uncoated-steel thickness of 0.033 inch (0.8 mm).

Tie Wire:  ASTM A 641/A 641M, Class 1 zinc coating, soft temper, 0.062-inch- (1.59-mm-) diameter wire, or double strand of 0.048-inch- (1.21-mm-) diameter wire.

Z-shaped furring is available in 1-, 1-1/2-, 2-, 2-1/2-, and 3-inch (25-, 38-, 51-, 64-, and 76-mm) depths.  Coordinate Z-shaped furring requirements with insulation specified in Division 07 Section "Thermal Insulation."

Z-Shaped Furring:  With punched or solid web, face flange of 1-1/4 inches (32 mm),, minimum base metal thickness [0.018 inch (0.45 mm)] [0.027 inch (0.68 mm)] [0.033 inch (0.84 mm)], and depth required to fit insulation thickness indicated.

Basis-of-Design Product:  Phillips Manufacturing; Z-Furring Channel, or a comparable product by one of the following:

<Insert manufacturer name>.

SUSPENSION SYSTEMS

Retain this article for suspended or furred ceilings or soffits.

Tie Wire:  ASTM A 641/A 641M, Class 1 zinc coating, soft temper, 0.062-inch- (1.59-mm-) diameter wire, or double strand of 0.048-inch- (1.21-mm-) diameter wire.

Hanger Attachments to Concrete:

Retain "Anchors" or "Powder-Actuated Fasteners" Subparagraph below for hanger attachment to concrete decks.  Coordinate with hangers specified and verify safety factors with Project's structural engineer.

Anchors:  Fabricated from corrosion-resistant materials with holes or loops for attaching wire hangers and capable of sustaining, without failure, a load equal to [5] <Insert number> times that imposed by construction as determined by testing according to ASTM E 488 by an independent testing agency.

Type:  [Cast-in-place anchor, designed for attachment to concrete forms] [Postinstalled, chemical anchor] [Postinstalled, expansion anchor].

Powder-Actuated Fasteners:  Suitable for application indicated, fabricated from corrosion-resistant materials with clips or other devices for attaching hangers of type indicated, and capable of sustaining, without failure, a load equal to [10] <Insert number> times that imposed by construction as determined by testing according to ASTM E 1190 by an independent testing agency.

Retain "Wire Hangers" or "Flat Hangers" Paragraph below, or insert requirements to suit Project.  Verify requirements of authorities having jurisdiction.  If more than one type of hanger is required, indicate locations of each on Drawings.

Wire Hangers:  ASTM A 641/A 641M, Class 1 zinc coating, soft temper, 0.16 inch (4.12 mm) in diameter.

Flat Hangers:  Steel sheet, [in size indicated on Drawings] [1 by 3/16 inch (25 by 5 mm) by length indicated] <Insert size>.

Carrying Channels:  Cold-rolled, commercial-steel sheet with a base-metal thickness of 0.053 inch (1.34 mm) and minimum 1/2-inch- (13-mm-) wide flanges.

Basis-of-Design Product:  Phillips Manufacturing; Carrying Channel, or a comparable product by one of the following:

<Insert manufacturer name>.

Depth:  [As indicated on Drawings] [1-1/2 inches (38 mm)].

Furring Channels (Furring Members):

Retain "Cold-Rolled Channels," "Steel Studs and Runners," "Hat-Shaped, Rigid Furring Channels," or "Resilient Furring Channels" Subparagraph below or, if more than one is required, indicate locations of each on Drawings.

Cold-Rolled Channels:  0.053-inch (1.34-mm) uncoated-steel thickness, with minimum 1/2-inch- (13-mm-) wide flanges, 3/4 inch (19 mm) deep.

Basis-of-Design Product:  Phillips Manufacturing; Cold Rolled Channel, or a comparable product by one of the following:

<Insert manufacturer name>.

Steel Studs and Runners:  ASTM C 645.

Basis-of-Design Product:  Phillips Manufacturing; Steel Stud, or a comparable product by one of the following:

<Insert manufacturer name>.

Minimum Base-Metal Thickness:  [As indicated on Drawings] [0.018 inch (0.45 mm)] [0.027 inch (0.68 mm)] [0.033 inch (0.84 mm)].

Depth:  [As indicated on Drawings] [1-5/8 inches (41 mm)] [2-1/2 inches (64 mm)] [3-5/8 inches (92 mm)].

Hat-Shaped, Rigid Furring Channels:  ASTM C 645, 7/8 inch (22 mm) deep.

Basis-of-Design Product:  Phillips Manufacturing; Hat Channel, or a comparable product by one of the following:

<Insert manufacturer name>.

Minimum Base-Metal Thickness:  [As indicated on Drawings] [0.018 inch (0.45 mm)] [0.033 inch (0.84 mm)] <Insert thickness>.

Resilient Furring Channels:  1/2-inch- (13-mm-) deep members designed to reduce sound transmission.

Basis-of-Design Product:  Phillips Manufacturing; Resilient Furring Channel, or a comparable product by one of the following:

<Insert manufacturer name>.

Configuration:  [Asymmetrical] [or] [hat shaped].

Grid suspension systems are suitable for use with gypsum board.  They might be unacceptable for gypsum veneer plaster; consult gypsum veneer plaster and grid suspension system manufacturers.

Grid Suspension System for Gypsum Board Ceilings:  ASTM C 645, direct-hung system composed of main beams and cross-furring members that interlock.

Retain "Products" Subparagraph and list of manufacturers and products below to require specific products or a comparable product from other manufacturers.

Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

Armstrong World Industries, Inc.; Drywall Grid Systems.

Chicago Metallic Corporation; Drywall Grid System.

USG Corporation; Drywall Suspension System.

<Insert manufacturer's name; product name or designation>.

AUXILIARY MATERIALS

General:  Provide auxiliary materials that comply with referenced installation standards.

Fasteners for Metal Framing:  Of type, material, size, corrosion resistance, holding power, and other properties required to fasten steel members to substrates.

Retain subparagraph below if area separation wall framing components and accessories are required in this section.

Area Separation Wall Clips:  Aluminum, 2 inches by 2 inches by 2-1/2 inches (51 mm by 51 mm by 63.5 mm), designed for break-away attachment of area separation wall vertical steel framing to structure's wood or steel framing.

Basis-of-Design Product:  Phillips Manufacturing; ASW Clips, or a comparable product by one of the following:

<Insert manufacturer name>.

Isolation Strip at Exterior Walls:  Provide[ one of] the following:

Retain both "Asphalt-Saturated Organic Felt" and "Foam Gasket" subparagraphs below and option in "Isolation Strip at Exterior Walls" Paragraph above to allow Contractor to choose type of isolation strip.

Asphalt-Saturated Organic Felt:  ASTM D 226, Type I (No. 15 asphalt felt), nonperforated.

Foam Gasket:  Adhesive-backed, closed-cell vinyl foam strips that allow fastener penetration without foam displacement, 1/8 inch (3.2 mm) thick, in width to suit steel stud size.

EXECUTION

EXAMINATION

Examine areas and substrates, with Installer present, and including welded hollow-metal frames, cast-in anchors, and structural framing, for compliance with requirements and other conditions affecting performance of the Work.

Proceed with installation only after unsatisfactory conditions have been corrected.

PREPARATION

Delete "Suspended Assemblies" Paragraph below if only postinstalled anchors are used for installing suspended assemblies.

Suspended Assemblies:  Coordinate installation of suspension systems with installation of overhead structure to ensure that inserts and other provisions for anchorages to building structure have been installed to receive hangers at spacing required to support the Work and that hangers will develop their full strength.

Furnish concrete inserts and other devices indicated to other trades for installation in advance of time needed for coordination and construction.

Coordination with Sprayed Fire-Resistive Materials:

Detail requirements on Drawings for attaching metal framing to construction protected by sprayed fire-resistive materials.

Before sprayed fire-resistive materials are applied, attach offset anchor plates or ceiling runners (tracks) to surfaces indicated to receive sprayed fire-resistive materials.  Where offset anchor plates are required, provide continuous plates fastened to building structure not more than 24 inches (610 mm) o.c.

After sprayed fire-resistive materials are applied, remove them only to extent necessary for installation of non-load-bearing steel framing.  Do not reduce thickness of fire-resistive materials below that required for fire-resistance ratings indicated.  Protect adjacent fire-resistive materials from damage.

INSTALLATION, GENERAL

Installation Standard:  ASTM C 754.

Standards listed in "Gypsum Plaster Assemblies," "Portland Cement Plaster Assemblies," "Gypsum Veneer Plaster Assemblies," and "Gypsum Board Assemblies" subparagraphs below include framing installation requirements not in ASTM C 754.  Retain applicable subparagraphs to suit Project.

Gypsum Plaster Assemblies:  Also comply with requirements in ASTM C 841 that apply to framing installation.

Portland Cement Plaster Assemblies:  Also comply with requirements in ASTM C 1063 that apply to framing installation.

Gypsum Veneer Plaster Assemblies:  Also comply with requirements in ASTM C 844 that apply to framing installation.

Gypsum Board Assemblies:  Also comply with requirements in ASTM C 840 that apply to framing installation.

Install supplementary framing, and blocking to support fixtures, equipment services, heavy trim, grab bars, toilet accessories, furnishings, or similar construction.

Install bracing at terminations in assemblies.

Detail control and expansion joints on Drawings.

Do not bridge building control and expansion joints with non-load-bearing steel framing members.  Frame both sides of joints independently.

INSTALLING FRAMED ASSEMBLIES

Install framing system components according to spacings indicated, but not greater than spacings required by referenced installation standards for assembly types.

Generally, indicate stud spacings on Drawings and delete "Single-Layer Application," "Multilayer Application," and "Tile Backing Panels" subparagraphs below.  ASTM C 754 includes tabulations of maximum framing spacing based on thickness and orientation of gypsum board panels and deflection and lateral loading.

Single-Layer Application:  [16 inches (406 mm)] [24 inches (610 mm)] o.c. unless otherwise indicated.

Multilayer Application:  [16 inches (406 mm)] [24 inches (610 mm)] o.c. unless otherwise indicated.

Tile Backing Panels:  [16 inches (406 mm)] o.c. unless otherwise indicated.

Retain first paragraph below if studs abut dissimilar metals at exterior walls or exterior masonry walls that may become damp.

Where studs are installed directly against exterior masonry walls or dissimilar metals at exterior walls, install isolation strip between studs and exterior wall.

Install studs so flanges within framing system point in same direction.

Install tracks (runners) at floors and overhead supports.  Extend framing full height to structural supports or substrates above suspended ceilings except where partitions are indicated to terminate at suspended ceilings.  Continue framing around ducts penetrating partitions above ceiling.

Indicate locations and details of slip-type and fire-rated head joints on Drawings.  See "Crack Control" Article in the Evaluations.

Slip-Type Head Joints:  Where framing extends to overhead structural supports, install to produce joints at tops of framing systems that prevent axial loading of finished assemblies.

Door Openings:  Screw vertical studs at jambs to jamb anchor clips on door frames; install runner track section (for cripple studs) at head and secure to jamb studs.

Usually retain first subparagraph below.  Design framing for doors more than 48 inches (1219 mm) wide, double doors, and extra-heavy doors to meet loading conditions.

Install two studs at each jamb unless otherwise indicated.

Retain first subparagraph below if one-piece control joints are required at heads of doors.

Install cripple studs at head adjacent to each jamb stud, with a minimum 1/2-inch (13-mm) clearance from jamb stud to allow for installation of control joint in finished assembly.

Retain first subparagraph below if suspended ceilings cannot withstand forces generated by opening and closing doors.

Extend jamb studs through suspended ceilings and attach to underside of overhead structure.

Retain "Other Framed Openings" Subparagraph below for framed openings other than doors, or revise to suit Project.  Fully detail framing for large openings on Drawings.

Other Framed Openings:  Frame openings other than door openings the same as required for door openings unless otherwise indicated.  Install framing below sills of openings to match framing required above door heads.

Fire-Resistance-Rated Partitions:  Install framing to comply with fire-resistance-rated assembly indicated and support closures and to make partitions continuous from floor to underside of solid structure.

Indicate locations and details of firestop track on Drawings.

Firestop Track:  Where indicated, install to maintain continuity of fire-resistance-rated assembly indicated.

Sound-Rated Partitions:  Install framing to comply with sound-rated assembly indicated.

Curved Partitions:

Bend track to uniform curve and locate straight lengths so they are tangent to arcs.

Begin and end each arc with a stud, and space intermediate studs equally along arcs.  On straight lengths of no fewer than two studs at ends of arcs, place studs 6 inches (150 mm) o.c.

Direct Furring:

Screw to wood framing.

Attach to concrete or masonry with stub nails, screws designed for masonry attachment, or powder-driven fasteners spaced 24 inches (610 mm) o.c.

Z-Furring Members:

Erect insulation, specified in Division 07 Section "Thermal Insulation," vertically and hold in place with Z-furring members spaced [24 inches (610 mm)] [600 mm] o.c.

Except at exterior corners, securely attach narrow flanges of furring members to wall with concrete stub nails, screws designed for masonry attachment, or powder-driven fasteners spaced 24 inches (610 mm) o.c.

At exterior corners, attach wide flange of furring members to wall with short flange extending beyond corner; on adjacent wall surface, screw-attach short flange of furring channel to web of attached channel.  At interior corners, space second member no more than 12 inches (305 mm) from corner and cut insulation to fit.

"Installation Tolerance" Paragraph below is based on recommendation in GA-216 for wood framing and in ASTM C 840 for metal framing.

Installation Tolerance:  Install each framing member so fastening surfaces vary not more than 1/8 inch (3 mm) from the plane formed by faces of adjacent framing.

INSTALLING SUSPENSION SYSTEMS

Install suspension system components according to spacings indicated, but not greater than spacings required by referenced installation standards for assembly types.

Generally, indicate suspension system component spacing on Drawings and delete "Hangers," "Carrying Channels (Main Runners)," and "Furring Channels (Furring Members)" subparagraphs below.  ASTM C 754 includes tabulations of suspension system component size and spacing based on supported ceiling area at a uniform load of 4 psf (0.19 kPa).

Hangers:  [48 inches (1219 mm)] <Insert spacing> o.c.

Carrying Channels (Main Runners):  [48 inches (1219 mm)] <Insert spacing> o.c.

Furring Channels (Furring Members):  [16 inches (406 mm)] [24 inches (610 mm)] <Insert spacing> o.c.

Isolate suspension systems from building structure where they abut or are penetrated by building structure to prevent transfer of loading imposed by structural movement.

Suspend hangers from building structure as follows:

Install hangers plumb and free from contact with insulation or other objects within ceiling plenum that are not part of supporting structural or suspension system.

Splay hangers only where required to miss obstructions and offset resulting horizontal forces by bracing, countersplaying, or other equally effective means.

Where width of ducts and other construction within ceiling plenum produces hanger spacings that interfere with locations of hangers required to support standard suspension system members, install supplemental suspension members and hangers in the form of trapezes or equivalent devices.

Size supplemental suspension members and hangers to support ceiling loads within [performance limits established by referenced installation standards] <Insert deflection limit>.

Wire Hangers:  Secure by looping and wire tying, either directly to structures or to inserts, eye screws, or other devices and fasteners that are secure and appropriate for substrate, and in a manner that will not cause hangers to deteriorate or otherwise fail.

Flat Hangers:  Secure to structure, including intermediate framing members, by attaching to inserts, eye screws, or other devices and fasteners that are secure and appropriate for structure and hanger, and in a manner that will not cause hangers to deteriorate or otherwise fail.

Retain applicable construction types below.

Retain first subparagraph below if steel roof deck cannot carry ceiling loads; verify with structural engineer.

Do not attach hangers to steel roof deck.

Do not attach hangers to permanent metal forms.  Furnish cast-in-place hanger inserts that extend through forms.

Do not attach hangers to rolled-in hanger tabs of composite steel floor deck.

Do not connect or suspend steel framing from ducts, pipes, or conduit.

Furring channels must be wire tied to supports in most fire-resistance-rated assemblies.  Verify requirements of fire-resistance-rated assemblies and revise "Fire-Resistance-Rated Assemblies" Paragraph below to suit Project.

Fire-Resistance-Rated Assemblies:  Wire tie furring channels to supports.

Retain "Seismic Bracing" Paragraph below for seismic bracing and revise to include specific provisions to suit Project.

Seismic Bracing:  Sway-brace suspension systems [with hangers used for support] <Insert requirements>.

Grid suspension systems are suitable for use with gypsum board.  They might be unacceptable for gypsum veneer plaster; consult gypsum veneer plaster and grid suspension system manufacturers.

Grid Suspension Systems:  Attach perimeter wall track or angle where grid suspension systems meet vertical surfaces.  Mechanically join main beam and cross-furring members to each other and butt-cut to fit into wall track.

Example tolerance in "Installation Tolerances" Paragraph below is based on ASTM C 636 for acoustical ceilings.

Installation Tolerances:  Install suspension systems that are level to within [1/8 inch in 12 feet (3 mm in 3.6 m)] <Insert dimensions> measured lengthwise on each member that will receive finishes and transversely between parallel members that will receive finishes.

Retain article below and edit to suit Project requirements if shaft wall systems are required in this Section.

INSTALLING SHAFT WALL SYSTEMS

General:  Install gypsum board shaft-wall assemblies to comply with requirements of fire-resistance-rated assemblies indicated, manufacturer's written installation instructions, and the following:

ASTM C 754 for installing steel framing except comply with framing spacing indicated.

Division 9 Section "[Gypsum Veneer Plastering][Gypsum Board]" for applying and finishing panels.

Do not bridge architectural or building expansion joints with shaft-wall assemblies; frame both sides of expansion joints with furring and other support.

Install supplementary framing in gypsum board shaft-wall assemblies around openings and as required for blocking, bracing, and support of gravity and pullout loads of fixtures, equipment, services, heavy trim, furnishings, and similar items that cannot be supported directly by shaft-wall assembly framing.

Retain article below and edit to suit Project requirements if area separation wall systems are required in this Section

INSTALLING AREA SEPARATION WALL SYSTEMS

General:  Install gypsum board area separation wall assemblies to comply with requirements of fire-resistance-rated assemblies indicated, manufacturer's written installation instructions, and the following:

ASTM C 754 for installing steel framing except comply with framing spacing indicated.

Division 9 Section "[Gypsum Veneer Plastering][Gypsum Board]" for applying and finishing panels.

Do not bridge architectural or building expansion joints with area separation wall assemblies; frame both sides of expansion joints with furring and other support.

Install supplementary framing in gypsum board area separation wall assemblies around openings and as required for blocking, bracing, and support of gravity and pullout loads of fixtures, equipment, services, heavy trim, furnishings, and similar items that cannot be supported directly by area separation wall assembly framing.

END OF SECTION 092216