Conservare®  HCT (Hydroxylating Conversion Treatment) Masonry Restoration and Cleaning Specification

Specifier Note:  The information provided below is intended to guide the Architect in developing specifications for products manufactured by PROSOCO, Inc. and should not be viewed as a complete source of information about the product(s).  The Architect should always refer to the Product Data Sheet and MSDS for additional recommendations and for safety information

Specifier Note:  Paragraph below is for PART 1 GENERAL, Quality Assurance.

# Test Area

Test a minimum 4 ft. by 4 ft. area on each type of masonry. Use manufacturer’s application instructions.  Let the test panel dry 3 to 7 days before inspection. Keep test panels available for comparison throughout the cleaning project.

Specifier Note:  Paragraphs below are for PART 2 PRODUCTS, Manufacturers and Products.

Manufacturer:  PROSOCO, Inc., 3741 Greenway Circle, Lawrence, KS 66046.  Phone: (800) 255-4255; Fax: (785) 830-9797.  E-mail:  CustomerCare@prosoco.com

# Product Description

Conservare® HCT is a novel, two-step, waterborne treatment that protects and strengthens deteriorating carbonate building stones such as marble, limestone, and travertine. HCT reduces the vulnerability of treated stones to the ravages of air pollution, acid rain and normal weathering.

Conservare® HCT forms a stable, well-adhered, hydroxylated conversion layer on carbonate mineral grains. HCT Finishing Rinse completes the chemical reaction that forms this conversion layer. The treatment dramatically increases the resistance of marble and limestone to acid attack, and strengthens deteriorating carbonate stones.

Technical Data

CONSERVARE HCT

FORM: Clear liquid - slight odor

SPECIFIC GRAVITY: 1.009 g/ml

pH: 4.0 (+/- 0.2)

WEIGHT: 8.39 lbs./US gal.

ACTIVE CONTENT: not applicable

TOTAL SOLIDS: not applicable

FLASH POINT: not applicable

FREEZE POINT: < 32 degrees F (0 degrees C)

SHELF LIFE:  1 year in tightly sealed, unopened container.

CONSERVARE HCT Finishing Rinse

FORM: Clear liquid (some clouding is normal)

SPECIFIC GRAVITY: 1.001 g/ml

pH: 12.4

WEIGHT: 8.35 lbs./US gal.

ACTIVE CONTENT: not applicable

TOTAL SOLIDS: not applicable

FLASH POINT: not applicable

FREEZE POINT: < 32 degrees F (0 degrees C)

SHELF LIFE: 1 year in tightly sealed, unopened container

Limitations:

- May facilitate treatment or repair of aged concrete or concrete with a predominance of carbonate aggregate. Always test.

- Not suitable for fired clay, granite, sandstone or slate substrates.

- Not suitable for use on polished marble, travertine or limestone.

Specifier Note:  Paragraphs below are for PART 3 EXECUTION, Installation.

# Application

Before applying, read “Preparation” and “Safety Information” sections in the Manufacturer’s Product Data Sheet for HCT.  Do not dilute or alter.

Working from the bottom of the work area to the top, apply Conservare® HCT in three successive saturating applications. Treated surfaces must dry thoroughly between each saturating application of HCT, and prior to application of HCT Finishing Rinse.

## HCT

1. Apply HCT to the point of rejection.

2. Allow the treatment to be absorbed for 30 minutes or until surface is visibly dry and absorbent.

3. Repeat steps 1 and 2 until three saturating applications have been completed. With some stones (e.g. porous limestone), additional applications may be required.

4. Allow surfaces treated with HCT to dry for 30 minutes or until surface is visibly dry.

### Finishing Rinse

1. Apply HCT Finishing Rinse to the point of rejection.

2. Allow treated surfaces to dry for 24 hours before applying additional conservation treatments or surface repairs.

Note: A minimum of 30 minutes drying time is essential between applications. If necessary, drying time may be extended overnight without adverse effects.

Cleanup tools and equipment with fresh water.