QUIKRETE® Guide Specification

FastSet™ DOT Mix (No. 1244-56, No. 1244-81-extended)

Very Rapid Hardening, Shrinkage Compensated, Structural Concrete Repair Mortar

Section 03 01 00 – Maintenance of Concrete

# Section 32 01 29 – Ridged Pavement Repair

PART 1 – GENERAL

1.10	SUMMARY

A.  Provide very rapid hardening, shrinkage compensated, structural concrete repair mortar for full

or partial depth repair of existing concrete substrate.

B.  Related Sections:  Other specification sections which relate directly to the work of this section

include the following:

Section 030130: Maintenance of Cast-in-place Concrete

Section 030140: Maintenance of Precast Concrete

Section 033000: Cast-In-Place Concrete

Section 033100: Structural Concrete

Section 320129: Rigid Pavement Repair

1.20	SUBMITTALS

A.  Product Data:  Submit manufacturer’s product data and installation for each material and product

used. Include manufacturer’s Material Safety Data Sheets.

1.30	REFERENCES

A.  ASTM C 109: Compressive Strength of Hydraulic Mortars.

B.  ASTM C 191: Setting Time of Hydraulic Cement.

C.  ASTM C 882: Slant Shear Bond Strength.

D.  ASTM C 928: Rapid Hardening Cementitious Materials for Concrete Repairs.

1.40	QUALITY ASSURANCE

A.  	Manufacturer’s Qualifications: The manufacturer shall be a company with at least fifteen years

Experience in the manufacturer and marketing of pre-packaged cementitious repair materials.

B.   Installer’s Qualifications:  The contractor shall be qualified to perform the work specified by reason

of experience.

1.50	DELIVERY, STORAGE AND HANDLING

A.  Deliver products in original packaging, labeled with product identification, manufacturer, batch

number and shelf life.

B.  Store products in a dry area.  Protect from direct sunlight.

C.  Handle products in accordance with manufacturer’s printed recommendations.

PART 2 – PRODUCTS

2.10	MATERIALS

A.  Very rapid hardening and shrinkage compensated high strength, hydraulic cement

based structural concrete repair mortar. Comply with the following:

1.  Manufacturer:  Fastset™ DOT Mix (#1244-55) as manufactured by the QUIKRETE®

Companies, One Securities Centre, 3490 Piedmont Road, NE, Suite 1300, Atlanta, GA

30305; telephone (404) 634-9100.

2.  Performance and Physical Properties at 73 degrees F and 50 percent relative humidity:

a. Compliance: ASTM C 928 R-3 specifications

b. Final Set Time, ASTM C 191: 20-45 minutes

c. Compressive Strength, ASTM C 109 modified: 3000 psi (20.7 MPa) @ 1½  hours

4500 psi (31.0 MPa) @ 3 hours, 6500 psi (44.8 MPa) @ 24 hours, 8000 psi (55.2 MPa)

@ 7 days and 10,000 psi (69.0 MPa) @ 28 days

d. Slant Shear Bond Strength, ASTM C 882: 1200 psi (8.3 MPa) @ 24 hours, 1620 psi

(11.2 MPa) @ 7 days

e. Length Change, ASTM C 157: 28 days in air - .075%, 28 days in water + .05%.

f. Height Change, ASTM C 1090: +.02% @ 24 hours

g. Scaling Resistance ASTM C 672: Mass loss 0, visual 0. Region 3 TM4 @ 25 cycles

- 0.28%, region 3 TM4 @ 50 cycles + 0.38%

PART 3 – EXECUTION

3.10	EXAMINATION

A.  Examine substrates and conditions under which materials will be installed. Do not proceed with

installation until unsatisfactory conditions are corrected.

B.  Coordinate installation with adjacent work to ensure proper sequence of construction. Protect

adjacent areas landscaping from contact due to mixing and handling of materials.

3.20	  SURFACE PREPARATION:

Comply with manufacturer’s printed instructions and the following:

A. Remove all spalled and unsound concrete from area to be repaired. If rusty reinforcing

steel is present; it must be abrasive blasted to remove rust.

B.  Remove enough material to completely expose reinforcing steel.

C.  Large vertical or overhead patches deeper than 2” (50 mm) should contain reinforcing

steel if none is present, new steel should be inserted using appropriate techniques.

D.  Clean surface to be repaired of all materials including dust, oil, dirt, and grease.

E.  Dampen with clean water before patching and remove standing water.

3.30	  MIXING:

Comply with manufacturer’s printed instructions and the following:

A. Material should be mechanically mixed for approximately 2- 3 minutes using a five

gallon (19L) bucket with a ½″ (12 mm) drill and paddle mixer. For large grouting

applications a standard mortar mixer should be used.

B. Add 1 gallon (3.8L) of clean water for each 55lb (25.0 Kg) bag. Add the

powder to the water and mix to a stiff gel-like consistency.

Add water sparingly to reach the desired consistency.

Do not mix more material than can be placed in 10 minutes.

C. For repair deeper than 2” (51 mm), up to 25 lbs (11.3 Kg) of clean, high quality ½″ (12 mm) gravel may 	 	            be added to the mix. Adjust water as needed to achieve a mortar like consistency.

D. Do not re-temper with additional water.

3.40	  APPLICATION:

Comply with manufacturer’s printed instructions and the following:

A. Fill the forms completely working from one end to the other. Avoid partial depth

lifts which could result in cold joints.

B. Consolidate the material using hand tampering and/or chopping with a shovel.

Compact around the edges of the forms or patches.

C. Screed the surface then apply a trowel or broom finish as desired.

D. Do not apply if temperatures are below 40°F (4°C) or are expected to go below 32°F

(0°C) within a 24 hour period. Use cold water in hot weather or hot water in cold

weather to achieve desired grout temperature.

3.50		CURING

A.	No special curing is required.  If ambient temperature is above 50 F (10 C) application QUIKRETE Concrete Sealer (#8800) or other approved curing compound is beneficial.   Under hot, dry and windy conditions it may be necessary to use a very fine fog spray of water to reduce excessive heat generation that could occur in extremely hot weather.

3.60		CLEANING

A. Remove excess material before material cures. If material has cured, remove using

mechanical methods that will not damage substrate.

END OF SECTION