Propex Operating Company, LLC	July 2012

PO Box 22788

Chattanooga, Tennessee  37422

Phone	800-621-1273

Website	www.fibermesh.com

E-mail	fibermesh@propexglobal.com

Product Guide Specification

Specifier Notes:  This product guide specification is written according to the Construction Specifications Institute (CSI) 3-Part Format as described in The Project Resource Manual—CSI Manual of Practice.  The section must be carefully reviewed and edited by the Architect or Engineer to meet the requirements of the project and local building code.  Coordinate this section with other specification sections and the Drawings.  Delete all “Specifier Notes” when editing this section.

Section numbers are from MasterFormat 1995 Edition, with numbers from MasterFormat 2004 Edition in parentheses.  Delete version not required.

SECTION 03240 (03 24 00)

SYNTHETIC FIBER REINFORCEMENT

Specifier Notes:  This section covers Propex ENDURO™ 600 polypropylene/polyethylene macro-monofilament fibers for use as concrete secondary reinforcement.  Consult Propex for assistance in editing this section for the specific application.

PART 1	GENERAL

1.1	SECTION INCLUDES

A.	Polypropylene/polyethylene macro-monofilament fibers used as concrete secondary reinforcement.

1.2	RELATED SECTIONS

Specifier Notes:  Edit the following list of related sections as required for the project.  List other sections with work directly related to this section.

A.	Section 03370 (03 37 13) - Shotcrete.

1.3	REFERENCES

Specifier Notes:  List standards referenced in this section, complete with designations and titles.  This article does not require compliance with standards, but is merely a listing of those used.

A.	ASTM C 1116 - Standard Specification for Fiber-Reinforced Concrete and Shotcrete.

1.4	SUBMITTALS

A.	Comply with Section 01330 (01 33 00) - Submittal Procedures.

B.	Product Data:  Submit manufacturer’s product data, including application rate and mixing instructions.

Specifier Notes:  Delete samples if not required.

C.	Samples:  Submit manufacturer’s sample of synthetic fiber reinforcement.

D.	Manufacturer’s Certification:

1.	Submit manufacturer’s certification that synthetic fiber reinforcement complies with specified requirements.

2.	Submit evidence of satisfactory performance history of synthetic fiber reinforcement.

1.5	QUALITY ASSURANCE

A.	Manufacturer’s Qualifications:  Must provide satisfactory performance history of specified synthetic fiber reinforcement.

1.6	DELIVERY, STORAGE, AND HANDLING

A.	Delivery:  Deliver synthetic fiber reinforcement in manufacturer’s original, unopened, undamaged containers and packaging, with labels clearly identifying product name, unique identification number, code approvals, directions for use, manufacturer, and weight of fibers.

B.	Storage:

1.	Store synthetic fiber reinforcement in clean, dry, cool area indoors in accordance with manufacturer’s instructions.

2.	Do not store synthetic fiber reinforcement in direct sunlight.

3.	Keep packaging sealed until ready for use.

C.	Handling:  Protect synthetic fiber reinforcement during handling to prevent contamination.

PART 2	PRODUCTS

2.1	MANUFACTURER

A.	Propex Operating Company, LLC. PO Box 22788, Chattanooga, Tennessee  37422
Toll Free 800-621-1273. Website www.fibermesh.com. E-mail fibermesh@propexglobal.com

2.2	SYNTHETIC FIBER REINFORCEMENT

A.	Synthetic Fiber Reinforcement:  ENDURO 600.

1.	Material:  Polypropylene/polyethylene macro-monofilament fibers.

2.	Conformance:  ASTM C 1116, Type III.

3.	Fiber Length:  2.0 inches (50 mm).

4.	Alkali Resistance:  Alkali proof.

5.	Absorption:  Nil.

6.	Specific Gravity:  0.91.

7.	Melt Point:  328 degrees F (164 degrees C).

PART 3	EXECUTION

3.1	MIXING

A.	Add synthetic fiber reinforcement to concrete mixture in accordance with manufacturer’s instructions.

B.	Add synthetic fiber reinforcement into concrete mixer after batching other concrete materials.

Specifier Notes:  The application rate will vary depending on the application, mix design, and the toughness requirements of the project.  When used in conjunction with Fibermesh® 150 synthetic fiber reinforcement, the application rate and the performance of the sprayed concrete can be optimized economically.

Typically, ENDURO 600 synthetic fiber reinforcement application rate will be in the range of 8 to 15 pounds per cubic yard (5 to 9 kg/m3) of concrete.  Consult Propex for more information.

C.	Application Rate:  Add synthetic fiber reinforcement at application rate of _______ pounds per cubic yard ( _______ kg/m3) of concrete.

D.	Mix concrete after application of synthetic fiber reinforcement for sufficient time, with minimum of 5 minutes, to ensure uniform distribution of fibers throughout concrete.

Specifier Notes:  Insert section number of the section specifying the concrete.

E.	Concrete shall be as specified in Section __________ .

3.2	PLACING AND FINISHING

Specifier Notes:  Insert section number of the section specifying the concrete.

A.	Placing and finishing concrete shall be as specified in Section __________ .

END OF SECTION