Propex Operating Company, LLC	July 2012

PO Box 22788

Chattanooga, Tennessee  37422

Phone	800-621-1273

Website	www.fibermesh.com

E-mail	fibermesh@propexglobal.com

Product Guide Specification

Specifier Notes:  This product guide specification is written according to the Construction Specifications Institute (CSI) 3-Part Format as described in The Project Resource Manual—CSI Manual of Practice.  The section must be carefully reviewed and edited by the Architect or Engineer to meet the requirements of the project and local building code.  Coordinate this section with other specification sections and the Drawings.  Delete all “Specifier Notes” when editing this section.

Section numbers are from MasterFormat 1995 Edition, with numbers from MasterFormat 2004 Edition in parentheses.  Delete version not required.

SECTION 03240 (03 24 00)

STEEL AND SYNTHETIC FIBER REINFORCEMENT

Specifier Notes:  This section covers Propex Novomesh® 850 steel and synthetic fiber blend for use as concrete flexural and/or secondary reinforcement.  Consult Propex for assistance in editing this section for the specific application.

PART 1	GENERAL

1.1	SECTION INCLUDES

A.	Steel and synthetic fiber blend used as concrete flexural and/or secondary reinforcement.

1.2	RELATED SECTIONS

Specifier Notes:  Edit the following list of related sections as required for the project.  List other sections with work directly related to this section.

A.	Section 02750 (32 13 00) - Rigid Paving.

B.	Section 03210 (03 21 00) - Reinforcing Steel.

C.	Section 03300 (03 30 00) - Cast-in-Place Concrete.

D.	Section 03500 (03 50 00) - Cementitious Decks and Toppings.

1.3	REFERENCES

Specifier Notes:  List standards referenced in this section, complete with designations and titles.  This article does not require compliance with standards, but is merely a listing of those used.

A.	ASTM A 820/A 820M - Standard Specification for Steel Fibers for Fiber-Reinforced Concrete.

B.	ASTM C 94 - Standard Specification for Ready-Mixed Concrete.

C.	ASTM C 1116 - Standard Specification for Fiber-Reinforced Concrete and Shotcrete.

D.	UL Report File No. R14701 (N).

1.4	SUBMITTALS

A.	Comply with Section 01330 (01 33 00) - Submittal Procedures.

B.	Product Data:  Submit manufacturer’s product data, including application rate and mixing instructions.

Specifier Notes:  Delete samples if not required.

C.	Samples:  Submit manufacturer’s sample of steel and synthetic fiber reinforcement.

D.	Manufacturer’s Certification:

1.	Submit manufacturer’s certification that steel and synthetic fiber reinforcement complies with specified requirements.

2.	Submit evidence of manufacturer’s ISO 9001:2000 certification.

3.	Submit evidence of satisfactory performance history of steel and synthetic fiber reinforcement.

1.5	QUALITY ASSURANCE

A.	Manufacturer’s Qualifications:

1.	Steel and synthetic fiber reinforcement manufactured in ISO 9001:2000 certified facility.

2.	Satisfactory performance history of specified steel and synthetic fiber reinforcement.

1.6	DELIVERY, STORAGE, AND HANDLING

A.	Delivery:  Deliver steel and synthetic fiber reinforcement in manufacturer’s original, unopened, undamaged containers and packaging, with labels clearly identifying product name, manufacturer, and weight of fibers.

B.	Storage:

1.	Store steel and synthetic fiber reinforcement in clean, dry area indoors in accordance with manufacturer’s instructions.

2.	Keep packaging sealed until ready for use.

3.	Protect pallets against rain and snow.

4.	Do not stack pallets on top of each other.

C.	Handling:  Protect steel and synthetic fiber reinforcement during handling to prevent contamination.

PART 2	PRODUCTS

2.1	MANUFACTURER

A.	Propex Operating Company, LLC, PO Box 22788, Chattanooga, Tennessee 37422.  
Toll Free 800-621-1273 Website www.fibermesh.com. E-mail fibermesh@propexglobal.com.

2.2	STEEL AND SYNTHETIC FIBER REINFORCEMENT

A.	Steel and Synthetic Fiber Reinforcement:  Novomesh 850.

1.	Material:  Blend of cold-drawn steel wire fibers and 100 percent virgin homopolymer graded-multifilament polypropylene fibers, containing no reprocessed olefin materials.

2.	Conformance:

a.	ASTM C 1116, Types I and III.

b.	ASTM A 820/A 820M.

c.	Fire Classification:  UL Report File No. R14701 (N).

3.	Polypropylene Component:

a.	Fiber Length:  Multi-design gradation.

b.	Alkali Resistance:  Alkali proof.

c.	Absorption:  Nil.

d.	Specific Gravity:  0.91.

e.	Melt Point:  324 degrees F (162 degrees C).

4.	Steel Component:

a.	Fiber Length:  1.5 inches (38 mm).

b.	Aspect Ratio:  34.

c.	Tensile Strength:  140 to 180 Kpsi (966 to 1,242 MPa).

d.	Deformation:  Continuously deformed circular segment.

PART 3	EXECUTION

3.1	MIXING

A.	Add steel and synthetic fiber reinforcement to concrete mixture in accordance with manufacturer’s instructions.

B.	Add degradable bags of steel and synthetic fiber reinforcement into concrete mixer after batching other concrete materials.

Specifier Notes:  Steel and synthetic fiber reinforcement may be used at 1.5-bag (36-pound) and 2-bag (48-pound) application rates for heavier duty applications.  Consult Propex for recommendations regarding increased application rates.

C.	Application Rate:  Add steel and synthetic fiber reinforcement at minimum application rate of one 24-pound degradable bag per cubic yard (14.29 kg/m3) of concrete.

D.	Mix steel and synthetic fiber reinforcement in concrete mixer for a minimum of 5 minutes at maximum mixing speed in accordance with ASTM C 94.

Specifier Notes:  Insert section number of the section specifying the concrete.

E.	Concrete shall be as specified in Section __________ .

3.2	PLACING AND FINISHING

Specifier Notes:  Insert section number of the section specifying the concrete.

A.	Placing and finishing concrete shall be as specified in Section __________ .

END OF SECTION