GUIDE SPECIFICATION

SECTION 03360 [02760]

DRY-SHAKE COLORED HARDENER

[STAMPED/IMPRINTED CONCRETE PAVEMENT]

******************************************************************************

This guide specification is intended to be used by a qualified construction specifier.  It is not intended to be used verbatim as a project specification without appropriate modifications for the specific use intended.

Notes for review by the specifier are set off from specification text by rows of asterisks.  Optional text requiring a selection is enclosed within brackets, e.g., "Color shall be [gray] [white]."  Items requiring input specifier input are enclosed within brackets, e.g., "Color: [_______]."

******************************************************************************

GENERAL

SUMMARY

Drawings and general provisions of Contract, including General and Supplementary Conditions and Division 1 Specification sections, apply to Work of this Section.

Section Includes:

Dry-shake colored hardener applied to [slabs-on-grade,] [sidewalks,] [driveways,] [patios,] [roads,] [parking lots,] [_______,] [and] [other exterior concrete pavements].

[Stamping/Imprinting.]

Curing of colored [and imprinted] concrete.

Related Sections:

Division 3 Section "Cast-In-Place Concrete for general applications of concrete [and for cementitious or epoxy mortar, underlayments, or toppings].

Division 7 Section "Joint Sealants" for colored sealants for joints.

REFERENCES

******************************************************************************

Other useful publications about colored concrete include:

PCA PA124 - Finishing Concrete Slabs with Color and Texture.

PCA SP021 - Color and Texture in Architectural Concrete.

******************************************************************************

American Concrete Institute (ACI):

ACI 301 "Specification for Structural Concrete for Buildings."

ACI 302 IR "Recommended Practice for Concrete Floor and Slab Construction."

ACI 303.1 "Standard Specification for Cast-In-Place Architectural Concrete."

ACI 304 "Recommended Practice for Measuring, Mixing, Transporting and Placing of Concrete."

ACI 305R "Recommended Practice for Hot Weather Concreting."

ACI 306R "Recommended Practice for Cold Weather Concreting."

American Society of Testing and Materials (ASTM):

ASTM C309 "Standard Specifications for Liquid Membrane-Forming Compounds for Curing Concrete."

ASTM C494 "Standard Specification for Chemical Admixtures for Concrete."

SUBMITTALS

Product Data:  Submit manufacturer’s complete technical data sheets for the following:

Dry-shake colored hardener.

[Powder antiquing release agent.]

[Imprinting/Texturing tools.]

Curing compound.

Design Mixes:  For each type of concrete.

Samples for Initial Selection:  Manufacturer's color charts showing full range of colors available.

Qualification Data:  For firms indicated in "Quality Assurance" Article, including list of completed projects.

QUALITY ASSURANCE

Manufacturer Qualifications:  Manufacturer with 10-years experience in manufacture of specified products.

Installer Qualifications: An installer with [5-] [________] years experience with work of similar scope and quality.

Comply with the requirements of ACI 301.

Obtain each specified material from same source and maintain high degree of consistency in workmanship throughout Project.

Notification of manufacturer's authorized representative shall be given at least 1-week before start of Work.

******************************************************************************

Color charts and small sample submittals provide only a general indication of color; color and appearance of completed work may differ.  On large or critical projects, specify a mock-up or field sample to demonstrate that proposed materials and workmanship produce acceptable concrete appearance.

******************************************************************************

Colored Concrete [Mockups] [Field Samples]:

Provide under provisions of Division 1 Section ["Quality Control."] [________.]

At location on Project selected by [Architect] [Landscape Architect] [Engineer], place and finish [10 feet by 10 feet (3 by 3 m)] [4 feet by 4 feet (1.2 by 1.2 m)] [________] area.

Construct [mockup][sample panel] using processes and techniques intended for use on permanent work, including curing procedures.  Include samples of control, construction, and expansion joints in sample panels.  [Mockup] [Field sample] shall be produced by the individual workers who will perform the work for the Project.

Accepted [mockup] [field sample] provides visual standard for work of Section.

[Mockup] [Field sample] shall remain through completion of the work for use as a quality standard for finished work.

Remove [mockup] [field sample] when directed.

DELIVERY, STORAGE, AND HANDLING

Deliver products in original factory unopened, undamaged packaging bearing identification of product, manufacturer, batch number, and expiration data as applicable.

Store the product in a location protected from damage, construction activity, and precipitation in strict accordance with the manufacturer's recommendations.

PROJECT CONDITIONS

Schedule placement to minimize exposure to wind and hot sun before curing materials are applied.

Avoid placing concrete if rain, snow, or frost is forecast within 24-hours.  Protect fresh concrete from moisture and freezing.

Comply with professional practices described in ACI 305R and ACI 306R.

PRE-JOB CONFERENCE

One week prior to placement of concrete, a meeting shall be held to discuss the Project and application methods.

It is suggested that the [Architect,] [Landscape Architect,] [Engineer,] General Contractor, [Construction Manager,] Subcontractor, Ready-Mix Concrete Representative, and a Manufacturer's Representative be present.

PRODUCTS

ACCEPT ABLE MANUFACTURER

Sika Corporation, (800) 800-9900.

MATERIALS

Dry-shake Colored Hardener:  LITHOCHROME( Color Hardener, Sika Corporation; factory proportioned, mixed, and packaged, ready-to-use surface hardener.

[Stamping/Imprinting Tools and Materials:]  LITHOTEX( Pavecrafters( imprinting tools, Sika Corporation.

[Powder Antiquing Release Agent:]  LITHOCHROME( Antiquing Release Pro, Sika Corporation.

Powder antiquing release agent shall be recommended by pattern tool manufacturer and compatible with dry-shake colored hardener.******************************************************************************

Select either a curing compound in the paragraph above or a curing and sealing compound in the paragraph below.

******************************************************************************

Curing and Sealing Compound:  SCOFIELD( Cureseal-W™ [Semi Gloss] and SCOFIELD( Cureseal™ 700 [Gloss], Sika Corporation.  Curing and sealing compound shall comply with ASTM C309 and be of same manufacturer as colored admixture, for use with integrally colored concrete.

SUBSTITUTIONS:  The use of products other than those specified will be considered providing that Contractor requests its use in writing within 14-days prior to bid date.  This request shall be accompanied by the following:

A certificate of compliance from material manufacturer stating that proposed products meet or exceed requirements of this Section.

Documented proof that proposed materials have a 10-year proven record of performance confirmed by at least 5 local projects that [Architect] [Landscape Architect] [Engineer] can examine.

COLORS [AND PATTERNS]

Colors:  As selected by [Architect] [Landscape Architect] [Engineer] from                   Color Chart A-132CH LITHOCHROME Color Hardener.

[Imprinting patterns as selected by [Architect] [Landscape Architect] [Engineer] from LITHOTEX( Pavecrafters™ Pattern Sheets.]

[Powder Antiquing Release Agent:]  As selected by [Architect] [Landscape Architect] [Engineer] from manufacturer's standard colors.

CONCRETE MIX DESIGN

Minimum Cement Content:  [5] [________] sacks per cubic yard of concrete.

Slump of concrete shall be consistent throughout Project at 4-inches or less.  At no time shall slump exceed 5-inches.  [If super plasticizers are allowed, slump shall not exceed 8-inches.]

Do not add calcium chloride to mix as it causes mottling and surface discoloration.

Supplemental admixtures shall not be used unless approved by manufacturer.

Do not add water to the mix in the field.

Maximum air content shall not exceed 5 percent.

EXECUTION

CONCRETE PLACEMENT

Move concrete into place with square-tipped shovels or concrete rakes.

Vibrators, when used, shall be inserted and withdrawn vertically.

Concrete shall be struck to specified level with wood or magnesium straight edge or mechanical vibrating screed.

The concrete surface shall be further leveled and consolidated with highway magnesium straight edge and/or magnesium bull float.

Mechanically float concrete surfaces as soon as concrete surface has taken its initial set and will support weight of a power float machine equipped with float shoes or combination blades and operator.

INSTALLATION

Apply 2/3 of specified application rate to freshly floated concrete surface.  Bleed water shall not be present during or following application of first and second shake.

Do not throw dry-shake; distribute evenly by hand or mechanical spreader designed to apply floor hardeners. Consult Scofield for recommended manufacturers of mechanical spreaders.

As soon as dry-shake material has absorbed moisture, indicated by uniform darkening of surface, mechanically float concrete surface a second time, just enough to bring moisture from base slab through dry-shake color hardener.

Immediately following second floating, apply remaining 1/3 of specified application rate.  If applied by hand, broadcast in opposite direction of first application for a more uniform coverage.  If a mechanical spreader is used, apply the same manner as previously described.

As soon as dry-shake material has absorbed moisture, mechanically float concrete surface a third time.

Do not add water to the surface.

Begin imprinting operations immediately after applying dry-shake colored hardener, according to manufacturer’s written instructions, including application of powder antiquing release agent.

CURING

Imprinted concrete shall be cured with liquid membrane [curing] [curing and sealing] compound as recommended by manufacturer.

As soon as possible after antiquing release has been removed and after moisture content of concrete is low enough that alkali and other salts do not become trapped beneath sealer, normally a minimum of 14 to 28 days after placement, apply 2-coats of specified [sealer] [curing and sealing compound] according to manufacturer’s written instructions.

There should be no free water on the surface at time of application.

PROTECTION OF FINISHED WORK

Protect finish work under provisions of Division 1 Section ["Temporary Facilities and Controls."] [________.]

Prohibit foot or vehicular traffic on the newly imprinted concrete surface.

Barricade area to protect newly imprinted concrete.

Protect floor surface from damage until final inspection and acceptance by Owner.

******************************************************************************

Coordinate Schedule name with Drawings or delete Article if Schedule is not required.

******************************************************************************

SCHEDULE

Refer to Room Finish Schedule for locations of specified floor finish.

3.6	APPLICATORS

A.	For a list of qualified contractors, contact your local Scofield representative.

END OF SECTION

© Sika Corporation