Spec Component:

Sikadur 58 CJR

DIVISION 3 - CONCRETE

Section 03930 - Control Joint Sealers

# Part 1 - General

1.01  Summary

A.	This specification describes the sealing of saw-cut, control, and construction joints in concrete with a semi-rigid flexible epoxy resin adhesive sealant.

1.02  Quality Assurance

A.	Manufacturing qualifications: The manufacturer of the specified product shall be ISO 9001 certified and have in existence a recognized ongoing quality assurance program independently audited on a regular basis.

B.	Contractor qualifications: Contractor shall be qualified in the field of concrete repair and protection with a successful track record of 5 years or more.  Contractor shall maintain qualified personnel who have received product training by a manufacturer’s representative.

C.	Install materials in accordance with all safety and weather conditions required by manufacturer or as modified by applicable rules and regulations of local, state and federal authorities having jurisdiction.  Consult Safety Data Sheets for complete handling recommendations.

1.03  Delivery, Storage, and Handling

A.	All materials must be delivered in original, unopened containers with the manufacturer's name, labels, product identification, and batch numbers.  Damaged material must be removed from the site immediately.

B.	Store all materials off the ground and protect from rain, freezing or excessive heat until ready for use.

C.	Condition the specified product as recommended by the manufacturer.

1.04  Job Conditions

A.	Environmental Conditions: Do not apply material if it is raining or snowing or if such conditions appear to be imminent. Minimum application temperature 40ºF (5ºC) and rising.

B.	Protection: Precautions should be taken to avoid damage to any surface near the work zone due to mixing and handling of the specified sealant.

1.05  Submittals

A.	Submit two copies of manufacturer's literature, to include: Product Data Sheets, and appropriate Safety Data Sheets (SDS).

1.06  Warranty

A.	Provide a written warranty from the manufacturer against defects of materials for a period of one (1) year, beginning with date of substantial completion of the project.

# Part 2 - Products

2.01  Manufacturers

A.	Sikadur 58 CJR, as manufactured by Sika Corporation, 1682 Williamsport Road, Marion, OH, 43302 is considered to conform to the requirements of this specification.

2.02  Materials

A.	Epoxy control joint resin:

- Component “A” shall be modified epoxy resin of diglycidilether of  bisphenol A containing suitable viscosity control agents.  It shall not contain butyl glycidyl ether.

- Component “B”  shall be primarily a blend of aliphatic amines containing a suitable flexibilizing agent.

- The ratio of Component A:Component B shall be 1:1 volume.

2.03 Performance Criteria

- Properties of the mixed epoxy resin adhesive sealant:

Sikadur 58 CJR:

1.	Potlife: 15- 20 minutes.(1 gallon mass) / 22-25 minutes (8 fl. Oz.)

2. 	Consistency: Self-leveling

- Color: Concrete Gray

- Tack-Free Time:  3 hours

- Properties of the cured epoxy resin adhesive sealant:

Sikadur 58 CJR:

1. 	Tensile Properties (ASTM D-638) at 14 days

a. 	Tensile Strength: 		 	 450 psi (3.9 MPa)

b. 	Tensile Elongation at break:	 	78%

- c. Modulus of Elasticity: 	              700 psi (4.83 MPa)

2. 	Shore A Hardness (ASTM D-2240) at 28 days

- 80-83 (Shore A)

- Tear Stength (ASTM D-624) at 14 days

a.     Tear Strength           50 lb./in. (8.76 N/MM)

- Water Absorption (ASTM D-570)

7 days  Total Water absorption (24 Hr.)          0.3%

Note: Tests were performed with material and curing conditions at 71o-75oF and 45-55% relative humidity.

# Part 3 - Execution

3.01  Surface Preparation

- Substrate must be clean and sound. It may be dry or damp, but must be free of standing water. Remove dust, laitance, grease, curing compounds, bond inhibiting impregnations, waxes and any other contaminants. Concrete should be cleaned and prepared to achieve a laitance and contaminant free, open textured surface by blast cleaning or equivalent mechanical means. The most common method utilizes a dustless, diamond blade saw.

- Climate controlled rooms should be stabilized at least 14 days before application of Sikadur-58 CJR.

- Priming is not required.

- Joints shall be masked to prevent discoloration or application on unwanted areas, as directed by the Engineer.

  - If masking tape is used, it should be removed before shaving the joint filler flush. Do not apply the masking tape until just prior to the epoxy construction/control joint resin application.

  - Dial bar soap may used in the same fashion. Rub the bar of soap on the joint sides to create a thin film layer of soap to prevent surface staining.

  - If third party “stain preventing films” are requested, a field mock-up must be preformed to confirm the effectiveness of the product to prevent stains.

# 3.02  Mixing and Application

- Mixing for applicatoin with a bulk dispensing gun:

  - Pre-mix each component thoroughly before using (usually 1-3 minutes - color must be consistent).

  - Proportion equal parts by volume of Component A and Component B into clean pail.

  - Mix thoroughly for 3 minutes with a low-speed (400-600 rpm) drill using a jiffy paddle. Color should be uniform after mixing.

  - Mix only quantity that can be applied within its pot life.

- Mixing for application with a pump:

  - 1:1 ratio, plural component pump

    - Manufacturer: AST - PCH GMP-025 ‘LIL PRO

    - Manufacturer: Graco - Reactor E-8p

    - Manufacturer: SealBoss – JointMaster Pro2 G3i Digital

  - 30 element static mixing nozzle.

  - Pre-mix each component thoroughly before using (usually 1-3 minutes - color must be consistent).

- Application:

  - Maintain a steady flow of material to eliminate overlapping as this may cause bubbling within the material. Apply generously, sealant will overflow out of joint. cure overnight (around 24 hours) before shaving.

  - A thin layer of clean, dry sand may be used to prevent the flow of joint filler into stress cracks that occur at the bottom of control joints. Do not use a compressible backer rod to stop the flow of Sikadur-58 CJR unless the joint depth exceeds 2 in. See Figure 1 below.

  - Shave off Sikadur-58 CJR with a sharp razor so that the top surface is flush with the surfaces of the concrete that define the control joint. Shaving at a lower angle to the surface will produce better results. An industrial heating gun or torch may be required to soften cured resin before shaving. Apply heat for 10-15 seconds.

- Joint width should be between 1/8” and 1/4”. For joints wider than 1/4”, please contact Sika Technical Services.

3.03 Cleaning

- The uncured epoxy resin adhesive sealant can be cleaned from tools with an approved solvent. The cured epoxy resin adhesive sealant can only be removed mechanically.

- Leave work area in a neat, clean condition without evidence of spillovers onto adjacent areas.

Figure 1

- Pour Sikadur-58 CJR into prepared joint and allow to overflow

- If the joint depth exceeds 2 inches, use a backer rod to limit the depth of the joint filler to 2 inches.

- A thin layer of clean, dry sand may be used at to block the flow of joint filler down into cracks.