SECTION Sonolastic NP 1

MasterSeal® NP 1™ Sealant (Formerly Sonolastic NP 1)

Notes to specifiers:

The Construction Systems business of BASF Corporation previously conducted business as Degussa, Inc. Building Systems.  The Admixture Systems business of BASF Corporation previously conducted business as Degussa Admixtures, Inc. and Master Builders, Inc.

On January 1, 2014 BASF launched the Master Builders Solutions brand in North America. With Master Builders Solutions, BASF combined its existing construction brands such as Master Builders, Chemrex, Sonneborn, MBT and others that have established a legacy of innovation, to create one unparalleled, globally recognized brand for its solutions to the construction industry.

This new BASF harmonized naming system, presents simpler, more logical and easier to understand product names. Each new name reflects an application property or function.

The purpose of this guide specification is to assist the specifier in developing a project specification for the use of BASF Construction Chemicals’ products.  it is not intended to be a “stand alone” document, nor to be copied directly into a project manual.  This guide specification will need to be carefully reviewed for APPROPRIATENESS for the given project and edited accordingly to comply with project-specific requirements.

- GENERAL

      - system description

        - Section Includes:

          - Application of elastomeric joint sealant.

        - Related Sections:

edit note:  if retaining related sections article, delete sections from this list or add sections per project requirements.

          - Section 03 30 00 – Cast-in-Place Concrete.

          - Section 04 21 00 – Masonry Assemblies Unit Masonry.

          - Section 07 95 13 – Expansion Joint Cover Assemblies.

          - Section 07 62 00 – Flashing and Sheet Metal Flashing and Trim.

          - Section 07 84 00 – Firestopping.

          - Section 08 41 00 – Aluminum Entrances and Storefronts.

          - Section 08 81 00 – Glass Glazing.

      - SUBMITTALS

        - Comply with Section [01 33 00] [__ __ __].

        - Product Data:  Submit manufacturer's technical data sheets and LEED product information for each product.

        - Samples:

          - Initial Selection Purposes:  For each product exposed to view, manufacturer's standard bead consisting of strips of actual products showing full range of colors available.

          - Verification:  2 sets of each type and color of joint sealant required.  Install joint sealant samples in 1/2-inch wide joints formed between two 6-inch long strips of material matching appearance of exposed surfaces adjacent to joint sealants.

        - Submit laboratory tests or data validating product compliance with performance criteria specified.

        - Submit list of references from 5 projects similar in scope to this Project.  Include contact name and phone number of person charged with oversight of each project.

        - Warranty:  Provide manufacturer's standard material warranty.

      - QUALITY ASSURANCE

        - Comply with Section [01 40 00] [__ __ __].

        - Qualifications:

          - Manufacturer Qualifications:  Company regularly engaged in manufacturing and marketing of products specified in this Section.

          - Manufacturer Qualifications:  Company shall be ISO 9001:2000 Certified.

          - Applicator Qualifications:  Qualified to perform Work specified by reason of experience or training provided by product manufacturer.

        - Mock-Ups:

          - At start of Project, perform mock-up of required sealant Work at 1 area of building.  Perform minimum of 1 mock-up for each different combination of substrates to be sealed.  Coordinate mock-up areas with Architect.

          - Install mock-ups and test in presence of sealant manufacturer’s authorized representative and Architect to ensure application procedures are consistent with warranty requirements.

          - After sealant has achieved sufficient cure as coordinated with manufacturer’s representative, conduct adhesion pull-tests or non-destructive testing, at discretion of Architect.  Conduct tests in accordance with ASTM C1521.

            - Confirm results of adhesion tests as acceptable to Architect and sealant manufacturer before starting Work.

          - Leave approved mock-ups in place to establish standards and guidelines for acceptable application of sealant Work and acceptable appearance.

      - DELIVERY, STORAGE, AND HANDLING

        - Comply with Section [01 60 00] [__ __ __].

        - Deliver products in original factory packaging bearing identification of product, manufacturer, and batch number.

        - Store products in original, unopened containers in clean, dry area away from heat and direct sunlight.

      - PROJECT CONDITIONS

        - Do not use products under conditions of precipitation or in inclement or freezing weather.  Verify that substrates are clean, dry, and frost free.  Use appropriate measures for protection and supplementary heating to ensure proper curing conditions in accordance with manufacturer's recommendations if application during inclement weather occurs.

- PRODUCTS

      - MANUFACTURERs

        - Subject to compliance with requirements, provide products from the following manufacturer:

BASF Corporation

Construction Chemicals

889 Valley Park Drive

Shakopee, MN  55379

Customer Service:  800- 433-9517

Technical Service:  800-243-6739

Direct Phone:  952-496-6000

Internet: www.master-builders-solutions.basf.us

        - Substitutions:  Comply with Section [01 60 00] [__ __ __].

        - Specifications and Drawings are based on manufacturer's proprietary literature from BASF Construction Chemicals.  Other manufacturers shall comply with minimum levels of material, color selection, and detailing indicated in Specifications or on Drawings.  Architect will be sole judge of appropriateness of substitutions.

      - MATERIALS

        - One-component, high-performance, nonpriming, gun-grade, elastomeric polyurethane sealant.

          - Acceptable Product:  MasterSeal NP 1 (formerly Sonolastic NP 1) by BASF.

        - Performance Requirements:  Provide sealant complying with the following requirements:

          - Compliances:

            - ASTM C920, Type S, Grade NS, Class 35, Use NT, T, M, A, G, and I.

            - Federal Specification TT-S-00230C, Type II, Class A.

            - Corps of Engineers CRD C541, Type II, Class A.

            - Canadian Specification CAN/CGSB 19.13.M87, Classification MCG-2-25-A-N, No. 81026.

            - USDA compliant for use in meat and poultry areas.

            - UL classified, fire resistance only.

            - ISO 11600-F-25LM.

          - Service Temperature Range:  Minus 40 to 180 degrees F (minus 40 to 82 degrees C).

          - Shrinkage:  None.

          - Movement Capability, ASTM C719:  Plus or minus 35 percent.

          - Tensile Strength, ASTM D412:  350 psi (2.4 MPa).

          - Tear Strength, ASTM D1004:  50 pli.

          - Ultimate Elongation at Break, ASTM D412:  800 percent.

          - Rheological, ASTM C639, sag in vertical displacement, 120 degrees F (49 degrees C):  No sag.

          - Extrudability, ASTM C603, 3 seconds:  Passes.

          - Hardness, ASTM C661, Shore A:

            - Standard Conditions:  25 to 30.

            - After Heat Aging:  25.

          - Weight Loss, ASTM C792, after heat aging:  3 percent.

          - Cracking and Chalking, ASTM C792, after heat aging:  None.

          - Tack-Free Time, ASTM C679:  Passes.

          - Stain and Color Change, ASTM C510:  Passes, no visible stain.

          - Bond Durability, ASTM C719, on glass, aluminum, and concrete:  Passes, plus or minus 35 percent movement.

          - Adhesion in Peel, ASTM C794:  30 pli.

          - Adhesion in Peel, after UV radiation through glass, ASTM C794:  Passes.

          - Artificial Weathering, ASTM C793, Xenon arc, 250 hours:  Passes.

          - Artificial Weathering, ASTM G26, Xenon arc, 3,000 hours:  No surface cracking.

          - Water Immersion, ASTM C1247, 122 degrees F (50 degrees C):  Passes 10 weeks with movement cycling.

          - VOC Content:  0.36 lbs per gal (43 g/L), less water and exempt solvents.

        - Design Requirements:

          - Design number of joints and joint widths for maximum of plus or minus 25 percent movement.

          - Design depth of sealant to be 1/2 width of joint.

            - Maximum Depth:  1/2 inch (13 mm).

            - Minimum Depth:  1/4 inch (6 mm).

            - Maximum Recommended Width: 1-1/2 inches (38 mm).

      - COLOR

        - Sealant Colors:  Selected by Architect from manufacturer's full color range.

select paragraph above or make SELECTION BELOW.  delete colors not used on project.

          - Color:

            - White.

            - Off-white.

            - Limestone.

            - Stone.

            - Tan.

            - Aluminum Gray.

            - Gray

            - Medium Bronze.

            - Special Bronze.

            - Redwood Tan.

            - Black.

- EXECUTION

      - EXAMINATION

        - Comply with Section [01 70 00] [__ __ __].

        - Inspect areas involved in Work to establish extent of Work, access, and need for protection of surrounding construction.

        - Examine joints for defects that would adversely affect quality of installation.

        - Provide additional joint preparation, beyond that outlined in Specifications, as required by sealant manufacturer and Architect’s recommendations based on mock-ups and field adhesion tests.

      - SURFACE PREPARATION

        - Prepare surfaces in accordance with manufacturer’s instructions.

        - Clean joints as required to expose sound surface free of contamination and laitance.

        - Ensure structurally sound surfaces, dry, clean, free of dirt, moisture, loose materials, oil, grease, asphalt, tar, paint, wax, rust, waterproofing, curing and parting compounds, membrane materials, and other foreign matter that impair adhesion of sealant.

        - Concrete, Stone, and Other Masonry:

          - Clean by grinding, sandblasting, or wire brushing to expose sound surface free of contamination and laitance.

        - Wood:

          - Clean new and weathered wood.  Scrape away loose paint to bare wood.  If coatings cannot be removed, test coatings to verify adhesion of sealant or determine appropriate primer.

        - Metal:

          - Remove scale, rust, and coatings from metal to expose bright white surface.  Remove protective coatings and chemical residue or film.

          - Aluminum Frames:  Remove clear lacquer before application of joint sealants.  If coatings cannot be removed, test coatings to verify adhesion of sealant or determine appropriate primer.

          - Remove other protective coatings or finishes that could interfere with adhesion.

      - Priming

        - Where circumstances or substrates require primer, comply with the following requirements:

          - Apply primer in accordance with manufacturer’s instructions.

          - Allow primer to dry before applying joint sealants.

          - Prime and seal on same workday.

      - APPLICATION

        - Back-Up Material:

          - Install appropriate size backer rod, larger than joint where necessary in accordance with manufacturer's recommendations, and in manner to provide concave sealant profile.

          - Where joint depth does not permit installation of backer rod, install adhesive-backed polyethylene bond-breaker tape along entire back of joint to prevent 3-sided adhesion of joint sealant.

        - Sealant:

          - Apply sealant in accordance with manufacturer’s instructions.

          - Verify that temperature and moisture conditions are within manufacturer’s acceptable limits.

          - Completely fill joint with sealant, filling from bottom up to avoid entrapping air.

          - Using clean, dry tool with rounded edge, and of appropriate width for each joint, tool freshly installed sealant to provide preferred concave profile, to ensure intimate contact between sealant and substrate, and to provide neat appearance.  Where surface aggregate does not permit proper tooling, install sealant and backer rod so that face of joint is recessed behind exposed aggregate, and sealant is bonded to firm, even surface.

          - Use dry tooling method.  Do not use tooling agents such as soapy water or solvents that have not been approved by sealant manufacturer.

      - Curing

        - Allow sealant to cure in accordance with manufacturer’s instructions.

      - INSPECTION

        - During Work of the section, inspect Work to assure compliance with manufacturer’s instructions, Specifications, and Drawings.

          - Evaluate adhesion of sealant in accordance with ASTM C1521.

          - Allow inspections of Work and assist in testing requested by manufacturer’s representative and Architect.

        - Non-Compliant Work:  If inspections reveal non-compliant Work or Work that was not installed in accordance with Specifications, and/or manufacturer requirements, remove adjacent Work until a location is reached where installation was performed properly.  Assist in spot-checking of remainder of Work.

      - CLEANING

        - Remove excess sealant in accordance with manufacturer’s instructions.

      - PROTECTION

        - Protect sealant from damage during construction.

- END OF SECTION

Disclaimer

This information and all further technical advice are based on BASF’s present knowledge and experience. However, BASF assumes no liability for providing such information and advice including the extent to which such information and advice may relate to existing third party intellectual property rights, especially patent rights. In particular, BASF disclaims all CONDITIONS AND WARRANTIES, WHETHER EXPRESS OR IMPLIED, INCLUDING THE IMPLIED WARRANTIES OF FITNESS FOR A PARTICULAR PURPOSE OR MERCHANTABILITY. BASF SHALL NOT BE RESPONSIBLE FOR CONSEQUENTIAL, INDIRECT OR INCIDENTAL DAMAGES (INCLUDING LOSS OF PROFITS) OF ANY KIND. BASF reserves the right to make any changes according to technological progress or further developments. It is the customer’s responsibility and obligation to carefully inspect and test any incoming goods. Performance of the product(s) described herein should be verified by testing and carried out only by qualified experts. It is the sole responsibility of the customer to carry out and arrange for any such testing. Reference to trade names used by other companies is neither a recommendation, nor an endorsement of any product and does not imply that similar products could not be used.