Sika Sarnafil®

Adhered

Waterproofing

System

Introduction

System Description	iii

System Components	iii

Regional Offices	iv

Part 1 – General Conditions

1.01 Description	1

1.02 Quality Assurance	1

1.03 Submittals	2

1.04 Product Delivery, Storage and Handling	2

1.05 Job Conditions	2

1.06 Sequencing of the Work	3

1.07 Warranties	3

Part 2 - Products

2.01 Waterproofing Membrane	4

2.02 System Flashing Products and Accessories	5

2.03 Electric Field Vector Mapping	6

2.04 Protection Layers	6

2.05 Drainage Panels – EFVM Compatible	7

2.06 Drainage Panels – Not Compatible with EFVM	7

2.07 Thermal Insulation	7

2.08 Precast Concrete Pavers and Pedestals	8

2.09 Related Materials	8

Part 3 – Execution

3.01 General	9

3.02 Examination	9

3.03 Substrate Preparation	9

3.04 Surface Conditioner Application	9

3.05 Self-Adhered Thermoplastic Waterproofing Membrane Installation	10

3.06 Hot-Air Welding of Lap Areas	10

3.07 Membrane Flashings	10

3.08 Metal Flashings	11

3.09 Temporary Cut-Off	11

3.10 Electric Field Vector Mapping (EFVM)	11

3.11 Water Tests	12

3.12 Protection Layer Installation	12

3.13 Installation of Drainage Composite	12

3.14 Insulation and Filter Fabric Installation	13

3.15 Precast Concrete Paver System	13

3.16 Monitoring the Installation of Finishing Layers and Overburden	13

3.17 Details	13

INTRODUCTION TO

SIKA SARNAFIL® ADHERED WATERPROOFING SYSTEM

System Description

The Sika Sarnafil Adhered Waterproofing System is designed to protect structures from the effects of water infiltration leading to structural deterioration and interior water damage.  The system is primarily intended for green roofs and plaza deck applications, but is also applicable for parking decks, tunnels, planters, balconies/terraces, and roofing applications utilizing pavers, concrete or landscaping as overburden.

Because of the heavy loads associated with these applications, the supporting deck is typically structural concrete.

The Adhered System design is intended to provide increased security by having the waterproofing membrane bonded directly to the substrate.  The waterproofing membrane is a composite sheet comprised of a waterproofing membrane and a thick integral backing layer.  The integral backing layer is non-permeable and has a pressure-sensitive adhesive designed to adhere to properly prepared substrates.  The backing layer allows the membrane to better conform to minor surface irregularities, and acts as a separation between the substrate and waterproofing membrane.  The Adhered System is ideally suited for new construction, but may be used in certain renovation projects.  Consult with Sika Sarnafil for compatibility and other requirements for existing concrete, steel, or wood decks.

System Components

The Adhered System design includes the following:

#### Sarnafil G476 Self-Adhered Waterproofing Membrane.

#### Sika Sarnafil protection layer (optional on green roofs and paver plaza decks if a compatible Sika Sarnafil drainage layer is used).

#### Sika Sarnafil drainage layer (optional).

#### Sarnatherm insulation (optional).

REGIONAL OFFICES

| NEW ENGLAND REGION 225 Dan Road Canton, MA 02021 Phone:(781) 821-0865 Fax:(781) 821-9205 EASTERN REGION One Park Way 3rd Floor Upper Saddle River, NJ 07458 Phone:(201) 327-0479 Fax:(201) 327-4069 SOUTHERN REGION 3483 Satellite Boulevard Duluth, GA 30096 Phone:(770) 495-0025 Fax:(770) 495-0027 MIDWEST REGION 20W267 101st Street, Unit E Lemont, IL 60439 Phone:(630) 739-9740 Fax:(630) 739-9741 | SOUTHWEST REGION 1213 West Loop, N, Suite 130 Houston, Texas 77055 Phone: (713)812-0102 Fax: (713)812-0107 NORTHWEST REGION 20412 87th Avenue South Kent, WA 98031 Phone:(253) 872-0258 Fax:(253) 872-0273 MOUNTAIN REGION 356 Reed Avenue Salt Lake City, Utah 84103 Phone:(801) 575-8648 Fax:(801) 355-4407 WESTERN REGION 10701 Holder Street Cypress, CA 90630 Phone:(714) 821-9377 Fax:(714) 821-9356 |
| --- | --- |
| CANADA Sika Sarnafil 6820 Davand Drive Mississauga, ON L5T 1J5 Canada Phone:(800) 268-0479 Fax:(905) 670-5278 www.sika.ca |
| WEB ADDRESS: www.sikacorp.com | EMAIL ADDRESS: webmaster.sarnafil@us.sika.com |

SECTION 071354.10

THERMOPLASTIC SHEET WATERPROOFING

SIKA SARNAFIL® ADHERED WATERPROOFING SYSTEM

GUIDE SPECIFICATION FOR THE INSTALLATION

OF AN ADHERED THERMOPLASTIC

MEMBRANE WATERPROOFING SYSTEM

Instructions to Specifier

Instructions to Specifier are designated by [ ].  Specifier is to select one of the options provided for project specific specifications.

This guide specification is intended for green roof and plaza deck applications but may be used for waterproofing split slab parking decks, tunnels, earth covered roof structures, balconies and terraces, and planters.  Because of the heavy loads associated with these applications, the supporting deck is typically structural concrete.

# GENERAL CONDITIONS

## DESCRIPTION

- Scope

To install an adhered thermoplastic membrane waterproofing system with integral flashings and other components.

The work includes, but is not limited to, the following:

#### Substrate Preparation

#### Waterproofing Membrane

#### Membrane Flashings

#### Metal Flashings

#### Protective Layer(s)

#### Insulation (If Specified)

#### Drainage Layer (If Specified)

#### Monitoring the Installation of Finishing Layers or Backfill

#### Sealants and Adhesives

#### Pavers (If Specified)

- Related Work Under Other Sections

[Instruction to Specifiers:  Specify other related sections such as contract documents, site work, plumbing, etc.]

## QUALITY ASSURANCE

- This waterproofing system shall be applied only by a waterproofing Applicator authorized by Sika Sarnafil prior to bid. All work shall be completed by Sika Sarnafil trained and authorized personnel.

- Installation of waterproofing membrane, flashing membrane, expansion joints, membrane protection layers, drainage layer and insulation shall be the responsibility of the membrane applicator to ensure undivided responsibility.

- Obtain primary waterproofing materials, membrane and flashings, from a single manufacturer with not less than 20 years of successful experience in waterproofing applications.  Provide other system components only as approved by manufacturer of primary materials.

- Pre-construction conference to be held with the owner, architect, Applicator’s field superintendent, waterproofing foreman, Sika Sarnafil representative, and other involved trades to discuss waterproofing practices applicable to this project.

- There shall be no deviation made from the contract specification or the approved shop drawings without prior written approval by the owner or the owner’s representative, and/or design professional, and Sika Sarnafil.

- The Applicator shall follow Sika Sarnafil’s Required Quality Assurance Procedures for Self-Adhered Membrane.

### Water testing (see Section 3.11) or Electric Field Vector Mapping (EFVM) electronic leak detection (see Sections 2.03 and 3.10) is recommended on the completed waterproofing system.

## SUBMITTALS

### The Applicator shall submit to the owner’s representative and/or design professional the following:

#### A letter from Sika Sarnafil certifying that the Applicator is an approved waterproofing applicator in good standing.

#### Shop drawings and details that have been stamped and accepted by Sika Sarnafil.

#### Specimen copy of Sika Sarnafil’s warranty.

#### Specimen copy of Applicator’s warranty.

#### Sample of Sarnafil G476 Self-Adhered Waterproofing Membrane.

## PRODUCT DELIVERY, STORAGE AND HANDLING

- All products delivered to the job site shall be in the original unopened containers or wrappings.

- Handle all materials to prevent damage.  All materials shall be placed on pallets and fully protected from the elements with canvas tarpaulins.

- Membrane, bonding adhesives, and surface conditioner shall be stored at temperatures above 40°F (5°C).

- All flammable materials shall be stored in a cool dry area away from sparks and open flames.  Follow precautions outlined on container or supplied by the material manufacturer/supplier.

- Any materials which the owner’s representative and/or Sika Sarnafil determine to be damaged are to be removed from the job site and replaced at no cost to the owner.

## JOB CONDITIONS

- Proceed with waterproofing membrane installation only after substrate preparation is complete.  Owner’s representative and/or design professional and waterproofing Applicator must accept substrate before proceeding with membrane installation.

- Substrate must be clean, smooth and dry.  Do not work in rain or snow or adverse weather conditions.  Severe temperatures, moisture and humidity may affect the installation of products during construction.  Comply with applicable installation requirements for all components. Ambient and substrate temperature must be 25° F (-4° C) and rising for surface conditioner application, and 40° F (5° C) and rising for membrane installation.

- All work shall be scheduled and executed without exposing the interior building areas to the affects of inclement weather.  The building and its contents shall be protected against all risks.

- The structure must be designed to support the system, including the overburden.  The adequacy of the structural support must be verified in writing by the owner, the owner’s design professional, architect, or engineer. The Applicator shall take precautions that storage and/or application of materials and/or equipment does not overload the deck or building structure.

- All new and temporary construction, including equipment and accessories, shall be secured in such a manner, at all times, as to preclude wind blow-off or damage.

- The Applicator is cautioned that the membrane may be incompatible with certain materials.  Such materials shall not come in contact with the waterproofing membrane at any time.  If such contact occurs, the material shall be cut-out, discarded, and patched.  The Applicator should consult the manufacturer with respect to material compatibility, precautions and recommendations.

- Arrange work sequence to avoid use of newly installed waterproofing for storage, walking surface, and equipment movement.  Where such access is absolutely required, the Applicator shall provide all necessary protection and barriers to segregate the work area and to prevent damage to adjacent areas.  Adequate protection of the membrane shall be provided for all waterproofing areas which receive traffic during construction.  Any damage which occurs to the waterproofing membrane and/or system is to be brought to the attention of the owner’s representative and/or design professional and Sika Sarnafil.  All damage is to be repaired according to Sika Sarnafil’s recommendations.  The party responsible for damage shall bear the cost of repairs.

- Prior to and during application, all dirt, debris and dust shall be removed from surfaces either by vacuuming, sweeping, blowing with compressed air, pressure washing and/or similar methods.

- All waterproofing materials, insulation, flashings and metal work removed for construction shall be immediately taken off the site to a legal dumping area authorized to receive such materials.

- If any unusual or concealed condition is discovered, stop work and notify the owner’s representative and/or design professional and Sika Sarnafil immediately, in writing.

- Site cleanup, including both interior and exterior building areas below or adjacent to, or in any way affected by the construction, shall be complete and to the owner’s satisfaction. All landscaped areas affected by waterproofing activities shall be raked clean and seeded, if required. All paved areas shall be swept clean. All areas stained, dirtied, and discolored or otherwise damaged due to waterproofing activities shall be cleaned, restored, and replaced as required.

- The Applicator should take necessary precautions when using adhesives around air in-takes.  The smell of the adhesive could be a disturbance to the building owner and occupants.  It is the Applicator’s responsibility to notify the owner and take the proper precautions.

## SEQUENCING OF THE WORK

### Work in conjunction with other trades to complete work in a timely manner including installation of protection layer(s), drainage composites, and insulation.  Coordinate with other trades to avoid traffic over completed membrane surfaces.

#### Do not proceed with installation of protection layers and overburden over the completed sections of the waterproofing without the acceptance of the owner’s representative, design professional, general contractor, and Sika Sarnafil (when a Standard warranty is specified). A copy of the Final Inspection for Warranty is considered acceptance from Sika Sarnafil.

## WARRANTIES

- General

#### The cost of exposing the waterproofing membrane for purposes of investigation and/or repair, such as removal and replacement of any concrete, paving, soil, or overburden, shall be the Owner’s responsibility. Exceptions apply with Single-Source Warranty (see item C.3. below).

#### A Sika Sarnafil Representative’s presence on a project regardless of reason, length, or frequency, does not imply that any additional coverage beyond that stated in the warranty is in effect.

### Applicator’s Warranty

The Applicator shall supply the owner with a minimum two-year workmanship warranty. The warranty obligation shall run directly to the owner with a copy to Sika Sarnafil.

### Sika Sarnafil Warranty

[Instruction to Specifiers:  The following warranty types are available; select one]

#### Membrane Warranty (5, 10, 15, or 20 Years)

[Instruction to Specifiers:  Fill in warranty length below.]

The Applicator shall provide a Sika Sarnafil membrane warranty to the building owner at the successful completion of the project.  The warranty shall be limited to the performance of the waterproofing membrane for a period of       years.

#### Standard Warranty (5, 10,15, or 20 Years)

[Instruction to Specifiers:  Fill in warranty length below.]

The Applicator shall provide a Sika Sarnafil Standard (labor and material) warranty to the building owner at the successful completion of the project.   The waterproofing membrane manufacturer shall warrant to the building owner the repair of any leaks in the waterproofing membrane resulting from defects in the membrane or workmanship for a period of       years.

#### Single-Source Warranty – Extensive Green Roofs (5, 10, 15, or 20 Years)

[Instruction to Specifiers:  This warranty applies only to green roofs growing media depth of 6 inches or less. This warranty requires the owner to arrange for a green roof maintenance program for the life of the warranty. Fill in warranty length below.]

The Applicator shall provide a Sika Sarnafil Single-Source warranty to the building owner at the successful completion of the project.   The waterproofing membrane manufacturer shall warrant to the building owner the vegetative cover, the removal of vegetative cover to locate leaks, and repair of leaks in the waterproofing membrane resulting from defects in the membrane or workmanship for a period of       years.

# PRODUCTS

##### WATERPROOFING MEMBRANE

### The manufacturer of the thermoplastic waterproofing membrane system shall have a track record of producing and marketing a reinforced PVC sheet system for waterproofing applications for at least 20 years.  Subject to this and other technical requirements, provide products of the following:

  - Sika Sarnafil Inc.

Canton, Massachusetts

Self-adhered thermoplastic membrane: polyvinyl chloride (PVC) flexible sheets with non-woven fiberglass reinforcing and integral non-permeable closed-cell foam backing layer.

#### [Note to Specifiers:  Do not use waterproofing membrane in situations where the membrane will be permanently exposed to sunlight.]

Sarnafil G476-15 SA Waterproofing Membrane – a self-adhered, cold-applied composite sheet consisting of a 60-mil (1.5 mm), thermoplastic waterproofing membrane with fiberglass reinforcement and 60-mil (1.5 mm) integral non-permeable closed-cell foam backing layer having an overall thickness of 120-mils (3 mm).  The backing layer has a factory-applied pressure sensitive adhesive that is protected by a release liner which is removed during application.  Membrane has a selvedge to allow a heat-welded overlap of adjoining sheets.

ASTM	Typical Physical

Parameters	Test Method	Properties

Overall Thickness, inches (mm)	D751	0.120 (3.0)

Tensile Strength, min., psi (MPa)	D638	1500 (11.1)

Elongation at Break, %	D638	240% M.D.

240% C.M.D.

Seam Strength*, min., (% of tensile strength)	D638	90

Tearing Resistance, min., lbf (N)	D1004	21.3 (94.7)

Linear Dimensional Change, %	D1204	0.002

Dynamic Puncture Resistance, 949.2 ft-pdl (40 J)	D5635	Pass

* Failure occurs through membrane rupture not seam failure.

##### SYSTEM FLASHING PRODUCTS AND ACCESSORIES

- Flashing

#### Non-exposed flashings

                - Sarnafil G476-15, 60 mil (1.5 mm), thermoplastic flashing membrane with fiberglass reinforcement or Sarnafil G476-15 SA Waterproofing Membrane.

#### Exposed flashings

  - Sarnafil G410-15, 60 mil (1.5 mm), thermoplastic flashing membrane with fiberglass reinforcement.

  - Sarnafil G459-15, 60 mil (1.5 mm), thermoplastic, asphalt resistant, grid and flashing membrane with fiberglass reinforcement.

- Adhesives

#### Sarnacol 2170

Adhesive for membrane flashings in areas where self-adhered membrane is not used.

#### Sarnacol 2165

#### Membrane adhesive for certain flashing details and pitch pocket filler.  One hundred percent solids, two-part urethane.

- Accessories

#### Surface Conditioner 150

A water-based surface treatment specifically designed to bind dust and concrete efflorescence thereby providing a suitable surface to install self-adhered membrane.

#### Sarnaclad-SS

A PVC coated, heat weldable sheet metal capable of being formed into a variety of shapes and profiles.  Sarnaclad is a stainless steel sheet metal with an unsupported Sarnafil membrane laminated on one side.

#### Aluminum Tape

A 2 inch (50 mm) wide pressure-sensitive aluminum tape used as a separation layer between small areas of asphalt contamination and as a bond-breaker under the coverstrip at Sarnaclad-SS joints.

#### Zamac Nail-in® Fasteners

1/4 x 1-1/4 inch (6.3 x 31.7 mm) fasteners for attachment of membrane, flashing, termination bars, and expansion joints to concrete with zinc sheaths and stainless steel pins.

#### Sarnamatic

220 volt, self-propelled, hot-air welding machine used to seal long lengths of Sarnafil membrane seams.

#### Sarnacorner

Prefabricated inside and outside flashing corners made of PVC membrane that are heat-welded to membrane or Sarnaclad base flashings.  Sarnacorner is a universal piece that can be used for inside or outside corner applications.

#### Sarnasolv

A high quality solvent cleaner used for the general cleaning of residual asphalt, scuff marks, etc., from the membrane surface.  Consult Product Data Sheet for additional information.

#### Multi-Purpose Sealant

A proprietary sealant used at flashing terminations.

#### Sarnareglet

A heavy duty, surface mounted aluminum flashing termination reglet used at walls.  Prefabricated Sarnareglet mitered inside and outside corners are available for use where walls intersect.

##### ELECTRIC FIELD VECTOR MAPPING (EFVM) – LEAK DETECTION SYSTEM

[Instruction to Specifiers:  EFVM may be specified as an optional quality assurance procedure on the completed membrane prior to the installation of subsequent layers and overburden. It can also reduce overburden removal costs should any leaks occur after completion and acceptance of the system. A protection/drainage layer that is compatible with the leak detection system is required when specifying EVFM. See Section 2.05]

- Stationary impulse conductor wire - Conductor wire consisting of braided polyethylene (1.5 mm diameter) interwoven with a minimum of 9 strands of stainless steel wire. To be installed by electronic leak detection company:

- International Leak Detection, Ltd., 11 Bartlett Drive, Ajax, Ontario, Canada L1S 4V2, (905) 428-8283, or other qualified testing agency.

##### PROTECTION LAYERS

[Note to Specifiers:  Protection layer is optional on plaza decks with pavers and green roofs with Sarnafil G476 Self-Adhered membrane when a drainage composite is specified. However, protection layers are not compatible with Electric Field Vector Mapping (EFVM) electronic leak detection system. When specifying EFVM use one of the compatible drainage composite listed in Section 2.05]

- Sarnafil G445 Protection Layer

Fiberglass reinforced, 0.051 inch thick (1.3 mm) PVC used to protect waterproofing membrane from mechanical damage.

- HDPE

[Instruction to Specifiers:  Specify HDPE protection layer where increased protection is required such as installing steel reinforcement and/or pouring concrete.]

A 0.039 inch (0.991 mm) thick protection layer used for heavy duty protection of the waterproofing membrane from mechanical damage.

NOTE:	This product is susceptible to dimensional changes and may not lay flat. Wrinkles of several inches high are possible.  Therefore, this product should be used only with thick, heavy overburdens.  If the system design and/or overburden cannot tolerate an uneven surface use the Sarnafil G445 protection membrane.

##### DRAINAGE COMPOSITES – EFVM COMPATIBLE

[Instruction to Specifiers:  Select a drainage composite from the choices below.

### Drainage Composite 3611R

A 100% recycled polypropylene drainage core of fused, entangled filaments with a geocomposite fabric bonded to one side.

### Drainage Composite 3811R

A 100% recycled polypropylene drainage core of fused, entangled filaments with a geocomposite fabric bonded to each side.

### Geonet B

A polymeric drainage net with polypropylene geotextile laminated to both sides. Recommended for heavy traffic areas requiring higher compressive strength but where lower flow rates are acceptable.

##### DRAINAGE COMPOSITES – NOT COMPATIBLE WITH EFVM

### Drainage Panel 900

Three dimensional, high-impact resistant, polymeric grid with non-woven geotextile fabric bonded to the grid. Recommended for plaza decks with medium traffic where relatively high flow rates are required.

### Drainage Panel 990

Three dimensional, high-impact resistant, polymeric grid with woven monofilament fabric bonded to the grid. Recommended for heavy traffic areas requiring higher compressive strength such as plaza decks, parking garages, and split slabs.

##### THERMAL INSULATION

[Instruction to Specifiers:  Select one of the types of insulation from the choices below.

Thermal insulation shall be extruded polystyrene insulation board. “R” per inch: 5.0 at 75° F (23.9° C) mean temperature.

- 40 psi Flat Sarnatherm XPS

- “R” value = _____

- 60 psi Flat Sarnatherm XPS

- “R” value = _____

- 100 psi Flat Sarnatherm XPS

- “R” value = _____

- 40 psi (1/8 in./ft.) Tapered Sarnatherm XPS

- Avg. “R” value = _____

- 40 psi (1/4 in./ft.) Tapered Sarnatherm XPS

- Avg. “R” value = _____

- 60 psi (1/8 in./ft.) Tapered Sarnatherm XPS

- Avg. “R” value = _____

- 60 psi (1/4 in./ft.) Tapered Sarnatherm XPS

- Avg. “R” value = _____

- 100 psi (1/8 in./ft.) Tapered Sarnatherm XPS

- Avg. “R” value = _____

- 100 psi (1/4 in./ft.) Tapered Sarnatherm XPS

- Avg. “R” value = _____

##### PRECAST CONCRETE PAVERS AND PEDESTALS

[Instruction to Specifiers:  Select one of the following.]

- Precast Concrete Pavers and Support Pedestals

Precast Concrete Pavers and Adjustable Pedestal Supports

#### Pavers shall be hydraulically pressed concrete units manufactured by Hanover Architectural Products and supplied by Sika Sarnafil Inc.  Concrete pavers shall comply with the following minimum requirements:

Table 1

| Physical Property | ASTM Test Method | Requirements |
| --- | --- | --- |
| Dimensional Tolerances | C140 | As specified ±1/8 inch maximum |
| Weight Tolerance | C138 | As specified ±0.75 psf |
| Compressive Strength | C138/Modified | 8500 psi minimum |
| Flexure | C140/Modified | 350 lbs. minimum |
| Freeze Thaw Resistance | C67/Modified | 50 cycles |
| Water Absorption | C936 | 5% or less |

[Instruction to Specifiers:  Consult Hanover Product Data Sheets and literature for available dimensions, colors, finishes, and pedestal systems.]

#### Precast Concrete Paver thickness shall be: ______

#### Precast Concrete Paver finish shall be: ______

#### Precast Concrete Paver color shall be: ______

#### Precast Concrete Paver size shall be: ______

#### Pedestal System shall be: ______

##### RELATED MATERIALS

#### A.	Miscellaneous Fasteners and Anchors

All fasteners shall be of the same type as the metal being secured.  In general all fasteners, anchors, nails, and straps, shall be of stainless steel.  Fasteners are to be compatible with materials in contact with fasteners.  All fasteners and anchors shall have a minimum embedment of 1-1/4 inches (31.7 mm) and shall be approved for such use by the fastener manufacturer.  Fasteners for attachment of metal to wood blocking shall be annular ring nails.  Fasteners for attachment of metal to masonry shall be all-metal expansion type fasteners.  All fasteners shall meet Factory Mutual Standard 4470 for corrosion resistance.

# EXECUTION

###### GENERAL

### The waterproofing Applicator shall coordinate the installation so that each area is made weather tight at the end of each work period and prior to the onset of inclement weather.

###### EXAMINATION

- Examine all surfaces scheduled to receive waterproofing membrane and flashing for roughness, contaminants, unsound structural substrates or other conditions that may impair the waterproofing application.  Notify the owner and copy Sika Sarnafil in writing of any such conditions: do not commence work until all defects are remedied.

###### SUBSTRATE PREPARATION

The Applicator shall load materials in such a manner to eliminate risk of deck overload due to concentrated weight.

[Instruction to Specifiers:  From the choices below, select the appropriate substrate preparation method.  If substrate is steel deck or wood deck, or if the project is not new construction, consult Sika Sarnafil for requirements.]

### New Construction

#### Poured Normal Weight Structural Concrete Deck:

New concrete shall cure a minimum of 14 days or until acceptable adhesion of the membrane has been achieved according to Sika Sarnafil printed quality assurance requirements. The surface shall be equivalent to a smooth float finish and shall be free of dust, excess moisture, oil-based curing agents and loose debris.  Sharp ridges or other projections above the surface shall be removed before waterproofing.  Depressions and honeycombs shall be patched with SikaQuick® 1000 repair mortar. Repair cracks in concrete up to 3/8 inch (9.5 mm) with Sikadur® Crack Fix epoxy or Sikadur® 35, Hi-Mod LV. Cracks greater than 3/8 inch (9.5 mm) shall be repaired with SikaGrout® 212 non-shrink, cementitious grout.

#### Precast/Prestressed Concrete Panel Deck:

The deck shall be installed in accordance with the concrete panel manufacturer's requirements and industry practice.  The surface shall have a smooth and level finish and shall be free of dust, moisture, oil or loose debris.  All joints between precast units shall be grouted with SikaGrout® 212 non-shrink, cementitious grout. Any differentials in height between precast units shall be feathered for a smooth transition.  Sharp ridges or other projections above the surface shall be removed before waterproofing.  Panels shall be secured to structural supports as recommended by deck manufacturer.

###### SURFACE CONDITIONER APPLICATION

- Apply Surface Conditioner 150 according to Sika Sarnafil’s printed instructions.

- Surface Conditioner 150 must be applied to all horizontal and vertical concrete and masonry substrates.

- Do not apply surface conditioner during periods of inclement weather or when ambient or substrate temperatures are below 25° F (-4° C). Temperature must be 25° F (-4° C) and rising for surface conditioner application.

###### SELF-ADHERED THERMOPLASTIC WATERPROOFING MEMBRANE INSTALLATION

- Comply with Sika Sarnafil’s most current published quality assurance requirements, installation instructions, specific recommendations, and approved shop drawings for this project.

- Apply Sarnafil self-adhered waterproofing membrane only in dry weather, and when the membrane, air, and substrate temperature is a minimum of 40°F (5° C), and rising, or above.

- At no time shall asphaltic materials, coal tar products, polystyrene, oil in any form, or other incompatible materials come into contact with the thermoplastic PVC membrane or other system components.  Equipment shall have no sharp edges and shall be clean and free of any contaminants.  Promptly remove any portion of PVC waterproofing that becomes contaminated.

- Workmen and all others that walk on the waterproofing shall wear clean, soft-soled shoes so as not to damage materials. Heed all manufacturer’s cautions and warnings in regard to product use.  Membrane is slippery when wet or covered with frost, snow and ice.  Take proper precautions.

###### HOT-AIR WELDING OF LAP AREAS

- General

#### Adjacent sheets shall be welded in accordance with Sika Sarnafil’s published instructions.  All seams shall be hot air welded.  Overlaps shall be with the flow of water where possible.

#### Welding equipment shall be provided by or approved by Sika Sarnafil.

#### All surfaces to be welded shall be clean and dry according to Sika Sarnafil’s instructions. No adhesive or contaminants shall be present within lap areas.

#### Patch all 3 way membrane overlaps (T joints) with a max. 60-mil, 4 inch round or square patch.

#### A min. 8 inch (20.3 cm) wide cover strip shall be used where membranes meet at end laps and all non-selvedge edges. Butt adjoining sheets tightly, center the cover strip over both membranes and hot-air weld.

- Machine Welding

#### Machine welded seams are achieved by the use of automatic welding equipment.  When using this equipment, Sika Sarnafil's instructions shall be followed and local codes for electric supply, grounding and over current protection observed.  Dedicated circuit house power or a dedicated portable generator (30 A, 220 V, and recommended min. 7,500 Watts).  No other equipment shall be operated off the generator.

###### MEMBRANE FLASHINGS

- All flashings shall be installed concurrently with the waterproofing membrane according to Sika Sarnafil approved details as the job progresses.  Flashings shall be adhered to compatible, dry, smooth, and solvent-resistant surfaces. All masonry joints shall be struck flush. Rough or incompatible surfaces may be covered with minimum ½ inch CDX plywood. Flashing may be self-adhesive waterproofing membrane or waterproofing membrane with field-applied adhesive installed according to Sika Sarnafil’s printed instructions.

- Complete the entire waterproofing assembly and flashing in a single working day; avoid exposure of any components to rain, snow, or dew.  If rain threatens during the day, or in an emergency, protect the unfinished exposed waterproofing and flashing components.

- All flashing membranes shall be mechanically fastened along the top edge with appropriate fasteners and termination bar according to Sika Sarnafil approved details.  Expansion fasteners with zinc sheaths and stainless steel pins (Zamac Nail-in®) set in pre-drilled holes shall be used to secure flashings to masonry and concrete surfaces.

- All flashings shall extend a minimum of 8 inches (20.3 cm) above the overburden unless previously accepted by the owner’s representative and/or design professional and Sika Sarnafil, in writing.  Seal top termination with an acceptable sealant.

- A min. 8 inch (20.3 cm) wide cover strip shall be used where flashing membranes meet at end laps, butt joints, and all non-selvedge edges. Butt adjoining sheets closely, center the cover strip over both membranes and hot-air weld. Complete inside and outside corner flashing details with prefabricated corner patches (Sarnacorners – Universal).

- No bituminous elements shall be in contact with the waterproofing membrane, unless asphalt resistant membrane is used.  Flashing substrates contaminated with coal-tar shall be overlayed with minimum 1/2 inch (13 mm) thick CDX plywood or min. 24 ga. stainless steel sheet metal.

- All flashings shall be hot-air welded at their joints and at their connections with the deck membrane.

###### METAL FLASHINGS

- Complete all metal work in conjunction with waterproofing and flashings so that a watertight condition exists daily.

- Metal shall be installed to provide adequate resistance to bending and allow for normal thermal expansion and contraction.

- Metal joints shall be watertight.

- Metal flashings shall have a 4 inch (10.2 cm) minimum nailing flange and shall be fastened into solid wood blocking 4 inches (10.2 cm) on center staggered or into concrete with acceptable concrete anchors 6 inches (15.2 cm) on center staggered.  Fasteners shall penetrate the wood nailer a minimum of 1-1/4 inch (31.7 mm) or into concrete a minimum of 1 inch (25.4 mm).

- Adjacent sheets of PVC coated metal shall be spaced 1/4 inch (6.3 mm) apart.  The end joints of the metal shall be fastened 6 inches (15.2 cm) on center.  The joints shall be covered with 1 inch (25.4 mm) wide aluminum tape.  A 4 inch (10.2 cm) wide membrane flashing strip shall be hot air welded over the joint.

###### TEMPORARY CUT-OFF

- All flashings shall be installed concurrently with the membrane in order to maintain a watertight condition as the work progresses. Provide temporary cut-offs around exposed edges and at incomplete flashing areas from the new membrane to the structural deck.  Remove the cut-offs completely before proceeding with subsequent work.

- If inclement weather occurs while a temporary cut-off is in place, the Applicator shall provide the labor necessary to monitor the situation to maintain a watertight condition.

###### Electric Field Vector Mapping (EFVM)

[Instruction to Specifiers:  EFVM testing is an optional quality assurance procedure. Certain design criteria apply.  Contact Sika Sarnafil Technical Dept. before specifying EFVM.

- Provide EFVM leak detection on top of the waterproofing membrane for testing of capillary defects and/or breaches in the membrane.  Testing is to be administered by a qualified testing agency.

- Should leaks be discovered, the Applicator shall locate leak source(s) and make repairs.  Re-test to assure watertightness.  All costs associated with the re-work shall be borne by the Applicator.

###### WATER TESTS

### A water test should be conducted only after the area to be tested has been inspected and accepted for water test. No protection layers are to be in place at time of the water test.

### It is the contractor’s responsibility to confirm that the deck will support the weight of the water.

### The size of area tested is to be determined by the applicator.  It is recommended that the water tests be conducted in a reasonable size area as work progresses.  The slope of the substrate will impact the size of the area that can be tested.  In no case shall the water be allowed to approach the top height of the waterproofing flashing termination.

### Test for leaks by plugging the drains and covering the entire area with a minimum of 2 inches (50.8 mm) of water.  Let the water stand for a minimum of 24 hours. An acceptable blue dye may be added to the test water to differentiate between water entry from other sources. In cold weather, the use of environmentally friendly anti-freeze agents or salts, or continuous water circulation with pumps, is recommended to prevent freezing.

### During the test, examine the spaces below the deck for signs of leakage at regular intervals. Upon completion of water tests, the area shall be drained. Walk all membrane seams watching for signs of “bubbling” or expulsion of water.  Critically examine all seams in flat areas of standing water.

### Should leaks be discovered, the Applicator shall locate leak source(s) and make repairs according to the following guidelines:

### Water tests should be judged to be successful by the owners representative, the waterproofing applicator, the general contractor (if applicable), and Sarnafil before the installation of any subsequent components of the waterproofing system.

###### PROTECTION LAYER INSTALLATION

### Install protection layers over completed membrane assemblies as soon as possible.  Coordinate this work with the owner and Sika Sarnafil’s representative to allow inspection and acceptance of the membrane before installation of protection layers.  The protection layer shall completely cover the flashing membrane, or be overlapped by metal counterflashing a minimum of 4 inches (10.2 cm).

- Sarnafil G445 protection layer

Install the Sarnafil G445 protection layer over the membrane.  Overlap the protection layer a minimum of 4 inches (10.2 cm).  Overlaps shall be with the flow of water where possible.  Protection layer laps shall be hot air welded when concrete is to be poured directly over the protection layer.

### HDPE

Install polyethylene protection layer over the membrane.  Overlap the protection layer a minimum of 4 inches (10.2 cm).  Overlaps shall be with the flow of water where possible.  Protection layer laps shall be hot air welded when concrete is to be poured directly over the protection layer. Install subsequent layers or overburden immediately whenever possible.

NOTE:	This product is susceptible to dimensional changes and may not lay flat.  Wrinkles of several inches high are possible.  Excessive wrinkling may occur if HDPE is allowed to remain exposed to strong sunlight or heat.  Therefore, this product should be used only with thick, heavy overburdens.  If the system design and/or overburden cannot tolerate an uneven surface use the Sarnafil G445 protection membrane.

###### INSTALLATION OF DRAINAGE COMPOSITE

- Lay drainage panels directly over the waterproofing membrane and/or protection layer.

- Neatly trim drainage panels to fit closely around penetrations and at the base of all drains to ensure that water will flow freely from panels into drain openings.

- All cut edges of the drainage panels shall be covered in order to protect the waterproofing membrane from damage.

- Proceed with installation of insulation (if specified) or overburden promptly; do not leave filter fabric or drainage composite exposed to direct sunlight for more than one week.

###### INSULATION AND FILTER FABRIC INSTALLATION (If Specified)

- Insulation and filter fabric shall be installed according to the insulation manufacturer’s recommendations.

- Insulation shall be laid in parallel courses with end joints staggered and tightly butted.

- Insulation shall be neatly cut to fit around penetrations and projections.

- Do not install more insulation than can be covered by overburden by the end of the day.

- Install filter fabric with proper overlaps according to manufacturer’s instructions.

#### Note:	During installation in hot weather Sika Sarnafil recommends that the Applicator use either a white filter fabric or cover the insulation/filter fabric with white polyethylene to reduce the possibility of high heat warping the insulation boards.

###### PRECAST CONCRETE PAVER SYSTEM (If Specified)

Prior to installation of the waterproofing system and pavers, inspect the deck for height and location of thresholds, stairs, and other major transition areas. Submit shop drawings for approval prior to installation of the paver system.

- Precast Pavers on Pedestals:

#### Install pavers according to the manufacturer’s published instructions.

#### Cut and fit pavers neatly at the base of walls and projections.

#### Shim or adjust pavers as required to provide a level surface with no more than 1/8 inch (3.2 mm) height differential.

#### Pavers will be power washed or cleaned to remove any laitance, dirt, or other unacceptable surface irregularities.

###### MONITORING THE INSTALLATION OF FINISHING LAYERS AND OVERBURDEN

- The waterproofing Applicator shall monitor finishing layer installation and overburden operations to assure no damage is done to the waterproofing membrane.  The type of overburden is to be approved by the designer and owner.

- Alert all parties concerned of any activities that might damage or adversely affect the long-term performance of the waterproofing.

###### DETAILS

See accompanying Sika Sarnafil detail drawings.

Sika Sarnafil has attempted to obtain information from the manufacturers of other products often used in conjunction with Sika Sarnafil products with respect to the characteristics of such products, as well as their compatibility with Sika Sarnafil's products.  In as much as these other products as supplied in the field are subject to possible variation in their productions, and in as much as their specifications and performance characteristics are subject to change without notification by the manufacturers, Sika Sarnafil expressly excludes from its warranty any responsibility for the performance or quality of the products of others used in conjunction with Sika Sarnafil products.  Sika Sarnafil provides this specification as a guide only in technical support to architects or roof designers/specifiers.  Sika Sarnafil assumes no liability for error in design of or for misuse of this guide specification.  The waterproofing designer, engineer, architect or contractor must verify suitability of the specification and details.

| ADHERED WATERPROOFING SYSTEM DETAIL DRAWINGS |
| --- |
| DRAWING |  | FILE NAME |
| SA-CS-1 | Plaza Deck (Typical Cross-Section) | SA-CS-1 |
| SA-CS-2 | Intensive Green Roof (Typical Cross-Section) | SA-CS-2 |
| SA-CS-3 | Extensive Green Roof (Typical Cross-Section) | SA-CS-3 |
| SA-CS-4 | Split Slab (Typical Cross-Section) | SA-CS-4 |
| SA-1-1 | Thru-Wall Counterflashing | SA-1-1 |
| SA-1-2 | Cut-In Reglet | SA-1-2 |
| SA-1-3 | Surface-Mounted Reglet | SA-1-3 |
| SA-1-4 | Low Flashing Height Termination | SA-1-4 |
| SA-1-5 | Threshold Flashing (Cross-Section) | SA-1-5 |
| SA-1-5A | Threshold Flashing (Isometric) | SA-1-5A |
| SA-1-6 | Detail at Panel Clip/Flashing Penetration | SA-1-6 |
| SA-2-1 | Expansion Joint | SA-2-1 |
| SA-2-2 | Expansion Joint At Wall | SA-2-2 |
| SA-3-1 | Clamping Ring Drain | SA-3-1 |
| SA-4-1 | Vent Stack Flashing | SA-4-1 |
| SA-4-2 | Cone Flashing | SA-4-2 |
| SA-4-3 | Re-Bar/Dowel Flashing Detail | SA-4-3 |