Sika Sarnafil

Roof Panel

System

Introduction

Sarnafil Roof Panel System	iii

System Description	iii

Regional Offices	iv

Part 1 – General Conditions

1.01 Description	1

1.02 Quality Assurance	1

1.03 Submittals	1

1.04 Code Requirements	2

1.05 Product Delivery, Storage and Handling	2

1.06 Job Conditions	3

1.07 Bidding Requirements	4

1.08 Warranties	4

1.09 Warranty Durations	5

Part 2 - Products

2.01 General	5

2.02 Membrane	5

2.03 Flashing Materials	6

2.04 Insulation/Overlayment/Recover Board	8

2.05 Attachment Components	8

2.06 Walkway Protection	8

2.07 Vapor Barrier	9

2.08 Miscellaneous Accessories	9

2.09 Sealants and Pitch Pocket Fillers	10

2.10 Miscellaneous Fasteners and Anchors	10

2.11 Related Materials	10

Part 3 – Execution

3.01 Pre-Construction Conference	10

3.02 Substrate Condition	11

3.03 Substrate Preparation	11

3.04 Substrate Inspection	11

3.05 Vapor Barrier/Air Barrier Installation	12

3.06 Wood Nailer Installation	12

3.07 Insulation Installation	12

3.08 Separation Layer Installation	12

3.09 Installation of Roof Panels	12

3.10 Hot-Air Welding of Membrane Coverstrip Seams	13

3.11 Membrane Flashings	14

3.12 Metal Flashings	15

3.13 Sarnaclad Metal Base Flashings/Edge Metal	15

3.14 Walkway Installation	16

3.15 Perimeter Warning Tape	16

3.16 Temporary Cut-Off	17

3.17 Completion	17

3.18 Details	17

INTRODUCTION TO

SIKA SARNAFIL ROOF PANEL SYSTEM

System Description

The Sika Sarnafil Roof Panel is energy efficient, simple and effective. As a complete low-slope roof assembly, the Sarnafil Roof Panel joins a finished ceiling, a structural deck, a vapor barrier, insulation, a hard overlayment and a Sarnafil roof membrane together as one. The Panels are installed one at a time and fastened directly into the structural framing. They are made watertight by heat-welding a coverstrip of reinforced Sarnafil membrane over each joint. The Panels are ideal for buildings with an open ceiling design or for reroof projects that require complete or significant deck replacement.

Starting from the top down, the Sika Sarnafil Roof Panel begins with a white Sarnafil membrane bonded to a top layer of 26 gauge galvanized sheet metal. This top layer steel substrate supports the roof membrane and protects the insulation from external damage. The insulation core is isocyanurate foam having a density and compressive strength significantly higher than typical board products now on the market.  The foam insulation is also a structural component. The bottom or interior layer of 26 gauge galvanized sheet metal rests upon the structural framing and has a white, high gloss finish on the underside. This bottom layer of metal also acts as a highly effective vapor barrier.

This production technology applied to the Sika Sarnafil Roof Panel answers the important needs of the low slope commercial and industrial marketplace.

The attached Guide Specification is generic in nature and should be amended as required to meet the project’s needs.  Prior to bid, submit amended Specifications with Detail Drawings to Sika Sarnafil’s Technical Department for review and comment with regards to Sika Sarnafil requirements.

We welcome you to review the following Guide Specification and Detail Drawings and we ask that you contact us if you have any questions or need any additional information.

Thank you for choosing Sika Sarnafil for your roofing and waterproofing needs.

Note to Specifier:

Notes to Specifier are designated by [ ].  Specifier is to select one of the options provided for project specific specifications.

REGIONAL OFFICES

| NEW ENGLAND REGION 225 Dan Road Canton, MA 02021 Phone:(781) 821-0865 Fax:(781) 821-9205 EASTERN REGION One Park Way 3rd Floor Upper Saddle River, NJ 07458 Phone:(201) 327-0479 Fax:(201) 327-4069 SOUTHERN REGION 3483 Satellite Boulevard Duluth, GA 30096 Phone:(770) 495-0025 Fax:(770) 495-0027 MIDWEST REGION 16614 W. 159th St., Suite 303 Lockport, IL 60441 Phone:(815) 838-3838 Fax:(815) 838-1722 | SOUTHWEST REGION 1213 West Loop, N, Suite 130 Houston, Texas 77055 Phone: (713) 812-0102 Fax: (713) 812-0107 NORTHWEST REGION 20412 87th Avenue South Kent, WA 98031 Phone:(253) 872-0258 Fax:(253) 872-0273 MOUNTAIN REGION 2881 South 900 West Salt Lake City, Utah 84119 Phone:(801) 575-8648 Fax:(801) 355-4407 WESTERN REGION 10701 Holder Street Cypress, CA 90630 Phone:(714) 821-9377 Fax:(714) 821-9356 |
| --- | --- |
| CANADA Sika Sarnafil 6820 Davand Drive Mississauga, ON L5T 1J5 Canada Phone:(800) 268-0479 Fax:(905) 670-5278 www.sika.ca |
| WEB ADDRESS: www.sikacorp.com | EMAIL ADDRESS: webmaster.sarnafil@us.sika.com |

SECTION 074113.01

THERMOPLASTIC ROOFING PANEL

# GENERAL CONDITIONS

## DESCRIPTION

### Scope

To install a complete Sika Sarnafil thermoplastic, Roofing Panel system including flashings and other components.

### Related Work

The work includes but is not limited to the installation of:

#### Structural Evaluation

#### Wood Blocking

#### Fasteners and attachment components

#### Removal of Existing Roofing, Insulation and Deck

#### Substrate Preparation

#### Roof Panel (inclusive of roof membrane, insulation, vapor barrier and finished ceiling)

#### Flashing

#### Drains

#### Walkways

#### Sealants

### Upon successful completion of work the following warranties may be obtained:

#### Sika Sarnafil Warranty

#### Roofing Applicator Warranty

## QUALITY ASSURANCE

### This roofing system shall be applied only by a Roofing Applicator authorized by Sika Sarnafil prior to bid (Sika Sarnafil "Applicator").

### Upon completion of the installation and the delivery to Sika Sarnafil by the Applicator of certification that all work has been done in strict accordance with the contract specifications and Sika Sarnafil's requirements, a Sika Sarnafil Technical Representative will review the installed roof system wherever a Standard or System warranty has been specified.

### There shall be no deviation made from the Project Specification or the approved shop drawings without prior written approval by the Owner, the Owner's Representative and Sika Sarnafil.

### All work pertaining to the installation of Sarnafil Roof Panel and flashings shall only be completed by Applicator personnel trained and authorized by Sika Sarnafil in those procedures.

## SUBMITTALS

At the time of bidding, the Applicator shall submit to the Owner (or Representative) the following:

### Copies of Specification.

### Samples of and literature for the Roof Panel and each primary component to be used in the roof system and the manufacturer's current literature for each component.

### Sample copy of Sika Sarnafil's warranty.

### Sample copy of Applicator's warranty.

### Dimensioned shop drawings which shall include:

#### Outline of building’s structural framing with roof size and elevations shown.

#### Profile details of flashing methods for penetrations.

#### Technical acceptance from Sika Sarnafil.

### Certification from the Applicator that the system specified meets all identified code and insurance requirements as required by the Specification.

### Material Safety Data Sheets (MSDS)

## CODE REQUIREMENTS

The Applicator shall submit evidence that the proposed Roof Panel system meets the requirements of the local building code and has been tested and approved or listed by the following test organizations.  These requirements are minimum standards and no roofing work shall commence without written documentation of the system’s compliance, as required in the “Submittals” section of this Specification.

[NOTE TO SPECIFIER:  IF REQUIRED, SELECT FROM A, or B 1-3 , and C 1-3 BELOW.]

### System shall be designed to meet a minimum wind design requirements of the most recent version of ASCE 7.

### Factory Mutual Research Corporation (FM) - Norwood, MA

#### Class 1-60 (required for most situations)

#### Class 1-75 (for increased wind exposure)

#### Class 1-90 (for high wind exposure)

#### Class 1-120 (for higher wind exposure)

### Underwriters Laboratories, Inc. - Northbrook, IL

#### Class A assembly

#### Class B assembly

#### Class C assembly

## PRODUCT DELIVERY, STORAGE AND HANDLING

### All products delivered to the job site shall be in the original unopened containers or wrappings bearing all seals and approvals.

### Handle all materials to prevent damage.  Lift Roof Panels from bottom to avoid damage. Place all materials on pallets and fully protect from moisture.

### Roof Panels shall be stored lying down on pallets and fully protected from the weather with clean canvas tarpaulins. Membrane coverstrip rolls shall be stored lying down on pallets and fully protected from the weather with clean canvas tarpaulins. Unvented polyethylene tarpaulins are not accepted due to the accumulation of moisture beneath polyethylene in certain weather conditions which may affect the ease of membrane weldability.

### As a general rule all adhesives shall be stored at temperatures between 40 degree F (5 degree C) and 80 degree F (27 degree C).  Read instructions contained on adhesive canister for specific storage instructions.

### All flammable materials shall be stored in a cool, dry area away from sparks and open flames.  Follow precautions outlined on containers or supplied by material manufacturer/supplier.

### All materials which are determined to be damaged by the Owner's Representative or Sika Sarnafil are to be removed from the job site and replaced at no cost to the Owner.

## JOB CONDITIONS

### Sarnafil Roof Panels may be installed under certain adverse weather conditions but only after consultation with Sika Sarnafil, as installation time and system integrity may be affected.

### Only as much of the new roofing as can be made weathertight each day, including all flashing and detail work, shall be installed.  All seams shall be heat welded before leaving the job site that day.

### All work shall be scheduled and executed without exposing the interior building areas to the effects of inclement weather.  The existing building and its contents shall be protected against all risks.

### All Roof Panel surfaces to receive membrane coverstrips shall be clean and dry.  Should surface dirt, soiling, dust or moisture occur, the Applicator shall clean and dry the surface prior to heat-welding.

### All new and temporary construction, including equipment and accessories, shall be secured in such a manner as to preclude wind blow-off and subsequent roof or equipment damage.

### Uninterrupted waterstops shall be installed at the end of each day’s work and shall be partially cut away before proceeding with the next day’s work. Waterstops shall be made of wide, welded membrane coverstrips that are sealed to the old roof system with materials that do not emit dangerous or unsafe fumes. That sealed edge of coverstrip shall not remain in contact with the finished roof as the installation progresses.  Contaminated membrane shall be replaced at no cost to the Owner.

### The Applicator is cautioned that the Sarnafil membrane on the top surface of the Roof Panel and the membrane coverstrips are not compatible with asphalt, coal tar, heavy oils, roofing cements, creosote and some preservative materials.  Such materials shall not remain in contact with these Sarnafil membranes.  The Applicator shall consult Sika Sarnafil regarding precautions and recommendations.

### Arrange work sequence to avoid use of newly constructed roofing as a walking surface or for equipment movement and storage.  Where such access is absolutely required, the Applicator shall provide all necessary protection and barriers to segregate the work area and to prevent damage to adjacent areas.  A substantial protection layer consisting of plywood over Sarnafelt or plywood over insulation board shall be provided for all new and existing roof areas that receive rooftop traffic during construction.

### The Applicator shall follow all safety regulations as required by OSHA and any other applicable authority having jurisdiction.

### All residual materials removed during construction shall be immediately taken off site to a legal dumping area authorized to receive such materials.  Hazardous materials, such as materials containing asbestos, are to be removed and disposed of in strict accordance with applicable City, State and Federal requirements.

### The Applicator shall take precautions that storage and application of materials and equipment does not overload the existing roof deck, the building structure or the Roof Panel.

### Flammable adhesives shall not be stored and not be used in the vicinity of open flames, sparks and excessive heat.

### All rooftop contamination that is anticipated or that is occurring shall be reported to Sika Sarnafil to determine the corrective steps to be taken.

### The Applicator shall verify that all roof drain lines are functioning correctly (not clogged or blocked) before starting work.  Applicator shall report any such blockages in writing (letter copy to Sika Sarnafil) to the Owner’s Representative for corrective action prior to installation of the Sarnafil Roof Panel system.

### Applicator shall immediately stop work if any unusual or concealed condition is discovered and shall immediately notify Owner of such condition in writing for correction at the Owner’s expense (open letter copy to Sika Sarnafil).

### Site cleanup, including both interior and exterior building areas which have been affected by construction, shall be completed to the Owner’s satisfaction.

### All landscaped areas damaged by construction activities shall be repaired at no cost to the Owner.

### Where feasible the Applicator shall conduct fastener pullout tests in accordance with the latest revision of the SPRI/ANSI Fastener Pullout Standard to verify condition of the structural framing substrate and to confirm expected pullout values.

### The Sarnafil Roof Panel shall not be installed under the following conditions without consulting Sika Sarnafil’s Technical Dept. for precautionary steps:

#### The building is pressurized from the inside effecting the membrane or panel underside.

#### Any exterior wall has 10 percent or more of the surface area comprised of opening doors or windows.

#### The wall/deck intersection permits air entry into the wall flashing area.

### Precautions shall be taken when using Sarnacol adhesives at or near rooftop vents or air intakes.  Adhesive odors could enter the building.  Coordinate the operation of vents and air intakes in such a manner as to avoid the intake of adhesive odor while ventilating the building.  Keep lids on unused cans at all times.

### Protective wear shall be worn when using solvents or adhesives or as required by job conditions.

### Sarnafil membranes are slippery when wet or covered with snow, frost, or ice.  Working on surfaces under these conditions is hazardous.  Appropriate safety measures must be implemented prior to working on such surfaces.  Always follow OSHA and other relevant fall protection standards when working on roofs.

## BIDDING REQUIREMENTS

### Pre-Bid Meeting:

A pre-bid meeting shall be held with the Owner's Representative and involved trades to discuss all aspects of the project.  The Applicator's field representative or roofing foreman for the work shall be in attendance.  Procedures to avoid rooftop damage by other trades shall be determined.

### Site Visit:

Bidders shall visit the site and carefully examine the areas in question as to conditions that may affect proper execution of the work.  All dimensions and quantities shall be determined or verified by the Applicator.  No claims for extra costs will be allowed because of lack of full knowledge of the existing conditions unless agreed to in advance with the Owner or Owner's Representative.

## WARRANTIES

### Sika Sarnafil System Warranty (only products purchased from Sika Sarnafil are covered under System Warranty)

Upon successful completion of the work to Sika Sarnafil's satisfaction and receipt of final payment, the Sika Sarnafil System Warranty shall be issued.

### Applicator/Roofing Contractor Warranty

Applicator shall supply Owner with a separate workmanship warranty.  In the event any work related to roofing, flashing, or metal is found to be within the Applicator warranty term, defective or otherwise not in accordance with Contract Documents, the Applicator shall repair that defect at no cost to the Owner.  Applicator's warranty obligation shall run directly to Owner, and a copy shall be sent to Sika Sarnafil.

### Owner Responsibility

Owner shall notify both Sika Sarnafil and the Applicator of any leaks as they occur during the time period when both warranties are in effect.

## WARRANTY DURATIONS

[NOTE TO SPECIFIER:  SPECIFY EITHER 5, 10, OR 15 YEAR DURATION BELOW FOR SIKA SARNAFIL WARRANTY]

### Sika Sarnafil’s warranty shall be in effect for a           year duration.

### Applicator’s/Roofing Contractor’s Warranty shall be in effect for a           year duration.

# PRODUCTS

##### GENERAL

### The components of the mechanically-attached Sarnafil Roof Panel system are to be products of Sika Sarnafil as indicated on the Detail Drawings and specified in the Contract Documents.

### Components to be used that are other than those supplied or manufactured by Sika Sarnafil may be submitted for review and acceptance by Sika Sarnafil.  Sika Sarnafil’s acceptance of any other product is only for a determination of compatibility with Sarnafil Roof Panel system and not for inclusion in the Sika Sarnafil warranty.  The specifications, installation instructions, limitations, and restrictions of the respective manufacturers must be reviewed by the Owner’s Representative for acceptability for the intended use with Sika Sarnafil products.

##### MEMBRANE

### Sarnafil PVC membrane film that is factory bonded to 26 gauge sheet metal.

### Membrane film as manufactured (not bonded to the metal) shall conform to the following and to the following portions of ASTM D4434 (latest version), “Standard for Polyvinyl Chloride Sheet Roofing”.

### Color of Membrane

[NOTE TO SPECIFIER: SARNAFIL’S ENERGYSMART MEMBRANE IS AN ENERGY STAR LISTED PRODUCT.  SPECIFY ENERGYSMART OR CLASSIC COLOR.]

#### EnergySmart (white), initial reflectivity of 0.83, initial emissivity 0.92, solar reflective index (SRI) of >104.

#### Classic

### Typical Physical Properties (1)

[NOTE TO SPECIFIER: LIST MIL THICKNESS OF MEMBRANE DESIRED – TOP ITEM SHOWN UNDER PHYSICAL PROPERTIES.]

| Parameters | ASTM Test Method | Minimum ASTM Requirement | Sarnafil Typical Physical Properties |
| --- | --- | --- | --- |
| Reinforcing Material** | N/A | N/A | 26 gauge steel |
| Overall Thickness, inches (mm) | D638 | 0.045 (1.14) | 0.052 (1.31) w/ metal |
| Thickness of membrane film, inches (mm) | D638 | N/A | 0.034 (0.86) |
| Tensile Strength, min., psi (MPa) | D638 | 1500 (10.4) | 2000 (13.9) |
| Elongation at Break, min. (machine x tranverse) | D638 | 250% / 230% | 400% / 400% |
| Seam strength, min. (% of tensile strength) | D638 | 75 | Pass |
| Retention of Properties After Heat Aging | D3045 | - | - |
| Tensile Strength, min., (% of original) | D638 | 90 | Pass |
| Elongation, min., (% of original) | D638 | 90 | Pass |
| Tearing Resistance, min., lbf (N) | D1004 | 10 (45) | 10 (45) |
| Low Temperature Bend, -40º F (-40º C) | D2136 | Pass | Pass |
| Accelerated Weathering Test (Florescent Light, UV exposure) | G154 | 5,000 Hours | Pass |
| Cracking (7x magnification) | - | None | None |
| Discoloration (by observation) | - | Negligible | Negligible |
| Crazing (7 x magnification) | - | None | None |
| Linear Dimensional Change**, max. | D1204 | 0.10 % | metal |
| Weight Change After Immersion in Water, max. | D570 | + 3.0% | Pass |
| Static Puncture Resistance**, 33 lbf (15 kg) | D5602 | Pass | Pass |
| Dynamic Puncture Resistance, 7.3 ft-lbf (10 J) | D5635 | Pass | Pass |
| *Failure occurs through membrane rupture not seam failure. |
| ** When membrane film is bonded to 26 gauge steel |

##### FLASHING MATERIALS

### Wall/Curb Flashing

#### Sarnafil G410 Membrane

A fiberglass reinforced membrane adhered to approved substrate using Sarnacol adhesive.  Consult Product Data Sheets for adhesive options and additional information.

#### Sarnafil G459 Membrane

An asphalt-resistant, fiberglass reinforced membrane adhered to approved substrate using Sarnacol adhesive.  Consult Product Data Sheet for adhesive rates and additional information.

#### Sarnafil S327 Membrane

A polyester reinforced membrane used for mechanically-attached flashings to approved substrate using Sarnadisc or Sarnabar. Consult Product Data Sheet for adhesive rates and additional information.

#### Sarnaclad

A PVC-coated, heat-weldable sheet metal capable of being formed into a variety of shapes and profiles.  Sarnaclad is a 24 gauge, G90 galvanized metal sheet with a 20 mil (0.5 mm) unsupported Sarnafil membrane laminated on one side.  The dimensions of Sarnaclad are 4 ft x 8 ft (1.2 m x 2.4 m) or 4 ft x 10 ft (1.2 m x 3.0 m).  Consult Product Data Sheet for additional information.

### Perimeter Edge Flashing

[NOTE TO SPECIFIER: SELECT 1, 2, 3, OR 4 AND SPECIFY COLOR.]

#### Sarnaclad

A PVC-coated, heat-weldable sheet metal capable of being formed into a variety of shapes and profiles.  Sarnaclad is a 24 gauge, G90 galvanized metal sheet with a 20 mil (0.5 mm) unsupported Sarnafil membrane laminated on one side.  The dimensions of Sarnaclad are 4 ft x 8 ft (1.2 m x 2.4 m) or 4 ft x 10 ft (1.2 m x 3.0 m).  Consult Product Data Sheet for additional information.

#### Non-Typical Edge

Project-specific perimeter edge detail reviewed and accepted for one-time use by Sika Sarnafil's Technical Department.  Consult Regional Technical Manager prior to job start for review and consideration for acceptance.

### Miscellaneous Flashing

#### Sarnaflash

A prefabricated expansion joint cover made from Sarnafil membrane.  Sarnaflash is designed for securement to vertical or horizontal surfaces to span and accommodate the movement of new and existing expansion gaps from 1 inch to 4-1/2 inches (25 mm to 114 mm) across.  Available in 40 foot (12 m) rolls.  Consult Product Data Sheet for additional information.

#### Sarnareglet

A heavy-duty, extruded aluminum flashing termination reglet used at walls and large curbs.  Sarnareglet is produced from 6063-T5, 0.10 inch to 0.12 inch (2.5 mm to 3.0 mm) thick extruded aluminum.  Sarnareglet has a 2-1/4 inch (57 mm) deep profile, and is provided in 10 foot (3 m) lengths.  Use prefabricated Sarnareglet mitered inside and outside corners where walls intersect. Consult Product Data Sheet for additional information.

#### Sarnastack

A prefabricated vent pipe flashing made from 0.048 inch (48 mil/1.2 mm) thick Sarnafil G410 membrane.  Available in five different sizes.  Consult Product Data Sheet for sizes and additional information.

#### Sarnadrain-RAC

PVC-coated, heavy-duty aluminum roof drain insert that mechanically seals to the drainpipe interior.  Sarnadrain-RAC is made of 0.080 inch (2 mm) thick 6063 aluminum with a urethane seal installed at the end of the drainpipe.  The large 14 inch x 14 inch (0.36 m x 0.36 m) drain strainer is also made of 0.080 inch (2 mm) thick aluminum stock.  The flange dimensions of Sarnadrain-RAC are 18 inches x 18 inches (0.46 m x 0.46 m).  Consult Product Data Sheet for sizes and additional information.

#### Sarnacircle-"G"

Circular 0.048 inch (48 mil/1.2 mm) thick G410 membrane patch welded over T-joints formed by overlapping thick membranes.

#### Sarnacorners - Universal

Prefabricated outside and inside flashing corners made of 0.060 inch (60 mil/1.5 mm) thick membrane that are heat-welded to membrane or Sarnaclad base flashings.  Available in one size which accommodate both inside and outside corners.  Can be cut into one inside or one outside corner.  Consult Product Data Sheet for additional information.

#### Multi-Purpose Sealant

A proprietary sealant used at flashing terminations.  Consult Product Data Sheet for additional information.

#### Sarnacol 2165 Adhesive

A two-component urethane adhesive used for pitch pocket filler.  Cures with excellent elasticity and adhesion to various surfaces.  Consult Product Data Sheet for additional information.

#### Sarnacol 2170 Adhesive

A solvent-based reactivating-type adhesive used to attach membrane to flashing substrate. Consult Product Data Sheets for additional information.

#### G410 Coverstrip

8 (0.20 m) or 12 (0.30 m) inch wide precut flashing made from Sarnafil G410 fiberglass reinforced membrane.  Used to coverstrip Roof Panels together and to complete certain flashing details.

#### S327 Coverstrip

8 (0.20 m) or 12 (0.30 m) inch wide precut flashing made from Sarnafil S327 polyester reinforced membrane.  Used to coverstrip Roof Panels together and to complete certain flashing details.

#### Sarnafelt

A non-woven polyester or polypropylene mat cushion layer that is necessary behind G410 or G459 Flashing Membrane when the flashing substrates are rough or incompatible with the flashing membrane.  Consult Product Data Sheets for additional information.

##### INSULATION/OVERLAYMENT/RECOVER BOARD

### Sarnafil Roof Panel Foam Core

A rigid isocyanurate foam core insulation contained within the 26 gauge metal skins forming the Roof Panel.  Density is 2.4 lbs. per square foot nominal.  ASTM E84 flame spread of 25 or less and smoke developed of 450 or less.

##### ATTACHMENT COMPONENTS

### Roof Panel Clips

Clips are made from a stamping of 16 gauge galvanized steel having dimensions of 2-1/2 inches (63 mm) x 1-1/2 inches (38 mm). Each clip has a relief cut in the center and has two holes to receive two fasteners. Consult Product Data Sheet for additional information.

### Roof Panel Wafer or Flat Head Fastener

A heavy-duty, corrosion-resistant fastener used with the Roof Panel clips to secure the edges of the Roof Panels to the building’s structural framing. The fasteners have a recessed torx drive head. Predrilled pilot  holes into the structural framing are required to receive the fasteners as follows:

#### Steel thickness 0.010 to 0.075 inch use # 8 drill bit

#### Steel thickness 0.075 to 0.120 inch use # 7 drill bit

#### Steel thickness 0.120 to 0.375 inch use # 1 drill bit

#### Steel thickness 0.375 and higher use 0.231 inch drill size

Consult Product Data Sheet for additional information.

##### WALKWAY PROTECTION

[NOTE TO SPECIFIER:  SELECT ONE TYPE OF WALKWAY.]

### Sarnatred

A polyester reinforced, 0.096 inch (96 mil/2.4 mm), weldable membrane with surface embossment.  Used as a protection layer from rooftop traffic.  Sarnatred is supplied in rolls of 39.3 inches (1.0 m) wide and 32.8 feet (10 m) long.  Consult Product Data Sheet for additional information.

### Crossgrip Walkway

A rolled-out walkway protection mat used to protect Sarnafil roofing membrane from mechanical abuse.  Crossgrip Walkway is 9/16 inch (14 mm) thick flexible pvc with a heavily textured surface.  Crossgrip Walkway is loose laid on top of completed Sika Sarnafil roof assemblies.  Where design windspeeds exceed 94 mph (150 km/h) the walkway must be secured with loops of Sarnafil membrane welded to the field sheet.  Consult Product Data Sheet for additional information.

### Sand-Coated Walkway

A fiberglass reinforced, 60 mil, weldable membrane with a thick sand-based coating on top.  Net dimensions are approximately 150 mil (4 mm) thick by 26 inches (0.6 m), 39 inches (1.0 m), 78 inches (2.0 m) wide with varying lengths.  The standard length is 32 feet (10 m).  Consult Product Data Sheet for additional information.

##### VAPOR BARRIER

### Roof Panel Metal Skin(s)

The exterior metal skin of the Roof Panels acts as a vapor barrier when moisture drive is from the exterior and the interior metal skin of the Roof Panel acts as a vapor barrier when the moisture drive is from the interior.

##### MISCELLANEOUS ACCESSORIES

### Aluminum Tape

A 2 inch (50 mm) wide pressure-sensitive aluminum tape used as a separation layer between small areas of asphalt contamination and the membrane and as a bond-breaker under the coverstrip at Sarnaclad joints.

### 2 inch (50 mm) Membrane Strip

Used as a bond-breaker under the wider, heat-welded membrane coverstrip at the butt or cut ends of the Roof Panels.

### Sealing Tape Strip

Compressible foam with pressure-sensitive adhesive on one side.  Used with metal flashings as a preventive measure against air and wind blown moisture entry.

### Multi-Purpose Tape

A high performance sealant tape used with metal flashings as a preventive measure against air and wind blown moisture entry.

### Sarnamatic 641mc or 661

220 volt, self-propelled, hot-air welding machine used to seal Sarnafil membrane seams.

### Sarnasolv

A high quality solvent cleaner used for the general cleaning of residual asphalt, scuff marks, etc., from the membrane surface.  Sarnasolv is also used daily to clean seam areas prior to hot-air welding in tear off or dirty conditions or if the membrane is not welded the same day it is unrolled. Consult Product Data Sheet for additional information.

### Perimeter Warning Tape

Designed for use on PVC membranes as a reflective, highly visible pressure sensitive tape used to draw attention to roof perimeters and potential hazardous areas.

The tape is available in 2 inch wide rolls by 30 feet long and comes on a release liner for easy application.  Perimeter Warning Tape exceeds reflectivity 3 requirements and Federal spec. L-S-300, Class 1.

##### SEALANTS AND PITCH POCKET FILLERS

### Sarnafil Multi-Purpose Sealant (for termination details).

### Sarnacol 2165 Adhesive (two-component urethane adhesive for pitch pocket toppings).

### Depending on substrates, the following sealants are options for temporary overnight tie-ins to the edge of a wide panel of membrane heat-welded on the other side to the edge of the Roof Panel:

#### Type III hot asphalt conforming to ASTM D312 (latest version).

#### Sarnacol 2165 Adhesive.

#### Multiple layers of roofing cement and felt.

#### Spray-applied, water-resistant urethane foam.

#### Mechanical attachment with rigid bars and compressed sealant.

##### MISCELLANEOUS FASTENERS AND ANCHORS

### All fasteners, anchors, nails, straps, bars, etc. shall be post-galvanized steel, aluminum or stainless steel.  Mixing metal types and methods of contact shall be assembled in such a manner as to avoid galvanic corrosion.  Fasteners for attachment of metal to masonry shall be expansion type fasteners with stainless steel pins.  All concrete fasteners and anchors shall have a minimum embedment of 1-1/4 inch (32 mm) and shall be approved for such use by the fastener manufacturer.  All miscellaneous wood fasteners and anchors used for flashings shall have a minimum embedment of 1 inch (25 mm) and shall be approved for such use by the fastener manufacturer.

##### RELATED MATERIALS

### Wood Nailer (if required by Specifier)

If required by the Specifier, treated wood nailers shall be installed at the perimeter of the entire roof and around such other roof projections and penetrations as specified on Project Drawings.  Thickness of nailers must match the Roof Panel thickness to achieve a smooth transition.  Wood nailers shall be treated for fire and rot resistance (wolmanized or osmose treated) and be #2 quality or better lumber.  Creosote or asphalt-treated wood is not acceptable.  Wood nailers shall conform to Factory Mutual Loss Prevention Data Sheet 1-49.  All wood shall have a maximum moisture content of 19 percent by weight on a dry-weight basis.

### Plywood

When bonding directly to plywood, a minimum 1/2 inch (12 mm) CDX (C side out), smooth-surfaced exterior grade plywood with exterior grade glue shall be used.  Rough-surfaced plywood or high fastener heads will require the use of Sarnafelt behind the flashing membrane or the use of Sarnaclad details.  Plywood shall have a maximum moisture content of 19 percent by weight on a dry weight basis.

# EXECUTION

###### PRE-CONSTRUCTION CONFERENCE

### The Applicator, Owner's Representative/Designer and Manufacturer(s) shall attend a pre-construction conference.

### The meeting shall discuss all aspects of the project including but not limited to:

#### Safety

#### Set up

#### Construction schedule

#### Contract conditions

#### Coordination of the work

###### SUBSTRATE CONDITION

### Applicator shall be responsible for acceptance or provision of proper substrate to receive new Roof Panels.

### Applicator shall verify that the work done under related sections meets the following conditions:

#### Roof drains and scuppers have been reconditioned or replaced and installed properly.

#### All surfaces are smooth and free of dirt, debris, water, ice, snow, asphalt, coal-tar pitch, mastics or incompatible materials.

###### SUBSTRATE PREPARATION

The structural framing must be sound to provide support for the new Roof Panel system.  The Applicator shall load materials on the rooftop in such a manner as to eliminate risk of framing, old deck or Panel overload due to concentrated weight.  The Applicator shall ensure that the roof deck is secured to the structural framing according to local building code and in such a manner as to resist anticipated wind loads in that location.

### New Construction or Removal and Replacement of Old Roof System and Old Roof Deck

#### Roof Panel as Structural Deck:

                - FM approved – Class 1-60 (required for most situations)

2 inch (50 mm) minimum thickness Roof Panels shall be fastened into minimum 14 gauge framing at 6 ft (1.8 m) centers with a two-fastener clip at the edges and at the butt ends. Consult the latest revision of Factory Mutual’s Loss Prevention Data Sheet 1-28 and the local code’s current requirements.

                - FM Approved – Class 1-75 (for increased wind exposure)

3 inch (75 mm) minimum thickness Roof Panels shall be fastened into minimum 14 gauge framing at 6 ft (1.8 m) centers with a two-fastener clip at the edges and at the butt ends. Consult the latest revision of Factory Mutual’s Loss Prevention Data Sheet 1-28 and the local code’s current requirements.

                - FM Approved – Class 1-90 (for high wind exposure)

2 inch (50 mm) minimum thickness Roof Panels shall be fastened into minimum 14 gauge framing at 3 ft (1.8 m) centers with a two-fastener clip at the edges and in the Panel center and at the butt ends. Consult the latest revision of Factory Mutual’s Loss Prevention Data Sheet 1-28 and the local code’s current requirements.

                - FM Approved – Class 1-120 (for higher wind exposure)

3 inch (75 mm) minimum thickness Roof Panels shall be fastened into minimum 14 gauge framing at 3 ft (1.8 m) centers with a two-fastener clip at the edges and in the Panel center and at the butt ends. Consult the latest revision of Factory Mutual’s Loss Prevention Data Sheet 1-28 and the local code’s current requirements.

###### SUBSTRATE INSPECTION

### A dry, clean and smooth structural framing substrate shall be prepared to receive the Roof Panel system.

### The Applicator shall inspect the substrate for defects such as excessive surface roughness, contamination, structural inadequacy, or any other condition that will adversely affect the quality of work.

### The substrate shall be clean, smooth, dry, free of flaws, sharp edges, loose and foreign material, oil and grease.  Roof Panel installation shall not start until all defects have been corrected.

### All roof surfaces shall be free of water, ice and snow.

### Sarnafil shall be applied over compatible and accepted substrates only.

###### VAPOR BARRIER/AIR BARRIER INSTALLATION

General Criteria:

Interior or exterior conditions (inside temperature/relative humidity) may create a need for a vapor barrier.  The Roof Panel system incorporates a vapor barrier system with its metal skin construction.

###### WOOD NAILER INSTALLATION

### If required by the Specifier, install continuous wood nailers at the perimeter of the entire building as shown on the Detail Drawings.

### Nailers shall be anchored to resist a minimum force of 300 pounds per lineal foot (4,500 newton per lineal meter) in any direction. Individual nailer lengths shall not be less than 3 feet (0.9 meter) long.  Nailer fastener spacing shall be at 12 inches (0.3 m) on center or 16 inches (0.4 m) on center if necessary to match the structural framing.  Fasteners shall be staggered 1/3 the nailer width and installed within 6 inches (0.15 m) of each end.  Two fasteners shall be installed at ends of nailer lengths.  Nailer attachment shall also meet the requirements of the current Factory Mutual Loss Prevention Data Sheet 1-49.

### Thickness shall be as required to match the Roof Panel thickness to allow a smooth transition.

### Stainless steel, corrosion resistant, fasteners are required when mechanically attaching any Sika Sarnafil product to wood nailers and wood products treated with ACQ (Alkaline copper Quaternary).  When ACQ treated wood is used on steel roof decks or with metal edge detailing, a separation layer must be placed between the metal and ACQ treated wood.

###### INSULATION INSTALLATION

### See installation of Roof Panels.

### Roof Panels shall be neatly cut to fit around penetrations and projections.

### Install tapered insulation if required by the Specifier on top of the Roof Panels and cover with Sarnafil membrane in accordance with shop drawings.

### Do not install more Roof Panels board than can be sealed with heat-welded Sarnafil membrane coverstrips by the end of the day or the onset of inclement weather.

###### SEPARATION LAYER INSTALLATION

Not applicable.

###### INSTALLATION OF ROOF PANELS

The surface of the insulation or substrate shall be inspected prior to installation of the Sarnafil Roof Panels.  The substrate shall be clean, dry, free from debris and smooth, with no surface roughness or contamination.  Broken, delaminated, wet or damaged Roof Panels shall be removed and replaced.

### Field Areas

#### Sarnafil Roof Panels are to be attached with Panel Fasteners and Panel Clips according to the Specifier’s, Sika Sarnafil’s and Factory Mutual’s (if applicable) requirements.

#### The Roof Panels shall be positioned and fastened perpendicular to the direction of the structural framing to which it is to be attached to.

#### Depending upon loading, a minimum number of structural framing members must be spanned and a minimum panel length applies. Unless otherwise noted, each Roof Panel must span a minimum of three structural members. Consult Sika Sarnafil’s Technical Department for further information.

#### Each Roof Panel end must land on a structural member and be fastened accordingly (unless certain cantilevered eave provisions have been designed by the Specifier).

### Perimeter and Corner Areas

#### Depending upon wind load calculations, it may be necessary to provide supplemental fastening of the Roof Panels in the perimeter and corner areas. See Project Drawings.

Notes:

                - Perimeter area is defined as the outer boundary of the roof.  If the roof is broken into different levels, each roof area shall be treated as an individual roof with its outer boundary being treated as a perimeter.  Typically, internal expansion joints and firewalls are not considered to be full perimeters.  Refer to Factory Mutual’s Data Sheet 1-28 for more information.

                - The ridge area is defined as the high point in the roof area formed by two intersecting planes.  When the sum of the slopes is a minimum of 4 inches in 12 inches (30 degrees), each side of the ridge shall be treated as a perimeter area.

                - Hot-air weld membrane coverstrips overlaps according to Sika Sarnafil’s requirements. Probe seams with a tool accepted by the Technical Department. Pay close attention to T-joints formed by overlapping membrane coverstrips. Adjust Sarnamatic welder(s) by welding pieces of coverstrip membrane to cut sections of Sarnaclad metal at least three times a day or after significant temperature or shading changes.

### Securement Around Perimeter and Rooftop Penetrations

#### Around all perimeters, at the base of walls, drains, curbs, vent pipes, or any other roof penetrations, Sarnaclad shall be fastened securely according to the Detail Drawings.  Fasteners shall be installed using the fastener manufacturer’s recommended torque-sensitive fastening tools with depth locators.  Fasteners shall clamp the Sarnaclad tightly to the Roof Panel or other substrate.

#### Sarnafil membrane flashings shall extend 2-1/2 inches (63 mm) onto the Roof Panel top surface and be heat-welded in place. No base fastening is required unless required by the Specifier.

###### HOT-AIR WELDING OF MEMBRANE COVERSTRIP SEAMS

### General

#### All seams shall be hot-air welded.  Seam overlaps (not welds) should be at least 3 inches (75 mm) wide when automatic machine welding and 4 inches (100 mm) wide when hand-welding, except for certain details.

#### Welding equipment shall be provided by or approved by Sika Sarnafil.  All mechanics intending to use the equipment must have successfully completed a training course in Roof Panel coverstrip installation by a Sika Sarnafil Technical Representative.

#### All membrane to be welded shall be clean and dry.

### Hand-Welding

Hand-welded seams shall be completed in two stages.  Hot-air welding equipment shall be allowed to warm up for at least one minute prior to welding.

#### The back edge of the seam shall be welded with a narrow but continuous weld to prevent loss of hot air during the final welding.

#### The nozzle shall be inserted into the seam at a 45 degree angle to the edge of the membrane.  Once the proper welding temperature has been reached and the membrane begins to "flow”, the hand roller is positioned perpendicular to the nozzle and rolled lightly.  For straight seams, the 1-1/2 inch (40 mm) wide nozzle is recommended for use.  For corners and compound connections, the 3/4 inch (20 mm) wide nozzle shall be used.

### Machine Welding

#### Machine welded seams are achieved by the use of Sika Sarnafil's automatic welding equipment.  When using this equipment, Sika Sarnafil's instructions shall be followed and local codes for electric supply, grounding and over current protection observed.  Dedicated circuit house power or a dedicated portable generator is recommended.  No other equipment shall be operated simultaneously off the generator.

#### Care must be exercised to ensure the membrane coverstrips are welded evenly over the Roof Panel joints and other details. An unwelded expansion and contraction area must be provided within the center of each coverstrip.

### Quality Control of Welded Seams

#### The Applicator shall check all welded seams for continuity using a rounded screwdriver.  Visible evidence that welding is proceeding correctly is moderate smoke during the welding operation, shiny membrane surfaces, and an uninterrupted flow of dark gray material from the underside of the top membrane.  On-site evaluation of welded seams shall be made daily by the Applicator at locations as directed by the Owner’s Representative or Sika Sarnafil’s representative.  One inch (25 mm) wide cross-section samples of welded seams made to test areas of separate Sarnaclad metal pieces shall be done at least three times a day.  Correct welds display failure from tearing or excessive stretching of the membrane prior to separation of the weld.  Any test welds done to the Roof Panel surface shall be patched by the Applicator at no extra cost to the Owner.

###### MEMBRANE FLASHINGS

All flashings shall be installed concurrently with the Roof Panel as the job progresses.  No temporary flashings shall be allowed.  If any water is allowed to enter under the newly completed roofing, the affected area shall be removed and replaced at the Applicator’s expense.  Flashing shall be adhered to compatible, dry, smooth, and solvent-resistant surfaces.  Use caution to ensure adhesive fumes are not drawn into the building.

### Sarnacol Adhesive for Membrane Flashings

#### Over the properly installed and prepared flashing substrate, Sarnacol adhesive shall be applied according to instructions found on the Product Data Sheet.  The Sarnacol adhesive shall be applied in smooth, even coats with no gaps, globs or similar inconsistencies.  Only an area which can be completely covered in the same day's operations shall be flashed.  The bonded sheet shall be pressed firmly in place with a hand roller.

#### No adhesive shall be applied in seam areas that are to be welded.  All panels of membrane shall be applied in the same manner, overlapping the edges of the panels as required by welding techniques.

### Sika Sarnafil’s requirements and recommendations and the specifications shall be followed.  All material submittals shall have been accepted by Sika Sarnafil prior to installation.

### All flashings shall extend a minimum of 8 inches (0.2 m) above roofing level unless otherwise accepted in writing by the Specifier and Sika Sarnafil Technical representative. All membrane flashings must be mechanically-fastened at 6 to 8 inches (0.15 to 0.20 m) on center at the top. All Sarnaclad flashings must be retained in position at the top.

### All flashing membranes shall be consistently adhered to substrates.  All interior and exterior corners and miters shall be cut and hot-air welded into place.  No bitumen shall be in contact with the Sarnafil membrane.

### Sarnafil flashings shall be terminated according to Sika Sarnafil recommended details.

### Depending on the substrate, all adhered flashings that exceed 30 inches (0.75 m) in height shall receive additional securement.  Consult Sika Sarnafil Technical Department for securement methods.

### All mechanically-attached membrane flashings, if necessary to use, that exceed 18 inches (0.46 m) in height shall receive additional securement.  Consult Sika Sarnafil Technical Department for securement methods.

###### METAL FLASHINGS

### Metal details, fabrication practices and installation methods shall conform to the applicable requirements of the following:

#### Factory Mutual Loss Prevention Data Sheet 1-49 (latest issue).

#### Sheet Metal and Air Conditioning Contractors National Association, Inc. (SMACNA) - latest issue.

### Metal, other than that provided by Sika Sarnafil, is not covered under the Sika Sarnafil warranty.

### Complete all metal work in conjunction with roofing and flashings so that a watertight condition exists daily.

### Metal shall be installed to provide adequate resistance to bending to allow for normal thermal expansion and contraction.

### Metal joints shall be watertight.

### Metal flashings shall be securely fastened.

### Airtight and continuous metal hook strips are required behind metal fascias.  Hook strips are to be fastened 12 inches (0.3 m) on center.

### Counter flashings shall overlap base flashings at least 4 inches (100 mm).

### Hook strips shall extend over wall surfaces by 1-1/2 inch (38 mm) minimum and shall be securely sealed from air entry.

###### SARNACLAD METAL BASE FLASHINGS/EDGE METAL

All flashings shall be installed concurrently with the Roof Panels as the job progresses.  No temporary flashings shall be allowed without the prior written approval of the Owner’s Representative and Sika Sarnafil.  Acceptance shall only be for specific locations on specific dates.  If any water is allowed to enter under the newly completed roofing due to incomplete flashings, the affected area shall be removed and replaced at the Applicator’s expense.

### Sarnaclad metal flashings shall be formed and installed per the Detail Drawings.

#### All metal flashings shall be fastened with post galvanized fasteners 4 inches (100 mm) on center staggered

#### All metal shall be installed to provide adequate resistance to bending and allow for normal thermal expansion and contraction.

### Adjacent sheets of Sarnaclad shall be spaced 1/4 inch (6 mm) apart.  The joint shall be covered with 2 inch (50 mm) wide aluminum tape.  A 4 inch minimum (100 mm) wide strip of Sarnafil flashing membrane shall be hot-air welded over the joint.  Exercise caution at perimeter of roof. Workers shall follow OSHA safety procedures.

###### WALKWAY INSTALLATION

### Sand Coated Walkway

Roofing membrane to receive Sand Coated Walkway shall be clean and dry.  Place chalk lines on deck sheet to indicate location of Walkway.  Clean the deck membrane in areas to be welded.  Walkway shall be unrolled and positioned within the chalk lines.  Hot-air weld the entire perimeter of the Walkway to the Sarnafil deck sheet.   Check all welds with a rounded screwdriver.  Re-weld any inconsistencies.  Important:  Check all existing deck membrane seams that are to be covered by Walkway with rounded screwdriver and reweld any inconsistencies before Walkway installation.  Do not run Walkway over Sarnabars.

### Sarnatred Walkway

Roofing membrane to receive Sarnatred Walkway shall be clean and dry.  Place chalk lines on deck sheet to indicate location of Walkway.  Apply a continuous coat of Sarnacol 2170 adhesive to the deck sheet and the back of Walkway in accordance with Sika Sarnafil's technical requirements and press Walkway into place with a water-filled, foam-covered lawn roller.  Clean the deck membrane in areas to be welded.  Hot-air weld the entire perimeter of the Walkway to the Sarnafil deck sheet.  Check all welds with a rounded screwdriver.  Re-weld any inconsistencies.  Important: Check all existing deck membrane seams that are to be covered by Walkway with rounded screwdriver and reweld any inconsistencies before Walkway installation.  Do not run Walkway over Sarnabars.

### Crossgrip Walkway

Crossgrip Walkway is installed loose laid on top of completed Sarnafil roof assemblies.  Where design windspeeds exceed 94 mph (150 km/h) the walkway must be secured with loops of Sarnafil membrane welded to the field sheet.  Unroll and position Crossgrip Walkway within specified areas and cut to desired length.  Do not install Crossgrip Walkway directly over Sarnabars.  Connecting clips are available for butting two ends together.  Important: Check all existing deck membrane seams that are to be covered and reweld any inconsistencies before installation.

###### PERIMETER WARNING TAPE

Areas of membrane where tape is to be applied must be cleaned to a “like new” condition.  Failure to properly clean the membrane will result in less than satisfactory adhesion.  The membrane should be cleaned as follows:

1)	New membrane: Remove loose dirt and dust by wiping clean with water.  For areas where dirt is embedded, scrub the application area with a commercial cleaner such as Simple Green, 409 or other similar all purpose cleaner using a Scotch Brite scrubbing pad or similar product.  Wash away residual cleaning material with clean water.

2)	Weathered membrane: For older membranes or areas where there is excessive dirt buildup, use the above cleaning procedure followed by cleaning with a natural fiber rag wet with MEK, and wipe away all residual cleaning solution and remaining dirt until membrane has a “like new” appearance.

After surface is clean and dry, apply tape to surface taking care to avoid trapping air and creating blisters as tape is smoothed over with hand pressure.  If a chalk line is used be sure to keep chalk dust clear of application area.

Do not apply Perimeter Warning Tape to surfaces where the temperature is below 40 degrees Fahrenheit.

Perimeter Warning Tape may be slippery when wet.

###### TEMPORARY CUT-OFF

All flashings shall be installed concurrently with the Roof Panels in order to maintain a watertight condition as the work progresses.  All temporary waterstops shall be constructed to provide a 100 percent watertight seal. The waterstop shall be sealed so that water will not be allowed to travel under the new or existing roofing.  The edge of the membrane shall be sealed in a continuous heavy application of sealant as described Section 2.09.  When work resumes, the contaminated membrane shall be cut out.  All sealant, and contaminated membrane and old roof materials shall be removed from the work area and properly disposed of off site.  None of these materials shall be used in the new work.

If inclement weather occurs while a temporary waterstop is in place, the Applicator shall provide the labor necessary to monitor the situation to maintain a watertight condition.

###### COMPLETION

Prior to demobilization from the site, the work shall be reviewed by the Owner's Representative and the Applicator.  All defects noted and non-compliances with the Specifications or the recommendations of Sika Sarnafil shall be itemized in a punch list.  These items must be corrected immediately by the Applicator to the satisfaction of the Owner's Representative and Sika Sarnafil prior to demobilization.

All Warranties referenced in this Specification shall have been submitted and have been accepted at time of contract award.

###### DETAILS

See accompanying Sika Sarnafil detail drawings.  Refer to the Sika Sarnafil Typical System Details section for additional details.

Sika Sarnafil has attempted to obtain information from the manufacturers of other products often used in conjunction with Sika Sarnafil products with respect to the characteristics of such products, as well as their compatibility with Sika Sarnafil's products.  In as much as these other products as supplied in the field are subject to possible variation in their productions, and in as much as their specifications and performance characteristics are subject to change without notification by the manufacturers, Sika Sarnafil expressly excludes from its warranty any responsibility for the performance or quality of the products of others used in conjunction with Sika Sarnafil products.  Sika Sarnafil provides this specification as a guide only in technical support to architects or roof designers/specifiers.  Sika Sarnafil assumes no liability for error in design of or for misuse of this guide specification.  The roof designer, engineer, architect or Applicator must verify suitability of the specification and details.

| ROOF PANEL DETAIL DRAWINGS |
| --- |
| DRAWING |  | FILE NAME |
| RP-ISO | Roof Panel System (Isometric) | RP-ISO |
| RP-1A | Section of Panels & Fasteners | RP-1A |
| RP-1B | Typical Panel Outside Corner Layout Plan | RP-1B |
| RP-1C | Fastener & Clip Placement Plan | RP-1C |
| RP-1D | Panel & Fastener Layout Plan At Perimeter Edge | RP-1D |
| RP-1E | Panel & Fastener Layout Plan At Perimeter Wall | RP-1E |
| RP-1-1 | Sarnaclad Metal Edge | RP-1-1 |
| RP-1-2 | Raised Sarnaclad Metal Edge | RP-1-2 |
| RP-1-3 | Flashing At Sarnaclad Metal Joints | RP-1-3 |
| RP-1-4 | Sarnaclad Fascia Plate At Metal Joints | RP-1-4 |
| RP-1-5 | Crimped-On Metal Edge | RP-1-5 |
| RP-1-6 | Gutter Edge | RP-1-6 |
| RP-2-1 | Parapet Wall With Sarnaclad Metal | RP-2-1 |
| RP-2-2 | Parapet Wall With Metal Coping Cap | RP-2-2 |
| RP-2-3 | Parapet Wall With Coping Stone | RP-2-3 |
| RP-3-1 | Thru-Wall Counterflashing | RP-3-1 |
| RP-3-2 | Cut-In Reglet | RP-3-2 |
| RP-3-3 | Sarnareglet Termination | RP-3-3 |
| RP-3-4 | Flashing At Siding | RP-3-4 |
| RP-3-5 | Threshold | RP-3-5 |
| RP-3-6 | Mechanically Attached Flashing | RP-3-6 |
| RP-3-7 | Sarnaclad Metal Flashing (Cross-Section) | RP-3-7 |
| RP-3-8 | Sarnaclad Metal Flashing (Isometric) | RP-3-8 |
| RP-4-1 | Sarnaflash Expansion Joint | RP-4-1 |
| RP-4-2 | Expansion Joint With Foam Rod | RP-4-2 |
| RP-4-3 | Sarnaflash Expansion Joint At Wall | RP-4-3 |
| RP-4-4 | Expansion Joint At Wall With Foam Rod | RP-4-4 |
| RP-5-1 | Removable Curb Flashing | RP-5-1 |
| RP-5-2 | Non-Removable Curb Flashing | RP-5-2 |
| RP-5-3 | Skylight/Roof Hatch Flashing | RP-5-3 |
| RP-6-1 | Sarnadrain-RAC Detail | RP-6-1 |
| RP-6-2 | Thru-Wall Scupper | RP-6-2 |
| RP-6-3 | Detail At Scupper Box | RP-6-3 |
| RP-7-1 | Vent Stack Flashing | RP-7-1 |
| RP-7-2 | Pipe Penetration Flashing | RP-7-2 |
| RP-7-3 | Cone Flashing At Penetration | RP-7-3 |
| RP-7-4 | Heated Stack Flashing | RP-7-4 |
| RP-7-5 | Angle Iron Flashing | RP-7-5 |
| RP-7-6 | I-Beam Flashing | RP-7-6 |
| RP-7-7 | Pitch Pocket | RP-7-7 |
| RP-7-8 | Lightning Rod | RP-7-8 |
| RP-7-9 | Lightning Rod Cable | RP-7-9 |
| RP-7-10 | Snow-Guard Flashing | RP-7-10 |
| RP-8-1 | Protected Wood Sleeper | RP-8-1 |
| RP-8-2 | Exposed Wood Sleeper | RP-8-2 |
| RP-8-3 | Equipment Support | RP-8-3 |
| RP-9-1 | Peak/Ridge | RP-9-1 |
| RP-9-2 | Slope Transition | RP-9-2 |
| RP-9-3 | Wall Transition | RP-9-3 |
| RP-10-1 | Temporary Tie-In To Existing B.U.R. | RP-10-1 |
| RP-10-2 | Tie-In To Existing Single-Ply | RP-10-2 |