GUIDE SPECIFICATION

Irex 40/Veral Aluminum

Prepared by:

Siplast, Inc.

1000 East Rochelle Blvd.

Irving, Texas 75062

(800) 922-8800

This specification is provided as a general guide for use of Siplast products based on typical building conditions and standard roofing practices.  Siplast is strictly a manufacturer of roofing systems and has no experience, training or expertise in the areas of architecture/engineering or in the area of consulting with respect to matters related to such areas.  Siplast recommends that the Owner's representative independently verify the accuracy and appropriateness of a specification provided for a specific project.

January 1, 2014

SECTION 07 52 00 MODIFIED BITUMINOUS MEMBRANE ROOFING   (Rev 01/01/2014)

PART 1  GENERAL

1.01  SECTION INCLUDES

A.	Base Sheet Application

B.	Roof Membrane Application

C.	Roof Flashing Application

1.02  RELATED SECTIONS

A.	Section [-----] - Submittals

B.	Section [-----] - Rough Carpentry

C.	Section [-----] - Roof Decks

D.	Section [-----] - Sheet Metal Flashing Components And Roofing Accessories

E.	Section [-----] - Sheet Metal Flashing and Trim

F.	Section [-----] - Sheet Metal Roofing Specialties

G.	Section [-----] - Temporary Roofs/Vapor Retarder

*  NOTE:	A vapor retarder can be an important component in roof systems where climatic and building interior conditions require the prevention of vapor condensation within the roof assembly.

1.03  REFERENCE STANDARDS

References in these specifications to standards, test methods, codes etc., are implied to mean the latest edition of each such standard adopted.  The following is an abbreviated list of associations, institutions, and societies which may be used as references throughout this specification section.

ASTM	American Society for Testing and Materials

Philadelphia, PA

FM	Factory Mutual Engineering Research Corp.

Norwood, MA

NRCA	National Roofing Contractors Association

Rosemont, IL

CERTA	Certified Roofing Torch Applicator

Rosemont, IL

OSHA	Occupational Safety and Health Administration

Washington, DC

SMACNA	Sheet Metal and Air Conditioning Contractors National Association

Chantilly, VA

UL	Underwriters Laboratories

Northbrook, IL

1.04  SUBMITTALS

All submittals which do not conform to the following requirements will be rejected.

*  NOTE:	Coordinate submittal requirements with general provisions.  Modify submittals to suit specific project requirements.

A.	Submittals Prior to Contract Award:

1.	Letter from the proposed primary roofing manufacturer confirming that the bidder is an acceptable Contractor authorized to install the proposed system.

2.	Letter from the primary roofing manufacturer stating that the proposed application will comply with the Manufacturer's requirements in order to qualify the project for the specified guarantee.

1.05  QUALITY ASSURANCE

A.	Acceptable Products:  Provide primary roofing products, including each type of sheet, all manufactured in the United States, supplied by a single manufacturer which has been successfully producing the specified types of primary products for not less than 10 years.  Provide secondary or accessory products which are acceptable to the manufacturer of the primary roofing products.

B.	Product Quality Assurance Program:  Primary roofing materials shall be manufactured under a quality management system that is monitored regularly by a third party auditor under the ISO 9001 audit process.  A certificate of analysis for reporting/confirming the tested values of the actual material being supplied for the project will be required prior to project close-out.

*  NOTE:	Coordinate the desired fire and windstorm rating with the Underwriters Laboratories Roofing Materials and Systems Directory and FM Global RoofNav.

C.	Agency Approvals:  The proposed roof system shall conform to the following requirements.  No other testing agency approvals will be accepted.

1.	Underwriters Laboratories Class [-----] acceptance of the proposed roofing system.

2.	Evidence by an accredited independent testing agency or agencies that the roof configuration meets a design windload pressure of - [---] psf or greater.

D.	Project Acceptance:  Submit a completed manufacturer's application for roof guarantee form along with shop drawings of the roofs showing all dimensions, penetrations, and details.  The form shall contain all the technical information applicable to the project including deck types, roof slopes, base sheet and/or insulation assemblies (with method of attachment, and fastener type), and manufacturer's membrane assembly proposed for installation.  The form shall also contain accurate and complete information requested including proper names, addresses, zip codes and telephone numbers.  The project must receive approval, through this process, prior to shipment of materials to the project site.

E.	Scope of Work:  The work to be performed under this specification shall include but is not limited to the following:  Attend necessary job meetings and furnish competent and full time supervision, experienced roof mechanics, all materials, tools, and equipment necessary to complete, in an acceptable manner, the roof installation in accordance with this specification.  Comply with the latest written application instructions of the manufacturer of the primary roofing products.  In addition, application practice shall comply with requirements and recommendations contained in the latest edition of the Handbook of Accepted Roofing Knowledge (HARK) as published by the National Roofing Contractor's Association, amended to include the acceptance of a phased roof system installation.

F.	Local Regulations:  Conform to regulations of public agencies, including any specific requirements of the city and/or state of jurisdiction.

G.	Manufacturer Requirements:  The primary roofing materials manufacturer shall provide direct trained company personnel to attend necessary job meetings, perform periodic inspections as necessary, and conduct a final inspection upon successful completion of the project.

1.06  PRODUCT DELIVERY STORAGE AND HANDLING

A.	Delivery:  Deliver materials in the manufacturer's original sealed and labeled containers and in quantities required to allow continuity of application.

B.	Storage:  Store materials out of direct exposure to the elements.  Store roll goods on a clean, flat and dry surface.  All material stored on the roof overnight shall be stored on pallets.  Rolls of roofing must be stored on ends.  Store materials on the roof in a manner so as to preclude overloading of deck and building structure.  Store materials such as solvents, adhesives and asphalt cutback products away from open flames, sparks or excessive heat.  Cover all material using a breathable cover such as a canvas.  Polyethylene or other non-breathable plastic coverings are not acceptable.

C.	Handling:  Handle all materials in such a manner as to preclude damage and contamination with moisture or foreign matter.  Handle rolled goods to prevent damage to edges or ends.

D.	Damaged Material:  Any materials that are found to be damaged or stored in any manner other than stated above will be automatically rejected, and will require removal and replacement at the Contractor's expense.

1.07  PROJECT/SITE CONDITIONS

A.	Requirements Prior to Job Start

1.	Notification:  Give a minimum of 5 days notice to the Owner and manufacturer prior to commencing any work and notify both parties on a daily basis of any change in work schedule.

2.	Safety:  Familiarize every member of the application crew with all fire and safety regulations recommended by OSHA, NRCA and other industry or local governmental groups.

B.	Environmental Requirements

1.	Precipitation:  Do not apply roofing materials during precipitation or in the event there is a probability of precipitation during application.  Take adequate precautions to ensure that materials, applied roofing, and building interiors are protected from possible moisture damage or contamination.

2.	Temperature Restrictions - asphalt:  At ambient temperatures of 40F (4C) and below, special precautions must be taken to ensure that the specified Type IV asphalt maintains a minimum acceptable 400F (204C) at the point of sheet application.  Do not overheat asphalt to compensate for cold conditions.  The use of insulated handling equipment is strongly recommended.  Use insulated hot luggers, mop carts, and kettle-to-roof supply lines.  Use hand mops constructed with a smaller yarn head to facilitate short moppings.  Do not fill luggers and mop carts to more than half their capacity at all times.

3.	Temperature Restrictions - cold adhesive:  At low temperatures, the specified cold adhesive becomes more viscous, making even distribution more difficult.  The optimal temperature of the adhesive at point of application is 70° - 100°F (21° - 38°C).  To facilitate application when ambient temperatures are below 50F (10C), store the adhesive and roll goods in a warm place immediately prior to use.  Bulk warmers, inline heaters, or other pre-heating equipment should be used to maintain the proper viscosity of the adhesive when using mechanical application equipment.  Consider "flying in” the pre-cut roofing sheets in by placing them into the adhesive rather than rolling them into position.  Roll or broom the sheets to ensure contact with the underlying adhesive.  Suspend application in situations where the adhesive cannot be kept at temperatures allowing for even distribution.

4.	Temperature Restrictions - self-adhesive sheets:  The minimum required substrate temperature at point of application is 40F (4C).  Maintain a minimum roof membrane material temperature above 60° F (16° C).  In low temperature conditions, keep materials warm prior to application.  Consider using the specified tacky primer, required for vertical applications, in temperatures below 60° F (16° C) to facilitate proper bonding of self-adhered membrane for horizontal applications.  The minimum ambient temperature range at the time of tacky primer application is 45°F to 105°F (7°C - 40°C).  Suspend application in situations where the self-adhered base ply cannot be kept at temperatures allowing for proper adhesion.

C.	Protection Requirements

1.	Membrane Protection:  Provide protection against staining and mechanical damage for newly applied roofing and adjacent surfaces throughout this project.

2.	Torch Safety:  Crew members handling torches shall be trained by an Authorized Certified Roofing Torch Applicator (CERTA) Trainer, be certified according to CERTA torch safety guidelines as published by the National Roofing Contractor's Association (NRCA), and follow torch safety practices as required by the contractor's insurance carrier.  Designate one person on each crew to perform a daily fire watch.  The designated crew member shall watch for fires or smoldering materials on all areas during roof construction activity, and for the minimum period required by CERTA guidelines after roofing material application has been suspended for the day.

3.	Debris Removal:  Remove all debris daily from the project site and take to a legal dumping area authorized to receive such materials.

4.	Site Condition:  Complete, to the owner's satisfaction, all job site clean-up including building interior, exterior and landscaping where affected by the construction.

1.08  GUARANTEE

A.	Roof Membrane Guarantee:  Upon successful completion of the project, and after all post installation procedures have been completed, furnish the Owner with the manufacturer's ten year labor and materials membrane guarantee.  The guarantee shall be a term type, without deductibles or limitations on coverage amount, and shall be issued at no additional cost to the Owner.  This guarantee shall not exclude random areas of ponding from coverage.

>	Siplast ten-year Roof Membrane Guarantee

PART 2  PRODUCTS

2.01  ROOFING SYSTEM ASSEMBLY/PRODUCTS

A.	Base Sheet

1.	Base Sheet:  A fiberglass reinforced, asphalt coated sheet with a polyolefin film backing, having a minimum weight of 20 lb/sq.  The sheet shall conform to ASTM D 4601, Type II requirements.

>	Siplast Parabase FS

2.	Modified Base Sheet:  A fiberglass reinforced, Styrene-Butadiene-Styrene (SBS) modified asphalt coated sheet having a minimum weight of 30 lb/sq.

>	Siplast Parabase Plus

B.	Rigid Roof Insulation:  Roof insulation shall be UL and FM approved.  Insulation shall be approved in writing by the insulation manufacturer for intended use and for use with the specified roof assembly.  Maintain a maximum panel size of 4 feet by 4 feet where polyisocyanurate / fiberboard insulation is specified to be installed in hot asphalt or insulation adhesive.

NOTE:	Inorganic, coated glass facers (ASTM 1289 Type II, Class 2) are required for polyisocyanurate installed over new structural concrete and lightweight structural concrete substrates on assemblies that do not incorporate a vapor retarder.

1.	Polyisocyanurate:  A closed cell, rigid polyisocyanurate foam core material, integrally laminated between glass fiber reinforced organic facers[polymer bonded glass fiber facers], in full compliance with ASTM C 1289, Type II, Class 1[Class 2], Grade 2 (20 psi)[Grade 3 (25 psi)].  Panels shall have a nominal thickness of [--] inches.  Acceptable types are as follows:

>	Paratherm by Siplast; Irving, TX

2.	Polyisocyanurate Tapered Roof Insulation:  Tapered panels and standard fill panels composed of a closed cell, rigid polyisocyanurate foam core material, integrally laminated between glass fiber reinforced organic facers[polymer bonded glass fiber facers], in full compliance with ASTM C 1289, Type II, Class 1[Class 2], Grade 2 (20 psi) [Grade 3 (25 psi)].  The tapered system shall provide for a roof slope of [---] inch per foot.  Acceptable types are as follows.

>	Tapered Paratherm by Siplast; Irving, TX

3.	Gypsum Sheathing Panel/Thermal Barrier:  A non-structural gypsum panel composed of fiber reinforced synthetic gypsum.  Provide panels having a nominal thickness of [---] inch.  Acceptable types are as follows:

>	Securock by United States Gypsum; Chicago, IL

4.	Gypsum Sheathing Panel:  A panel composed of a gypsum based, non-structural water resistant core material integrally bonded with fiberglass mats on both sides.  Provide panels having a nominal thickness of [---] inch.  Acceptable types are as follows:

>	DensDeck Gypsum Roof Board, by Georgia Pacific Corporation; Atlanta, GA

5.	Gypsum Sheathing Panel:  A panel composed of a gypsum based, non-structural water resistant core material integrally bonded with fiberglass mats on both sides having a nominal thickness of [---] inch.  The panel surface shall be factory primed with a non-asphaltic primer.  Acceptable types are as follows:

>	DensDeck Prime Gypsum Roof Board, by Georgia Pacific Corporation; Atlanta, GA

6.	Fiberboard:  A high density panel composed of interlocking wood fibers and waterproofing binders, having a top surface that is pre-treated with a paraffin-based coating.  Fiberboard panels shall be in full compliance with ASTM C 208, Type II, Grade 2, and ASTM C 209 (water absorption - 10% volume maximum) requirements.  Panels shall have a nominal thickness of [--] inch.  Acceptable types are as follows:

>	Knight-Celotex Structodek by Blue Ridge Fiberboard, Inc.; Danville, VA

>	G-P Roof Fiberboard by Georgia Pacific Corp.; Atlanta, GA

>	FiberBase HD by Temple-Inland.; Austin, TX

7.	Perlite Tapered Edge Panels:  A tapered panel composed of expanded volcanic minerals combined with waterproofing binders.  The top surface shall be pre-treated with an asphalt based coating.  The panels shall have a dimension sufficient to provide for a smooth transition and provide proper support for the membrane layer or subsequent layer of insulation when there are transitions of 1/4 inch or greater.

2.02  DESCRIPTION OF SYSTEMS

A.	Roofing Membrane Assembly:  A roofing membrane assembly consisting of a prefabricated, reinforced, Styrene-Butadiene-Styrene (SBS) block copolymer modified asphalt membrane with a continuous, channel-embossed metal-foil surfacing.  The finish ply shall conform to ASTM D 6298 requirements.  The base ply and finish ply shall also conform to the following physical and mechanical property requirements.

>	Siplast Veral Aluminum roof system

*  NOTE:	This specification indicates the use of Veral Aluminum as the finish ply and flashing sheet.  Veral is also available in stainless steel.

1.	Bitumen Base and Stripping Ply

a)	Thickness (avg): 110 mils (2.8 mm)  (ASTM D 5147)

b)	Thickness (min):  106 mils (2.7 mm)  (ASTM D 5147)

c)	Weight (min per 100 ft² of coverage):  85 lb (4.1 kg/m²)

d)	Peak Load (avg) @ 73ºF (23ºC):  45 lbf/inch  (ASTM D 5147)

e)	Peak Load (avg) @ 0ºF (-18ºC): 80 lbf/inch  (ASTM D 5147)

f)	Dimensional Stability (max) - 0.1%  (ASTM D 5147)

g)	Compound Stability (min):  200ºF (93ºC)  (ASTM D 5147)

h)	Approvals:  UL Class listed, FM Approved (products shall bear seals of approval)

i)	Reinforcement:  fiberglass mat or other meeting the performance criteria

>	Siplast Irex 40

2.	Metal-Clad Modified Bitumen Finish Ply

a)	Thickness (avg):  150 mils (3.8 mm)  (ASTM D 5147)

b)	Thickness (min):  146 mils (3.7 mm)  (ASTM D 5147)

c)	Weight (min per 100 ft² of coverage):  96 lb (4.6 kg/m²)

d)	Coating Thickness – back surface (min):  40 mils (1 mm)  (ASTM D 5147)

e)	Maximum filler content in elastomeric blend:  35% by weight

f)	Low temperature flexibility @ 0º F (-18º C):  PASS  (ASTM D 5147)

g)	Peak Load (avg) @ 73ºF (23ºC):  85 lbf/inch (15 kN/m)  (ASTM D 5147)

h)	Peak Load (avg) @ 0ºF (-18ºC):  180 lbf/inch (31.7 kN/m)  (ASTM D 5147)

i)	Ultimate Elongation @ 73ºF (23ºC):  45%  (ASTM D 5147)

j)	Tear-Strength (avg):  120 lbf (0.54 kN)  (ASTM D 5147)

k)	Dimensional Stability (max):  0.2%  (ASTM D 5147)

l)	Compound Stability (min):  225ºF (107ºC)  (ASTM D 5147)

m)	Cyclic Thermal Shock Stability (maximum):  0.2%  (ASTM D 6298)

n)	Approvals:  UL Approved, FM Approved (products shall bear seals of approval)

o)	Reinforcement:  fiberglass scrim mat or other meeting the performance and dimensional stability criteria

p)	Surfacing:  aluminum metal foil

>	Siplast Veral Aluminum

B.	Flashing Membrane Assembly:  A flashing membrane assembly consisting of a prefabricated, reinforced, Styrene-Butadiene-Styrene (SBS) block copolymer modified asphalt membrane with a continuous, channel-embossed metal-foil surfacing.  The finish ply shall conform to ASTM D 6298 and the following physical and mechanical property requirements.

>	Siplast Veral flashing system, aluminum finish

1.	Cant Backing Sheet and Flashing Reinforcing Ply

a)	Thickness (avg):  102 mils (2.6 mm)  (ASTM D 5147)

b)	Thickness (min):  98 mils (2.5 mm)  (ASTM D 5147)

c)	Weight (min per 100 ft² of coverage):  72 lb (3.5 kg/m²)

d)	Maximum filler content in elastomeric blend:  35% by weight

e)	Low temperature flexibility @ -15º F (-26º C) - PASS  (ASTM D 5147)

f)	Peak Load (avg) @ 73ºF (23ºC):  30 lbf/inch (5.3 kN/m) (ASTM D 5147)

g)	Peak Load (avg) @ 0ºF (-18ºC):  75 lbf/inch (13.2 kN/m) (ASTM D 5147)

h)	Ultimate Elongation (avg.) @ 73ºF (23ºC):  50%  (ASTM D 5147)

i)	Dimensional Stability (max):  0.1%  (ASTM D 5147)

j)	Compound Stability (min - sheet):  250ºF (121ºC)  (ASTM D 5147)

j)	Compound Stability (min – adhesive coating):  212ºF (100ºC)  (ASTM D 5147)

k)	Approvals:  UL Class listed, FM Approved (products shall bear seals of approval)

l)	Reinforcement:  fiberglass mat or other meeting the performance and dimensional stability criteria

m)	Back Surfacing:  polyolefin film

>	Siplast Paradiene 20 SA

2.	Metal-Clad Modified Bitumen Flashing Sheet

a)	Thickness (avg):  150 mils (3.8 mm)  (ASTM D 5147)

b)	Thickness (min):  146 mils (3.7 mm)  (ASTM D 5147)

c)	Weight (min per 100 ft² of coverage):  96 lb (4.6 kg/m²)

d)	Coating Thickness – back surface (min):  40 mils (1 mm)  (ASTM D 5147)

e)	Low temperature flexibility @ 0º F (-18º C):  PASS  (ASTM D 5147)

f)	Peak Load (avg) @ 73ºF (23ºC):  85 lbf/inch (15 kN/m)  (ASTM D 5147)

g)	Peak Load (avg) @ 0ºF (-18ºC):  180 lbf/inch (31.7 kN/m)  (ASTM D 5147)

h)	Ultimate Elongation (avg) @ 73ºF (23ºC):  45%  (ASTM D 5147)

i)	Tear-Strength (avg):  120 lbf (0.54 kN)  (ASTM D 5147)

j)	Dimensional Stability (max):  0.2%  (ASTM D 5147)

k)	Compound Stability (min):  225ºF (107ºC)  (ASTM D 5147)

l)	Cyclic Thermal Shock Stability (maximum):  0.2%  (ASTM D 7051)

m)	Approvals:  UL Approved, FM Approved (products shall bear seals of approval)

n)	Reinforcement:  fiberglass scrim mat or other meeting the performance and dimensional stability criteria

o)	Surfacing:  aluminum metal foil

>	Siplast Veral Aluminum

*  NOTE:	Veral Aluminum must be applied in SFT Cement where torch application is not allowed.  Contact Siplast for more information regarding approved flashing sheets and application methods to meet individual project requirements and Siplast Specifications.

*   NOTE:	Choose one of the above flashing systems in accordance with the project design requirements.

D.	Catalyzed Acrylic Resin Flashing System:  A specialty flashing system consisting of a PMMA-based, fully reinforced membrane installed over a prepared or primed substrate.  The flashing system consists of a catalyzed acrylic resin primer, basecoat and topcoat, combined with a non-woven polyester fleece.  The use of the specialty flashing system shall be specifically approved in advance by the membrane manufacturer for each application.

>	Parapro 123 Flashing System by Siplast; Irving, TX

*   NOTE:	Unistrut supports are not a suitable substrate for the Parapro 123 Flashing System.  Any unistrut type penetration that is required to be incorporated into the roofing system should be replaced by a solid square or angle iron penetration with a fully welded plate.

2.03  ROOFING ACCESSORIES

A.	Insulation Adhesives

1.	Insulation Adhesive:  A single component, moisture cured, polyurethane foam adhesive, dispensed from a portable, pre-pressurized container used to adhere insulation panels to the substrate, as well as to other insulation panels.

>	Para-Stik Insulation Adhesive by Siplast; Irving, TX

2.	Insulation Adhesive:  A dual component, polyurethane foam adhesive used to adhere insulation panels to the substrate, as well as to other insulation panels.

>	Parafast Insulation Adhesive by Siplast; Irving, TX

B.	Roofing Adhesives

1.	Mopping Asphalt:  Type IV asphalt certified for full compliance with the requirements listed in Table I, ASTM D 312.  Each container or bulk shipping ticket shall indicate the equiviscous temperature, EVT, the finished blowing temperature, FBT, and the flash point, FP.  Mopping asphalt shall be approved in writing by the roof membrane manufacturer.

2.	Mastic:  An asphalt cutback mastic, reinforced with non-asbestos fibers, used as a base for setting metal flanges conforming to ASTM D 4586 Type II requirements.

>	Siplast PA-1021 Plastic Cement by Siplast; Irving, TX

3.	Solvent-Free Membrane Adhesive:  A single component, solvent-free modified asphalt adhesive designed for application of the specified roof membrane system.

>	Siplast SFT Adhesive by Siplast; Irving, TX

4.	Solvent-Free Flashing Adhesive:  A single-component, solvent-free modified adhesive.  The adhesive blend shall be formulated in a grade for application of flashing materials.

>	Siplast SFT Cement by Siplast; Irving, TX

C.	Primers

1.	Primer:  An asphalt/solvent blend meeting ASTM D 41, South Coast Air Quality District and Ozone Transport Commission requirements.

>	Siplast PA-917 LS Primer by Siplast; Irving, TX

2.	Primer:  An asphalt, solvent blend conforming to ASTM D 41 requirements.

>	Siplast PA-1125 Asphalt Primer by Siplast; Irving, TX

3.	Primer for Self-Adhesive Sheets:  A quick drying, low-VOC, water-based, high-tack primer specifically designed to promote adhesion of roofing and waterproofing sheets to approved substrates. Primer shall meet South Coast Air Quality District and Ozone Transport Commission requirements.

>	Siplast TA-119 Primer by Siplast; Irving, TX

D.	Sealant:  A moisture-curing, non-slump elastomeric sealant designed for roofing applications.  The sealant shall be approved by the roof membrane manufacturer for use in conjunction with the roof membrane materials.  Acceptable types are as follows:

>	Siplast PS-304 Elastomeric Sealant by Siplast; Irving, TX

E.	Perlite Cant Strips:  A cant strip composed of expanded volcanic minerals combined with waterproofing binders.  The top surface shall be pre-treated with an asphalt based coating.  The face of the cant shall have a nominal 4 inch dimension.

F.	Fasteners

1.	Base Sheet Fasteners:  Base sheet fasteners shall be approved by the manufacturer of the primary roofing products.  Acceptable base sheet fasteners for specific substrate types are listed below.

a)	Wood Decks

-	A 12 gauge, spiral or annular threaded shank, zinc coated steel roofing fastener having a minimum 1 inch metallic head.

>	Simplex Cap Nail by Simplex Nails, Inc., Americus, GA

b)	Plywood Decks

-	A 12 gauge, spiral or annular threaded shank, zinc coated steel roofing fastener having a minimum 1 inch metallic head.

>	Simplex Cap Nail by Simplex Nails, Inc., Americus, GA

c)	Lightweight Concrete Substrates

-	A single unit, precision formed, electro zinc coated steel fastener having a 2.7 inch diameter rib reinforced cap and 1.7 inch long rectangular legs, designed to expand when fully driven into the lightweight concrete.  Fasteners for lightweight concrete shall meet FM Standard 4470 requirements for corrosion resistance.

>	Zono-tite Fasteners by Siplast; Irving, TX

-	A single unit, precision formed, electro zinc coated steel fastener having a 2.7 inch diameter rib reinforced cap and 1 inch long rectangular legs, designed to expand when fully driven into the lightweight concrete.  Fasteners for lightweight concrete shall meet FM Standard 4470 requirements for corrosion resistance.

>	NVS Fasteners by Siplast; Irving, TX

d)	Wood Cement Fiber Decks

-	A single unit, precision formed, Galvalume (AZ-55) coated steel fastener having a 2.7 inch cap and a [1.4, 1.8, 2.8, 3.8, 4.8] inch long shank.  The fastener shall incorporate twin high tensile steel wires that facilitate a diverging reverse hook action when driven into the structural substrate.

>	Para-Lok Fastener by Siplast; Irving, TX

>	OlyLok  Locking Impact Nail by OMG; Agawam, MA

>	Twin Loc-Nail by ES Products, Inc.; Bristol, RI

-	A single unit, precision formed, fluorocarbon coated screw type roofing fastener having a minimum 0.310 inch diameter shank and a minimum 0.710 inch diameter head.  The corresponding plate used shall be a metal type, having a minimum 3 inch diameter, specially manufactured for use with the screw fastener.

>	Parafast LD Fastener with Parafast 3 inch plates by Siplast; Irving, TX

>	Lite-Deck Fasteners with G-90 3 inch plates by OMG; Agawam, MA

e)	Gypsum Decks

-	A single unit, precision formed, electro zinc coated steel fastener having a 2.7 inch diameter rib reinforced cap and 1.7 inch long rectangular legs, designed to expand when fully driven into the lightweight concrete.  Fasteners for lightweight concrete shall meet FM Standard 4470 requirements for corrosion resistance.

>	Zono-tite Fasteners by Siplast; Irving, TX

-	A single unit, precision formed, electro zinc coated steel fastener having a 2.7 inch diameter rib reinforced cap and 1 inch long rectangular legs, designed to expand when fully driven into the lightweight concrete.  Fasteners for lightweight concrete shall meet FM Standard 4470 requirements for corrosion resistance.

>	NVS Fasteners by Siplast; Irving, TX

-	A single unit, precision formed, Galvalume (AZ-55) coated steel fastener having a 2.7 inch cap and a [1.4, 1.8, 2.8, 3.8, 4.8] inch long shank.  The fastener shall incorporate twin high tensile steel wires that facilitate a diverging reverse hook action when driven into the structural substrate.

>	Para-Lok Fastener by Siplast; Irving, TX

>	OlyLok  Locking Impact Nail by OMG; Agawam, MA

2.	Insulation Fasteners:  Insulation fasteners and plates shall be FM Approved, and/or approved by the manufacturer of the primary roofing products.  The insulation fasteners shall provide attachment required to meet the specified uplift performance and to restrain the insulation panels against the potential for ridging.  The fastening pattern for each insulation panel to be used shall be as recommended by the insulation manufacturer and approved by the manufacturer of the primary roofing products.  Acceptable insulation fastener manufacturers for specific deck types are listed below.

a)	Metal Decks:  Insulation mechanical fasteners for metal decks shall be factory coated for corrosion resistance.  The fastener shall conform meet or exceed Factory Mutual Standard 4470 and when subjected to 30 Kesternich cycles, show less than 15% red rust.  Acceptable insulation fastener types for metal decks are listed below.

-	A fluorocarbon coated screw type roofing fastener having a minimum 0.220 inch thread diameter.  Plates used in conjunction with the fastener shall be a metal type having a minimum 3 inch diameter, as supplied by the fastener manufacturer.

>	Parafast Fastener by Siplast; Irving, TX

>	Standard RoofGrip Drill Point Fastener by OMG; Agawam, MA

b)	Wood/Plywood Decks:  Insulation mechanical fasteners for wood/plywood decks shall be factory coated for corrosion resistance.  The fastener shall conform meet or exceed Factory Mutual Standard 4470 and when subjected to 30 Kesternich cycles, show less than 15% red rust.  Acceptable insulation fastener types for wood/plywood decks are listed below.

-	A fluorocarbon coated screw type roofing fastener having a minimum 0.220 inch thread diameter.  Plates used in conjunction with the fastener shall be a metal type having a minimum 3 inch diameter, as supplied by the fastener manufacturer.

>	Parafast Fastener by Siplast; Irving, TX

>	Standard RoofGrip Drill Point Fastener by OMG; Agawam, MA

c)	Structural Concrete Decks:  Insulation mechanical fasteners for structural concrete decks shall be factory coated for corrosion resistance.  The fastener shall conform meet or exceed Factory Mutual Standard 4470 and when subjected to 30 Kesternich cycles, show less than 15% red rust.  Acceptable insulation fastener types for structural concrete decks are listed below.

-	A fluorocarbon coated non-threaded, hammer-driven roofing fastener.  Plates used in conjunction with the fastener shall be a metal type, having a minimum 3 inch diameter, specifically manufactured for use with the structural concrete fastener.

>	Parafast CD-10 Fastener by Siplast; Irving, TX

>	CD-10 by OMG; Agawam, MA

-	A fluorocarbon coated screw type roofing fastener having a minimum 0.245 inch thread diameter.  Plates used in conjunction with the fastener shall be a metal type having a minimum 3 inch diameter, as supplied by the fastener manufacturer.

>	Parafast HD Fastener by Siplast; Irving, TX

>	Heavy Duty Roofing Fastener by OMG; Agawam, MA

d)	Wood Cement Fiber Decks:  Acceptable insulation fastener types for wood cement fiber decks are listed below.

-	A single unit, precision formed, fluorocarbon coated screw type roofing fastener having a minimum 0.310 inch diameter shank and a minimum 0.710 inch diameter head.  The corresponding plate used shall be a metal type, having a minimum 3 inch diameter, specially manufactured for use with the screw fastener.

>	Parafast LD Fastener with Parafast 3 inch plates by Siplast; Irving, TX

>	Lite-Deck Fasteners with G-90 3 inch plates by OMG; Agawam, MA

e)	Gypsum Decks:  Fasteners and metal plates for gypsum decks shall be factory coated for corrosion resistance, and when subjected to 30 Kesternich cycles, must show less than 10% red rust, conforming to Factory Mutual 4470.  Acceptable insulation fastener types for gypsum decks are listed below.

-	A single unit, precision formed, fluorocarbon coated screw type roofing fastener having a minimum 0.310 inch diameter shank and a minimum 0.710 inch diameter head.  The corresponding plate used shall be a metal type, having a minimum 3 inch diameter, specially manufactured for use with the screw fastener.

>	Parafast LD Fastener with Parafast 3 inch plates by Siplast; Irving, TX

>	Lite-Deck Fasteners with G-90 3 inch plates by OMG; Agawam, MA

3.	Flashing Reinforcing Sheet Fasteners for Wood/Plywood Substrates to Receive Flashing Coverage:  Fasteners shall be approved by the manufacturer of the primary roofing products.  Acceptable fasteners for specific substrate types are listed below.

a)	Wood/Plywood Substrates

-	A 12 gauge, spiral or annular threaded shank, zinc coated steel roofing fastener having a minimum 1 inch head.

>	Square Cap by Maze Nails; Peru, IL

>	Simplex Cap Nail by Simplex Nails, Inc., Americus, GA

G.	Walktread:  A prefabricated, puncture resistant polyester core reinforced, polymer modified bitumen sheet material topped with a ceramic-coated granule wearing surface.

1.	Thickness: 0.217 in (5.5 mm)

2.	Weight: 1.8 lb/ft² (8.8 kg/m²)

3.	Width: 30 in (76.2 cm)

>	Paratread by Siplast; Irving, TX

*  NOTE:	Contact Siplast for further information regarding approved base sheet fasteners for specific substrates.

PART 3 EXECUTION

3.01  PREPARATION

A.	General:  Sweep or vacuum all surfaces, removing all loose aggregate and foreign substances prior to commencement of roofing.

B.	Remove All Existing:

- Surface gravel

- Roof membrane

- Insulation

- Base flashings

- Edge metal

- Flanged metal flashings

- Cants

- Walkways

- Non functional penetrations/curbs

- Drain assemblies

- Vapor retarder

- Metal trim, counterflashing

*   NOTE:	Delete all non-applicable items listed above.

C.	Wet Areas.  Remove any areas of the existing assembly where moisture is present and replace with compatible materials, bringing the area back to level with surrounding surfaces.

*   NOTE:	The section for replacement of wet areas is to be used where the existing roof is to be recovered with the specified new roof assembly.

D.	Primer for Self-Adhesive Sheets:  Apply the specified high-tack primer by roller or spray in an even film. Refer to the manufacturer’s literature for the approved rate of application over various substrate types. Allow the primer to dry until it leaves a slightly sticky surface without transfer when touched.

E.	Asphaltic Primer:  Prime metal and concrete and masonry surfaces with a uniform coating of the specified asphalt primer.

*  NOTE:	Edit this section to address specific job conditions which may affect the scope of work.

3.02  SUBSTRATE PREPARATION

*  NOTE:	Select a specific base sheet application method to meet individual project requirements.  Contact Siplast for further information regarding base sheet fastening for corner and perimeter zones.

A.	Base Sheet Securement to Prepared Substrate:  Lay the base sheet over entire area to be roofed, lapping sides 3 inches and ends 6 inches.  Using the specified fasteners, fasten each sheet every 9 inches through laps and stagger fasten the remainder of the sheet in 2 rows on nominal 12 inch centers with fasteners in each row on 12 inch centers.  Increase the fastening pattern by 70% at the perimeter of the roof and 160% at the corners.

B.	Base Sheet Securement to Prepared Substrate:  Lay the base sheet over entire area to be roofed, lapping sides 3 inches and ends 6 inches.  Using the specified fasteners, fasten each sheet every 7 1/2 inches through laps and stagger fasten the remainder of the sheet in 2 rows on nominal 12 inch centers with fasteners in each row on 10 inch centers.  Increase the fastening pattern by 70% at the perimeter of the roof and 160% at the corners.

*  NOTE:	See the Siplast Rigid Insulation and Base Sheet Usage Guide section of the Siplast Engineered Roofing Systems Manual for information regarding approved rigid insulation and applicable installation methods.

C.	Insulation:  Install insulation panels with end joints offset; edges of the panels shall be in moderate contact without forcing applied in strict accordance with the insulation manufacturer's requirements and the following instructions.  Where insulation is installed in two or more layers, stagger joints between layers.  Maintain a maximum panel size of 4 feet by 4 feet for polyisocyanurate / fiberboard insulation applied in hot asphalt or insulation adhesive.  Install only as much insulation as can be made watertight within the same work day.

1.	Insulation - single layer:  Mechanically attach the insulation panels, using the specified fasteners, at a rate of 1 fastener for every [--] square feet of panel area ([----] per 4' x 8' panel).  Increase the fastening frequency by 50% at the perimeter of the roof and 100% in the corners.

*   NOTE:  Fastening rate must be pre-selected.

2.	Insulation - single layer:  Install insulation panels in a solid mopping of hot asphalt; laying each panel directly behind the asphalt applicator.

3.	Insulation - double layer:  Mechanically attach both layers simultaneously to the substrate, using the specified fasteners, at a rate of 1 fastener per [--] square feet of panel area ([----] per 4' x 8' panel).  Increase the fastening frequency by 50% at the perimeter of the roof and 100% in the corners.  Stagger the panel joints between insulation layers.

*  NOTE:   Fastening rate must be pre-selected.

4.	Insulation - double layer:  Mechanically attach the bottom layer, using the specified fasteners, at a rate of 1 fastener per [--] square feet of panel area ([----] per 4' x 8' panel).  Increase the fastening frequency by 50% at the perimeter of the roof and 100% in the corners.  Set the second layer in a solid mopping of hot asphalt; laying each panel directly behind the asphalt applicator.  Stagger the panel joints between insulation layers.

*  NOTE:  Fastening rate must be pre-selected

5.	Insulation - double layer:  Mechanically attach the bottom layer, using the specified fasteners, at a rate of 1 fastener per [--] square feet of panel area ([----] per 4' x 8' panel).  Increase the fastening frequency by 50% at the perimeter of the roof and 100% in the corners.  Set the second layer in an application of the specified insulation adhesive in 3/4- to 1-inch wide beads spaced 12 inches on center in the field of the roof, 7 inches on center at the perimeter of the roof, and 4.5 inches on center in the corners of the roof.  Panels may be affected by post-growth of the insulation adhesive.  Continuous walking in of the panels is recommended particularly in perimeter/corner areas with reduced bead spacing. Follow the requirements and guidelines of the insulation adhesive manufacturer/supplier.  Stagger the panel joints between insulation layers.

*  NOTE:  Fastening rate must be pre-selected

6.	Insulation - double layer:  Install both layers in a solid mopping of hot asphalt.  Stagger the panel joints between insulation layers.

7.	Insulation - double layer:  Install both layers in an application of the specified insulation adhesive in 3/4- to 1-inch wide beads spaced 12 inches on center in the field of the roof, 7 inches on center at the perimeter of the roof, and 4.5 inches on center in the corners of the roof.  Panels may be affected by post-growth of the insulation adhesive.  Continuous walking in of the panels is recommended particularly in perimeter/corner areas with reduced bead spacing. Follow the requirements and guidelines of the insulation adhesive manufacturer/supplier.  Stagger the panel joints between insulation layers.

8.	Insulation - multiple layer:  Mechanically attach the base layers simultaneously to the substrate, using the specified fasteners, at a rate of 1 fastener per [--] square feet of panel area ([----] per 4' x 8' panel).  Increase the fastening frequency by 50% at the perimeter of the roof and 100% in the corners.  Set the top layer of insulation in a solid mopping of hot asphalt; laying each panel directly behind the asphalt applicator.  Stagger the panel joints between insulation layers.

*  NOTE:  Fastening rate must be pre-selected

9.	Insulation - multiple layer:  Mechanically attach the insulation layers simultaneously to the substrate, using the specified fasteners, at a rate of 1 fastener per [--] square feet of panel area ([----] per 4' x 8' panel).  Increase the fastening frequency by 50% at the perimeter of the roof and 100% in the corners.  Stagger the panel joints between insulation layers.

*  NOTE:   Fastening rate must be pre-selected.

10.	Insulation - multiple layer:  Mechanically attach the base layers simultaneously to the substrate, using the specified fasteners, at a rate of 1 fastener per [--] square feet of panel area ([----] per 4' x 8' panel).  Increase the fastening frequency by 50% at the perimeter of the roof and 100% in the corners.  Set the top layer of insulation in an application of the specified insulation adhesive in 3/4- to 1-inch wide beads spaced 12 inches on center in the field of the roof, 7 inches on center at the perimeter of the roof, and 4.5 inches on center in the corners of the roof.  Panels may be affected by post-growth of the insulation adhesive.  Continuous walking in of the panels is recommended particularly in perimeter/corner areas with reduced bead spacing. Follow the requirements and guidelines of the insulation adhesive manufacturer/supplier.  Stagger the panel joints between insulation layers.

*  NOTE:  Fastening rate must be pre-selected

11.	Insulation - multiple layer:  Install all layers in a solid mopping of hot asphalt.  Stagger the panel joints between insulation layers.

12.	Insulation - multiple layer:  Install all layers in an application of the specified insulation adhesive in 3/4- to 1-inch wide beads spaced 12 inches on center in the field of the roof, 7 inches on center at the perimeter of the roof, and 4.5 inches on center in the corners of the roof.  Panels may be affected by post-growth of the insulation adhesive.  Continuous walking in of the panels is recommended particularly in perimeter/corner areas with reduced bead spacing. Follow the requirements and guidelines of the insulation adhesive manufacturer/supplier.  Stagger the panel joints between insulation layers.

13.	Crickets:  Construct crickets of tapered insulation panels in a layout as indicated on the roof plan.

14.	Tapered Edge at Transitions:  Field-cut, shape and install tapered edge strip at transitions of 1/4 inch or greater between substrate components to provide a smooth transition and proper support for the subsequent insulation layer or membrane/flashing system components.

3.03  ROOF MEMBRANE INSTALLATION

*  NOTE:	This specification is limited to projects having a minimum roof slope of 1/2 inch.  Contact Siplast for specifications to meet lower slope requirements.

A.	Membrane Application:  Apply roofing in accordance with roofing system manufacturer's instructions and the following requirements.  Application of roofing membrane components shall immediately follow application of base sheet and/or insulation as a continuous operation.

B.	Aesthetic Considerations:  Construction of an aesthetically pleasing overall appearance of the finished roof application is a standard requirement for this project.  Make necessary preparations, utilize recommended application techniques, apply the specified materials and exercise care in ensuring that the finished application is acceptable to the Owner.

C.	Kettles And Tankers:  Kettles and tankers shall be equipped with accurate, fully readable thermometers.  Do not heat asphalt to or above its flash point.  Avoid heating at or above the FBT, should conditions make this impractical, heating must be no more than 25ºF  below the EVT and no more than 25ºF above EVT.

D.	Asphalt Temperatures:  If the EVT information is not provided, the following asphalt temperature shall be observed.  Maximum heating temperature shall be 525ºF (274ºC).  Minimum application temperature shall be 400ºF (204ºC).

E.	Asphalt Moppings:  Ensure that all moppings do not exceed a maximum of 25 lb/sq.  Mopping shall be total in coverage, leaving no breaks or voids.

F.	Membrane Adhesive Application:  Membrane adhesive can be applied by roller, squeegee or spray unit.  Apply cold adhesive in a smooth, even, continuous layer without breaks or voids.  Utilize an application rate of 2 to 2 1/2 gal/sq (0.6 to 1.0 l/m²) over irregular or porous substrates.  Utilize an application rate of 1 1/2 to 2 gal/sq (0.6 to 0.8 kg/m²) for interply applications.  Double the adhesive application rate at the end laps of granule surfaced sheets.  Refer to the manufacturer’s inter-ply flashing detail at the locations that are to receive the specified catalyzed acrylic resin primer/flashing system.

G.	Bitumen Consistency:  Cutting or alterations of bitumen, primer, and sealants will not be permitted.

*  NOTE:	Choose all application techniques, for the following, as applicable for the specific roof assembly proposed.

H.	Roofing Application:  Apply all layers of roofing free of wrinkles, creases or fishmouths.  Exert sufficient pressure on the roll during application to ensure prevention of air pockets.

*  NOTE:	Use the following items 1-3 for applications incorporating sheets applied perpendicular to the slope of the roof.

1.	Apply all layers of roofing perpendicular to the slope of the deck.

2.	Fully bond the base ply to the prepared substrate, utilizing minimum 3 inch side and end laps.  Apply each sheet directly behind the asphalt/torch/cold adhesive applicator.  Cut a dog ear angle at the end laps on overlapping selvage edges.  Using a clean trowel, apply top pressure to top seal T-laps immediately following sheet application.  Stagger end laps a minimum of 3 feet.

3.	Fully bond the finish ply to the base ply, utilizing minimum 3 inch side and end laps.  Apply each sheet directly behind the asphalt/torch/cold adhesive applicator.  Stagger end laps of the finish ply a minimum 3 feet.  Cut a dog ear angle at the end laps on overlapping selvage edges.  Using a clean trowel, apply top pressure to top seal T-laps immediately following sheet application.  Stagger side laps of the finish ply a minimum 12 inches from side laps in the underlying base ply.  Stagger end laps of the finish ply a minimum 3 feet from end laps in the underlying base ply.

*  NOTE:	Use the following items 1-3 for applications incorporating sheets applied parallel to the slope of the roof.

1.	Apply all layers of roofing parallel to the slope of the deck.

2.	Fully bond the base ply to the prepared substrate, utilizing minimum 3 inch side and end laps.  Apply each sheet directly behind the *[asphalt/torch/cold adhesive] applicator.  Cut dog ear angles on underlying end laps at the finish edge and the overlapping selvage edges.  Using a clean trowel, apply top pressure to top seal T-laps immediately following sheet application.  Stagger end laps a minimum of 3 feet.

3.	Fully bond the finish ply to the base ply, utilizing minimum 3 inch side and end laps.  Apply each sheet directly behind the *[asphalt/torch/cold adhesive] applicator.  Stagger end laps of the finish ply a minimum 3 feet.  Cut dog ear angles on underlying end laps at the finish edge and the overlapping selvage edges.  Using a clean trowel, apply top pressure to top seal T-laps immediately following sheet application.  Stagger side laps of the finish ply a minimum 12 inches from side laps in the underlying base ply.  Stagger end laps of the finish ply a minimum 3 feet from end laps in the underlying base ply.

4.	Exert sufficient pressure on the metal clad modified bitumen sheet to ensure the prevention of air pockets.  This can be accomplished by using a damp, kitchen type sponge mop or a damp, heavy duty cotton nap paint roller.

5.	Prime end laps of the metal-clad modified bitumen sheet with a uniform coating of the specified asphalt primer and allowed to thoroughly dry prior to overlapping of adjoining sheets.

6.	Probe laps using a clean, heated roofing trowel and heat fuse dry laps of the metal-clad modified bitumen sheet to ensure a complete seal.

7.	Maximum sheet lengths and special fastening of the specified roof membrane system may be required at various slope increments where the roof deck slope exceeds 1/2 inch per foot. The manufacturer shall provide acceptable sheet lengths and the required fastening schedule for all roofing sheet applications to applicable roof slopes.

I.	Torch-applied Flashing Application:  Cut the cant backing sheet into 12 inch widths and peel the release film from the back of the sheet.  Set the sheet into place over the primed substrate extending 6 inches onto the field of the roof area and 6 inches up the vertical surface utilizing minimum 3 inch laps.  Set the non-combustible cant into place dry prior to installation of the roof membrane base ply.  Flash walls and curbs using the reinforcing sheet and the metal foil flashing membrane.  After the base ply has been applied to the top of the cant, prime the base ply surfaces to receive the reinforcing sheet.  Fully adhere the reinforcing sheet, utilizing minimum 3 inch side laps onto the primed base ply surface and up the primed wall or curb to the desired flashing height.  After the final roofing ply has been applied to the top of the cant, prepare the surface area that is to receive flashing coverage by torch heating granular surfaces or by application of asphalt primer; allowing primer to dry thoroughly.  Torch apply the metal foil-faced flashing into place using three foot widths (cut off the end of roll) always lapping the factory selvage edge.  Stagger the laps of the metal foil flashing layer from lap seams in the reinforcing layer.  Extend the flashing sheet a minimum of 4 inches beyond the toe of the cant onto the prepared surface of the finished roof and up the wall or curb to the desired flashing height.  Exert pressure on the flashing sheet during application to ensure complete contact with the vertical/horizontal surfaces, preventing air pockets; this can be accomplished by using a damp sponge or shop rag.  Check and seal all loose laps and edges.  Nail the top edge of the flashing on 9 inch centers.  (See manufacturer's schematic for visual interpretation).

J.	Cement-applied Flashing:  Flash masonry parapet walls and curbs using the reinforcing sheet and the metal foil flashing membrane.  Fully adhere the reinforcing sheet using the specified adhesive, extending a minimum of 3 inches onto the base ply surface beyond the toe of the cant and 3 inches up the parapet wall above the cant.  Utilize 3 inch side laps when applying the flashing reinforcing sheet.  Install the finish ply to extend to the top of the cant.  Cut the flashing material into the desired lengths off the end of roll in three foot widths.  Apply a uniform coat of the specified flashing cement to the back of the flashing sheet as well as the area to receive flashing coverage, including the exposed selvage edge of the adjacent flashing sheet.  Set the flashing sheet in place and exert pressure on the sheet during application to ensure complete contact with the wall/roof surfaces, preventing air pockets; this can be accomplished by using a damp sponge or shop rag.  Stagger the laps of the flashing sheet layer from the lap seams in the reinforcing ply.  Check and seal all loose laps and edges.  Nail the top edge of the flashing on 9 inch centers.  (See manufacturer's schematic for visual interpretation).

*  NOTE:	Veral Aluminum must be applied in SFT Cement where torch application is not allowed.  Contact Siplast for more information regarding approved flashing sheets and application methods to meet individual project requirements and Siplast Specifications.

K.	Catalyzed Acrylic Resin Flashing System:  Install the liquid-applied primer and flashing system in accordance with the membrane system manufacturer’s printed installer’s guidelines and other applicable written recommendations as provided by the manufacturer.

L.	Water Cut-Off:  At end of day's work, or when precipitation is imminent, construct a water cut-off at all open edges.  Cut-offs can be built using asphalt or plastic cement and roofing felts, constructed to withstand protracted periods of service.  Cut-offs must be completely removed prior to the resumption of roofing.

M.	Sealant:  Apply a smooth continuous bead of the specified sealant at the exposed finish ply edge transition to metal flashings incorporated into the roof system.

3.04 FIELD QUALITY CONTROL AND INSPECTIONS

A.	Site Condition:  Leave all areas around job site free of debris, roofing materials, equipment and related items after completion of job.

B.	Notification of Completion:  Notify the manufacturer by means of manufacturer's printed Notification of Completion form of job completion in order to schedule a final inspection date.

C.	Final Inspection/Post-Installation Meeting:  Hold a meeting at the completion of the project, attended by all parties that were present at the pre-job conference.  A punch list of items required for completion shall be compiled by the Contractor and the manufacturer's representative.  Complete, sign, and mail the punch list form to the manufacturer's headquarters.

D.	Issuance of the Guarantee:  Complete all post installation procedures and meet the manufacturer's final endorsement for issuance of the specified guarantee.