ROOFING SPECIFICATION PREPARED BY SIPLAST, INC.

PARAGREEN VEGETATED OVERBURDEN SYSTEM

This specification is provided as a general guide for use of Siplast products based on typical building conditions and standard waterproofing practices.  Siplast is strictly a manufacturer/supplier of roofing, waterproofing, and vegetated systems and has no experience, training or expertise in the areas of architecture/engineering, architectural landscaping, horticulture, or in the areas of consulting with respect to matters related to such areas.  Siplast recommends that the Owner's representative independently verify the accuracy and appropriateness of a specification provided for a specific project.

It is important to note that a means of supplying water to the roof-top with sufficient pressure is required for irrigation purposes to establish a developing and thriving vegetated roof system.  Irrigation in the form of a standard rotating sprinkler must be applied during the plant recovery phase (first few weeks after installation).  In order to support mature establishment of the vegetated community, it is highly recommended that periodic irrigation be applied during the hottest months of the 1st and possibly 2nd growing seasons after installation.  The method of supplying irrigation may vary with regard to removable vs. permanent piping, rotary heads vs. drip irrigation, or other irrigation technologies. Permanent subsurface irrigation is necessary only when the media layer is ≤ 2” in depth. A suitable irrigation system must be thinner than 1” so as not to disrupt the media layer under the vegetation. SUBSURFACE IRRIGATION IS NOT A SUBSTITUTE FOR OVERHEAD, ESTABLISHMENT IRRIGATION. (See Maintenance Section at back of specification)

December 1, 2022

SECTION  07 33 63  VEGETATED ROOFING

PART 1  GENERAL

  - SECTION INCLUDES:

- Root Barrier Application

- System Filter Application

- Drainage Layer Application over Rigid Insulation or Waterproofing Membrane System

- Vegetated Roof Edge Retention Installation

- Inspection Chamber Installation

- Extensive Media Installation

- Pre-cultivated Vegetation Mat Application

- Overburden Installation over Vegetated Roof Membrane

- RELATED SECTIONS

- Section [----] - Roof Decks

- Section [----] – Plumbing (irrigation system)

- Section [----] - Modified Bitumen Vegetated Waterproofing Membrane System

- Section [----] - Fluid-Applied Roofing And Flashing

- Section [----] - Sheet Metal Flashing and Trim

- Section [----] - Sheet Metal Roofing Specialties

- REFERENCE STANDARDS

References in these specifications to standards, test methods and codes, are implied to mean the latest edition of each such standard adopted.  The following is an abbreviated list of associations, institutions, and societies which may be used as references throughout these specifications.

ASTM	American Society for Testing and Materials

Philadelphia, PA

OSHA	Occupational Safety and Health Administration

Washington, DC

SMACNA	Sheet Metal and Air Conditioning Contractors National Association

Chantilly, VA

UL	Underwriters Laboratories

Northbrook, IL

FLL	The Research Society for Landscape Development and Landscape Design

Bonn, Germany

ANSI	American National Standards Institute

Washington, DC

SPRI	Single Ply Roofing Industry

Waltham, MA

LEED	Leadership in Energy and Environmental Design by the U.S. Green Building Council

Washington, D.C.

USGBC	U.S. Green Building Council

Washington, D.C.

US EPA		U.S. Environmental Protection Agency

Washington, D.C.

  - SUBMITTALS

- Submittals Prior to Bid:

- Cross section of the vegetated roof system detailing the components comprising the proposed pre-cultivated vegetated roof overburden system.

- Submittals Prior to Contract Award:

- Letter from the proposed primary roofing/waterproofing manufacturer confirming that the bidder is an acceptable Contractor authorized to install the proposed system.

- Letter from the primary roofing/waterproofing manufacturer stating that the proposed application will comply with the manufacturer's requirements in order to qualify the project for the specified guarantee.

- Submittals Prior to Project Close-out:

- Suppliers printed recommendations for proper maintenance of the specified pre-cultivated vegetated roof system.

  - QUALITY ASSURANCE

- Scope of Work:  The work to be performed under this specification shall include, but is not limited to, the following:  attend necessary job meetings and furnish competent and full time supervision, experienced mechanics, all materials, tools, and equipment necessary to complete, in an acceptable manner, the waterproofing membrane and vegetated roof overburden systems in accordance with this specification.  Comply with the latest written application instructions of the supplier of the waterproofing membrane and vegetated roof overburden systems.

- Acceptable Products:  Primary vegetated roof overburden products shall be supplied by Siplast, Inc.

- Acceptable Contractor:  Contractor shall be certified by Siplast, Inc., supplier of the vegetated roof overburden system.

- Local Regulations:  Conform to regulations of public agencies, including any specific requirements of the city and/or state of jurisdiction.

- Manufacturer Requirements:  Ensure that the primary roofing materials manufacturer and pre-grown vegetated mat supplier provide direct trained company personnel to attend necessary job meetings, perform periodic inspections as necessary, and conduct a final inspection upon successful completion of the project.

  - PRODUCT DELIVERY STORAGE AND HANDLING

- Pre-Cultivated Plants:  Deliver pre-cultivated plant material in such a manner as to preserve the quality of the plants protecting the vegetation mats from excessive high/low temperature or wind damage.  For transport times less than one day, a closed or open trailer may be used for delivery from the cultivation site to job site.  For longer duration transport times, vegetation mats must be delivered in a climate controlled trailer.  Upon arrival, the mats must be immediately off-loaded, all wrap removed, and the mats installed within 12 hours.  If timely installation is not achievable, a holding area shall be reserved to unroll and store the mats until transport of the mats to the roof-top for immediate installation.

- Damaged Material:  Any materials that are found to be damaged or stored in any manner other than stated above will be rejected, removed and replaced at the Contractor's expense.

  - PROJECT/SITE CONDITIONS

- Requirements Prior to Job Start

- Notification:  Give a minimum of 3 week notice to the Owner and manufacturer prior to commencing any work and notify both parties on a daily basis of any change in work schedule.

- Permits:  Obtain all permits required by local agencies and pay all fees which may be required for the performance of the work.

- Safety:  Familiarize every member of the application crew with all fire and safety regulations recommended by OSHA, NRCA and other industry or local governmental groups.

- Protection Requirements

- General:  Install vegetated roof overburden components in such a manner as to not damage or disturb any previously installed waterproofing membrane or roofing waterproofing membrane accessory components.

- Limited Access:  Prevent access by the public to materials, tools and equipment during the course of the project.

- Debris Removal:  Remove all debris daily from the project site and take to a legal dumping area authorized to receive such materials.

  - GUARANTEE/WARRANTY

  - Vegetation Guarantee Addendum:  An addendum to the guarantee specified in Specification Section [07100 - Modified Bitumen Vegetated Roof Waterproofing, 07560 – Fluid Applied Roofing and Flashing] stating that during a period of two years from the date of completion, the manufacturer of the vegetated roof waterproofing system will replace any supplied materials (i.e. pre-grown vegetated mats, substrate components, and prefabricated sheet metal accessories) as necessary to achieve and sustain at least 85% vegetated coverage.

>	Siplast Paragreen Vegetated Roof Guarantee Addendum

PART 2  PRODUCTS

- PRE-CULTIVATED VEGETATED ROOF SYSTEM ASSEMBLY/PRODUCTS

- Root Barrier:  A [20, 30, 40, 60] mil thick, low-density polyethylene sheet for use over the roof membrane and below the [drainage mat, insulation] and edge retention outlining the planted area.

>	Parablock Root Barrier by Siplast; Dallas, TX

- Polyethylene tape:  Single-sided 4 inch wide polyethylene tape used to seal the laps of adjacent root barrier sheets throughout the vegetated roof area.

>	Parablock Tape by Siplast; Dallas, TX

- Extruded Polystyrene Insulation (XEPS):  A continuous closed-cell, high compression strength polystyrene foam panel conforming to ASTM C 578.  Panels to be constructed for use in protected roofing/waterproofing membrane assemblies having with drainage channels on the bottom surface.  Provide panels having a minimum compression strength of [40, 60] psi nominal, a thickness of [---] inches.

>	Styrofoam Plazamate by the Dow Chemical Company, Midland, MI

- Filter Fabric:  A breathable, non-woven geotextile designed to retain soil above high-density extruded polystyrene insulation while allowing water to flow through freely.

>	Parafilter Filter Fabric by Siplast; Dallas, TX

- Drainage Mat:  A prefabricated sheet drain and protection board consisting of a formed [polypropylene, polystyrene] core covered on both sides with a root resistant filter fabric.

>	Paradrain [Extensive, Intensive] Drainage Mat by Siplast; Dallas, TX

- Drainage Plate:  A prefabricated “waffle” shaped drainage plate consisting of a formed polypropylene core designed to hold water beneath the growing media at a depth of [1 inch, 1.5 inches], retaining water at a volume of [0.12 gal/ft2 (5 l/m2), 0.17 gal/ft2 (7 l/m2)] while creating a high-volume drainage passageway above the underlying substrate components.  The mid-point of the plate shall be perforated with drainage holes to prevent clogging beneath applications incorporating a filter fabric overlay.  Panels shall have a minimum compressive strength of [5240 psf (251 kPa), 2080 psf (100 kPa)].

>	Paradrain Drainage Plate by Siplast; Dallas, TX

*  NOTE:	The drainage mat/plate must be selected based on the vegetated overburden system.  The extensive mat is composed of polypropylene; the intensive mat is composed of polystyrene.

- Growing Medium:  A growing medium for [extensive, intensive] vegetated roofs in multi-course construction.  The material is a proprietary mixture of mineral light weight aggregates and premium organic components.  The lightweight aggregate shall be blended with organic components and fully composted products derived from manures, mushroom composts, straw, alfalfa, and yard wastes, which are low in salts, low in heavy metals, and free from weed seeds, pathogens and other deleterious materials.  The pH of the organic matter shall be between 6.0 and 8.5.

>	  Paragrow Soil Growing Medium by Siplast, Inc., Dallas, TX

*  NOTE:	The growing medium shall be pre-determined by Siplast based on project location, weight constraints.  Contact Siplast for project-specific growing medium requirements.

- Pre-cultivated Vegetation Mat:  A living plant palette of mixed sedum and other plant varieties specifically developed for extensive green roof systems, comprised of a coconut fiber mat with a substrate layer of soil/mineral mixture as the primary growing medium for the sedum and associated plants.  The pre-grown vegetated mat shall have a variety of 8-11 different plant species allowing flowering of different colors at alternate times based on time of year and availability of seed during planting and project location in USDA growing zone (see the following charts).

PARAGREEN S STANDARD SEDUM SELECTION

| Sedum album Coral Carpet | USDA zone 4-8 |
| --- | --- |
| Sedum acre Gold Moss | USDA zone 4-9 |
| Sedum sexangulare | USDA zone 3-8 |
| Sedum reflexum Blue Spruce | USDA zone 4-9 |
| Sedum rupestre Angelina | USDA zone 6-9 |
| Sedum floriferum Weihenstephaner Gold | USDA zone 3-9 |
| Sedum spurium Red Carpet and/or Fuldaglut | USDA zone 3-9 |
| Sedum spurium John Creech | USDA zone 3-8 |

PARAGREEN S REGIONAL SEDUM SELECTION

| Sedum Immergrunchen | USDA zone 3-9 |
| --- | --- |
| Sedum kamtschaticum | USDA zone 4-9 |
| Sedum spurium Tricolor | USDA zone 4-9 |
| Sedum hispanicum Purple Form | USDA zone 5-9 |
| Sedum divergens | USDA zone 5-9 |

>	Paragreen S Pre-Grown Vegetated Mat by Siplast, Inc., Dallas, TX

PARAGREEN E COLOR MAX SEDUM SELECTION

| Sedum acre 'Aurea' | USDA zone 4-7 |
| --- | --- |
| Sedum album 'Coral Carpet' | USDA zone 4-8 |
| Sedum album 'Orange Ice’ | USDA zone 4-8 |
| Sedum floriferum ‘Weihenstephaner Gold’ | USDA zone 3-7 |
| Sedum kamtschaticum ‘Variegatum’ | USDA zone 4-7 |
| Sedum reflexum ‘Blue Spruce | USDA zone 5-7 |
| Sedum rupestre ‘Angelina’ | USDA zone 4-7 |
| Sedum spurium ‘Green Mantle’ | USDA zone 3-7 |
| Sedum spurium ‘John Creech’ | USDA zone 3-8 |
| Sedum spurium ‘Red Carpet’ | USDA zone 3-7 |
| Sedum spurium ‘Summer Glory’ | USDA zone 4-7 |
| Sedum spurium ‘Tricolor’ | USDA zone 4-7 |

>	Paragreen E Pre-Grown Vegetated Mat by Siplast, Inc., Dallas, TX

PARAGREEN E SHADE MIX SEDUM SELECTION

| Sedum acre 'Aurea' | USDA zone 4-7 |
| --- | --- |
| Sedum h.'Immergrunchen' | USDA zone 4-7 |
| Sedum pachyclados | USDA zone 4-7 |
| Sedum sexangulare | USDA zone 4-7 |
| Sedum spurium ‘AlbumSuperbum” | USDA zone 5-8 |
| Sedum spurium ‘Fuldaglut’ | USDA zone 5-8 |
| Sedum spurium ‘GreenMantle’ | USDA zone 3-7 |
| Sedum spurium ‘John Creech’ | USDA zone 3-8 |
| Sedum ternatum | USDA zone 4-7 |

>	Paragreen E Pre-Grown Vegetated Mat by Siplast, Inc., Dallas, TX

PARAGREEN E TUFF STUFF SEDUM SELECTION

| Sedumalbum 'Coral Carpet' | USDA zone 4-8 |
| --- | --- |
| Sedum cauticolum | USDA zone 3-7 |
| Sedum ellacombianum | USDA zone 3-7 |
| Sedum hybridum ‘Czar’s Gold’ | USDA zone 4-7 |
| Sedum kamtschaticum | USDA zone 4-7 |
| Sedum middendorffianum diffusum | USDA zone 5-8 |
| Sedum rupestre | USDA zone 4-7 |
| Sedum sexangulare | USDA zone 4-7 |
| Sedum spurium sp. | USDA zone 4-7 |
| Sedum spurium ‘Roseum’ | USDA zone 4-7 |
| Sedum spurium ‘Voodoo’ | USDA zone 4-8 |
| Sedum stefco | USDA zone 5-8 |

>	Paragreen E Pre-Grown Vegetated Mat by Siplast, Inc., Dallas, TX

PARAGREEN E ALL SEASONS SEDUM SELECTION

| Sedum album 'Coral Carpet' | USDA zone 4-8 |
| --- | --- |
| Sedum h.'Immergrunchen' | USDA zone 4-7 |
| Sedum floriferum ‘Weihenstephaner Gold’ | USDA zone 3-7 |
| Sedum middendorffianum diffusum | USDA zone 5-8 |
| Sedum reflexum‘GreenSpruce’ | USDA zone 4-7 |
| Sedum spurium‘Coccineum’ | USDA zone 3-7 |
| Sedum spurium ‘Fuldaglut’ | USDA zone 5-8 |
| Sedum spurium ‘John Creech’ | USDA zone 3-8 |
| Sedum spurium ‘Red Carpet’ | USDA zone 3-7 |
| Sedum spurium ‘Roseum’ | USDA zone 4-7 |
| Sedum rupestre | USDA zone 4-7 |
| Sedum stefco | USDA zone 5-8 |
| Sedumtakesimensis‘GoldenCarpet’ | USDA zone 4-8 |
| Sedumtetractinum‘CoralReef’ | USDA zone 6-9 |

>	Paragreen E Pre-Grown Vegetated Mat by Siplast, Inc., Dallas, TX

PARAGREEN E SWEET TEA SEDUM SELECTION

| Sedum album 'Coral Carpet' | USDA zone 4-8 |
| --- | --- |
| Sedum album ‘Murale' | USDA zone 4-8 |
| Sedum floriferum ‘Weihenstephaner Gold’ | USDA zone 3-7 |
| Sedum ellacombanium | USDA zone 3-7 |
| Sedum reflexum‘Blue Spruce’ | USDA zone 5-7 |
| Sedum rupestre ‘Angelina | USDA zone 4-7 |
| Sedumspurium ‘Fuldaglut’ | USDA zone 5-8 |
| Sedum spurium ‘John Creech’ | USDA zone 3-8 |
| Sedum sexangulare | USDA zone 4-7 |
| Sedum spurium ‘Dragon’s Blood’ | USDA zone 3-8 |
| Sedum kamtschaticum | USDA zone 4-7 |

>	Paragreen E Pre-Grown Vegetated Mat by Siplast, Inc., Dallas, TX

*  NOTE:	Siplast will make recommendations for the composition of the vegetation sedum mix based upon project location and the corresponding plant hardiness zone.  The vegetation mix will be comprised of plant varieties selected from the lists above.

- Root Barrier:  A [20][30][40] mil low-density polyethylene sheet for use over the roof membrane and below the water retention fleece.

>	XF112 Root Barrier by Xero Flor, Durham, NC

- Drainage Mat:  A layer of flexible, non-woven, entangled polymeric filaments with a perforated, geotextile filter-fabric bonded to the top side.

>	XF108H Drainage Mat by Xero Flor, Durham, NC

- Water Retention Fleece:  A fabric produced from a blend of recycled, synthetic fibers with a saturated weight of not more than 1.5 lbs/ft2 (7.4 kg/m2).

>	XF157 Water-Retention Fleece by Xero Flor, Durham, NC

- Growing Medium:  A propriety mixture of lightweight, mineral based materials, including porous stone or brick aggregate, washed sand, and organic matter derived from composted biosolids, leaf and lawn litter, and/or poultry manure compost.

>	Xero Terr Growing Medium by Xero Flor, Durham, NC

- Pre-cultivated Vegetation Mat:  A textile-based vegetation carrier of lightweight fleece sewn to PA/PP entanglements bonded to geotextile fabric, filled with a growing medium, and pre-cultivated with an even layer of low-profile, drought-tolerant vegetation.  Vegetation shall include the following species:  [Sedum acre] [Sedum album] [Sedum ellacombianum] [Sedum floriferum] [Sedum kamtschaticum] [Sedum pulchellum] [Sedum reflexum] [Sedum spurium] [Sedum sexangulare] [Saxifraga granulate].

>	XF301 Pre-cultivated Vegetation Mat by Xero Flor, Durham, NC

*  NOTE:	Xero Flor will make recommendations for the composition of the vegetation mix based upon project location and the corresponding plant hardiness zone.  The vegetation mix will be comprised of plant varieties selected from the list above.

- Root Barrier:  A 40 mil low-density, bitumen and polystyrene resistant; non-plasticized, UV-stabilized polyethylene sheet for use over the roof membrane and below the protection mat, having a weight of 0.08 lb/sq ft (380 g/m²).

>	WSF 40 by ZinCo USA, Inc., Newton, MA

- Protection Mat:  A protective fabric produced from a blend of non-rotting recycled fibers, designed to retain water and nutrients.  The protection mat shall have a thickness of 0.2 in (5 mm), weigh 0.1 lb/sq ft (ca. 470 g/m²), and provide a water retention capacity of 0.12 gal/sq ft (ca.5 l/m²).

>	SSM 45 by ZinCo USA, Inc., Newton, MA

- Drainage Media:  A prefabricated “waffle” shaped drainage panel consisting of a recycled polyethylene core with water-retaining troughs designed to hold water beneath the growing media.  The drainage component shall also provide openings for ventilation and evaporation, as well as a multidirectional drainage channel system on the underside.  The drainage component shall have a minimum compressive strength of than 24.7 psi (170 kN/m²), a water retention capacity of 0.1 gal/sq ft (4 l/m²), a height of 1.6 inches (40 mm), and weigh 0.5 lb/sq ft (2.2 kg/m²).

>	Floradrain FD 40-E by ZinCo USA, Inc., Newton, MA

- Growing Medium:  A growing medium for [extensive, intensive] vegetated roofs in multi-course construction.  The material is a proprietary mixture of recycled materials and mineral aggregate, enriched with high quality compost elements, resistant to frost, flying sparks, and radiating heat.  The growing media shall be specially engineered to meet FLL-standards.

>	Zincoblend E by ZinCo USA, Inc., Newton, MA

- Pre-cultivated Vegetation Mat:  A pre-cultivated, tightly rooted plant mats with a proven plant mix on a biodegradable carrier.  The plant mixes shall include 6–12 durable sedum varieties, such as: Sedum album, Sedum acre, Sedum cauticolum, Sedum ellacombianum, Sedum floriferum, “Weihenstephaner Gold”, Sedum spurium varieties and others.

>	Pre-cultivated Vegetation Mat by ZinCo USA, Inc., Newton, MA

- Paver System:  Heavyweight, hydraulically pressed, concrete units, square edged for use as plaza deck pavers, conforming to the following physical and mechanical requirements.

    - Compressive strength:  8,500 psi

    - Maximum absorption:  Less than 5%

    - Weight (per square foot of coverage):  25 lb

    - Thickness:  2 inches

    - Maximum mass loss when tested for freeze/thaw:  1% (ASTM C 67)

- Paver Supports:  The specified paver manufacturer’s high-density polyethylene paver support assembly having an octagonal grid-like structure with integral 1/8 inch spacer ribs.

>	Hanover Architectural Products, Inc., Hanover, PA

- River-Rock Ballast:  River washed rock used as ballast shall meet the ASTM D 448 #57 requirements.  Diameter of the rock particles shall maintain a nominal 3/4 inch to a maximum 1-1/2 inch range.

PART 3 EXECUTION

- PREPARATION

- Root Barrier:  Loose-lay the specified root barrier over the entire area to be planted with excess to extend into ballasted areas.  Lap sides a minimum of 18 inches (457 mm) and seal the seams of the sides and ends using the specified polyethylene tape.  Stagger end laps a minimum of 36 inches. Extend root barrier up to roof drains and vertical penetrations.  Seal the root barrier around penetrations using the specified polyethylene tape.

- Extruded Polystyrene Rigid Insulation:  Place the specified insulation un-adhered directly over the root barrier [with the channeled edges down].  Install the panels to fit tightly; leaving a maximum opening between panels of 3/8 inch.  Extend the insulation beneath the drainage [mat, plate] to terminate flush with the vertical face of flashing conditions and penetrations.  In multiple-layer configurations install the thickest layer of insulation as the base layer.  Stagger the panel joints between insulation layers.

- Filter Fabric: Lay the specified filter fabric over the specified extruded polystyrene insulation, lapping sides a minimum of 8 inches.

- Drainage Mat:  Place the specified drainage mat un-adhered directly over all areas of the [root barrier, insulation system] with the root inhibiting filter fabric side up (i.e. dimpled core cups turned up to catch water).  Butt the sides of the mat with adjacent courses to provide a continuous channel for water flow.  Stagger the end joints of each course of the mats by a minimum of 36 inches.  Extend the mat beneath the specified area separator components to a minimum of 4 inches up walls, curbs, and other penetrations, terminating at the top surface of the specified ballast/paver assembly.

- Drainage Plate:  Place the specified drainage plate un-adhered directly over all areas of the newly applied [root barrier, insulation system].  Lap the drainage plate a minimum of 3 inches (2 dimples) onto the adjacent course of the drainage plate.  Stagger the end joints of each course of the plates by a minimum of 36 inches.  Extend the plate to terminate flush with the vertical face of the specified area separator components.

- Area Separator: Install the specified separation components over the specified [root barrier, drainage mat] to outline the perimeter of the planted area of the roof, leaving a minimum distance from the termination edge of the [root barrier, drainage mat, drainage plate] for installation of the specified [ballast/pavers] (see roof plan for design layout).  Connect each length of the separator component to the adjacent separator component edge using the pre-fabricated connecting clip or finishing corner.

- Edge Retainer: Completely prime metal flanges and allow to dry prior to installation.  Turn the base ply down 2 inches past the roof edge and over the nailer.  After the base ply has been installed, set the flange in mastic and stagger nail according to the pre-punched nailing pattern in the horizontal retainer flange.  Strip-in the flange using the specified stripping-ply material, extending a minimum of 4 inches beyond the edge of the flange.  Terminate the finish ply flush with the vertical strainer of the edge retainer component.  Apply the specified sealant to the edge of the finish ply.  Continue with installation of the specified membrane protection components and ballast/pavers.

- Roof Drain Chambers:  Install the drain chamber over the roof drains, on top of the specified [root barrier, drainage mat], leaving adequate clearance to accommodate the drain strainers.  Ballast the area around chamber with river-washed stone ballast a minimum of 12 inches in each direction beyond the chamber box.

- Extensive Growing Media:  Evenly distribute the growing media at a minimum of [2, 3, 4, 5, 6] inches of growing medium over the specified drainage [mat, plate].  Compact the media using a partially filled landscape type roller to a mean depth of no less than [--] inches.  Thoroughly moisten the growing medium [and underlying moisture-retention fleece] according to the requirements of the pre-grown vegetated mat supplier.

- Pre-cultivated Vegetation Mat:  Immediately prior to delivery and installation of the vegetated mat layer, moisten the growing medium.  Overlay the saturated growing medium with the pre-cultivated vegetated mats, butting the edges of adjacent mats, staggering the end joints of each row offset from adjacent rows.  Cut Mats using garden shears or a utility knife where necessary. Upon complete installation of the mats, redistribute and/or supplement the growing medium to ensure even coverage across the vegetated roof area.  Place additional media in areas or along edges where growing medium was lost or damaged during transport and handling.  After installation is complete, immediately and thoroughly water the assembled vegetated mat system from above for 1/2 hour to assist with settling of individual components and to support recovery and establishment of the system vegetation.

- Ballast:  Distribute the river-washed stone ballast evenly over the drainage mat according to the project details at a minimum rate of [1000][2000] lb/sq.

- Pavers:  Install the pavers following the instructions and requirements of the paver manufacturer and as indicated on the perimeter details.

*  NOTE:	The vegetated roof system must not be adhered or mechanically affixed to the constructed roof in any manner, allowing access to membrane/flashing components to facilitate repairs or modifications.

- FIELD QUALITY CONTROL AND INSPECTIONS

- Site Condition:  Leave all areas around job site free of debris, equipment, and related items after completion of job.

- Notification Of Completion:  Notify the manufacturer by means of manufacturer's printed Notification of Completion form of job completion in order to schedule a final inspection date.

- Final Inspection

1.	Waterproofing Post-Installation Meeting:  Approximately 30 days after complete installation of the vegetated roof system hold a meeting attended by all parties that were present at the pre-job conference.  A punch list of items required for completion shall be compiled by the Contractor and the manufacturer's representative for completion by contractor prior to issuance of the Vegetated Roof Guarantee Addendum.

- Issuance Of The Guarantee:  Complete all post installation procedures and meet the manufacturer's final endorsement for issuance of the specified guarantee.

- Post-Installation Watering Requirements:  The Owner shall perform vegetated roof establishment phase irrigation using an overhead, sprinkler device providing for full coverage of the vegetated roof area.  Duration of each watering session shall be for 30 minutes according to the following weekly schedule.

USDA ZONES 3-8

|  | Spring | Early Summer | Late Summer | Fall | Early Winter |
| --- | --- | --- | --- | --- | --- |
| Week # after installation | April to May | June to July 15th | July 15th to September 15th | September 15th to Oct 30th | Nov and Dec |
|  | Number of 30-minutes waterings per week |  |  |  |  |
| 1 | 1 to 2 | 2 to 3 | 3 to 4 | 2 to 3 | 1 to 2 |
| 2 | 1 to 2 | 2 | 3 | 2 | 1 |
| 3 | 1 | 1 to 2 | 2 to 3 | 1 to 2 | 1 |
| 4 | 1 | 1 | 1 to 2 | 1 | 0 to 1 |
| 5 | 0 to 1 | 0 to 1 | 1 | 1 | 0 |
| 6 | 0 to 1 | 0 to 1 | 0 to 1 | 0 to 1 | 0 |

*  NOTE:	The above chart is applicable to projects within USDA plant hardiness zones 3 through 8 for project incorporating Siplast Paragreen Pre-grown Vegetated Mats.  Contact Siplast for specific vegetation and watering requirements for projects located in USDA zones 1, 2, 9, 10, and 11.