Plaza Deck Waterproofing Specification

For:

Guide Specification

Teranap Plaza Deck Waterproofing

Prepared by:

Siplast

1000 East Rochelle Blvd.

Irving, TX  75062

(800) 922-8800

This specification is provided as a general guide for use of Siplast products based on typical building conditions and standard roofing practices.  Siplast is strictly a manufacturer of roofing systems and has no experience, training or expertise in the areas of architecture/engineering or in the area of consulting with respect to matters related to such areas.  Siplast recommends that the Owner's representative independently verify the accuracy and appropriateness of a specification provided for a specific project.

January 1, 2014

SECTION 07 13 52  MODIFIED BITUMINOUS SHEET WATERPROOFING  (Rev 1/1/2014)

PART 1  GENERAL

1.01  SECTION INCLUDES:

A.	Plaza Deck Waterproofing Membrane Application

B.	Flashing Application

C.	Incorporation of Sheet Metal Flashing Components and Accessories into the Plaza Deck Waterproofing System

D.	Overburden Installation over Plaza Deck Membrane

1.02  PRODUCTS INSTALLED BUT NOT FURNISHED UNDER THIS SECTION

A.	Sheet Metal Flashing and Trim

B.	Sheet Metal Specialties

1.03  RELATED SECTIONS

A.	Section [----] - Rough Carpentry

B.	Section [----] - Decks

C.	Section [----] - Sheet Metal Flashing and Trim

D.	Section [----] - Sheet Metal Specialties

1.04  REFERENCE STANDARDS

References in these specifications to standards, test methods, codes etc., are implied to mean the latest edition of each such standard adopted.  The following is an abbreviated list of associations, institutions, and societies which may be used as references throughout these specifications.

ASTM	American Society for Testing and Materials

Philadelphia, PA

FM	Factory Mutual Engineering Research Corp.

Norwood, MA

NRCA	National Roofing Contractors Association

Rosemont, IL

OSHA	Occupational Safety and Health Administration

Washington, DC

SMACNA	Sheet Metal and Air Conditioning Contractors National Association

Chantilly, VA

UL	Underwriters Laboratories

Northbrook, IL

1.05  DESCRIPTION OF WORK

The basic work descriptions required in this specification are referenced below.

Project Type:

Deck:	Concrete	Slope: 0 - 1/2 inch

Substrate Preparation:	Prime with [PA-1125 – PA-917 LS] Primer at a rate of 1 gallon per 100 to [400 – 300] square feet.

Plaza Deck System:	Paradiene 20 TG, torch applied;

Teranap [1M Sand, 1M Film], torch applied.

Flashing System:	[Veral Aluminum], Teranap [1M Sand, 1M Film], torch applied.

Membrane Protection Layer:  6-mil polyethylene, laid dry over membrane.

Protection Course:	PC-2 by W.R. Meadows, having a thickness of [---] inch, loose laid.

Drainage Mat:	Paradrain Drainage Mat, loose laid.

Insulation:	Extruded polystyrene insulation, having a thickness of [---] inch(es), loose laid.

Protective Filter Fabric:  Filter Fabric, loose laid.

Pavers:	Pedestal-mounted paver system, installed in strict accordance with the requirements of paver manufacturer.

Pavers:	Concrete pavers, installed in strict accordance with the requirements of the paver manufacturer.

Ballast:	River-washed stone ballast, installed according to the specified requirements.

NOTE:	Select applicable overburden items from above.  Delete items as necessary.

1.06  SUBMITTALS

All submittals which do not conform to the following requirements will be rejected.

A.	Submittals of Equals:  Submittals for primary plaza deck waterproofing systems to be considered as equals to the specified system shall be made no less than 10 days prior to bid date.  Plaza deck waterproofing systems which have been reviewed and accepted as equals to the specified plaza deck waterproofing system will be listed in an addendum prior to bid date; only then will equals be accepted at bidding.  Submittals of equals prior to bid shall include:

1.	Two 8-inch x 10-inch samples of the primary plaza deck waterproofing and flashing sheets.

2.	Latest edition of the waterproofing system manufacturer's specifications and installation instructions.

3.	Descriptive list of the materials proposed for use.

4.	Evidence of Underwriters' Laboratories Class [-----] acceptance of the proposed waterproofing system.  No other testing agency approvals will be accepted.

*   NOTE: UL Rating must be preselected. Flashings are listed.

5.	Letter from the proposed primary roofing manufacturer confirming that a phased roof application, with only the modified bitumen base ply in place for a period of up to 10 weeks, is acceptable and approved for this project.

6.	List of 3 of the proposed primary roofing manufacturer's projects, located in the United States, of equal size and degree of difficulty which have been performing successfully for a period of at least 5 years.

7.	Letter from the proposed primary roofing manufacturer confirming that the filler content in the elastomeric blend of the proposed roof membrane and flashing components does not exceed 35% in weight.

8.	Complete list of material physical and mechanical properties for each sheet including: weights and thicknesses; low temperature flexibility; elongation @ maximum load; elongation @ 5% maximum load (ultimate elongation); dimensional stability; high temperature stability; and resistance to thermal shock (foil faced products).

9.	Letter from the proposed primary roofing manufacturer confirming that the proposed roof membrane and flashing components meet or exceed the physical and mechanical requirements listed in Part 2 of this specification.

10.	Sample copy of the specified guarantee.

B.	Submittals Prior to Contract Award:

1.	Letter from the proposed primary waterproofing system manufacturer confirming that the bidder is an acceptable Contractor authorized to install the proposed system.

2.	Letter from the primary waterproofing system manufacturer stating that the proposed application will comply with the manufacturer's requirements in order to qualify the project for the specified guarantee.

C.	Submittals Prior to Project Close-out:

1.	In addition to the guarantee, furnish to the Owner the manufacturer's printed recommendations for proper maintenance of the specified plaza deck waterproofing system including inspection frequencies, penetration addition policies, temporary repairs, and leak call procedures.

1.07  QUALITY ASSURANCE

A.	Acceptable Products:  Primary waterproofing products, including each type of sheet, shall be supplied by a single manufacturer which has been successfully producing the specified types of primary products for not less than 5 years.  The primary waterproofing products shall have maintained a consistent composition for a minimum of five years.

B.	Acceptable Contractor:  Have a minimum of 2 years experience in successfully installing the same or similar materials and be certified in writing by the waterproofing materials manufacturer to install the primary plaza deck waterproofing products.

C.	Project Acceptance:  Submit a completed manufacturer's application for plaza deck guarantee form along with shop drawings of the decks showing all dimensions, penetrations, and details.  The form shall contain all the technical information applicable to the project including deck types, slopes, and manufacturer's membrane assembly proposed for installation.  The form shall also contain accurate and complete information requested including proper names, addresses, zip codes, and telephone numbers.  The project must receive approval, through this process, prior to shipment of materials to the project site.

D.	Scope of Work:  The work to be performed under this specification shall include but is not limited to the following:  attend necessary job meetings and furnish competent and full time supervision, experienced mechanics, all materials, tools, and equipment necessary to complete, in an acceptable manner, the membrane installation in accordance with this specification.  Comply with the latest written application instructions of the manufacturer of the primary waterproofing products.

E.	Local Regulations:  Conform to regulations of public agencies, including any specific requirements of the city and/or state of jurisdiction.

F.	Manufacturer Requirements:  The primary membrane materials manufacturer shall provide trained company personnel to attend necessary job meetings, perform periodic inspections as necessary, and conduct a final inspection upon successful completion of the project.

1.08  PRODUCT DELIVERY STORAGE AND HANDLING

A.	Delivery:  Deliver materials in the manufacturer's original sealed and labeled containers and in quantities required to allow continuity of application.

B.	Storage:  Store materials out of direct exposure to the elements.  Store roll goods on a clean, flat and dry surface.  All material stored on the deck overnight shall be stored on pallets.  Rolls must be stored on ends.  Store materials in a manner so as to preclude overloading of deck and building structure.  Store materials such as solvents, adhesives and asphalt cutback products away from open flames, sparks or excessive heat.  Cover all material using a breathable cover such as a canvas.  Polyethylene or other non-breathable plastic coverings are not acceptable.

C.	Handling:  Handle all materials in such a manner as to preclude damage and contamination with moisture or foreign matter.  Handle rolled goods to prevent damage to edges or ends.

D.	Damaged Material:  Any materials that are found to be damaged or stored in any manner other than that stated above will be automatically rejected, removed, and replaced at the Contractor's expense.

1.09  PROJECT/SITE CONDITIONS

A.	Requirements Prior to Job Start

1.	Notification:  Give a minimum of 5 days notice to the Owner and manufacturer prior to commencing any work and notify both parties on a daily basis of any change in work schedule.

2.	Permits:  Obtain all permits required by local agencies and pay all fees which may be required for the performance of the work.

3.	Safety:  Familiarize every member of the application crew with all fire and safety regulations recommended by OSHA, NRCA, and other industry or local governmental groups.

B.	Environmental Requirements

1.	Precipitation:  Do not apply plaza deck waterproofing materials during precipitation or in the event there is a probability of precipitation during application.  Take adequate precautions to ensure that materials, applied membrane, and building interiors are protected from possible moisture damage or contamination.

C.	Protection Requirements

1.	Membrane Protection:  Provide protection against staining and mechanical damage for newly applied waterproofing and adjacent surfaces throughout this project.

2.	Torch Safety:  Crew members handling torches shall be trained by an Authorized Certified Roofing Torch Applicator (CERTA) Trainer, be certified according to CERTA torch safety guidelines as published by the National Roofing Contractor's Association (NRCA), and follow torch safety practices as required by the contractor's insurance carrier.  Designate one person on each crew to perform a daily fire watch.  The designated crew member shall watch for fires or smoldering materials on all areas during roof construction activity, and for the minimum period required by CERTA guidelines after roofing material application has been suspended for the day.

3.	Limited Access:  Prevent access by the public to materials, tools, and equipment during the course of the project.

4.	Debris Removal:  Remove all debris daily from the project site and take to a legal dumping area authorized to receive such materials.

5.	Site Condition:  Complete, to the Owner's satisfaction, all job site clean-up including building interior, exterior, and landscaping where affected by the construction.

1.10  GUARANTEE/WARRANTY

A.	Guarantee:  Upon successful completion of the project, and after all post installation procedures have been completed, furnish the Owner with the manufacturer's [10, 15, 20] year labor and materials membrane guarantee.  The guarantee shall be a term type, without deductibles or limitations on coverage amount, and shall be issued at no additional cost to the Owner.  This guarantee shall not exclude random areas of ponding from coverage.

>	Siplast [10, 15, 20] Year Plaza Deck Membrane Guarantee

The above item is applicable when a membrane guarantee covering the plaza deck membrane/flashing system is required.

PART 2  PRODUCTS

2.01  DESCRIPTION OF SYSTEMS

A.	Plaza Deck Waterproofing Membrane Assembly:  A plaza deck waterproofing membrane assembly consisting of 2 plies of a prefabricated, reinforced, homogeneous Styrene-Butadiene-Styrene (SBS) block copolymer modified asphalt membrane, applied over a prepared substrate.  The assembly shall possess waterproofing capability, such that a phased application, with only the modified bitumen base ply in place, can be achieved for prolonged periods of time without detriment to the watertight integrity of the entire waterproofing system.  The modified bitumen finish ply shall be fully adhered to the modified bitumen base ply.  Each sheet of the assembly shall meet the following physical requirements as a minimum.

>	Siplast Paradiene 20 TG / Teranap Plaza Deck Waterproofing System

1.	Modified Bitumen Base and Stripping Ply

a)	Thickness (avg):  114 mils (2.9 mm)  (ASTM D 5147)

b)	Thickness (min):  110 mils (2.8 mm)  (ASTM D 5147)

c)	Weight (min per 100 ft² of coverage):  76 lb (3.7 kg/m²)

d)	Maximum filler content in elastomeric blend:  35% by weight

e)	Low temperature flexibility @ -15º F (-26º C) - PASS  (ASTM D 5147)

f)	Maximum Load (avg) @ 73ºF (23ºC):  30 lbf/inch (5.3 kN/m) (ASTM D 5147)

g)	Maximum Load (avg) @ 0ºF (-18ºC):  75 lbf/inch (13.2 kN/m) (ASTM D 5147)

h)	Elongation @ 5% Maximum Load (avg.) @ 73ºF (23ºC):  50%  (ASTM D 5147)

i)	Dimensional Stability (max):  0.1%  (ASTM D 5147)

j)	High Temperature Stability (min):  250ºF (121ºC)  (ASTM D 5147)

k)	Approvals:  UL Class listed, FM Approved (products shall bear seals of approval)

l)	Reinforcement:  fiberglass mat or other meeting the performance and dimensional stability criteria

>	Paradiene 20 TG

2.	Cant Backing Sheet and Flashing Reinforcing Ply

a)	Thickness (avg):  102 mils (2.6 mm)  (ASTM D 5147)

b)	Thickness (min):  98 mils (2.5 mm)  (ASTM D 5147)

c)	Weight (min per 100 ft² of coverage):  72 lb (3.5 kg/m²)

d)	Maximum filler content in elastomeric blend:  35% by weight

e)	Low temperature flexibility @ -15º F (-26º C) - PASS  (ASTM D 5147)

f)	Peak Load (avg) @ 73ºF (23ºC):  30 lbf/inch (5.3 kN/m) (ASTM D 5147)

g)	Peak Load (avg) @ 0ºF (-18ºC):  75 lbf/inch (13.2 kN/m) (ASTM D 5147)

h)	Ultimate Elongation (avg.) @ 73ºF (23ºC):  50%  (ASTM D 5147)

i)	Dimensional Stability (max):  0.1%  (ASTM D 5147)

j)	Compound Stability (min - sheet):  250ºF (121ºC)  (ASTM D 5147)

k)	Compound Stability (min – adhesive coating):  212ºF (100ºC)  (ASTM D 5147)

l)	Approvals:  UL Class listed, FM Approved (products shall bear seals of approval)

m)	Reinforcement:  fiberglass mat or other meeting the performance and dimensional stability criteria

n)	Back Surfacing:  polyolefin film

>	Siplast Paradiene 20 SA

3.	Modified Bitumen Finish Ply and UV Protected Flashing Ply

a)	Thickness (avg):  157 mils (4.0 mm)  (ASTM D 5147)

b)	Thickness (min):  154 mils (3.9 mm)  (ASTM D 5147)

c)	Weight (min per 100 ft² of coverage):  107 lb (5.2 kg/m²)

d)	Maximum filler content in elastomeric blend:  35% by weight

e)	Low temperature flexibility @ -15º F (-26º C) - PASS  (ASTM D 5147)

f)	Peak Load (avg) @ 73ºF (23ºC):  60 lbf/inch (10.5 kN/m) (ASTM D 5147)

g)	Peak Load (avg) @ 0ºF (-18ºC):  95 lbf/inch (16.6 kN/m) (ASTM D 5147)

h)	Elongation @ 5% Maximum Load (avg.) @ 73ºF (23ºC):  95%  (ASTM D 5147)

i)	Dimensional Stability (max):  <0.1%  (ASTM D 5147)

j)	High Temperature Stability (min):  250ºF (121ºC)  (ASTM D 5147)

k)	Reinforcement - non-woven polyester geotextile

l)	Surfacing - polyester protective film

>	Siplast Teranap

B.	Flashing Membrane Assembly:  A flashing membrane assembly consisting of a prefabricated, reinforced, Styrene-Butadiene-Styrene (SBS) block copolymer modified asphalt membrane with a continuous, channel-embossed metal-foil surfacing.  The finish ply shall conform to ASTM D 6298 and the following physical and mechanical property requirements.

>	Siplast Veral flashing system, aluminum finish

1.	Cant Backing Sheet and Flashing Reinforcing Ply

a)	Thickness (avg):  102 mils (2.6 mm)  (ASTM D 5147)

b)	Thickness (min):  98 mils (2.5 mm)  (ASTM D 5147)

c)	Weight (min per 100 ft² of coverage):  72 lb (3.5 kg/m²)

d)	Maximum filler content in elastomeric blend:  35% by weight

e)	Low temperature flexibility @ -15º F (-26º C) - PASS  (ASTM D 5147)

f)	Peak Load (avg) @ 73ºF (23ºC):  30 lbf/inch (5.3 kN/m) (ASTM D 5147)

g)	Peak Load (avg) @ 0ºF (-18ºC):  75 lbf/inch (13.2 kN/m) (ASTM D 5147)

h)	Ultimate Elongation (avg.) @ 73ºF (23ºC):  50%  (ASTM D 5147)

i)	Dimensional Stability (max):  0.1%  (ASTM D 5147)

j)	Compound Stability (min - sheet):  250ºF (121ºC)  (ASTM D 5147)

k)	Compound Stability (min – adhesive coating):  212ºF (100ºC)  (ASTM D 5147)

l)	Approvals:  UL Class listed, FM Approved (products shall bear seals of approval)

m)	Reinforcement:  fiberglass mat or other meeting the performance and dimensional stability criteria

n)	Back Surfacing:  polyolefin film

>	Siplast Paradiene 20 SA

2.	Metal-Clad Modified Bitumen Flashing Sheet

a)	Thickness (avg):  142 mils (3.6 mm)  (ASTM D 5147)

b)	Thickness (min):  138 mils (3.5 mm)  (ASTM D 5147)

c)	Weight (min per 100 ft² of coverage):  92 lb (4.5 kg/m²)

d)	Coating Thickness – back surface (min):  40 mils (1 mm)  (ASTM D 5147)

e)	Maximum filler content in elastomeric blend:  35% by weight

f)	Low temperature flexibility @ 0º F (-18º C):  PASS  (ASTM D 5147)

g)	Maximum Load (avg) @ 73ºF (23ºC):  85 lbf/inch (15 kN/m)  (ASTM D 5147)

h)	Maximum Load (avg) @ 0ºF (-18ºC):  180 lbf/inch (31.7 kN/m)  (ASTM D 5147)

i)	Elongation @ 5% Maximum Load (avg) @ 73ºF (23ºC):  45%  (ASTM D 5147)

i)	Tear-Strength (avg):  120 lbf (0.54 kN)  (ASTM D 5147)

j)	Dimensional Stability (max):  0.2%  (ASTM D 5147)

k)	High Temperature Stability (min):  225ºF (107ºC)  (ASTM D 5147)

l)	Cyclic Thermal Shock Stability (maximum):  0.2%  (ASTM D 6298)

m)	Approvals:  UL Approved, FM Approved (products shall bear seals of approval)

n)	Reinforcement:  fiberglass scrim mat or other meeting the performance and dimensional stability criteria

o)	Surfacing:  aluminum metal foil

>	Siplast Veral Aluminum

2.02  ROOFING ACCESSORIES

A.	Bituminous Cutback Materials

1.	Primer:  A high flash, quick drying, asphalt solvent blend which meets or exceeds ASTM D 41 requirements.

>	Siplast PA-1125 Asphalt Primer by Siplast; Irving, TX

1.	Primer:  An asphalt/solvent blend meeting ASTM D 41, South Coast Air Quality District and Ozone Transport Commission requirements.

>	Siplast PA-917 LS Primer by Siplast; Irving, TX

2.	Mastics:  An asphalt cutback mastic, reinforced with non-asbestos fibers, used as a base for setting metal flanges conforming to ASTM D 4586 Type II requirements.

>	Siplast PA-1021 Plastic Cement by Siplast; Irving, TX

B.	Sealant:  A moisture-curing, non-slump elastomeric sealant designed for roofing applications.  The sealant shall be approved by the roof membrane manufacturer for use in conjunction with the roof membrane materials.  Acceptable types are as follows:

>	Siplast PS-304 Elastomeric Sealant by Siplast; Irving, TX

C.	Membrane Protection Layer:  A membrane protection layer (slip sheet) consisting of a polyethylene material having a minimum thickness of 6 mils.

D.	Prefabricated Drainage Mat:  A two-part prefabricated sheet drain and protection board consisting of a formed polystyrene core covered on one side with a woven polypropylene filter fabric, designed for high compression applications.

>	Siplast Paradrain Drainage Mat by Siplast; Irving, TX

E.	Protection Board:  Multi-ply semi rigid board, composed of mineral-fortified asphalt core formed between two outside layers of asphalt-impregnated fiberglass mat, weathercoated and covered with a polyethylene anti-stick sheet.  Panels shall have a nominal thickness of [---] inch.

>	PC-2 by W.R. Meadows; Hampshire, IL

F.	Extruded Polystyrene Insulation (XEPS):  A continuous closed-cell, high compression strength polystyrene foam panel conforming to ASTM C 578.  Panels to be constructed for use in protected roofing/waterproofing membrane assemblies having with drainage channels on the bottom surface.  Provide panels having a minimum compression strength of [40, 60] psi nominal, a thickness of [---] inches.

>	Styrofoam Roofmate by the Dow Chemical Company, Midland, MI

>	FOAMULAR 404 by Owens Corning Foam Insulation, LLC; Toledo, Ohio

>	Styrofoam Plazamate by the Dow Chemical Company, Midland, MI

>	FOAMULAR 604 by Owens Corning Foam Insulation, LLC; Toledo, Ohio

G.	Filter Fabric:  A filter fabric used for placement between the polystyrene insulation system and the stone ballast, consisting of a non-woven polypropylene geotextile fabric with a random three-dimensional pore structure.

H.	Paver System:  Heavyweight, hydraulically pressed, concrete units, square edged for use as plaza deck pavers, conforming to the following physical and mechanical requirements.

a)	Weight (per square foot of coverage):  32 lb

b)	Dimension 23-1/2 x 23-1/2 inches

c)	Thickness:  2 inches

d)	Finish:  Thermal flamed granite

>	Granite Paver by Hanover Architectural Products, Inc., Hanover, PA

I.	Paver Supports:  The specified paver manufacturer’s high-density polyethylene paver support assembly having an octagonal grid-like structure with integral 1/8 inch spacer tabs.

>	High-Tab Pedestals by Hanover Architectural Products, Inc., Hanover, PA

I.	Paver Supports:  The paver manufacturer’s high-density polyethylene paver support assembly consisting of stackable units designed to level paver systems.

>	Compensator® Paver Leveling System by Hanover Architectural Products, Inc., Hanover, PA

I.	Paver Supports:  The paver manufacturer’s adjustable height, high-density polyethylene paver support assembly consisting of a top plate with an integral surface pad and 1/8 inch spacer tabs.  The pedestals system shall include couplers with a circular flange having multiple eyelets for tie bracing.  (Bracing is required for elevations from 16 to 24 inches).

>	Elevator® Pedestal System by Hanover Architectural Products, Inc., Hanover, PA

I.	Paver Supports:  The paver manufacturer’s high-density polyethylene paver support assembly consisting of a 3-piece pedestal designed to lock down the paver system.  The top of the pedestal shall be square, designed to fit within the recessed corners of the specified paver, allowing for mechanical attachment of the top to the pedestal base.

>	Guardian® Pedestal System by Hanover Architectural Products, Inc., Hanover, PA

H.	Paver System:  Heavyweight, hydraulically pressed, concrete units, square edged for use as plaza deck pavers, conforming to the following physical and mechanical requirements.

a)	Compressive strength:  8,500 psi

b)	Maximum absorption:  Less than 5%

c)	Weight (per square foot of coverage):  25 lb

d)	Nominal dimensions:  2 feet by 2 feet by 2 inches

e)	Maximum mass loss when tested for freeze/thaw:  1% (ASTM C 67)

f)	Finish:  Tudor

>	Prest Pavers by Hanover Architectural Products, Inc., Hanover, PA

H.	Paver System:  Heavyweight, hydraulically pressed, concrete units for use as plaza deck pavers, designed to provide a monolithic surface for enhanced wind uplift resistance.  The corners of the paver shall be recessed to allow accommodate a square clip to anchor the corners of the paver to the pedestal.  The pavers shall also conform to the following physical and mechanical requirements.

a)	Compressive strength:  8,500 psi

b)	Maximum absorption:  Less than 5%

c)	Weight (per square foot of coverage):  25 lb

d)	Nominal dimensions:  2 feet by 2 feet by 2 inches

e)	Maximum mass loss when tested for freeze/thaw:  1% (ASTM C 67)

f)	Finish:  Tudor

>	Guardian® Roof Paver System by Hanover Architectural Products, Inc., Hanover, PA

G.	Wood Paver System:  Pavers fabricated from ipe wood units for use as plaza deck pavers.  The ends of the pavers shall be sealed with wax to prevent splitting.  The pavers shall be mounted on the specified adjustable height pedestal system and incorporate a specialized fastener to anchor the tiles to the pedestal support without penetrating the wood pavers.

a)	Janka Hardness:  3,680 lbf

b)	Weight:  5.63 psf

c)	Nominal dimensions:  [23 7/8 inches x 23 7/8 inches x 1.69 inches][ 23 7/8” x 47 7/8” x 1.69”]

>	Bison Wood Tiles®  by Westile, Inc., Littleton, CO

I.	Paver Supports:  The paver manufacturer’s adjustable height, high-density polyethylene paver support assembly consisting of a top plate with an integral surface pad and 1/8 inch spacer tabs.  The pedestals system shall include couplers with a circular flange.

>	Screwjack® Pedestal System by Westile, Inc., Littleton, CO

I.	River-Rock Ballast:  River washed rock used to ballast the insulation assembly shall meet the ASTM D 448 #57 requirements.  Diameter of the rock particles shall maintain a nominal 3/4 inch to a maximum 1-1/2 inch range.

PART 3 EXECUTION

3.01  PREPARATION

A.	General:  Sweep or vacuum all surfaces, removing all loose aggregate, soil, and foreign substances prior to commencement of waterproofing.

B.	Remove All Existing:

- Surfacing

- Waterproofing membrane

- Insulation

- Base flashings

- Edge metal

- Flanged metal flashings

- Cants, wood blocking

- Walkways

- Non-functional penetrations/curbs

- Drain assemblies

- Vapor retarder

- Metal trim, counterflashing, etc.

3.02  PLAZA DECK MEMBRANE INSTALLATION

A.	Membrane Application:  Apply plaza deck waterproofing in accordance with system manufacturer's instructions and the following requirements.

B.	Priming:  Prime metal, concrete and masonry surfaces with a uniform coating of the specified asphalt primer.

C.	Plaza Deck Membrane Application.  Apply all layers of membrane free of wrinkles, creases or fishmouths.  Exert sufficient pressure on the roll during application to ensure prevention of air pockets.

1.	Apply all layers of membrane perpendicular to the slope of the deck.

2.	Fully bond the base ply to the prepared substrate, utilizing a minimum 3 inch side and end laps.  Apply each sheet directly behind the torch applicator.  Cut a dog ear angle at the end laps on overlapping selvage edges.  Using a clean trowel, apply top pressure to top seal T-laps immediately following sheet application.  Stagger end laps a minimum of 3 feet.

3.	Fully bond the finish ply to the base ply, utilizing a minimum of [4-inch, 6-inch] side and end laps.  Apply each sheet directly behind the torch applicator.  Cut a dog ear angle at the end laps on overlapping selvage edges.  [1M Film - Prepare the surface area of the finish ply end lap by burning off the protective surface film using a torch.]  Using a clean trowel, apply top pressure to top seal T-laps immediately following sheet application.  Stagger end laps a minimum of 3 feet.

D.	Flashing Application:  Flash walls and curbs using the specified reinforcing sheet and the flashing membrane.  After the base ply has been applied to butt the vertical flashing substrate, prime the base ply surfaces to receive the reinforcing sheet.  Fully adhere the reinforcing sheet, utilizing minimum 3 inch side laps, 4 inches onto the primed base ply surface and up the primed wall or curb to the desired flashing height.  After the final roofing ply has been applied to butt the vertical flashing substrate, prepare the surface area that is to receive flashing coverage by torch heating film surfaces or by application of asphalt primer; allowing the primer to dry thoroughly.  Torch apply the flashing sheet into place using three foot widths (cut off the end of roll) always lapping the factory selvage edge.  Stagger the laps of the flashing layer from lap seams in the reinforcing layer.  Extend the flashing sheet a minimum of 6 inches beyond the vertical flashing substrate onto the prepared surface of the finished roof and up the wall or curb to the desired flashing height.  Check and seal all loose laps and edges.  Nail the top edge of the flashing on 9 inch centers.  (See manufacturer's schematic for visual interpretation).

E.	Water Cut-Off:  At end of the day's work, or when precipitation is imminent, construct a water cut-off at all open edges.  Cut-offs can be built using plastic cement or pieces of the field membrane constructed to withstand protracted periods of service.  Cut-offs must be completely removed prior to the resumption of roofing.

3.03  SYSTEM INTERFACE WITH RELATED COMPONENTS

A.	Lead Pipe Flashings:  Completely prime the lead flanges and allow to dry prior to installation.  After the base ply has been applied, set the flange in mastic and strip-in the flange using the stripping-ply material, extending a minimum of 4 inches beyond the edge of the flange.  Terminate the finish ply at the flange-sleeve juncture of the pipe flashing.  SEE ITEM: SEALANT for finish of this detail.

B.	Lead Drain Flashings:  Completely prime the lead drain flashing and allow to dry prior to installation.  After the base ply has been applied, set the lead flashing sheet in mastic and form to turn down inside of the drain bowl.  Ply-in the perimeter of the lead flashing using an additional layer of the base ply material, overlapping the perimeter of the lead a minimum of 4 inches.  Terminate the finish ply to extend beneath the clamping ring seal.  Install the clamping ring with all bolts in place.

C.	Sealant:  Apply a smooth continuous bead of the specified sealant at the exposed finish ply edge transition to metal flashings incorporated into the roof system.

D.	Membrane Protection Layer:  Place the specified polyethylene slip sheet unadhered directly over all areas of the newly applied membrane, extending to walls, curbs, and other related junctures.  Lap the polyethylene sheets a minimum 6 inches at the sides and ends.

E.	Drainage Mat:  Place the specified drainage mat with the polyethylene filter fabric side up, unadhered directly over all areas of the newly applied membrane, extending to walls, curbs, and other related junctures.

F.	Protection Board:  Place the protection board unadhered directly over the [insulation panels, roof surface] with the end joints staggered.  Install the panels to fit tightly; leaving a maximum opening between panels of 3/8 inch.  Closely abut walls, penetrations, and projections leaving a maximum opening between panels and projections of 3/4 inch.

G.	Insulation:  Place the specified insulation unadhered directly over the [membrane protection layer, drainage mat], with the channeled edges down.  Install the panels to fit tightly; leaving a maximum opening between panels of 3/8 inch.  Closely abut walls, penetrations, and projections leaving a maximum opening between panels and projections of 3/4 inch.  Conform to the following requirements where insulation is installed in multiple-layer configurations.

a)	The bottom layer must be the thickest layer in the insulation configuration, and have a minimum thickness of 2 inches.

b)	Stagger the panel joints between insulation layers.

c)	Install all layers unadhered.

H.	Filter Fabric:  Place the specified filter fabric unadhered directly over the insulation.  Overlap edges and ends of the fabric a minimum of 1 foot.  Extend the fabric a minimum 3 inches above the stone/gravel ballast at all penetrations with the exception of drains.  Do not lap the fabric within 6 feet of the perimeter of the area.  Immediately install ballast over the fabric to prevent heat-buildup beneath the fabric.  High temperatures may result in damage to the underlying insulation panels.  The use of a light-color tarp should be considered if fabric is to be exposed in hot weather or when exposed to severe UV.

J.	Ballast:  Installation of gravel ballast must follow the instructions of the insulation manufacturer and the following requirements.

1.	Distribute the gravel ballast evenly over the insulation/filter fabric at a minimum rate of 1000 lb/sq.

2.	Provide for a ballast distribution at the roof perimeter of 2000 lb/sq in an area extending 4 feet in from the perimeter.

K.	Pedestals/Pavers:  Install the pedestals/pavers following the instructions and requirements of the insulation and pedestal/paver manufacturer, including specifications for perimeter securement and incorporation of metal fabricated restrainments at the perimeter.  [For applications that require mechanical attachment of the corners of the paver to the pedestal base, ensure that the fastener is snug without overtightening.  Prior to installation of the pavers, apply a generous setting bed of the specified elastomeric sealant to the bottom of the pedestal base and adhere it to the specified waterproofing membrane.]

* NOTE:	The green text is only necessary when specifiying the Guardian Paver System.  The red text is only necessary when the Guardian System follows the appropriate Miami-Dade tested assembly for wind uplift resistance.

* NOTE:	The roof membrane system must be inspected by the manufacturer's representative prior to installation of the overburden/protection system.  The manufacturer's representative will compile required punch list items indicating any deficiencies in the roof membrane and flashing membrane system that shall be corrected before the installation will be accepted.

3.04  FIELD QUALITY CONTROL AND INSPECTIONS

A.	Site Condition.  All areas around job site shall be free of debris, waterproofing materials, equipment, and related items after completion of job.

B.	Notification Of Completion:  Notify the manufacturer by means of manufacturer's printed Notification of Completion form of job completion in order to schedule a final inspection date.

C.	Water Test:  Prior to the application of the overburden plug the drains and scuppers, and flood the waterproofing surface with water a minimum of 1 to 2 inches deep.  Leave the water for a minimum of 24 hours to ensure the system is leak free.

* NOTE:	Precautions must be taken to determine if the structure can hold the weight of the water for the duration of the test.

D.	Final Inspection:

1.	Post-Installation Meeting:  Hold a meeting at the completion of the membrane application (prior to the application of the drainage layer and soil) attended by all parties that were present at the pre-job conference.  A punch list of items required for completion shall be compiled by the Contractor and the manufacturer's representative.  Complete, sign, and mail the punch list form to the manufacturer's headquarters.

2.	Drain Verification:  At final inspection of all work, verify that all drains, scuppers, etc., are functioning properly.  Drains shall have adequate strainers.

E.	Issuance Of The Guarantee.  Complete all post installation procedures and meet the manufacturer's final endorsement for issuance of the specified guarantee.