Sto Essence DPR

Coatings for Insulated Concrete Forms (ICF)

Specification F 611

This specification is intended for use by the design professional/specifier and user of Sto products to assist in developing project specifications for the application of Sto materials to new ICF that meet the requirements of the project specifications. Notes in italics, such as this one, are explanatory and intended to guide the design professional/specifier and user in the proper selection and use of materials. This specification should be modified where necessary to accommodate individual project conditions.

ICF walls are mass wall construction and as such do not provide for secondary drainage behind the coatings.  The integration of overhangs and flashing should be designed into the ICF wall assembly to protect against water intrusion.  Sto coatings comprise part of the building envelope.  The installation of Sto coatings must be properly sequenced to integrate flashings, rough opening protection and water proofing to ensure that the building envelope remains dry and durable.

This specification is for Sto coatings only.  Evaluation of specific ICF wall systems and their suitability for a specific project are the responsibility of the designer or specifier. The party selecting the ICF should be aware that quality of ICF products may vary between manufacturers.  Variable density of EPS and blocks out of square will affect the final appearance of the applied coatings.  In addition, ‘blow-outs’ or other construction related defects may compromise the final surface of the ICF.   Sto coatings are thin and not meant to correct deficiencies in the surface of the ICF.  If there is concern that ICF or the finished ICF construction is not suitable for direct application of Sto coatings, the specifier or user may wish to consider installing a Sto EIFS or StoPowerwall™ stucco cladding over the forms instead of coatings.

PART 1  GENERAL

1.01    SUMMARY

A.    Materials and installation of the Sto Coatings for Insulated Concrete Forms 
(ICF) and waterproofing (where ICF are used below grade).

B.    RELATED SECTIONS (add/delete, depending on specific project requirements):

- Section 03 11 19:	Insulating Concrete Forming

- Section 07 62 00:	Sheet Metal Flashing and Trim

- Section 07 92 00:	Sealants and Caulking

- Section 08 40 00: 	Exterior Entrance Doors

- Section 08 50 00: 	Exterior Windows

1.02	SUBMITTALS

A. 	Coating manufacturer’s specifications, details, installation instructions and product data.

B. 	Samples for approval as directed by architect or owner.

C. 	Manufacturer's standard material warranty.

D. 	A list of minimum three (3) job references.

E. 	Prepare and submit project-specific details (when required by contract documents).

1.03   	REFERENCES

A.      ASTM Standards:

1.   B 117   	Test Method for Salt Spray (Fog) Testing

2.   C 150   	Specification for Portland Cement

3.   C 1135  	Test Method for Determining Tensile Adhesion Properties of Structural Sealants

4.   D 968   	Test Method for Abrasion Resistance of Organic Coatings by Falling Abrasive

5.   D 2247  	Practice for Testing Water Resistance of Coatings in 100% Relative Humidity

6.   D 3273  	Test for Resistance to Growth of Mold on the Surface of Interior Coatings in an Environmental Chamber

7.   E 84      	Test Method for Surface Burning Characteristics of Building Materials

8.   E 119   	Method for Fire Tests of Building Construction and Materials

9.   G 153      	Recommended Practice for Operating Light- and Water-Exposure Apparatus (Carbon-Arc Type) for Exposure of Nonmetallic Materials

10. G 154      	Recommended Practice for Operating Light- and Water-Exposure Apparatus (Fluorescent UV-Condensation Type) for Exposure of Nonmetallic Materials

11. E 2486	Test Method for Impact Resistance of Exterior Insulation and Finish Systems

1.04    	DESIGN REQUIREMENTS

A.	Wind Load

      - Design for maximum allowable deflection, normal to the plane of the wall, of L/360.

      - Design for wind load in conformance with code requirements.

B.	Moisture Control

1.	Prevent the accumulation of water behind coatings or into the ICF, either by condensation in the wall assembly or leakage through other components of construction, by proper design and detailing of the ICF wall assembly and related construction.

C.	Grade Condition

- Do not specify the finish for use below grade or on surfaces subject to continuous or intermittent water immersion or hydrostatic pressure.

  - Sloped surfaces, including trim, projecting architectural features and reveals.

- All trim and projecting architectural features must have a minimum 1:2 [27] slope along their top surface. All horizontal reveals must have a minimum 1:2 [27] slope along their bottom surface. Increase slope for northern climates to prevent accumulation of ice/snow and water on surface. Where trim/feature or bottom surface of reveal projects more than 2 inches (51 mm) from the face of the wall plane, protect the top surface with waterproofing. Periodic inspections and increased maintenance may be required to maintain surface integrity of finish on weather exposed sloped surfaces.  Limit projecting features to easily accessible areas and limit total area to facilitate maintenance and minimize maintenance burden.

- Do not use finish on horizontal or near horizontal weather exposed surfaces such as tops of parapets, projecting ledges, sills, or other projecting features.  Protect such surfaces with metal coping or flashing with drip edge.

  - Joints

    - Indicate location of joints and joint type on architectural drawings.

    - Design expansion joints in the system where they exist in the substrate or supporting construction, and where the system adjoins dissimilar construction or materials. Design minimum 1/2 inch (13 mm) wide sealant joints at windows and other penetrations through the system (decks, hose bibs etc.). Specify compatible backer rod and sealant, or suitable accessories for system terminations or joints. Provide appropriate sealant at joints and terminations of finish with adjoining construction or dissimilar materials.

    - Prevent application of finish over isolation, expansion, cold or control joints in construction.

    - Prevent application of finish along inside edges of joint.  Apply to outside face of wall only.

      - Substrate.

1.  	  Specify the Sto Coatings for Insulated Concrete Forms (ICF) only for ICF systems that have non-metallic form ties embedded within the form that will not be exposed by surface rasping.  All other ICF systems may be clad with a minimum 1” (25mm) StoTherm® EIFS or StoPowerwall™ stucco.

- Sloped surfaces, including EIFS trim and projecting architectural features attached to ICF.

## 1.	   Build out trim and projecting architectural features from the ICF wall surface with EIFS.  All EIFS trim and projecting architectural features must have a minimum 1:2 [27] slope along their top surface. All EIFS horizontal reveals must have a minimum 1:2 [27] slope along their bottom surface. Increase slope for northern climates to prevent accumulation of ice/snow and water on surface. Where trim/feature or bottom surface of reveal projects more than 2 inches (50 mm) from the face of the wall plane, protect the top surface with waterproof base coat.   Avoid the use of trim and features that exceed the maximum allowable thickness of EPS permitted by code (refer to ICF manufacturer’s code report) unless approved by the code official. Periodic inspections and increased maintenance may be required to maintain surface integrity of EIFS on weather exposed sloped surfaces.  Limit projecting features to easily accessible areas and limit total area to facilitate maintenance and minimize maintenance burden. Refer to Sto details.

## Do not use EIFS on weather exposed projecting ledges, sills, or other projecting features unless supported by framing or other structural support and protected with metal coping or flashing.  Refer to Sto details.

- Sto Coatings for Insulated Concrete Forms (ICF) are generally acceptable for buildings classified as combustible type construction.   Buildings classified as noncombustible construction shall use ICF systems listed with a model code evaluation service and Sto Coatings shall be listed in the evaluation service report.

1.05 	PERFORMANCE REQUIREMENTS

A. 	Component Performance – Sto Essence DPR Finish

| Test | Method | Criteria | Result |
| --- | --- | --- | --- |
| Accelerated Weathering | ASTM G-153 | No deleterious effects* at 2000 hours when viewed under 5x magnification | No deleterious effects @ 3000 hours |
| Flexibility | ASTM D-522 | 4” (100 mm) mandrel bend | Pass |
| Water Vapor transmission (US Perms) | ASTM E-96 Modified | 28 days | 34 |
| Chalk Rating | ASTM D-4214 | 5000 hours | 8 (10=best on scale 1-10) |
| Freeze/Thaw Resistance | EIMA 101.01 | 60 cycles | No deleterious effects @ 90 cycles |
| Yellowness Index | ASTM E-313 | 5000 hours | 0.58 (0 = no change; 2 = barely discernable change.) |
| Salt Spray Resistance | ASTM B-117 | 300 hours | No deleterious effects* @ 1000 hours |
| Wind Driven Rain | Fed TT-C555B | 24 hour driving rain | No water penetration |
| Water Resistance | ASTM D-2247 | 14 days | No deleterious effects* @ 42 days |
| Mildew Resistance | ASTM D-3273 | No growth @ 28 days | No growth at 60 days |
| Abrasion Resistance | ASTM D-968 | 528 quarts. (500 liters) Sand | Pass |
| Tensile Adhesion | ASTM E 2134 | No failure in the EPS adhesive, basecoat or finish; minimum 15 psi (103 kPa) | Pass |
| Adhesion (psi) | ASTM D-4541 | 28 Days | > 80 to concrete |
| Fire Resistance | ASTM E -119 | No effect on fire resistance rating of existing rated assembly | Pass |
| Surface Burning | ASTM E-84 | < 25 Flame Spread < 450 Smoke Developed | 0 5 |

* No deleterious effects: no cracking, checking, crazing, erosion, rusting, blistering, peeling or delamination.

B.	Component Performance – Sto Primer/Adhesive-B Base Coat

| Test | Method | Criteria | Result |
| --- | --- | --- | --- |
| Surface Burning | ASTM E-84 | < 25 Flame Spread < 450 Smoke Developed | 0 5 |
| Adhesion (psi) to EPS | ASTM C-297 (modified) | 15 psi (103 kPa), Minimum | Pass |
| Impact Strength | ASTM E 2486 | Standard Impact Classification | Pass |

1.06	QUALITY ASSURANCE

A. 	Coating manufacturer requirements

1. 	Member in good standing of the EIFS Industry Members Association (EIMA).

- Coating manufacturer for a minimum of twenty (25) years.

3.	ISO 9001:2000 registration.

B. 	Contractor requirements

1. 	Engaged in application of the Sto coatings for ICF or similar systems for a minimum of three (3) years.

2. 	Knowledgeable in the proper use and handling of Sto materials and possessing a certificate of completion of Sto on-line applicator test.

3. 	Employ skilled mechanics experienced and knowledgeable in plastering application for ICF, and familiar with the requirements of the specified work.

4. 	Successful completion of minimum three (3) projects of similar size and complexity to the specified project.

5. 	Provide the proper equipment, manpower and supervision on the job site to install the system in compliance with Sto's published specifications and details and the project plans and specifications.

1.07 	DELIVERY, STORAGE AND HANDLING

A. 	Deliver all materials in their original sealed containers bearing manufacturer's name and identification of product.

B. 	Protect coatings (pail products) from freezing 32o F (0o C) and temperatures in excess of 90o F (32o C). Store away from direct sunlight.

C. 	Protect portland cement based materials (bag products) from moisture and humidity. Store under cover, off the ground in a dry location.

1.08 	PROJECT/SITE CONDITIONS

(Weather conditions affect application and drying time. Hot or dry conditions limit working time and accelerate drying and may require adjustments in the scheduling of work to achieve desired results; cool or damp conditions extend working time and retard drying and may require added measures of protection against wind, dust, dirt, rain and freezing.  Moisture from concrete in the ICF may delay the installation of coatings on the ICF until 28 days after the concrete is placed.)

A. 	Maintain ambient and surface temperatures above 40o F (4o C) during application and drying period, minimum 24 hours after application of coatings.

B. 	Provide supplementary heat for installation in temperatures less than 40o F (4o C).

C. 	Provide protection of surrounding areas and adjacent surfaces from application of materials.

1.09 	COORDINATION/SCHEDULING

(The work in this section requires close coordination with related sections and trades.  Building codes require protection of rough openings and the incorporation of flashing to drain water outbound of the cladding.  Sequence work accordingly)

A. 	Install flashings, copings and sealant immediately after installation of the system and when coatings are dry.

1.10 	WARRANTY

A. 	Provide manufacturer's standard coating material warranty.

Part 2  PRODUCTS

2.01   	 MANUFACTURERS

A. 	Sto Corp.

2.02	BASE COAT (select one)

- Sto Primer/Adhesive-B--one-component polymer modified cementitious high build base coat with less than 33 percent Portland cement content by weight.

B.	Sto BTS® Xtra—A lightweight, one component, polymer modified, cementitious base coat for AAC substrates.

- Waterproof Base Coat -- Sto Flexyl—two component, fiber reinforced, acrylic based, waterproof base coat mixed with Portland cement (for use as a waterproof base coat to waterproof foundations, parapets, splash areas, trim and other projecting architectural features).

Note: Sto Watertight Coat is an acceptable substitute for Sto Flexyl.

2.03 	REINFORCING MESH

A. 	Standard Mesh

1. 	Sto Mesh - nominal 4.5 oz./yd.2 (153 g/m2), symmetrical, interlaced open-weave glass fiber fabric made with minimum 20 percent by alkaline resistant coating for compatibility with Sto materials.

B. 	Specialty Mesh

1. 	Sto Corner Mat - nominal 6.25 oz./yd.2 (212 g/m2), pre-creased, heavy-duty open-weave woven glass fiber fabric with alkaline resistant coating for compatibility with Sto materials (used for maximum impact protection at inside and outside corners).

- Sto Detail Mesh - nominal 4.2 oz/yd2 (143 g/m2), flexible, symmetrical, interlaced glass fiber fabric, with alkaline resistant coating for compatibility with Sto materials (used for standard EIFS backwrapping and aesthetic detailing).

- High Impact Mesh

1.	Sto Armor Mat -- --nominal 11.2 oz./yd2 (380 g/m2), high impact, interwoven, open weave glass fiber fabric with alkaline resistant coating for compatibility with Sto materials (achieves High Impact Classification).

2.	Ultra-High Impact Mesh

Sto Armor Mat--nominal 15 oz./yd2 (509 g/m2), ultrahigh impact, 
double strand, interwoven, open-weave glass fiber fabric with alkaline resistant coating for compatibility with Sto materials (recommended to a minimum height of 6’-0” [1.8m] above finished grade at all areas accessible to pedestrian traffic and other areas exposed to abnormal stress or impact.  Achieves UltraHigh Impact Classification when applied beneath Sto Mesh).

2.04 	PRIMER (optional component) (select one)

  - Sto Primer Sand —acrylic based tintable primer for roller application.

  - Sto Primer Smooth – acrylic based tintable primer for roller or spray application.

(NOTE: Priming is strongly recommended as a color base for all finishes, particularly for  "R" [rilled texture] finishes, and fine texture finishes. The primer may be tinted to match the finish color.)

2.05 	FINISH COAT

A. 	Sto Esssence DPR -- acrylic based textured wall finish.

2.06	 MIXING

- Sto Primer/Adhesive-B: mix ratio with water: 6-8 quarts (5.7-7.6 L) of water per 60 pound (27.3 kg) bag of Sto Primer/Adhesive-B. Pour water into a clean mixing pail.  Add Sto Primer/Adhesive-B, mix to a uniform consistency with clean, rust-free electric drill and paddle.   Allow to set for approximately 5 minutes, then remix. Adjust mix if necessary with additional Sto Primer/Adhesive-B or water and remix to a uniform trowel consistency. Avoid retempering. Keep mix ratio consistent.

- Sto BTS® Xtra—mix ratio with water: 4.75-5 quarts (4.5-4.7 L) of clean water per 38 pound (17.2 kg) bag of Sto BTS Xtra. Mix automatically using StoSilo, Sto’s Continuous Mixer or mix manually by pouring water into a clean mixing pail. Add Sto BTS Xtra, mix to a uniform consistency, using a low speed electric drill mixer, and allow to set for approximately 5 minutes. Adjust mix if necessary with additional Sto BTS Xtra or water (maximum 16 fl. oz./0.5 L) and remix to a uniform consistency.

- Sto Flexyl--mix ratio with portland cement: 1:1 ratio by weight.  Pour Sto Flexyl into a clean mixing pail. Add portland cement, mix to a uniform consistency and allow to set for approximately five minutes. Adjust mix if necessary with additional Sto Flexyl and remix to a uniform trowel consistency. Avoid retempering.  Keep mix ratio consistent.

- Sto Primers: mix to a uniform consistency using a clean, rust-free, high-speed electric drill mixer.

- Sto Finish:  mix to a uniform consistency using a clean, rust-free high speed electric drill mixer. A small amount of water may be added to adjust workability. Limit addition of water to amount needed to achieve the finish texture.

- Mix only as much material as can readily be used.

- Do not use anti-freeze compounds or other additives.

Part 3 EXECUTION

3.01 	ACCEPTABLE INSTALLERS

A. 	Prequalify under Quality Assurance requirements of this specification (section 1.06 B).

3.02    	EXAMINATION

A. 	Inspect ICF for:

1. 	Straightness, trueness and uniformity of surface.

2. 	Compliance with tolerances -- horizontal alignment within 1/8 inch in 10 feet (3 mm in 3 m) of the wall length.

3. 	Concrete protruding through the ICF block joints or breakouts.

B. 	Report deviations from the requirements of project specifications or other conditions that might adversely affect the installation to the General Contractor or Builder and do not start installation of Sto materials until deviations are corrected.

3.03 	SURFACE PREPARATION

A.	Level surfaces to comply with required tolerances:

- Where concrete has protruded through the block joints, remove it and fill the void with low expansion urethane foam.  When it is cured rasp it smooth to match the planar surface of the wall.

- Where the forms are damaged resulting in a void in the surface, fill the void with low expansion urethane foam.  When it is cured rasp it smooth to match the planar surface of the wall.

B.	Lightly rasp the surface of the ICF to achieve a level surface and remove any irregularities.

3.04   	 INSTALLATION

A. 	Base Coat Application

1. 	Apply base coat over the ICF with proper spray equipment or a stainless steel trowel to a uniform thickness of approximately 1/16 inch (1.6 mm). Apply base coat in strips of 40 inches (1 m) and immediately embed reinforcing mesh into the wet base coat by troweling from the center to the edge of the mesh. Avoid wrinkles in the mesh. Overlap the mesh minimum 2-1/2 inches (65 mm) at mesh seams.

2. 	The mesh must be fully embedded so that no mesh color shows through the base coat when it is dry. Feather mesh overlaps to avoid reading the mesh through the finish coating. Allow base coat to thoroughly dry before applying primer and finish.

3.	For noncombustible construction application of base coat and mesh must comply with the requirements of the code evaluation reports or listings.

- Primer

1.	Apply Sto Primer with brush, roller or proper spray equipment over the clean, dry base coat and allow to thoroughly dry prior to the application of the finish.

(Note: The combination of EPS insulation and low expansion urethane foams in one substrate may result in the base coat curing different colors.  The use of primer is strongly recommended to ensure that the color differences are not transmitted to the finish.)

- Finish Coat Application

1. 	Apply finish directly over the base coat (or primed base coat) ONLY AFTER THE BASE COAT/PRIMER HAS THOROUGHLY DRIED.  Apply the finish by spraying, or troweling with a stainless steel trowel, depending on finish specified.  General rules for application of finishes are as follows:

a. 	Avoid application in direct sunlight.

b. 	Apply finish in a continuous application, always working to a wet edge.

c. 	Weather conditions affect application and drying time.  Hot or dry conditions limit working time and accelerate drying and may require adjustments in the scheduling of work to achieve desired results; cool or damp conditions extend working time and retard drying and may require added measures of protection against wind, dust, dirt, rain and freezing. Adjust work schedule and provide protection.

d. 	Do not install finish on accessories or sealant.

e.	Float "R" (rilled texture) with a plastic trowel to achieve their rilled texture.

f. 	Do not install separate batches of finish side-by-side.

g. 	Do not apply finish over irregular or unprepared surfaces, or surfaces not in compliance with the project specifications.

D. 	Sealant Installation

1. 	Seal all open joints in the system with appropriate sealant in accordance with sealant manufacturer’s recommendations to prevent any water from getting into or behind the coatings.

ATTENTION

Sto products are intended for use by qualified professional contractors, not consumers, as a component of a larger construction assembly as specified by a qualified design professional, general contractor or builder.  They should be installed in accordance with those specifications and Sto’s instructions.  Sto Corp. disclaims all, and assumes no, liability for on-site inspections, for its products applied improperly, or by unqualified persons or entities, or as part of an improperly designed or constructed building, for the nonperformance of adjacent building components or assemblies, or for other construction activities beyond Sto’s control.  Improper use of Sto products or use as part of an improperly designed or constructed larger assembly or building may result in serious damage to Sto products, and to the structure of the building or its components.  STO CORP. DISCLAIMS ALL WARRANTIES EXPRESS OR IMPLIED EXCEPT FOR EXPLICIT LIMITED WRITTEN WARRANTIES ISSUED TO AND ACCEPTED BY BUILDING OWNERS IN ACCORDANCE WITH STO’S WARRANTY PROGRAMS WHICH ARE SUBJECT TO CHANGE FROM TIME TO TIME.  For the fullest, most current information on proper application, clean-up, mixing and other specifications and warranties, cautions and disclaimers, please refer to the Sto Corp. website, www.stocorp.com.